## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-02 00:00:00 | 4.25 | 262.167 | 5.648 | 268.837 | 6.145 | 280.867 | 6.716 | 278.967 | 20.51 | 889.633 | 15.671 | 19.5925
2019-06-02 00:15:00 | 5.143 | 253.16 | 6.268 | 265.55 | 6.782 | 274.4 | 7.208 | 273 | 18.977 | 889.567 | 16.265 | 24.6389
2019-06-02 00:30:00 | 5.451 | 249.867 | 6.576 | 257.24 | 6.671 | 266.733 | 6.923 | 264.3 | 19.164 | 889.567 | 16.452 | 23.4665
2019-06-02 00:45:00 | 5.744 | 242.013 | 6.643 | 249.216 | 6.815 | 259.167 | 6.98 | 255.833 | 19.26 | 889.6 | 16.245 | 26.6597
2019-06-02 01:00:00 | 5.584 | 242.193 | 6.59 | 244.83 | 6.611 | 253.9 | 6.433 | 252.417 | 18.206 | 890 | 16.931 | 25.9549
2019-06-02 01:15:00 | 5.621 | 243.447 | 6.764 | 246.293 | 6.877 | 254.4 | 6.9 | 251.75 | 18.448 | 889.267 | 17.459 | 28.5051
2019-06-02 01:30:00 | 5.498 | 251.78 | 6.656 | 254.902 | 6.601 | 263.5 | 6.728 | 261.917 | 17.894 | 889.3 | 18.543 | 26.443
2019-06-02 01:45:00 | 5.989 | 243.46 | 6.49 | 248.949 | 6.41 | 257.067 | 6.394 | 254.333 | 17.66 | 889.567 | 19.339 | 30.3781
2019-06-02 02:00:00 | 6.416 | 242.64 | 7.404 | 247.422 | 7.466 | 254.533 | 7.567 | 251.083 | 16.931 | 889.55 | 20.312 | 38.8488
2019-06-02 02:15:00 | 6.607 | 240.8 | 7.873 | 244.562 | 8.065 | 253.367 | 8.036 | 249.867 | 17.181 | 889.9 | 20.853 | 39.089
2019-06-02 02:30:00 | 6.6 | 237.447 | 7.676 | 241.276 | 7.805 | 250.433 | 7.999 | 248.133 | 16.964 | 889.383 | 21.099 | 44.7458
2019-06-02 02:45:00 | 5.986 | 246.627 | 8.002 | 247.527 | 8.577 | 255.833 | 8.557 | 253.617 | 16.731 | 889.883 | 21.589 | 51.8572
2019-06-02 03:00:00 | 6.776 | 249.02 | 8.252 | 251.2 | 8.578 | 258.567 | 8.64 | 255.667 | 17.085 | 889.583 | 21.115 | 45.6425
2019-06-02 03:15:00 | 5.01 | 248.48 | 6.645 | 251.713 | 7.098 | 259.5 | 7.125 | 257.133 | 17.114 | 890.017 | 21.291 | 28.6842
2019-06-02 03:30:00 | 5.69 | 221.853 | 7.06 | 226.672 | 6.952 | 237.333 | 6.703 | 237.767 | 16.464 | 889.333 | 22.112 | 33.9615
2019-06-02 03:45:00 | 6.913 | 222.553 | 8.62 | 226.4 | 9.066 | 233.433 | 9.014 | 230.7 | 15.816 | 889.983 | 22.901 | 47.8211
2019-06-02 04:00:00 | 6.958 | 228.967 | 8.421 | 230.458 | 8.602 | 237.2 | 8.467 | 232.967 | 16.131 | 889.567 | 22.453 | 53.8475
2019-06-02 04:15:00 | 7.13 | 233.887 | 9.125 | 235.18 | 9.688 | 243.033 | 9.706 | 239.867 | 16.581 | 890.183 | 22.613 | 53.0957
2019-06-02 04:30:00 | 7.801 | 244.407 | 9.358 | 245.946 | 10.074 | 253.067 | 9.948 | 249.617 | 16.614 | 889.817 | 21.915 | 51.153
2019-06-02 04:45:00 | 6.611 | 229.893 | 8.247 | 230.657 | 8.326 | 238.567 | 8.19 | 235.7 | 16.098 | 889.567 | 22.507 | 53.4907
2019-06-02 05:00:00 | 7.098 | 229.913 | 8.548 | 233.122 | 9.138 | 240.767 | 9.105 | 238.033 | 15.863 | 889.567 | 22.805 | 55.4029
2019-06-02 05:15:00 | 7.058 | 232.267 | 8.366 | 236.312 | 8.899 | 245.367 | 9.054 | 244.033 | 15.604 | 889.883 | 22.427 | 54.8408
2019-06-02 05:30:00 | 7.925 | 227.9 | 9.191 | 229.776 | 9.377 | 237.767 | 9.079 | 235.2 | 15.108 | 889.817 | 23.131 | 54.9687
2019-06-02 05:45:00 | 7.598 | 228.987 | 9.702 | 230.048 | 10.2 | 239.4 | 10.115 | 236.633 | 15.336 | 889.917 | 23.077 | 54.9225
2019-06-02 06:00:00 | 7.968 | 230.2 | 10.055 | 232.391 | 10.763 | 241.933 | 10.826 | 239.833 | 15.694 | 889.433 | 23.088 | 55.6594
2019-06-02 06:15:00 | 7.876 | 232.68 | 9.857 | 235.037 | 10.283 | 243.567 | 10.422 | 242.133 | 15.41 | 889.8 | 23.173 | 59.4567
2019-06-02 06:30:00 | 9.31 | 229.913 | 11.21 | 231.562 | 11.536 | 240.467 | 11.404 | 237.3 | 15.756 | 889.95 | 23.035 | 70.0939
2019-06-02 06:45:00 | 9.241 | 232.087 | 11.1 | 231.993 | 11.7 | 240.733 | 11.526 | 237.233 | 16.831 | 889.433 | 21.803 | 73.5664
2019-06-02 07:00:00 | 8.811 | 232.387 | 10.645 | 231.817 | 11.155 | 240.4 | 11.07 | 236.267 | 17.339 | 889.8 | 20.96 | 73.1173
2019-06-02 07:15:00 | 9.62 | 233.127 | 11.196 | 231.013 | 11.84 | 238.767 | 12.111 | 235.5 | 17.948 | 889.4 | 20.405 | 73.1997
2019-06-02 07:30:00 | 8.322 | 238.7 | 9.555 | 237.57 | 10.363 | 241.7 | 10.54 | 237.1 | 18.739 | 889.667 | 19.565 | 67.4385
2019-06-02 07:45:00 | 8.142 | 235.553 | 8.718 | 233.9 | 9.541 | 239.4 | 9.929 | 234.567 | 19.473 | 889.167 | 18.728 | 60.8543
2019-06-02 08:00:00 | 8.936 | 236.787 | 9.436 | 233.227 | 9.733 | 238.333 | 9.894 | 232.6 | 20.464 | 889.5 | 18.451 | 62.3714
2019-06-02 08:15:00 | 9.334 | 229.24 | 10.049 | 226.58 | 10.611 | 232.533 | 10.695 | 229.1 | 20.368 | 889.4 | 18.347 | 56.0424
2019-06-02 08:30:00 | 8.456 | 241.347 | 8.58 | 238.605 | 8.948 | 244 | 9.062 | 238.233 | 21.202 | 889.333 | 17.893 | 49.5343
2019-06-02 08:45:00 | 8.013 | 248.013 | 8.431 | 245.995 | 8.65 | 250.7 | 8.518 | 245.067 | 21.923 | 889.6 | 17.475 | 41.3138
2019-06-02 09:00:00 | 7.85 | 261.133 | 8.144 | 254.962 | 8.678 | 264.067 | 8.92 | 259.033 | 22.648 | 888.9 | 17.132 | 42.4102
2019-06-02 09:15:00 | 8.167 | 273.013 | 8.763 | 271.491 | 8.872 | 275.267 | 9.14 | 270.867 | 22.627 | 889.7 | 16.964 | 42.2929
2019-06-02 09:30:00 | 7.646 | 269.547 | 8.207 | 266.187 | 8.564 | 275.1 | 8.768 | 272.85 | 22.614 | 889.967 | 16.355 | 44.2029
2019-06-02 09:45:00 | 8.182 | 290.613 | 8.656 | 285.944 | 8.725 | 289.1 | 8.894 | 285.8 | 22.681 | 889.667 | 16.392 | 41.5404
2019-06-02 10:00:00 | 8.934 | 288.96 | 9.504 | 282.206 | 9.536 | 287.433 | 9.667 | 286.167 | 23.314 | 889.767 | 16.321 | 36.3682
2019-06-02 10:15:00 | 7.708 | 284.573 | 8.217 | 280.394 | 8.187 | 285.367 | 8.316 | 281.033 | 23.031 | 889.067 | 16.081 | 37.1108
2019-06-02 10:30:00 | 7.794 | 309.72 | 8.022 | 302.988 | 8.417 | 303.433 | 8.925 | 299.667 | 23.148 | 889.533 | 15.755 | 44.7131
2019-06-02 10:45:00 | 7.621 | 285.653 | 8.026 | 279.101 | 8.407 | 285.433 | 8.834 | 284.767 | 23.064 | 889.467 | 15.859 | 41.026
2019-06-02 11:00:00 | 6.585 | 311.947 | 6.955 | 306.73 | 7.364 | 312.933 | 7.712 | 314.533 | 23.464 | 889.333 | 15.661 | 33.7704
2019-06-02 11:15:00 | 7.287 | 299.827 | 7.611 | 293.761 | 7.749 | 298.3 | 7.955 | 296.3 | 23.848 | 889.167 | 15.509 | 48.3299
2019-06-02 11:30:00 | 9.515 | 290.387 | 10.312 | 282.385 | 10.434 | 287.467 | 11.012 | 284.167 | 24.16 | 889.767 | 15.276 | 50.0168
2019-06-02 11:45:00 | 8.914 | 296.013 | 9.312 | 291.348 | 9.577 | 297.2 | 10.03 | 296.833 | 23.852 | 889.5 | 14.944 | 53.6435
2019-06-02 12:00:00 | 9.205 | 303.96 | 9.566 | 297.604 | 9.9 | 303.2 | 10.578 | 300.3 | 24.473 | 889.633 | 14.383 | 51.9616
2019-06-02 12:15:00 | 7.516 | 329.907 | 7.866 | 319.093 | 8.216 | 321.8 | 8.913 | 318.233 | 24.535 | 889.433 | 14.611 | 47.7529
2019-06-02 12:30:00 | 9.087 | 301.307 | 9.289 | 293.902 | 9.665 | 300.5 | 10.046 | 299.467 | 24.364 | 889.633 | 14.377 | 60.2298
2019-06-02 12:45:00 | 10.533 | 313.053 | 10.819 | 305.323 | 11.437 | 309.7 | 11.855 | 307.667 | 24.718 | 889.9 | 14.925 | 63.902
2019-06-02 13:00:00 | 8.907 | 305.947 | 9.401 | 298.56 | 9.702 | 303.967 | 10.078 | 300.567 | 24.102 | 889.233 | 15.997 | 63.3491
2019-06-02 13:15:00 | 9.764 | 302.92 | 10.166 | 295.55 | 10.666 | 296.217 | 11.558 | 293.367 | 25.023 | 889.5 | 16.236 | 58.4377
2019-06-02 13:30:00 | 9.1 | 305.253 | 9.692 | 299.234 | 9.973 | 304.233 | 10.428 | 302.667 | 24.26 | 889.5 | 16.608 | 54.013
2019-06-02 13:45:00 | 10.256 | 310.453 | 10.757 | 305.508 | 10.815 | 308.433 | 11.422 | 304.7 | 23.989 | 890.1 | 17.592 | 49.6551
2019-06-02 14:00:00 | 10.676 | 282.24 | 11.791 | 277.323 | 12.105 | 282.467 | 12.815 | 277.833 | 24.518 | 889.5 | 17.404 | 46.5059
2019-06-02 14:15:00 | 10.463 | 278.68 | 11.138 | 274.51 | 11.343 | 280.267 | 11.618 | 277.633 | 24.506 | 889.4 | 17.043 | 44.7515
2019-06-02 14:30:00 | 11.334 | 280.36 | 12.23 | 276.37 | 12.525 | 280.233 | 12.606 | 276.117 | 25.206 | 889.833 | 15.975 | 43.5698
2019-06-02 14:45:00 | 9.972 | 286.387 | 10.598 | 282.545 | 10.743 | 286.9 | 10.944 | 282.433 | 25.498 | 889.6 | 15.473 | 43.4661
2019-06-02 15:00:00 | 10.115 | 285.973 | 10.44 | 285.749 | 11.007 | 288.633 | 11.319 | 284.933 | 25.927 | 889.767 | 15.241 | 43.3581
2019-06-02 15:15:00 | 11.789 | 284.48 | 12.652 | 284.66 | 13.139 | 287.433 | 13.608 | 285.7 | 25.81 | 889.333 | 15.851 | 43.4988
2019-06-02 15:30:00 | 11.014 | 286.107 | 11.686 | 281.96 | 12.276 | 288.267 | 12.935 | 284.2 | 26.144 | 889.5 | 15.911 | 43.5826
2019-06-02 15:45:00 | 11.892 | 299.587 | 11.812 | 294.289 | 12.281 | 300.4 | 12.648 | 299.533 | 26.039 | 889.8 | 15.76 | 43.6053
2019-06-02 16:00:00 | 12.261 | 288.58 | 13.028 | 283.762 | 12.979 | 288.15 | 13.029 | 284.033 | 26.539 | 889.167 | 15.296 | 43.7809
2019-06-02 16:15:00 | 11.667 | 280.933 | 12.798 | 275.829 | 13.218 | 277.567 | 13.417 | 275.367 | 26.668 | 889.433 | 15.432 | 43.7993
2019-06-02 16:30:00 | 12.876 | 278.86 | 13.712 | 277.582 | 13.938 | 279.4 | 14.528 | 277.433 | 26.364 | 889.233 | 15.701 | 43.7816
2019-06-02 16:45:00 | 12.103 | 275.333 | 13.239 | 271.994 | 13.545 | 278.533 | 13.809 | 278.067 | 26.377 | 889.5 | 15.327 | 43.8654
2019-06-02 17:00:00 | 12.374 | 295.92 | 12.528 | 293.23 | 13.054 | 297.2 | 13.66 | 294.267 | 26.398 | 889.433 | 15.216 | 43.417
2019-06-02 17:15:00 | 11.227 | 284.307 | 12.484 | 280.566 | 12.758 | 283.633 | 13.202 | 281.933 | 26.094 | 889.5 | 15.784 | 43.7745
2019-06-02 17:30:00 | 12.087 | 286.107 | 13.483 | 284.162 | 13.887 | 288.6 | 14.464 | 285.2 | 26.418 | 889.233 | 15.563 | 43.6224
2019-06-02 17:45:00 | 13.727 | 287.933 | 14.553 | 285.134 | 14.834 | 288.8 | 15.57 | 287 | 26.156 | 889.133 | 16.149 | 44.2548
2019-06-02 18:00:00 | 13.187 | 288.08 | 14.452 | 285.382 | 14.614 | 287.7 | 14.924 | 285.967 | 26.048 | 889.867 | 17.003 | 44.9057
2019-06-02 18:15:00 | 14.546 | 290.187 | 15.56 | 286.195 | 15.912 | 290.9 | 16.269 | 287.733 | 26.035 | 889.833 | 17.892 | 45.8777
2019-06-02 18:30:00 | 14.323 | 277.947 | 15.177 | 275.48 | 15.728 | 280.967 | 16.148 | 277.633 | 26.544 | 889.9 | 17.719 | 47.4936
2019-06-02 18:45:00 | 13.302 | 297.773 | 14.173 | 292.904 | 14.916 | 296.8 | 15.712 | 293.433 | 25.635 | 889.5 | 18.775 | 49.2437
2019-06-02 19:00:00 | 12.686 | 297.787 | 13.877 | 292.406 | 14.174 | 296.633 | 15.367 | 293.033 | 26.381 | 889.867 | 17.157 | 52.1158
2019-06-02 19:15:00 | 11.891 | 296.68 | 12.591 | 292.954 | 13.356 | 297.467 | 14.249 | 295.9 | 25.881 | 889.7 | 17.863 | 52.0419
2019-06-02 19:30:00 | 14.084 | 282.507 | 15.336 | 279.355 | 15.49 | 283.467 | 16.006 | 279.467 | 26.127 | 889.3 | 19.508 | 51.1793
2019-06-02 19:45:00 | 12.519 | 293.093 | 13.948 | 290.67 | 14.514 | 296.133 | 15.296 | 294.233 | 25.894 | 889.6 | 19.389 | 49.5841
2019-06-02 20:00:00 | 13.851 | 294.307 | 15.494 | 289.429 | 16.475 | 293.3 | 17.127 | 292.1 | 25.298 | 889.6 | 18.535 | 49.7247
2019-06-02 20:15:00 | 13.93 | 290.4 | 15.898 | 288.224 | 16.708 | 292.8 | 17.662 | 290.033 | 25.631 | 889.633 | 17.605 | 48.6632
2019-06-02 20:30:00 | 12.698 | 283.733 | 13.812 | 280.344 | 14.349 | 284.367 | 14.913 | 281.933 | 25.139 | 889.533 | 18.531 | 48.6816
2019-06-02 20:45:00 | 11.132 | 297.147 | 12.687 | 293.945 | 13.363 | 298 | 14.406 | 295.3 | 25.002 | 889.833 | 17.959 | 49.5713
2019-06-02 21:00:00 | 11.873 | 282.427 | 13.488 | 277.646 | 14.215 | 283.567 | 14.816 | 280.7 | 24.656 | 889.2 | 18.392 | 51.2226
2019-06-02 21:15:00 | 10.506 | 290.64 | 12.241 | 289.033 | 12.78 | 294.533 | 13.691 | 293.3 | 24.739 | 889.067 | 18.601 | 55.0135
2019-06-02 21:30:00 | 7.99 | 299.307 | 9.19 | 293.514 | 9.797 | 301 | 10.48 | 298.167 | 24.298 | 889.833 | 18.287 | 49.5883
2019-06-02 21:45:00 | 6.834 | 298.36 | 8.076 | 294.915 | 8.632 | 301.5 | 9.543 | 299.033 | 24.152 | 889.7 | 17.589 | 37.3886
2019-06-02 22:00:00 | 7.373 | 302.987 | 8.25 | 297.162 | 8.755 | 302.733 | 9.595 | 299.2 | 23.835 | 889.733 | 17.343 | 35.2121
2019-06-02 22:15:00 | 6.521 | 289.96 | 7.5 | 288.394 | 8.204 | 294 | 8.783 | 291.267 | 23.648 | 889 | 17.723 | 32.7109
2019-06-02 22:30:00 | 5.597 | 302.733 | 6.812 | 298.608 | 7.256 | 304.833 | 7.843 | 304.6 | 23.664 | 889.267 | 18.059 | 22.1256
2019-06-02 22:45:00 | 4.69 | 299.627 | 5.816 | 299.411 | 6.176 | 307.8 | 6.698 | 307.067 | 22.998 | 889.333 | 18.483 | 17.7087
2019-06-02 23:00:00 | 4.487 | 287.533 | 5.29 | 291.92 | 5.467 | 299.833 | 6.016 | 299.3 | 22.498 | 889.6 | 18.747 | 14.6071
2019-06-02 23:15:00 | 4.242 | 276.093 | 5.069 | 280.644 | 5.32 | 285.833 | 5.823 | 285.767 | 22.085 | 889.467 | 19.152 | 16.8362
2019-06-02 23:30:00 | 4.878 | 278.293 | 5.939 | 283.283 | 6.476 | 288.7 | 7.186 | 288.067 | 21.406 | 889.8 | 19.581 | 26.5994
2019-06-02 23:45:00 | 4.811 | 279.187 | 5.972 | 280.021 | 6.521 | 287.533 | 7.19 | 286.367 | 21.435 | 889.367 | 19.816 | 24.6893