## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-03 00:00:00 | 5.43 | 274.013 | 6.633 | 278.966 | 7.128 | 287.233 | 7.611 | 286.5 | 20.827 | 889.25 | 20.444 | 35.6761
2019-06-03 00:15:00 | 5.857 | 282.853 | 7.396 | 284.758 | 7.938 | 292.667 | 8.402 | 292.467 | 20.823 | 889.583 | 20.597 | 39.2354
2019-06-03 00:30:00 | 5.787 | 289.16 | 6.722 | 288.33 | 7.323 | 295.3 | 7.992 | 294.433 | 20.448 | 890.1 | 20.971 | 32.7934
2019-06-03 00:45:00 | 5.369 | 290.827 | 6.78 | 291.059 | 7.292 | 299.133 | 8.053 | 297.367 | 20.044 | 889.817 | 22.573 | 29.0359
2019-06-03 01:00:00 | 5.347 | 283.893 | 6.736 | 286.096 | 7.262 | 293.7 | 7.967 | 292.633 | 20.194 | 890.117 | 25.352 | 27.0619
2019-06-03 01:15:00 | 5.338 | 274.373 | 6.598 | 277.565 | 6.898 | 284.3 | 7.418 | 285.367 | 19.202 | 889.767 | 27.581 | 26.8402
2019-06-03 01:30:00 | 5.346 | 272.48 | 6.583 | 274.822 | 7.008 | 282.533 | 7.557 | 281.233 | 19.277 | 889.55 | 28.693 | 27.4598
2019-06-03 01:45:00 | 5.662 | 260.033 | 6.871 | 266.425 | 7.208 | 273.967 | 7.71 | 274.2 | 18.727 | 889.583 | 29.584 | 31.9762
2019-06-03 02:00:00 | 5.8 | 259.047 | 7.011 | 265.065 | 7.409 | 275.4 | 7.741 | 273.333 | 18.689 | 889.55 | 31.027 | 31.449
2019-06-03 02:15:00 | 5.033 | 252.427 | 6.264 | 259.388 | 6.497 | 268.8 | 6.829 | 267.167 | 18.227 | 889.85 | 31.563 | 23.4181
2019-06-03 02:30:00 | 5.986 | 249.373 | 7.09 | 254.965 | 7.079 | 265.633 | 7.196 | 266.267 | 17.544 | 889.85 | 31.571 | 29.0231
2019-06-03 02:45:00 | 5.949 | 236.747 | 6.958 | 240.618 | 6.998 | 248.667 | 6.857 | 251.15 | 17.702 | 889.683 | 29.845 | 27.5544
2019-06-03 03:00:00 | 6.087 | 231.287 | 6.986 | 234.697 | 6.638 | 244.667 | 6.529 | 243.7 | 16.914 | 889.333 | 29.467 | 20.1147
2019-06-03 03:15:00 | 5.156 | 232.573 | 5.783 | 242.372 | 5.85 | 251.367 | 5.759 | 249.683 | 16.898 | 890.167 | 30.027 | 14.524
2019-06-03 03:30:00 | 5.517 | 234.593 | 7.031 | 236.423 | 7.227 | 244.367 | 6.92 | 240.1 | 16.814 | 889.933 | 30.549 | 24.7348
2019-06-03 03:45:00 | 6.527 | 231.54 | 7.84 | 230.862 | 8.076 | 236.867 | 8.081 | 232.733 | 16.698 | 889.633 | 28.688 | 26.3045
2019-06-03 04:00:00 | 5.497 | 228.593 | 6.543 | 236.451 | 6.641 | 245.5 | 6.668 | 243.867 | 16.598 | 890.017 | 27.893 | 26.5731
2019-06-03 04:15:00 | 5.77 | 243.413 | 7.106 | 247.599 | 7.244 | 256.333 | 7.437 | 255.483 | 17.081 | 889.5 | 28.523 | 31.0027
2019-06-03 04:30:00 | 5.315 | 240.567 | 6.951 | 245.43 | 7.379 | 253.7 | 7.691 | 250.5 | 16.864 | 890 | 28.443 | 36.0208
2019-06-03 04:45:00 | 5.419 | 239.58 | 6.335 | 244.941 | 6.806 | 253.9 | 6.936 | 250.35 | 17.464 | 889.683 | 29.125 | 31.029
2019-06-03 05:00:00 | 4.593 | 244.22 | 5.692 | 246.891 | 6.085 | 256.033 | 6.541 | 253.667 | 17.231 | 889.767 | 30.373 | 30.1323
2019-06-03 05:15:00 | 5.477 | 246.733 | 6.384 | 251.082 | 6.486 | 258.467 | 6.788 | 257.067 | 16.598 | 889.4 | 32.373 | 31.4888
2019-06-03 05:30:00 | 5.46 | 251.267 | 6.838 | 258.802 | 6.929 | 267.433 | 7.385 | 266.5 | 16.198 | 890 | 33.891 | 38.9227
2019-06-03 05:45:00 | 6.159 | 267.82 | 7.854 | 272.801 | 8.795 | 278 | 9.424 | 276.767 | 16.398 | 889.833 | 34.997 | 47.1973
2019-06-03 06:00:00 | 6.32 | 275.347 | 7.684 | 275.582 | 8.278 | 281.767 | 8.978 | 278.233 | 17.081 | 889.4 | 34.488 | 44.6257
2019-06-03 06:15:00 | 5.525 | 257.387 | 6.87 | 258.256 | 7.193 | 264.567 | 7.447 | 261.733 | 17.168 | 889.483 | 34.405 | 38.9966
2019-06-03 06:30:00 | 6.363 | 259.52 | 7.512 | 258.344 | 8.055 | 262.867 | 8.383 | 258.867 | 17.423 | 889.633 | 35.224 | 35.593
2019-06-03 06:45:00 | 5.635 | 253.473 | 6.502 | 252.355 | 7.032 | 258.5 | 7.411 | 255.517 | 17.389 | 889.983 | 33.773 | 29.4295
2019-06-03 07:00:00 | 5.707 | 247.027 | 6.711 | 247.108 | 7.046 | 253.633 | 7.228 | 252.217 | 17.539 | 889.6 | 33.12 | 23.4693
2019-06-03 07:15:00 | 5.507 | 244.987 | 6.325 | 245.21 | 6.828 | 252.667 | 7.216 | 248.117 | 18.31 | 889.833 | 32.227 | 37.9769
2019-06-03 07:30:00 | 7.603 | 261.8 | 8.695 | 255.588 | 9.266 | 263.3 | 9.483 | 258.783 | 18.673 | 890.033 | 32.04 | 43.5954
2019-06-03 07:45:00 | 7.724 | 263.16 | 8.638 | 260.818 | 9.011 | 265 | 9.154 | 260.017 | 19.118 | 889.617 | 32.693 | 53.5966
2019-06-03 08:00:00 | 9.214 | 264.28 | 10.147 | 262.813 | 10.55 | 267.15 | 10.774 | 263.817 | 19.581 | 889.667 | 32.429 | 64.7788
2019-06-03 08:15:00 | 9.121 | 273.747 | 9.865 | 270.264 | 9.982 | 274.933 | 10.402 | 268.267 | 19.41 | 889.917 | 32.685 | 70.4307
2019-06-03 08:30:00 | 9.53 | 283.467 | 10.301 | 278.695 | 10.278 | 280.8 | 10.565 | 276.267 | 19.618 | 889.95 | 33.312 | 66.8871
2019-06-03 08:45:00 | 8.925 | 279.267 | 9.79 | 275.402 | 10.094 | 279.567 | 10.275 | 274.633 | 19.723 | 889.8 | 32.563 | 68.8177
2019-06-03 09:00:00 | 9.737 | 275.4 | 10.667 | 273.929 | 10.986 | 277.3 | 11.354 | 274.567 | 20.302 | 889.683 | 32.011 | 70.4122
2019-06-03 09:15:00 | 9.623 | 279.027 | 10.3 | 278.189 | 10.438 | 283 | 10.815 | 281.8 | 20.248 | 889.567 | 31.765 | 69.2625
2019-06-03 09:30:00 | 10.445 | 292.893 | 10.772 | 287.352 | 11.3 | 290.9 | 11.828 | 288.467 | 20.298 | 889.667 | 31.483 | 69.5133
2019-06-03 09:45:00 | 11.103 | 289.04 | 11.813 | 287.011 | 12.01 | 290.333 | 12.395 | 287.867 | 20.889 | 889.9 | 30.555 | 68.424
2019-06-03 10:00:00 | 10.305 | 289.36 | 11.03 | 286.825 | 11.526 | 289.767 | 12.098 | 287.367 | 21.456 | 890.183 | 29.912 | 68.9029
2019-06-03 10:15:00 | 10.601 | 291.253 | 11.283 | 288.351 | 11.764 | 292.233 | 12.025 | 288.7 | 21.348 | 890.067 | 29.128 | 68.8262
2019-06-03 10:30:00 | 11.786 | 294.467 | 12.772 | 291.746 | 12.943 | 296.133 | 13.214 | 293.067 | 21.481 | 889.617 | 28.427 | 68.38
2019-06-03 10:45:00 | 12.231 | 298.76 | 13.19 | 293.354 | 13.48 | 296.6 | 14.196 | 293.6 | 21.727 | 889.483 | 28.653 | 68.8262
2019-06-03 11:00:00 | 12.149 | 299.693 | 13.277 | 299.296 | 13.517 | 303.933 | 13.94 | 298.833 | 22.118 | 889.75 | 28.253 | 67.9693
2019-06-03 11:15:00 | 12.416 | 298.027 | 13.726 | 298.082 | 14.159 | 301.767 | 14.409 | 298.967 | 22.118 | 889.683 | 28.589 | 66.6362
2019-06-03 11:30:00 | 10.885 | 293.693 | 11.6 | 289.248 | 12.083 | 297.433 | 12.369 | 295.8 | 22.102 | 890.067 | 27.616 | 66.5581
2019-06-03 11:45:00 | 10.902 | 291.627 | 11.725 | 298.979 | 11.923 | 306.267 | 12.711 | 302.233 | 21.86 | 889.583 | 27.419 | 62.9342
2019-06-03 12:00:00 | 11.599 | 297.987 | 11.918 | 297.45 | 12.131 | 301.767 | 12.845 | 299.167 | 22.531 | 889.9 | 26.824 | 52.1066
2019-06-03 12:15:00 | 12.068 | 300.36 | 12.486 | 298.077 | 12.474 | 303.533 | 13.251 | 303 | 22.239 | 889.8 | 27.381 | 51.5807
2019-06-03 12:30:00 | 12.057 | 289.053 | 12.995 | 287.52 | 13.421 | 291.367 | 14.151 | 290.6 | 22.564 | 889.983 | 26.632 | 40.0738
2019-06-03 12:45:00 | 11.982 | 289.453 | 12.686 | 285.72 | 12.716 | 291.067 | 13.493 | 287.833 | 22.698 | 889.55 | 26.763 | 43.049
2019-06-03 13:00:00 | 10.489 | 295 | 10.856 | 292.298 | 11.496 | 298.8 | 11.656 | 295.7 | 22.881 | 889.867 | 25.776 | 49.8789
2019-06-03 13:15:00 | 9.766 | 277.273 | 10.702 | 274.199 | 11.032 | 279.833 | 11.24 | 276.367 | 23.264 | 889.55 | 24.528 | 50.7281
2019-06-03 13:30:00 | 11.107 | 291.573 | 11.695 | 286.188 | 11.682 | 289.6 | 12.222 | 287.633 | 23.064 | 889.733 | 24.107 | 54.5481
2019-06-03 13:45:00 | 10.386 | 291 | 10.877 | 285.518 | 10.949 | 289.333 | 11.444 | 286.933 | 22.998 | 889.8 | 25.016 | 56.0012
2019-06-03 14:00:00 | 11.155 | 307.253 | 11.702 | 299.182 | 12.132 | 303.6 | 12.461 | 302.033 | 23.564 | 889.817 | 23.117 | 56.7174
2019-06-03 14:15:00 | 7.546 | 295.973 | 8.166 | 290.784 | 8.378 | 295.967 | 8.71 | 292.033 | 23.568 | 889.85 | 22.52 | 54.0116
2019-06-03 14:30:00 | 11.445 | 284.213 | 11.854 | 281.638 | 12.003 | 285.8 | 12.33 | 284.133 | 24.052 | 889.567 | 21.824 | 58.3333
2019-06-03 14:45:00 | 9.715 | 285.147 | 10.462 | 282.32 | 10.634 | 289.3 | 10.854 | 287.6 | 24.094 | 889.667 | 21.723 | 56.144
2019-06-03 15:00:00 | 10.306 | 306.08 | 10.671 | 303.405 | 10.846 | 307.267 | 11.256 | 303.767 | 24.46 | 889.75 | 20.711 | 66.0266
2019-06-03 15:15:00 | 11.06 | 291.12 | 11.901 | 286.036 | 12.082 | 285.8 | 12.29 | 283.467 | 23.948 | 889.333 | 22.101 | 67.6388
2019-06-03 15:30:00 | 12.761 | 283.333 | 13.128 | 277.163 | 13.374 | 280.433 | 13.752 | 277.233 | 24.31 | 890.067 | 21.083 | 63.1907
2019-06-03 15:45:00 | 9.765 | 295.567 | 10.154 | 294.232 | 10.127 | 300.3 | 10.52 | 296.533 | 24.352 | 889.383 | 20.425 | 62.3814
2019-06-03 16:00:00 | 10.533 | 297.333 | 11.281 | 293.579 | 11.686 | 298.233 | 12.14 | 294.867 | 23.877 | 890.267 | 21.003 | 63.2603
2019-06-03 16:15:00 | 12.618 | 288.133 | 13.501 | 286.717 | 13.787 | 289.867 | 14.03 | 286.233 | 24.16 | 889.5 | 20.377 | 58.545
2019-06-03 16:30:00 | 11.812 | 279.467 | 12.806 | 272.788 | 13.224 | 276.433 | 13.59 | 273.833 | 24.818 | 889.917 | 20.355 | 57.5396
2019-06-03 16:45:00 | 12.565 | 297.427 | 13.05 | 292.382 | 13.632 | 293.9 | 14.339 | 292.633 | 24.523 | 889.6 | 19.943 | 57.531
2019-06-03 17:00:00 | 10.536 | 287.187 | 10.972 | 282.814 | 11.133 | 285.867 | 11.711 | 282.833 | 24.652 | 889.467 | 19.871 | 58.2508
2019-06-03 17:15:00 | 11.721 | 304.213 | 12.464 | 299.247 | 12.599 | 303.9 | 13.011 | 301.267 | 24.644 | 889.7 | 19.217 | 57.9247
2019-06-03 17:30:00 | 12.143 | 295.32 | 12.689 | 291.369 | 12.919 | 297.9 | 13.527 | 293.367 | 24.448 | 889.6 | 19.464 | 57.919
2019-06-03 17:45:00 | 12.832 | 295.173 | 13.556 | 290.671 | 13.875 | 295.767 | 14.43 | 292.8 | 24.568 | 889.5 | 19.143 | 58.3347
2019-06-03 18:00:00 | 11.343 | 296.933 | 12.474 | 295.55 | 12.901 | 299.9 | 13.375 | 297.667 | 25.223 | 889.267 | 19.001 | 58.7404
2019-06-03 18:15:00 | 10.825 | 285.413 | 11.728 | 282.135 | 11.943 | 285 | 11.871 | 280.567 | 24.56 | 889.533 | 19.473 | 58.5791
2019-06-03 18:30:00 | 10.544 | 301.347 | 11.447 | 297.228 | 11.642 | 302.833 | 12.127 | 300.433 | 24.456 | 889.7 | 19.58 | 59.3828
2019-06-03 18:45:00 | 11.003 | 293.533 | 12.222 | 287.239 | 12.6 | 292.1 | 13.444 | 289.2 | 24.598 | 889.933 | 20.599 | 58.8463
2019-06-03 19:00:00 | 10.609 | 297.347 | 11.385 | 291.381 | 11.836 | 293.7 | 12.365 | 292 | 24.664 | 889.517 | 20.435 | 59.8759
2019-06-03 19:15:00 | 10.444 | 291.547 | 11.699 | 286.649 | 11.789 | 289.8 | 12.252 | 288.4 | 24.377 | 889.367 | 20.264 | 60.0038
2019-06-03 19:30:00 | 11.017 | 284.947 | 11.889 | 280.718 | 12.259 | 283.467 | 12.833 | 280.6 | 24.273 | 889.45 | 20.559 | 59.635
2019-06-03 19:45:00 | 11.087 | 287.06 | 12.25 | 281.979 | 12.514 | 286.633 | 13.146 | 283.6 | 23.923 | 889.25 | 20.476 | 59.1085
2019-06-03 20:00:00 | 11.523 | 294.707 | 12.866 | 290.855 | 12.914 | 295.7 | 13.434 | 294.633 | 23.927 | 889.6 | 19.632 | 60.6781
2019-06-03 20:15:00 | 10.291 | 294.707 | 11.336 | 287.98 | 11.9 | 292.833 | 12.356 | 290.633 | 23.794 | 889.7 | 18.359 | 59.9775
2019-06-03 20:30:00 | 9.156 | 298.467 | 10.175 | 291.289 | 10.68 | 295.233 | 11.365 | 293.533 | 24.006 | 889.633 | 17.299 | 58.9827
2019-06-03 20:45:00 | 8.962 | 290.56 | 9.957 | 285.698 | 10.387 | 289.933 | 10.898 | 288.833 | 23.631 | 889.9 | 17.661 | 60.2148
2019-06-03 21:00:00 | 9.196 | 286.44 | 10.427 | 282.374 | 10.891 | 285.667 | 11.598 | 282 | 23.431 | 889.567 | 19.104 | 71.1107
2019-06-03 21:15:00 | 9.2 | 292.44 | 10.625 | 286.812 | 11.107 | 292.867 | 11.796 | 290.433 | 23.348 | 889.583 | 20.28 | 67.2246
2019-06-03 21:30:00 | 8.248 | 289.973 | 9.306 | 285.152 | 9.987 | 288.733 | 10.374 | 288.067 | 22.748 | 889.45 | 21.061 | 62.3672
2019-06-03 21:45:00 | 8.041 | 291.453 | 9.482 | 289.541 | 9.847 | 294.167 | 10.487 | 293.533 | 22.881 | 889.333 | 21.96 | 52.7496
2019-06-03 22:00:00 | 7.993 | 292.2 | 9.506 | 287.361 | 9.891 | 293.633 | 10.443 | 290.7 | 22.514 | 889.917 | 21.395 | 46.5165
2019-06-03 22:15:00 | 7.361 | 292.053 | 8.583 | 289.857 | 9.491 | 294.5 | 10.038 | 291.6 | 22.198 | 889.533 | 21.488 | 44.0857
2019-06-03 22:30:00 | 6.827 | 287.653 | 7.972 | 284.758 | 8.406 | 291.433 | 9.031 | 290.3 | 21.568 | 889.733 | 20.576 | 40.5002
2019-06-03 22:45:00 | 5.843 | 284.76 | 7.243 | 283.453 | 7.659 | 288.567 | 8.076 | 287.733 | 21.477 | 889.533 | 20.017 | 27.5046
2019-06-03 23:00:00 | 4.656 | 282.413 | 6.198 | 286.36 | 6.563 | 292.967 | 7.094 | 291.467 | 21.014 | 889.033 | 19.76 | 15.9515
2019-06-03 23:15:00 | 3.163 | 280.707 | 4.816 | 276.551 | 5.438 | 282.967 | 5.68 | 281.633 | 20.156 | 889.3 | 20.381 | 11.3435
2019-06-03 23:30:00 | 3.825 | 252.72 | 4.702 | 264.182 | 4.97 | 274 | 5.443 | 277.3 | 18.694 | 890.15 | 20.8 | 12.1535
2019-06-03 23:45:00 | 3.96 | 269.96 | 4.845 | 276.966 | 5.037 | 284.233 | 5.409 | 283.7 | 19.135 | 889.55 | 19.68 | 10.9648