## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-04 00:00:00 | 4.563 | 235.933 | 5.028 | 249.955 | 5.109 | 259.367 | 5.208 | 258.65 | 18.368 | 889.767 | 31.477 | 14.4472
2019-06-04 00:15:00 | 5.681 | 244.907 | 6.326 | 249.996 | 6.514 | 257.9 | 6.836 | 254.383 | 17.414 | 890.067 | 27.315 | 20.9582
2019-06-04 00:30:00 | 4.849 | 238.647 | 5.999 | 246.525 | 6.237 | 255.6 | 6.609 | 253.2 | 17.906 | 889.117 | 26.981 | 25.8149
2019-06-04 00:45:00 | 5.36 | 240.347 | 6.459 | 243.022 | 6.556 | 249.4 | 6.621 | 244.2 | 16.914 | 889.817 | 35.237 | 30.7853
2019-06-04 01:00:00 | 5.005 | 248.207 | 6.171 | 252.461 | 6.385 | 258.7 | 6.596 | 255.233 | 17.298 | 889.983 | 40.288 | 24.5735
2019-06-04 01:15:00 | 5.05 | 240.42 | 6.085 | 246.461 | 6.309 | 254.6 | 6.584 | 251.267 | 16.931 | 889.725 | 40.864 | 25.8163
2019-06-04 01:30:00 | 5.348 | 234.947 | 6.258 | 242.596 | 6.578 | 251.267 | 6.822 | 247.583 | 16.581 | 889.6 | 40.725 | 27.8826
2019-06-04 01:45:00 | 5.43 | 233.4 | 6.992 | 239.018 | 7.142 | 246.933 | 7.477 | 243.233 | 16.331 | 889.783 | 38.389 | 35.1553
2019-06-04 02:00:00 | 5.621 | 233.36 | 7.366 | 235.286 | 7.681 | 244.533 | 7.766 | 241.133 | 16.664 | 889.733 | 36.635 | 40.8171
2019-06-04 02:15:00 | 6.093 | 231.573 | 7.7 | 233.176 | 8.106 | 241.3 | 8.165 | 237.2 | 15.82 | 889.917 | 35.829 | 43.8398
2019-06-04 02:30:00 | 6.345 | 234.98 | 8.011 | 234.777 | 8.385 | 242.433 | 8.363 | 238.1 | 16.276 | 889.617 | 39.243 | 50.7529
2019-06-04 02:45:00 | 6.658 | 232.92 | 8.452 | 234.541 | 8.891 | 241.233 | 8.978 | 237.7 | 15.849 | 889.517 | 40.693 | 58.7802
2019-06-04 03:00:00 | 7.053 | 231.107 | 8.5 | 233.782 | 8.761 | 242.567 | 8.736 | 239.4 | 15.407 | 890.058 | 40.933 | 61.9046
2019-06-04 03:15:00 | 7.8 | 233.493 | 9.774 | 232.969 | 10.296 | 239.633 | 10.197 | 235.267 | 15.238 | 889.617 | 42.229 | 69.1737
2019-06-04 03:30:00 | 7.922 | 231.927 | 10.048 | 232.344 | 10.717 | 239.633 | 10.718 | 234.8 | 16.25 | 889.933 | 40.416 | 69.4522
2019-06-04 03:45:00 | 7.726 | 231.513 | 9.581 | 233.756 | 10.417 | 239.533 | 10.495 | 236.1 | 15.74 | 889.683 | 39.547 | 68.3814
2019-06-04 04:00:00 | 7.734 | 229.793 | 9.096 | 232.01 | 9.438 | 241.2 | 9.364 | 238.167 | 15.435 | 889.767 | 40.731 | 65.2179
2019-06-04 04:15:00 | 7.48 | 229.967 | 8.919 | 231.932 | 9.346 | 239.5 | 9.439 | 235.767 | 14.991 | 889.9 | 39.632 | 63.1189
2019-06-04 04:30:00 | 7.389 | 226.233 | 9.334 | 228 | 9.91 | 236.633 | 9.818 | 235.033 | 15.141 | 890.1 | 39.893 | 62.2442
2019-06-04 04:45:00 | 8.036 | 230.807 | 9.889 | 230.061 | 10.351 | 236.533 | 10.1 | 232.667 | 15.15 | 890.067 | 40.949 | 66.141
2019-06-04 05:00:00 | 7.628 | 225.533 | 9.507 | 225.61 | 10.251 | 231.4 | 10.092 | 228.2 | 14.874 | 890.15 | 41.301 | 61.3155
2019-06-04 05:15:00 | 7.328 | 225.527 | 9.127 | 226.985 | 10.005 | 235.3 | 10.077 | 233.367 | 14.799 | 889.675 | 42.08 | 55.5045
2019-06-04 05:30:00 | 7.469 | 227.4 | 9.476 | 228.498 | 10.096 | 237.967 | 10.174 | 234.8 | 14.708 | 889.2 | 43.136 | 58.4327
2019-06-04 05:45:00 | 7.508 | 230.967 | 9.264 | 231.712 | 9.586 | 241.067 | 9.462 | 238.133 | 14.824 | 889.575 | 42.123 | 63.6241
2019-06-04 06:00:00 | 7.545 | 230.9 | 9.08 | 232.373 | 9.331 | 239.767 | 9.155 | 238.367 | 14.558 | 889.925 | 41.899 | 57.5865
2019-06-04 06:15:00 | 7.5 | 233.9 | 9.646 | 235.182 | 10.348 | 243.767 | 10.239 | 240.467 | 14.541 | 889.642 | 42.187 | 52.4888
2019-06-04 06:30:00 | 7.508 | 236.52 | 9.416 | 237.73 | 10.269 | 246.6 | 10.234 | 244.3 | 15.212 | 890.033 | 40.48 | 59.1298
2019-06-04 06:45:00 | 7.563 | 237.18 | 9.676 | 237.591 | 10.679 | 245.867 | 10.624 | 242.933 | 15.46 | 890.117 | 38.784 | 62.0126
2019-06-04 07:00:00 | 7.555 | 234.067 | 9.264 | 235.165 | 10.159 | 243.333 | 10.15 | 239.767 | 16.198 | 889.633 | 37.088 | 62.6393
2019-06-04 07:15:00 | 8.041 | 234.2 | 9.371 | 233.234 | 10.185 | 239.6 | 10.586 | 235.667 | 17.073 | 889.85 | 35.211 | 64.8214
2019-06-04 07:30:00 | 8.279 | 238.533 | 9.981 | 237.104 | 11.005 | 246.1 | 11.146 | 241.433 | 18.389 | 889.933 | 33.435 | 60.7137
2019-06-04 07:45:00 | 7.623 | 239.133 | 8.265 | 238.397 | 8.759 | 245.533 | 9.219 | 242.067 | 19.231 | 889.667 | 30.864 | 49.8463
2019-06-04 08:00:00 | 6.927 | 234.9 | 7.199 | 233.782 | 7.239 | 242.7 | 7.389 | 238.167 | 19.948 | 889.533 | 29.184 | 47.5319
2019-06-04 08:15:00 | 7.056 | 242.267 | 7.528 | 241.208 | 7.967 | 245.933 | 8.036 | 239.433 | 20.918 | 889.6 | 27.84 | 46.6444
2019-06-04 08:30:00 | 7.537 | 248.347 | 8.077 | 246.586 | 8.482 | 252.917 | 8.465 | 249.183 | 21.868 | 889.383 | 25.904 | 50.5526
2019-06-04 08:45:00 | 7.442 | 258.1 | 8.23 | 257.704 | 8.316 | 261.967 | 8.413 | 255.183 | 22.364 | 889.55 | 23.864 | 52.6317
2019-06-04 09:00:00 | 7.719 | 254.807 | 8.759 | 255.733 | 8.676 | 260.3 | 8.75 | 255.733 | 22.881 | 889.817 | 22.227 | 52.3993
2019-06-04 09:15:00 | 9.193 | 264.113 | 9.715 | 262.25 | 9.639 | 268.233 | 9.846 | 265 | 22.848 | 889.667 | 21.051 | 49.7787
2019-06-04 09:30:00 | 8.986 | 281.053 | 9.602 | 281.267 | 9.315 | 284.633 | 9.809 | 281.567 | 22.698 | 889.783 | 21.039 | 46.2415
2019-06-04 09:45:00 | 7.783 | 277.813 | 8.14 | 273.835 | 8.274 | 277.867 | 8.476 | 273.233 | 22.798 | 889.367 | 20.815 | 41.3045
2019-06-04 10:00:00 | 8.518 | 298.773 | 8.842 | 294.863 | 9.12 | 298.067 | 9.269 | 294.8 | 23.031 | 889.733 | 20.105 | 43.4767
2019-06-04 10:15:00 | 8.312 | 289.08 | 8.818 | 285.911 | 9.086 | 289.867 | 9.303 | 287.267 | 23.231 | 889.417 | 20.661 | 43.0788
2019-06-04 10:30:00 | 7.024 | 290.267 | 7.481 | 285 | 7.623 | 287.383 | 7.99 | 282.433 | 23.298 | 889.467 | 20.427 | 37.9542
2019-06-04 10:45:00 | 9.137 | 298.8 | 9.55 | 293.74 | 9.635 | 301.833 | 10.018 | 297.833 | 23.777 | 889.367 | 20.033 | 39.0698
2019-06-04 11:00:00 | 7.159 | 318.187 | 7.085 | 309.511 | 7.284 | 310.567 | 7.846 | 303.733 | 23.652 | 889.55 | 20.483 | 35.6591
2019-06-04 11:15:00 | 7.456 | 307.067 | 7.979 | 302.453 | 8.229 | 305.567 | 8.366 | 301.7 | 23.998 | 889.3 | 19.783 | 33.9153
2019-06-04 11:30:00 | 6.184 | 306.107 | 6.535 | 299.158 | 6.74 | 300.667 | 7.068 | 295.067 | 24.502 | 889.7 | 19.403 | 37.1335
2019-06-04 11:45:00 | 6.978 | 291.667 | 7.314 | 291.151 | 7.586 | 298.567 | 7.956 | 297.533 | 24.335 | 889.4 | 18.209 | 34.3317
2019-06-04 12:00:00 | 7.338 | 273.447 | 7.864 | 266.112 | 7.95 | 272.45 | 8.295 | 268.4 | 24.614 | 889.467 | 17.929 | 28.9897
2019-06-04 12:15:00 | 9.496 | 318.96 | 9.993 | 311.043 | 10.166 | 316.4 | 10.484 | 312.033 | 25.148 | 889.3 | 17.721 | 37.1463
2019-06-04 12:30:00 | 7.648 | 298.76 | 8.178 | 290.929 | 8.433 | 295.2 | 8.82 | 291.133 | 24.489 | 889.067 | 17.965 | 30.3376
2019-06-04 12:45:00 | 8.567 | 313.013 | 8.994 | 306.552 | 9.027 | 308.267 | 9.492 | 305.367 | 24.818 | 889.567 | 17.895 | 34.0894
2019-06-04 13:00:00 | 6.94 | 279.053 | 7.245 | 276.618 | 7.414 | 282.467 | 7.633 | 278.75 | 25.173 | 889.433 | 18.321 | 36.71
2019-06-04 13:15:00 | 4.205 | 315.08 | 4.372 | 301.76 | 4.428 | 302.9 | 4.832 | 289.883 | 25.206 | 889.333 | 16.947 | 32.4239
2019-06-04 13:30:00 | 6.104 | 306.34 | 6.58 | 302.202 | 6.581 | 308.667 | 7.097 | 306.933 | 25.735 | 889.367 | 16.836 | 30.6268
2019-06-04 13:45:00 | 7.584 | 293.24 | 8.152 | 286.564 | 8.242 | 290.6 | 8.607 | 286.467 | 25.518 | 889.333 | 17.891 | 34.8185
2019-06-04 14:00:00 | 7.715 | 269.227 | 8.063 | 269.198 | 8.376 | 274.733 | 9.199 | 271.733 | 26.202 | 889.3 | 17.399 | 41.468
2019-06-04 14:15:00 | 8.789 | 284.613 | 9.206 | 279.26 | 9.287 | 284.033 | 9.464 | 279.7 | 25.881 | 889.833 | 17.852 | 41.62
2019-06-04 14:30:00 | 5.906 | 265.627 | 6.671 | 262.798 | 7.092 | 268.683 | 7.263 | 263.917 | 27.056 | 889.367 | 16.284 | 35.6257
2019-06-04 14:45:00 | 6.498 | 284.833 | 7.383 | 274.253 | 7.323 | 280.683 | 7.276 | 273.233 | 26.818 | 889.367 | 15.917 | 41.3443
2019-06-04 15:00:00 | 8.513 | 267.667 | 9.13 | 261.479 | 9.208 | 266.55 | 9.351 | 259.067 | 26.798 | 889.933 | 15.993 | 35.583
2019-06-04 15:15:00 | 8.49 | 281.6 | 8.908 | 279.062 | 8.939 | 283.933 | 9.103 | 284.55 | 26.514 | 889.5 | 16.236 | 36.3469
2019-06-04 15:30:00 | 8.324 | 290.453 | 8.826 | 285.925 | 8.967 | 289.967 | 9.448 | 287.767 | 26.618 | 889.767 | 15.905 | 40.2557
2019-06-04 15:45:00 | 6.943 | 300.1 | 7.739 | 294.929 | 7.843 | 298.9 | 8.006 | 292.2 | 26.985 | 889.2 | 15.168 | 39.106
2019-06-04 16:00:00 | 7.238 | 287.267 | 7.384 | 279.349 | 7.713 | 283.25 | 8.024 | 278.25 | 26.977 | 889.6 | 14.904 | 42.6304
2019-06-04 16:15:00 | 7.884 | 279.427 | 8.347 | 277.465 | 8.496 | 283.133 | 8.858 | 278.8 | 26.744 | 889.5 | 15.161 | 48.7811
2019-06-04 16:30:00 | 7.841 | 285.507 | 8.44 | 282.334 | 8.465 | 288.033 | 8.697 | 285.6 | 27.239 | 890.1 | 14.617 | 36.6546
2019-06-04 16:45:00 | 8.352 | 298.307 | 8.644 | 293.639 | 8.622 | 297.8 | 9.172 | 295.233 | 26.573 | 889.333 | 16.095 | 36.4656
2019-06-04 17:00:00 | 7.44 | 286.007 | 7.777 | 282.159 | 7.885 | 284.9 | 8.667 | 280.283 | 27.623 | 889.567 | 15.016 | 38.8396
2019-06-04 17:15:00 | 9.452 | 282.133 | 10.459 | 277.888 | 10.215 | 285.55 | 10.362 | 280.733 | 27.656 | 889.533 | 14.565 | 45.7832
2019-06-04 17:30:00 | 7.316 | 312.68 | 7.562 | 306.246 | 7.924 | 311.533 | 8.418 | 306.567 | 27.144 | 889.133 | 15.709 | 48.4912
2019-06-04 17:45:00 | 7.362 | 315.68 | 7.925 | 308.82 | 7.972 | 312.1 | 8.3 | 310.5 | 26.885 | 889.5 | 15.992 | 45.6496
2019-06-04 18:00:00 | 9.126 | 280.64 | 9.497 | 277.556 | 9.473 | 283.283 | 10.112 | 280.3 | 27.673 | 889.6 | 14.892 | 48.9843
2019-06-04 18:15:00 | 7.405 | 299.453 | 7.781 | 296.411 | 7.934 | 301.533 | 8.682 | 300.667 | 27.385 | 889.967 | 15.944 | 45.5473
2019-06-04 18:30:00 | 7.418 | 266.313 | 8.163 | 266.185 | 8.215 | 270.35 | 8.404 | 267.183 | 27.081 | 889.267 | 15.519 | 44.8318
2019-06-04 18:45:00 | 7.215 | 295.373 | 7.724 | 293.226 | 7.962 | 297.2 | 8.514 | 295.733 | 26.744 | 889.1 | 16.457 | 39.9864
2019-06-04 19:00:00 | 8.391 | 266.727 | 8.897 | 267.124 | 8.95 | 269.283 | 9.094 | 263.983 | 27.26 | 889.4 | 16.137 | 51.5786
2019-06-04 19:15:00 | 7.647 | 312.84 | 8.154 | 306.138 | 8.118 | 312.9 | 8.902 | 309.867 | 26.76 | 889.4 | 15.376 | 39.9729
2019-06-04 19:30:00 | 7.507 | 288.32 | 8.363 | 286.917 | 8.808 | 288.267 | 9.38 | 284.533 | 26.777 | 889.433 | 15.727 | 46.7738
2019-06-04 19:45:00 | 8.154 | 293.8 | 8.685 | 288.87 | 8.795 | 295.933 | 8.955 | 293 | 26.618 | 889.333 | 15.323 | 47.6357
2019-06-04 20:00:00 | 7.577 | 288.813 | 8.301 | 283.828 | 8.419 | 287.733 | 8.844 | 285.133 | 26.768 | 889.6 | 14.967 | 57.401
2019-06-04 20:15:00 | 8.783 | 293.133 | 9.548 | 290.042 | 9.778 | 295.5 | 9.982 | 294.3 | 26.068 | 889.467 | 15.429 | 56.0118
2019-06-04 20:30:00 | 9.168 | 288.507 | 9.909 | 285.882 | 10.34 | 288.533 | 11.002 | 284.8 | 26.331 | 889.433 | 15.425 | 58.5628
2019-06-04 20:45:00 | 8.325 | 287.167 | 9.33 | 282.846 | 9.373 | 287.567 | 9.902 | 284.533 | 26.089 | 889.033 | 15.199 | 52.2352
2019-06-04 21:00:00 | 6.523 | 295.88 | 7.222 | 290.356 | 7.576 | 295.233 | 8.067 | 293.367 | 26.068 | 889.2 | 15.193 | 36.4258
2019-06-04 21:15:00 | 8.105 | 289.28 | 9.076 | 284.256 | 9.475 | 289.1 | 10.018 | 286.6 | 25.66 | 889.5 | 16.487 | 41.1091
2019-06-04 21:30:00 | 6.235 | 287.533 | 7.388 | 283.34 | 7.68 | 286.7 | 8.226 | 285.567 | 25.239 | 889.9 | 17.795 | 33.0989
2019-06-04 21:45:00 | 5.95 | 285.067 | 7.049 | 282.456 | 7.594 | 286.833 | 8.355 | 285.633 | 25.089 | 889.533 | 18.577 | 34.0717
2019-06-04 22:00:00 | 6.14 | 282.547 | 7.212 | 278.503 | 7.706 | 283.333 | 8.119 | 281.7 | 24.748 | 889.567 | 18.771 | 28.3395
2019-06-04 22:15:00 | 5.716 | 279.853 | 6.764 | 277.12 | 7.089 | 281.5 | 7.469 | 278.133 | 24.398 | 889.5 | 19.032 | 24.4158
2019-06-04 22:30:00 | 5.553 | 272.173 | 6.683 | 269.856 | 7.192 | 275.867 | 7.495 | 271.567 | 23.977 | 889.167 | 19.332 | 29.4061
2019-06-04 22:45:00 | 5.555 | 267.787 | 6.979 | 266.95 | 7.442 | 274.933 | 7.793 | 270.867 | 23.535 | 889.517 | 20.613 | 31.2273
2019-06-04 23:00:00 | 5.507 | 265.32 | 6.911 | 265.694 | 7.302 | 271.867 | 7.67 | 267.8 | 23.464 | 890.183 | 21.701 | 34.1179
2019-06-04 23:15:00 | 5.858 | 260.407 | 7.37 | 261.921 | 7.74 | 269.1 | 8.005 | 264.7 | 23.164 | 889.85 | 22.627 | 34.3246
2019-06-04 23:30:00 | 5.934 | 260.46 | 7.49 | 260.145 | 7.799 | 265.333 | 8.401 | 262.433 | 22.581 | 889.6 | 23.869 | 35.9582
2019-06-04 23:45:00 | 6.177 | 261.333 | 7.604 | 259.868 | 8.199 | 266.033 | 8.429 | 264.1 | 22.398 | 889.75 | 24.773 | 39.0009