## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-05 00:00:00 | 6.353 | 262.907 | 7.457 | 263.753 | 7.837 | 269.933 | 8.207 | 265.717 | 22.614 | 889.467 | 24.845 | 42.3697
2019-06-05 00:15:00 | 7.368 | 268.973 | 9.241 | 269.393 | 9.732 | 274.867 | 10.244 | 270.533 | 22.714 | 890.017 | 24.944 | 48.909
2019-06-05 00:30:00 | 6.75 | 277.24 | 8.183 | 277.787 | 8.489 | 282.367 | 9.003 | 279.767 | 22.781 | 889.7 | 25.784 | 46.5109
2019-06-05 00:45:00 | 6.759 | 273.827 | 8.132 | 271.04 | 8.634 | 278.967 | 9.176 | 273.633 | 21.931 | 890.067 | 26.723 | 58.2515
2019-06-05 01:00:00 | 8.321 | 268.307 | 9.91 | 268.282 | 10.393 | 275.033 | 10.918 | 268.833 | 21.831 | 889.9 | 28.008 | 72.7812
2019-06-05 01:15:00 | 8.293 | 270.373 | 9.862 | 269.18 | 10.32 | 274.267 | 10.749 | 270.767 | 21.777 | 889.667 | 29.267 | 71.3949
2019-06-05 01:30:00 | 7.617 | 265.58 | 9.16 | 266.014 | 9.591 | 271.967 | 10.043 | 267.767 | 21.356 | 889.867 | 29.96 | 59.7977
2019-06-05 01:45:00 | 7.244 | 265.573 | 8.561 | 264.363 | 8.906 | 271.1 | 9.228 | 267.933 | 21.123 | 889.667 | 30.675 | 57.9027
2019-06-05 02:00:00 | 7.47 | 265.647 | 8.94 | 265.524 | 9.552 | 270.9 | 9.872 | 268.233 | 20.373 | 889.617 | 31.52 | 62.0232
2019-06-05 02:15:00 | 7.075 | 266.08 | 8.311 | 266.314 | 8.664 | 272.133 | 9.187 | 267.833 | 20.473 | 889.917 | 32.36 | 50.9405
2019-06-05 02:30:00 | 6.398 | 269.16 | 7.956 | 268.817 | 8.518 | 274.667 | 8.957 | 272.733 | 19.848 | 889.633 | 33.181 | 43.9542
2019-06-05 02:45:00 | 6.137 | 263.867 | 7.456 | 264.369 | 7.969 | 272.1 | 8.372 | 267.067 | 19.635 | 890.033 | 33.941 | 36.8358
2019-06-05 03:00:00 | 5.635 | 261.94 | 7.353 | 261.64 | 7.71 | 270.167 | 7.806 | 266.133 | 19.389 | 889.75 | 34.245 | 33.8564
2019-06-05 03:15:00 | 5.96 | 262.66 | 7.36 | 263.603 | 7.478 | 270.967 | 7.821 | 267.833 | 18.939 | 890.017 | 34.68 | 28.4482
2019-06-05 03:30:00 | 5.252 | 258.627 | 6.774 | 261.239 | 6.931 | 269.567 | 7.096 | 266.433 | 18.714 | 889.65 | 35.443 | 24.3696
2019-06-05 03:45:00 | 5.024 | 256.38 | 6.239 | 259.739 | 6.509 | 266.1 | 6.691 | 262.733 | 18.552 | 889.817 | 35.965 | 21.079
2019-06-05 04:00:00 | 4.849 | 258.747 | 6.166 | 263.247 | 7.062 | 271.3 | 7.551 | 267.4 | 18.435 | 890 | 37.069 | 19.9222
2019-06-05 04:15:00 | 5.408 | 246.92 | 6.769 | 248.467 | 7.214 | 255.5 | 7.373 | 251.65 | 17.848 | 889.533 | 37.392 | 25.4575
2019-06-05 04:30:00 | 5.275 | 231.687 | 6.578 | 237.462 | 7.02 | 246.267 | 7.093 | 242.467 | 17.444 | 889.65 | 38.427 | 27.3319
2019-06-05 04:45:00 | 5.468 | 229.2 | 6.478 | 233.578 | 6.991 | 243.467 | 7.205 | 239.867 | 17.21 | 889.7 | 38.677 | 24.7576
2019-06-05 05:00:00 | 4.091 | 226.887 | 5.791 | 234.067 | 6.225 | 243.8 | 6.641 | 241.067 | 16.664 | 889.783 | 39.792 | 30.5267
2019-06-05 05:15:00 | 4.792 | 247.067 | 5.939 | 250.574 | 6.486 | 260.7 | 6.944 | 259.65 | 17.031 | 889.867 | 40.581 | 39.408
2019-06-05 05:30:00 | 5.674 | 239.2 | 7.06 | 242.423 | 7.704 | 249.767 | 7.838 | 246.95 | 17.039 | 889.4 | 40.837 | 52.2707
2019-06-05 05:45:00 | 6.406 | 243.62 | 7.803 | 245.26 | 8.107 | 253.2 | 8.491 | 250.383 | 17.51 | 889.5 | 40.272 | 56.7956
2019-06-05 06:00:00 | 6.182 | 248.727 | 7.856 | 252.71 | 8.293 | 259.233 | 8.751 | 255.417 | 17.956 | 890.067 | 40.155 | 55.3048
2019-06-05 06:15:00 | 6.098 | 250.087 | 7.338 | 252.231 | 8.059 | 259.667 | 8.316 | 258.233 | 17.598 | 889.633 | 40.448 | 55.0348
2019-06-05 06:30:00 | 6.161 | 248 | 7.623 | 248.56 | 8.233 | 255.9 | 8.476 | 252.35 | 17.714 | 889.667 | 39.853 | 65.785
2019-06-05 06:45:00 | 7.454 | 251.54 | 9.02 | 252.966 | 9.657 | 259.967 | 10.104 | 257 | 18.577 | 889.7 | 37.605 | 69.3357
2019-06-05 07:00:00 | 7.856 | 254.813 | 9.016 | 254.482 | 9.583 | 260.133 | 10.225 | 256.017 | 20.081 | 889.883 | 35.448 | 69.271
2019-06-05 07:15:00 | 10.11 | 263.78 | 11.372 | 262.689 | 11.861 | 267.933 | 12.095 | 264.35 | 19.906 | 889.7 | 34.56 | 71.596
2019-06-05 07:30:00 | 9.85 | 272.2 | 11.235 | 268.768 | 11.902 | 272.867 | 12.494 | 268.533 | 19.844 | 889.633 | 34.755 | 71.7331
2019-06-05 07:45:00 | 9.794 | 272.32 | 10.352 | 271.283 | 11.144 | 275.7 | 11.862 | 272.233 | 20.227 | 889.483 | 34.173 | 73.3738
2019-06-05 08:00:00 | 10.457 | 273 | 11.56 | 271.797 | 11.705 | 277.367 | 12.147 | 274.367 | 20.781 | 889.983 | 33.325 | 73.7753
2019-06-05 08:15:00 | 10.208 | 276.68 | 11.032 | 275.654 | 11.203 | 280.5 | 11.801 | 276.867 | 20.894 | 889.817 | 32.941 | 72.7059
2019-06-05 08:30:00 | 11.078 | 273.6 | 12.473 | 270.483 | 12.873 | 275.3 | 12.864 | 271.3 | 20.777 | 889.933 | 33.157 | 72.2838
2019-06-05 08:45:00 | 11.302 | 274.507 | 12.385 | 275.251 | 12.555 | 276.067 | 12.776 | 274.1 | 21.318 | 890.033 | 32.821 | 72.438
2019-06-05 09:00:00 | 12.438 | 272.733 | 13.557 | 271.996 | 13.768 | 275.6 | 14.107 | 274.6 | 21.331 | 889.7 | 33.568 | 66.8402
2019-06-05 09:15:00 | 14.138 | 281.573 | 15.495 | 279.484 | 15.57 | 283.2 | 15.604 | 280.2 | 21.318 | 889.65 | 33.741 | 59.4858
2019-06-05 09:30:00 | 13.354 | 270.607 | 14.281 | 274.941 | 14.488 | 279.167 | 14.86 | 275.733 | 22.056 | 889.633 | 34.256 | 58.1542
2019-06-05 09:45:00 | 12.63 | 268.66 | 13.545 | 270.576 | 13.716 | 273.733 | 13.734 | 269.833 | 21.735 | 889.9 | 34.571 | 56.8446
2019-06-05 10:00:00 | 12.113 | 295.747 | 12.888 | 291.3 | 13.27 | 294.867 | 13.918 | 291.633 | 21.985 | 890.317 | 33.763 | 55.6367
2019-06-05 10:15:00 | 12.285 | 293.947 | 13.102 | 291.187 | 13.076 | 296.8 | 13.735 | 293.833 | 21.781 | 889.817 | 33.461 | 52.7375
2019-06-05 10:30:00 | 10.715 | 281.133 | 11.359 | 278.785 | 11.557 | 282.6 | 12.123 | 280.6 | 22.398 | 889.85 | 33.115 | 52.7944
2019-06-05 10:45:00 | 12.183 | 285.8 | 12.787 | 284.419 | 13.103 | 289.433 | 13.659 | 287.433 | 21.818 | 890.117 | 32.827 | 53.7402
2019-06-05 11:00:00 | 11.096 | 293.347 | 12.121 | 292.287 | 12.256 | 296.8 | 12.9 | 294.7 | 22.881 | 890.117 | 31.171 | 56.9214
2019-06-05 11:15:00 | 12.74 | 274.347 | 13.966 | 276.561 | 13.951 | 280.767 | 14.419 | 277.633 | 22.627 | 889.917 | 32.141 | 61.2238
2019-06-05 11:30:00 | 12.917 | 284.56 | 13.958 | 284.479 | 14.211 | 288.967 | 14.787 | 284.667 | 22.66 | 890.25 | 31.045 | 66.168
2019-06-05 11:45:00 | 12.61 | 295.293 | 13.495 | 292.751 | 13.696 | 297.5 | 14.318 | 296.7 | 22.564 | 889.967 | 29.867 | 70.2246
2019-06-05 12:00:00 | 10.78 | 305.493 | 11.227 | 299.412 | 11.462 | 303.033 | 12.007 | 301.1 | 23.098 | 889.817 | 29.504 | 70.4164
2019-06-05 12:15:00 | 11.339 | 288.88 | 11.589 | 287.098 | 11.694 | 289.833 | 12.282 | 286.1 | 23.181 | 890.017 | 29.168 | 70.5294
2019-06-05 12:30:00 | 10.928 | 284.327 | 11.978 | 286.751 | 12.304 | 290.533 | 12.789 | 286.367 | 22.777 | 889.783 | 29.621 | 71.3622
2019-06-05 12:45:00 | 10.171 | 297.84 | 10.641 | 292.786 | 11.098 | 295.167 | 11.74 | 292.733 | 23.214 | 889.667 | 29.229 | 70.4314
2019-06-05 13:00:00 | 10.321 | 279.58 | 11.331 | 277.773 | 11.562 | 281.067 | 12.047 | 278.333 | 23.827 | 890.033 | 29.477 | 71.8802
2019-06-05 13:15:00 | 12.278 | 290.853 | 13.202 | 287.948 | 13.24 | 291.967 | 13.616 | 289.133 | 23.314 | 889.65 | 29.667 | 71.4141
2019-06-05 13:30:00 | 9.508 | 292.84 | 10.122 | 288.587 | 10.641 | 290.8 | 11.385 | 289.067 | 23.098 | 889.133 | 29.437 | 67.6452
2019-06-05 13:45:00 | 10.679 | 278.467 | 11.943 | 277.802 | 12.545 | 282.767 | 12.806 | 280.2 | 23.764 | 889.8 | 29.152 | 68.4439
2019-06-05 14:00:00 | 10.076 | 284.493 | 10.552 | 285.33 | 10.683 | 288.233 | 11.029 | 286 | 23.864 | 889.917 | 28.419 | 64.6154
2019-06-05 14:15:00 | 9.399 | 301.653 | 10.191 | 300.164 | 10.382 | 302.433 | 10.946 | 298.6 | 23.923 | 889.7 | 26.859 | 65.6095
2019-06-05 14:30:00 | 10.542 | 273.113 | 11 | 269.098 | 11.074 | 275 | 11.154 | 270.7 | 24.402 | 889.5 | 26.387 | 69.88
2019-06-05 14:45:00 | 8.57 | 280.52 | 9.394 | 279.24 | 9.862 | 283.267 | 10.237 | 279.567 | 24.289 | 889.75 | 26.133 | 69.2255
2019-06-05 15:00:00 | 10.504 | 282.313 | 11.225 | 280.637 | 11.332 | 285.167 | 11.693 | 282.3 | 24.389 | 889.567 | 25.509 | 69.2802
2019-06-05 15:15:00 | 10.738 | 292.387 | 11.593 | 287.155 | 11.489 | 289.633 | 11.667 | 284.333 | 24.26 | 889.367 | 25.349 | 67.4733
2019-06-05 15:30:00 | 10.238 | 280.44 | 10.959 | 278.579 | 11.428 | 281.433 | 11.586 | 279.133 | 24.894 | 889.583 | 24.901 | 59.9398
2019-06-05 15:45:00 | 10.405 | 304.013 | 10.724 | 301.042 | 11.148 | 305.9 | 11.382 | 302.033 | 24.644 | 889.267 | 24.808 | 67.8556
2019-06-05 16:00:00 | 9.029 | 275.713 | 9.297 | 273.72 | 9.346 | 278.833 | 9.698 | 276.367 | 25.494 | 889.767 | 23.067 | 50.8354
2019-06-05 16:15:00 | 10.461 | 292.467 | 11.649 | 289.684 | 11.833 | 294.933 | 12.347 | 292.2 | 25.139 | 889.717 | 24.051 | 60.6469
2019-06-05 16:30:00 | 10.124 | 302.44 | 10.61 | 298.014 | 10.932 | 303.567 | 11.988 | 302.7 | 25.568 | 890.2 | 23.605 | 58.6743
2019-06-05 16:45:00 | 10.04 | 307.6 | 10.638 | 302.186 | 10.701 | 303.233 | 11.25 | 302.167 | 25.289 | 889.767 | 25.357 | 68.8589
2019-06-05 17:00:00 | 11.014 | 306.093 | 11.927 | 297.595 | 12.293 | 299.2 | 12.91 | 297.5 | 25.268 | 889.95 | 24.869 | 71.6599
2019-06-05 17:15:00 | 11.742 | 287.533 | 12.458 | 285.325 | 12.775 | 289.467 | 13.03 | 287.033 | 25.714 | 889.817 | 24.848 | 71.2066
2019-06-05 17:30:00 | 10.522 | 291.753 | 11.344 | 289.954 | 11.635 | 292.733 | 12.044 | 291.067 | 24.96 | 889.583 | 25.293 | 71.1718
2019-06-05 17:45:00 | 9.878 | 292.6 | 10.653 | 291.052 | 10.843 | 295.9 | 11.518 | 293.733 | 24.768 | 889.15 | 25.928 | 71.8603
2019-06-05 18:00:00 | 10.907 | 294.08 | 11.789 | 287.655 | 12.005 | 291.867 | 12.528 | 289.7 | 24.935 | 889.583 | 25.651 | 69.8885
2019-06-05 18:15:00 | 10.523 | 284.58 | 11.417 | 282.554 | 11.622 | 287.233 | 12.216 | 285.867 | 25.139 | 889.55 | 26.163 | 62.6173
2019-06-05 18:30:00 | 9.606 | 282.213 | 10.5 | 277.384 | 10.498 | 280.7 | 10.956 | 275.7 | 24.868 | 889.45 | 26.197 | 58.7305
2019-06-05 18:45:00 | 11.488 | 276.88 | 12.548 | 272.644 | 12.67 | 279.1 | 13.252 | 275.7 | 24.868 | 889.983 | 26.267 | 58.334
2019-06-05 19:00:00 | 10.583 | 282.76 | 11.535 | 281.259 | 11.642 | 285.9 | 12.002 | 283.2 | 24.931 | 889.417 | 25.936 | 63.9844
2019-06-05 19:15:00 | 10.756 | 282.453 | 11.902 | 282.045 | 11.865 | 287.667 | 12.156 | 285.867 | 25.36 | 889.45 | 25.987 | 65.2449
2019-06-05 19:30:00 | 9.136 | 292.227 | 10.253 | 289.487 | 10.228 | 294.433 | 10.552 | 290.7 | 24.864 | 889.483 | 25.691 | 66.3484
2019-06-05 19:45:00 | 8.9 | 292.32 | 9.988 | 288.896 | 10.236 | 291.633 | 10.893 | 289.367 | 24.873 | 889.767 | 26.256 | 67.781
2019-06-05 20:00:00 | 8.61 | 282.653 | 9.473 | 282.804 | 9.684 | 285.9 | 10.115 | 284.333 | 24.789 | 889.85 | 26.165 | 64.4576
2019-06-05 20:15:00 | 9.492 | 285.747 | 10.289 | 283.653 | 10.464 | 289.067 | 11.148 | 287.167 | 24.456 | 889.833 | 26.835 | 64.9316
2019-06-05 20:30:00 | 9.344 | 286.053 | 10.436 | 282.569 | 10.558 | 286.667 | 11.461 | 283.233 | 24.144 | 889.55 | 27.339 | 57.0592
2019-06-05 20:45:00 | 9.054 | 281.907 | 10.067 | 280.6 | 10.126 | 283.767 | 10.544 | 282.567 | 24.114 | 889.867 | 27.979 | 49.6366
2019-06-05 21:00:00 | 10.059 | 284.187 | 10.808 | 281.361 | 11.119 | 284.8 | 11.675 | 281.467 | 24.11 | 889.3 | 28.997 | 46.3822
2019-06-05 21:15:00 | 9.627 | 284.373 | 10.675 | 280.752 | 10.984 | 284.333 | 11.465 | 282.267 | 23.514 | 889.783 | 29.827 | 43.999
2019-06-05 21:30:00 | 7.013 | 283.573 | 8.1 | 280.368 | 8.587 | 283.633 | 9.639 | 281.767 | 23.364 | 889.833 | 30.936 | 48.5281
2019-06-05 21:45:00 | 8.691 | 282.947 | 9.63 | 283.252 | 9.937 | 286.533 | 10.229 | 284 | 23.248 | 889.8 | 31.525 | 41.5227
2019-06-05 22:00:00 | 6.998 | 273.813 | 7.895 | 273.175 | 8.396 | 277.167 | 9.006 | 273.633 | 22.881 | 889.683 | 32.48 | 39.0492
2019-06-05 22:15:00 | 7.479 | 270.987 | 8.649 | 271.723 | 8.736 | 278.367 | 8.895 | 273.6 | 22.348 | 889.717 | 32.752 | 35.7756
2019-06-05 22:30:00 | 5.72 | 274.133 | 6.799 | 272.656 | 7.122 | 278.267 | 7.886 | 274.1 | 22.414 | 889.933 | 33.123 | 34.0063
2019-06-05 22:45:00 | 6.585 | 272.48 | 7.588 | 270.65 | 8.06 | 275.767 | 8.481 | 273.767 | 22.256 | 889.367 | 33.475 | 36.6127
2019-06-05 23:00:00 | 6.037 | 269.36 | 7.275 | 267.773 | 7.851 | 272.033 | 8.159 | 269.433 | 21.777 | 889.733 | 33.653 | 34.3523
2019-06-05 23:15:00 | 6.03 | 266.613 | 7.16 | 267.436 | 7.507 | 273.533 | 7.915 | 269.8 | 21.764 | 890 | 33.965 | 30.8215
2019-06-05 23:30:00 | 5.695 | 269.453 | 7.102 | 268.47 | 7.593 | 275.633 | 7.939 | 272.4 | 21.331 | 889.9 | 34.453 | 32.2384
2019-06-05 23:45:00 | 5.836 | 272.16 | 6.746 | 274.203 | 7.138 | 279.7 | 7.754 | 276.967 | 21.431 | 889.683 | 34.432 | 29.8765