## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-06 00:00:00 | 5.344 | 272.28 | 6.879 | 272.718 | 7.252 | 278.933 | 7.824 | 275.5 | 20.981 | 889.85 | 34.971 | 26.6889
2019-06-06 00:15:00 | 5.56 | 273.213 | 7.002 | 273.075 | 7.46 | 278.767 | 7.841 | 275.567 | 20.877 | 889.65 | 35.125 | 20.9582
2019-06-06 00:30:00 | 4.989 | 268.093 | 6.288 | 270.475 | 6.528 | 276.9 | 7.056 | 274.867 | 20.635 | 889.717 | 35.219 | 17.8516
2019-06-06 00:45:00 | 4.634 | 258.867 | 5.783 | 265.044 | 6.099 | 273.2 | 6.597 | 269.667 | 20.373 | 889.9 | 35.832 | 15.3703
2019-06-06 01:00:00 | 4.325 | 245.147 | 5.496 | 258.168 | 5.713 | 267 | 5.983 | 264.767 | 19.498 | 889.583 | 36.731 | 16.4397
2019-06-06 01:15:00 | 5.883 | 228.36 | 6.476 | 233.08 | 6.35 | 246.833 | 6.534 | 249.867 | 18.273 | 889.317 | 38.197 | 22.9293
2019-06-06 01:30:00 | 5.421 | 236.933 | 6.317 | 238.857 | 6.292 | 246.9 | 6.236 | 244.333 | 18.439 | 889.933 | 38.699 | 25.1114
2019-06-06 01:45:00 | 5.552 | 257.333 | 7.013 | 261.162 | 7.317 | 267.733 | 7.93 | 264.6 | 18.002 | 889.492 | 41.011 | 30.7277
2019-06-06 02:00:00 | 5.388 | 251.98 | 6.913 | 257.333 | 7.425 | 263.8 | 7.855 | 260.533 | 18.431 | 889.933 | 43.611 | 27.7377
2019-06-06 02:15:00 | 5.366 | 234.773 | 6.374 | 243.146 | 6.639 | 252.367 | 6.921 | 251 | 17.331 | 889.742 | 45.403 | 28.9115
2019-06-06 02:30:00 | 5.612 | 247.347 | 6.606 | 251.975 | 6.728 | 260.733 | 7.044 | 258.5 | 17.414 | 889.767 | 47.893 | 27.494
2019-06-06 02:45:00 | 5.131 | 243.113 | 6.573 | 252.465 | 6.954 | 260.867 | 7.309 | 257.9 | 17.377 | 890.192 | 49.269 | 26.5951
2019-06-06 03:00:00 | 5.03 | 237.273 | 6.212 | 247.198 | 6.481 | 256.467 | 6.806 | 255.317 | 17.031 | 889.483 | 50.901 | 26.998
2019-06-06 03:15:00 | 5.828 | 223.06 | 6.948 | 228.139 | 6.762 | 236.467 | 6.666 | 234.533 | 17.014 | 890.008 | 51.563 | 32.5525
2019-06-06 03:30:00 | 6.35 | 227.933 | 7.281 | 228.979 | 7.292 | 236.433 | 7.271 | 233.567 | 17.331 | 889.625 | 51.637 | 35.2043
2019-06-06 03:45:00 | 6.098 | 226.933 | 7.6 | 227.666 | 7.68 | 235.1 | 7.53 | 232.633 | 16.948 | 890.217 | 51.083 | 40.9812
2019-06-06 04:00:00 | 6.41 | 236.22 | 7.692 | 234.549 | 7.893 | 241.933 | 7.864 | 236.767 | 17.339 | 889.667 | 50.709 | 41.6989
2019-06-06 04:15:00 | 6.23 | 233.987 | 7.611 | 234.834 | 7.746 | 242.333 | 7.662 | 240.4 | 17.081 | 890.292 | 50.133 | 38.8808
2019-06-06 04:30:00 | 5.901 | 234.88 | 7.312 | 235.946 | 7.798 | 242.9 | 7.84 | 239.2 | 17.335 | 889.642 | 49.749 | 33.9395
2019-06-06 04:45:00 | 5.339 | 220.987 | 7.348 | 225.939 | 7.738 | 237.833 | 7.571 | 236.333 | 16.362 | 889.567 | 51.403 | 36.6247
2019-06-06 05:00:00 | 5.949 | 228.88 | 7.477 | 234.175 | 7.727 | 243.8 | 7.723 | 241.767 | 16.258 | 889.842 | 52.085 | 35.8872
2019-06-06 05:15:00 | 5.986 | 231.813 | 7.545 | 234.726 | 7.887 | 242.867 | 7.906 | 240.467 | 16.272 | 889.467 | 51.968 | 34.6764
2019-06-06 05:30:00 | 5.896 | 232.54 | 7.41 | 236.77 | 7.61 | 244.733 | 7.583 | 240.933 | 16.481 | 890.125 | 50.336 | 31.7751
2019-06-06 05:45:00 | 5.669 | 217.213 | 7.354 | 222.668 | 7.863 | 234 | 7.814 | 232.033 | 15.946 | 889.942 | 51.531 | 35.6399
2019-06-06 06:00:00 | 5.506 | 227.56 | 7.562 | 230.294 | 7.883 | 238.5 | 7.968 | 234.733 | 15.825 | 889.767 | 51.243 | 35.5894
2019-06-06 06:15:00 | 5.916 | 219.353 | 7.963 | 223.013 | 8.485 | 231.833 | 8.327 | 228.567 | 15.832 | 890.192 | 51.563 | 35.0665
2019-06-06 06:30:00 | 5.834 | 219.093 | 7.877 | 219.835 | 7.69 | 227.733 | 7.758 | 226.333 | 15.735 | 890.067 | 51.627 | 31.4802
2019-06-06 06:45:00 | 5.782 | 222.8 | 7.348 | 225.64 | 7.591 | 234.467 | 7.502 | 233.167 | 16.364 | 889.5 | 49.611 | 30.9061
2019-06-06 07:00:00 | 5.163 | 225.067 | 6.922 | 225.254 | 7.613 | 234.133 | 7.6 | 232.2 | 17.164 | 890.042 | 46.272 | 27.8265
2019-06-06 07:15:00 | 5.257 | 230.727 | 6.716 | 230.453 | 7.175 | 238.6 | 7.125 | 236.5 | 18.085 | 889.808 | 42.645 | 26.2569
2019-06-06 07:30:00 | 4.98 | 230.587 | 6.005 | 230.74 | 6.474 | 239.067 | 6.722 | 236.633 | 19.068 | 889.217 | 39.2 | 20.4387
2019-06-06 07:45:00 | 5.424 | 232.773 | 5.73 | 231.17 | 6.037 | 236.733 | 6.304 | 232.967 | 20.148 | 889.4 | 35.717 | 18.5401
2019-06-06 08:00:00 | 5.723 | 242.307 | 6.137 | 243.844 | 6.399 | 246.3 | 6.445 | 241.85 | 20.931 | 889.367 | 33.461 | 16.3096
2019-06-06 08:15:00 | 5.147 | 249.74 | 5.336 | 245.947 | 5.527 | 252.133 | 5.891 | 248.067 | 21.773 | 889.583 | 30.656 | 18.0292
2019-06-06 08:30:00 | 5.958 | 259.4 | 6.444 | 258.803 | 6.409 | 265.717 | 6.583 | 260.717 | 22.531 | 889.717 | 29.216 | 19.9669
2019-06-06 08:45:00 | 6.786 | 276.787 | 7.225 | 276.14 | 7.363 | 280 | 7.583 | 276.5 | 22.077 | 890.15 | 29.387 | 18.9593
2019-06-06 09:00:00 | 6.289 | 273.68 | 6.609 | 272.557 | 6.696 | 277.833 | 6.73 | 272.333 | 22.035 | 889.683 | 29.432 | 18.0981
2019-06-06 09:15:00 | 5.727 | 284.967 | 5.989 | 287.232 | 6.05 | 292.6 | 6.309 | 291.1 | 22.381 | 889.933 | 28.299 | 19.9918
2019-06-06 09:30:00 | 6.065 | 284.64 | 6.47 | 279.828 | 6.595 | 282.983 | 6.911 | 278.933 | 22.664 | 889.467 | 28.581 | 24.0889
2019-06-06 09:45:00 | 7.473 | 268.46 | 8.092 | 270.877 | 8.578 | 273.833 | 8.915 | 274.3 | 22.964 | 889.633 | 29.427 | 33.3682
2019-06-06 10:00:00 | 6.456 | 296.68 | 6.747 | 293.099 | 6.698 | 294.8 | 6.912 | 292.1 | 22.664 | 890.25 | 29.76 | 39.2105
2019-06-06 10:15:00 | 7.194 | 272.52 | 7.942 | 270.241 | 8.096 | 276.9 | 8.346 | 273 | 23.181 | 889.683 | 30.093 | 38.3237
2019-06-06 10:30:00 | 6.4 | 289.253 | 6.562 | 288.432 | 6.702 | 291.833 | 7.157 | 287.1 | 22.831 | 889.733 | 29.717 | 31.5868
2019-06-06 10:45:00 | 10.01 | 300.053 | 10.651 | 295.123 | 10.865 | 300.867 | 11.28 | 298.167 | 23.556 | 889.95 | 29.147 | 43.9969
2019-06-06 11:00:00 | 8.099 | 294.167 | 8.81 | 293.198 | 8.672 | 300.433 | 9.013 | 297.3 | 23.581 | 889.767 | 29.389 | 43.1648
2019-06-06 11:15:00 | 8.239 | 290.793 | 8.879 | 287.744 | 8.883 | 289.533 | 9.642 | 287.517 | 24.289 | 889.817 | 27.885 | 53.7608
2019-06-06 11:30:00 | 8.466 | 315.133 | 9.032 | 309.948 | 9.538 | 312.267 | 9.623 | 308.133 | 23.677 | 889.333 | 27.371 | 45.5878
2019-06-06 11:45:00 | 7.559 | 319.267 | 8.02 | 315.976 | 8.155 | 319.7 | 8.634 | 316.567 | 23.956 | 889.85 | 26.72 | 36.5672
2019-06-06 12:00:00 | 8.776 | 277.387 | 9.59 | 275.109 | 9.707 | 278.833 | 9.781 | 275.867 | 24.218 | 889.7 | 26.917 | 34.2728
2019-06-06 12:15:00 | 7.532 | 308.093 | 7.942 | 307.436 | 8.198 | 312 | 8.612 | 311.4 | 24.86 | 889.633 | 25.907 | 34.3161
2019-06-06 12:30:00 | 7.16 | 290.327 | 7.602 | 290.601 | 8.255 | 294.7 | 8.633 | 292.233 | 25.489 | 889.5 | 25.411 | 29.9568
2019-06-06 12:45:00 | 6.894 | 312.04 | 7.138 | 304.898 | 7.252 | 307.033 | 7.818 | 305.667 | 24.856 | 889.6 | 25.429 | 28.4575
2019-06-06 13:00:00 | 6.894 | 290.16 | 7.44 | 292.369 | 7.796 | 296.983 | 8.314 | 295.1 | 25.998 | 889.75 | 23.987 | 24.894
2019-06-06 13:15:00 | 3.801 | 295.887 | 3.836 | 297.915 | 4.034 | 307.1 | 4.725 | 303.533 | 25.985 | 889.9 | 23.493 | 18.442
2019-06-06 13:30:00 | 6.784 | 269.413 | 7.219 | 266.06 | 7.145 | 270 | 7.181 | 267.6 | 26.018 | 889.633 | 21.968 | 19.0702
2019-06-06 13:45:00 | 6.978 | 296.54 | 7.308 | 291.515 | 7.395 | 299.933 | 7.725 | 294.3 | 26.36 | 889.55 | 22.171 | 24.047
2019-06-06 14:00:00 | 6.389 | 292.507 | 6.877 | 288.465 | 7.387 | 293.3 | 7.727 | 290.767 | 25.906 | 889.8 | 23.205 | 26.9674
2019-06-06 14:15:00 | 7.947 | 286.42 | 8.24 | 287.562 | 8.307 | 291.033 | 8.774 | 288.567 | 26.668 | 889.767 | 22.203 | 29.1617
2019-06-06 14:30:00 | 7.536 | 306.68 | 7.738 | 303.202 | 7.752 | 306.9 | 8.045 | 305.1 | 27.039 | 889.417 | 21.803 | 25.7119
2019-06-06 14:45:00 | 7.699 | 286.087 | 8.06 | 288.03 | 7.946 | 292.567 | 8.179 | 289.7 | 26.281 | 889.667 | 22.179 | 19.8504
2019-06-06 15:00:00 | 5.241 | 289.52 | 5.565 | 285.331 | 5.687 | 288.433 | 5.809 | 284.833 | 27.014 | 889.967 | 21.371 | 19.0311
2019-06-06 15:15:00 | 6.471 | 266.907 | 7.141 | 267.58 | 7.313 | 273.333 | 7.439 | 269.667 | 27.614 | 889.5 | 20.28 | 20.9894
2019-06-06 15:30:00 | 7.156 | 293.1 | 7.672 | 295.476 | 7.93 | 299.133 | 8.001 | 296.333 | 28.277 | 889.267 | 19.637 | 26.1439
2019-06-06 15:45:00 | 5.417 | 312.413 | 5.529 | 306.801 | 5.846 | 306.433 | 6.225 | 303.5 | 27.548 | 889.383 | 20.283 | 26.8736
2019-06-06 16:00:00 | 8.338 | 274.02 | 9.092 | 271.935 | 9.302 | 275.767 | 9.658 | 271.017 | 27.989 | 889.367 | 19.628 | 30.7178
2019-06-06 16:15:00 | 7.296 | 279.513 | 7.432 | 279.52 | 7.56 | 282.033 | 7.75 | 278.6 | 28.602 | 889.633 | 17.712 | 25.9208
2019-06-06 16:30:00 | 7.23 | 315.64 | 7.586 | 313.4 | 7.854 | 316.233 | 8.178 | 312.8 | 27.698 | 889.533 | 18.212 | 26.5823
2019-06-06 16:45:00 | 6.595 | 295.247 | 7.257 | 286.332 | 7.666 | 289.2 | 8.123 | 285.8 | 28.035 | 889.6 | 18.448 | 33.7789
2019-06-06 17:00:00 | 5.88 | 317.187 | 5.956 | 312.765 | 6.106 | 318.7 | 6.501 | 316.5 | 28.189 | 889.567 | 19.212 | 23.6768
2019-06-06 17:15:00 | 6.927 | 311.627 | 7.056 | 307.453 | 7.048 | 309.233 | 7.371 | 307.133 | 28.294 | 889.633 | 18.492 | 22.8326
2019-06-06 17:30:00 | 6.305 | 302.52 | 6.461 | 296.49 | 6.615 | 298.333 | 6.783 | 296.733 | 28.323 | 889.633 | 17.405 | 24.3113
2019-06-06 17:45:00 | 5.992 | 317.44 | 6.255 | 312.066 | 6.467 | 317.4 | 6.893 | 314.633 | 28.631 | 889.433 | 17.428 | 24.6346
2019-06-06 18:00:00 | 5.348 | 291.307 | 5.547 | 286.876 | 5.789 | 292.367 | 6.285 | 291.067 | 28.327 | 889.367 | 18.036 | 21.0598
2019-06-06 18:15:00 | 5.109 | 323.32 | 5.469 | 315.998 | 5.786 | 321.4 | 6.207 | 317.6 | 28.527 | 889.633 | 18.736 | 29.3073
2019-06-06 18:30:00 | 7.745 | 307 | 8.406 | 303.816 | 8.631 | 309.2 | 9.424 | 306.133 | 29.014 | 889.733 | 17.677 | 24.835
2019-06-06 18:45:00 | 6.234 | 322.307 | 6.293 | 314.639 | 6.398 | 318 | 6.647 | 313.3 | 28.41 | 889.267 | 17.684 | 18.6112
2019-06-06 19:00:00 | 4.962 | 291.767 | 5.178 | 288.722 | 5.216 | 294.867 | 5.58 | 291.2 | 28.814 | 889.5 | 17.833 | 24.9707
2019-06-06 19:15:00 | 5.423 | 286.7 | 5.92 | 283.288 | 6.072 | 288.167 | 6.529 | 284.667 | 28.598 | 889.667 | 18.452 | 13.7104
2019-06-06 19:30:00 | 5.14 | 285.187 | 5.462 | 285.17 | 5.425 | 292.3 | 6.038 | 291.917 | 28.635 | 889.333 | 17.583 | 17.3449
2019-06-06 19:45:00 | 4.861 | 287.907 | 5.106 | 286.211 | 5.377 | 289.2 | 5.635 | 285.867 | 28.568 | 889.833 | 17.852 | 17.9056
2019-06-06 20:00:00 | 5.04 | 331 | 5.317 | 323.601 | 5.434 | 327 | 5.713 | 325.7 | 28.523 | 889.7 | 17.511 | 12.6659
2019-06-06 20:15:00 | 5.36 | 296.107 | 5.593 | 288.898 | 5.872 | 293.333 | 6.413 | 289.367 | 28.394 | 889.433 | 17.563 | 12.744
2019-06-06 20:30:00 | 4.53 | 291.187 | 4.733 | 291.73 | 4.941 | 293.033 | 5.252 | 291.233 | 28.494 | 889.833 | 17.365 | 8.9261
2019-06-06 20:45:00 | 3.568 | 293.92 | 3.811 | 287.469 | 3.884 | 293.267 | 4.372 | 290.617 | 28.527 | 889.333 | 17.185 | 7.8624
2019-06-06 21:00:00 | 4.167 | 296.133 | 4.417 | 292.176 | 4.562 | 296.633 | 4.872 | 294.133 | 28.035 | 889.633 | 17.663 | 7.1568
2019-06-06 21:15:00 | 3.972 | 285.507 | 4.612 | 283.165 | 4.966 | 288.433 | 5.434 | 285.8 | 27.731 | 889.233 | 18.755 | 7.3771
2019-06-06 21:30:00 | 4.39 | 305.12 | 5.087 | 301.612 | 5.338 | 305.833 | 5.824 | 304.167 | 27.352 | 889.9 | 19.632 | 8.1282
2019-06-06 21:45:00 | 3.992 | 296.747 | 4.867 | 288.108 | 5.423 | 291.767 | 5.824 | 287.667 | 26.681 | 889.633 | 19.852 | 8.9837
2019-06-06 22:00:00 | 4.004 | 282.113 | 5.363 | 283.841 | 5.746 | 288.4 | 6.182 | 287.167 | 26.189 | 889.433 | 19.984 | 10.2698
2019-06-06 22:15:00 | 4.014 | 281.533 | 4.734 | 282.665 | 4.898 | 287.967 | 5.246 | 286 | 25.31 | 889.733 | 20.68 | 9.8264
2019-06-06 22:30:00 | 4.015 | 278.867 | 4.953 | 286.318 | 5.174 | 292.9 | 5.603 | 290.033 | 25.339 | 890.033 | 20.963 | 10.1469
2019-06-06 22:45:00 | 4.555 | 271.587 | 5.058 | 276.442 | 5.121 | 282.133 | 5.481 | 280.833 | 24.685 | 890.4 | 21.656 | 9.901
2019-06-06 23:00:00 | 4.265 | 272.093 | 4.971 | 277.027 | 5.18 | 281.233 | 5.624 | 280.4 | 23.881 | 890.25 | 22.629 | 10.8397
2019-06-06 23:15:00 | 4.349 | 251.46 | 5.273 | 269.949 | 5.541 | 279.1 | 5.934 | 277.967 | 23.731 | 889.967 | 23.224 | 12.0832
2019-06-06 23:30:00 | 4.922 | 258.26 | 5.728 | 269.106 | 6.176 | 277.167 | 6.596 | 275 | 23.231 | 889.767 | 24.435 | 15.8265
2019-06-06 23:45:00 | 4.978 | 254.333 | 5.889 | 267.204 | 6.044 | 274.733 | 6.44 | 272.767 | 22.614 | 889.833 | 24.944 | 16.4468