## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-07 00:00:00 | 5.187 | 252.333 | 5.879 | 264.112 | 5.982 | 272.667 | 6.449 | 270.833 | 22.081 | 889.533 | 25.344 | 17.2824
2019-06-07 00:15:00 | 5.224 | 252.213 | 5.963 | 263.894 | 6.026 | 272.367 | 6.439 | 269.867 | 22.277 | 889.867 | 25.381 | 18.0328
2019-06-07 00:30:00 | 5.24 | 251.467 | 6.118 | 265.701 | 6.046 | 273.2 | 6.438 | 271 | 21.835 | 889.433 | 25.837 | 15.8101
2019-06-07 00:45:00 | 4.912 | 246.86 | 5.628 | 263.357 | 5.644 | 271.267 | 5.995 | 268.633 | 21.348 | 889.883 | 26.595 | 14.9724
2019-06-07 01:00:00 | 5.185 | 254.773 | 5.344 | 265.9 | 5.354 | 274.567 | 5.891 | 271.533 | 21.098 | 889.583 | 27.011 | 11.3364
2019-06-07 01:15:00 | 5.827 | 242.993 | 5.683 | 256.337 | 5.539 | 265.467 | 5.828 | 264.033 | 21.31 | 889.3 | 27.611 | 11.6867
2019-06-07 01:30:00 | 5.258 | 238.233 | 5.356 | 253.967 | 5.404 | 261.467 | 5.55 | 259.633 | 20.373 | 889.483 | 28.296 | 10.8297
2019-06-07 01:45:00 | 5.368 | 234.527 | 5.439 | 249.904 | 5.186 | 259.8 | 5.372 | 258.783 | 20.514 | 889.817 | 28.715 | 10.2279
2019-06-07 02:00:00 | 5.354 | 233.44 | 5.584 | 246.033 | 5.278 | 255.367 | 5.391 | 253.6 | 20.473 | 890.233 | 29.056 | 11.0635
2019-06-07 02:15:00 | 5.468 | 223.68 | 5.668 | 245.511 | 5.073 | 256.9 | 5.199 | 256.167 | 19.548 | 889.733 | 30.016 | 9.7973
2019-06-07 02:30:00 | 6.114 | 223.447 | 6.554 | 230.898 | 5.255 | 249.933 | 4.78 | 255.4 | 18.652 | 889.55 | 30.859 | 9.685
2019-06-07 02:45:00 | 5.694 | 227.793 | 6.238 | 235.474 | 5.536 | 247.233 | 4.733 | 251.1 | 19.164 | 890.05 | 30.923 | 10.9065
2019-06-07 03:00:00 | 6.061 | 226.473 | 6.612 | 234.918 | 5.767 | 245.333 | 5.149 | 244.9 | 18.856 | 890.25 | 31.125 | 12.5408
2019-06-07 03:15:00 | 5.938 | 227.4 | 6.343 | 238.032 | 5.833 | 250.733 | 5.308 | 252.733 | 18.506 | 889.783 | 31.605 | 12.4768
2019-06-07 03:30:00 | 5.808 | 223.2 | 6.907 | 232.152 | 6.059 | 246.667 | 5.289 | 251.967 | 18.539 | 889.733 | 32.155 | 15.0711
2019-06-07 03:45:00 | 6.127 | 217.007 | 7.372 | 220.285 | 6.694 | 231.333 | 6.007 | 231.4 | 18.468 | 890.083 | 32.432 | 18.0534
2019-06-07 04:00:00 | 5.737 | 220.767 | 7.691 | 219.268 | 7.068 | 226.133 | 6.448 | 224.933 | 18.673 | 889.583 | 32.597 | 18.6993
2019-06-07 04:15:00 | 5.632 | 220.4 | 7.279 | 218.696 | 6.936 | 224.8 | 6.484 | 222.733 | 18.423 | 889.833 | 32.565 | 14.8345
2019-06-07 04:30:00 | 5.618 | 220.167 | 6.321 | 222.523 | 5.861 | 231.1 | 5.637 | 229.833 | 18.994 | 889.45 | 32.459 | 10.1902
2019-06-07 04:45:00 | 4.803 | 222.853 | 5.89 | 232.166 | 5.545 | 240.667 | 5.334 | 238.4 | 18.494 | 889.983 | 33.589 | 10.1739
2019-06-07 05:00:00 | 5.51 | 221.507 | 6.247 | 226.018 | 5.939 | 236.633 | 5.596 | 234.967 | 17.314 | 889.55 | 34.469 | 11.8622
2019-06-07 05:15:00 | 5.165 | 225.907 | 5.883 | 228.798 | 5.808 | 236.367 | 5.693 | 233.567 | 17.585 | 889.85 | 35.92 | 11.2866
2019-06-07 05:30:00 | 5.869 | 221.953 | 6.894 | 226.376 | 6.456 | 234.167 | 6.257 | 231.067 | 18.052 | 889.783 | 35.968 | 12.1187
2019-06-07 05:45:00 | 5.203 | 230.467 | 6.33 | 226.565 | 5.975 | 237.267 | 5.766 | 236 | 18.539 | 889.55 | 34.891 | 11.1246
2019-06-07 06:00:00 | 6.006 | 218.467 | 7.055 | 219.586 | 6.245 | 230.333 | 5.745 | 230.167 | 18.789 | 890.1 | 35.579 | 13.829
2019-06-07 06:15:00 | 7.016 | 216.133 | 7.384 | 218.924 | 6.763 | 226.667 | 5.918 | 229.367 | 18.539 | 890.233 | 35.056 | 15.2438
2019-06-07 06:30:00 | 6.689 | 219.66 | 6.957 | 220.652 | 6.275 | 230 | 5.836 | 227.733 | 19.744 | 889.733 | 33.451 | 11.7855
2019-06-07 06:45:00 | 6.09 | 223.427 | 6.965 | 225.181 | 6.225 | 234 | 5.821 | 233.233 | 19.523 | 889.55 | 32.517 | 16.1085
2019-06-07 07:00:00 | 6.252 | 224.213 | 7.461 | 223.235 | 7.138 | 231.467 | 6.767 | 230.8 | 20.298 | 889.75 | 30.976 | 21.3071
2019-06-07 07:15:00 | 5.512 | 236.173 | 6.955 | 227.856 | 7.348 | 234.133 | 6.836 | 230.633 | 21.41 | 889.633 | 29.008 | 23.4444
2019-06-07 07:30:00 | 4.752 | 248.8 | 5.518 | 239.826 | 6.363 | 241.017 | 6.86 | 234.9 | 22.831 | 889.667 | 27.152 | 21.6929
2019-06-07 07:45:00 | 5.003 | 236.98 | 5.586 | 235.625 | 5.982 | 246 | 6.063 | 243.433 | 23.881 | 889.45 | 24.992 | 12.5379
2019-06-07 08:00:00 | 4.795 | 251.867 | 4.872 | 249.095 | 5.036 | 256.517 | 5.189 | 253.467 | 25.323 | 889.733 | 22.989 | 12.1763
2019-06-07 08:15:00 | 5.634 | 252.993 | 5.822 | 248.879 | 5.866 | 251.9 | 6.078 | 247.683 | 25.718 | 889.483 | 22.307 | 16.451
2019-06-07 08:30:00 | 5.281 | 242.84 | 5.339 | 240.818 | 5.539 | 244.533 | 5.569 | 238.817 | 24.814 | 889.933 | 24.155 | 14.7329
2019-06-07 08:45:00 | 4.652 | 243.893 | 4.742 | 242.919 | 4.699 | 248.917 | 4.912 | 244.617 | 25.656 | 889.667 | 23.373 | 7.1028
2019-06-07 09:00:00 | 4.909 | 260.547 | 5.256 | 256.057 | 5.321 | 260.383 | 5.408 | 256.1 | 26.439 | 889.75 | 22.541 | 9.5514
2019-06-07 09:15:00 | 4.863 | 273.767 | 4.935 | 267.696 | 4.962 | 272.433 | 5.069 | 269.933 | 26.294 | 889.9 | 23.112 | 7.6926
2019-06-07 09:30:00 | 4.924 | 277.347 | 5.17 | 273.964 | 5.141 | 278.6 | 5.394 | 275.6 | 26.306 | 889.967 | 23.653 | 8.5446
2019-06-07 09:45:00 | 5.434 | 312.093 | 5.765 | 302.341 | 6.424 | 304.7 | 6.638 | 301.133 | 26.044 | 889.967 | 24.067 | 12.1798
2019-06-07 10:00:00 | 5.266 | 278.14 | 5.36 | 278.2 | 5.281 | 281.767 | 5.487 | 285.967 | 26.66 | 889.7 | 23.947 | 11.0003
2019-06-07 10:15:00 | 6.014 | 301.947 | 6.152 | 296.883 | 6.441 | 300.3 | 6.731 | 297.833 | 26.848 | 889.517 | 24.171 | 9.3944
2019-06-07 10:30:00 | 5.622 | 297.333 | 5.811 | 289.798 | 6.049 | 298.033 | 6.413 | 295.2 | 26.806 | 889.6 | 23.949 | 10.6031
2019-06-07 10:45:00 | 5.933 | 320.6 | 6.203 | 313.996 | 6.468 | 322 | 6.599 | 320.233 | 26.906 | 889.783 | 24.157 | 11.7016
2019-06-07 11:00:00 | 5.606 | 329 | 5.859 | 323.945 | 6.018 | 324.333 | 6.41 | 321 | 27.91 | 889.683 | 23.272 | 13.0595
2019-06-07 11:15:00 | 5.866 | 304.333 | 5.941 | 304.896 | 6.003 | 310.3 | 6.309 | 309.033 | 27.656 | 889.567 | 22.693 | 12.3305
2019-06-07 11:30:00 | 6.456 | 308.747 | 6.686 | 303.241 | 6.735 | 310.233 | 6.994 | 310 | 27.789 | 889.5 | 22.901 | 13.7097
2019-06-07 11:45:00 | 6.122 | 280.253 | 6.579 | 329.996 | 7.052 | 319.067 | 7.178 | 324.933 | 27.856 | 889.9 | 23.056 | 16.0027
2019-06-07 12:00:00 | 4.064 | 306.08 | 4.567 | 304.668 | 4.99 | 313.2 | 5.566 | 305.933 | 27.823 | 890.05 | 23.067 | 13.6663
2019-06-07 12:15:00 | 4.22 | 285.747 | 4.107 | 287.74 | 4.378 | 297.383 | 4.912 | 290.117 | 27.885 | 889.667 | 22.816 | 22.137
2019-06-07 12:30:00 | 6.721 | 316.04 | 7.105 | 308.218 | 7.316 | 315.9 | 7.752 | 311.433 | 27.985 | 889.233 | 23.243 | 28.5541
2019-06-07 12:45:00 | 8.535 | 316.707 | 8.929 | 308.622 | 9.22 | 311.167 | 9.487 | 310.267 | 28.377 | 889.6 | 23.371 | 33.3142
2019-06-07 13:00:00 | 7.428 | 283.16 | 8.358 | 327.5 | 8.63 | 331.5 | 9.021 | 330.567 | 28.735 | 889.467 | 23.392 | 31.1079
2019-06-07 13:15:00 | 7.756 | 314.747 | 8.021 | 310.6 | 8.198 | 315.067 | 8.269 | 313.8 | 28.518 | 889.45 | 23.384 | 34.0305
2019-06-07 13:30:00 | 6.828 | 310.907 | 7.319 | 306.576 | 7.673 | 308.567 | 7.974 | 307.867 | 28.498 | 889.833 | 23.061 | 33.6787
2019-06-07 13:45:00 | 6.2 | 270.728 | 6.547 | 323.858 | 6.991 | 315.9 | 7.437 | 327.467 | 28.527 | 889.7 | 23.424 | 28.6941
2019-06-07 14:00:00 | 7.398 | 276.814 | 8.234 | 282.924 | 8.333 | 283.2 | 8.352 | 278.533 | 28.802 | 889.667 | 22.629 | 34.3815
2019-06-07 14:15:00 | 5.06 | 287.833 | 5.413 | 289.139 | 5.505 | 293.533 | 5.986 | 288.433 | 28.894 | 889.767 | 22.539 | 38.7685
2019-06-07 14:30:00 | 7.663 | 295.76 | 8.033 | 294.355 | 8.309 | 297.167 | 8.725 | 294.633 | 29.114 | 889.7 | 22.355 | 41.4708
2019-06-07 14:45:00 | 8.71 | 295.573 | 9.103 | 289.706 | 9.37 | 295.767 | 9.517 | 288.533 | 29.048 | 889.5 | 22.264 | 50.4509
2019-06-07 15:00:00 | 11.506 | 284.047 | 12.223 | 285.526 | 12.112 | 290.867 | 12.203 | 287.767 | 29.298 | 890 | 23.056 | 70.3894
2019-06-07 15:15:00 | 9.969 | 305.8 | 10.372 | 301.512 | 10.632 | 305.333 | 11.125 | 304.567 | 28.435 | 889.683 | 23.597 | 66.3605
2019-06-07 15:30:00 | 11.515 | 285.907 | 12.158 | 284.12 | 12.466 | 290.3 | 12.565 | 285.967 | 28.223 | 889.817 | 24.608 | 70.2559
2019-06-07 15:45:00 | 10.443 | 274.493 | 11.1 | 272.531 | 11.123 | 277.833 | 11.257 | 272.533 | 27.881 | 889.833 | 25.211 | 74.2002
2019-06-07 16:00:00 | 10.679 | 282.62 | 11.163 | 283.968 | 11.479 | 288 | 11.863 | 282.467 | 27.673 | 889.767 | 26.984 | 75.0636
2019-06-07 16:15:00 | 12.09 | 233.32 | 12.468 | 228.289 | 13.208 | 229.533 | 13.526 | 223.733 | 27.031 | 890.15 | 25.931 | 79.1038
2019-06-07 16:30:00 | 15.774 | 201.727 | 17.765 | 197.542 | 18.547 | 199.733 | 18.838 | 194.867 | 23.598 | 889.717 | 36.208 | 73.0733
2019-06-07 16:45:00 | 12.933 | 198.18 | 14.219 | 193.298 | 14.845 | 196.367 | 15.89 | 190.2 | 23.164 | 889.733 | 37.819 | 74.483
2019-06-07 17:00:00 | 12.13 | 178.46 | 14.081 | 172.986 | 14.538 | 176.2 | 15.653 | 173.3 | 20.014 | 889.925 | 55.371 | 59.1078
2019-06-07 17:15:00 | 6.781 | 195.013 | 7.869 | 189.429 | 8.231 | 191.133 | 8.518 | 186.167 | 20.668 | 889.742 | 51.872 | 50.8204
2019-06-07 17:30:00 | 10.34 | 188.707 | 12.088 | 186.661 | 12.844 | 191.5 | 13.887 | 186.533 | 22.023 | 890.183 | 47.168 | 73.6822
2019-06-07 17:45:00 | 10.859 | 178.42 | 11.255 | 173.748 | 11.465 | 177.9 | 11.79 | 174.9 | 19.631 | 890.092 | 58.165 | 43.0468
2019-06-07 18:00:00 | 5.584 | 116.637 | 5.634 | 114.093 | 5.433 | 122 | 5.513 | 121.133 | 18.956 | 889.983 | 61.227 | 32.2391
2019-06-07 18:15:00 | 2.65 | 102.561 | 3.444 | 142.226 | 3.16 | 97.808 | 3.933 | 107.267 | 19.61 | 889.933 | 59.168 | 5.7563
2019-06-07 18:30:00 | 6.527 | 310.853 | 8.47 | 297.574 | 9.652 | 300.367 | 10.818 | 297.133 | 20.852 | 889.625 | 53.68 | 23.362
2019-06-07 18:45:00 | 13.115 | 287.467 | 14.682 | 285.164 | 14.851 | 287.533 | 15.777 | 286.4 | 23.539 | 890.225 | 41.845 | 68.0794
2019-06-07 19:00:00 | 13.624 | 294.6 | 15.582 | 289.131 | 16.002 | 292.8 | 16.126 | 290.733 | 23.431 | 889.492 | 41.947 | 75.3378
2019-06-07 19:15:00 | 14.52 | 287.16 | 16.294 | 282.24 | 16.837 | 286.333 | 17.113 | 282.8 | 23.064 | 889.958 | 42.464 | 72.2007
2019-06-07 19:30:00 | 14.83 | 297.693 | 16.647 | 291.67 | 17.431 | 295.1 | 18.035 | 294.5 | 23.398 | 889.917 | 41.003 | 74.9861
2019-06-07 19:45:00 | 13.79 | 291.92 | 15.692 | 286.334 | 16.405 | 290.4 | 17.15 | 288.5 | 23.031 | 889.808 | 41.795 | 75.5666
2019-06-07 20:00:00 | 14.231 | 288.533 | 15.771 | 288.445 | 16.195 | 289.933 | 16.476 | 289.867 | 22.348 | 889.825 | 42.208 | 74.2862
2019-06-07 20:15:00 | 15.16 | 281.533 | 17.145 | 279.417 | 17.863 | 282.5 | 17.91 | 280.733 | 21.802 | 889.917 | 43.787 | 74.5207
2019-06-07 20:30:00 | 14.901 | 284.107 | 16.448 | 279.509 | 16.888 | 284.4 | 17.311 | 280.733 | 20.818 | 890.325 | 46.987 | 74.3487
2019-06-07 20:45:00 | 11.707 | 268.68 | 13.47 | 266.767 | 14.196 | 271.867 | 14.386 | 266.3 | 20.002 | 890.075 | 54.453 | 74.6194
2019-06-07 21:00:00 | 11.048 | 260.413 | 12.393 | 261.46 | 13.096 | 266.433 | 13.597 | 261.8 | 19.102 | 889.6 | 56.048 | 74.1334
2019-06-07 21:15:00 | 11.766 | 262.567 | 13.014 | 261.313 | 13.19 | 264.783 | 13.284 | 259.067 | 19.327 | 889.858 | 57.045 | 73.6851
2019-06-07 21:30:00 | 9.487 | 265.867 | 10.92 | 263.693 | 11.083 | 269.433 | 11.116 | 262.75 | 19.152 | 889.983 | 58.176 | 71.4212
2019-06-07 21:45:00 | 10.572 | 270.547 | 12.167 | 264.924 | 12.838 | 268.733 | 12.94 | 263.667 | 18.568 | 889.667 | 59.856 | 65.4475
2019-06-07 22:00:00 | 12.553 | 262.773 | 14.517 | 261.032 | 14.963 | 266 | 14.75 | 261.117 | 17.989 | 889.942 | 60.603 | 64.9636
2019-06-07 22:15:00 | 12.179 | 256.947 | 13.65 | 254.91 | 14.201 | 259.9 | 14.428 | 255.3 | 17.823 | 889.742 | 60.885 | 63.7542
2019-06-07 22:30:00 | 11.688 | 269.053 | 13.072 | 266.839 | 13.266 | 271.6 | 13.544 | 264.517 | 17.835 | 890.25 | 60.677 | 73.1031
2019-06-07 22:45:00 | 11.287 | 268.007 | 12.613 | 264.657 | 13.43 | 270.2 | 13.465 | 265.867 | 17.756 | 889.833 | 60.853 | 74.137
2019-06-07 23:00:00 | 10.226 | 267.28 | 11.61 | 262.53 | 12.208 | 268.367 | 12.528 | 262.933 | 17.706 | 890.258 | 60.283 | 73.0754
2019-06-07 23:15:00 | 11.379 | 264.32 | 12.645 | 263.245 | 12.6 | 266.217 | 12.843 | 263.133 | 17.435 | 889.65 | 60.336 | 73.6097
2019-06-07 23:30:00 | 10.256 | 261.267 | 11.546 | 257.45 | 12.377 | 263 | 12.394 | 256.567 | 17.485 | 890.183 | 61.221 | 72.7897
2019-06-07 23:45:00 | 10.777 | 258.433 | 12.403 | 255.996 | 12.709 | 259.433 | 12.72 | 254.717 | 17.189 | 889.817 | 61.179 | 73.663