## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-08 00:00:00 | 9.052 | 253.3 | 10.536 | 249.464 | 11.251 | 255.133 | 11.357 | 249.883 | 17.031 | 889.567 | 62.624 | 73.84
2019-06-08 00:15:00 | 8.394 | 253.52 | 9.422 | 251.497 | 10.132 | 257.333 | 10.447 | 253.367 | 16.864 | 889.867 | 63.067 | 71.4361
2019-06-08 00:30:00 | 8.457 | 249.507 | 9.448 | 246.953 | 9.764 | 253.317 | 9.858 | 249.25 | 16.581 | 889.833 | 62.971 | 59.5767
2019-06-08 00:45:00 | 6.773 | 247.88 | 7.91 | 246.697 | 8.298 | 251.833 | 8.198 | 248 | 16.564 | 889.558 | 63.413 | 44.3841
2019-06-08 01:00:00 | 7.001 | 262.173 | 8.158 | 258.391 | 8.892 | 264.617 | 9.443 | 260.55 | 16.864 | 889.792 | 62.981 | 42.4045
2019-06-08 01:15:00 | 6.906 | 256.04 | 8.179 | 254.864 | 8.511 | 261.233 | 8.442 | 257.067 | 16.731 | 890 | 62.165 | 39.2716
2019-06-08 01:30:00 | 6.564 | 260.633 | 7.684 | 260.021 | 8.051 | 263.967 | 8.201 | 259.75 | 17.048 | 890.033 | 61.493 | 35.3216
2019-06-08 01:45:00 | 7.28 | 262.727 | 8.272 | 259.748 | 8.481 | 265.8 | 8.594 | 259.533 | 17.048 | 889.933 | 61.077 | 36.6525
2019-06-08 02:00:00 | 7.361 | 262.86 | 8.432 | 262.902 | 8.979 | 266.7 | 9.21 | 262 | 16.864 | 889.758 | 61.211 | 33.4471
2019-06-08 02:15:00 | 6.864 | 258.407 | 8.025 | 257.768 | 8.259 | 263.967 | 8.345 | 259.75 | 16.698 | 890.417 | 62.133 | 28.1129
2019-06-08 02:30:00 | 5.986 | 261.967 | 7.47 | 260.054 | 8.069 | 266.467 | 8.177 | 259.983 | 16.581 | 889.7 | 62.24 | 41.5994
2019-06-08 02:45:00 | 7.136 | 250.987 | 8.387 | 250.542 | 8.78 | 255.25 | 8.868 | 250.867 | 16.481 | 889.675 | 61.152 | 60.5701
2019-06-08 03:00:00 | 8.266 | 253.8 | 9.569 | 252.901 | 9.86 | 257.583 | 9.863 | 253.783 | 16.448 | 890.008 | 60.843 | 60.5502
2019-06-08 03:15:00 | 9.32 | 264.947 | 10.465 | 261.855 | 10.927 | 267.3 | 11.152 | 260.583 | 16.648 | 889.65 | 62.144 | 38.2463
2019-06-08 03:30:00 | 9.011 | 253.067 | 10.106 | 251.18 | 10.435 | 257.017 | 10.507 | 253.167 | 16.714 | 889.508 | 62.267 | 53.1355
2019-06-08 03:45:00 | 8.972 | 251.18 | 10.462 | 249.465 | 10.907 | 253.683 | 10.807 | 249.283 | 16.581 | 889.833 | 62.485 | 54.8302
2019-06-08 04:00:00 | 7.34 | 248.813 | 8.155 | 246.665 | 8.618 | 250.85 | 8.789 | 247.117 | 16.298 | 889.892 | 62.123 | 55.1712
2019-06-08 04:15:00 | 7.211 | 250.587 | 8.285 | 249.874 | 8.659 | 253.883 | 8.731 | 249.967 | 16.414 | 889.942 | 60.448 | 54.1793
2019-06-08 04:30:00 | 6.32 | 252.507 | 7.453 | 250.973 | 8.083 | 256.35 | 8.312 | 251.783 | 16.314 | 889.867 | 57.259 | 53.1895
2019-06-08 04:45:00 | 7.207 | 258.74 | 8.387 | 258.038 | 8.757 | 264.067 | 9.084 | 258.533 | 16.414 | 889.408 | 54.096 | 44.399
2019-06-08 05:00:00 | 7.587 | 264.927 | 8.768 | 262.897 | 9.309 | 266.267 | 9.357 | 261.8 | 16.852 | 889.883 | 50.896 | 44.1354
2019-06-08 05:15:00 | 8.58 | 265.273 | 9.66 | 263.482 | 10.105 | 268.367 | 10.079 | 263.917 | 16.898 | 889.75 | 51.163 | 48.7086
2019-06-08 05:30:00 | 7.255 | 259.447 | 8.44 | 255.74 | 9.02 | 261.15 | 9.216 | 258.1 | 16.731 | 890.008 | 51.984 | 46.913
2019-06-08 05:45:00 | 6.723 | 263.04 | 7.977 | 260.929 | 8.275 | 267.6 | 8.56 | 263.383 | 16.448 | 889.908 | 51.835 | 39.9111
2019-06-08 06:00:00 | 6.306 | 256.113 | 7.312 | 257.615 | 8.008 | 262.867 | 8.475 | 258.45 | 16.431 | 889.667 | 52.043 | 35.9753
2019-06-08 06:15:00 | 6.734 | 255.707 | 7.783 | 256.599 | 8.046 | 263.283 | 8.439 | 258.817 | 16.053 | 889.333 | 54.139 | 36.5338
2019-06-08 06:30:00 | 7.235 | 252.293 | 8.488 | 252.817 | 9.06 | 258.467 | 9.249 | 255.55 | 16.215 | 889.925 | 52.155 | 39.3753
2019-06-08 06:45:00 | 6.356 | 244.4 | 7.316 | 245.2 | 7.895 | 250.85 | 8.044 | 247.367 | 16.091 | 890.067 | 50.667 | 39.003
2019-06-08 07:00:00 | 5.89 | 218.367 | 7.046 | 222.784 | 7.602 | 232.933 | 7.623 | 230.867 | 16.322 | 889.975 | 52.971 | 42.7306
2019-06-08 07:15:00 | 6.914 | 225.727 | 8.146 | 226.033 | 8.891 | 230.267 | 9.042 | 225.667 | 15.932 | 890.033 | 50.389 | 45.1679
2019-06-08 07:30:00 | 6.877 | 233.067 | 7.866 | 231.656 | 8.762 | 236.767 | 8.751 | 232.433 | 16.431 | 889.817 | 47.019 | 40.2778
2019-06-08 07:45:00 | 6.676 | 239.527 | 7.325 | 237.059 | 7.735 | 241.267 | 7.879 | 237.8 | 16.898 | 890.017 | 46.187 | 41.3884
2019-06-08 08:00:00 | 5.968 | 244.64 | 6.555 | 242.146 | 6.983 | 248.217 | 7.005 | 243.2 | 17.244 | 890.25 | 45.92 | 43.1278
2019-06-08 08:15:00 | 6.637 | 242.553 | 7.052 | 239.905 | 7.246 | 244.167 | 7.197 | 240.4 | 17.814 | 889.908 | 44.277 | 40.8888
2019-06-08 08:30:00 | 6.629 | 239.067 | 7.065 | 237.002 | 7.424 | 242 | 7.376 | 235.6 | 18.639 | 890.042 | 41.419 | 37.0063
2019-06-08 08:45:00 | 6.726 | 243.593 | 7.124 | 242.536 | 7.296 | 246.9 | 7.456 | 241.233 | 18.91 | 889.7 | 39.877 | 25.3907
2019-06-08 09:00:00 | 5.32 | 261.107 | 5.936 | 256.943 | 5.935 | 261.883 | 6.107 | 256.65 | 19.681 | 889.75 | 33.275 | 19.0006
2019-06-08 09:15:00 | 6.548 | 255.407 | 6.936 | 254.702 | 7.137 | 259.983 | 7.087 | 254.933 | 20.248 | 889.633 | 30.459 | 25.1619
2019-06-08 09:30:00 | 5.655 | 263.767 | 6.154 | 260.202 | 6.165 | 262.883 | 6.2 | 256.65 | 20.231 | 889.583 | 31.283 | 23.4316
2019-06-08 09:45:00 | 6.295 | 279.987 | 6.776 | 278.767 | 7.025 | 282.667 | 6.881 | 277.8 | 20.344 | 889.783 | 26.917 | 26.8452
2019-06-08 10:00:00 | 6.334 | 277.1 | 6.69 | 273.132 | 6.73 | 277.1 | 7.028 | 273.733 | 20.181 | 889.6 | 27.523 | 31.4625
2019-06-08 10:15:00 | 6.208 | 277.987 | 6.846 | 278.029 | 6.839 | 284.367 | 7.074 | 278.967 | 20.089 | 889.533 | 26.739 | 34.3154
2019-06-08 10:30:00 | 7.394 | 285.04 | 8.206 | 284.488 | 8.54 | 288 | 8.781 | 288.267 | 20.464 | 889.617 | 27.141 | 40.9748
2019-06-08 10:45:00 | 8.306 | 290.267 | 8.724 | 285.869 | 9.102 | 288.933 | 9.287 | 285.633 | 20.235 | 889.983 | 24.093 | 38.134
2019-06-08 11:00:00 | 7.586 | 270.373 | 7.886 | 272.617 | 8.093 | 276.367 | 8.542 | 274.867 | 20.918 | 889.65 | 24.141 | 37.5776
2019-06-08 11:15:00 | 7.642 | 275.453 | 8.111 | 276.037 | 8.3 | 278.8 | 8.447 | 274.833 | 20.902 | 889.833 | 24.093 | 38.6193
2019-06-08 11:30:00 | 7.485 | 272.973 | 8.062 | 272.283 | 8.124 | 275.133 | 8.31 | 271.9 | 20.981 | 889.7 | 25.269 | 31.6721
2019-06-08 11:45:00 | 6.008 | 287.88 | 6.429 | 286.881 | 6.506 | 288.467 | 6.952 | 284.633 | 20.756 | 889.783 | 23.101 | 22.8696
2019-06-08 12:00:00 | 6.609 | 267.527 | 7.087 | 267.463 | 7.259 | 271.933 | 7.524 | 269.333 | 21.318 | 889.467 | 22.96 | 21.3888
2019-06-08 12:15:00 | 7.395 | 265.647 | 7.929 | 264.026 | 7.928 | 269.5 | 8.179 | 264.667 | 22.044 | 889.667 | 22.824 | 29.6328
2019-06-08 12:30:00 | 6.697 | 301.96 | 7.076 | 299.784 | 7.305 | 303.833 | 7.5 | 297.767 | 21.968 | 889.733 | 23.085 | 30.6126
2019-06-08 12:45:00 | 7.231 | 283.12 | 7.772 | 280.636 | 7.825 | 284 | 8.107 | 282.067 | 21.668 | 889.75 | 22.965 | 30.03
2019-06-08 13:00:00 | 7.639 | 291.36 | 8.121 | 287.146 | 8.156 | 289.267 | 8.355 | 285.9 | 21.71 | 889.617 | 22.557 | 35.3884
2019-06-08 13:15:00 | 7.173 | 279.28 | 7.816 | 274.478 | 8.025 | 279.1 | 8.098 | 275.233 | 21.41 | 889.8 | 22.557 | 35.6427
2019-06-08 13:30:00 | 6.944 | 271.813 | 7.219 | 267.749 | 7.132 | 272.833 | 7.447 | 271.8 | 21.456 | 890.033 | 23.227 | 36.9445
2019-06-08 13:45:00 | 6.924 | 269.34 | 7.391 | 268.851 | 7.454 | 274.833 | 7.69 | 268.85 | 21.689 | 890.267 | 23.307 | 37.2721
2019-06-08 14:00:00 | 6.835 | 255.693 | 7.471 | 253.261 | 7.832 | 260.017 | 8.009 | 256.767 | 22.052 | 890.133 | 23.021 | 36.8862
2019-06-08 14:15:00 | 6.689 | 251.14 | 6.96 | 249.823 | 7.154 | 253.733 | 7.322 | 248.667 | 22.31 | 889.467 | 21.667 | 39.4023
2019-06-08 14:30:00 | 7.127 | 243.407 | 7.949 | 240.17 | 8.332 | 245.35 | 8.302 | 239.55 | 22.898 | 889.85 | 20.96 | 71.8433
2019-06-08 14:45:00 | 10.005 | 216.427 | 10.566 | 213.426 | 11.012 | 215.833 | 11.413 | 211.133 | 19.473 | 889.7 | 36.923 | 72.1971
2019-06-08 15:00:00 | 10.126 | 217.167 | 10.659 | 213.374 | 11.145 | 214.933 | 11.539 | 210.467 | 18.723 | 889.775 | 46.869 | 65.4098
2019-06-08 15:15:00 | 9.261 | 211.567 | 9.988 | 207.952 | 10.371 | 211.2 | 10.845 | 207.033 | 18.439 | 889.792 | 48.16 | 55.491
2019-06-08 15:30:00 | 8.858 | 210.5 | 9.169 | 207.646 | 9.358 | 209.833 | 9.765 | 205.067 | 18.689 | 889.708 | 49.963 | 55.5571
2019-06-08 15:45:00 | 8.312 | 208.867 | 9.096 | 206.175 | 9.752 | 209.467 | 10.15 | 205.433 | 18.739 | 889.925 | 45.301 | 65.8688
2019-06-08 16:00:00 | 10.978 | 203.367 | 11.846 | 196.227 | 12.167 | 200.167 | 12.73 | 195.067 | 18.606 | 889.983 | 47.968 | 71.2798
2019-06-08 16:15:00 | 11.128 | 200.1 | 11.901 | 195.962 | 12.231 | 198.6 | 12.751 | 193.7 | 18.098 | 889.958 | 52.427 | 70.037
2019-06-08 16:30:00 | 10.266 | 196.473 | 11.11 | 194.249 | 11.415 | 196.367 | 12.021 | 192.1 | 17.756 | 889.933 | 54.827 | 54.325
2019-06-08 16:45:00 | 9.084 | 195.153 | 9.389 | 191.047 | 9.854 | 193.367 | 10.536 | 188.7 | 17.968 | 889.408 | 54.656 | 34.9322
2019-06-08 17:00:00 | 7.404 | 193.373 | 7.394 | 190.522 | 7.548 | 193.433 | 7.759 | 190.267 | 18.873 | 889.883 | 53.12 | 26.5404
2019-06-08 17:15:00 | 6.85 | 209.287 | 6.876 | 204.674 | 6.958 | 206.533 | 7.269 | 200.4 | 20.023 | 890.133 | 47.232 | 18.5145
2019-06-08 17:30:00 | 5.766 | 202.907 | 5.675 | 200.985 | 5.432 | 205.5 | 5.561 | 202.967 | 20.218 | 889.925 | 47.339 | 13.7175
2019-06-08 17:45:00 | 5.622 | 215.86 | 5.811 | 212.46 | 6.152 | 215.733 | 6.144 | 209.833 | 20.427 | 889.867 | 47.573 | 13.6258
2019-06-08 18:00:00 | 6.899 | 205.42 | 7.111 | 203.327 | 7.072 | 208.867 | 7.279 | 205.433 | 19.798 | 889.6 | 50.069 | 20.6121
2019-06-08 18:15:00 | 6.854 | 204.707 | 7.152 | 201.623 | 7.379 | 203.933 | 7.701 | 200.8 | 19.939 | 889.817 | 51.435 | 29.4388
2019-06-08 18:30:00 | 8.509 | 203.34 | 8.449 | 201.436 | 8.643 | 203.367 | 8.909 | 198.7 | 19.298 | 889.958 | 50.475 | 32.8793
2019-06-08 18:45:00 | 8.838 | 203.593 | 9.227 | 199.721 | 9.25 | 202.733 | 9.462 | 197.7 | 19.114 | 889.858 | 52.128 | 39.8784
2019-06-08 19:00:00 | 8.344 | 200.62 | 8.658 | 194.637 | 8.856 | 197.367 | 9.155 | 191.767 | 18.848 | 890.208 | 51.477 | 34.2252
2019-06-08 19:15:00 | 8.478 | 200.28 | 9.206 | 195.598 | 9.568 | 198.233 | 10.001 | 193.433 | 18.885 | 890.083 | 50.581 | 31.1164
2019-06-08 19:30:00 | 6.823 | 200.273 | 7.097 | 195.407 | 7.38 | 199.067 | 7.922 | 195.667 | 19.514 | 889.958 | 50.176 | 21.3767
2019-06-08 19:45:00 | 7.16 | 200.92 | 7.252 | 197.42 | 7.36 | 201.067 | 7.496 | 198.333 | 19.764 | 890.2 | 47.232 | 22.9009
2019-06-08 20:00:00 | 6.515 | 206.013 | 7.077 | 202.102 | 7.361 | 205.8 | 7.508 | 200.767 | 20.248 | 889.825 | 46.741 | 21.0441
2019-06-08 20:15:00 | 6.512 | 205.62 | 7.016 | 204.073 | 7.149 | 207.7 | 7.406 | 202.967 | 20.431 | 890.383 | 45.397 | 21.263
2019-06-08 20:30:00 | 6.71 | 202.467 | 7.032 | 199.411 | 7.205 | 203.933 | 7.499 | 200.367 | 21.314 | 889.9 | 43.349 | 35.6044
2019-06-08 20:45:00 | 7.293 | 200.427 | 7.744 | 197.272 | 8.183 | 201.7 | 8.758 | 197.667 | 20.868 | 890.358 | 45.355 | 46.8526
2019-06-08 21:00:00 | 8.068 | 197.16 | 9.244 | 193.318 | 9.98 | 196.467 | 10.895 | 192.533 | 19.968 | 890.208 | 47.968 | 42.7576
2019-06-08 21:15:00 | 5.931 | 198.62 | 7.478 | 195.257 | 8.25 | 200.633 | 8.835 | 197.967 | 19.764 | 889.833 | 50.731 | 27.3149
2019-06-08 21:30:00 | 5.78 | 196.927 | 7.097 | 194.95 | 7.779 | 199.333 | 7.979 | 196.667 | 19.081 | 890.075 | 53.013 | 26.3855
2019-06-08 21:45:00 | 5.858 | 197.767 | 7.686 | 193.976 | 7.998 | 197.867 | 8 | 195.833 | 18.656 | 889.833 | 54.475 | 26.2341
2019-06-08 22:00:00 | 5.434 | 201.88 | 7.423 | 197.554 | 7.877 | 200.833 | 8.032 | 197.033 | 17.956 | 889.942 | 57.877 | 22.1612
2019-06-08 22:15:00 | 5.238 | 205.647 | 6.791 | 203.719 | 7.123 | 210.833 | 6.897 | 207.967 | 17.548 | 889.683 | 60.256 | 19.9037
2019-06-08 22:30:00 | 4.671 | 214.513 | 6.664 | 209.816 | 7.754 | 204.933 | 7.8 | 201.867 | 17.064 | 890.025 | 62.72 | 19.8895
2019-06-08 22:45:00 | 5.202 | 214.327 | 6.548 | 212.007 | 6.723 | 212.533 | 6.865 | 210.3 | 16.414 | 889.825 | 63.115 | 20.0024
2019-06-08 23:00:00 | 4.972 | 211.873 | 7.194 | 212.299 | 7.682 | 212.833 | 7.901 | 211.167 | 16.481 | 890.025 | 63.531 | 22.4923
2019-06-08 23:15:00 | 5.182 | 207.107 | 7.165 | 207.646 | 7.688 | 210.567 | 7.332 | 207.433 | 16.229 | 889.675 | 64.075 | 25.2287
2019-06-08 23:30:00 | 6.275 | 204.16 | 8.109 | 202.784 | 7.884 | 206.333 | 7.634 | 203.067 | 15.975 | 889.292 | 63.979 | 27.5949
2019-06-08 23:45:00 | 5.36 | 195.593 | 6.739 | 200.385 | 7.733 | 206.767 | 7.839 | 202.533 | 15.735 | 889.767 | 65.44 | 27.8066