## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-09 00:00:00 | 6.857 | 199.42 | 9.15 | 196.061 | 8.958 | 200 | 8.473 | 196.533 | 15.626 | 889.667 | 66.272 | 26.345
2019-06-09 00:15:00 | 6.631 | 195.833 | 8.56 | 191.311 | 8.638 | 194.733 | 8.632 | 189.667 | 15.934 | 889.842 | 65.109 | 26.237
2019-06-09 00:30:00 | 6.211 | 195.487 | 8.497 | 197.316 | 9.936 | 199.667 | 9.332 | 195.5 | 15.642 | 889.55 | 64.501 | 27.0051
2019-06-09 00:45:00 | 6.824 | 198.173 | 8.517 | 198.431 | 9.132 | 202.933 | 8.905 | 198.267 | 16.238 | 890.05 | 62.699 | 24.2523
2019-06-09 01:00:00 | 5.711 | 199.527 | 8.225 | 197.994 | 8.751 | 201.567 | 8.025 | 196.9 | 15.718 | 889.558 | 64.683 | 21.2282
2019-06-09 01:15:00 | 6.073 | 206.733 | 8.251 | 203.068 | 8.559 | 204.667 | 7.746 | 198.4 | 15.711 | 889.925 | 64.341 | 22.2535
2019-06-09 01:30:00 | 5.456 | 204.8 | 7.262 | 206.407 | 7.589 | 207.633 | 6.636 | 200.833 | 15.868 | 890.15 | 65.44 | 19.4503
2019-06-09 01:45:00 | 3.865 | 198.94 | 5.727 | 205.482 | 6.797 | 207.833 | 6.603 | 202.333 | 15.25 | 889.733 | 67.051 | 14.8572
2019-06-09 02:00:00 | 5.683 | 217.82 | 8.007 | 215.032 | 7.882 | 219.633 | 7.182 | 216.8 | 15.302 | 889.708 | 66.581 | 15.3852
2019-06-09 02:15:00 | 5.156 | 222.067 | 7.561 | 216.626 | 7.422 | 219.733 | 6.881 | 217.833 | 15.058 | 889.85 | 67.403 | 15.0718
2019-06-09 02:30:00 | 5.182 | 213.3 | 6.987 | 213.321 | 7.659 | 219 | 6.842 | 216.933 | 14.924 | 889.583 | 68.917 | 13.65
2019-06-09 02:45:00 | 4.912 | 208.907 | 7.131 | 210.83 | 8.068 | 212.6 | 7.155 | 212.167 | 14.445 | 890.008 | 70.731 | 16.6635
2019-06-09 03:00:00 | 5.339 | 212.847 | 7.762 | 212.099 | 8.25 | 216 | 7.332 | 213.433 | 14.383 | 889.942 | 70.261 | 16.1604
2019-06-09 03:15:00 | 3.498 | 209.933 | 5.439 | 210.916 | 6.556 | 211.767 | 6.843 | 211 | 14.774 | 889.775 | 67.253 | 10.8113
2019-06-09 03:30:00 | 5.776 | 222.333 | 7.728 | 217.688 | 7.133 | 223.667 | 6.426 | 220.6 | 15.158 | 890.158 | 64.704 | 10.7757
2019-06-09 03:45:00 | 4.741 | 216.413 | 7.053 | 215.749 | 6.797 | 222.967 | 6.315 | 220.367 | 15.416 | 889.658 | 63.733 | 10.0126
2019-06-09 04:00:00 | 4.127 | 214.4 | 6.491 | 216.554 | 7.137 | 222.167 | 6.317 | 218.6 | 15.231 | 890.117 | 64.693 | 9.5138
2019-06-09 04:15:00 | 4.952 | 212.607 | 6.867 | 212.033 | 6.678 | 214.533 | 6.355 | 212.733 | 14.984 | 890.125 | 66.219 | 9.0334
2019-06-09 04:30:00 | 4.882 | 210.52 | 6.813 | 207.166 | 6.689 | 213.233 | 6.034 | 211.467 | 15.352 | 890.467 | 65.707 | 9.3077
2019-06-09 04:45:00 | 5.264 | 204.667 | 6.555 | 202.638 | 5.957 | 205.267 | 5.698 | 201.5 | 15.008 | 890.1 | 65.451 | 9.8698
2019-06-09 05:00:00 | 5.501 | 209.727 | 6.952 | 202.495 | 6.223 | 206 | 5.72 | 201.967 | 15.725 | 890.383 | 65.184 | 9.5706
2019-06-09 05:15:00 | 4.859 | 206.647 | 6.602 | 202.909 | 6.075 | 203.667 | 5.481 | 199.567 | 15.673 | 889.65 | 63.925 | 9.9309
2019-06-09 05:30:00 | 5.211 | 209.3 | 7.198 | 203.046 | 6.422 | 206 | 5.624 | 200.133 | 15.621 | 889.517 | 64.053 | 13.3714
2019-06-09 05:45:00 | 5.617 | 203.5 | 7.13 | 201.048 | 7.206 | 201.033 | 6.663 | 196.6 | 15.794 | 889.633 | 63.136 | 9.3383
2019-06-09 06:00:00 | 4.107 | 212.533 | 5.716 | 208.002 | 6.025 | 209.567 | 5.382 | 203.2 | 16.058 | 890.217 | 61.675 | 5.0123
2019-06-09 06:15:00 | 5.232 | 220.587 | 6.442 | 214.328 | 5.668 | 217.1 | 5.758 | 213.767 | 15.989 | 890.15 | 63.584 | 4.3615
2019-06-09 06:30:00 | 5.699 | 220.073 | 6.612 | 218.263 | 5.864 | 221.567 | 5.133 | 217 | 16.05 | 889.775 | 61.76 | 9.2679
2019-06-09 06:45:00 | 5.695 | 228.247 | 7.46 | 222.535 | 6.728 | 227.533 | 6.036 | 225.067 | 16.381 | 890.083 | 60.981 | 14.0515
2019-06-09 07:00:00 | 5.68 | 219.58 | 7.061 | 219.978 | 6.672 | 224.633 | 5.968 | 220.9 | 16.531 | 889.817 | 60.704 | 14.6377
2019-06-09 07:15:00 | 5.143 | 226.08 | 5.92 | 226.455 | 5.506 | 235.367 | 5.436 | 233.333 | 16.781 | 889.875 | 58.741 | 12.1152
2019-06-09 07:30:00 | 5.187 | 220.48 | 6.382 | 221.462 | 6.024 | 230.067 | 5.812 | 228.133 | 17.064 | 890.15 | 57.472 | 12.2047
2019-06-09 07:45:00 | 4.863 | 222.167 | 6.576 | 221.172 | 6.126 | 229.133 | 5.948 | 227.167 | 17.202 | 890.008 | 57.301 | 13.3011
2019-06-09 08:00:00 | 4.648 | 226.78 | 6.079 | 224.003 | 5.747 | 229.633 | 5.588 | 227.2 | 18.11 | 890.167 | 54.336 | 11.4934
2019-06-09 08:15:00 | 4.068 | 231.707 | 4.799 | 229.165 | 5.349 | 235.767 | 5.214 | 232.167 | 19.039 | 889.433 | 51.477 | 9.5443
2019-06-09 08:30:00 | 3.815 | 258.433 | 4.232 | 253.75 | 4.329 | 255.083 | 4.616 | 248.3 | 19.973 | 889.742 | 45.872 | 6.1606
2019-06-09 08:45:00 | 4.014 | 283.147 | 4.167 | 279.899 | 4.319 | 284.133 | 4.829 | 281.867 | 20.589 | 889.9 | 33.453 | 5.7137
2019-06-09 09:00:00 | 4.25 | 262.133 | 4.49 | 259.914 | 4.579 | 265.1 | 4.672 | 261.467 | 21.427 | 889.717 | 26.795 | 5.5922
2019-06-09 09:15:00 | 3.186 | 257.047 | 3.379 | 258.316 | 3.556 | 262.833 | 3.693 | 260.05 | 21.952 | 889.75 | 25.44 | 2.8437
2019-06-09 09:30:00 | 2.966 | 286.267 | 2.88 | 284.348 | 2.877 | 289.033 | 3.047 | 287.733 | 22.414 | 889.583 | 24.715 | 0.3901
2019-06-09 09:45:00 | 1.904 | 326.187 | 2.157 | 318.474 | 2.234 | 321.533 | 2.618 | 320.567 | 22.198 | 889.983 | 24.125 | 0.30696
2019-06-09 10:00:00 | 0.673 | 316.267 | 0.84 | 311.919 | 0.932 | 321.967 | 1.456 | 331.167 | 22.381 | 889.633 | 23.973 | 0.23449
2019-06-09 10:15:00 | 0.263 | 274.663 | 0.547 | 165.686 | 0.615 | 246.267 | 1.146 | 196.437 | 22.964 | 890.25 | 23.757 | 0.18333
2019-06-09 10:30:00 | 1.426 | 33.389 | 1.094 | 33.628 | 0.723 | 52.767 | 1.464 | 61.333 | 24.898 | 889.667 | 21.216 | 0.16059
2019-06-09 10:45:00 | 0.893 | 330.84 | 0.743 | 284.24 | 0.479 | 239.167 | 0.765 | 166.419 | 24.602 | 889.7 | 20.017 | 0.16201
2019-06-09 11:00:00 | 0.606 | 199.627 | 0.612 | 182.9 | 0.366 | 272.6 | 1.016 | 303.3 | 24.923 | 889.3 | 19.459 | 0.15917
2019-06-09 11:15:00 | 0.63 | 172.764 | 0.66 | 293.6 | 0.243 | 250.533 | 0.619 | 305.567 | 24.556 | 889.533 | 20.457 | 0.15632
2019-06-09 11:30:00 | 0.753 | 159.333 | 0.972 | 163.76 | 0.626 | 167 | 1.384 | 173.733 | 25.589 | 889.4 | 19.867 | 0.16201
2019-06-09 11:45:00 | 2.44 | 134.41 | 2.369 | 129.254 | 2.25 | 135.867 | 2.57 | 134.2 | 25.148 | 889.233 | 18.843 | 0.17764
2019-06-09 12:00:00 | 2.933 | 155.793 | 2.852 | 150.526 | 2.701 | 152.967 | 2.83 | 146.467 | 25.277 | 889.6 | 19.349 | 0.17906
2019-06-09 12:15:00 | 1.166 | 168.193 | 1.08 | 187.678 | 1.331 | 186.733 | 1.911 | 171 | 25.835 | 889.367 | 18.739 | 0.17835
2019-06-09 12:30:00 | 2.204 | 202.697 | 1.992 | 201.466 | 2.15 | 201.6 | 2.402 | 191.033 | 26.439 | 889.4 | 18.403 | 0.17338
2019-06-09 12:45:00 | 2.343 | 135.88 | 1.742 | 126.759 | 1.729 | 127.567 | 2.002 | 111.933 | 27.198 | 889.467 | 17.659 | 0.17693
2019-06-09 13:00:00 | 2.15 | 135.893 | 2.503 | 116.101 | 2.144 | 125.525 | 2.351 | 119.033 | 26.348 | 889.6 | 18.019 | 0.13074
2019-06-09 13:15:00 | 1.456 | 234.52 | 0.557 | 209.122 | 0.316 | 215.983 | 0.937 | 194.483 | 27.464 | 889.167 | 17.515 | 0.14922
2019-06-09 13:30:00 | 2.056 | 98.888 | 2.316 | 104.165 | 2.237 | 112.6 | 2.507 | 103.733 | 27.268 | 889.7 | 17.344 | 0.10445
2019-06-09 13:45:00 | 3.946 | 76.444 | 3.832 | 91.029 | 3.924 | 79.5 | 4.188 | 124.133 | 27.744 | 889.033 | 16.033 | 0.27641
2019-06-09 14:00:00 | 4.961 | 45.668 | 4.849 | 66.642 | 4.676 | 41.567 | 4.444 | 68.467 | 27.273 | 889.633 | 16.536 | 0.56277
2019-06-09 14:15:00 | 4.828 | 54.935 | 5.264 | 56.415 | 5.087 | 52.733 | 5.256 | 50.2 | 27.627 | 889.533 | 16.043 | 1.0104
2019-06-09 14:30:00 | 1.687 | 127.068 | 1.53 | 97.02 | 1.764 | 91.567 | 2.358 | 80.567 | 28.318 | 889.3 | 15.213 | 0.17977
2019-06-09 14:45:00 | 3.906 | 50.625 | 3.833 | 43.324 | 3.907 | 51.167 | 3.881 | 48.233 | 28.306 | 889.267 | 15.309 | 0.099479
2019-06-09 15:00:00 | 2.138 | 169.278 | 1.937 | 213.447 | 2.136 | 111.105 | 2.494 | 95.819 | 28.602 | 889.233 | 15.561 | 0.90953
2019-06-09 15:15:00 | 2.561 | 109.71 | 3.128 | 101.688 | 3.324 | 72.434 | 3.598 | 63 | 28.218 | 889.467 | 14.568 | 0.39721
2019-06-09 15:30:00 | 1.978 | 238.027 | 1.574 | 245.471 | 1.576 | 247.867 | 1.465 | 278.3 | 28.76 | 889.8 | 14.009 | 1.1334
2019-06-09 15:45:00 | 4.214 | 27.271 | 4.452 | 21.975 | 4.402 | 23.8 | 4.635 | 22.833 | 28.781 | 889.4 | 14.853 | 0.78873
2019-06-09 16:00:00 | 1.541 | 258.993 | 1.57 | 249.122 | 1.429 | 253.983 | 1.587 | 253.617 | 29.198 | 889.6 | 13.785 | 0.27002
2019-06-09 16:15:00 | 4.113 | 111.445 | 4.315 | 93.781 | 4.038 | 90.033 | 3.837 | 72.751 | 29.802 | 889.333 | 13.383 | 2.0514
2019-06-09 16:30:00 | 2.659 | 165.942 | 2.596 | 182.201 | 2.852 | 169.1 | 3.418 | 245.6 | 28.639 | 889.667 | 14.38 | 1.4055
2019-06-09 16:45:00 | 3.314 | 310.787 | 3.464 | 312.205 | 3.503 | 320.133 | 3.548 | 317.867 | 29.114 | 889.3 | 13.557 | 0.076031
2019-06-09 17:00:00 | 1.908 | 260.94 | 1.922 | 209.989 | 2.531 | 178.633 | 2.782 | 191.175 | 30.198 | 889.4 | 12.976 | 2.9503
2019-06-09 17:15:00 | 4.456 | 74.473 | 4.962 | 190.242 | 5.014 | 109.434 | 5.248 | 155.233 | 28.506 | 889.467 | 15.728 | 6.896
2019-06-09 17:30:00 | 3.02 | 159.676 | 2.809 | 179.978 | 3.27 | 135.269 | 3.73 | 120.633 | 28.389 | 889.333 | 15.912 | 1.613
2019-06-09 17:45:00 | 1.228 | 171.827 | 0.81 | 166.074 | 0.873 | 177.617 | 1.626 | 181.483 | 28.981 | 889.8 | 13.712 | 0.66722
2019-06-09 18:00:00 | 4.222 | 288.268 | 4.587 | 295.47 | 4.955 | 297.267 | 5.251 | 296.167 | 29.364 | 889.433 | 12.528 | 4.1504
2019-06-09 18:15:00 | 4.133 | 144.293 | 4.47 | 187.845 | 4.635 | 198.933 | 4.899 | 221.633 | 29.548 | 889.6 | 12.084 | 4.9455
2019-06-09 18:30:00 | 5.923 | 298.987 | 6.288 | 294.85 | 6.368 | 302.3 | 6.82 | 302.233 | 29.214 | 889.133 | 12.584 | 9.6488
2019-06-09 18:45:00 | 3.973 | 314.095 | 4.273 | 315.205 | 4.516 | 320.667 | 4.866 | 320.567 | 28.981 | 889.367 | 13.183 | 18.4726
2019-06-09 19:00:00 | 8.173 | 295.04 | 8.45 | 289.386 | 8.468 | 292.667 | 8.544 | 289.667 | 29.348 | 889.233 | 13.604 | 35.5923
2019-06-09 19:15:00 | 5.881 | 293.44 | 6.266 | 287.205 | 6.656 | 292.8 | 6.897 | 292.9 | 28.444 | 889.467 | 14.291 | 37.6295
2019-06-09 19:30:00 | 7.514 | 312.467 | 8.068 | 307.957 | 8.204 | 313.833 | 8.246 | 311.233 | 28.76 | 889.4 | 14.807 | 38.0935
2019-06-09 19:45:00 | 6.231 | 311.787 | 6.615 | 303.687 | 6.776 | 286.3 | 7.375 | 308.133 | 28.731 | 889.3 | 14.584 | 34.2642
2019-06-09 20:00:00 | 9.31 | 297.787 | 10.015 | 295.186 | 10.262 | 301.267 | 10.668 | 297.6 | 28.339 | 889.4 | 14.147 | 54.2319
2019-06-09 20:15:00 | 9.131 | 307.947 | 9.858 | 301.968 | 10.231 | 307.467 | 10.684 | 306.3 | 28.164 | 889.533 | 14.624 | 66.5247
2019-06-09 20:30:00 | 8.994 | 310.747 | 9.85 | 307.27 | 10.172 | 311.233 | 10.935 | 306.333 | 27.994 | 889.7 | 16.709 | 71.4802
2019-06-09 20:45:00 | 9.425 | 307.893 | 10.713 | 304.183 | 11.337 | 309.733 | 11.924 | 307.2 | 27.085 | 889.2 | 18.84 | 78.1964
2019-06-09 21:00:00 | 10.846 | 299.587 | 12.41 | 292.554 | 13.25 | 300.3 | 13.749 | 295.967 | 26.894 | 889.7 | 21.165 | 76.0463
2019-06-09 21:15:00 | 12.737 | 295.547 | 14.052 | 292.434 | 14.411 | 296.433 | 14.942 | 294.1 | 25.389 | 889.667 | 25.467 | 73.0192
2019-06-09 21:30:00 | 12.401 | 289.133 | 14.125 | 285.233 | 15.041 | 290.7 | 16.017 | 289.333 | 24.818 | 889.633 | 27.363 | 72.6
2019-06-09 21:45:00 | 14.026 | 281.733 | 16.132 | 277.702 | 16.948 | 280.367 | 17.162 | 280.333 | 24.118 | 889.367 | 29.269 | 72.5297
2019-06-09 22:00:00 | 16.28 | 277.533 | 18.654 | 275.304 | 19.141 | 279.7 | 19.718 | 276.933 | 22.614 | 889.867 | 35.651 | 73.447
2019-06-09 22:15:00 | 14.67 | 271.813 | 17.08 | 269.72 | 17.724 | 274.467 | 18.176 | 269.067 | 21.581 | 889.983 | 38.976 | 73.0896
2019-06-09 22:30:00 | 14.424 | 267.367 | 16.341 | 265.941 | 17.2 | 270.033 | 18.118 | 266.467 | 20.818 | 889.983 | 40.053 | 73.2253
2019-06-09 22:45:00 | 14.918 | 265.353 | 16.206 | 264.062 | 16.943 | 269.267 | 17.013 | 265.167 | 20.189 | 889.3 | 41.867 | 73.3291
2019-06-09 23:00:00 | 12.363 | 270.467 | 13.605 | 269.043 | 14.179 | 271.7 | 14.513 | 267.4 | 19.556 | 890.042 | 43.936 | 73.0555
2019-06-09 23:15:00 | 12.827 | 267.98 | 15.31 | 266.24 | 16.142 | 270.7 | 16.4 | 265.733 | 19.264 | 889.725 | 45.44 | 73.3575
2019-06-09 23:30:00 | 13.282 | 275.64 | 14.553 | 275.304 | 15.169 | 278 | 15.642 | 274.5 | 18.277 | 889.725 | 46.907 | 73.3198
2019-06-09 23:45:00 | 11.635 | 278.053 | 13.402 | 274.043 | 14.081 | 277.9 | 14.739 | 273.3 | 17.981 | 889.992 | 47.829 | 73.3035