## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-10 00:00:00 | 12.128 | 270.973 | 14.156 | 269.73 | 15.01 | 274.1 | 15.429 | 270.333 | 17.714 | 889.367 | 48.987 | 73.2338
2019-06-10 00:15:00 | 14.314 | 258.087 | 16.132 | 257.6 | 16.568 | 263.067 | 17.287 | 259.05 | 17.535 | 889.75 | 50.507 | 69.951
2019-06-10 00:30:00 | 11.477 | 255.733 | 13.067 | 256.182 | 13.901 | 259.683 | 14.459 | 255.5 | 16.664 | 890.25 | 52.443 | 72.6924
2019-06-10 00:45:00 | 12.267 | 256.893 | 14.107 | 256.036 | 15.195 | 261.067 | 15.901 | 256.15 | 16.598 | 889.692 | 53.643 | 72.9851
2019-06-10 01:00:00 | 13.49 | 255.74 | 15.384 | 255.486 | 16.371 | 260.667 | 16.683 | 256.483 | 16.498 | 889.925 | 53.84 | 73.2942
2019-06-10 01:15:00 | 13.011 | 257.793 | 14.582 | 258.46 | 15.064 | 262.833 | 15.479 | 258.517 | 16.065 | 889.575 | 54.469 | 73.3674
2019-06-10 01:30:00 | 15.02 | 251.947 | 17.191 | 251.339 | 17.691 | 255.45 | 17.602 | 251.6 | 16.326 | 889.767 | 54.747 | 73.2424
2019-06-10 01:45:00 | 16.502 | 251.627 | 18.526 | 250.616 | 19.082 | 254.117 | 19.028 | 250.9 | 15.802 | 889.8 | 55.243 | 69.3186
2019-06-10 02:00:00 | 15.055 | 253.22 | 17.417 | 252.511 | 18.258 | 257.233 | 18.731 | 253.1 | 15.806 | 889.933 | 55.259 | 71.7921
2019-06-10 02:15:00 | 15.674 | 258.9 | 17.353 | 255.119 | 17.844 | 260.467 | 17.66 | 255.667 | 16.01 | 890.358 | 55.771 | 73.3738
2019-06-10 02:30:00 | 15.576 | 260.973 | 17.43 | 257.404 | 17.991 | 262.85 | 17.981 | 259.267 | 15.828 | 890.183 | 56.395 | 73.3248
2019-06-10 02:45:00 | 14.909 | 259.047 | 16.991 | 258.716 | 17.744 | 262.983 | 18.344 | 258.183 | 15.535 | 890.125 | 57.344 | 73.1642
2019-06-10 03:00:00 | 13.541 | 261.927 | 15.26 | 260.756 | 15.723 | 264.9 | 15.732 | 261.567 | 15.338 | 890.092 | 58.347 | 73.4882
2019-06-10 03:15:00 | 12.734 | 266.64 | 14.567 | 264.304 | 15.242 | 269.033 | 15.87 | 266.133 | 15.421 | 889.642 | 59.499 | 73.4882
2019-06-10 03:30:00 | 13.445 | 266.693 | 15.111 | 263.14 | 15.454 | 268.933 | 15.902 | 264.533 | 14.216 | 890.258 | 70.677 | 73.3902
2019-06-10 03:45:00 | 11.987 | 264.473 | 13.404 | 264.025 | 14.129 | 268.567 | 14.415 | 263.45 | 13.995 | 889.85 | 70.021 | 73.3653
2019-06-10 04:00:00 | 10.332 | 258.527 | 11.984 | 256.714 | 12.515 | 260.917 | 12.696 | 256.133 | 14.366 | 889.883 | 68.421 | 73.4591
2019-06-10 04:15:00 | 10.29 | 262.573 | 11.455 | 259.147 | 12.041 | 262.317 | 12.281 | 257.217 | 14.245 | 890.008 | 67.467 | 73.9252
2019-06-10 04:30:00 | 11.517 | 273.827 | 12.895 | 271.571 | 12.943 | 275.1 | 13.108 | 271 | 14.091 | 889.567 | 66.784 | 70.8321
2019-06-10 04:45:00 | 9.326 | 265.08 | 10.72 | 262.092 | 11.348 | 267.133 | 11.22 | 263.067 | 14.354 | 889.708 | 66.987 | 49.0966
2019-06-10 05:00:00 | 9.686 | 257.513 | 10.558 | 257.422 | 10.674 | 263.1 | 10.625 | 258.917 | 14.27 | 889.6 | 66.965 | 42.489
2019-06-10 05:15:00 | 8.952 | 265.707 | 9.963 | 262.376 | 10.34 | 269.233 | 10.513 | 264.567 | 14.328 | 889.85 | 67.477 | 53.3991
2019-06-10 05:30:00 | 8.253 | 262.987 | 9.239 | 259.186 | 9.428 | 264.467 | 9.563 | 257.55 | 14.083 | 889.917 | 68.491 | 43.0305
2019-06-10 05:45:00 | 7.231 | 259.773 | 8.352 | 258.487 | 8.762 | 263.283 | 8.845 | 259.75 | 13.887 | 890.1 | 68.032 | 29.2853
2019-06-10 06:00:00 | 6.544 | 242.293 | 7.172 | 242.39 | 7.562 | 247.85 | 7.776 | 242.6 | 14.366 | 889.808 | 71.563 | 25.137
2019-06-10 06:15:00 | 6.022 | 251.06 | 6.988 | 247.555 | 7.336 | 252.533 | 7.439 | 246.967 | 13.778 | 889.975 | 72.587 | 23.551
2019-06-10 06:30:00 | 5.421 | 265.627 | 6.558 | 262.911 | 6.97 | 267.933 | 7.272 | 262.65 | 13.904 | 889.983 | 75.899 | 17.4885
2019-06-10 06:45:00 | 4.567 | 248.253 | 5.456 | 245.902 | 5.713 | 252.033 | 5.676 | 247.767 | 13.654 | 889.917 | 74.197 | 15.2381
2019-06-10 07:00:00 | 3.604 | 254.653 | 4.224 | 254.91 | 4.523 | 257.067 | 4.665 | 252.233 | 13.645 | 890.108 | 72.896 | 11.0621
2019-06-10 07:15:00 | 3.792 | 249.213 | 4.211 | 248.679 | 4.46 | 254.083 | 4.538 | 249.467 | 14.604 | 889.633 | 69.909 | 15.712
2019-06-10 07:30:00 | 5.022 | 246.887 | 5.641 | 245.63 | 6.142 | 250.683 | 6.388 | 247.05 | 15.754 | 889.95 | 60.027 | 28.1399
2019-06-10 07:45:00 | 6.295 | 239.12 | 6.877 | 238.818 | 7.217 | 242.567 | 7.093 | 237.133 | 16.398 | 890.167 | 54.475 | 42.4187
2019-06-10 08:00:00 | 7.531 | 250.473 | 8.237 | 247.9 | 8.416 | 253.617 | 8.402 | 247.9 | 16.764 | 889.758 | 52.917 | 48.6248
2019-06-10 08:15:00 | 8.474 | 273.067 | 9.253 | 275.614 | 9.406 | 279.533 | 9.781 | 276.067 | 16.331 | 890.142 | 55.648 | 55.9401
2019-06-10 08:30:00 | 7.451 | 261.26 | 8.128 | 261.428 | 8.664 | 265.533 | 8.786 | 259.383 | 15.654 | 889.55 | 57.627 | 52.1634
2019-06-10 08:45:00 | 8.44 | 268.067 | 9.238 | 264.523 | 9.691 | 269.75 | 9.786 | 264.433 | 16.348 | 889.817 | 52.992 | 45.4727
2019-06-10 09:00:00 | 7.4 | 271.293 | 8.115 | 272.156 | 8.079 | 274.7 | 8.381 | 269.45 | 17.164 | 889.892 | 49.504 | 45.2595
2019-06-10 09:15:00 | 7.928 | 264.38 | 8.206 | 265.75 | 8.472 | 270 | 8.588 | 263.95 | 17.202 | 890 | 48.16 | 50.8126
2019-06-10 09:30:00 | 7.359 | 277.187 | 7.865 | 275.746 | 8.303 | 278.733 | 8.395 | 274.617 | 17.664 | 889.708 | 47.093 | 46.0575
2019-06-10 09:45:00 | 7.437 | 278.373 | 7.993 | 276.667 | 8.056 | 279.467 | 8.191 | 278.133 | 17.681 | 890.192 | 45.829 | 41.5376
2019-06-10 10:00:00 | 7.69 | 280.973 | 8.152 | 277.303 | 8.292 | 282.233 | 8.491 | 279.3 | 18.123 | 889.625 | 44.048 | 36.9132
2019-06-10 10:15:00 | 7.644 | 297.293 | 7.922 | 294.663 | 8.21 | 301.533 | 8.446 | 299.1 | 18.227 | 889.442 | 43.925 | 30.2261
2019-06-10 10:30:00 | 6.751 | 297.107 | 7.308 | 297.623 | 7.524 | 302.267 | 7.6 | 297.933 | 18.344 | 889.725 | 42.907 | 22.3615
2019-06-10 10:45:00 | 6.082 | 306.267 | 6.47 | 296.47 | 6.418 | 299.2 | 6.751 | 296.4 | 18.706 | 889.808 | 41.419 | 24.1998
2019-06-10 11:00:00 | 6.908 | 280 | 7.565 | 277.637 | 7.742 | 284.467 | 8.037 | 281.267 | 19.11 | 889.717 | 36.811 | 14.5837
2019-06-10 11:15:00 | 6.048 | 287.253 | 6.414 | 286.927 | 6.906 | 293.2 | 7.164 | 293.4 | 19.489 | 889.6 | 36.131 | 27.764
2019-06-10 11:30:00 | 7.099 | 281.567 | 7.706 | 281.856 | 7.648 | 284.5 | 7.736 | 281.067 | 20.094 | 889.65 | 31.44 | 26.6285
2019-06-10 11:45:00 | 7.748 | 334.093 | 7.505 | 326.214 | 7.652 | 329.1 | 7.988 | 325.533 | 20.364 | 890.3 | 29.568 | 28.7751
2019-06-10 12:00:00 | 7.478 | 317.147 | 7.539 | 311.632 | 7.49 | 313.167 | 7.602 | 310.967 | 20.656 | 889.617 | 29.672 | 26.1268
2019-06-10 12:15:00 | 7.123 | 297.747 | 7.36 | 296.938 | 7.44 | 302.567 | 7.674 | 303.367 | 20.998 | 889.5 | 28.173 | 23.1552
2019-06-10 12:30:00 | 7.968 | 298.76 | 8.018 | 298.562 | 8.472 | 304.167 | 8.508 | 306.867 | 21.577 | 889.8 | 27.072 | 22.1413
2019-06-10 12:45:00 | 6.276 | 300.707 | 6.564 | 294.991 | 6.664 | 295 | 7.025 | 291.967 | 21.485 | 889.517 | 24.533 | 18.2822
2019-06-10 13:00:00 | 5.526 | 298.013 | 5.902 | 292.486 | 6.089 | 294.083 | 6.359 | 289.167 | 22.089 | 889.717 | 25.181 | 20.2092
2019-06-10 13:15:00 | 6.199 | 309.027 | 6.842 | 303.333 | 7.13 | 309.133 | 7.45 | 302.6 | 22.614 | 889.817 | 22.743 | 22.7403
2019-06-10 13:30:00 | 4.926 | 310.5 | 5.185 | 303.226 | 5.444 | 305.233 | 5.661 | 300.6 | 22.764 | 889.783 | 23.872 | 19.6514
2019-06-10 13:45:00 | 5.72 | 298.913 | 5.866 | 296.034 | 5.811 | 290.133 | 5.845 | 286.733 | 23.048 | 889.467 | 22.896 | 21.9188
2019-06-10 14:00:00 | 5.075 | 299.9 | 5.227 | 304.845 | 5.69 | 308.033 | 6.294 | 302.8 | 23.248 | 889.567 | 19.431 | 23.9845
2019-06-10 14:15:00 | 7.997 | 278.28 | 8.884 | 294.62 | 9.287 | 307.167 | 9.588 | 315.7 | 23.798 | 889.267 | 18.945 | 27.732
2019-06-10 14:30:00 | 5.359 | 291.867 | 5.601 | 287.972 | 5.78 | 287.5 | 5.903 | 284.433 | 23.589 | 888.967 | 17.429 | 25.3928
2019-06-10 14:45:00 | 4.391 | 310.76 | 4.926 | 306.919 | 5.136 | 310.2 | 5.706 | 307.6 | 23.673 | 889.633 | 17.485 | 23.5304
2019-06-10 15:00:00 | 4.91 | 291.322 | 5.118 | 300.023 | 5.468 | 260.269 | 6.383 | 304.2 | 24.177 | 889.767 | 17.423 | 24.5487
2019-06-10 15:15:00 | 3.835 | 300.907 | 3.969 | 297.014 | 4.048 | 302.65 | 4.408 | 302.55 | 24.468 | 889.5 | 18.824 | 22.3224
2019-06-10 15:30:00 | 3.856 | 280.882 | 3.55 | 299.262 | 3.799 | 317.267 | 4.064 | 317.833 | 24.427 | 889.633 | 19.021 | 20.686
2019-06-10 15:45:00 | 4.513 | 303.107 | 5.156 | 310.83 | 5.352 | 311.8 | 5.554 | 309.833 | 24.544 | 889.8 | 18.563 | 22.0304
2019-06-10 16:00:00 | 5.22 | 211.784 | 5.222 | 275.953 | 5.437 | 242.1 | 5.692 | 299.933 | 24.414 | 889.233 | 18.413 | 22.9208
2019-06-10 16:15:00 | 6.425 | 321.213 | 6.361 | 320.561 | 6.474 | 327.9 | 6.658 | 327.633 | 25.035 | 889.567 | 18.789 | 18.1592
2019-06-10 16:30:00 | 4.856 | 298.693 | 4.957 | 314.193 | 5.249 | 316.967 | 5.526 | 308.8 | 24.773 | 889.7 | 18.037 | 22.7637
2019-06-10 16:45:00 | 5.975 | 294.38 | 6.248 | 287.841 | 6.214 | 290.867 | 6.431 | 287.033 | 25.006 | 889.633 | 17.635 | 22.9172
2019-06-10 17:00:00 | 8.669 | 311.8 | 8.93 | 307.407 | 9.202 | 312.433 | 9.66 | 311.367 | 25.26 | 889.933 | 18.108 | 31.0191
2019-06-10 17:15:00 | 6.085 | 311.453 | 6.11 | 319.095 | 5.921 | 300.633 | 6.345 | 309.233 | 24.902 | 889.567 | 18.921 | 26.6555
2019-06-10 17:30:00 | 6.679 | 279.02 | 6.843 | 274.416 | 6.957 | 279.633 | 7.275 | 273.283 | 25.639 | 889.467 | 17.312 | 35.3592
2019-06-10 17:45:00 | 5.064 | 310.467 | 5.122 | 302.445 | 5.367 | 306.4 | 5.686 | 302.133 | 25.039 | 889.533 | 19.699 | 23.5119
2019-06-10 18:00:00 | 6.672 | 297.947 | 6.964 | 293.464 | 7.141 | 298.367 | 7.445 | 296 | 25.523 | 889.2 | 19.367 | 31.0802
2019-06-10 18:15:00 | 8.32 | 317.867 | 8.439 | 309.973 | 8.274 | 314.433 | 8.733 | 314.667 | 25.123 | 889.767 | 20.328 | 37.4113
2019-06-10 18:30:00 | 6.983 | 317.4 | 7.13 | 311.908 | 7.409 | 316.733 | 7.651 | 313.933 | 25.473 | 889.583 | 20.7 | 35.949
2019-06-10 18:45:00 | 5.09 | 308.213 | 5.363 | 302.7 | 5.398 | 307.5 | 5.818 | 306.267 | 25.068 | 890.217 | 22.168 | 21.6453
2019-06-10 19:00:00 | 7.72 | 298.707 | 8.146 | 293.371 | 8.434 | 299.133 | 8.76 | 296.167 | 24.723 | 889.467 | 22.44 | 25.088
2019-06-10 19:15:00 | 8.319 | 299.093 | 8.78 | 294.36 | 8.898 | 299.333 | 9.279 | 296.267 | 24.914 | 889.583 | 21.907 | 25.0539
2019-06-10 19:30:00 | 7.642 | 314.253 | 8.054 | 307.749 | 8.113 | 314.7 | 8.408 | 312.233 | 25.089 | 889.767 | 21.648 | 27.3284
2019-06-10 19:45:00 | 5.164 | 308.813 | 5.459 | 300.994 | 5.687 | 305.833 | 6.13 | 302.5 | 25.068 | 889.5 | 20.843 | 22.6934
2019-06-10 20:00:00 | 7.238 | 300.6 | 7.468 | 298.622 | 7.708 | 304.3 | 7.803 | 302.633 | 25.256 | 889.667 | 20.527 | 26.3677
2019-06-10 20:15:00 | 5.543 | 324.387 | 5.658 | 316.118 | 5.849 | 318.867 | 6.127 | 317.067 | 25.039 | 890.05 | 21.003 | 19.7182
2019-06-10 20:30:00 | 6.624 | 292.653 | 6.843 | 288.672 | 6.905 | 290.3 | 7.253 | 291.9 | 24.498 | 889.633 | 20.824 | 24.0321
2019-06-10 20:45:00 | 6.012 | 322.333 | 6.567 | 313.876 | 6.796 | 317.433 | 7.197 | 316.367 | 24.598 | 889.683 | 21.528 | 11.217
2019-06-10 21:00:00 | 6.426 | 309.947 | 7.099 | 305.517 | 7.517 | 310.433 | 7.935 | 308.1 | 24.423 | 889.783 | 22.099 | 8.5275
2019-06-10 21:15:00 | 6.321 | 313.133 | 6.977 | 307.348 | 7.068 | 312.9 | 7.544 | 311.767 | 24.073 | 889.75 | 23.331 | 29.8402
2019-06-10 21:30:00 | 6.079 | 292.733 | 6.893 | 287.482 | 7.149 | 292.267 | 7.514 | 288.4 | 23.848 | 889.4 | 23.36 | 32.6662
2019-06-10 21:45:00 | 7.515 | 291.987 | 8.76 | 290.693 | 9.072 | 295.9 | 9.575 | 292.967 | 23.564 | 889.65 | 23.944 | 39.553
2019-06-10 22:00:00 | 6.019 | 292.013 | 7.057 | 288.791 | 7.614 | 293.433 | 8.313 | 292.2 | 22.898 | 889.5 | 24.693 | 31.6032
2019-06-10 22:15:00 | 5.466 | 288.773 | 6.35 | 286.129 | 6.471 | 289.7 | 6.94 | 288.1 | 22.814 | 889.383 | 24.587 | 23.8225
2019-06-10 22:30:00 | 5.14 | 291 | 6.272 | 288.016 | 6.606 | 295 | 7.101 | 293.167 | 22.664 | 889.7 | 24.352 | 17.3023
2019-06-10 22:45:00 | 4.509 | 293.333 | 5.67 | 290.628 | 6.231 | 296.633 | 6.75 | 295.1 | 22.023 | 889.45 | 24.896 | 16.8959
2019-06-10 23:00:00 | 3.757 | 309.013 | 5.399 | 304.091 | 5.888 | 311.133 | 6.196 | 306.567 | 21.652 | 890.1 | 25.387 | 19.2386
2019-06-10 23:15:00 | 3.984 | 317.693 | 5.219 | 313.889 | 5.532 | 317.367 | 6.071 | 314.9 | 21.235 | 889.4 | 26.195 | 27.344
2019-06-10 23:30:00 | 5.903 | 314.053 | 6.905 | 308.764 | 7.473 | 314.033 | 8.106 | 312.4 | 21.502 | 889.783 | 26.888 | 38.8183
2019-06-10 23:45:00 | 7.193 | 291.667 | 8.914 | 289.696 | 9.528 | 296.667 | 10.244 | 296.533 | 20.968 | 889.667 | 27.024 | 47.2434