## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-11 00:00:00 | 6.771 | 297.4 | 7.997 | 294.354 | 8.669 | 299.1 | 9.544 | 298.633 | 20.831 | 889.567 | 28.16 | 36.3625
2019-06-11 00:15:00 | 5.959 | 301.907 | 6.848 | 298.201 | 7.374 | 303.933 | 8.249 | 301 | 20.414 | 890.067 | 29.203 | 41.0587
2019-06-11 00:30:00 | 6.191 | 302.24 | 7.41 | 296.99 | 7.85 | 304 | 8.458 | 302.333 | 20.21 | 889.917 | 29.125 | 37.9912
2019-06-11 00:45:00 | 6.386 | 288.38 | 7.677 | 285.442 | 8.407 | 291.267 | 9.041 | 290.933 | 20.127 | 889.983 | 28.808 | 30.4201
2019-06-11 01:00:00 | 4.922 | 305.827 | 6.096 | 301.226 | 6.721 | 306.933 | 7.579 | 305.133 | 19.631 | 889.7 | 29.725 | 32.3201
2019-06-11 01:15:00 | 5.765 | 288.373 | 6.911 | 288.47 | 7.379 | 294.267 | 8.063 | 293.567 | 19.644 | 889.583 | 30.851 | 28.6898
2019-06-11 01:30:00 | 5.457 | 289.827 | 6.74 | 286.953 | 7.261 | 293.867 | 7.74 | 291.467 | 19.394 | 889.833 | 31.373 | 14.8281
2019-06-11 01:45:00 | 3.498 | 277.32 | 4.718 | 276.364 | 5.257 | 283.867 | 5.848 | 283.233 | 19.318 | 889.733 | 31.173 | 10.7729
2019-06-11 02:00:00 | 3.114 | 272 | 4.244 | 276.538 | 4.569 | 284.033 | 5.447 | 283.6 | 18.356 | 889.95 | 31.96 | 12.6374
2019-06-11 02:15:00 | 4.333 | 277.733 | 5.048 | 280.714 | 5.334 | 287.567 | 5.865 | 287.1 | 18.806 | 889.383 | 32.403 | 13.628
2019-06-11 02:30:00 | 3.828 | 278.08 | 4.957 | 284.139 | 5.364 | 292.233 | 6.101 | 290.733 | 18.618 | 889.75 | 33.085 | 13.289
2019-06-11 02:45:00 | 2.98 | 269.24 | 4.068 | 275.456 | 4.16 | 280.933 | 4.486 | 281.267 | 18.194 | 889.783 | 33.576 | 10.0026
2019-06-11 03:00:00 | 4.514 | 240.707 | 5.155 | 248.389 | 5.347 | 254.8 | 5.556 | 252.633 | 17.131 | 889.283 | 35.339 | 19.5335
2019-06-11 03:15:00 | 4.922 | 240.927 | 6.275 | 244.077 | 6.601 | 252.533 | 6.667 | 250.967 | 17.131 | 889.75 | 36.32 | 26.9923
2019-06-11 03:30:00 | 4.643 | 244.9 | 6.104 | 245.79 | 6.436 | 255.1 | 6.642 | 253.05 | 17.268 | 889.633 | 36.523 | 29.4779
2019-06-11 03:45:00 | 4.391 | 235.66 | 5.915 | 240.122 | 6.219 | 250.933 | 6.583 | 252.017 | 17.048 | 889.633 | 36.933 | 28.8071
2019-06-11 04:00:00 | 3.566 | 258.747 | 4.487 | 264.276 | 4.938 | 274.033 | 5.555 | 272.867 | 16.514 | 889.4 | 36.776 | 19.4091
2019-06-11 04:15:00 | 4.387 | 234.147 | 4.518 | 252.018 | 4.84 | 266.467 | 5.349 | 264.933 | 16.564 | 889.783 | 36.432 | 12.7028
2019-06-11 04:30:00 | 4.812 | 230.453 | 4.725 | 240.762 | 4.847 | 252.667 | 5.158 | 254.383 | 16.531 | 889.383 | 35.803 | 16.741
2019-06-11 04:45:00 | 5.474 | 231.673 | 5.816 | 242.514 | 6.037 | 253.567 | 6.272 | 253.867 | 15.837 | 889.517 | 35.669 | 21.9238
2019-06-11 05:00:00 | 5.578 | 248.52 | 6.811 | 256.931 | 6.955 | 264.867 | 7.171 | 262.767 | 15.642 | 890.15 | 35.291 | 31.4454
2019-06-11 05:15:00 | 5.476 | 263.48 | 7.293 | 267.549 | 7.635 | 273.9 | 7.827 | 270 | 16.077 | 889.65 | 35.152 | 32.2413
2019-06-11 05:30:00 | 5.324 | 256.907 | 6.793 | 261.893 | 7.082 | 270.8 | 7.259 | 268.067 | 16.331 | 889.883 | 34.8 | 28.8924
2019-06-11 05:45:00 | 4.446 | 255.273 | 5.862 | 266.612 | 6.228 | 276.2 | 6.746 | 272.633 | 16.027 | 889.667 | 35.576 | 25.4589
2019-06-11 06:00:00 | 4.965 | 236.7 | 5.242 | 248.428 | 5.29 | 264.4 | 5.718 | 264.867 | 15.421 | 889.817 | 36.421 | 20.4061
2019-06-11 06:15:00 | 5.252 | 244.52 | 6.158 | 250.877 | 6.307 | 261.067 | 6.693 | 259.067 | 15.459 | 889.75 | 36.779 | 30.6069
2019-06-11 06:30:00 | 6.018 | 237.933 | 7.283 | 243.168 | 7.819 | 252 | 8.123 | 250.333 | 15.654 | 889.967 | 36.587 | 41.507
2019-06-11 06:45:00 | 6.455 | 254.3 | 8.052 | 257.713 | 9.293 | 263.433 | 10.147 | 261 | 16.431 | 889.85 | 35.992 | 46.2231
2019-06-11 07:00:00 | 8.985 | 259.773 | 10.54 | 260.035 | 11.019 | 265.133 | 11.262 | 260.25 | 17.239 | 889.65 | 34.256 | 52.8022
2019-06-11 07:15:00 | 8.686 | 260.533 | 9.856 | 260.408 | 10.687 | 265.6 | 10.967 | 264.467 | 17.631 | 890.133 | 33.872 | 52.5393
2019-06-11 07:30:00 | 9.744 | 258.633 | 10.944 | 258.799 | 11.651 | 263.6 | 11.818 | 259.7 | 18.227 | 889.933 | 32.363 | 57.2049
2019-06-11 07:45:00 | 10.004 | 264.233 | 10.74 | 266.19 | 11.019 | 269.9 | 11.192 | 264.1 | 18.368 | 889.883 | 31.872 | 58.4526
2019-06-11 08:00:00 | 8.494 | 265.94 | 9.787 | 267.246 | 10.449 | 273.067 | 10.434 | 270.033 | 18.523 | 890 | 31.779 | 56.176
2019-06-11 08:15:00 | 10.672 | 284.173 | 11.694 | 279.417 | 11.73 | 285.5 | 11.934 | 282.733 | 18.898 | 889.467 | 30.821 | 47.4765
2019-06-11 08:30:00 | 9.546 | 294.453 | 10.14 | 289.564 | 10.335 | 292.4 | 10.534 | 290.3 | 18.964 | 890.05 | 29.688 | 47.9512
2019-06-11 08:45:00 | 8.64 | 297.987 | 9.005 | 292.892 | 9.2 | 296.9 | 9.517 | 294.333 | 19.185 | 889.367 | 28.613 | 46.9635
2019-06-11 09:00:00 | 7.85 | 305.48 | 8.372 | 300.452 | 8.456 | 306.833 | 8.848 | 302.2 | 19.668 | 889.9 | 28.011 | 47.3451
2019-06-11 09:15:00 | 9.706 | 281.733 | 10.422 | 280.588 | 10.657 | 286.467 | 11.027 | 284.7 | 20.114 | 889.517 | 28.064 | 45.3668
2019-06-11 09:30:00 | 9.416 | 301.253 | 9.74 | 298.136 | 9.665 | 302.533 | 9.928 | 300.4 | 19.964 | 889.617 | 28.821 | 43.724
2019-06-11 09:45:00 | 8.503 | 292.28 | 9.064 | 287.692 | 9.238 | 290.7 | 9.715 | 291 | 20.114 | 890.017 | 28.083 | 44.3649
2019-06-11 10:00:00 | 9.092 | 307.213 | 9.997 | 302.182 | 10.041 | 306.067 | 10.434 | 304.033 | 20.439 | 890.1 | 28.083 | 43.3133
2019-06-11 10:15:00 | 11.348 | 296.307 | 12.612 | 293.967 | 12.865 | 296.3 | 13.305 | 295.433 | 21.094 | 889.55 | 27.293 | 44.1901
2019-06-11 10:30:00 | 10.467 | 281.667 | 10.98 | 277.603 | 11.295 | 281.367 | 11.432 | 279.633 | 20.914 | 889.767 | 27.397 | 44.1411
2019-06-11 10:45:00 | 10.8 | 291.44 | 11.398 | 290.454 | 11.75 | 295.8 | 12.138 | 293.367 | 21.402 | 889.883 | 26.029 | 44.8915
2019-06-11 11:00:00 | 9.618 | 296.613 | 10.483 | 291.016 | 10.616 | 292.667 | 11.114 | 289.667 | 22.068 | 889.467 | 24.48 | 45.8529
2019-06-11 11:15:00 | 10.77 | 292.253 | 11.5 | 290.201 | 11.475 | 292.033 | 12.034 | 289.467 | 22.077 | 889.883 | 24.485 | 46.1357
2019-06-11 11:30:00 | 11.439 | 288.973 | 12.223 | 287.368 | 12.539 | 295.233 | 12.864 | 291.967 | 22.268 | 889.583 | 24.331 | 45.6823
2019-06-11 11:45:00 | 8.615 | 291.107 | 9.167 | 292.914 | 9.572 | 300.333 | 10.265 | 296.333 | 22.418 | 889.633 | 24.352 | 46.3666
2019-06-11 12:00:00 | 10.164 | 289.68 | 10.815 | 285.663 | 11.14 | 289.267 | 11.23 | 287.1 | 22.948 | 889.217 | 23.277 | 45.9673
2019-06-11 12:15:00 | 9.207 | 280.793 | 9.57 | 280.843 | 9.605 | 284.7 | 10.287 | 281.333 | 22.948 | 889.483 | 22.427 | 45.5871
2019-06-11 12:30:00 | 8.675 | 281.747 | 9.339 | 279.954 | 9.646 | 284.433 | 9.759 | 283.333 | 22.748 | 889.867 | 22.291 | 47.3195
2019-06-11 12:45:00 | 8.629 | 284.453 | 8.976 | 285.495 | 9.167 | 289.667 | 9.501 | 287.467 | 22.998 | 889.317 | 22.395 | 47.2626
2019-06-11 13:00:00 | 8.439 | 291.453 | 8.577 | 284.967 | 8.741 | 285.567 | 9.115 | 285.933 | 23.381 | 890.05 | 21.701 | 47.5284
2019-06-11 13:15:00 | 9.227 | 319.973 | 9.626 | 312.011 | 9.895 | 315.333 | 10.347 | 313 | 23.456 | 890.2 | 21.032 | 47.3735
2019-06-11 13:30:00 | 8.472 | 316.8 | 8.894 | 313.107 | 9.329 | 316.967 | 9.772 | 314.833 | 23.148 | 889.817 | 21.335 | 42.6113
2019-06-11 13:45:00 | 8.825 | 302.387 | 9.393 | 297.413 | 9.762 | 302.567 | 10.065 | 301.5 | 23.314 | 889.883 | 20.969 | 46.5478
2019-06-11 14:00:00 | 8.987 | 331.067 | 9.472 | 318.765 | 10.087 | 323.1 | 10.487 | 321.533 | 24.023 | 889.5 | 20.183 | 36.4975
2019-06-11 14:15:00 | 6.535 | 319.133 | 6.915 | 308.314 | 7.088 | 314.233 | 7.54 | 311.967 | 24.51 | 889.533 | 18.959 | 46.0483
2019-06-11 14:30:00 | 8.269 | 317.107 | 8.851 | 312.122 | 9.537 | 316.6 | 9.848 | 315.7 | 24.231 | 889.833 | 18.587 | 45.7868
2019-06-11 14:45:00 | 8.575 | 323.427 | 8.597 | 319.631 | 9.035 | 320.933 | 9.273 | 319.167 | 24.744 | 889.233 | 18.184 | 41.7479
2019-06-11 15:00:00 | 8.383 | 326.293 | 8.945 | 315.03 | 9.119 | 321.267 | 9.339 | 318.933 | 24.331 | 889.533 | 18.011 | 42.4507
2019-06-11 15:15:00 | 9.248 | 326.547 | 9.592 | 333.491 | 9.706 | 326.533 | 9.9 | 337.633 | 25.044 | 889.567 | 17.464 | 38.4573
2019-06-11 15:30:00 | 9.034 | 287.2 | 9.408 | 284.69 | 9.479 | 293.633 | 9.51 | 289.1 | 25.056 | 889.333 | 17.192 | 38.166
2019-06-11 15:45:00 | 8.019 | 285.693 | 8.556 | 282.403 | 8.799 | 287.033 | 8.769 | 287.7 | 25.402 | 889.733 | 16.721 | 31.1946
2019-06-11 16:00:00 | 8.213 | 294.013 | 8.329 | 289.903 | 8.625 | 297.433 | 8.882 | 300.067 | 25.694 | 889.533 | 17.065 | 28.2294
2019-06-11 16:15:00 | 6.781 | 318.853 | 7.118 | 312.118 | 7.319 | 317.7 | 7.701 | 317.367 | 25.668 | 889.6 | 16.915 | 35.6641
2019-06-11 16:30:00 | 7.675 | 281.347 | 8.124 | 278.06 | 8.302 | 283.533 | 8.195 | 283.2 | 25.739 | 889.5 | 16.772 | 44.004
2019-06-11 16:45:00 | 8.019 | 322.893 | 8.043 | 313.998 | 8.132 | 317.3 | 8.753 | 318.867 | 26.148 | 889.367 | 16.487 | 23.3577
2019-06-11 17:00:00 | 6.502 | 310.393 | 6.959 | 306.374 | 7.124 | 310.133 | 7.628 | 307.033 | 25.906 | 889.2 | 16.215 | 27.749
2019-06-11 17:15:00 | 8.921 | 335.427 | 9.2 | 331.216 | 9.289 | 334.667 | 9.641 | 332.967 | 26.214 | 889.5 | 15.607 | 37.778
2019-06-11 17:30:00 | 5.624 | 303.067 | 5.843 | 299.613 | 6.282 | 303.733 | 6.527 | 314.233 | 26.335 | 889.5 | 15.864 | 35.4061
2019-06-11 17:45:00 | 5.993 | 307.8 | 6.213 | 302.556 | 6.119 | 307.567 | 6.694 | 308.233 | 26.173 | 889.5 | 15.855 | 28.5925
2019-06-11 18:00:00 | 6.434 | 301.533 | 6.786 | 296.666 | 6.88 | 301.433 | 7.245 | 300.533 | 26.36 | 889.9 | 15.608 | 23.0387
2019-06-11 18:15:00 | 7.715 | 305.587 | 7.758 | 301.983 | 7.774 | 306 | 8.112 | 304.167 | 26.481 | 889.067 | 15.536 | 35.0295
2019-06-11 18:30:00 | 8.757 | 319.2 | 9.021 | 313.417 | 9.224 | 320.5 | 9.504 | 320.633 | 26.548 | 889.5 | 15.921 | 41.2321
2019-06-11 18:45:00 | 7.444 | 308.653 | 8.015 | 303.402 | 8.306 | 307.367 | 8.569 | 307.1 | 26.227 | 889.5 | 16.435 | 41.9241
2019-06-11 19:00:00 | 6.673 | 306.92 | 6.964 | 303.014 | 7.088 | 308.633 | 7.803 | 307.8 | 26.227 | 889.1 | 16.748 | 39.7171
2019-06-11 19:15:00 | 7.995 | 295.493 | 8.395 | 289.81 | 8.63 | 295.467 | 9.037 | 292.933 | 25.589 | 889.667 | 17.252 | 47.4161
2019-06-11 19:30:00 | 6.934 | 300.667 | 7.202 | 297.474 | 7.214 | 300.733 | 7.514 | 298.133 | 25.41 | 889.367 | 17.343 | 33.3782
2019-06-11 19:45:00 | 7.679 | 292.52 | 8.213 | 290.728 | 8.459 | 296.7 | 8.675 | 294.333 | 25.281 | 889.533 | 17.567 | 30.4705
2019-06-11 20:00:00 | 7.046 | 314.707 | 7.33 | 304.218 | 7.584 | 309.1 | 7.834 | 305.667 | 25.348 | 889.733 | 17.997 | 35.8964
2019-06-11 20:15:00 | 7.123 | 292.213 | 7.87 | 290.468 | 8.085 | 297.933 | 8.465 | 295.233 | 25.018 | 889.5 | 18.98 | 40.4682
2019-06-11 20:30:00 | 6.762 | 292.147 | 7.302 | 289.091 | 7.436 | 294.033 | 7.953 | 293.067 | 24.644 | 889.9 | 19.416 | 32.7422
2019-06-11 20:45:00 | 7.956 | 293.44 | 8.287 | 288.842 | 8.376 | 294.6 | 8.962 | 292.433 | 24.502 | 889.3 | 20.041 | 40.4291
2019-06-11 21:00:00 | 6.66 | 293.347 | 7.061 | 288.308 | 7.581 | 292.533 | 8.195 | 289.433 | 24.002 | 889.717 | 20.524 | 43.9514
2019-06-11 21:15:00 | 8.743 | 291.293 | 9.996 | 289.975 | 10.667 | 294.4 | 11.211 | 292 | 23.848 | 890 | 21.955 | 17.8963
2019-06-11 21:30:00 | 8.88 | 283.347 | 10.118 | 281.046 | 10.617 | 287.6 | 11.213 | 284.633 | 23.031 | 889.983 | 22.803 | 40.7126
2019-06-11 21:45:00 | 8.561 | 290.667 | 9.725 | 286.079 | 10.453 | 291.267 | 11.101 | 288.8 | 22.998 | 889.6 | 23.829 | 51.4564
2019-06-11 22:00:00 | 9.06 | 287.933 | 10.027 | 285.654 | 10.38 | 289.667 | 11.083 | 289.1 | 22.614 | 889.3 | 24.523 | 44.2804
2019-06-11 22:15:00 | 7.703 | 285.747 | 9.292 | 285.187 | 9.973 | 287.333 | 10.699 | 285.067 | 22.068 | 889.5 | 25.232 | 37.6273
2019-06-11 22:30:00 | 7.337 | 288.547 | 8.489 | 286.619 | 9.049 | 289.867 | 9.74 | 287.433 | 22.139 | 890.133 | 25.675 | 36.6446
2019-06-11 22:45:00 | 7.741 | 287.147 | 9.07 | 286.1 | 9.789 | 288.833 | 10.388 | 285.467 | 21.631 | 889.367 | 26.136 | 40.7979
2019-06-11 23:00:00 | 8.096 | 287.893 | 9.445 | 282.957 | 10.164 | 288.033 | 10.632 | 284.333 | 21.373 | 889.7 | 26.773 | 40.206
2019-06-11 23:15:00 | 6.53 | 293.507 | 7.708 | 290.414 | 8.19 | 294.733 | 8.723 | 291.733 | 20.752 | 889.5 | 27.131 | 42.3476
2019-06-11 23:30:00 | 8.757 | 290.173 | 9.862 | 286.698 | 10.224 | 291.633 | 10.77 | 288.8 | 20.752 | 890 | 27.592 | 41.6641
2019-06-11 23:45:00 | 7.616 | 287.76 | 9.132 | 283.407 | 9.839 | 289.2 | 10.417 | 285.033 | 20.706 | 890.033 | 27.992 | 42.9069