## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-12 00:00:00 | 9.206 | 284.067 | 10.848 | 281.435 | 11.585 | 285.667 | 11.909 | 282.633 | 20.51 | 889.367 | 29.792 | 43.5577
2019-06-12 00:15:00 | 8.679 | 276.92 | 10.323 | 276.409 | 10.888 | 280.767 | 11.694 | 278.267 | 20.135 | 889.333 | 31.189 | 44.1276
2019-06-12 00:30:00 | 9.047 | 277.427 | 11.087 | 275.682 | 11.707 | 279.967 | 12.315 | 277.267 | 19.648 | 889.55 | 32.216 | 45.6745
2019-06-12 00:45:00 | 8.177 | 280.04 | 9.635 | 277.22 | 10.315 | 281.867 | 10.763 | 279.533 | 19.648 | 889.5 | 32.725 | 46.3943
2019-06-12 01:00:00 | 9.678 | 277.72 | 10.628 | 276.32 | 10.996 | 279.3 | 11.509 | 276.167 | 19.218 | 889.883 | 33.024 | 52.1812
2019-06-12 01:15:00 | 8.288 | 274.813 | 9.675 | 272.508 | 10.402 | 276.633 | 10.849 | 273.3 | 18.789 | 889.6 | 36.448 | 53.8325
2019-06-12 01:30:00 | 8.127 | 265.907 | 9.538 | 265.062 | 9.94 | 270.967 | 10.37 | 266.9 | 18.252 | 889.767 | 38.021 | 54.9836
2019-06-12 01:45:00 | 8.464 | 268.513 | 9.903 | 266.499 | 10.594 | 272.233 | 11.057 | 269.067 | 17.964 | 889.783 | 39.005 | 53.9484
2019-06-12 02:00:00 | 7.878 | 269.153 | 9.467 | 268.272 | 9.964 | 274 | 10.689 | 268.667 | 17.844 | 889.883 | 39.789 | 54.1686
2019-06-12 02:15:00 | 7.619 | 262.093 | 8.975 | 264.264 | 9.831 | 270.4 | 10.492 | 267.233 | 17.685 | 889.8 | 40.328 | 50.4509
2019-06-12 02:30:00 | 6.736 | 263.333 | 8.457 | 263.922 | 9.04 | 270.533 | 9.782 | 265.617 | 17.185 | 889.583 | 40.784 | 44.7636
2019-06-12 02:45:00 | 6.262 | 261.54 | 7.735 | 264.234 | 8.531 | 269.6 | 9.011 | 266.933 | 16.631 | 889.625 | 41.355 | 39.9608
2019-06-12 03:00:00 | 5.938 | 264.013 | 7.075 | 265.593 | 7.724 | 270.867 | 8.603 | 268.967 | 16.948 | 889.5 | 41.664 | 42.3917
2019-06-12 03:15:00 | 6.465 | 267.28 | 7.951 | 265.25 | 8.568 | 272.733 | 9.128 | 269.2 | 16.731 | 889.558 | 42.149 | 42.7306
2019-06-12 03:30:00 | 6.414 | 264.96 | 7.696 | 264.309 | 8.506 | 269.067 | 9.12 | 265.7 | 16.381 | 890.342 | 42.725 | 43.2764
2019-06-12 03:45:00 | 6.45 | 259.36 | 7.91 | 261.746 | 8.612 | 267.667 | 9.231 | 265.8 | 16.346 | 889.892 | 43.339 | 45.3413
2019-06-12 04:00:00 | 6.971 | 263.18 | 8.317 | 263.598 | 8.94 | 267.667 | 9.509 | 265.383 | 16.082 | 889.45 | 43.707 | 45.6916
2019-06-12 04:15:00 | 8.911 | 259.253 | 10.506 | 260.702 | 11.131 | 265.533 | 11.404 | 262.4 | 16.07 | 890.417 | 43.92 | 53.4716
2019-06-12 04:30:00 | 9.975 | 258.38 | 11.703 | 260.2 | 12.173 | 264.5 | 12.998 | 260.717 | 15.93 | 889.533 | 44.389 | 53.6705
2019-06-12 04:45:00 | 10.067 | 253.76 | 11.989 | 258.113 | 12.821 | 263.733 | 13.521 | 258.917 | 15.946 | 889.817 | 44.395 | 53.5305
2019-06-12 05:00:00 | 8.803 | 255.267 | 10.604 | 256.101 | 11.291 | 262.733 | 11.723 | 258.633 | 16.051 | 889.667 | 44.069 | 52.6402
2019-06-12 05:15:00 | 7.265 | 248.08 | 9.012 | 249.254 | 9.903 | 255.833 | 10.031 | 252.083 | 15.609 | 890.342 | 43.387 | 29.8694
2019-06-12 05:30:00 | 5.77 | 238.913 | 6.733 | 238.199 | 7.8 | 247.633 | 8.192 | 245.667 | 15.78 | 889.425 | 44.085 | 28.1349
2019-06-12 05:45:00 | 5.843 | 237.36 | 7.068 | 238.213 | 7.702 | 246.433 | 8.302 | 244.1 | 15.328 | 889.842 | 44.384 | 42.7164
2019-06-12 06:00:00 | 5.986 | 227.32 | 7.294 | 226.722 | 7.776 | 236.5 | 7.943 | 235.8 | 15.012 | 890.408 | 45.632 | 51.73
2019-06-12 06:15:00 | 7.907 | 227.567 | 9.18 | 227.291 | 9.458 | 234.633 | 9.344 | 231.8 | 14.741 | 889.492 | 45.547 | 47.0836
2019-06-12 06:30:00 | 7.309 | 239 | 8.302 | 238.408 | 8.628 | 245.533 | 8.64 | 244.633 | 15.191 | 889.642 | 44.011 | 43.7226
2019-06-12 06:45:00 | 6.156 | 235.587 | 7.174 | 236.696 | 7.589 | 244.7 | 8.007 | 244.7 | 15.536 | 890.05 | 42.549 | 44.1191
2019-06-12 07:00:00 | 6.251 | 243.427 | 7.265 | 244.819 | 7.822 | 251.617 | 8.392 | 250.2 | 16.188 | 889.5 | 40.805 | 43.783
2019-06-12 07:15:00 | 6.911 | 247.733 | 7.671 | 247.418 | 8.462 | 253.533 | 8.813 | 251.983 | 16.614 | 889.75 | 39.579 | 44.6549
2019-06-12 07:30:00 | 7.67 | 245.92 | 8.423 | 244.522 | 8.93 | 251.05 | 9.117 | 245.767 | 17.231 | 889.6 | 36.541 | 46.147
2019-06-12 07:45:00 | 7.87 | 250.953 | 8.4 | 252.117 | 8.684 | 256.233 | 8.522 | 251.05 | 18.089 | 889.583 | 35.04 | 39.0137
2019-06-12 08:00:00 | 7.578 | 259.193 | 8.126 | 257.291 | 8.145 | 263 | 8.247 | 258.317 | 18.289 | 889.717 | 34.533 | 45.8586
2019-06-12 08:15:00 | 8.3 | 266.213 | 8.633 | 263.57 | 8.758 | 266.967 | 8.897 | 261.433 | 18.452 | 889.967 | 33.976 | 45.1302
2019-06-12 08:30:00 | 7.612 | 265.067 | 8.125 | 264.639 | 8.343 | 268.583 | 8.493 | 264.117 | 18.923 | 889.883 | 32.637 | 37.5478
2019-06-12 08:45:00 | 7.08 | 263.56 | 7.33 | 260.234 | 7.33 | 265.8 | 7.407 | 260.45 | 19.181 | 889.45 | 31.635 | 31.8234
2019-06-12 09:00:00 | 6.585 | 273 | 7.061 | 271.981 | 7.228 | 278.067 | 7.327 | 272.3 | 19.368 | 889.4 | 30.429 | 23.6242
2019-06-12 09:15:00 | 6.406 | 266.32 | 6.632 | 262.815 | 6.748 | 266.383 | 6.763 | 261.917 | 19.464 | 889.65 | 29.131 | 22.3153
2019-06-12 09:30:00 | 6.496 | 270.14 | 6.912 | 267.524 | 6.882 | 271.3 | 6.99 | 269.567 | 19.568 | 890.1 | 29.277 | 20.0252
2019-06-12 09:45:00 | 6.434 | 281.427 | 6.87 | 278.101 | 7.084 | 282.433 | 7.408 | 279.633 | 20.077 | 889.867 | 28.075 | 23.3144
2019-06-12 10:00:00 | 6.414 | 287.067 | 6.591 | 282.935 | 6.654 | 286.133 | 7.139 | 283.3 | 19.894 | 889.867 | 28.227 | 25.3601
2019-06-12 10:15:00 | 6.119 | 285.993 | 6.419 | 283.809 | 6.502 | 288.5 | 6.795 | 283.933 | 20.344 | 890.15 | 27.845 | 20.6533
2019-06-12 10:30:00 | 5.277 | 282.653 | 5.637 | 278.12 | 5.92 | 281.2 | 6.2 | 279.033 | 20.798 | 889.517 | 26.981 | 15.4648
2019-06-12 10:45:00 | 6.166 | 291.587 | 6.266 | 286.393 | 6.558 | 290.367 | 6.757 | 289.133 | 20.577 | 889.8 | 26.331 | 13.9484
2019-06-12 11:00:00 | 5.3 | 305.16 | 5.479 | 298.052 | 5.681 | 301.033 | 5.885 | 297.433 | 20.756 | 889.7 | 25.768 | 11.3918
2019-06-12 11:15:00 | 5.442 | 287.667 | 5.784 | 284.209 | 5.864 | 287.467 | 6.13 | 288.1 | 21.531 | 889.267 | 25.144 | 13.0808
2019-06-12 11:30:00 | 4.042 | 298.2 | 4.236 | 293.513 | 4.246 | 295.167 | 4.664 | 288.867 | 21.052 | 889.85 | 24.744 | 12.6751
2019-06-12 11:45:00 | 4.87 | 304.253 | 5.115 | 298.074 | 5.282 | 301.367 | 5.892 | 297.633 | 21.773 | 889.667 | 24.467 | 12.1486
2019-06-12 12:00:00 | 5.825 | 293.48 | 6.03 | 289.114 | 6.132 | 294.9 | 6.63 | 294.133 | 22.731 | 889.733 | 23.045 | 11.637
2019-06-12 12:15:00 | 4.895 | 289.253 | 5.051 | 284.827 | 5.09 | 286.667 | 5.435 | 284.733 | 22.564 | 889.85 | 23.328 | 10.9058
2019-06-12 12:30:00 | 4.458 | 268.907 | 4.7 | 267.983 | 4.828 | 274.85 | 5.186 | 275.55 | 23.914 | 889.5 | 22.267 | 13.4397
2019-06-12 12:45:00 | 5.394 | 271.24 | 5.325 | 270.484 | 5.419 | 278.117 | 5.609 | 278.9 | 22.931 | 889.9 | 22.933 | 16.4098
2019-06-12 13:00:00 | 6.52 | 279.027 | 6.858 | 278.412 | 6.652 | 281.7 | 6.928 | 277.433 | 23.314 | 890.083 | 22.867 | 23.6988
2019-06-12 13:15:00 | 7.525 | 311.6 | 7.811 | 307.097 | 7.927 | 312.3 | 8.03 | 311.633 | 22.814 | 890.033 | 24.109 | 24.4151
2019-06-12 13:30:00 | 6.227 | 288.933 | 6.632 | 289.294 | 6.872 | 291.3 | 7.315 | 289.9 | 22.531 | 890.117 | 24.104 | 19.5676
2019-06-12 13:45:00 | 7.338 | 281.867 | 7.833 | 278.326 | 7.938 | 286.6 | 8.021 | 284.867 | 22.664 | 889.867 | 24.445 | 28.8433
2019-06-12 14:00:00 | 6.8 | 279.933 | 7.062 | 279.447 | 7 | 284.9 | 7.297 | 282.233 | 22.648 | 889.467 | 24.917 | 32.2988
2019-06-12 14:15:00 | 6.98 | 278.607 | 7.448 | 277.202 | 7.273 | 281.133 | 7.813 | 279.967 | 22.498 | 889.883 | 25.229 | 30.0271
2019-06-12 14:30:00 | 6.923 | 295.133 | 6.985 | 290.974 | 6.949 | 294.833 | 7.394 | 293.6 | 22.314 | 889.467 | 25.816 | 30.5963
2019-06-12 14:45:00 | 7.993 | 297.253 | 8.351 | 295.126 | 8.466 | 299.8 | 8.771 | 295.967 | 22.431 | 890.067 | 26.397 | 43.503
2019-06-12 15:00:00 | 9.006 | 284.533 | 9.789 | 282.484 | 9.738 | 286.5 | 9.808 | 283.033 | 22.481 | 889.883 | 26.872 | 48.4798
2019-06-12 15:15:00 | 8.598 | 295.24 | 8.937 | 291.805 | 9.108 | 297.033 | 9.666 | 292.667 | 22.098 | 890 | 26.96 | 46.2664
2019-06-12 15:30:00 | 7.864 | 283.513 | 8.296 | 280.045 | 8.152 | 282.933 | 8.27 | 278.633 | 21.677 | 889.933 | 26.917 | 43.7574
2019-06-12 15:45:00 | 8.06 | 271.813 | 8.626 | 271.412 | 8.69 | 277.267 | 8.91 | 273.967 | 21.814 | 889.683 | 26.949 | 44.3706
2019-06-12 16:00:00 | 8.502 | 296.613 | 8.901 | 292.087 | 8.98 | 296.067 | 9.278 | 294.8 | 21.731 | 889.667 | 27.269 | 43.1477
2019-06-12 16:15:00 | 7.416 | 299.72 | 7.886 | 297.563 | 8.118 | 301.1 | 8.591 | 296.167 | 22.194 | 889.967 | 26.637 | 34.9506
2019-06-12 16:30:00 | 7.32 | 306.867 | 7.662 | 301.086 | 7.699 | 307.5 | 8.097 | 305.2 | 22.614 | 889.517 | 25.795 | 28.2457
2019-06-12 16:45:00 | 7.402 | 307.133 | 7.748 | 301.72 | 7.85 | 306.733 | 8.122 | 305.867 | 22.898 | 889.55 | 24.811 | 31.9762
2019-06-12 17:00:00 | 7.569 | 288.787 | 7.832 | 286.732 | 7.906 | 291.433 | 8.309 | 289.167 | 22.781 | 890.233 | 24.285 | 32.0643
2019-06-12 17:15:00 | 6.646 | 291.333 | 6.795 | 285.399 | 7.382 | 289.8 | 7.734 | 288.067 | 22.814 | 889.883 | 24.285 | 28.6309
2019-06-12 17:30:00 | 7.208 | 281.893 | 7.599 | 282.447 | 7.784 | 289.5 | 7.951 | 287.8 | 22.848 | 889.7 | 24.803 | 28.8277
2019-06-12 17:45:00 | 6.634 | 289.347 | 7.184 | 286.627 | 7.292 | 292.333 | 7.537 | 289.9 | 22.664 | 889.65 | 24.544 | 24.3426
2019-06-12 18:00:00 | 6.866 | 291.64 | 7.278 | 289.715 | 7.237 | 295.333 | 7.56 | 291.067 | 22.881 | 889.95 | 24.875 | 25.1583
2019-06-12 18:15:00 | 7.147 | 292.307 | 7.849 | 290.329 | 8.002 | 293.233 | 8.073 | 289.7 | 22.848 | 889.85 | 25.12 | 30.516
2019-06-12 18:30:00 | 7.879 | 282.453 | 8.408 | 281.408 | 8.632 | 284.033 | 9.034 | 282.3 | 22.648 | 889.933 | 25.312 | 41.2775
2019-06-12 18:45:00 | 7.578 | 284.88 | 8.218 | 284.651 | 8.33 | 289.133 | 8.715 | 286.067 | 22.898 | 889.817 | 25.365 | 50.9817
2019-06-12 19:00:00 | 10.121 | 279.627 | 11.316 | 277.327 | 11.461 | 281.933 | 11.694 | 278.5 | 22.306 | 889.617 | 25.133 | 28.9385
2019-06-12 19:15:00 | 9.829 | 268.013 | 11.008 | 267.732 | 11.481 | 271.6 | 11.772 | 268.3 | 22.427 | 890.1 | 25.304 | 7.6443
2019-06-12 19:30:00 | 9.785 | 279.093 | 10.277 | 276.299 | 10.541 | 281.533 | 10.684 | 278.7 | 22.323 | 889.95 | 25.672 | 36.7413
2019-06-12 19:45:00 | 7.92 | 280.933 | 8.574 | 277.07 | 8.782 | 281.967 | 9.226 | 278.3 | 22.144 | 889.717 | 25.856 | 49.3297
2019-06-12 20:00:00 | 7.94 | 295.987 | 8.481 | 293.916 | 8.821 | 298.867 | 9.368 | 294.067 | 22.16 | 889.783 | 26.267 | 46.2181
2019-06-12 20:15:00 | 8.489 | 298.293 | 9.309 | 296.946 | 9.625 | 301.567 | 10.005 | 298.733 | 22.556 | 889.85 | 26.573 | 30.219
2019-06-12 20:30:00 | 6.779 | 307.267 | 7.498 | 299.737 | 7.816 | 306.4 | 8.209 | 305.8 | 21.835 | 889.583 | 27.736 | 20.9674
2019-06-12 20:45:00 | 6.001 | 278.2 | 6.86 | 276.462 | 7.137 | 282.133 | 7.636 | 277.967 | 22.331 | 889.6 | 28.616 | 14.2582
2019-06-12 21:00:00 | 3.888 | 304.68 | 3.972 | 299.139 | 4.085 | 303.467 | 4.529 | 303.867 | 21.66 | 889.733 | 27.755 | 12.1997
2019-06-12 21:15:00 | 6.107 | 284.147 | 7.028 | 282.434 | 7.392 | 286.133 | 7.658 | 283.3 | 21.748 | 889.717 | 27.872 | 37.8426
2019-06-12 21:30:00 | 7.035 | 281.02 | 8.012 | 277.628 | 8.171 | 281.767 | 8.528 | 277.367 | 21.598 | 890.217 | 28.139 | 40.1612
2019-06-12 21:45:00 | 8.065 | 277.813 | 8.769 | 277.757 | 9.13 | 283.1 | 9.618 | 280.733 | 21.631 | 889.75 | 27.795 | 39.0407
2019-06-12 22:00:00 | 6.526 | 275.587 | 7.591 | 277.36 | 7.764 | 283.067 | 8.206 | 278.633 | 21.673 | 889.75 | 27.621 | 31.3985
2019-06-12 22:15:00 | 6.141 | 278.853 | 7.012 | 277.859 | 7.43 | 284.267 | 8.06 | 279.9 | 21.298 | 889.767 | 27.541 | 23.9028
2019-06-12 22:30:00 | 5.813 | 279.6 | 6.566 | 276.973 | 6.882 | 283.633 | 7.408 | 281.767 | 21.514 | 889.65 | 27.181 | 29.281
2019-06-12 22:45:00 | 7.145 | 262.373 | 8.429 | 262.954 | 8.924 | 268.433 | 9.046 | 264.583 | 21.202 | 889.8 | 27.517 | 34.7531
2019-06-12 23:00:00 | 6.735 | 278.387 | 7.754 | 278.687 | 8.206 | 283.033 | 8.502 | 281.4 | 21.177 | 889.267 | 28.688 | 43.7915
2019-06-12 23:15:00 | 7.94 | 276.24 | 8.867 | 272.357 | 9.179 | 276.433 | 9.687 | 273.167 | 20.768 | 889.667 | 30.36 | 45.8799
2019-06-12 23:30:00 | 8.522 | 269.16 | 9.761 | 267.499 | 10.079 | 273.7 | 10.301 | 269.867 | 20.314 | 889.617 | 31.517 | 51.5147
2019-06-12 23:45:00 | 10.315 | 259.727 | 11.359 | 263.55 | 11.456 | 269.35 | 11.58 | 265.4 | 20.114 | 890.1 | 32.952 | 47.6186