## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-13 00:00:00 | 8.265 | 263.26 | 9.53 | 260.662 | 10.06 | 265.667 | 10.24 | 259.733 | 19.177 | 889.633 | 35.267 | 44.2477
2019-06-13 00:15:00 | 8.681 | 272.707 | 9.912 | 270.165 | 10.454 | 274.167 | 10.965 | 271.233 | 19.123 | 890.05 | 37.939 | 43.9798
2019-06-13 00:30:00 | 8.841 | 263.633 | 9.904 | 263.751 | 10.559 | 268.133 | 10.915 | 265.967 | 18.723 | 889.617 | 38.893 | 41.2377
2019-06-13 00:45:00 | 9.666 | 268.04 | 10.819 | 267.371 | 10.807 | 272.033 | 11.108 | 267.733 | 18.331 | 889.967 | 40.213 | 34.5371
2019-06-13 01:00:00 | 10.266 | 257.38 | 11.309 | 261.305 | 11.816 | 263.85 | 12.257 | 260.65 | 17.668 | 889.9 | 41.317 | 39.2148
2019-06-13 01:15:00 | 10.71 | 253.607 | 12.037 | 256.93 | 12.596 | 262 | 12.908 | 256.917 | 17.598 | 889.875 | 42.539 | 39.5139
2019-06-13 01:30:00 | 10.546 | 251.953 | 11.642 | 252.929 | 12.472 | 256.083 | 12.953 | 252.817 | 17.439 | 889.983 | 43.739 | 35.9348
2019-06-13 01:45:00 | 9.066 | 247.393 | 10.165 | 246.592 | 10.93 | 251.717 | 10.942 | 247.3 | 17.039 | 890.183 | 44.432 | 34.2927
2019-06-13 02:00:00 | 7.156 | 250.48 | 8.627 | 248.937 | 9.327 | 254 | 9.682 | 249.917 | 17.064 | 890.117 | 45.205 | 37.8903
2019-06-13 02:15:00 | 7.015 | 246.62 | 8.104 | 246.851 | 8.844 | 251.867 | 9.029 | 248.367 | 16.964 | 889.983 | 45.909 | 34.9656
2019-06-13 02:30:00 | 7.486 | 245.067 | 8.837 | 245.759 | 9.641 | 252.05 | 9.894 | 247.15 | 16.298 | 890.367 | 47.744 | 38.8573
2019-06-13 02:45:00 | 9.363 | 239.58 | 10.704 | 239.131 | 11.625 | 245.5 | 11.726 | 242.333 | 16.246 | 889.875 | 49.984 | 38.0288
2019-06-13 03:00:00 | 10.036 | 241.407 | 11.424 | 240.053 | 12.555 | 244.9 | 12.776 | 239.9 | 15.507 | 889.592 | 51.424 | 39.6631
2019-06-13 03:15:00 | 9.081 | 246.913 | 10.599 | 245.828 | 11.541 | 251.567 | 11.766 | 247.583 | 15.816 | 889.85 | 51.093 | 40.8078
2019-06-13 03:30:00 | 8.56 | 248.2 | 10.03 | 248.288 | 10.937 | 253.283 | 10.99 | 249.383 | 16.018 | 889.75 | 51.173 | 26.5091
2019-06-13 03:45:00 | 8.396 | 246.767 | 9.8 | 246.725 | 10.586 | 251.5 | 10.693 | 246.85 | 15.828 | 890.067 | 51.861 | 37.5073
2019-06-13 04:00:00 | 8.863 | 245.207 | 10.17 | 244.615 | 11.213 | 249.6 | 11.327 | 245.933 | 15.547 | 889.658 | 53.088 | 44.5454
2019-06-13 04:15:00 | 9.106 | 244.12 | 10.483 | 244.724 | 11.327 | 249.033 | 11.434 | 244.967 | 15.219 | 889.892 | 53.509 | 44.9902
2019-06-13 04:30:00 | 9.146 | 248.113 | 10.453 | 247.302 | 11.109 | 253.3 | 11.32 | 248.4 | 15.523 | 890.033 | 53.957 | 44.7543
2019-06-13 04:45:00 | 9.634 | 249.207 | 11.103 | 249.694 | 11.665 | 254.1 | 12.132 | 249.65 | 15.312 | 889.358 | 54.944 | 44.2122
2019-06-13 05:00:00 | 9.84 | 251.64 | 11.3 | 248.88 | 12.026 | 254.2 | 12.56 | 249.25 | 14.991 | 889.725 | 58.4 | 44.3792
2019-06-13 05:15:00 | 10.025 | 252.247 | 11.436 | 250.759 | 11.906 | 256.35 | 12.043 | 251.017 | 14.604 | 890.1 | 60.373 | 44.117
2019-06-13 05:30:00 | 9.861 | 252.24 | 11.884 | 251.98 | 12.351 | 256.95 | 12.378 | 252.4 | 14.616 | 890.325 | 62.747 | 45.0705
2019-06-13 05:45:00 | 9.23 | 253.433 | 10.701 | 253.326 | 11.331 | 258.817 | 11.66 | 254.183 | 14.37 | 890.008 | 64.32 | 44.1937
2019-06-13 06:00:00 | 9.304 | 256.08 | 10.983 | 255.927 | 11.686 | 260.867 | 11.796 | 256.367 | 14.291 | 890.275 | 64.571 | 43.6544
2019-06-13 06:15:00 | 9.981 | 262.24 | 11.341 | 263.276 | 11.696 | 267.567 | 12.003 | 263.367 | 14.078 | 889.958 | 65.541 | 44.4431
2019-06-13 06:30:00 | 8.631 | 264.24 | 10.055 | 262.033 | 10.721 | 266.017 | 10.931 | 260.6 | 14.133 | 889.8 | 66.763 | 43.2586
2019-06-13 06:45:00 | 10.629 | 267.06 | 11.728 | 262.593 | 12.431 | 267.1 | 12.997 | 261.3 | 13.866 | 890.058 | 67.904 | 44.797
2019-06-13 07:00:00 | 11.17 | 268.86 | 12.704 | 264.602 | 13.368 | 268.8 | 13.672 | 265.233 | 13.824 | 889.992 | 70.155 | 45.423
2019-06-13 07:15:00 | 11.309 | 262.38 | 12.651 | 261.687 | 13.041 | 265.083 | 13.227 | 260.433 | 13.504 | 889.775 | 71.696 | 46.0937
2019-06-13 07:30:00 | 10.838 | 263.653 | 11.692 | 260.642 | 12.087 | 262.617 | 12.292 | 259.2 | 13.737 | 889.892 | 71.413 | 46.2373
2019-06-13 07:45:00 | 11.388 | 264.3 | 12.923 | 262.655 | 13.553 | 265.45 | 13.816 | 259.733 | 13.474 | 889.658 | 71.355 | 47.6335
2019-06-13 08:00:00 | 12.184 | 261.187 | 13.419 | 259.196 | 14.142 | 264.15 | 14.301 | 258.267 | 13.433 | 889.75 | 71.68 | 47.0082
2019-06-13 08:15:00 | 10.263 | 259.92 | 11.087 | 256.168 | 11.432 | 261.25 | 11.71 | 256.75 | 13.824 | 890.117 | 70.437 | 48.877
2019-06-13 08:30:00 | 9.893 | 258.553 | 11.117 | 254.06 | 11.362 | 259.317 | 11.352 | 254.283 | 13.983 | 890.075 | 68.709 | 44.6549
2019-06-13 08:45:00 | 8.941 | 258.333 | 9.775 | 255.189 | 10.051 | 260.367 | 10.361 | 257.55 | 14.204 | 889.5 | 67.072 | 39.1849
2019-06-13 09:00:00 | 9.134 | 251.12 | 9.845 | 249.232 | 9.977 | 254.267 | 9.75 | 250.517 | 14.741 | 889.775 | 64.992 | 46.4007
2019-06-13 09:15:00 | 9.854 | 254.56 | 10.478 | 251.061 | 11.019 | 254.433 | 11.003 | 250.667 | 14.908 | 889.9 | 64.805 | 53.5135
2019-06-13 09:30:00 | 9.668 | 256.36 | 10.932 | 253.426 | 11.461 | 259.167 | 11.423 | 254.133 | 14.741 | 890.233 | 64.176 | 50.4701
2019-06-13 09:45:00 | 9.447 | 252.76 | 10.02 | 249.355 | 10.56 | 254.833 | 10.554 | 249.717 | 15.108 | 889.817 | 63.275 | 51.3391
2019-06-13 10:00:00 | 9.496 | 250.473 | 10.708 | 248.631 | 10.84 | 253.083 | 10.847 | 250.167 | 14.991 | 889.383 | 61.627 | 55.5592
2019-06-13 10:15:00 | 10.531 | 254.84 | 11.779 | 253.157 | 11.99 | 257.4 | 11.848 | 254.117 | 15.506 | 890 | 60.949 | 51.7143
2019-06-13 10:30:00 | 11.105 | 247.733 | 12.458 | 244.388 | 12.858 | 248.4 | 12.423 | 243.3 | 15.395 | 889.742 | 59.317 | 52.3723
2019-06-13 10:45:00 | 10.324 | 257.04 | 11.157 | 256.457 | 11.522 | 259.283 | 11.253 | 253.783 | 15.604 | 889.908 | 58.885 | 50.2761
2019-06-13 11:00:00 | 12.524 | 263.947 | 13.635 | 265.868 | 13.932 | 270.533 | 14.11 | 265.217 | 16.25 | 890.083 | 58.613 | 48.7527
2019-06-13 11:15:00 | 13.946 | 260.8 | 15.543 | 260.318 | 16.008 | 265.933 | 16.114 | 261.317 | 15.547 | 889.492 | 59.355 | 49.2707
2019-06-13 11:30:00 | 13.2 | 272.34 | 14.114 | 272.064 | 14.434 | 273.2 | 14.844 | 269.3 | 15.091 | 889.942 | 60.96 | 49.3759
2019-06-13 11:45:00 | 14.346 | 272.627 | 15.37 | 270.224 | 15.7 | 275.633 | 15.739 | 271.5 | 15.076 | 889.333 | 62.021 | 47.4474
2019-06-13 12:00:00 | 11.733 | 274.147 | 13.09 | 271.786 | 12.923 | 275.767 | 13.142 | 270.733 | 15.547 | 889.942 | 59.963 | 48.7776
2019-06-13 12:15:00 | 12.004 | 274.52 | 13.166 | 273.052 | 13.391 | 278.5 | 13.71 | 276.333 | 15.364 | 889.733 | 58.683 | 49.1982
2019-06-13 12:30:00 | 12.391 | 282.033 | 13.578 | 278.519 | 13.76 | 282.1 | 14.034 | 280.167 | 15.504 | 889.958 | 58.96 | 49.152
2019-06-13 12:45:00 | 11.978 | 283.013 | 13.482 | 279.678 | 13.808 | 281.733 | 14.329 | 278.933 | 15.017 | 890.092 | 65.072 | 48.7115
2019-06-13 13:00:00 | 12.14 | 285.467 | 13.618 | 282.602 | 14.191 | 286.333 | 14.723 | 283.933 | 14.858 | 889.5 | 67.189 | 49.7674
2019-06-13 13:15:00 | 11.994 | 274.013 | 13.152 | 270.845 | 13.703 | 276.2 | 14.064 | 271.867 | 14.295 | 889.958 | 70.715 | 49.5592
2019-06-13 13:30:00 | 10.628 | 270.567 | 11.86 | 269.3 | 12.03 | 274.167 | 12.094 | 269.967 | 14.395 | 890.15 | 70.267 | 50.1447
2019-06-13 13:45:00 | 10.203 | 266.407 | 11.37 | 263.544 | 11.442 | 268.9 | 11.549 | 264.417 | 14.104 | 890 | 74.251 | 49.2814
2019-06-13 14:00:00 | 9.935 | 275.16 | 11.319 | 271.758 | 11.657 | 275.1 | 11.983 | 271.033 | 13.82 | 890.092 | 77.995 | 50.1809
2019-06-13 14:15:00 | 8.274 | 272.393 | 9.057 | 269.816 | 9.235 | 274.833 | 9.445 | 272.133 | 13.464 | 889.788 | 82.475 | 49.8306
2019-06-13 14:30:00 | 9.023 | 282.453 | 9.886 | 280.483 | 10.307 | 282.833 | 10.644 | 279.6 | 13.208 | 889.925 | 84.203 | 50.1596
2019-06-13 14:45:00 | 10.25 | 301.08 | 11.333 | 294.704 | 11.768 | 299.533 | 12.354 | 295.767 | 12.618 | 890.104 | 86.763 | 49.3226
2019-06-13 15:00:00 | 10.477 | 296.68 | 11.221 | 291.826 | 11.636 | 296.733 | 12.147 | 295.433 | 12.524 | 889.892 | 88.053 | 50.3458
2019-06-13 15:15:00 | 9.365 | 285.107 | 10.33 | 281.785 | 10.495 | 286.233 | 10.942 | 284.2 | 12.632 | 889.808 | 88.544 | 51.1743
2019-06-13 15:30:00 | 8.847 | 290.733 | 9.865 | 284.299 | 10.239 | 287.667 | 10.612 | 286.967 | 12.52 | 889.979 | 86.4 | 49.9138
2019-06-13 15:45:00 | 9.316 | 294.24 | 10.356 | 288.909 | 10.592 | 292.933 | 10.881 | 290.1 | 13.164 | 889.721 | 82.453 | 50.0594
2019-06-13 16:00:00 | 8.951 | 295.667 | 9.612 | 289.738 | 9.852 | 295.1 | 9.966 | 292.133 | 13.333 | 889.75 | 79.072 | 50.6677
2019-06-13 16:15:00 | 8.955 | 288.813 | 9.646 | 282.099 | 9.806 | 288.433 | 10.01 | 285.467 | 13.591 | 889.667 | 77.957 | 52.292
2019-06-13 16:30:00 | 9.32 | 287.6 | 10.737 | 281.528 | 10.871 | 286.367 | 11.364 | 283.9 | 13.754 | 890.092 | 80.352 | 50.8268
2019-06-13 16:45:00 | 8.898 | 280.173 | 10.012 | 275.194 | 10.497 | 279.533 | 10.462 | 276.133 | 13.537 | 890.104 | 82.341 | 50.5142
2019-06-13 17:00:00 | 10.329 | 276.853 | 11.415 | 271.937 | 11.734 | 276.433 | 12.157 | 272.333 | 12.928 | 889.896 | 82.779 | 50.0502
2019-06-13 17:15:00 | 10.811 | 276.04 | 12.173 | 270.777 | 12.205 | 276.5 | 12.227 | 271.267 | 13.053 | 890.021 | 83.2 | 48.9666
2019-06-13 17:30:00 | 9.946 | 273.92 | 11.065 | 268.243 | 10.982 | 272.533 | 11.122 | 268.017 | 12.947 | 890.012 | 83.104 | 47.8929
2019-06-13 17:45:00 | 10.12 | 272.24 | 11.041 | 266.004 | 11.223 | 270.633 | 11.169 | 265.8 | 13.037 | 890.167 | 84.203 | 48.3661
2019-06-13 18:00:00 | 10.202 | 273.68 | 11.398 | 268.992 | 11.45 | 273.1 | 11.549 | 267.833 | 13.249 | 890.333 | 82.901 | 48.1494
2019-06-13 18:15:00 | 9.6 | 275.693 | 10.829 | 271.295 | 11.583 | 276.333 | 11.933 | 271.567 | 13.303 | 889.554 | 82.827 | 50.0019
2019-06-13 18:30:00 | 9.559 | 275.187 | 11.019 | 269.617 | 11.45 | 274.333 | 11.745 | 270.267 | 13.185 | 890.288 | 83.328 | 55.1506
2019-06-13 18:45:00 | 8.691 | 278.573 | 9.904 | 272.664 | 10.581 | 278.333 | 10.875 | 273.733 | 12.926 | 889.846 | 83.093 | 61.2565
2019-06-13 19:00:00 | 8.722 | 281.133 | 10.254 | 273.935 | 10.7 | 278.967 | 11.168 | 273.367 | 13.322 | 889.55 | 83.765 | 65.9576
2019-06-13 19:15:00 | 8.45 | 279.88 | 9.821 | 275.287 | 10.225 | 279.1 | 10.631 | 274.8 | 13.045 | 890.146 | 82.72 | 68.4034
2019-06-13 19:30:00 | 8.582 | 284.933 | 10.019 | 280.207 | 10.46 | 284.933 | 10.669 | 278.767 | 12.741 | 889.883 | 82.224 | 65.0773
2019-06-13 19:45:00 | 9.045 | 286.773 | 10.217 | 283.513 | 10.758 | 287.667 | 11.378 | 284.167 | 12.632 | 889.738 | 81.749 | 64.0967
2019-06-13 20:00:00 | 10.387 | 288.88 | 11.493 | 282.492 | 12.046 | 286.333 | 12.683 | 282.7 | 12.668 | 889.908 | 79.424 | 73.7149
2019-06-13 20:15:00 | 8.68 | 287.84 | 9.781 | 282.296 | 10.775 | 287.067 | 11.495 | 282.833 | 12.132 | 890.092 | 84.416 | 61.3567
2019-06-13 20:30:00 | 10.026 | 283.133 | 11.217 | 278.701 | 11.543 | 282.1 | 11.753 | 278.533 | 12.282 | 889.638 | 81.872 | 63.4792
2019-06-13 20:45:00 | 8.144 | 271.64 | 9.422 | 269.372 | 10.011 | 273.1 | 10.586 | 268.467 | 12.453 | 889.479 | 81.861 | 69.6938
2019-06-13 21:00:00 | 8.475 | 274.293 | 9.745 | 266.514 | 9.846 | 271.5 | 10.259 | 267.3 | 12.003 | 890.083 | 80.389 | 69.2341
2019-06-13 21:15:00 | 7.365 | 271.84 | 8.669 | 265.317 | 9.006 | 269.867 | 9.073 | 266.017 | 12.045 | 890.092 | 83.573 | 58.5969
2019-06-13 21:30:00 | 6.951 | 266.6 | 8.302 | 261.708 | 8.996 | 267.1 | 9.384 | 261.6 | 11.74 | 889.992 | 84.512 | 51.8977
2019-06-13 21:45:00 | 7.369 | 262.36 | 8.36 | 256.561 | 8.908 | 262.35 | 9.21 | 257.033 | 11.866 | 889.762 | 83.339 | 58.1862
2019-06-13 22:00:00 | 7.022 | 255.213 | 8.209 | 252.882 | 8.93 | 258.367 | 9.259 | 253.183 | 11.849 | 889.779 | 81.173 | 55.1549
2019-06-13 22:15:00 | 5.982 | 259.467 | 7.097 | 255.589 | 7.51 | 261.667 | 7.597 | 257.35 | 12.349 | 889.65 | 78.229 | 44.7295
2019-06-13 22:30:00 | 5.687 | 268.227 | 6.946 | 264.456 | 7.439 | 269.1 | 7.583 | 263.533 | 12.27 | 889.9 | 77.435 | 40.66
2019-06-13 22:45:00 | 6.645 | 272.613 | 8.212 | 266.923 | 8.702 | 271.867 | 9.075 | 266.917 | 12.601 | 890.125 | 75.195 | 50.3799
2019-06-13 23:00:00 | 7.05 | 269.867 | 8.438 | 264.75 | 8.476 | 267.133 | 8.57 | 261.567 | 12.889 | 889.842 | 73.915 | 43.2792
2019-06-13 23:15:00 | 5.996 | 271.12 | 7.497 | 266.173 | 8.026 | 271.267 | 8.424 | 266.35 | 12.83 | 889.817 | 74.811 | 37.0347
2019-06-13 23:30:00 | 6.132 | 270.26 | 7.492 | 264.581 | 7.893 | 268.667 | 8.08 | 264.65 | 12.707 | 889.917 | 75.627 | 31.6891
2019-06-13 23:45:00 | 4.382 | 261.1 | 5.461 | 256.376 | 5.938 | 261.683 | 6.13 | 256.967 | 12.347 | 889.9 | 75.76 | 27.5679