## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-14 00:00:00 | 4.307 | 251.287 | 5.411 | 249.78 | 6.287 | 256.383 | 6.4 | 251.267 | 12.689 | 889.492 | 76.656 | 33.2858
2019-06-14 00:15:00 | 7.268 | 260.453 | 8.471 | 257.568 | 8.981 | 263.533 | 9.37 | 258.333 | 12.547 | 889.708 | 75.216 | 46.5307
2019-06-14 00:30:00 | 7.382 | 260.24 | 8.584 | 255.334 | 8.963 | 260.75 | 9.029 | 255.867 | 12.72 | 889.517 | 75.205 | 43.4689
2019-06-14 00:45:00 | 7.09 | 264.96 | 8.433 | 263.125 | 8.907 | 268.383 | 9.366 | 264.033 | 12.699 | 889.558 | 75.947 | 41.3429
2019-06-14 01:00:00 | 7.364 | 264.1 | 8.267 | 261.605 | 8.633 | 267.167 | 8.481 | 263.633 | 12.684 | 890.317 | 75.947 | 44.1901
2019-06-14 01:15:00 | 8.246 | 264.72 | 9.852 | 262.721 | 9.98 | 268.683 | 10.23 | 264.417 | 12.62 | 889.95 | 75.573 | 52.5443
2019-06-14 01:30:00 | 7.944 | 270.467 | 8.912 | 266.826 | 9.602 | 272.367 | 10.05 | 268.267 | 12.47 | 890.117 | 74.352 | 47.6627
2019-06-14 01:45:00 | 6.801 | 279.213 | 8.106 | 273.843 | 8.706 | 277.867 | 9.265 | 274.2 | 12.962 | 890.133 | 73.6 | 43.9556
2019-06-14 02:00:00 | 5.64 | 268.56 | 6.946 | 264.578 | 7.35 | 269.667 | 7.759 | 266.467 | 12.999 | 889.925 | 72.896 | 35.8936
2019-06-14 02:15:00 | 5.217 | 263.48 | 6.644 | 259.62 | 7.054 | 266.517 | 7.35 | 262.867 | 12.759 | 889.892 | 72.021 | 27.8315
2019-06-14 02:30:00 | 6.115 | 263.847 | 7.768 | 261.486 | 8.101 | 267.8 | 8.302 | 263.65 | 12.486 | 889.817 | 71.435 | 31.9442
2019-06-14 02:45:00 | 7.2 | 269.047 | 8.351 | 265.193 | 8.9 | 270 | 9.128 | 266.767 | 12.543 | 890.117 | 70.965 | 41.7948
2019-06-14 03:00:00 | 7.015 | 256.753 | 8.054 | 254.591 | 8.488 | 261.417 | 8.49 | 256.467 | 12.445 | 889.975 | 72.437 | 37.3609
2019-06-14 03:15:00 | 7.122 | 248.133 | 8.328 | 246.128 | 8.651 | 253.65 | 8.678 | 249.133 | 12.04 | 889.792 | 74.357 | 36.3746
2019-06-14 03:30:00 | 6.792 | 246.647 | 8.037 | 244.335 | 8.604 | 250.967 | 8.748 | 248.05 | 11.586 | 890.3 | 75.371 | 46.4426
2019-06-14 03:45:00 | 6.336 | 251.553 | 7.695 | 251.101 | 7.988 | 258.633 | 8.104 | 256.633 | 11.607 | 889.558 | 76.635 | 47.6144
2019-06-14 04:00:00 | 6.084 | 255.093 | 7.355 | 254.009 | 7.834 | 261.833 | 8.095 | 257.083 | 11.395 | 890.15 | 77.147 | 43.8512
2019-06-14 04:15:00 | 5.889 | 241.1 | 7.542 | 240.768 | 7.955 | 247.2 | 8.124 | 244.433 | 10.795 | 890.108 | 77.589 | 46.6409
2019-06-14 04:30:00 | 7.307 | 238.567 | 8.735 | 235.751 | 9.366 | 241.7 | 9.46 | 236.633 | 11.195 | 889.783 | 77.568 | 47.3706
2019-06-14 04:45:00 | 5.242 | 227.227 | 6.262 | 228.458 | 6.799 | 236.467 | 6.97 | 232.167 | 11.424 | 889.933 | 75.68 | 30.6546
2019-06-14 05:00:00 | 5.676 | 245.733 | 7.255 | 243.896 | 8.199 | 249.033 | 8.735 | 244.483 | 10.745 | 890.217 | 77.696 | 47.4239
2019-06-14 05:15:00 | 8.254 | 245.7 | 10.231 | 243.056 | 10.875 | 249.6 | 10.756 | 244.733 | 10.778 | 889.967 | 77.632 | 60.0741
2019-06-14 05:30:00 | 6.452 | 242.313 | 8.001 | 238.93 | 8.6 | 244.933 | 8.646 | 241.133 | 10.759 | 889.975 | 77.333 | 54.1303
2019-06-14 05:45:00 | 7.221 | 235.147 | 8.673 | 232.435 | 9.348 | 240.133 | 9.538 | 235.533 | 10.776 | 889.917 | 77.493 | 54.4706
2019-06-14 06:00:00 | 5.989 | 229.7 | 7.95 | 229.562 | 8.625 | 236.933 | 8.519 | 233.2 | 11.061 | 889.833 | 76.843 | 53.0097
2019-06-14 06:15:00 | 6.635 | 222.9 | 7.97 | 223.268 | 8.738 | 229.367 | 8.936 | 225.567 | 11.011 | 889.333 | 76.757 | 52.7923
2019-06-14 06:30:00 | 6.056 | 228.767 | 7.982 | 225.897 | 8.871 | 230.533 | 9.065 | 226.9 | 11.211 | 889.867 | 75.061 | 52.7013
2019-06-14 06:45:00 | 5.709 | 224.627 | 7.462 | 223.378 | 8.365 | 229.167 | 8.628 | 225.2 | 12.036 | 889.658 | 71.573 | 46.2877
2019-06-14 07:00:00 | 6.481 | 221.693 | 8.387 | 221.158 | 9.087 | 226.3 | 9.349 | 221.667 | 12.334 | 889.6 | 69.813 | 50.2655
2019-06-14 07:15:00 | 6.192 | 223.353 | 7.454 | 222.957 | 8.263 | 227.267 | 8.512 | 223.6 | 13.053 | 890.4 | 65.952 | 43.8256
2019-06-14 07:30:00 | 6.112 | 229.447 | 7.278 | 225.623 | 7.901 | 230.033 | 8.271 | 225.567 | 13.754 | 889.925 | 62.293 | 38.5617
2019-06-14 07:45:00 | 6.956 | 230.52 | 7.778 | 228.139 | 8.561 | 231.833 | 8.896 | 226.567 | 14.254 | 890.125 | 59.691 | 41.1432
2019-06-14 08:00:00 | 7.571 | 232.8 | 8.375 | 230.048 | 8.888 | 234.367 | 8.905 | 227.633 | 14.541 | 889.708 | 57.525 | 37.7119
2019-06-14 08:15:00 | 7.107 | 228.467 | 7.308 | 226.347 | 7.516 | 231.467 | 7.806 | 226.833 | 15.108 | 890.158 | 55.872 | 34.4461
2019-06-14 08:30:00 | 6.29 | 243.6 | 7 | 238.991 | 7.394 | 244.7 | 7.504 | 238.1 | 16.006 | 889.725 | 54.731 | 34.218
2019-06-14 08:45:00 | 6.852 | 255.58 | 7.533 | 256.316 | 7.207 | 261.717 | 7.143 | 258.6 | 16.631 | 889.775 | 54.363 | 38.9611
2019-06-14 09:00:00 | 8.114 | 262.38 | 8.653 | 264.207 | 8.657 | 268.9 | 8.823 | 262.567 | 16.276 | 889.892 | 52.624 | 43.8747
2019-06-14 09:15:00 | 8.516 | 256.113 | 9.221 | 260.33 | 9.481 | 263.867 | 9.468 | 258.867 | 16.714 | 890.033 | 51.707 | 51.2702
2019-06-14 09:30:00 | 8.88 | 269.613 | 9.247 | 270.182 | 9.349 | 275.867 | 9.636 | 271.6 | 16.848 | 890.133 | 51.029 | 56.1213
2019-06-14 09:45:00 | 9.012 | 281.36 | 9.607 | 277.267 | 9.909 | 279.133 | 10.102 | 276.2 | 16.681 | 890.108 | 48.635 | 58.5415
2019-06-14 10:00:00 | 9.7 | 276.307 | 10.69 | 274.032 | 10.95 | 278.067 | 11.264 | 273.8 | 17.048 | 889.942 | 48.272 | 57.4955
2019-06-14 10:15:00 | 7.889 | 284.873 | 8.603 | 281.385 | 8.55 | 283.767 | 8.862 | 280.1 | 16.931 | 889.533 | 50.027 | 51.7662
2019-06-14 10:30:00 | 7.852 | 284.96 | 8.545 | 279.414 | 8.706 | 282.2 | 8.726 | 276.533 | 16.931 | 889.775 | 48.245 | 45.8479
2019-06-14 10:45:00 | 9.182 | 292.533 | 9.723 | 286.784 | 9.736 | 288.567 | 10.133 | 285.9 | 17.139 | 889.833 | 46.955 | 14.33
2019-06-14 11:00:00 | 9.308 | 262.527 | 10.156 | 261.762 | 10.09 | 269 | 10.087 | 266.283 | 17.181 | 889.875 | 47.157 | 38.3706
2019-06-14 11:15:00 | 8.888 | 274.293 | 9.562 | 272.007 | 9.599 | 274.567 | 9.567 | 268.333 | 16.698 | 890.292 | 50.149 | 57.2575
2019-06-14 11:30:00 | 8.7 | 271.113 | 9.403 | 272.299 | 9.732 | 275.133 | 9.886 | 270.7 | 16.314 | 889.808 | 51.957 | 52.8299
2019-06-14 11:45:00 | 7.824 | 278.533 | 8.261 | 276.562 | 8.597 | 280.2 | 8.84 | 275.7 | 16.531 | 889.65 | 49.797 | 49.8306
2019-06-14 12:00:00 | 8.713 | 279.493 | 9.764 | 275.292 | 10.16 | 279.9 | 10.236 | 278.167 | 17.227 | 890.042 | 45.904 | 60.6291
2019-06-14 12:15:00 | 8.987 | 274.42 | 9.773 | 266.223 | 10.224 | 269.083 | 10.473 | 263.05 | 17.714 | 889.825 | 44.315 | 60.9254
2019-06-14 12:30:00 | 9.334 | 265.92 | 9.871 | 262.212 | 10.13 | 265.517 | 10.015 | 263.383 | 17.944 | 889.758 | 43.84 | 55.5521
2019-06-14 12:45:00 | 9.296 | 260.953 | 10.188 | 263.466 | 10.362 | 268.2 | 10.322 | 264.083 | 17.844 | 890.083 | 44.171 | 52.1613
2019-06-14 13:00:00 | 8.033 | 262.06 | 8.691 | 261.158 | 8.953 | 268.533 | 9.035 | 264.133 | 18.894 | 889.583 | 41.437 | 51.4742
2019-06-14 13:15:00 | 9.85 | 270.187 | 10.488 | 269.032 | 10.559 | 271.583 | 10.96 | 267.867 | 18.973 | 889.883 | 41.339 | 50.3444
2019-06-14 13:30:00 | 10.823 | 261.08 | 11.607 | 259.696 | 11.854 | 265.6 | 11.768 | 261.333 | 19.635 | 889.733 | 38.632 | 48.067
2019-06-14 13:45:00 | 9.937 | 275.1 | 10.495 | 273.063 | 10.459 | 277.667 | 10.436 | 272.4 | 19.235 | 889.567 | 39.653 | 47.1042
2019-06-14 14:00:00 | 8.066 | 275.593 | 9.101 | 272.089 | 9.761 | 274.517 | 9.734 | 267.667 | 19.456 | 889.767 | 39.4 | 47.4097
2019-06-14 14:15:00 | 9.405 | 267.027 | 9.961 | 265.567 | 9.862 | 269.133 | 10.112 | 264.633 | 19.656 | 890.067 | 37.952 | 47.5135
2019-06-14 14:30:00 | 9.362 | 254.38 | 9.876 | 259.476 | 10.15 | 263.6 | 10.147 | 260.15 | 20.189 | 889.517 | 36.453 | 46.7027
2019-06-14 14:45:00 | 9.683 | 277.56 | 10.41 | 278.302 | 10.782 | 281.2 | 10.74 | 274.4 | 20.435 | 889.55 | 35.312 | 50.4275
2019-06-14 15:00:00 | 11.12 | 289.76 | 12.232 | 284.434 | 12.653 | 286.133 | 12.844 | 283.333 | 20.452 | 889.65 | 33.987 | 51.6887
2019-06-14 15:15:00 | 10.592 | 271.253 | 11.199 | 268.378 | 11.66 | 271.533 | 11.653 | 268.867 | 20.389 | 889.683 | 34.277 | 52.1492
2019-06-14 15:30:00 | 10.291 | 290.467 | 10.892 | 287.062 | 11.04 | 289.167 | 11.344 | 286.633 | 20.252 | 889.7 | 34.131 | 52.2579
2019-06-14 15:45:00 | 10.84 | 282.027 | 11.29 | 281.927 | 11.354 | 284.5 | 11.664 | 279.633 | 20.431 | 889.767 | 33.011 | 52.7482
2019-06-14 16:00:00 | 10.248 | 285.36 | 11.107 | 279.719 | 11.617 | 284.2 | 11.753 | 280.35 | 20.823 | 889.717 | 33.813 | 52.0455
2019-06-14 16:15:00 | 9.196 | 290.28 | 9.981 | 285.583 | 10.622 | 291.6 | 11.461 | 287.567 | 20.623 | 889.767 | 34.04 | 49.3496
2019-06-14 16:30:00 | 9.095 | 273.393 | 9.86 | 275.39 | 9.928 | 275.2 | 9.806 | 273.35 | 20.506 | 889.9 | 35.789 | 31.6501
2019-06-14 16:45:00 | 9.756 | 283.693 | 10.423 | 282.972 | 10.918 | 288.033 | 11.391 | 287.533 | 20.427 | 889.75 | 35.864 | 44.21
2019-06-14 17:00:00 | 8.976 | 307 | 9.315 | 300.81 | 9.68 | 305.6 | 10.194 | 300.567 | 20.798 | 889.7 | 36.693 | 50.6016
2019-06-14 17:15:00 | 10.631 | 303.76 | 11.085 | 299.874 | 11.486 | 305.167 | 12.163 | 303.233 | 20.214 | 889.683 | 38.536 | 51.0315
2019-06-14 17:30:00 | 12.182 | 295.76 | 13.148 | 291.927 | 13.392 | 297.233 | 13.532 | 294.567 | 19.548 | 889.508 | 41.581 | 52.0852
2019-06-14 17:45:00 | 9.184 | 291.893 | 9.899 | 290.591 | 10.165 | 294.767 | 10.544 | 292.267 | 19.239 | 889.708 | 40.411 | 54.3051
2019-06-14 18:00:00 | 10.151 | 291.56 | 11.089 | 289.382 | 11.467 | 291.767 | 11.782 | 288.1 | 19.802 | 889.5 | 33.984 | 60.7094
2019-06-14 18:15:00 | 10.618 | 279.307 | 11.62 | 278.208 | 11.678 | 280.9 | 11.904 | 280.033 | 20.273 | 889.533 | 33.059 | 66.1879
2019-06-14 18:30:00 | 11.307 | 281.493 | 11.993 | 280.315 | 12.223 | 286.533 | 12.786 | 284.7 | 20.194 | 889.583 | 34.296 | 61.8278
2019-06-14 18:45:00 | 10.456 | 276.013 | 11.331 | 275.56 | 11.559 | 279.1 | 11.739 | 276.833 | 20.777 | 889.733 | 35.149 | 58.3546
2019-06-14 19:00:00 | 11.262 | 268.1 | 12.366 | 269.87 | 12.646 | 275.5 | 12.782 | 271.567 | 20.123 | 889.783 | 35.299 | 59.0822
2019-06-14 19:15:00 | 9.243 | 266.573 | 9.949 | 264.851 | 10.286 | 270.7 | 10.318 | 267.317 | 20.21 | 889.767 | 37.155 | 62.4176
2019-06-14 19:30:00 | 8.834 | 273.96 | 9.736 | 272.93 | 9.985 | 276.2 | 10.234 | 272.533 | 20.314 | 889.6 | 37.629 | 52.6928
2019-06-14 19:45:00 | 7.385 | 275.273 | 8.106 | 276.286 | 8.238 | 281.033 | 8.586 | 275.467 | 19.873 | 889.767 | 38.469 | 47.4481
2019-06-14 20:00:00 | 7.8 | 283.227 | 8.31 | 279.838 | 8.532 | 283.3 | 8.792 | 281.4 | 20.006 | 889.55 | 37.891 | 39.1693
2019-06-14 20:15:00 | 7.444 | 294.3 | 8.134 | 290.253 | 8.349 | 295.267 | 8.621 | 292.667 | 19.514 | 889.983 | 39.989 | 32.3287
2019-06-14 20:30:00 | 11.317 | 322.253 | 12.315 | 316.448 | 12.859 | 320.533 | 13.207 | 320.2 | 17.814 | 890.042 | 45.28 | 73.4854
2019-06-14 20:45:00 | 9.589 | 305.333 | 10.329 | 303.214 | 10.637 | 307.133 | 11.095 | 305.1 | 16.11 | 889.975 | 60.736 | 52.1975
2019-06-14 21:00:00 | 6.944 | 223.713 | 7.578 | 221.019 | 7.906 | 225.5 | 7.98 | 221.433 | 14.583 | 889.667 | 77.696 | 21.4755
2019-06-14 21:15:00 | 4.753 | 213.553 | 5.082 | 210.646 | 5.247 | 217.833 | 5.335 | 217.233 | 14.322 | 889.942 | 72.267 | 6.5735
2019-06-14 21:30:00 | 4.159 | 206.693 | 4.348 | 206.912 | 4.648 | 215 | 4.707 | 218.8 | 14.141 | 889.508 | 74.336 | 5.0983
2019-06-14 21:45:00 | 3.437 | 212.14 | 4.365 | 213.329 | 4.682 | 225.5 | 4.783 | 225.8 | 14.149 | 890.167 | 77.152 | 9.3106
2019-06-14 22:00:00 | 3.741 | 214.527 | 4.967 | 218.079 | 5.32 | 227.367 | 5.594 | 226.1 | 14.308 | 890.008 | 77.419 | 16.7473
2019-06-14 22:15:00 | 4.331 | 236.96 | 5.436 | 238.139 | 5.877 | 245.767 | 6.084 | 242.567 | 14.666 | 889.775 | 72.16 | 20.0536
2019-06-14 22:30:00 | 4.815 | 244.867 | 6.061 | 243.133 | 6.284 | 248.5 | 6.472 | 242.833 | 14.791 | 889.975 | 73.312 | 30.494
2019-06-14 22:45:00 | 5.762 | 241.693 | 7.062 | 239.464 | 7.711 | 246.433 | 7.713 | 243.167 | 15.155 | 890.042 | 70.699 | 37.7311
2019-06-14 23:00:00 | 5.798 | 242.887 | 6.9 | 242.161 | 7.238 | 249.733 | 7.302 | 245.65 | 15.459 | 889.883 | 68.608 | 34.93
2019-06-14 23:15:00 | 6.242 | 233.8 | 7.471 | 232.293 | 8.034 | 237.933 | 8.228 | 232.7 | 14.991 | 889.858 | 69.461 | 44.8446
2019-06-14 23:30:00 | 6.534 | 244.253 | 7.982 | 241.836 | 8.698 | 247.267 | 8.898 | 242.6 | 15.286 | 889.792 | 67.019 | 47.5561
2019-06-14 23:45:00 | 6.503 | 242.167 | 7.714 | 241.334 | 8.17 | 248.767 | 8.427 | 243.967 | 14.874 | 889.783 | 66.048 | 44.4026