## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-15 00:00:00 | 5.704 | 252.727 | 7.154 | 254.013 | 7.64 | 258.75 | 7.845 | 255.333 | 14.708 | 889.725 | 63.819 | 38.1475
2019-06-15 00:15:00 | 4.945 | 253.667 | 6.318 | 253.34 | 6.899 | 259.667 | 7.422 | 253.067 | 14.228 | 889.975 | 63.509 | 30.4833
2019-06-15 00:30:00 | 4.144 | 260.88 | 5.941 | 259.811 | 6.399 | 265.867 | 6.626 | 260.033 | 14.308 | 889.733 | 64.891 | 20.551
2019-06-15 00:45:00 | 3.846 | 252.653 | 4.592 | 266.608 | 5.815 | 278.567 | 6.2 | 275.5 | 13.716 | 889.808 | 66.853 | 17.2277
2019-06-15 01:00:00 | 4.135 | 256.933 | 5.375 | 263.925 | 5.744 | 271.7 | 6.193 | 266.9 | 13.422 | 889.617 | 68.784 | 19.768
2019-06-15 01:15:00 | 4.913 | 264.033 | 6.1 | 268.39 | 6.589 | 275.4 | 7.15 | 271.6 | 13.222 | 889.742 | 66.368 | 24.6709
2019-06-15 01:30:00 | 5.35 | 259.113 | 7.026 | 261.522 | 7.329 | 268.3 | 7.621 | 263.067 | 13.197 | 889.875 | 64.443 | 34.5854
2019-06-15 01:45:00 | 5.488 | 265.313 | 6.928 | 267.571 | 7.614 | 273.167 | 8.072 | 268.667 | 13.924 | 889.983 | 59.739 | 35.4573
2019-06-15 02:00:00 | 5.34 | 269.593 | 6.408 | 272.786 | 6.861 | 278.833 | 7.544 | 275.967 | 14.304 | 889.958 | 58.587 | 30.7157
2019-06-15 02:15:00 | 5.18 | 270.673 | 6.652 | 276.072 | 7.267 | 281.033 | 7.881 | 277.767 | 13.804 | 889.85 | 59.488 | 32.4487
2019-06-15 02:30:00 | 5.146 | 262.52 | 6.456 | 269.344 | 7.059 | 276.2 | 7.512 | 274.567 | 14.016 | 890.183 | 59.211 | 23.0039
2019-06-15 02:45:00 | 5.501 | 221.067 | 5.927 | 233.907 | 6.318 | 249.767 | 6.789 | 253.6 | 13.134 | 889.683 | 65.632 | 23.7997
2019-06-15 03:00:00 | 6.664 | 217.473 | 7.668 | 220.168 | 7.758 | 225.9 | 7.606 | 226.433 | 12.607 | 889.867 | 66.795 | 23.8949
2019-06-15 03:15:00 | 5.572 | 227.907 | 6.727 | 228.333 | 6.918 | 234.967 | 6.784 | 231.667 | 12.568 | 889.942 | 67.915 | 24.2978
2019-06-15 03:30:00 | 6.961 | 226.727 | 7.782 | 228.06 | 7.881 | 235.067 | 7.697 | 231.7 | 12.174 | 890.125 | 68.875 | 26.7166
2019-06-15 03:45:00 | 5.77 | 227.587 | 5.956 | 229.557 | 6.072 | 234.8 | 6.017 | 231 | 12.455 | 889.875 | 67.243 | 19.807
2019-06-15 04:00:00 | 5.006 | 234.427 | 5.641 | 237.917 | 5.931 | 244.8 | 5.897 | 240.8 | 12.257 | 889.867 | 69.163 | 14.8437
2019-06-15 04:15:00 | 4.405 | 223.273 | 5.178 | 234.709 | 5.558 | 243.333 | 5.59 | 239.367 | 11.761 | 889.808 | 72.629 | 11.1928
2019-06-15 04:30:00 | 4.141 | 225.88 | 5.277 | 234.388 | 5.381 | 241.967 | 5.518 | 237.833 | 11.278 | 889.617 | 75.008 | 12.2907
2019-06-15 04:45:00 | 4.379 | 229.867 | 5.285 | 237.409 | 5.571 | 245.933 | 5.454 | 241.5 | 10.995 | 889.925 | 75.659 | 12.9138
2019-06-15 05:00:00 | 4.045 | 234.1 | 5.141 | 241.532 | 5.04 | 249.967 | 4.885 | 249.333 | 10.995 | 889.633 | 74.912 | 10.6883
2019-06-15 05:15:00 | 4.122 | 234.66 | 4.846 | 243.039 | 4.743 | 254.733 | 4.882 | 258.333 | 11.578 | 890.05 | 73.376 | 8.5979
2019-06-15 05:30:00 | 3.52 | 233.4 | 4.341 | 245.856 | 4.388 | 258.367 | 4.622 | 262.267 | 11.345 | 889.925 | 72.448 | 8.2987
2019-06-15 05:45:00 | 3.754 | 236.3 | 5.39 | 246.27 | 5.3 | 256.7 | 5.299 | 258.25 | 11.145 | 889.758 | 73.941 | 14.5602
2019-06-15 06:00:00 | 5.687 | 231.4 | 6.611 | 238.363 | 6.66 | 248.4 | 6.596 | 247.233 | 11.061 | 889.942 | 73.685 | 23.5119
2019-06-15 06:15:00 | 5.553 | 236.173 | 6.572 | 239.675 | 6.804 | 248.333 | 6.631 | 245.167 | 11.624 | 890.183 | 72.117 | 26.7919
2019-06-15 06:30:00 | 4.972 | 236.9 | 6.24 | 238.968 | 6.637 | 247.267 | 6.654 | 243.7 | 11.886 | 890.325 | 70.677 | 29.8282
2019-06-15 06:45:00 | 5.518 | 245.233 | 6.948 | 244.997 | 6.998 | 251.9 | 7.013 | 249.55 | 12.764 | 889.925 | 66.485 | 29.4054
2019-06-15 07:00:00 | 5.093 | 245.093 | 6.593 | 246.344 | 6.589 | 254.5 | 6.492 | 254.617 | 13.185 | 889.983 | 63.403 | 21.9615
2019-06-15 07:15:00 | 5.314 | 244.967 | 6.329 | 246.01 | 6.296 | 256 | 6.324 | 255.017 | 14.112 | 889.55 | 59.947 | 23.2441
2019-06-15 07:30:00 | 5.257 | 247.6 | 6.379 | 246.291 | 6.587 | 254.633 | 6.834 | 252.95 | 14.941 | 889.875 | 57.504 | 26.5027
2019-06-15 07:45:00 | 5.006 | 248.02 | 5.887 | 246.225 | 6.55 | 256.05 | 6.933 | 254.667 | 15.799 | 889.7 | 53.568 | 24.2559
2019-06-15 08:00:00 | 5.87 | 242.38 | 6.276 | 242.688 | 6.797 | 250.4 | 7.075 | 248.117 | 16.481 | 889.675 | 51.445 | 29.2704
2019-06-15 08:15:00 | 6.189 | 249.133 | 6.529 | 243.743 | 6.818 | 249.783 | 6.846 | 245.717 | 17.102 | 890.033 | 49.739 | 35.0871
2019-06-15 08:30:00 | 6.651 | 255.407 | 6.758 | 250.132 | 6.957 | 254.15 | 6.87 | 249.583 | 17.744 | 890.025 | 48.555 | 35.5568
2019-06-15 08:45:00 | 6.924 | 257.9 | 7.264 | 256.887 | 7.803 | 265.067 | 7.869 | 263.617 | 17.631 | 890.017 | 48.56 | 33.3917
2019-06-15 09:00:00 | 6.586 | 265.107 | 7.145 | 263.889 | 7.162 | 268.767 | 7.466 | 263.533 | 17.535 | 890.1 | 47.829 | 31.5762
2019-06-15 09:15:00 | 7.006 | 265.693 | 7.444 | 263.382 | 7.503 | 268.933 | 7.364 | 265.583 | 18.002 | 890.033 | 46.816 | 28.8348
2019-06-15 09:30:00 | 8.503 | 282.207 | 9.36 | 282.318 | 9.7 | 286.667 | 10.067 | 284.233 | 17.973 | 889.917 | 46.901 | 43.697
2019-06-15 09:45:00 | 8.412 | 293.493 | 8.684 | 292.571 | 8.868 | 296.367 | 9.084 | 292.6 | 17.973 | 889.775 | 48.176 | 40.4412
2019-06-15 10:00:00 | 6.294 | 297.307 | 7.15 | 290.293 | 7.329 | 292.833 | 7.506 | 291.6 | 18.394 | 890.033 | 47.195 | 35.625
2019-06-15 10:15:00 | 8.346 | 298.813 | 8.815 | 297.742 | 8.846 | 301.967 | 9.238 | 296.367 | 18.385 | 889.892 | 45.867 | 34.8725
2019-06-15 10:30:00 | 6.608 | 299.267 | 6.997 | 298.818 | 7.45 | 303.633 | 7.763 | 300.267 | 18.639 | 889.642 | 44.571 | 36.0506
2019-06-15 10:45:00 | 7.337 | 295.107 | 7.839 | 294.504 | 8.102 | 300.867 | 8.304 | 298.467 | 19.306 | 889.542 | 42.395 | 34.8647
2019-06-15 11:00:00 | 7.462 | 313.16 | 7.915 | 306.708 | 8.031 | 310.8 | 8.245 | 308 | 19.339 | 889.683 | 39.547 | 33.17
2019-06-15 11:15:00 | 7.744 | 292.233 | 8.123 | 287.588 | 8.722 | 292.167 | 8.887 | 290.367 | 19.489 | 889.7 | 38.568 | 34.3744
2019-06-15 11:30:00 | 7.962 | 302.04 | 8.37 | 298.107 | 8.616 | 301.5 | 8.751 | 296.233 | 19.614 | 889.683 | 37.589 | 35.4622
2019-06-15 11:45:00 | 7.312 | 302.493 | 7.625 | 298.694 | 7.626 | 304 | 7.993 | 300.433 | 20.368 | 889.65 | 37.8 | 31.5278
2019-06-15 12:00:00 | 6.884 | 290.573 | 7.237 | 291.862 | 7.383 | 298.733 | 7.833 | 296 | 20.752 | 889.617 | 37.112 | 26.9823
2019-06-15 12:15:00 | 5.558 | 279.293 | 5.75 | 277.111 | 6.067 | 283.5 | 6.327 | 279.8 | 21.006 | 889.55 | 36.187 | 18.6552
2019-06-15 12:30:00 | 6.037 | 319.44 | 6.187 | 311.891 | 6.54 | 319.367 | 6.746 | 316.967 | 20.889 | 889.517 | 35.416 | 20.1254
2019-06-15 12:45:00 | 6.985 | 304.213 | 7.103 | 305.812 | 7.03 | 311.033 | 7.157 | 306.767 | 21.427 | 889.633 | 34.059 | 17.6377
2019-06-15 13:00:00 | 6.351 | 314.973 | 6.759 | 307.306 | 7.1 | 312.067 | 7.589 | 308.6 | 22.098 | 889.45 | 32.499 | 15.4236
2019-06-15 13:15:00 | 6.359 | 298.32 | 6.733 | 315.562 | 6.941 | 316.8 | 7.285 | 313.367 | 22.214 | 889.85 | 31.872 | 17.205
2019-06-15 13:30:00 | 7.325 | 311.067 | 7.95 | 311.027 | 8.301 | 318.067 | 8.723 | 317.033 | 22.764 | 889.733 | 30.32 | 21.4755
2019-06-15 13:45:00 | 5.239 | 287.76 | 5.588 | 282.411 | 5.782 | 284.333 | 5.784 | 280.45 | 23.031 | 889.733 | 28.904 | 21.6922
2019-06-15 14:00:00 | 5.596 | 285.253 | 6 | 284.707 | 6.083 | 288.133 | 6.371 | 280.967 | 22.814 | 890.067 | 29.597 | 21.052
2019-06-15 14:15:00 | 5.399 | 295.48 | 5.96 | 282.21 | 6.109 | 285.6 | 5.821 | 281.933 | 23.114 | 889.9 | 28.403 | 19.7488
2019-06-15 14:30:00 | 6.178 | 314.667 | 6.47 | 312.768 | 6.376 | 319.633 | 6.568 | 314.833 | 23.689 | 889.967 | 26.936 | 19.7523
2019-06-15 14:45:00 | 5.891 | 303.627 | 6.55 | 303.684 | 6.653 | 307.033 | 7.257 | 307 | 23.964 | 889.717 | 26.856 | 18.8286
2019-06-15 15:00:00 | 5.763 | 299.187 | 6.107 | 296.615 | 6.491 | 306.567 | 6.738 | 306.2 | 24.448 | 889.567 | 25.584 | 20.3236
2019-06-15 15:15:00 | 5.323 | 315.733 | 5.269 | 310.642 | 5.804 | 318.167 | 6.516 | 314.4 | 23.985 | 889.2 | 25.773 | 21.2054
2019-06-15 15:30:00 | 4.639 | 323.04 | 4.597 | 312.713 | 4.519 | 312.067 | 4.912 | 304.667 | 23.91 | 889.6 | 26.947 | 22.7062
2019-06-15 15:45:00 | 7.595 | 291.213 | 7.784 | 286.991 | 8.291 | 290.133 | 8.746 | 288.5 | 24.594 | 889.783 | 24.981 | 27.8968
2019-06-15 16:00:00 | 8.14 | 275.767 | 8.879 | 273.682 | 9.176 | 278.4 | 9.305 | 276.1 | 24.923 | 889.65 | 25.155 | 30.661
2019-06-15 16:15:00 | 7.507 | 290.807 | 7.975 | 289.063 | 7.997 | 295.1 | 8.074 | 291.583 | 24.914 | 889.517 | 25.448 | 35.0849
2019-06-15 16:30:00 | 6.834 | 322.16 | 7.212 | 315.807 | 7.467 | 319.833 | 7.408 | 318.433 | 24.86 | 889.867 | 25.715 | 33.867
2019-06-15 16:45:00 | 7.143 | 293.653 | 7.567 | 289.54 | 7.759 | 295.367 | 8.326 | 290.167 | 25.16 | 889.617 | 24.771 | 38.1908
2019-06-15 17:00:00 | 9.539 | 297.587 | 9.774 | 291.71 | 9.952 | 297.1 | 10.261 | 294.2 | 24.823 | 889.867 | 25.088 | 39.7598
2019-06-15 17:15:00 | 8.989 | 320.2 | 9.257 | 311.783 | 9.64 | 316.9 | 10.245 | 313.8 | 25.106 | 889.65 | 24.275 | 43.2756
2019-06-15 17:30:00 | 10.691 | 310.8 | 10.999 | 303.347 | 11.319 | 306.467 | 11.559 | 303.233 | 25.631 | 889.717 | 23.432 | 46.7482
2019-06-15 17:45:00 | 10.611 | 285.533 | 11.566 | 282.957 | 11.761 | 287.133 | 11.982 | 286.367 | 25.631 | 889.633 | 23.587 | 46.2408
2019-06-15 18:00:00 | 9.149 | 307.4 | 9.485 | 301.839 | 9.818 | 306.6 | 9.99 | 305.567 | 25.173 | 889.833 | 22.68 | 47.8233
2019-06-15 18:15:00 | 9.781 | 298.093 | 10.653 | 294.135 | 10.71 | 300.333 | 11.282 | 297.367 | 25.335 | 890.15 | 22.315 | 47.9071
2019-06-15 18:30:00 | 8.796 | 305.467 | 9.11 | 297.755 | 9.172 | 301.033 | 9.533 | 297.3 | 25.406 | 889.467 | 22.856 | 42.7626
2019-06-15 18:45:00 | 9.847 | 301.253 | 10.047 | 295.541 | 10.483 | 300.6 | 11.046 | 298.867 | 25.039 | 889.85 | 23.029 | 47.6698
2019-06-15 19:00:00 | 9.035 | 303.933 | 9.605 | 300.611 | 9.754 | 305.367 | 10.136 | 303.567 | 25.139 | 889.817 | 23.085 | 49.7645
2019-06-15 19:15:00 | 8.606 | 322.853 | 9.018 | 314.879 | 9.543 | 318.167 | 9.963 | 316.433 | 25.16 | 890.05 | 25.344 | 49.2053
2019-06-15 19:30:00 | 8.838 | 302.733 | 9.491 | 297.553 | 9.792 | 303.433 | 9.986 | 300.167 | 25.073 | 889.717 | 25.264 | 45.5999
2019-06-15 19:45:00 | 8.121 | 299.413 | 8.835 | 294.289 | 9.213 | 298.367 | 9.544 | 296.4 | 24.935 | 890.15 | 26.16 | 46.2764
2019-06-15 20:00:00 | 7.476 | 302.293 | 8.06 | 297.765 | 8.09 | 302 | 8.275 | 299 | 24.931 | 889.883 | 26.235 | 30.6666
2019-06-15 20:15:00 | 7.253 | 303.24 | 7.673 | 300.94 | 8.044 | 306.333 | 8.346 | 303.567 | 24.739 | 889.533 | 26.44 | 30.6304
2019-06-15 20:30:00 | 6.15 | 308.28 | 6.749 | 300.283 | 6.994 | 304.3 | 7.329 | 303.767 | 24.748 | 890.117 | 27.963 | 26.74
2019-06-15 20:45:00 | 6.586 | 302.813 | 7.16 | 295.186 | 7.457 | 299.933 | 7.975 | 296.567 | 24.423 | 889.883 | 29.123 | 24.6588
2019-06-15 21:00:00 | 6.676 | 318.08 | 7.116 | 313.487 | 7.511 | 318.667 | 7.809 | 315.833 | 24.323 | 889.7 | 29.656 | 24.6176
2019-06-15 21:15:00 | 4.499 | 319.773 | 5.111 | 311.909 | 5.603 | 315.867 | 6.045 | 315.567 | 24.485 | 889.967 | 29.931 | 19.8809
2019-06-15 21:30:00 | 6.878 | 307.44 | 7.475 | 303.891 | 7.651 | 309.067 | 7.922 | 307.833 | 24.131 | 889.283 | 29.381 | 19.3246
2019-06-15 21:45:00 | 5.94 | 305.693 | 6.936 | 300.149 | 7.329 | 305.9 | 7.593 | 304.9 | 24.306 | 889.417 | 29.045 | 19.9115
2019-06-15 22:00:00 | 4.962 | 307.68 | 5.805 | 306.038 | 6.167 | 312.4 | 6.449 | 310.367 | 24.006 | 889.267 | 30.747 | 14.3172
2019-06-15 22:15:00 | 3.576 | 310.733 | 4.328 | 307.376 | 4.826 | 312.933 | 5.326 | 311.733 | 23.531 | 889.783 | 32.272 | 7.9363
2019-06-15 22:30:00 | 3.319 | 301.093 | 3.812 | 301.082 | 4.273 | 308.033 | 4.729 | 306.733 | 23.048 | 889.567 | 33.16 | 5.6881
2019-06-15 22:45:00 | 2.898 | 289.813 | 3.638 | 291.678 | 4.002 | 298.6 | 4.351 | 297.433 | 22.814 | 890.15 | 34.264 | 2.7463
2019-06-15 23:00:00 | 2.818 | 262.333 | 2.958 | 276.434 | 3.118 | 280.333 | 3.33 | 283.733 | 21.852 | 889.483 | 34.904 | 0.85979
2019-06-15 23:15:00 | 3.258 | 245.893 | 3.226 | 264.716 | 3.356 | 275.2 | 3.61 | 275.2 | 21.623 | 889.65 | 36.683 | 1.3444
2019-06-15 23:30:00 | 3.492 | 237.687 | 3.32 | 258.787 | 3.355 | 272.6 | 3.573 | 272.583 | 21.094 | 890.25 | 39.456 | 2.406
2019-06-15 23:45:00 | 3.502 | 232.973 | 3.664 | 254.827 | 3.731 | 270.067 | 3.82 | 271.467 | 20.385 | 889.683 | 42.331 | 2.3648