## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-16 00:00:00 | 3.921 | 235.88 | 4.046 | 249.161 | 3.961 | 260.733 | 4.019 | 259.567 | 19.818 | 890.025 | 43.733 | 4.5206
2019-06-16 00:15:00 | 4.32 | 227.173 | 4.89 | 245.337 | 4.839 | 257.233 | 4.853 | 255.683 | 19.381 | 889.858 | 46.272 | 8.2376
2019-06-16 00:30:00 | 4.667 | 231.347 | 5.455 | 246.523 | 5.54 | 254.6 | 5.571 | 254.1 | 18.702 | 890.258 | 45.664 | 12.82
2019-06-16 00:45:00 | 4.641 | 234.46 | 5.896 | 239.784 | 5.783 | 249.867 | 5.527 | 248.533 | 18.894 | 889.892 | 43.701 | 13.8241
2019-06-16 01:00:00 | 4.551 | 231.353 | 5.396 | 242.09 | 5.327 | 253.633 | 5.29 | 254.833 | 19.014 | 889.85 | 43.371 | 12.2331
2019-06-16 01:15:00 | 5.211 | 229.147 | 5.932 | 237.987 | 5.608 | 250.667 | 5.435 | 252.45 | 18.498 | 890.075 | 44.213 | 12.9643
2019-06-16 01:30:00 | 4.901 | 239.1 | 5.235 | 249.039 | 5.209 | 260.467 | 5.324 | 261.5 | 18.806 | 889.708 | 44.576 | 11.7926
2019-06-16 01:45:00 | 4.491 | 244.12 | 5.393 | 257.772 | 5.494 | 270.467 | 5.773 | 271.8 | 18.173 | 889.767 | 45.376 | 12.7447
2019-06-16 02:00:00 | 4.806 | 242.36 | 5.6 | 256.19 | 5.512 | 269.8 | 5.718 | 273.2 | 18.256 | 889.733 | 45.755 | 13.2933
2019-06-16 02:15:00 | 5.399 | 245.073 | 5.648 | 255.033 | 5.688 | 263.4 | 5.865 | 263.233 | 18.094 | 889.7 | 45.84 | 13.6948
2019-06-16 02:30:00 | 4.998 | 239.74 | 5.604 | 255.262 | 5.633 | 265.133 | 5.739 | 263.7 | 18.077 | 889.858 | 46.555 | 17.0572
2019-06-16 02:45:00 | 5.901 | 244.74 | 7.186 | 249.401 | 7.107 | 258.167 | 7.22 | 255.75 | 17.889 | 889.492 | 46.763 | 30.8741
2019-06-16 03:00:00 | 5.471 | 242.34 | 6.58 | 244.894 | 6.646 | 253.7 | 6.722 | 250.9 | 17.923 | 890.292 | 45.664 | 28.5648
2019-06-16 03:15:00 | 5.105 | 246.64 | 6.19 | 254.171 | 6.467 | 261.933 | 6.633 | 259.15 | 18.248 | 889.767 | 45.301 | 22.6458
2019-06-16 03:30:00 | 5.104 | 247.613 | 6.191 | 255.607 | 6.505 | 264.933 | 6.902 | 262.067 | 17.481 | 889.942 | 45.819 | 23.1851
2019-06-16 03:45:00 | 5.33 | 246.373 | 6.109 | 255.14 | 6.394 | 264.4 | 6.92 | 261.7 | 17.402 | 889.783 | 46.635 | 21.5131
2019-06-16 04:00:00 | 5.311 | 241.567 | 6.129 | 252.015 | 6.277 | 260.867 | 6.51 | 258.45 | 16.931 | 889.967 | 47.248 | 21.5195
2019-06-16 04:15:00 | 5.404 | 245.5 | 6.133 | 255.588 | 6.268 | 264.667 | 6.526 | 261.633 | 16.881 | 890.017 | 47.893 | 22.9392
2019-06-16 04:30:00 | 5.861 | 244.58 | 6.638 | 254.511 | 6.913 | 261 | 6.978 | 258.483 | 16.848 | 889.492 | 48.192 | 23.7628
2019-06-16 04:45:00 | 5.249 | 250.547 | 6.216 | 260.265 | 6.588 | 268.533 | 6.851 | 266.367 | 16.831 | 889.975 | 47.637 | 21.3809
2019-06-16 05:00:00 | 5.601 | 246.047 | 6.127 | 256.815 | 6.28 | 265.2 | 6.717 | 261.767 | 16.798 | 889.75 | 48.4 | 18.457
2019-06-16 05:15:00 | 5.795 | 246.4 | 6.458 | 256.127 | 6.63 | 265.867 | 6.853 | 263.1 | 16.764 | 889.642 | 48.48 | 21.5536
2019-06-16 05:30:00 | 5.937 | 237.047 | 6.665 | 246.644 | 6.781 | 254.667 | 6.818 | 252.133 | 16.036 | 889.925 | 49.643 | 26.3492
2019-06-16 05:45:00 | 6.186 | 229.6 | 7.118 | 236.764 | 7.136 | 246.033 | 6.827 | 244.3 | 15.604 | 889.858 | 50.912 | 26.6612
2019-06-16 06:00:00 | 5.781 | 231.967 | 6.954 | 237.48 | 6.738 | 246.067 | 6.503 | 243.833 | 16.094 | 889.517 | 49.813 | 22.5328
2019-06-16 06:15:00 | 6.679 | 214.453 | 7.875 | 220.654 | 7.661 | 230.667 | 6.906 | 229.533 | 16.141 | 889.658 | 50.539 | 30.1294
2019-06-16 06:30:00 | 6.439 | 223.167 | 7.831 | 227.197 | 8.19 | 235 | 7.968 | 231.233 | 16.181 | 889.842 | 49.099 | 28.7552
2019-06-16 06:45:00 | 6.051 | 226.907 | 7.379 | 233.067 | 7.729 | 242.733 | 7.652 | 239.133 | 16.931 | 889.75 | 46.517 | 30.3305
2019-06-16 07:00:00 | 5.382 | 231.5 | 7.249 | 232.329 | 7.624 | 243.533 | 7.598 | 240.167 | 17.418 | 889.867 | 44.619 | 34.6963
2019-06-16 07:15:00 | 6.257 | 230.06 | 7.675 | 230.958 | 7.955 | 239.8 | 7.948 | 236.9 | 18.477 | 889.792 | 41.813 | 35.7713
2019-06-16 07:30:00 | 5.641 | 232.547 | 6.857 | 233.168 | 7.507 | 242.4 | 7.77 | 238.833 | 19.46 | 889.683 | 39.328 | 29.4402
2019-06-16 07:45:00 | 5.817 | 244.04 | 6.798 | 241.656 | 7.538 | 248.633 | 7.56 | 244.667 | 20.981 | 889.933 | 36.048 | 22.2137
2019-06-16 08:00:00 | 5.45 | 244.127 | 5.818 | 240.814 | 6.075 | 246.767 | 6.315 | 241.683 | 21.789 | 889.967 | 34.309 | 21.4243
2019-06-16 08:15:00 | 6.446 | 240.433 | 6.711 | 237.895 | 7.199 | 242 | 7.315 | 237.767 | 22.464 | 889.85 | 32.843 | 26.2796
2019-06-16 08:30:00 | 6.028 | 244.733 | 6.416 | 242.428 | 6.752 | 247.533 | 6.756 | 243.017 | 23.114 | 889.533 | 31.92 | 25.6777
2019-06-16 08:45:00 | 6.345 | 255.467 | 6.63 | 250.247 | 6.746 | 255.833 | 6.643 | 249.233 | 23.868 | 889.967 | 30.421 | 25.1711
2019-06-16 09:00:00 | 6.731 | 269.82 | 7.26 | 268.314 | 7.555 | 269.85 | 7.664 | 264.933 | 22.964 | 889.883 | 31.384 | 28.7296
2019-06-16 09:15:00 | 7.313 | 275.42 | 7.994 | 276.075 | 7.873 | 279.633 | 8.142 | 279.133 | 23.098 | 889.45 | 31.024 | 25.4703
2019-06-16 09:30:00 | 6.161 | 290.947 | 6.712 | 290.615 | 7.234 | 294.167 | 7.821 | 290.567 | 23.664 | 890.083 | 30.893 | 23.5034
2019-06-16 09:45:00 | 6.274 | 280.68 | 7.003 | 277.055 | 7.149 | 280.183 | 7.282 | 282 | 23.848 | 890.117 | 29.24 | 27.4321
2019-06-16 10:00:00 | 6.841 | 313.64 | 7.076 | 306.052 | 7.136 | 309.9 | 7.554 | 308.4 | 24.268 | 889.3 | 27.547 | 29.0942
2019-06-16 10:15:00 | 5.581 | 286.087 | 5.882 | 286.796 | 6.189 | 291.133 | 6.486 | 288.967 | 24.352 | 889.933 | 27.507 | 33.251
2019-06-16 10:30:00 | 7.723 | 277.793 | 8.421 | 277.302 | 8.632 | 283.1 | 9.003 | 278.9 | 24.564 | 889.883 | 26.451 | 25.7488
2019-06-16 10:45:00 | 5.824 | 300.16 | 6.068 | 296.388 | 6.311 | 301.233 | 6.454 | 294.5 | 24.964 | 890.017 | 26.245 | 20.5219
2019-06-16 11:00:00 | 4.636 | 316.267 | 5.06 | 310.996 | 5.256 | 316.333 | 5.494 | 317.1 | 24.323 | 889.717 | 27.112 | 22.1604
2019-06-16 11:15:00 | 6.562 | 303.773 | 6.976 | 303.713 | 7.656 | 307 | 7.725 | 304.767 | 25.198 | 889.95 | 25.293 | 25.0432
2019-06-16 11:30:00 | 7.384 | 307.253 | 7.617 | 301.295 | 7.715 | 305.4 | 7.918 | 301.367 | 25.244 | 889.583 | 24.637 | 30.5103
2019-06-16 11:45:00 | 7.495 | 306.587 | 7.797 | 302.814 | 8.255 | 307.1 | 8.926 | 305.633 | 25.127 | 889.483 | 25.288 | 27.0555
2019-06-16 12:00:00 | 8.461 | 288.467 | 9.039 | 287.202 | 9.343 | 290.467 | 9.616 | 288.067 | 25.327 | 889.7 | 26.16 | 35.4644
2019-06-16 12:15:00 | 9.409 | 294.52 | 9.615 | 291.653 | 9.831 | 296.233 | 9.971 | 294.1 | 25.364 | 889.883 | 25.901 | 47.2129
2019-06-16 12:30:00 | 7.51 | 298.773 | 8.022 | 294.112 | 8.484 | 298.5 | 8.968 | 296.1 | 25.448 | 889.55 | 25.995 | 47.2257
2019-06-16 12:45:00 | 9.231 | 304.387 | 9.533 | 300.246 | 9.748 | 302.467 | 10.333 | 298.033 | 25.702 | 889.683 | 25.456 | 52.8591
2019-06-16 13:00:00 | 9.067 | 303.133 | 9.398 | 297.554 | 9.724 | 301.467 | 9.956 | 296.833 | 25.968 | 889.883 | 25.483 | 48.5267
2019-06-16 13:15:00 | 9.247 | 302.92 | 9.818 | 299.679 | 10.027 | 302.633 | 10.317 | 298.267 | 26.227 | 889.45 | 25.379 | 48.7918
2019-06-16 13:30:00 | 8.543 | 299.187 | 8.968 | 295.701 | 9.22 | 299.667 | 9.407 | 298 | 26.006 | 889.983 | 25.685 | 47.932
2019-06-16 13:45:00 | 7.069 | 275.44 | 7.357 | 272.746 | 7.632 | 277.1 | 7.687 | 276.983 | 26.231 | 889.6 | 24.941 | 41.1269
2019-06-16 14:00:00 | 8.35 | 300.527 | 8.762 | 298.479 | 8.915 | 303.2 | 9.444 | 301.867 | 26.568 | 889.367 | 25.035 | 47.9746
2019-06-16 14:15:00 | 7.95 | 282.213 | 8.372 | 281.866 | 8.697 | 285.633 | 9.256 | 283.367 | 26.385 | 889.817 | 24.595 | 53.2058
2019-06-16 14:30:00 | 8.351 | 312.92 | 8.436 | 309.96 | 9.013 | 313.167 | 9.431 | 312.967 | 26.16 | 889.767 | 25.291 | 55.1712
2019-06-16 14:45:00 | 8.201 | 301.067 | 8.695 | 297.924 | 9.001 | 302.6 | 9.479 | 298.7 | 26.377 | 889.867 | 24.149 | 46.567
2019-06-16 15:00:00 | 7.812 | 317.747 | 8.13 | 310.64 | 8.408 | 313.467 | 8.997 | 310.633 | 26.373 | 889.767 | 23.771 | 42.548
2019-06-16 15:15:00 | 8.312 | 308.84 | 9.037 | 305.814 | 9.479 | 309.9 | 9.988 | 310.2 | 27.335 | 889.817 | 22.877 | 51.8394
2019-06-16 15:30:00 | 10.202 | 326.96 | 10.441 | 322.382 | 11.1 | 324.7 | 11.553 | 323.667 | 27.289 | 890.383 | 22.752 | 53.7757
2019-06-16 15:45:00 | 9.99 | 300.013 | 10.664 | 295.787 | 10.907 | 300.5 | 11.559 | 297.933 | 27.26 | 889.683 | 23.259 | 54.5374
2019-06-16 16:00:00 | 10.079 | 303.733 | 10.64 | 297.747 | 11.073 | 300.533 | 11.579 | 296.767 | 27.16 | 889.833 | 22.611 | 46.9777
2019-06-16 16:15:00 | 8.743 | 272.567 | 9.233 | 271.123 | 9.265 | 276.2 | 9.487 | 273.933 | 28.081 | 889.867 | 21.795 | 45.8045
2019-06-16 16:30:00 | 7.934 | 314.453 | 8.215 | 309.37 | 8.567 | 308.5 | 8.84 | 306.867 | 28.118 | 889.533 | 20.88 | 45.3747
2019-06-16 16:45:00 | 7.585 | 303.107 | 7.974 | 301.514 | 8.184 | 306.033 | 8.44 | 303.833 | 27.489 | 889.417 | 21.816 | 45.8728
2019-06-16 17:00:00 | 8.48 | 303.16 | 8.867 | 298.138 | 9.181 | 303.733 | 9.64 | 300.367 | 28.077 | 889.867 | 20.572 | 54.2702
2019-06-16 17:15:00 | 7.923 | 291.133 | 8.502 | 289.15 | 8.886 | 293.9 | 9.078 | 289.533 | 28.073 | 889.833 | 20.671 | 51.9104
2019-06-16 17:30:00 | 6.606 | 285.647 | 6.866 | 284.936 | 6.986 | 288.333 | 7.173 | 283.1 | 27.66 | 889.733 | 20.529 | 47.6776
2019-06-16 17:45:00 | 7.719 | 284.893 | 8.499 | 288.93 | 8.866 | 292.6 | 9.561 | 289.333 | 28.668 | 889.3 | 19.019 | 47.0544
2019-06-16 18:00:00 | 10.198 | 291.347 | 11.042 | 289.089 | 11.308 | 292.033 | 11.502 | 288.4 | 27.994 | 889.5 | 19.757 | 46.9791
2019-06-16 18:15:00 | 8.572 | 307.667 | 9.326 | 301.909 | 9.866 | 305.433 | 9.982 | 301.467 | 28.131 | 889.167 | 19.847 | 46.7247
2019-06-16 18:30:00 | 8.465 | 302.333 | 8.893 | 299.112 | 9.441 | 305.4 | 9.805 | 304.567 | 28.289 | 889.433 | 20.065 | 44.0082
2019-06-16 18:45:00 | 7.753 | 285.94 | 8.608 | 281.418 | 8.837 | 288.15 | 9.213 | 285.383 | 28.306 | 889.4 | 19.263 | 44.6655
2019-06-16 19:00:00 | 9.142 | 289.76 | 9.9 | 285.878 | 10.099 | 288.667 | 10.247 | 285.067 | 28.498 | 889.633 | 18.74 | 43.95
2019-06-16 19:15:00 | 10.027 | 304.173 | 10.816 | 299.48 | 10.983 | 301.367 | 11.514 | 298.067 | 28.21 | 889.033 | 18.972 | 44.6968
2019-06-16 19:30:00 | 9.451 | 295.347 | 9.91 | 293.578 | 10.1 | 298.667 | 10.583 | 296.367 | 28.148 | 889.4 | 19.003 | 45.8529
2019-06-16 19:45:00 | 8.413 | 293.047 | 8.992 | 287.234 | 9.306 | 292.867 | 9.658 | 286.967 | 28.114 | 889.567 | 19.207 | 39.4471
2019-06-16 20:00:00 | 6.904 | 294.92 | 7.308 | 286.484 | 7.83 | 290 | 8.376 | 288.433 | 27.748 | 889.633 | 19.151 | 37.0326
2019-06-16 20:15:00 | 6.736 | 283.787 | 7.205 | 283.694 | 7.625 | 288.1 | 8.166 | 287.267 | 27.985 | 889.7 | 19.612 | 25.5804
2019-06-16 20:30:00 | 8.308 | 313.187 | 8.838 | 307.794 | 9.476 | 312.133 | 9.798 | 309.567 | 28.089 | 889.933 | 19.445 | 38.625
2019-06-16 20:45:00 | 7.442 | 287.813 | 8.18 | 286.673 | 8.444 | 292.067 | 8.634 | 288.133 | 27.327 | 889.1 | 19.776 | 37.3744
2019-06-16 21:00:00 | 7.292 | 291.373 | 8.097 | 290.541 | 8.553 | 296.433 | 8.95 | 293.767 | 27.373 | 889.433 | 20.599 | 39.1899
2019-06-16 21:15:00 | 6.954 | 279.767 | 7.878 | 279.672 | 8.314 | 284.467 | 8.458 | 282 | 27.277 | 889.767 | 20.915 | 39.5395
2019-06-16 21:30:00 | 5.984 | 303.747 | 6.958 | 298.454 | 7.74 | 306 | 8.307 | 303.667 | 26.614 | 889.85 | 22.576 | 29.4509
2019-06-16 21:45:00 | 6.131 | 283.96 | 6.746 | 282.528 | 6.935 | 287.533 | 7.207 | 286 | 26.385 | 889.9 | 22.893 | 27.3369
2019-06-16 22:00:00 | 6.553 | 292.88 | 7.892 | 289.943 | 8.541 | 295 | 9.002 | 292.833 | 26.098 | 890.133 | 23.571 | 26.7521
2019-06-16 22:15:00 | 5.245 | 283.787 | 6.349 | 284.435 | 6.842 | 291.733 | 7.378 | 288.233 | 25.852 | 890.183 | 24.368 | 21.1408
2019-06-16 22:30:00 | 4.322 | 278.187 | 5.404 | 278.884 | 5.923 | 284.8 | 6.251 | 284.1 | 25.494 | 889.7 | 25.048 | 13.5754
2019-06-16 22:45:00 | 4.13 | 267.98 | 5.324 | 274.733 | 5.617 | 282.133 | 5.945 | 281.433 | 24.723 | 889.85 | 25.8 | 12.2217
2019-06-16 23:00:00 | 4.277 | 265.733 | 5.518 | 269.997 | 5.762 | 277.367 | 6.142 | 278.567 | 24.185 | 889.917 | 26.56 | 11.4344
2019-06-16 23:15:00 | 4.062 | 258.787 | 5.249 | 268.164 | 5.67 | 276.067 | 6.025 | 275.667 | 23.66 | 889.667 | 27.427 | 11.0607
2019-06-16 23:30:00 | 4.756 | 234.447 | 5.098 | 248.027 | 5.217 | 258.633 | 5.43 | 259.85 | 22.914 | 889.583 | 29.221 | 11.2461
2019-06-16 23:45:00 | 4.702 | 235.667 | 5.174 | 247.38 | 5.129 | 257.967 | 5.365 | 260.233 | 22.681 | 889.8 | 30.613 | 13.7814