## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-17 00:00:00 | 4.996 | 238.773 | 5.924 | 246.616 | 5.771 | 256.233 | 5.773 | 254.9 | 22.394 | 889.583 | 30.896 | 16.5164
2019-06-17 00:15:00 | 5.304 | 236.093 | 6.346 | 242.426 | 5.92 | 250.533 | 5.759 | 248.133 | 21.685 | 889.317 | 30.949 | 19.0816
2019-06-17 00:30:00 | 4.927 | 237.82 | 6.165 | 246.008 | 6.157 | 254.767 | 6.225 | 253.2 | 21.639 | 889.417 | 31.477 | 20.929
2019-06-17 00:45:00 | 5.094 | 238.507 | 6.291 | 246.729 | 6.312 | 256.467 | 6.39 | 256.367 | 21.36 | 889.633 | 32.213 | 23.956
2019-06-17 01:00:00 | 5.265 | 246.087 | 6.45 | 252.573 | 6.506 | 262.6 | 6.606 | 260.533 | 21.098 | 890 | 32.659 | 25.4411
2019-06-17 01:15:00 | 5.422 | 251.873 | 7.058 | 258.447 | 7.444 | 266.567 | 7.747 | 263.733 | 21.298 | 890.4 | 32.696 | 33.6013
2019-06-17 01:30:00 | 5.855 | 257.413 | 7.165 | 263.747 | 7.432 | 269.933 | 7.735 | 266 | 21.348 | 889.733 | 31.872 | 31.1818
2019-06-17 01:45:00 | 6.054 | 261.14 | 7.47 | 265.624 | 7.889 | 272.867 | 8.134 | 267.933 | 21.381 | 889.95 | 31.925 | 56.9221
2019-06-17 02:00:00 | 13.099 | 264.707 | 14.812 | 268.614 | 15.492 | 271.783 | 15.945 | 267.067 | 20.673 | 889.558 | 45.493 | 74.9897
2019-06-17 02:15:00 | 16.199 | 262.987 | 18.389 | 265.321 | 18.947 | 269.2 | 19.15 | 265.433 | 19.544 | 890.275 | 50.283 | 74.7935
2019-06-17 02:30:00 | 14.967 | 261.087 | 16.308 | 264.182 | 17.305 | 268.2 | 17.247 | 262.8 | 18.706 | 889.725 | 51.509 | 72.9574
2019-06-17 02:45:00 | 15.942 | 255.287 | 18.01 | 252.786 | 18.71 | 257.517 | 18.878 | 253.833 | 18.756 | 890.308 | 54.416 | 71.0034
2019-06-17 03:00:00 | 15.457 | 254.047 | 16.716 | 254.926 | 17.752 | 258.75 | 17.961 | 252.883 | 17.989 | 889.733 | 56.635 | 65.7807
2019-06-17 03:15:00 | 13.881 | 252.907 | 15.678 | 253.598 | 16.275 | 257.75 | 16.534 | 252.783 | 18.014 | 890.208 | 57.627 | 61.3589
2019-06-17 03:30:00 | 13.919 | 255.7 | 15.945 | 252.651 | 17.189 | 256.583 | 17.76 | 252.733 | 17.539 | 889.608 | 59.835 | 58.3127
2019-06-17 03:45:00 | 15.626 | 257 | 17.613 | 255.181 | 18.276 | 260.133 | 18.716 | 255.583 | 17.444 | 889.808 | 61.749 | 60.2958
2019-06-17 04:00:00 | 15.456 | 261.633 | 17.711 | 261.553 | 18.207 | 266.5 | 18.228 | 259.95 | 17.081 | 890.1 | 62.891 | 57.8089
2019-06-17 04:15:00 | 17.463 | 262.16 | 20.014 | 260.015 | 20.778 | 265.733 | 20.966 | 261.417 | 17.031 | 889.767 | 64.117 | 56.0211
2019-06-17 04:30:00 | 14.646 | 259.62 | 16.751 | 256.611 | 18.093 | 260.517 | 18.615 | 257.5 | 16.464 | 889.967 | 65.141 | 52.2544
2019-06-17 04:45:00 | 17.282 | 261.94 | 19.692 | 260.851 | 20.548 | 266.333 | 20.938 | 261.25 | 16.798 | 889.933 | 62.064 | 49.6935
2019-06-17 05:00:00 | 14.562 | 262.353 | 16.303 | 263.733 | 17.42 | 267.833 | 18.65 | 261.967 | 16.464 | 889.933 | 62.235 | 50.6257
2019-06-17 05:15:00 | 14.224 | 268.373 | 16.146 | 265.684 | 16.647 | 269.467 | 17.472 | 266.517 | 16.648 | 889.733 | 62.352 | 51.1736
2019-06-17 05:30:00 | 15.753 | 266.527 | 18.26 | 267.354 | 19.028 | 268.533 | 19.446 | 264.667 | 16.531 | 890.183 | 63.413 | 50.6492
2019-06-17 05:45:00 | 16.18 | 269.293 | 18.578 | 268.744 | 19.542 | 273.3 | 19.906 | 269.5 | 16.126 | 890.075 | 63.563 | 49.5734
2019-06-17 06:00:00 | 16.397 | 272.893 | 17.865 | 270.265 | 18.953 | 274.1 | 19.132 | 270.767 | 16.186 | 889.983 | 63.392 | 48.855
2019-06-17 06:15:00 | 15.933 | 272.813 | 17.976 | 272.381 | 19.015 | 278.133 | 19.567 | 272.1 | 15.994 | 889.567 | 64.043 | 49.0838
2019-06-17 06:30:00 | 16.03 | 276 | 17.799 | 274.476 | 18.262 | 280.3 | 18.202 | 275.4 | 16.041 | 890.075 | 65.483 | 50.311
2019-06-17 06:45:00 | 15.623 | 276.733 | 17.47 | 274.443 | 18.285 | 278.833 | 18.244 | 275.7 | 16.108 | 890.158 | 65.088 | 48.0869
2019-06-17 07:00:00 | 16.054 | 275.653 | 18.012 | 276.172 | 18.511 | 278.2 | 19.064 | 275.4 | 15.562 | 889.9 | 63.461 | 47.4204
2019-06-17 07:15:00 | 17.402 | 273.153 | 19.261 | 272.386 | 19.928 | 277.133 | 19.718 | 274.8 | 15.778 | 889.575 | 59.653 | 47.6826
2019-06-17 07:30:00 | 16.064 | 275.787 | 17.876 | 273.158 | 18.618 | 276.933 | 19.089 | 274.667 | 15.768 | 889.8 | 57.077 | 47.679
2019-06-17 07:45:00 | 15.384 | 269.347 | 16.429 | 271.063 | 17.049 | 274.933 | 17.01 | 272.433 | 15.614 | 889.567 | 59.307 | 47.8922
2019-06-17 08:00:00 | 15.415 | 269.86 | 17.038 | 269.423 | 17.438 | 274.467 | 17.378 | 269.8 | 15.83 | 890.175 | 59.792 | 46.184
2019-06-17 08:15:00 | 15.77 | 271.613 | 16.897 | 269.745 | 17.555 | 272.567 | 17.92 | 268.567 | 15.664 | 889.792 | 62.901 | 44.6556
2019-06-17 08:30:00 | 13.382 | 277.24 | 14.868 | 274.957 | 15.29 | 277.833 | 15.604 | 275.3 | 15.766 | 890 | 60.325 | 43.7219
2019-06-17 08:45:00 | 13.898 | 269.407 | 15.483 | 271.834 | 16.004 | 275.033 | 16.174 | 271.567 | 15.932 | 890.35 | 57.952 | 42.5494
2019-06-17 09:00:00 | 12.18 | 282.24 | 13.283 | 279.858 | 13.506 | 281.267 | 13.832 | 279.4 | 15.856 | 889.917 | 58.059 | 42.4393
2019-06-17 09:15:00 | 11.587 | 278.76 | 12.781 | 278.017 | 12.818 | 281.2 | 13.028 | 278.967 | 16.006 | 889.875 | 59.387 | 43.1314
2019-06-17 09:30:00 | 11.502 | 277.187 | 12.688 | 276.763 | 13.085 | 280.133 | 13.24 | 276.333 | 15.794 | 889.742 | 59.557 | 42.5821
2019-06-17 09:45:00 | 10.485 | 268.04 | 11.715 | 266.482 | 11.613 | 271.967 | 11.784 | 266.55 | 15.832 | 889.608 | 61.632 | 41.7927
2019-06-17 10:00:00 | 10.333 | 258.573 | 11.469 | 260.688 | 11.658 | 265.9 | 11.555 | 262.433 | 15.438 | 889.8 | 62.848 | 40.6686
2019-06-17 10:15:00 | 11.872 | 277.773 | 12.778 | 276.492 | 13.205 | 278.933 | 13.306 | 276.05 | 15.965 | 889.633 | 57.6 | 39.8607
2019-06-17 10:30:00 | 10.67 | 270.307 | 11.478 | 270.1 | 12.188 | 274.333 | 12.489 | 269.1 | 15.799 | 889.883 | 59.744 | 39.5402
2019-06-17 10:45:00 | 12.528 | 279.587 | 13.456 | 276.461 | 13.577 | 279.9 | 14.197 | 276.333 | 16.598 | 890.092 | 55.051 | 39.2062
2019-06-17 11:00:00 | 13.053 | 267.447 | 13.426 | 268.14 | 13.6 | 272.7 | 13.529 | 269.567 | 17.248 | 889.883 | 52.901 | 38.5411
2019-06-17 11:15:00 | 12.86 | 278.987 | 13.642 | 277.832 | 13.745 | 280.333 | 14.032 | 276.5 | 18.177 | 889.85 | 48.235 | 37.363
2019-06-17 11:30:00 | 10.73 | 276.747 | 11.543 | 274.022 | 11.832 | 278.433 | 12.127 | 275.267 | 18.573 | 889.55 | 44.709 | 37.4277
2019-06-17 11:45:00 | 10.033 | 282.847 | 10.828 | 281.268 | 10.951 | 284.967 | 11.042 | 281.6 | 20.314 | 889.55 | 38.053 | 36.6446
2019-06-17 12:00:00 | 12.085 | 292.76 | 12.257 | 290.806 | 12.542 | 296.133 | 13.153 | 294.6 | 20.552 | 889.8 | 34.936 | 36.0108
2019-06-17 12:15:00 | 10.711 | 297.16 | 11.345 | 295.608 | 11.96 | 299.3 | 11.756 | 298.233 | 20.894 | 889.517 | 33.221 | 35.9177
2019-06-17 12:30:00 | 11.182 | 308.693 | 11.981 | 304.718 | 12.221 | 310.267 | 12.587 | 306.867 | 21.731 | 889.467 | 31.995 | 36.5949
2019-06-17 12:45:00 | 11.05 | 304.987 | 11.909 | 303.664 | 12.355 | 308.167 | 12.83 | 306.3 | 21.11 | 889.6 | 31.893 | 37.2031
2019-06-17 13:00:00 | 11.004 | 304.147 | 11.081 | 301.972 | 11.674 | 306.333 | 11.923 | 303.033 | 21.835 | 889.8 | 31.488 | 38.6008
2019-06-17 13:15:00 | 9.477 | 306.64 | 9.884 | 302.743 | 10.365 | 306.767 | 10.743 | 304.3 | 21.506 | 889.667 | 31.616 | 40.9016
2019-06-17 13:30:00 | 9.737 | 314.027 | 9.938 | 309.098 | 10.392 | 313.167 | 10.61 | 310.867 | 22.373 | 889.583 | 31.115 | 42.1778
2019-06-17 13:45:00 | 8.9 | 307.547 | 9.496 | 303.539 | 9.987 | 308.3 | 10.6 | 307.1 | 22.444 | 889.633 | 28.627 | 42.845
2019-06-17 14:00:00 | 9.361 | 276.353 | 9.938 | 279.72 | 10.187 | 284.1 | 10.248 | 282.433 | 22.323 | 889.533 | 30.411 | 43.9393
2019-06-17 14:15:00 | 8.289 | 277.267 | 8.949 | 281.405 | 9.158 | 288.733 | 9.437 | 288.2 | 22.481 | 889.283 | 30.803 | 45.7633
2019-06-17 14:30:00 | 8.829 | 317.147 | 8.759 | 308.726 | 8.915 | 311.267 | 9.105 | 308.367 | 22.173 | 890.167 | 29.472 | 45.9616
2019-06-17 14:45:00 | 10.782 | 305.48 | 11.413 | 301.116 | 11.799 | 306.767 | 11.788 | 302.5 | 23.131 | 889.917 | 29.552 | 46.5336
2019-06-17 15:00:00 | 9.015 | 317.027 | 9.829 | 314.087 | 10.313 | 318.467 | 10.845 | 316.3 | 22.731 | 889.817 | 30.152 | 48.8614
2019-06-17 15:15:00 | 8.354 | 314.72 | 9.087 | 306.759 | 9.475 | 307.267 | 9.926 | 305.767 | 23.331 | 889.25 | 29.843 | 47.4296
2019-06-17 15:30:00 | 9.382 | 289.413 | 10.035 | 287.074 | 10.078 | 291.4 | 10.51 | 291.6 | 23.081 | 889.483 | 28.512 | 48.0954
2019-06-17 15:45:00 | 9.579 | 296.6 | 10.132 | 296.108 | 10.51 | 298.933 | 11.028 | 298.7 | 23.081 | 890.067 | 28.093 | 50.9519
2019-06-17 16:00:00 | 8.88 | 286.127 | 9.017 | 284.334 | 9.329 | 289.3 | 9.562 | 289.667 | 23.564 | 889.333 | 27.931 | 49.8143
2019-06-17 16:15:00 | 9.052 | 300.067 | 9.616 | 294.654 | 9.921 | 297.2 | 10.196 | 296.8 | 23.66 | 889.65 | 27.307 | 49.2515
2019-06-17 16:30:00 | 9.004 | 297.733 | 9.744 | 293.708 | 10.029 | 296.533 | 9.988 | 297.533 | 23.818 | 889.8 | 26.093 | 46.7595
2019-06-17 16:45:00 | 8.406 | 280.007 | 8.766 | 278.225 | 8.834 | 282.7 | 9.06 | 279.733 | 24.152 | 889.917 | 25.147 | 41.3706
2019-06-17 17:00:00 | 6.982 | 313.733 | 7.414 | 311.746 | 7.789 | 317.2 | 8.096 | 316.4 | 24.006 | 889.75 | 23.904 | 41.6335
2019-06-17 17:15:00 | 9.807 | 301.44 | 10.268 | 300.691 | 10.37 | 305.967 | 10.796 | 304.433 | 24.556 | 889.617 | 22.931 | 47.0388
2019-06-17 17:30:00 | 7.304 | 309.053 | 7.736 | 305.886 | 7.978 | 311.6 | 8.146 | 308.1 | 24.685 | 889.75 | 23.003 | 43.9308
2019-06-17 17:45:00 | 9.482 | 290.207 | 10.066 | 288.9 | 10.206 | 293.167 | 10.71 | 290.967 | 24.71 | 889.85 | 22.733 | 42.6695
2019-06-17 18:00:00 | 8.679 | 290.093 | 9.324 | 288.976 | 9.706 | 295.067 | 10.319 | 291.167 | 25.048 | 889.55 | 20.499 | 44.6605
2019-06-17 18:15:00 | 9.324 | 293.507 | 9.888 | 292.126 | 10.317 | 297.3 | 10.521 | 296.767 | 24.789 | 889.367 | 19.968 | 50.964
2019-06-17 18:30:00 | 7.109 | 293.48 | 7.52 | 291.198 | 7.604 | 294.967 | 8.102 | 292.433 | 24.798 | 889.9 | 20.669 | 44.6776
2019-06-17 18:45:00 | 7.484 | 306.64 | 8.14 | 299.866 | 8.364 | 304.467 | 8.723 | 303.333 | 24.485 | 889.667 | 20.12 | 48.8287
2019-06-17 19:00:00 | 8.728 | 271.9 | 9.215 | 272.014 | 9.638 | 275.2 | 9.545 | 273.4 | 24.839 | 889.517 | 20.547 | 51.008
2019-06-17 19:15:00 | 8.515 | 292.413 | 8.939 | 286.942 | 9.349 | 291.667 | 9.363 | 291.367 | 24.431 | 889.2 | 20.467 | 51.9282
2019-06-17 19:30:00 | 9.057 | 295.893 | 9.765 | 296.71 | 10.11 | 301.133 | 10.373 | 298.267 | 24.623 | 889.683 | 20.851 | 53.8844
2019-06-17 19:45:00 | 8.996 | 281.08 | 9.564 | 278.193 | 9.6 | 280.467 | 9.968 | 276.767 | 24.764 | 889.85 | 21.507 | 53.1014
2019-06-17 20:00:00 | 9.397 | 296.533 | 9.986 | 291.136 | 10.372 | 296.3 | 10.805 | 296.567 | 24.46 | 889.333 | 20.373 | 43.1662
2019-06-17 20:15:00 | 9.059 | 293.267 | 9.883 | 291.862 | 10.264 | 297.067 | 10.782 | 293.667 | 24.448 | 889.667 | 21.685 | 40.8796
2019-06-17 20:30:00 | 10.284 | 292.773 | 11.313 | 289.084 | 11.791 | 294.033 | 12.272 | 291.233 | 24.164 | 890.267 | 21.387 | 43.4753
2019-06-17 20:45:00 | 7.929 | 292.813 | 8.919 | 291.875 | 9.46 | 294.767 | 10.041 | 291.433 | 24.189 | 889.4 | 21.069 | 36.7846
2019-06-17 21:00:00 | 8.503 | 289.92 | 9.492 | 286.48 | 9.724 | 292.767 | 10.042 | 290.733 | 23.598 | 889.417 | 21.888 | 41.8382
2019-06-17 21:15:00 | 7.345 | 288.16 | 8.265 | 282.974 | 8.759 | 287.067 | 9.104 | 284.2 | 23.631 | 890.05 | 22.944 | 41.3571
2019-06-17 21:30:00 | 6.682 | 279.027 | 7.582 | 281.595 | 8.161 | 287.067 | 8.646 | 284.533 | 22.998 | 890.2 | 23.875 | 33.7668
2019-06-17 21:45:00 | 6.469 | 277.267 | 7.494 | 276.75 | 7.857 | 283.533 | 8.261 | 279.233 | 22.748 | 889.6 | 24.672 | 36.8081
2019-06-17 22:00:00 | 6.655 | 275.767 | 7.486 | 277.471 | 7.795 | 281.333 | 8.067 | 278.467 | 22.344 | 889.583 | 25.597 | 33.5963
2019-06-17 22:15:00 | 5.2 | 273.347 | 6.14 | 273.128 | 6.591 | 277.167 | 6.744 | 273.967 | 21.902 | 889.917 | 26.355 | 30.4442
2019-06-17 22:30:00 | 5.622 | 268.373 | 6.849 | 269.398 | 7.301 | 275.033 | 7.708 | 270.133 | 21.881 | 889.8 | 26.928 | 23.9397
2019-06-17 22:45:00 | 4.751 | 267.187 | 6.091 | 266.956 | 6.566 | 274.067 | 6.706 | 270.4 | 21.177 | 889.983 | 27.363 | 19.2869
2019-06-17 23:00:00 | 4.668 | 254.367 | 5.552 | 258.539 | 5.808 | 264.2 | 5.864 | 259.817 | 20.998 | 889.817 | 28.421 | 16.7587
2019-06-17 23:15:00 | 4.324 | 256.193 | 5.103 | 259.037 | 5.632 | 264.467 | 5.938 | 261.317 | 20.41 | 889.583 | 29.715 | 18.9551
2019-06-17 23:30:00 | 5.34 | 252.273 | 6.629 | 255.014 | 6.843 | 260.4 | 6.923 | 256.767 | 20.344 | 889.467 | 30.68 | 20.3982
2019-06-17 23:45:00 | 4.91 | 245.147 | 5.594 | 249.426 | 5.85 | 257.2 | 6.07 | 253.783 | 19.244 | 889.9 | 31.909 | 20.1154