## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-18 00:00:00 | 4.966 | 243.467 | 5.71 | 247.368 | 5.84 | 254.9 | 5.985 | 251.833 | 18.656 | 889.417 | 33.189 | 20.8303
2019-06-18 00:15:00 | 4.905 | 247.6 | 5.632 | 248.848 | 5.763 | 255.633 | 5.861 | 252.467 | 18.623 | 889.633 | 34.032 | 24.6893
2019-06-18 00:30:00 | 4.376 | 250.82 | 5.859 | 252.645 | 6.021 | 258.8 | 6.012 | 256.9 | 17.968 | 889.517 | 34.848 | 28.7801
2019-06-18 00:45:00 | 5.431 | 246.667 | 6.461 | 250.988 | 6.765 | 258.333 | 6.858 | 255.533 | 18.081 | 889.7 | 35.235 | 26.048
2019-06-18 01:00:00 | 5.389 | 242.887 | 6.374 | 247.621 | 6.54 | 255.6 | 6.724 | 253.667 | 17.798 | 889.933 | 35.44 | 23.9901
2019-06-18 01:15:00 | 4.78 | 244.347 | 5.64 | 248.218 | 5.856 | 255.767 | 5.963 | 252.7 | 17.548 | 889.633 | 35.712 | 20.6242
2019-06-18 01:30:00 | 5.364 | 241.313 | 5.829 | 247.436 | 6.042 | 255.567 | 6.202 | 252.65 | 17.702 | 889.5 | 36.544 | 19.321
2019-06-18 01:45:00 | 4.996 | 242.953 | 6.062 | 249.844 | 6.119 | 259 | 6.175 | 258.467 | 17.081 | 889.6 | 37.408 | 19.5676
2019-06-18 02:00:00 | 4.822 | 233.04 | 5.934 | 238.461 | 5.903 | 249.8 | 5.832 | 248.933 | 17.031 | 889.567 | 38.213 | 24.1898
2019-06-18 02:15:00 | 5.752 | 240.333 | 6.91 | 244.595 | 7.156 | 253.167 | 7.247 | 249.283 | 16.376 | 889.7 | 38.997 | 33.403
2019-06-18 02:30:00 | 6.034 | 245.02 | 7.364 | 247.708 | 7.695 | 254.167 | 7.896 | 250.6 | 16.448 | 889.142 | 40.896 | 36.2567
2019-06-18 02:45:00 | 5.78 | 249.493 | 7.199 | 251.268 | 7.626 | 256.467 | 7.83 | 253.217 | 16.598 | 889.825 | 44.544 | 35.593
2019-06-18 03:00:00 | 5.881 | 255.18 | 7.583 | 258.741 | 8.057 | 263.267 | 8.213 | 258.85 | 16.548 | 889.733 | 46.981 | 38.755
2019-06-18 03:15:00 | 5.248 | 240.727 | 6.717 | 248.869 | 7.76 | 258 | 8.052 | 255.9 | 16.153 | 889.842 | 49.141 | 44.3024
2019-06-18 03:30:00 | 6.173 | 244.567 | 7.355 | 248.935 | 7.77 | 257.5 | 7.876 | 254.683 | 15.331 | 889.808 | 50.917 | 41.7216
2019-06-18 03:45:00 | 6.042 | 251.68 | 7.353 | 256.674 | 7.858 | 263.667 | 8.338 | 259.583 | 15.728 | 889.733 | 50.949 | 35.2718
2019-06-18 04:00:00 | 6.064 | 245.127 | 6.949 | 251.877 | 7.404 | 259.967 | 7.862 | 257.65 | 15.328 | 889.9 | 50.987 | 29.6939
2019-06-18 04:15:00 | 5.547 | 232.173 | 6.457 | 242.165 | 6.943 | 252.1 | 7.139 | 248.55 | 15.324 | 889.775 | 51.285 | 24.8386
2019-06-18 04:30:00 | 4.715 | 233.933 | 5.838 | 243.954 | 6.268 | 252.1 | 6.542 | 249.633 | 15.041 | 889.642 | 52.107 | 25.4987
2019-06-18 04:45:00 | 4.675 | 239.967 | 6.039 | 247.797 | 6.398 | 255.433 | 6.781 | 252.6 | 15.041 | 889.717 | 52.245 | 28.0283
2019-06-18 05:00:00 | 5.041 | 247.267 | 6.243 | 254.518 | 6.418 | 262 | 6.711 | 258.367 | 14.791 | 889.575 | 51.733 | 21.8066
2019-06-18 05:15:00 | 4.72 | 234.647 | 6.222 | 244.283 | 6.57 | 252.033 | 6.628 | 248.05 | 14.654 | 890.2 | 50.88 | 20.1367
2019-06-18 05:30:00 | 5.446 | 236.533 | 6.015 | 243.005 | 6.275 | 250.3 | 6.404 | 245.667 | 14.674 | 889.95 | 48.096 | 20.5453
2019-06-18 05:45:00 | 5.174 | 234.907 | 5.825 | 244.929 | 6.064 | 253.1 | 6.104 | 250.233 | 14.967 | 890.35 | 46.261 | 18.5394
2019-06-18 06:00:00 | 5.551 | 223.127 | 6.118 | 233.085 | 6.099 | 244.333 | 6.093 | 245.267 | 13.883 | 889.592 | 49.675 | 19.5029
2019-06-18 06:15:00 | 5.523 | 222.507 | 6.476 | 230.899 | 6.262 | 241.567 | 6.073 | 239.3 | 14.066 | 890.117 | 51.157 | 19.3565
2019-06-18 06:30:00 | 5.254 | 227.94 | 6.26 | 237.416 | 6.453 | 245.1 | 6.339 | 241.533 | 14.562 | 889.9 | 48.864 | 20.6583
2019-06-18 06:45:00 | 4.8 | 233.753 | 6.877 | 235.904 | 6.877 | 243.633 | 6.738 | 239.967 | 14.962 | 889.758 | 46.571 | 22.5754
2019-06-18 07:00:00 | 5.768 | 232.387 | 6.923 | 236.507 | 7.136 | 245.3 | 7.007 | 241.567 | 15.816 | 889.783 | 43.179 | 24.7824
2019-06-18 07:15:00 | 5.812 | 242.36 | 7.21 | 241.507 | 7.469 | 248.6 | 7.433 | 244.433 | 16.124 | 890.017 | 42.197 | 24.4321
2019-06-18 07:30:00 | 4.856 | 234.027 | 6.118 | 233.746 | 6.791 | 243.433 | 6.722 | 239.9 | 17.123 | 890 | 38.709 | 20.1105
2019-06-18 07:45:00 | 4.793 | 231.773 | 5.353 | 231.248 | 5.864 | 239.4 | 6.201 | 236.267 | 17.531 | 889.6 | 36.832 | 22.7147
2019-06-18 08:00:00 | 6.061 | 236.893 | 6.544 | 234.649 | 6.979 | 240.9 | 7.239 | 237.733 | 18.677 | 889.517 | 33.296 | 25.159
2019-06-18 08:15:00 | 6.348 | 233.92 | 6.725 | 231.451 | 7.279 | 236.167 | 7.402 | 230.1 | 19.727 | 889.183 | 31.392 | 27.0165
2019-06-18 08:30:00 | 7.277 | 245.273 | 7.627 | 241.754 | 7.904 | 247.217 | 7.786 | 243 | 19.764 | 889.583 | 29.216 | 26.0344
2019-06-18 08:45:00 | 6.866 | 254.127 | 7.055 | 252.022 | 6.954 | 256.533 | 6.988 | 248.967 | 20.648 | 889.633 | 27.019 | 30.3284
2019-06-18 09:00:00 | 8.806 | 256.287 | 9.393 | 256.77 | 9.321 | 260.617 | 9.139 | 255.367 | 20.748 | 890.083 | 23.525 | 31.832
2019-06-18 09:15:00 | 7.44 | 257.547 | 7.911 | 256.66 | 8.035 | 261.533 | 8.119 | 257.2 | 21.314 | 889.883 | 21.095 | 27.7697
2019-06-18 09:30:00 | 7.313 | 259.133 | 7.735 | 263.438 | 8.018 | 269.867 | 8.15 | 263.767 | 21.339 | 889.55 | 20.395 | 24.3767
2019-06-18 09:45:00 | 6.353 | 259.473 | 6.656 | 257.836 | 6.635 | 264.533 | 6.698 | 259.033 | 21.827 | 889.233 | 20.079 | 25.2251
2019-06-18 10:00:00 | 6.44 | 266.06 | 6.747 | 265.427 | 6.936 | 267.767 | 7.18 | 264.1 | 22.327 | 889.333 | 18.713 | 24.9906
2019-06-18 10:15:00 | 6.269 | 262.44 | 6.543 | 261.129 | 6.651 | 263.15 | 6.763 | 257.65 | 21.994 | 889.367 | 18.439 | 18.4648
2019-06-18 10:30:00 | 7.182 | 266.447 | 7.594 | 267.881 | 7.515 | 273.133 | 7.346 | 270.25 | 22.981 | 889.433 | 15.197 | 16.9314
2019-06-18 10:45:00 | 6.19 | 269.18 | 6.636 | 265.901 | 6.911 | 269.817 | 7.053 | 263.883 | 23.473 | 889.3 | 13.309 | 19.8007
2019-06-18 11:00:00 | 6.585 | 279.913 | 7.143 | 277.381 | 7.2 | 281.433 | 7.524 | 279.583 | 23.448 | 889.3 | 11.465 | 17.4551
2019-06-18 11:15:00 | 7.487 | 287.08 | 7.628 | 287.634 | 7.958 | 291.5 | 7.98 | 287.167 | 23.548 | 889.067 | 11.583 | 18.6602
2019-06-18 11:30:00 | 7.484 | 294.707 | 7.737 | 289.691 | 7.966 | 292.567 | 8.205 | 287.3 | 23.623 | 889.667 | 11.532 | 17.2213
2019-06-18 11:45:00 | 7.076 | 282.907 | 7.473 | 284.982 | 7.789 | 287.433 | 7.961 | 283.833 | 24.231 | 889.6 | 12.772 | 18.1635
2019-06-18 12:00:00 | 6.787 | 290.693 | 6.939 | 286.946 | 7.312 | 288 | 7.596 | 283.767 | 24.335 | 889.533 | 12.023 | 20.2092
2019-06-18 12:15:00 | 5.93 | 289.227 | 6.362 | 288.462 | 6.624 | 290.267 | 6.754 | 287.367 | 24.314 | 889.6 | 12.455 | 21.6176
2019-06-18 12:30:00 | 7.047 | 285.6 | 7.35 | 282.508 | 7.584 | 287.8 | 7.634 | 286.133 | 25.106 | 889.433 | 11.072 | 23.2028
2019-06-18 12:45:00 | 7.183 | 298.48 | 7.66 | 295.316 | 7.928 | 300.8 | 8.138 | 297.8 | 25.002 | 889.467 | 10.9 | 22.1178
2019-06-18 13:00:00 | 6.406 | 288.033 | 6.768 | 289.652 | 6.957 | 291.233 | 7.139 | 287.8 | 25.802 | 889.2 | 10.668 | 21.0598
2019-06-18 13:15:00 | 6.303 | 277.54 | 6.764 | 277.282 | 6.939 | 282.167 | 7.368 | 279.7 | 26.202 | 889.2 | 9.941 | 17.713
2019-06-18 13:30:00 | 6.799 | 290.6 | 7.17 | 288.167 | 7.496 | 293.533 | 7.863 | 291.167 | 26.735 | 889.4 | 10.425 | 17.2128
2019-06-18 13:45:00 | 6.237 | 283.82 | 6.734 | 288.931 | 6.947 | 290.133 | 7.131 | 291.833 | 26.26 | 889.633 | 11.105 | 21.3305
2019-06-18 14:00:00 | 7.535 | 306.467 | 8.087 | 301.599 | 8.425 | 307.7 | 8.693 | 306.433 | 27.11 | 889.4 | 11.112 | 22.3011
2019-06-18 14:15:00 | 6.048 | 290.52 | 6.326 | 291.849 | 6.439 | 299.133 | 6.723 | 293.733 | 27.098 | 889.533 | 10.459 | 21.4918
2019-06-18 14:30:00 | 6.251 | 299.04 | 6.364 | 292.089 | 6.49 | 294.833 | 6.758 | 290.667 | 26.831 | 889.7 | 11.079 | 19.4049
2019-06-18 14:45:00 | 6.769 | 322.307 | 6.639 | 314.779 | 7.008 | 318.5 | 7.135 | 319.033 | 27.439 | 889.233 | 10.449 | 22.5989
2019-06-18 15:00:00 | 5.76 | 280.94 | 5.9 | 278.861 | 6.151 | 282.533 | 6.163 | 276.7 | 27.798 | 889.333 | 9.963 | 17.9617
2019-06-18 15:15:00 | 6.381 | 305.88 | 6.894 | 300.776 | 7.225 | 306.567 | 7.592 | 304.4 | 27.585 | 889.367 | 9.981 | 18.1763
2019-06-18 15:30:00 | 7.583 | 292.28 | 8.038 | 291.536 | 8.193 | 296.5 | 8.677 | 292.9 | 28.573 | 889.133 | 9.631 | 16.8887
2019-06-18 15:45:00 | 6.54 | 301.6 | 6.508 | 295.306 | 6.738 | 300.3 | 6.908 | 301.667 | 28.131 | 888.733 | 9.517 | 13.5299
2019-06-18 16:00:00 | 6.541 | 297.227 | 6.667 | 294.637 | 7.024 | 295.5 | 7.339 | 293.833 | 28.939 | 888.933 | 9.283 | 15.7042
2019-06-18 16:15:00 | 7.356 | 285.353 | 7.491 | 280.699 | 7.824 | 286.1 | 8.255 | 278.983 | 29.044 | 889 | 9.099 | 17.8835
2019-06-18 16:30:00 | 5.702 | 285.473 | 5.959 | 284.361 | 6.476 | 293.267 | 6.731 | 286 | 29.214 | 889.2 | 8.676 | 13.8241
2019-06-18 16:45:00 | 7.837 | 287.68 | 8.035 | 285.148 | 8.098 | 290 | 8.186 | 290.433 | 28.91 | 889 | 8.806 | 19.1917
2019-06-18 17:00:00 | 7.752 | 287.24 | 8.094 | 284.219 | 8.139 | 287.867 | 8.333 | 284.167 | 30.048 | 888.8 | 8.809 | 21.5117
2019-06-18 17:15:00 | 6.04 | 276.5 | 6.438 | 274.099 | 6.805 | 279.7 | 7.007 | 279.3 | 29.164 | 889 | 9.105 | 21.4463
2019-06-18 17:30:00 | 6.866 | 284.347 | 7.376 | 282.06 | 7.614 | 287.367 | 7.839 | 285.417 | 29.548 | 888.867 | 9.424 | 16.4525
2019-06-18 17:45:00 | 5.869 | 297.467 | 6.016 | 296.889 | 6.494 | 301.767 | 6.782 | 297.233 | 28.71 | 889.067 | 9.696 | 14.2241
2019-06-18 18:00:00 | 7.772 | 290.56 | 8.528 | 285.763 | 8.738 | 288.533 | 8.908 | 285.2 | 29.531 | 888.8 | 9.507 | 17.2675
2019-06-18 18:15:00 | 8.171 | 285.4 | 8.842 | 289.126 | 8.864 | 294.367 | 9.357 | 290.033 | 29.231 | 888.867 | 9.554 | 20.1581
2019-06-18 18:30:00 | 5.744 | 319.173 | 5.742 | 323.995 | 5.854 | 329.2 | 6.217 | 326.5 | 29.214 | 889.067 | 9.569 | 16.9655
2019-06-18 18:45:00 | 5.355 | 319.173 | 5.593 | 311.71 | 5.83 | 314.667 | 6.132 | 312.567 | 29.064 | 889 | 9.59 | 14.0706
2019-06-18 19:00:00 | 4.705 | 309.6 | 5.038 | 306.952 | 5.398 | 311.233 | 5.704 | 308.967 | 28.76 | 889.067 | 10.002 | 12.4655
2019-06-18 19:15:00 | 6.48 | 306.013 | 6.995 | 304.271 | 7.392 | 311 | 7.666 | 308.5 | 28.756 | 889 | 9.939 | 13.7509
2019-06-18 19:30:00 | 4.335 | 315.093 | 4.801 | 307.767 | 4.931 | 310.4 | 5.319 | 309.6 | 28.464 | 888.733 | 9.841 | 12.7277
2019-06-18 19:45:00 | 5.877 | 302.373 | 6.074 | 299.399 | 6.265 | 306.433 | 6.637 | 305.333 | 28.581 | 889.033 | 10.03 | 12.9562
2019-06-18 20:00:00 | 5.373 | 308.827 | 5.67 | 306.433 | 5.868 | 309.4 | 6.106 | 306.833 | 28.568 | 889.1 | 10.167 | 10.6471
2019-06-18 20:15:00 | 5.547 | 302.147 | 5.87 | 298.077 | 6.089 | 302.7 | 6.398 | 299.633 | 28.214 | 888.933 | 10.296 | 9.0107
2019-06-18 20:30:00 | 5.44 | 295.32 | 5.841 | 292.439 | 6.013 | 297.367 | 6.279 | 294.467 | 28.135 | 889.333 | 10.311 | 9.1755
2019-06-18 20:45:00 | 4.855 | 296.84 | 5.133 | 295.52 | 5.376 | 302.867 | 5.773 | 299.933 | 28.564 | 889.067 | 10.077 | 7.0048
2019-06-18 21:00:00 | 3.767 | 295.067 | 4.179 | 292.398 | 4.524 | 298 | 4.788 | 296.933 | 27.881 | 889.3 | 10.715 | 6.2608
2019-06-18 21:15:00 | 4.223 | 299.467 | 5.088 | 297.888 | 5.597 | 305.333 | 6.055 | 303.367 | 28.068 | 889.6 | 10.485 | 8.897
2019-06-18 21:30:00 | 4.128 | 292.52 | 5.106 | 290.853 | 5.479 | 297.533 | 5.966 | 296.067 | 27.573 | 889.333 | 10.692 | 8.9283
2019-06-18 21:45:00 | 4.096 | 285.24 | 5.297 | 284.378 | 5.878 | 288.6 | 6.243 | 285.867 | 27.068 | 889.567 | 11.323 | 10.5107
2019-06-18 22:00:00 | 4.671 | 281.707 | 5.814 | 280.062 | 6.002 | 284 | 6.287 | 281.633 | 26.177 | 890.167 | 11.476 | 10.5249
2019-06-18 22:15:00 | 3.883 | 275.707 | 4.747 | 277.776 | 5.186 | 282.067 | 5.703 | 279.433 | 25.502 | 889.1 | 12.345 | 9.0945
2019-06-18 22:30:00 | 4.396 | 260.867 | 4.955 | 264.827 | 5.218 | 271.567 | 5.508 | 267.767 | 25.373 | 889.467 | 12.579 | 10.4411
2019-06-18 22:45:00 | 4.586 | 259.767 | 5.368 | 265.548 | 5.535 | 272.633 | 5.756 | 267.5 | 24.806 | 889.633 | 13.161 | 12.1343
2019-06-18 23:00:00 | 4.551 | 249.113 | 5.5 | 258.297 | 5.675 | 266.6 | 5.908 | 263 | 24.306 | 889.2 | 14.04 | 13.9044
2019-06-18 23:15:00 | 5.242 | 249.973 | 5.816 | 256.523 | 5.987 | 264.8 | 6.174 | 260.967 | 23.839 | 889.433 | 14.488 | 14.8736
2019-06-18 23:30:00 | 5.004 | 251.167 | 5.727 | 258.874 | 5.924 | 266.133 | 6.241 | 263 | 23.314 | 889.1 | 15.068 | 14.0436
2019-06-18 23:45:00 | 4.953 | 249.967 | 5.731 | 258.233 | 5.736 | 266.667 | 6.032 | 262.8 | 23.181 | 889.533 | 15.361 | 12.6168