## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-19 00:00:00 | 4.938 | 242.22 | 5.708 | 252.983 | 5.843 | 260.6 | 6.091 | 258.517 | 22.731 | 889.667 | 16.241 | 12.5429
2019-06-19 00:15:00 | 4.85 | 237.883 | 5.649 | 254.706 | 5.802 | 264.897 | 6.181 | 263.448 | 22.294 | 889.414 | 16.938 | 12.231
2019-06-19 00:30:00 | 5.305 | 239.453 | 5.726 | 252.572 | 5.684 | 266.8 | 5.781 | 266.1 | 21.335 | 889.5 | 17.745 | 11.0571
2019-06-19 00:45:00 | 4.935 | 236.76 | 5.682 | 252.366 | 5.503 | 268.067 | 5.721 | 268.067 | 21.485 | 889.333 | 17.965 | 10.3125
2019-06-19 01:00:00 | 5.018 | 234.927 | 5.729 | 249.163 | 5.355 | 264.267 | 5.428 | 268 | 21.335 | 889.7 | 18.28 | 10.3572
2019-06-19 01:15:00 | 5.389 | 230.007 | 5.719 | 242.213 | 5.235 | 256.3 | 5.164 | 262.433 | 20.948 | 889.2 | 18.499 | 10.2229
2019-06-19 01:30:00 | 5.294 | 226.34 | 6.089 | 234.909 | 5.586 | 248.1 | 5.015 | 252.267 | 20.81 | 889.433 | 19.011 | 9.4164
2019-06-19 01:45:00 | 5.053 | 229.007 | 5.441 | 243.777 | 4.97 | 258.4 | 4.879 | 266.1 | 20.573 | 889.533 | 19.499 | 9.4115
2019-06-19 02:00:00 | 5.311 | 234.827 | 5.958 | 245.598 | 5.576 | 257.8 | 5.417 | 261.967 | 20.818 | 889.633 | 19.819 | 11.8324
2019-06-19 02:15:00 | 4.913 | 256.873 | 5.622 | 272.731 | 5.823 | 284 | 6.226 | 284.733 | 20.335 | 890.433 | 21.059 | 13.0183
2019-06-19 02:30:00 | 5.37 | 255.7 | 5.631 | 271.298 | 5.692 | 281.8 | 6.289 | 285.633 | 20.352 | 889.917 | 22.117 | 12.5841
2019-06-19 02:45:00 | 4.985 | 255.813 | 5.128 | 273.459 | 5.448 | 286.333 | 5.862 | 288.633 | 20.46 | 889.95 | 23.083 | 11.1204
2019-06-19 03:00:00 | 5.518 | 246.513 | 5.665 | 266.089 | 5.75 | 278.867 | 6.107 | 281.833 | 20.227 | 889.867 | 24.056 | 11.9652
2019-06-19 03:15:00 | 5.708 | 244.26 | 6.048 | 261.086 | 6.136 | 273.933 | 6.362 | 275.4 | 19.373 | 889.583 | 25.483 | 12.469
2019-06-19 03:30:00 | 5.253 | 239.06 | 5.555 | 258.894 | 5.632 | 272.933 | 5.862 | 276 | 18.981 | 889.767 | 26.109 | 11.5034
2019-06-19 03:45:00 | 4.986 | 238.733 | 5.732 | 257.818 | 5.675 | 273.267 | 5.955 | 277.233 | 18.606 | 889.95 | 27.264 | 11.2241
2019-06-19 04:00:00 | 5.164 | 236.3 | 6.042 | 253.671 | 5.752 | 270.067 | 5.756 | 275.333 | 18.402 | 889.9 | 28.144 | 13.5775
2019-06-19 04:15:00 | 5.722 | 235.873 | 6.077 | 251.481 | 5.776 | 265.4 | 5.792 | 268.567 | 18.144 | 890.083 | 28.939 | 13.3594
2019-06-19 04:30:00 | 5.387 | 242.627 | 5.601 | 259.358 | 5.645 | 275.333 | 5.812 | 277.533 | 18.085 | 889.7 | 29.411 | 11.703
2019-06-19 04:45:00 | 5.583 | 234.72 | 5.328 | 252.867 | 5.146 | 270.467 | 5.516 | 275.133 | 17.781 | 889.65 | 30.04 | 10.2265
2019-06-19 05:00:00 | 6.056 | 231.68 | 5.397 | 245.424 | 5.144 | 261.733 | 5.38 | 267.033 | 17.685 | 889.9 | 30.347 | 10.6066
2019-06-19 05:15:00 | 6.462 | 228.08 | 6.062 | 235.937 | 5.496 | 249.2 | 5.287 | 253.55 | 17.548 | 889.767 | 30.565 | 13.5214
2019-06-19 05:30:00 | 6.497 | 232.14 | 6.244 | 238.998 | 5.961 | 250.133 | 5.767 | 253.483 | 17.535 | 889.583 | 30.405 | 15.1734
2019-06-19 05:45:00 | 6.297 | 225.74 | 6.468 | 234.586 | 5.895 | 245.167 | 5.452 | 245.9 | 17.518 | 889.533 | 30.651 | 18.1067
2019-06-19 06:00:00 | 6.373 | 225.153 | 6.869 | 233.005 | 6.478 | 243.133 | 5.97 | 243.2 | 17.031 | 889.933 | 30.923 | 16.5463
2019-06-19 06:15:00 | 6.051 | 224.4 | 6.636 | 233.753 | 6.302 | 243.767 | 6.031 | 243.367 | 16.614 | 889.833 | 31.195 | 16.3295
2019-06-19 06:30:00 | 5.832 | 227.72 | 6.702 | 237.637 | 6.651 | 248.667 | 6.416 | 248.083 | 17.281 | 889.517 | 31.072 | 16.1142
2019-06-19 06:45:00 | 5.787 | 224.793 | 6.237 | 238.767 | 6.31 | 248.9 | 6.244 | 246.567 | 17.439 | 889.917 | 30.619 | 14.2142
2019-06-19 07:00:00 | 4.897 | 227.98 | 6.217 | 236.667 | 6.273 | 248.833 | 6.254 | 246.3 | 17.748 | 889.833 | 29.829 | 13.2251
2019-06-19 07:15:00 | 4.868 | 215.833 | 5.762 | 224.473 | 5.759 | 238.533 | 5.603 | 238.333 | 18.489 | 889.733 | 29.024 | 12.1663
2019-06-19 07:30:00 | 4.79 | 219.88 | 5.713 | 226.089 | 5.504 | 237 | 5.29 | 236.667 | 19.31 | 889.8 | 28.352 | 10.0389
2019-06-19 07:45:00 | 4.404 | 219.133 | 5.446 | 222.046 | 5.401 | 234.433 | 5.232 | 234.4 | 20.473 | 889.717 | 26.768 | 8.7897
2019-06-19 08:00:00 | 4.81 | 214.087 | 5.261 | 214.23 | 5.586 | 223.233 | 5.451 | 226.7 | 22.185 | 890.017 | 24.597 | 7.4567
2019-06-19 08:15:00 | 4.283 | 217.78 | 4.381 | 215.133 | 4.816 | 219.733 | 5.025 | 219.933 | 22.714 | 889.9 | 23.733 | 6.3333
2019-06-19 08:30:00 | 4.651 | 220.413 | 4.511 | 221.001 | 4.772 | 227.133 | 4.886 | 224.6 | 23.877 | 889.317 | 22.069 | 5.4195
2019-06-19 08:45:00 | 4.176 | 230.62 | 4.262 | 224.975 | 4.483 | 228.867 | 4.643 | 223.667 | 24.718 | 889.4 | 20.611 | 4.6805
2019-06-19 09:00:00 | 4.021 | 234.533 | 4.136 | 229.93 | 4.371 | 231.6 | 4.232 | 225.1 | 24.939 | 889.7 | 19.835 | 4.0907
2019-06-19 09:15:00 | 4.318 | 241.187 | 4.352 | 240.366 | 4.566 | 244.933 | 4.549 | 238 | 25.723 | 889.267 | 18.667 | 6.2771
2019-06-19 09:30:00 | 5.336 | 273.113 | 5.66 | 269.768 | 5.897 | 273.017 | 5.933 | 268.3 | 26.098 | 890.033 | 18.113 | 10.407
2019-06-19 09:45:00 | 4.45 | 274.82 | 4.924 | 272.233 | 5.341 | 279.833 | 5.7 | 280.467 | 25.677 | 889.467 | 18.624 | 12.4598
2019-06-19 10:00:00 | 5.007 | 308.627 | 5.429 | 303.584 | 5.737 | 307.167 | 6.306 | 305.933 | 25.402 | 889.4 | 18.956 | 16.795
2019-06-19 10:15:00 | 6.267 | 303.027 | 6.41 | 298.362 | 6.565 | 304.267 | 6.911 | 302.967 | 25.977 | 889.433 | 18.717 | 18.0278
2019-06-19 10:30:00 | 6.31 | 301.133 | 6.538 | 297.153 | 6.578 | 301.433 | 7.173 | 300.033 | 25.864 | 889.567 | 18.832 | 22.2073
2019-06-19 10:45:00 | 6.467 | 305.853 | 6.66 | 298.534 | 7.052 | 304.2 | 7.562 | 302.5 | 26.856 | 889.2 | 18.591 | 22.1235
2019-06-19 11:00:00 | 8.351 | 297.613 | 8.921 | 293.012 | 9.12 | 297.567 | 9.547 | 293.6 | 27.26 | 889.933 | 18.021 | 27.8563
2019-06-19 11:15:00 | 7.678 | 299.107 | 8.046 | 297.388 | 8.158 | 300.1 | 8.618 | 299.533 | 26.81 | 890.1 | 18.08 | 30.6276
2019-06-19 11:30:00 | 7.798 | 308.28 | 8.357 | 303.673 | 8.436 | 308.3 | 8.721 | 306.233 | 27.31 | 889.3 | 17.663 | 29.7145
2019-06-19 11:45:00 | 7.706 | 301.373 | 7.975 | 297.014 | 8.061 | 302.767 | 8.429 | 298.967 | 27.527 | 889.433 | 17.409 | 31.1683
2019-06-19 12:00:00 | 7.513 | 313.64 | 7.643 | 305.314 | 7.686 | 311.833 | 8.242 | 309.4 | 27.768 | 889.333 | 16.884 | 25.1143
2019-06-19 12:15:00 | 6.348 | 271.555 | 6.798 | 302.327 | 7.125 | 294.567 | 7.324 | 314.567 | 28.127 | 889.267 | 16.615 | 21.9643
2019-06-19 12:30:00 | 4.957 | 303.627 | 5.211 | 301.218 | 5.378 | 306.767 | 5.384 | 302.267 | 27.923 | 889.5 | 16.323 | 12.5351
2019-06-19 12:45:00 | 5.614 | 299.653 | 5.988 | 311.186 | 6.253 | 301.4 | 6.676 | 310.6 | 28.764 | 889.367 | 15.772 | 13.2123
2019-06-19 13:00:00 | 6.61 | 324.733 | 7.014 | 318.051 | 7.246 | 320.533 | 7.692 | 318.033 | 29.048 | 889.633 | 15.348 | 16.5797
2019-06-19 13:15:00 | 4.994 | 293.12 | 5.392 | 323.989 | 6.1 | 304.3 | 6.656 | 335.633 | 28.981 | 889.367 | 15.073 | 12.393
2019-06-19 13:30:00 | 5.01 | 138.813 | 5.527 | 222.413 | 5.676 | 164.667 | 5.89 | 198.233 | 29.198 | 889.633 | 14.899 | 12.9465
2019-06-19 13:45:00 | 5.667 | 127.386 | 6.258 | 204.276 | 6.652 | 173.833 | 6.63 | 178.5 | 29.781 | 889.233 | 14.595 | 8.0969
2019-06-19 14:00:00 | 5.392 | 227 | 5.862 | 282.392 | 6.115 | 294 | 6.343 | 315.367 | 29.514 | 889.5 | 14.179 | 6.5912
2019-06-19 14:15:00 | 5.692 | 325.92 | 5.973 | 330.102 | 5.858 | 332.367 | 5.98 | 328.733 | 30.494 | 889.567 | 13.279 | 4.6208
2019-06-19 14:30:00 | 5.796 | 285.76 | 6.014 | 284.041 | 6.028 | 288.8 | 6.215 | 286.133 | 30.248 | 889.6 | 13.297 | 7.1924
2019-06-19 14:45:00 | 3.728 | 293.893 | 3.791 | 293.55 | 4.298 | 301.433 | 4.642 | 301.533 | 30.518 | 889.5 | 12.872 | 5.0116
2019-06-19 15:00:00 | 4.565 | 237.958 | 4.608 | 216.569 | 4.576 | 173.038 | 4.944 | 159.3 | 30.677 | 889.233 | 12.317 | 4.4524
2019-06-19 15:15:00 | 2.165 | 76.38 | 1.109 | 75.172 | 0.986 | 73.767 | 1.452 | 250.767 | 30.456 | 889.467 | 12.456 | 1.9185
2019-06-19 15:30:00 | 4.14 | 188.203 | 4.225 | 232.536 | 4.04 | 150.235 | 4.324 | 197.467 | 30.777 | 889.733 | 11.905 | 0.69635
2019-06-19 15:45:00 | 3.93 | 53.258 | 3.751 | 56.096 | 4.455 | 32.935 | 4.281 | 41.833 | 31.277 | 889.567 | 11.891 | 1.419
2019-06-19 16:00:00 | 2.531 | 133.857 | 1.966 | 86.331 | 1.936 | 106.042 | 1.844 | 108.2 | 30.389 | 889.467 | 12.584 | 1.3906
2019-06-19 16:15:00 | 3.176 | 206.92 | 2.808 | 193.213 | 2.624 | 196.1 | 2.936 | 186.8 | 30.214 | 889.5 | 12.613 | 0.17125
2019-06-19 16:30:00 | 3.655 | 38.126 | 3.691 | 30.788 | 3.989 | 35.267 | 4.253 | 31.867 | 30.318 | 889.4 | 12.152 | 0.45263
2019-06-19 16:45:00 | 2.723 | 157.512 | 2.394 | 152.04 | 2.458 | 165.734 | 2.609 | 145 | 31.074 | 889.8 | 11.589 | 0.27144
2019-06-19 17:00:00 | 2.197 | 269.392 | 1.863 | 244.201 | 1.71 | 260.75 | 2.26 | 258.833 | 31.335 | 889.1 | 10.932 | 0.22525
2019-06-19 17:15:00 | 1.896 | 137.871 | 1.34 | 206.476 | 1.813 | 209.233 | 2.516 | 236.567 | 31.923 | 889.467 | 11.08 | 0.8207
2019-06-19 17:30:00 | 3.109 | 54.11 | 3.208 | 53.061 | 3.547 | 68.167 | 4.148 | 54.1 | 31.304 | 889.9 | 10.739 | 2.8778
2019-06-19 17:45:00 | 5.51 | 30.878 | 5.694 | 33.749 | 5.862 | 38.033 | 6.07 | 34.767 | 31.322 | 889.367 | 10.739 | 4.3814
2019-06-19 18:00:00 | 3.964 | 35.042 | 3.956 | 38.289 | 4.35 | 42.467 | 4.766 | 38.333 | 32.184 | 889.3 | 10.78 | 2.9112
2019-06-19 18:15:00 | 5.814 | 23.433 | 5.724 | 17.388 | 6.392 | 22 | 6.54 | 20.367 | 31.73 | 889.467 | 10.299 | 6.2693
2019-06-19 18:30:00 | 5.44 | 31.228 | 5.455 | 32.403 | 5.622 | 38.433 | 5.709 | 36.9 | 31.328 | 889.167 | 10.059 | 5.3541
2019-06-19 18:45:00 | 3.709 | 38.161 | 3.6 | 35.597 | 3.836 | 55.633 | 3.896 | 26 | 32.073 | 889.367 | 10.739 | 4.5455
2019-06-19 19:00:00 | 4.723 | 165.845 | 4.876 | 207.395 | 5.152 | 117.867 | 5.302 | 165.733 | 31.398 | 889.633 | 12.016 | 1.7956
2019-06-19 19:15:00 | 4.521 | 19.802 | 4.285 | 15.406 | 4.643 | 19.067 | 4.701 | 15.667 | 31.149 | 889.567 | 11.771 | 2.1267
2019-06-19 19:30:00 | 5.476 | 166.523 | 5.784 | 210.956 | 5.742 | 106.767 | 5.56 | 130.233 | 31.336 | 889.233 | 11.9 | 6.641
2019-06-19 19:45:00 | 2.904 | 298.407 | 2.743 | 264.21 | 2.998 | 259.135 | 3.259 | 188.602 | 31.198 | 889.5 | 12.179 | 1.8851
2019-06-19 20:00:00 | 1.333 | 14.156 | 0.926 | 14.573 | 1.108 | 18.267 | 1.817 | 21.433 | 30.944 | 889.6 | 12.253 | 0.30696
2019-06-19 20:15:00 | 4.843 | 202.921 | 4.917 | 212.301 | 5.063 | 179.733 | 5.14 | 217.167 | 31.692 | 889.5 | 12.049 | 3.9522
2019-06-19 20:30:00 | 4.459 | 17.729 | 4.565 | 52.75 | 4.76 | 5.4 | 4.741 | 3.733 | 31.281 | 889.567 | 12.444 | 3.167
2019-06-19 20:45:00 | 6.541 | 323.387 | 6.817 | 341.297 | 6.835 | 347.3 | 6.863 | 346.333 | 30.877 | 889.667 | 12.305 | 6.2814
2019-06-19 21:00:00 | 4.823 | 346.467 | 4.987 | 338.147 | 5.25 | 343.167 | 5.635 | 342.2 | 30.335 | 889.267 | 12.765 | 8.6284
2019-06-19 21:15:00 | 4.987 | 335.72 | 5.415 | 328.454 | 5.783 | 331.533 | 5.986 | 330.167 | 30.198 | 889.333 | 12.997 | 6.7213
2019-06-19 21:30:00 | 3.541 | 317.187 | 3.894 | 311.378 | 4.112 | 317.2 | 4.37 | 317.467 | 29.714 | 889.633 | 13.657 | 3.9557
2019-06-19 21:45:00 | 3.444 | 317 | 3.401 | 317.487 | 3.619 | 326.533 | 3.956 | 328.8 | 28.898 | 889.6 | 14.079 | 3.8058
2019-06-19 22:00:00 | 3.349 | 312.987 | 3.432 | 318.697 | 3.721 | 327 | 3.994 | 330.467 | 28.981 | 889.467 | 14.063 | 3.4349
2019-06-19 22:15:00 | 3.192 | 319 | 3.742 | 325.045 | 4.299 | 330.9 | 4.639 | 332.233 | 29.064 | 889.633 | 14.076 | 4.9171
2019-06-19 22:30:00 | 3.15 | 309.52 | 3.906 | 313.57 | 4.554 | 320.067 | 5.115 | 320.533 | 28.56 | 889.633 | 14.369 | 4.1796
2019-06-19 22:45:00 | 3.543 | 293.947 | 4.592 | 314.355 | 5.193 | 323.467 | 5.648 | 325 | 27.635 | 889.8 | 14.828 | 9.4392
2019-06-19 23:00:00 | 4.456 | 313.427 | 5.303 | 320.34 | 5.632 | 329.433 | 5.788 | 328.3 | 27.123 | 889.6 | 15.913 | 12.0704
2019-06-19 23:15:00 | 4.524 | 292.853 | 6.001 | 297.804 | 6.519 | 305.167 | 7.26 | 305.133 | 26.518 | 889.3 | 16.824 | 16.4915
2019-06-19 23:30:00 | 4.028 | 287.867 | 5.503 | 293.335 | 6.211 | 300.067 | 6.808 | 299.067 | 26.46 | 889.667 | 17.551 | 14.529
2019-06-19 23:45:00 | 3.761 | 284.653 | 5.619 | 290.029 | 6.304 | 298.867 | 6.92 | 298.2 | 26.177 | 889.5 | 17.815 | 15.1976