## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-20 00:00:00 | 4.563 | 296.973 | 5.874 | 303.144 | 6.395 | 311 | 7.15 | 308.933 | 25.91 | 889.2 | 18.341 | 16.5427
2019-06-20 00:15:00 | 3.814 | 310.333 | 5.417 | 310.137 | 6.11 | 317.867 | 6.554 | 317.5 | 24.956 | 889.533 | 18.603 | 13.2286
2019-06-20 00:30:00 | 4.084 | 302.853 | 5.276 | 310.952 | 5.721 | 319.3 | 6.162 | 321 | 24.702 | 889.433 | 19.765 | 9.4015
2019-06-20 00:45:00 | 5.198 | 281.707 | 6.03 | 291.014 | 6.062 | 301.3 | 6.7 | 302.633 | 24.485 | 889.783 | 20.725 | 11.853
2019-06-20 01:00:00 | 5.155 | 257.313 | 6.099 | 273.283 | 6.568 | 285.1 | 7.25 | 288.367 | 23.481 | 889.65 | 21.771 | 14.2533
2019-06-20 01:15:00 | 5.119 | 253.533 | 6.076 | 267.844 | 6.372 | 279.433 | 6.621 | 279.167 | 23.064 | 889.533 | 22.336 | 16.1405
2019-06-20 01:30:00 | 5.936 | 252.733 | 6.797 | 263.299 | 7.009 | 272.1 | 7.29 | 271.7 | 22.498 | 889.75 | 22.728 | 23.7059
2019-06-20 01:45:00 | 5.816 | 264.167 | 7.405 | 272.624 | 7.844 | 280.533 | 8.492 | 280.8 | 22.681 | 889.833 | 23.477 | 29.3329
2019-06-20 02:00:00 | 5.532 | 259.567 | 7.123 | 264.95 | 7.359 | 274.033 | 7.632 | 272.767 | 22.548 | 889.617 | 23.712 | 27.4741
2019-06-20 02:15:00 | 5.895 | 257.893 | 7.103 | 268.31 | 7.599 | 277.5 | 8.086 | 276.833 | 22.144 | 890 | 25.456 | 27.9466
2019-06-20 02:30:00 | 5.414 | 258.66 | 7.245 | 267.188 | 7.47 | 275.633 | 7.744 | 274.133 | 21.681 | 889.45 | 27.251 | 27.3362
2019-06-20 02:45:00 | 5.269 | 270.187 | 6.608 | 272.785 | 6.929 | 282.367 | 7.284 | 284.233 | 22.06 | 889.733 | 27.949 | 24.4058
2019-06-20 03:00:00 | 4.566 | 268.067 | 6.162 | 274.993 | 6.509 | 283.033 | 6.876 | 283.3 | 21.227 | 889.9 | 29.293 | 20.745
2019-06-20 03:15:00 | 5.199 | 273.453 | 6.381 | 280.905 | 6.778 | 289 | 7.165 | 289.8 | 21.418 | 890.367 | 29.632 | 23.7407
2019-06-20 03:30:00 | 4.931 | 271.053 | 6.12 | 281.74 | 6.443 | 291.733 | 6.876 | 292.8 | 21.298 | 890.083 | 29.643 | 17.4636
2019-06-20 03:45:00 | 4.409 | 257.907 | 5.744 | 273.957 | 5.801 | 283.333 | 6.063 | 284.767 | 20.606 | 889.883 | 30.717 | 10.9683
2019-06-20 04:00:00 | 4.721 | 254.167 | 5.103 | 267.44 | 5.061 | 276.167 | 5.345 | 276.867 | 20.006 | 890.017 | 31.544 | 6.3333
2019-06-20 04:15:00 | 4.181 | 222.493 | 4.461 | 245.304 | 4.33 | 265.933 | 4.302 | 268.967 | 19.898 | 889.65 | 32.224 | 5.5481
2019-06-20 04:30:00 | 5.536 | 235.76 | 4.886 | 251.086 | 4.684 | 264.933 | 4.865 | 267.967 | 19.389 | 889.683 | 33.227 | 5.4927
2019-06-20 04:45:00 | 5.194 | 227.387 | 5.12 | 244.004 | 4.635 | 257.7 | 4.634 | 262.667 | 18.968 | 889.633 | 33.92 | 6.2501
2019-06-20 05:00:00 | 5.61 | 226.333 | 5.385 | 240.237 | 4.865 | 252.533 | 4.605 | 256 | 18.923 | 890 | 34.139 | 6.8477
2019-06-20 05:15:00 | 5.147 | 221.567 | 5.734 | 233.744 | 5.114 | 246.9 | 4.614 | 249.067 | 18.706 | 889.5 | 34.203 | 8.7883
2019-06-20 05:30:00 | 5.632 | 224 | 5.928 | 234.99 | 5.109 | 249.433 | 4.801 | 250.4 | 18.623 | 889.667 | 34.549 | 9.0093
2019-06-20 05:45:00 | 6.002 | 226.367 | 5.819 | 236.477 | 5.141 | 250.933 | 4.881 | 254.2 | 18.673 | 889.6 | 34.331 | 8.8835
2019-06-20 06:00:00 | 5.773 | 229.7 | 5.616 | 241.691 | 5.159 | 258.333 | 5.147 | 263 | 18.489 | 889.95 | 34.043 | 8.6206
2019-06-20 06:15:00 | 6.022 | 225.1 | 6.005 | 235.365 | 5.345 | 252.667 | 4.998 | 259.8 | 18.439 | 889.583 | 34.187 | 9.9735
2019-06-20 06:30:00 | 6.147 | 227.733 | 6.301 | 235.202 | 5.637 | 249.233 | 5.051 | 253.6 | 18.423 | 889.75 | 33.643 | 8.5488
2019-06-20 06:45:00 | 5.51 | 228.867 | 6.345 | 234.73 | 5.849 | 244.867 | 5.278 | 245.367 | 18.689 | 889.8 | 32.997 | 9.6125
2019-06-20 07:00:00 | 5.319 | 229.02 | 6.194 | 235.672 | 5.978 | 244.967 | 5.542 | 243.433 | 18.848 | 889.867 | 32.651 | 8.0912
2019-06-20 07:15:00 | 4.509 | 228.467 | 5.533 | 237.083 | 5.364 | 246.467 | 4.866 | 245.3 | 19.468 | 890.133 | 32.101 | 6.8676
2019-06-20 07:30:00 | 4.035 | 219.513 | 5.435 | 229.069 | 5.147 | 240.767 | 4.629 | 241 | 20.452 | 890.117 | 31.451 | 6.1293
2019-06-20 07:45:00 | 3.896 | 216.1 | 5.061 | 224.914 | 4.703 | 235.2 | 4.317 | 231.767 | 20.627 | 890.017 | 30.517 | 5.6284
2019-06-20 08:00:00 | 3.612 | 223.187 | 4.652 | 227.019 | 4.604 | 238.4 | 4.193 | 236.2 | 21.844 | 889.867 | 28.512 | 4.3643
2019-06-20 08:15:00 | 3.554 | 237.567 | 3.489 | 235.881 | 3.695 | 243 | 3.799 | 241.7 | 24.281 | 889.55 | 24.491 | 2.3477
2019-06-20 08:30:00 | 3.057 | 243.053 | 2.924 | 237.405 | 3.11 | 240.683 | 3.283 | 238.4 | 25.473 | 889.65 | 22.224 | 1.5213
2019-06-20 08:45:00 | 3.143 | 261.407 | 2.969 | 251.713 | 3.17 | 256.317 | 3.391 | 253.117 | 26.298 | 889.767 | 21.131 | 1.8475
2019-06-20 09:00:00 | 3.944 | 268.387 | 4.288 | 265.29 | 4.5 | 272.15 | 4.474 | 271.6 | 26.527 | 889.683 | 21.131 | 2.8849
2019-06-20 09:15:00 | 4.451 | 294.733 | 4.52 | 288.252 | 4.726 | 291.033 | 4.941 | 284.567 | 26.189 | 890.033 | 21.424 | 5.3761
2019-06-20 09:30:00 | 4.342 | 298.933 | 4.691 | 295.282 | 4.825 | 299.933 | 4.976 | 299.067 | 25.748 | 889.583 | 21.917 | 4.6528
2019-06-20 09:45:00 | 4.208 | 302.773 | 4.427 | 297.082 | 4.671 | 303.333 | 5.253 | 301.967 | 26.402 | 889.583 | 21.68 | 3.771
2019-06-20 10:00:00 | 3.784 | 288.787 | 3.935 | 288.836 | 4.003 | 295 | 4.167 | 298.6 | 27.073 | 889.867 | 21.371 | 5.9105
2019-06-20 10:15:00 | 3.821 | 326.187 | 3.629 | 316.957 | 3.916 | 317.167 | 4.322 | 313.333 | 27.01 | 889.95 | 20.928 | 6.0022
2019-06-20 10:30:00 | 3.494 | 291.987 | 3.405 | 286.418 | 3.302 | 285.483 | 3.361 | 285.2 | 27.264 | 889.467 | 20.635 | 5.249
2019-06-20 10:45:00 | 2.904 | 312.053 | 2.828 | 313.889 | 3.094 | 314.3 | 3.684 | 312.233 | 27.61 | 889.333 | 20.084 | 5.7748
2019-06-20 11:00:00 | 4.384 | 307.467 | 4.223 | 311.481 | 4.521 | 300.567 | 4.96 | 317.933 | 28.098 | 889.533 | 19.535 | 5.4707
2019-06-20 11:15:00 | 5.565 | 296.067 | 5.792 | 295.02 | 5.7 | 300.933 | 6.116 | 298.033 | 28.014 | 889.633 | 19.531 | 7.1874
2019-06-20 11:30:00 | 4.524 | 294.56 | 4.53 | 327.834 | 4.922 | 319.333 | 5.05 | 327.467 | 28.185 | 889.767 | 19.411 | 9.6125
2019-06-20 11:45:00 | 4.107 | 301.88 | 4.724 | 293.948 | 4.978 | 302.567 | 5.007 | 299.8 | 28.739 | 889.3 | 19.025 | 5.6128
2019-06-20 12:00:00 | 6.221 | 259.36 | 6.313 | 289.829 | 6.304 | 270.267 | 6.708 | 299.983 | 28.723 | 889.033 | 18.875 | 7.4027
2019-06-20 12:15:00 | 2.83 | 136.648 | 3.057 | 103.462 | 3.392 | 116.235 | 3.622 | 110.933 | 29.148 | 889.233 | 18.724 | 8.6405
2019-06-20 12:30:00 | 4.724 | 271.887 | 4.634 | 284.925 | 5.015 | 266.734 | 5.34 | 283.533 | 28.781 | 889.167 | 19.165 | 7.3842
2019-06-20 12:45:00 | 2.469 | 270.328 | 2.663 | 261.547 | 2.751 | 229.409 | 2.678 | 208.633 | 28.868 | 889.567 | 18.943 | 3.8221
2019-06-20 13:00:00 | 5.646 | 213.948 | 5.707 | 286.689 | 5.739 | 252.9 | 6.081 | 287.933 | 29.664 | 889.633 | 17.871 | 1.8254
2019-06-20 13:15:00 | 3.564 | 328.067 | 3.546 | 325.304 | 3.676 | 321.4 | 4.285 | 320.4 | 29.431 | 889.867 | 17.969 | 2.5957
2019-06-20 13:30:00 | 2.983 | 299.713 | 2.663 | 282.903 | 3.016 | 277.133 | 2.556 | 276.5 | 30.289 | 889.7 | 17.457 | 2.6014
2019-06-20 13:45:00 | 5.01 | 40.59 | 4.953 | 39.139 | 5.144 | 38 | 5.534 | 47.733 | 30.014 | 889.8 | 17.181 | 3.0327
2019-06-20 14:00:00 | 3.411 | 193.417 | 3.164 | 231.008 | 3.322 | 264.167 | 3.73 | 283.767 | 30.244 | 889.767 | 17.276 | 2.4159
2019-06-20 14:15:00 | 4.369 | 292.867 | 4.255 | 288.967 | 4.205 | 290.7 | 4.404 | 292.117 | 30.764 | 889.4 | 16.856 | 1.2534
2019-06-20 14:30:00 | 3.766 | 234.247 | 4.058 | 248.689 | 4.658 | 250.767 | 4.802 | 242.083 | 31.516 | 889.233 | 16.013 | 1.9128
2019-06-20 14:45:00 | 5.549 | 299.307 | 5.632 | 312.977 | 5.998 | 315.933 | 6.126 | 312.8 | 30.723 | 889.533 | 16.559 | 2.9872
2019-06-20 15:00:00 | 1.244 | 229.02 | 0.584 | 194.537 | 0.836 | 222.933 | 0.965 | 181.367 | 30.36 | 889.833 | 17.56 | 5.9048
2019-06-20 15:15:00 | 6.151 | 336.6 | 6.458 | 332.667 | 6.422 | 316.167 | 6.607 | 292.067 | 30.96 | 889.233 | 18.032 | 4.6954
2019-06-20 15:30:00 | 3.763 | 213.285 | 3.514 | 230.714 | 3.703 | 270.667 | 4.335 | 283.169 | 30.573 | 889.7 | 18.28 | 9.9671
2019-06-20 15:45:00 | 4.253 | 254.282 | 4.866 | 282.42 | 5.799 | 259.15 | 6.133 | 276.45 | 30.866 | 889.6 | 18.156 | 14.5943
2019-06-20 16:00:00 | 4.426 | 297.1 | 4.445 | 287.223 | 4.452 | 290.15 | 4.724 | 283.417 | 30.735 | 889.3 | 18.275 | 9.9167
2019-06-20 16:15:00 | 6.314 | 321.307 | 6.482 | 314.361 | 6.289 | 316.967 | 6.247 | 314.433 | 31.006 | 889.8 | 19.681 | 17.5602
2019-06-20 16:30:00 | 8.046 | 295.533 | 8.317 | 292.066 | 8.575 | 297.2 | 8.704 | 296.067 | 30.135 | 888.917 | 20.235 | 30.0555
2019-06-20 16:45:00 | 6.826 | 318.307 | 7.189 | 314.534 | 7.803 | 318.633 | 8.137 | 317.367 | 30.818 | 889.35 | 20.315 | 29.1958
2019-06-20 17:00:00 | 8.44 | 288.48 | 8.805 | 286.355 | 9.067 | 290.767 | 9.359 | 286.55 | 30.606 | 889.6 | 19.792 | 34.8647
2019-06-20 17:15:00 | 8.312 | 297.587 | 8.602 | 292.925 | 8.676 | 299.333 | 8.719 | 294.933 | 30.16 | 889.4 | 19.991 | 44.3841
2019-06-20 17:30:00 | 9.354 | 299.667 | 9.655 | 293.749 | 9.807 | 301.4 | 10.457 | 298.667 | 30.235 | 889.667 | 19.832 | 45.3477
2019-06-20 17:45:00 | 8.454 | 328.507 | 8.91 | 320.68 | 9.27 | 324.9 | 9.39 | 323.733 | 30.473 | 889.733 | 19.8 | 48.9353
2019-06-20 18:00:00 | 9.829 | 321.853 | 10.028 | 314.153 | 10.061 | 319.7 | 10.47 | 316.2 | 30.402 | 889.4 | 19.921 | 52.0547
2019-06-20 18:15:00 | 8.638 | 295.987 | 9.091 | 293.239 | 9.448 | 294.767 | 9.782 | 292.567 | 30.235 | 889.483 | 20.627 | 51.4472
2019-06-20 18:30:00 | 9.338 | 296.253 | 10.407 | 291.615 | 10.614 | 296.367 | 11.006 | 294 | 30.406 | 889.833 | 20.187 | 51.7918
2019-06-20 18:45:00 | 9.376 | 304.96 | 10.03 | 298.919 | 10.429 | 303.533 | 10.68 | 302.233 | 30.044 | 889.367 | 20.205 | 55.2743
2019-06-20 19:00:00 | 10.482 | 292.773 | 11.26 | 288.871 | 11.298 | 294.867 | 11.476 | 291.967 | 29.735 | 889.633 | 20.456 | 63.4657
2019-06-20 19:15:00 | 9.059 | 289.413 | 9.668 | 285.988 | 9.924 | 290.333 | 10.526 | 289.733 | 29.914 | 889.767 | 21.131 | 68.5981
2019-06-20 19:30:00 | 10.494 | 297.813 | 10.798 | 291.468 | 10.897 | 295.733 | 11.447 | 292.833 | 29.664 | 889.817 | 22.296 | 68.682
2019-06-20 19:45:00 | 10.391 | 296.547 | 11.512 | 293.306 | 11.556 | 296.633 | 12.008 | 294.133 | 29.164 | 889.783 | 22.763 | 71.9193
2019-06-20 20:00:00 | 12.201 | 291.533 | 13.52 | 289.29 | 13.743 | 293.867 | 14.087 | 291.467 | 28.71 | 889.867 | 24.123 | 73.0477
2019-06-20 20:15:00 | 11.485 | 294 | 12.113 | 291.363 | 12.503 | 296.067 | 13.163 | 292.6 | 28.506 | 889.783 | 24.659 | 71.8461
2019-06-20 20:30:00 | 10.375 | 292.413 | 11.579 | 290.617 | 11.896 | 292.367 | 12.829 | 290.333 | 28.435 | 889.433 | 24.875 | 71.7054
2019-06-20 20:45:00 | 12.423 | 286.813 | 13.525 | 284.64 | 13.79 | 289 | 14.104 | 287.033 | 28.098 | 889.683 | 26.205 | 72.033
2019-06-20 21:00:00 | 12.627 | 285.307 | 14.262 | 285.936 | 14.758 | 290.067 | 15.417 | 287.867 | 27.135 | 889.967 | 28.261 | 70.2473
2019-06-20 21:15:00 | 12.29 | 283.8 | 13.544 | 281.268 | 14.486 | 283.133 | 15.426 | 282.167 | 26.514 | 889.9 | 30.131 | 64.879
2019-06-20 21:30:00 | 12.984 | 284.613 | 14.737 | 281.844 | 14.745 | 283.7 | 14.948 | 281.467 | 26.185 | 889.883 | 31.235 | 56.3721
2019-06-20 21:45:00 | 12.885 | 281.267 | 14.275 | 278.832 | 14.649 | 282.6 | 15.452 | 280.7 | 25.835 | 889.433 | 31.992 | 53.6734
2019-06-20 22:00:00 | 12.618 | 276.213 | 13.5 | 272.564 | 13.825 | 276.133 | 14.076 | 274.3 | 25.306 | 889.783 | 32.829 | 48.4841
2019-06-20 22:15:00 | 12.79 | 273.553 | 14.086 | 273.591 | 14.495 | 277.333 | 14.975 | 273.8 | 24.86 | 889.8 | 33.947 | 45.1814
2019-06-20 22:30:00 | 11.795 | 269.42 | 13.479 | 266.395 | 13.8 | 272.133 | 13.773 | 267.933 | 24.898 | 889.8 | 34.541 | 44.3927
2019-06-20 22:45:00 | 12.975 | 262.373 | 14.643 | 264.671 | 15.032 | 269.467 | 15.07 | 264.5 | 24.527 | 889.533 | 35.939 | 47.3273
2019-06-20 23:00:00 | 11.196 | 264.18 | 12.606 | 265.422 | 12.954 | 268.8 | 13.536 | 264.183 | 23.718 | 889.6 | 37.544 | 47.7231
2019-06-20 23:15:00 | 12.997 | 267.787 | 14.957 | 268.335 | 15.402 | 273.833 | 15.862 | 269.867 | 23.814 | 889.583 | 38 | 47.5227
2019-06-20 23:30:00 | 12.323 | 271.933 | 14.382 | 270.589 | 15.158 | 276.167 | 15.861 | 271.167 | 23.923 | 889.683 | 37.904 | 48.6873
2019-06-20 23:45:00 | 13.292 | 266.22 | 15.385 | 270.235 | 16.331 | 272.4 | 17.056 | 269.033 | 23.231 | 889.883 | 39.459 | 49.6814