## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-22 00:00:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 14.5922
2019-06-22 00:15:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 17.0863
2019-06-22 00:30:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 17.028
2019-06-22 00:45:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 19.3423
2019-06-22 01:00:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 19.4724
2019-06-22 01:15:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 18.7334
2019-06-22 01:30:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 17.5233
2019-06-22 01:45:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 16.8177
2019-06-22 02:00:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 19.1555
2019-06-22 02:15:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 19.5022
2019-06-22 02:30:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 21.3824
2019-06-22 02:45:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 21.0868
2019-06-22 03:00:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 20.8637
2019-06-22 03:15:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 21.1905
2019-06-22 03:30:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 19.1029
2019-06-22 03:45:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 15.8662
2019-06-22 04:00:00 | 4.222 | 285.88 | 5.156 | 284.237 | 5.64 | 289.933 | 6.287 | 288.667 | 23.985 | 889.783 | 34.563 | 11.3016
2019-06-22 04:15:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 8.5353
2019-06-22 04:30:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 10.5278
2019-06-22 04:45:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 13.0488
2019-06-22 05:00:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 12.4193
2019-06-22 05:15:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 12.6211
2019-06-22 05:30:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 12.4001
2019-06-22 05:45:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 11.1111
2019-06-22 06:00:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 9.7703
2019-06-22 06:15:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 9.6545
2019-06-22 06:30:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 9.7767
2019-06-22 06:45:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 8.4835
2019-06-22 07:00:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 7.8105
2019-06-22 07:15:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 8.8231
2019-06-22 07:30:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 7.9292
2019-06-22 07:45:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 5.6732
2019-06-22 08:00:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 6.9046
2019-06-22 08:15:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 8.8984
2019-06-22 08:30:00 | 5.396 | 260.22 | 5.828 | 264.73 | 5.706 | 267.3 | 5.772 | 262.283 | 24.735 | 890.067 | 27.821 | 8.6526
2019-06-22 08:45:00 | 4.645 | 267.653 | 4.993 | 266.685 | 5.043 | 271.8 | 5.016 | 268.317 | 24.352 | 889.733 | 29.216 | 6.7753
2019-06-22 09:00:00 | 4.724 | 275.033 | 4.815 | 272.866 | 4.969 | 277.333 | 4.966 | 274.067 | 23.86 | 889.483 | 29.488 | 5.5779
2019-06-22 09:15:00 | 3.901 | 276.627 | 4.078 | 271.474 | 4.211 | 276.267 | 4.414 | 269.717 | 24.148 | 889.533 | 28.107 | 2.6589
2019-06-22 09:30:00 | 3.679 | 280.42 | 3.798 | 281.058 | 3.904 | 288.7 | 4.176 | 292.4 | 25.131 | 889.417 | 25.037 | 1.1305
2019-06-22 09:45:00 | 3.875 | 295.748 | 3.82 | 318.336 | 3.93 | 317.667 | 4.338 | 312.433 | 25.244 | 889.717 | 24.525 | 1.3572
2019-06-22 10:00:00 | 3.298 | 306.12 | 3.513 | 301.085 | 3.392 | 297.267 | 3.952 | 309 | 25.448 | 889.6 | 23.669 | 1.289
2019-06-22 10:15:00 | 2.868 | 310.267 | 2.867 | 318.408 | 3.013 | 327.7 | 3.437 | 329.1 | 26.114 | 889.6 | 23.013 | 0.53221
2019-06-22 10:30:00 | 3.028 | 276.373 | 2.918 | 297.029 | 2.908 | 313.033 | 3.265 | 320.267 | 26.568 | 889.75 | 22.533 | 0.1478
2019-06-22 10:45:00 | 2.299 | 307.427 | 1.756 | 300.074 | 2.086 | 310.433 | 2.71 | 315.7 | 27.289 | 889.35 | 21.461 | 0.085979
2019-06-22 11:00:00 | 3.053 | 286.101 | 3.021 | 279.846 | 3.292 | 227.633 | 4.132 | 204.067 | 28.052 | 889.583 | 20.909 | 0.079584
2019-06-22 11:15:00 | 3.732 | 84.195 | 3.598 | 233.327 | 3.655 | 173.633 | 4.168 | 209.367 | 27.135 | 889.95 | 22.379 | 0.22809
2019-06-22 11:30:00 | 2.66 | 285.113 | 2.524 | 291.471 | 2.537 | 285.767 | 3.078 | 281.467 | 28.452 | 889.6 | 21.76 | 0.35102
2019-06-22 11:45:00 | 3.708 | 294.267 | 3.666 | 307.062 | 4.005 | 286.567 | 4.082 | 274.433 | 27.631 | 889.783 | 23.229 | 1.3764
2019-06-22 12:00:00 | 4.203 | 39.058 | 4.229 | 64.203 | 4.174 | 62.533 | 3.844 | 38.6 | 28.035 | 890.05 | 21.843 | 1.122
2019-06-22 12:15:00 | 0.955 | 108.113 | 0.17 | 76.875 | 0.043 | 74.671 | 0.44 | 97.833 | 29.048 | 889.967 | 21.093 | 0.20749
2019-06-22 12:30:00 | 0.653 | 166.37 | 0.23 | 140.971 | 0.482 | 175.8 | 1.106 | 86.969 | 30.573 | 889.7 | 20.004 | 0.23378
2019-06-22 12:45:00 | 4.646 | 217.647 | 4.722 | 240.174 | 4.902 | 216.7 | 4.95 | 225.767 | 28.914 | 889.8 | 21.872 | 0.91024
2019-06-22 13:00:00 | 2.127 | 123.024 | 1.107 | 236.772 | 1.437 | 244.767 | 1.64 | 251.717 | 29.348 | 889.967 | 21.963 | 0.49384
2019-06-22 13:15:00 | 3.049 | 280.447 | 2.941 | 274.521 | 3.174 | 277.267 | 3.231 | 277.633 | 29.714 | 889.55 | 21.557 | 1.5156
2019-06-22 13:30:00 | 3.67 | 213.96 | 3.779 | 213.257 | 3.916 | 220.583 | 3.841 | 213.817 | 29.764 | 889.75 | 21.821 | 1.8468
2019-06-22 13:45:00 | 4.06 | 215.12 | 3.821 | 215.294 | 3.924 | 225.6 | 4.216 | 223 | 29.789 | 889.7 | 21.787 | 0.82994
2019-06-22 14:00:00 | 1.862 | 213.555 | 1.743 | 238.092 | 2.476 | 234.967 | 2.968 | 225.95 | 30.864 | 889.633 | 20.607 | 1.8659
2019-06-22 14:15:00 | 4.88 | 192.053 | 4.959 | 197.939 | 5.342 | 200.9 | 5.672 | 196.2 | 31.173 | 889.333 | 20.075 | 2.1196
2019-06-22 14:30:00 | 2.955 | 271.227 | 2.821 | 267.585 | 3.117 | 263.167 | 3.546 | 257.717 | 30.856 | 889.8 | 19.988 | 1.1923
2019-06-22 14:45:00 | 2.373 | 316.853 | 2.019 | 321.414 | 2.444 | 314.167 | 2.741 | 296.5 | 30.689 | 889.633 | 19.401 | 1.1007
2019-06-22 15:00:00 | 3.179 | 290.147 | 3.637 | 285.505 | 4.012 | 288.717 | 4.039 | 287.55 | 32.134 | 889.367 | 18.169 | 1.3337
2019-06-22 15:15:00 | 3.203 | 303.133 | 3.195 | 302.142 | 3.524 | 315.233 | 3.766 | 303.25 | 30.01 | 889.833 | 21.299 | 2.568
2019-06-22 15:30:00 | 2.497 | 320.053 | 1.542 | 274.633 | 1.626 | 311.317 | 2.094 | 182.302 | 31.204 | 889.1 | 19.88 | 1.6116
2019-06-22 15:45:00 | 5.221 | 276.273 | 5.378 | 275.66 | 5.276 | 281.433 | 5.598 | 269.758 | 31.631 | 889.6 | 19.489 | 1.7679
2019-06-22 16:00:00 | 2.002 | 237.853 | 1.88 | 241.34 | 2.068 | 248.117 | 2.252 | 243.6 | 31.647 | 889.733 | 19.432 | 1.8247
2019-06-22 16:15:00 | 0.882 | 247.384 | 0.47 | 206.156 | 0.599 | 183.708 | 1.006 | 176.367 | 31.511 | 889.4 | 19.596 | 0.28138
2019-06-22 16:30:00 | 5.698 | 250.967 | 5.719 | 245.27 | 5.776 | 248.2 | 5.738 | 242.4 | 32.327 | 889.3 | 18.155 | 1.9946
2019-06-22 16:45:00 | 5.04 | 260.287 | 5.388 | 256.265 | 5.649 | 259.25 | 5.633 | 256.117 | 31.807 | 889.567 | 19.091 | 4.4005
2019-06-22 17:00:00 | 3.626 | 250.247 | 3.472 | 248.952 | 3.9 | 259.2 | 4.358 | 257.667 | 31.286 | 889.2 | 20.179 | 33.5544
2019-06-22 17:15:00 | 8.199 | 211.453 | 8.501 | 209.985 | 8.766 | 213.2 | 8.853 | 206.833 | 30.885 | 889.783 | 23.515 | 34.5037
2019-06-22 17:30:00 | 7.136 | 203.667 | 7.234 | 199.272 | 7.575 | 201.433 | 8.057 | 197.3 | 30.856 | 889.667 | 22.581 | 23.9319
2019-06-22 17:45:00 | 6.487 | 212.16 | 6.783 | 208.565 | 7.179 | 209.867 | 7.603 | 203.867 | 31.393 | 889.567 | 20.923 | 27.4748
2019-06-22 18:00:00 | 7.016 | 226.607 | 7.321 | 219.311 | 7.753 | 223.767 | 7.722 | 216.8 | 31.442 | 889.633 | 21.243 | 25.9748
2019-06-22 18:15:00 | 5.354 | 242.067 | 5.58 | 237.714 | 5.641 | 241.983 | 5.799 | 235.95 | 31.448 | 889.917 | 20.749 | 14.2888
2019-06-22 18:30:00 | 6.734 | 231.147 | 7.047 | 225.748 | 7.104 | 227.7 | 7.19 | 219.467 | 31.471 | 889.767 | 21.92 | 25.105
2019-06-22 18:45:00 | 7.369 | 249.74 | 7.576 | 248.012 | 7.672 | 253.967 | 7.616 | 248.217 | 30.398 | 889.983 | 24.013 | 32.2668
2019-06-22 19:00:00 | 10.065 | 233.867 | 10.435 | 231.263 | 10.723 | 235.733 | 10.731 | 232.033 | 29.398 | 889.817 | 27.637 | 30.3405
2019-06-22 19:15:00 | 8.445 | 217.2 | 8.767 | 216.613 | 9.012 | 220.133 | 9.027 | 215.933 | 29.014 | 889.933 | 27.755 | 34.4781
2019-06-22 19:30:00 | 8.418 | 220.147 | 8.788 | 216.912 | 9.046 | 222.2 | 9.156 | 218.433 | 29.198 | 889.35 | 27.957 | 32.6143
2019-06-22 19:45:00 | 8.144 | 222.18 | 8.225 | 219.888 | 8.671 | 223 | 8.754 | 218.567 | 28.344 | 889.783 | 29.44 | 34.7154
2019-06-22 20:00:00 | 8.155 | 225.647 | 8.524 | 221.65 | 8.877 | 224.433 | 8.93 | 220.067 | 28.785 | 889.65 | 28.955 | 35.8431
2019-06-22 20:15:00 | 7.076 | 213.887 | 7.412 | 211.662 | 7.74 | 213.967 | 7.892 | 210.167 | 28.41 | 889.717 | 30.155 | 30.6347
2019-06-22 20:30:00 | 6.837 | 221.147 | 7.392 | 217.697 | 7.673 | 222.233 | 7.785 | 218.233 | 28.344 | 889.583 | 29.413 | 24.7235
2019-06-22 20:45:00 | 5.508 | 231.5 | 5.975 | 229.782 | 6.248 | 235.867 | 6.348 | 231.483 | 28.964 | 889.617 | 28.731 | 18.8044
2019-06-22 21:00:00 | 4.842 | 254.627 | 5.444 | 256.383 | 5.843 | 262.75 | 6.075 | 258.083 | 28.264 | 889.467 | 27.723 | 13.7459
2019-06-22 21:15:00 | 5.356 | 260.493 | 6.002 | 257.202 | 6.319 | 261 | 6.509 | 256.217 | 28.86 | 889.417 | 26.061 | 18.511
2019-06-22 21:30:00 | 5.068 | 255.833 | 5.933 | 254.34 | 6.393 | 258.717 | 6.51 | 254.017 | 28.431 | 889.933 | 26.091 | 17.4565
2019-06-22 21:45:00 | 4.699 | 253.307 | 5.68 | 251.528 | 6.215 | 256.45 | 6.359 | 251.183 | 27.964 | 889.733 | 26.307 | 18.1237
2019-06-22 22:00:00 | 5.318 | 230.06 | 6.308 | 229.051 | 6.775 | 235.367 | 6.701 | 231.667 | 27.727 | 889.45 | 28.069 | 27.3156
2019-06-22 22:15:00 | 5.937 | 220.36 | 7.046 | 220.081 | 7.427 | 226.1 | 7.591 | 222.5 | 26.123 | 889.467 | 34.517 | 31.1605
2019-06-22 22:30:00 | 6.229 | 217.547 | 7.388 | 215.574 | 8.46 | 221.1 | 8.366 | 218.467 | 25.777 | 889.767 | 37.632 | 36.1579
2019-06-22 22:45:00 | 5.522 | 221.12 | 6.582 | 222.914 | 7.55 | 232 | 7.778 | 230.8 | 25.164 | 889.833 | 37.872 | 31.1932
2019-06-22 23:00:00 | 5.386 | 224.68 | 6.76 | 225.959 | 7.414 | 234.9 | 7.524 | 232.867 | 25.202 | 889.433 | 36.309 | 33.575
2019-06-22 23:15:00 | 5.584 | 247.093 | 6.642 | 247.642 | 7.008 | 255.167 | 7.358 | 254.55 | 25.798 | 890.117 | 33.269 | 32.4651
2019-06-22 23:30:00 | 5.708 | 270.713 | 6.594 | 271.326 | 6.994 | 275.767 | 7.315 | 273.433 | 26.068 | 889.633 | 29.128 | 27.5899
2019-06-22 23:45:00 | 5.524 | 258.86 | 6.396 | 261.464 | 6.934 | 268.15 | 7.169 | 263.917 | 26.177 | 889.567 | 29.504 | 25.169