## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-23 00:00:00 | 5.491 | 257.073 | 6.65 | 257.959 | 6.85 | 265.433 | 7.23 | 261.717 | 25.573 | 889.467 | 30.419 | 22.0773
2019-06-23 00:15:00 | 5.245 | 257.367 | 6.081 | 256.235 | 6.565 | 263.733 | 6.922 | 261.05 | 25.185 | 889.767 | 31.069 | 15.0661
2019-06-23 00:30:00 | 4.518 | 250.92 | 5.445 | 253.457 | 5.774 | 262.3 | 5.941 | 259.333 | 25.273 | 889.483 | 31.624 | 11.8366
2019-06-23 00:45:00 | 3.427 | 241.64 | 4.711 | 252.424 | 5.128 | 263.067 | 5.547 | 264.633 | 24.373 | 889.633 | 32.125 | 10.7196
2019-06-23 01:00:00 | 4.48 | 231.287 | 4.853 | 239.55 | 4.918 | 256.567 | 5.482 | 262.833 | 23.91 | 889.667 | 33.931 | 13.2713
2019-06-23 01:15:00 | 4.73 | 232.967 | 5.178 | 241.727 | 5.249 | 253.633 | 5.34 | 253.3 | 23.564 | 889.9 | 34.608 | 12.8847
2019-06-23 01:30:00 | 4.559 | 229.88 | 5.073 | 240.382 | 5.122 | 252.3 | 5.229 | 254.367 | 23.648 | 889.533 | 34.8 | 14.8956
2019-06-23 01:45:00 | 5.075 | 236.913 | 6.187 | 242.536 | 6.32 | 253.1 | 6.396 | 250.5 | 23.448 | 890.283 | 35.013 | 21.8158
2019-06-23 02:00:00 | 5.635 | 246.953 | 6.702 | 250.938 | 6.988 | 260.1 | 7.228 | 258.483 | 23.214 | 889.9 | 35.147 | 24.079
2019-06-23 02:15:00 | 5.93 | 246.727 | 7.09 | 250.606 | 7.36 | 259.4 | 7.629 | 257.933 | 23.181 | 889.8 | 35.96 | 25.4504
2019-06-23 02:30:00 | 5.774 | 242.04 | 6.921 | 245.14 | 7.329 | 255.067 | 7.482 | 253.333 | 23.148 | 889.683 | 36.773 | 29.0465
2019-06-23 02:45:00 | 6.219 | 245.647 | 7.314 | 248.069 | 7.793 | 256.717 | 7.902 | 257.65 | 22.931 | 889.383 | 37.813 | 31.0944
2019-06-23 03:00:00 | 5.992 | 251.887 | 7.152 | 252.248 | 7.971 | 262.6 | 8.173 | 260.033 | 23.081 | 889.133 | 38.347 | 31.6501
2019-06-23 03:15:00 | 5.968 | 245.793 | 7.16 | 249.052 | 7.745 | 258.967 | 8.083 | 256.933 | 22.848 | 890.05 | 38.635 | 28.8071
2019-06-23 03:30:00 | 5.455 | 251.7 | 6.753 | 252.331 | 7.359 | 261.633 | 7.627 | 261.017 | 22.481 | 890.05 | 39.773 | 26.2164
2019-06-23 03:45:00 | 5.733 | 248.773 | 6.632 | 252.652 | 7.064 | 262.4 | 7.588 | 260.617 | 22.494 | 889.733 | 40.547 | 25.8163
2019-06-23 04:00:00 | 5.541 | 245.673 | 7.033 | 250.949 | 7.668 | 261 | 8.154 | 259.2 | 22.106 | 889.567 | 41.061 | 29.8054
2019-06-23 04:15:00 | 6.314 | 247.133 | 7.778 | 250.77 | 8.224 | 258.533 | 8.345 | 255.4 | 22.598 | 890.1 | 41.323 | 34.9258
2019-06-23 04:30:00 | 6.238 | 245.367 | 7.436 | 248.676 | 7.852 | 256.467 | 7.937 | 254.883 | 22.431 | 889.892 | 41.419 | 34.3396
2019-06-23 04:45:00 | 5.697 | 245.58 | 6.894 | 250.414 | 7.158 | 258.033 | 7.402 | 256.217 | 21.931 | 889.9 | 41.749 | 31.5222
2019-06-23 05:00:00 | 5.763 | 243.653 | 7.228 | 246.27 | 7.216 | 256.033 | 7.358 | 253.483 | 22.098 | 890.15 | 42.165 | 33.3448
2019-06-23 05:15:00 | 5.842 | 236.307 | 7.155 | 238.462 | 7.302 | 248.533 | 7.155 | 247.533 | 21.852 | 889.983 | 43.083 | 32.1851
2019-06-23 05:30:00 | 5.47 | 232.767 | 6.785 | 237.137 | 7.221 | 247.2 | 7.182 | 243.033 | 21.552 | 889.917 | 43.872 | 28.8042
2019-06-23 05:45:00 | 5.363 | 234.107 | 6.629 | 238.422 | 6.894 | 247.633 | 6.995 | 245.2 | 21.102 | 890.017 | 44.139 | 26.5027
2019-06-23 06:00:00 | 5.618 | 229.693 | 6.974 | 233.52 | 7.124 | 242.5 | 7.033 | 240.1 | 21.331 | 889.9 | 44.107 | 29.8744
2019-06-23 06:15:00 | 5.443 | 231.873 | 6.885 | 235.12 | 7.167 | 243.067 | 7.116 | 239.433 | 20.86 | 889.875 | 44.053 | 26.7855
2019-06-23 06:30:00 | 5.153 | 234.56 | 6.527 | 236.056 | 6.951 | 244.067 | 6.975 | 241.033 | 21.673 | 890.3 | 43.083 | 26.1773
2019-06-23 06:45:00 | 5.073 | 238.833 | 6.467 | 239.014 | 6.88 | 247.467 | 6.708 | 244.467 | 21.906 | 890.092 | 41.984 | 21.6581
2019-06-23 07:00:00 | 5.107 | 236.067 | 6.307 | 236.774 | 6.7 | 245.167 | 6.629 | 243.067 | 22.006 | 890.008 | 41.653 | 19.7673
2019-06-23 07:15:00 | 4.613 | 236.12 | 5.482 | 235.735 | 6.342 | 244.467 | 6.357 | 242 | 22.352 | 889.817 | 40.304 | 19.0624
2019-06-23 07:30:00 | 4.664 | 239.353 | 5.462 | 237.237 | 6.098 | 245.2 | 6.372 | 242.567 | 22.781 | 889.883 | 38.896 | 18.5891
2019-06-23 07:45:00 | 5.465 | 238.947 | 5.87 | 236.172 | 6.432 | 243.5 | 6.558 | 240.733 | 22.898 | 889.683 | 38.955 | 18.6815
2019-06-23 08:00:00 | 4.985 | 232.08 | 5.427 | 230.276 | 5.783 | 237.5 | 5.894 | 235.067 | 22.948 | 890 | 38.88 | 13.709
2019-06-23 08:15:00 | 4.502 | 239.64 | 4.709 | 235.217 | 5.072 | 242.1 | 5.289 | 239.533 | 23.823 | 889.7 | 37.291 | 12.2289
2019-06-23 08:30:00 | 4.315 | 250.82 | 4.559 | 249.464 | 4.672 | 257.517 | 4.936 | 255.6 | 24.41 | 890.067 | 33.531 | 11.1396
2019-06-23 08:45:00 | 5.806 | 281.6 | 6.16 | 280.946 | 6.36 | 284.5 | 6.54 | 282.633 | 25.227 | 889.833 | 28.931 | 16.8774
2019-06-23 09:00:00 | 7.11 | 296.2 | 7.439 | 293.953 | 7.407 | 297.467 | 7.713 | 294.167 | 25.477 | 890.133 | 27.893 | 20.4949
2019-06-23 09:15:00 | 7.413 | 301.827 | 7.66 | 293.81 | 7.777 | 299 | 7.986 | 296.567 | 26.031 | 890.067 | 26.768 | 19.7218
2019-06-23 09:30:00 | 6.109 | 296.533 | 6.181 | 296.362 | 6.465 | 301.467 | 6.798 | 299.767 | 25.918 | 889.517 | 26.656 | 13.9989
2019-06-23 09:45:00 | 5.065 | 286.12 | 5.39 | 281.417 | 5.598 | 285.133 | 5.762 | 284.033 | 26.06 | 889.883 | 25.813 | 9.2388
2019-06-23 10:00:00 | 4.319 | 291.287 | 4.472 | 283.552 | 4.768 | 286.9 | 4.919 | 282.717 | 26.377 | 889.55 | 25.533 | 7.3053
2019-06-23 10:15:00 | 4.332 | 290.48 | 4.209 | 284.919 | 4.416 | 290.8 | 4.571 | 290 | 27.156 | 889.3 | 24.773 | 5.6064
2019-06-23 10:30:00 | 4.952 | 275.273 | 5.305 | 280.2 | 5.4 | 285.567 | 5.561 | 285.4 | 27.939 | 889.65 | 21.907 | 7.7438
2019-06-23 10:45:00 | 5.15 | 296.973 | 5.286 | 291.274 | 5.274 | 293.133 | 5.368 | 292.3 | 27.885 | 889.65 | 21.115 | 10.2457
2019-06-23 11:00:00 | 2.991 | 312.48 | 3.09 | 304.637 | 3.303 | 306.633 | 3.733 | 305.133 | 28.606 | 889.567 | 19.337 | 16.5853
2019-06-23 11:15:00 | 7.135 | 317.693 | 7.347 | 310.849 | 7.644 | 314.133 | 7.823 | 309.167 | 27.718 | 889.367 | 19.832 | 23.615
2019-06-23 11:30:00 | 5.811 | 289.867 | 6.311 | 283.034 | 6.501 | 286.033 | 6.4 | 280.933 | 28.268 | 889.633 | 18.788 | 14.2781
2019-06-23 11:45:00 | 6.435 | 326.08 | 6.724 | 317.389 | 7.093 | 323.4 | 7.527 | 322 | 28.552 | 889.3 | 18.587 | 14.7336
2019-06-23 12:00:00 | 5.324 | 304.907 | 5.268 | 309.32 | 5.447 | 313.533 | 5.684 | 311.5 | 28.852 | 889.5 | 18.796 | 14.6093
2019-06-23 12:15:00 | 6.232 | 302.393 | 6.662 | 300.529 | 6.841 | 305.667 | 7.13 | 304.7 | 28.823 | 889.667 | 18.757 | 25.326
2019-06-23 12:30:00 | 7.719 | 314 | 8.281 | 312.442 | 8.38 | 316.833 | 8.906 | 316.333 | 29.364 | 889.7 | 18.399 | 45.1451
2019-06-23 12:45:00 | 9.599 | 326.893 | 9.959 | 320.262 | 10.401 | 327.767 | 10.478 | 324.867 | 28.16 | 889.367 | 18.803 | 45.8117
2019-06-23 13:00:00 | 8.943 | 315.92 | 9.504 | 313.118 | 9.536 | 316.6 | 9.883 | 314.8 | 28.977 | 889.467 | 18.653 | 42.8187
2019-06-23 13:15:00 | 9.025 | 294.613 | 9.691 | 293.627 | 10.006 | 298.6 | 10.384 | 295.6 | 28.485 | 889.533 | 19.408 | 38.9952
2019-06-23 13:30:00 | 7.18 | 296.893 | 7.844 | 295.801 | 8.228 | 300.867 | 8.52 | 297.667 | 28.618 | 889.533 | 19.693 | 30.9388
2019-06-23 13:45:00 | 6.916 | 303.253 | 7.462 | 299.249 | 7.718 | 302.667 | 8.159 | 298.1 | 28.814 | 889.233 | 19.872 | 29.2249
2019-06-23 14:00:00 | 6.91 | 295.333 | 7.346 | 293.459 | 7.638 | 297.133 | 7.718 | 295.567 | 28.964 | 889.267 | 20.145 | 28.7716
2019-06-23 14:15:00 | 6.975 | 276.36 | 7.383 | 273.183 | 7.58 | 279.267 | 7.639 | 276.667 | 29.077 | 889.633 | 19.357 | 25.5889
2019-06-23 14:30:00 | 5.744 | 286.507 | 6.067 | 275.94 | 6.334 | 277.65 | 6.772 | 274.15 | 29.514 | 889.633 | 19.328 | 21.9345
2019-06-23 14:45:00 | 4.223 | 291.613 | 4.47 | 285.69 | 4.763 | 289.167 | 4.853 | 287.8 | 29.114 | 889.433 | 19.689 | 22.7666
2019-06-23 15:00:00 | 6.41 | 262.293 | 7.059 | 264.124 | 7.279 | 265.933 | 7.622 | 258.85 | 29.598 | 889.4 | 19.519 | 23.6278
2019-06-23 15:15:00 | 4.038 | 249.007 | 3.904 | 264.221 | 4.03 | 263.7 | 4.774 | 256.533 | 29.264 | 889.367 | 19.651 | 19.4624
2019-06-23 15:30:00 | 5.35 | 245.467 | 5.727 | 242.726 | 5.841 | 246.9 | 6.026 | 243.133 | 29.681 | 889.333 | 19.604 | 16.2158
2019-06-23 15:45:00 | 4.273 | 261.687 | 4.426 | 266.703 | 4.586 | 274.667 | 4.775 | 272 | 28.923 | 889.667 | 21.331 | 17.411
2019-06-23 16:00:00 | 7.116 | 265.187 | 7.392 | 260.716 | 7.529 | 265 | 7.48 | 259.133 | 29.714 | 889.65 | 20.659 | 24.71
2019-06-23 16:15:00 | 7.614 | 269.2 | 7.887 | 268.448 | 8.21 | 272.933 | 8.432 | 269.833 | 29.281 | 889.85 | 21.333 | 27.8087
2019-06-23 16:30:00 | 5.065 | 309.813 | 5.513 | 307.246 | 5.626 | 306.767 | 5.939 | 302.233 | 28.502 | 889.833 | 22.045 | 25.1157
2019-06-23 16:45:00 | 7.319 | 285.347 | 7.667 | 283.37 | 7.777 | 291.267 | 8.127 | 287.233 | 28.944 | 889.717 | 22.219 | 36.0648
2019-06-23 17:00:00 | 8.713 | 269.58 | 9.605 | 269.509 | 9.779 | 275.167 | 10.009 | 270.667 | 28.456 | 889.683 | 22.685 | 37.5335
2019-06-23 17:15:00 | 7.548 | 259.313 | 8.057 | 258.121 | 8.227 | 264.017 | 8.217 | 260.817 | 28.735 | 889.617 | 22.397 | 40.7354
2019-06-23 17:30:00 | 8.515 | 235.453 | 8.896 | 234.898 | 9.266 | 240.667 | 9.292 | 235.3 | 28.614 | 889.283 | 23.333 | 42.1252
2019-06-23 17:45:00 | 10.462 | 245.727 | 11.613 | 242.112 | 12.288 | 247.283 | 12.223 | 241.15 | 28.073 | 890.233 | 23.8 | 43.1477
2019-06-23 18:00:00 | 10.078 | 244.133 | 10.729 | 243.214 | 10.996 | 247.55 | 10.93 | 241.633 | 27.231 | 889.45 | 24.896 | 45.2112
2019-06-23 18:15:00 | 9.341 | 238.133 | 10.403 | 234.68 | 10.515 | 239.067 | 10.676 | 232.167 | 27.431 | 889.983 | 25.253 | 46.7418
2019-06-23 18:30:00 | 7.987 | 236.387 | 8.447 | 232.955 | 8.932 | 237.133 | 8.893 | 232.367 | 27.539 | 889.5 | 25.957 | 46.0405
2019-06-23 18:45:00 | 8.669 | 233.287 | 9.01 | 230.703 | 9.285 | 236.067 | 9.238 | 230.767 | 27.168 | 889.917 | 26.661 | 43.4746
2019-06-23 19:00:00 | 11.975 | 271.933 | 13.102 | 274.306 | 13.655 | 275.467 | 14.192 | 272.867 | 26.531 | 889.9 | 28.237 | 42.3412
2019-06-23 19:15:00 | 12.085 | 266.72 | 13.619 | 268.892 | 14.222 | 273.167 | 14.564 | 269.433 | 26.098 | 889.483 | 28.869 | 43.0817
2019-06-23 19:30:00 | 11.012 | 269.867 | 12.125 | 271.588 | 12.63 | 275.667 | 12.88 | 270.133 | 25.781 | 889.15 | 29.328 | 49.5592
2019-06-23 19:45:00 | 11.58 | 268.893 | 12.94 | 272.417 | 13.276 | 276.333 | 13.46 | 271.433 | 25.594 | 889.733 | 31.112 | 68.964
2019-06-23 20:00:00 | 10.491 | 267.533 | 11.74 | 268.226 | 11.961 | 272.3 | 12.429 | 267.967 | 24.71 | 889.917 | 32.84 | 73.0477
2019-06-23 20:15:00 | 10.605 | 266.927 | 12.119 | 267.625 | 12.467 | 270.767 | 12.858 | 266.5 | 24.414 | 889.817 | 35.136 | 73.1855
2019-06-23 20:30:00 | 10.227 | 262.473 | 11.296 | 263.39 | 11.919 | 268.467 | 12.053 | 263.633 | 23.727 | 890.183 | 37.283 | 71.3359
2019-06-23 20:45:00 | 8.686 | 262.38 | 9.756 | 262.872 | 10.34 | 268.633 | 10.452 | 263.967 | 23.498 | 890.017 | 37.035 | 65.3267
2019-06-23 21:00:00 | 10.039 | 255.213 | 11.248 | 253.524 | 11.389 | 258.283 | 11.37 | 255.283 | 23.785 | 889.65 | 37.528 | 65.6556
2019-06-23 21:15:00 | 7.525 | 243.9 | 8.499 | 244.466 | 8.984 | 249.883 | 8.934 | 244.617 | 23.014 | 889.483 | 41.909 | 60.5488
2019-06-23 21:30:00 | 7.102 | 240.667 | 8.309 | 239.339 | 8.975 | 245.517 | 9.391 | 241.633 | 22.798 | 889.692 | 43.477 | 61.7632
2019-06-23 21:45:00 | 7.236 | 240.907 | 8.269 | 239.369 | 8.74 | 244.867 | 8.823 | 239.467 | 22.714 | 889.983 | 42.688 | 46.7198
2019-06-23 22:00:00 | 6.306 | 225.933 | 7.05 | 224.889 | 7.684 | 230.5 | 8.016 | 227.733 | 22.581 | 889.792 | 45.963 | 43.8697
2019-06-23 22:15:00 | 7.345 | 230.713 | 8.714 | 232.17 | 9.644 | 237.633 | 9.898 | 233.9 | 21.202 | 889.75 | 55.136 | 51.0656
2019-06-23 22:30:00 | 7.166 | 239.84 | 8.606 | 239.114 | 9.145 | 244.067 | 9.5 | 239.033 | 20.81 | 889.908 | 53.003 | 41.7316
2019-06-23 22:45:00 | 5.719 | 240.813 | 6.854 | 242.372 | 7.462 | 248.6 | 7.906 | 245.483 | 20.602 | 889.925 | 53.707 | 34.6586
2019-06-23 23:00:00 | 5.925 | 243.213 | 7.141 | 242.799 | 7.761 | 249.3 | 8.138 | 244 | 21.01 | 890.233 | 52.363 | 40.4277
2019-06-23 23:15:00 | 6.112 | 245.887 | 7.202 | 247.042 | 7.941 | 253.4 | 8.137 | 248.7 | 20.773 | 889.483 | 49.499 | 36.6212
2019-06-23 23:30:00 | 6.427 | 245.087 | 7.284 | 242.896 | 7.733 | 249.7 | 7.87 | 245.317 | 21.318 | 890.258 | 47.2 | 35.9234
2019-06-23 23:45:00 | 6.088 | 243.347 | 6.812 | 241.945 | 7.086 | 247.6 | 7.458 | 241.983 | 21.444 | 889.758 | 45.088 | 37.4334