## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-24 00:00:00 | 6.8 | 246.54 | 7.291 | 243.617 | 7.422 | 246.05 | 7.587 | 239.117 | 20.873 | 890.092 | 44.491 | 35.1738
2019-06-24 00:15:00 | 5.249 | 233.607 | 5.933 | 231.254 | 6.277 | 235.8 | 6.352 | 233.383 | 21.014 | 889.917 | 44.907 | 27.3483
2019-06-24 00:30:00 | 5.663 | 241.893 | 6.597 | 239.757 | 7.418 | 250.033 | 8.152 | 247.383 | 20.818 | 890.308 | 46.197 | 34.7815
2019-06-24 00:45:00 | 11.719 | 259.593 | 13.286 | 266.326 | 14.203 | 269.833 | 14.867 | 265.45 | 20.344 | 889.983 | 49.627 | 48.8408
2019-06-24 01:00:00 | 11.008 | 273.62 | 12.696 | 274.451 | 13.642 | 276.633 | 14.321 | 273.933 | 20.035 | 889.733 | 52.123 | 36.1742
2019-06-24 01:15:00 | 13.519 | 271.3 | 15.826 | 272.42 | 16.162 | 276.7 | 16.583 | 272.533 | 19.735 | 890.067 | 53.867 | 31.0638
2019-06-24 01:30:00 | 13.081 | 268.153 | 14.781 | 271.53 | 15.34 | 274.233 | 15.821 | 271.4 | 19.885 | 890.408 | 55.088 | 32.0295
2019-06-24 01:45:00 | 12.423 | 265.593 | 14.119 | 269.464 | 14.796 | 274.033 | 15.234 | 268.7 | 19.468 | 890.283 | 56.032 | 32.4274
2019-06-24 02:00:00 | 13.182 | 265.64 | 14.92 | 267.027 | 15.818 | 271.633 | 16.223 | 267.267 | 19.702 | 889.95 | 56.043 | 34.2948
2019-06-24 02:15:00 | 11.983 | 259.873 | 14.008 | 265.627 | 14.6 | 271.6 | 15.155 | 268.167 | 19.339 | 889.958 | 55.509 | 37.7915
2019-06-24 02:30:00 | 12.079 | 272.087 | 13.998 | 271.215 | 14.45 | 274.167 | 15.172 | 270.767 | 19.085 | 890.067 | 54.485 | 43.0049
2019-06-24 02:45:00 | 14.876 | 271.267 | 16.519 | 271.332 | 17.172 | 276.367 | 17.269 | 273 | 19.189 | 889.925 | 54.112 | 48.6575
2019-06-24 03:00:00 | 13.76 | 267.64 | 15.706 | 269.105 | 15.761 | 275.067 | 15.612 | 269.233 | 18.881 | 890.275 | 55.147 | 53.2875
2019-06-24 03:15:00 | 14.103 | 265.407 | 15.698 | 267.285 | 15.97 | 272.767 | 16.147 | 268 | 18.56 | 889.883 | 55.584 | 50.5184
2019-06-24 03:30:00 | 13.765 | 269.027 | 15.685 | 269.673 | 16.031 | 273.867 | 16.28 | 267.567 | 18.723 | 889.908 | 55.355 | 55.8314
2019-06-24 03:45:00 | 13.142 | 265.653 | 14.397 | 267.967 | 15.133 | 272.267 | 15.354 | 268.2 | 18.356 | 889.917 | 55.68 | 63.3378
2019-06-24 04:00:00 | 13.816 | 266.687 | 15.502 | 268.805 | 15.808 | 271.8 | 15.98 | 268.8 | 18.294 | 890.125 | 56.336 | 61.8754
2019-06-24 04:15:00 | 12.533 | 264.107 | 14.259 | 266.638 | 14.714 | 271.6 | 15.03 | 265.7 | 18.16 | 890.058 | 57.291 | 61.442
2019-06-24 04:30:00 | 13.472 | 265.553 | 15.096 | 265.495 | 15.948 | 271.1 | 16.03 | 265.267 | 17.494 | 889.792 | 58.571 | 61.5052
2019-06-24 04:45:00 | 14.468 | 265.68 | 16.3 | 267.624 | 16.536 | 272.567 | 16.729 | 268.367 | 17.631 | 890.108 | 59.589 | 61.5727
2019-06-24 05:00:00 | 13.383 | 263.633 | 14.62 | 266.069 | 15.07 | 271.767 | 15.79 | 265.933 | 17.277 | 890.15 | 61.483 | 61.9998
2019-06-24 05:15:00 | 13.256 | 260.353 | 14.505 | 264.382 | 14.8 | 268.433 | 15.315 | 264.55 | 16.914 | 889.992 | 62.288 | 60.9979
2019-06-24 05:30:00 | 11.046 | 267.46 | 12.923 | 264.652 | 13.386 | 269.65 | 13.592 | 264.283 | 17.514 | 889.858 | 62.331 | 60.8906
2019-06-24 05:45:00 | 10.894 | 266.84 | 12.514 | 265.266 | 13.337 | 269.633 | 13.983 | 266.05 | 16.914 | 890.192 | 68.64 | 61.2388
2019-06-24 06:00:00 | 11.692 | 266.88 | 12.938 | 268.908 | 13.541 | 273.367 | 14.594 | 268.233 | 16.664 | 889.975 | 63.632 | 60.1765
2019-06-24 06:15:00 | 11.44 | 265.287 | 13.434 | 265.553 | 14.146 | 271.4 | 14.322 | 267.233 | 16.948 | 890.283 | 63.979 | 60.1765
2019-06-24 06:30:00 | 11.653 | 270.187 | 12.836 | 269.36 | 13.336 | 272.667 | 13.878 | 269.267 | 16.914 | 889.583 | 63.701 | 59.0296
2019-06-24 06:45:00 | 10.66 | 270.16 | 11.816 | 269.444 | 12.498 | 275.333 | 12.905 | 270.567 | 16.764 | 889.675 | 63.536 | 61.1336
2019-06-24 07:00:00 | 10.614 | 272.693 | 12.028 | 271.26 | 12.426 | 274.867 | 12.847 | 271.8 | 16.998 | 889.625 | 63.232 | 60.8359
2019-06-24 07:15:00 | 12.102 | 272.493 | 12.908 | 270.353 | 13.593 | 275.133 | 13.897 | 269.967 | 16.798 | 889.883 | 62.597 | 59.1035
2019-06-24 07:30:00 | 12.597 | 264.393 | 14.108 | 265.914 | 14.726 | 270.933 | 14.831 | 266.367 | 16.581 | 889.775 | 65.696 | 59.8787
2019-06-24 07:45:00 | 11.622 | 263.633 | 13.055 | 264.748 | 13.264 | 268 | 13.414 | 264.9 | 16.077 | 890.283 | 73.589 | 60.7925
2019-06-24 08:00:00 | 11.171 | 263.333 | 12.384 | 264.026 | 12.977 | 267.7 | 13.167 | 265.35 | 15.62 | 890.042 | 77.947 | 60.9368
2019-06-24 08:15:00 | 9.401 | 265.5 | 10.865 | 264.379 | 11.474 | 270.5 | 11.916 | 265.917 | 14.896 | 889.683 | 82.768 | 69.5758
2019-06-24 08:30:00 | 8.702 | 271.073 | 10.104 | 268.824 | 10.537 | 276.067 | 11.027 | 270.933 | 15.155 | 890.058 | 79.403 | 71.9491
2019-06-24 08:45:00 | 9.824 | 273.347 | 10.93 | 268.574 | 11.641 | 274.867 | 11.848 | 269.3 | 15.82 | 889.908 | 73.947 | 73.01
2019-06-24 09:00:00 | 11.008 | 272.32 | 11.892 | 270.541 | 12.45 | 274.433 | 12.915 | 269.533 | 16.155 | 889.392 | 72.288 | 72.5936
2019-06-24 09:15:00 | 12.031 | 272.82 | 12.928 | 270.731 | 13.478 | 275.833 | 13.549 | 271.433 | 16.464 | 889.958 | 66.997 | 72.9411
2019-06-24 09:30:00 | 10.941 | 270.947 | 12.149 | 269.016 | 12.546 | 272.9 | 12.744 | 270.4 | 16.681 | 889.85 | 68.016 | 71.1625
2019-06-24 09:45:00 | 11.548 | 273.987 | 12.691 | 269.914 | 12.94 | 273.633 | 13.437 | 269.7 | 16.664 | 889.758 | 70.331 | 70.8968
2019-06-24 10:00:00 | 11.766 | 269.507 | 12.94 | 269.388 | 13.168 | 274.3 | 13.442 | 270.5 | 16.681 | 889.858 | 69.013 | 71.1561
2019-06-24 10:15:00 | 11.469 | 268.933 | 12.92 | 267.727 | 13.004 | 272.367 | 13.177 | 268.2 | 16.781 | 889.875 | 67.147 | 70.4655
2019-06-24 10:30:00 | 11.259 | 276.353 | 12.524 | 273.255 | 12.65 | 277.667 | 13.001 | 271.5 | 17.223 | 890.108 | 62.752 | 70.668
2019-06-24 10:45:00 | 11.712 | 273.653 | 12.27 | 269.488 | 12.565 | 273.867 | 12.868 | 269.633 | 17.902 | 890 | 59.163 | 70.6133
2019-06-24 11:00:00 | 11.065 | 273.14 | 12.328 | 268.224 | 12.438 | 275.267 | 12.8 | 270.167 | 18.477 | 889.925 | 56.459 | 69.7705
2019-06-24 11:15:00 | 9.917 | 275.673 | 10.479 | 273.364 | 10.521 | 277.133 | 10.646 | 272.367 | 18.194 | 889.633 | 58.661 | 65.6478
2019-06-24 11:30:00 | 12.406 | 275.733 | 13.433 | 273.065 | 13.872 | 277.067 | 13.893 | 273.533 | 18.673 | 889.875 | 53.253 | 68.0872
2019-06-24 11:45:00 | 11.38 | 273.073 | 12.648 | 270.135 | 12.572 | 274.533 | 12.76 | 269.733 | 19.289 | 889.742 | 51.211 | 69.3812
2019-06-24 12:00:00 | 11.722 | 268.64 | 12.634 | 268.74 | 12.827 | 273.733 | 13.094 | 270.167 | 19.127 | 889.9 | 52.603 | 70.7227
2019-06-24 12:15:00 | 11.405 | 268.36 | 12.244 | 267.355 | 12.294 | 271.967 | 12.558 | 267.017 | 18.523 | 890.15 | 55.2 | 70.258
2019-06-24 12:30:00 | 10.314 | 260.087 | 11.26 | 263.049 | 11.796 | 268.767 | 11.843 | 265.067 | 19.102 | 889.742 | 51.163 | 68.7793
2019-06-24 12:45:00 | 10.01 | 263.007 | 10.925 | 267.782 | 10.994 | 272.033 | 10.971 | 268.767 | 20.498 | 889.675 | 45.749 | 70.2152
2019-06-24 13:00:00 | 9.874 | 264.6 | 10.758 | 264.968 | 10.387 | 269.667 | 10.39 | 265.05 | 21.102 | 889.825 | 45.184 | 64.7489
2019-06-24 13:15:00 | 7.702 | 255.727 | 8.529 | 259.79 | 8.55 | 263.15 | 8.834 | 259.65 | 21.564 | 889.85 | 42.053 | 47.9442
2019-06-24 13:30:00 | 8.644 | 269.287 | 9.053 | 271.663 | 9.181 | 275.9 | 9.731 | 271.133 | 21.668 | 889.633 | 39.477 | 48.305
2019-06-24 13:45:00 | 9.873 | 281.8 | 10.852 | 279.491 | 10.938 | 282.6 | 11.057 | 280.833 | 22.677 | 889.583 | 33.056 | 58.3368
2019-06-24 14:00:00 | 10.182 | 281.773 | 10.619 | 281.445 | 10.81 | 283.733 | 11.128 | 281.9 | 22.781 | 889.967 | 34.496 | 55.3098
2019-06-24 14:15:00 | 8.57 | 266.133 | 9.232 | 266.938 | 9.373 | 270.267 | 9.913 | 267.05 | 23.081 | 889.767 | 31.973 | 52.6487
2019-06-24 14:30:00 | 10.442 | 300.027 | 10.926 | 293.817 | 11.285 | 297.567 | 11.619 | 295.6 | 23.223 | 889.783 | 30.325 | 54.514
2019-06-24 14:45:00 | 9.432 | 286.293 | 10.213 | 285.921 | 10.57 | 291.633 | 10.659 | 288.867 | 23.964 | 889.8 | 29.269 | 51.9687
2019-06-24 15:00:00 | 10.55 | 294.813 | 11.606 | 290.759 | 11.607 | 291.033 | 11.811 | 289.167 | 24.135 | 889.467 | 26.189 | 50.7153
2019-06-24 15:15:00 | 9.615 | 291.013 | 10.255 | 287.502 | 10.506 | 292.167 | 10.394 | 289.467 | 24.527 | 889.717 | 25.256 | 47.0345
2019-06-24 15:30:00 | 11.834 | 289.72 | 12.465 | 286.62 | 12.626 | 292.133 | 12.95 | 288.533 | 24.781 | 889.833 | 24.968 | 47.5788
2019-06-24 15:45:00 | 10.346 | 287 | 11.172 | 286.769 | 11.544 | 293.067 | 11.857 | 293.167 | 24.744 | 889.917 | 23.501 | 46.1975
2019-06-24 16:00:00 | 10.154 | 282.467 | 10.966 | 282.46 | 10.899 | 288.3 | 10.868 | 287.3 | 24.902 | 889.967 | 22.885 | 45.6226
2019-06-24 16:15:00 | 10.813 | 288.373 | 11.544 | 287.176 | 11.919 | 291.567 | 12.265 | 286.7 | 25.281 | 889.983 | 23.643 | 47.2577
2019-06-24 16:30:00 | 8.584 | 306.667 | 9.058 | 302.328 | 9.646 | 307.567 | 10.041 | 303.2 | 25.289 | 889.617 | 22.189 | 48.904
2019-06-24 16:45:00 | 10.166 | 281.687 | 10.734 | 280.245 | 10.758 | 285.45 | 11.002 | 282.1 | 25.502 | 889.95 | 21.973 | 54.4607
2019-06-24 17:00:00 | 9.439 | 289.353 | 9.954 | 288.904 | 10.123 | 293.4 | 10.624 | 293.567 | 25.814 | 889.617 | 22.189 | 53.8403
2019-06-24 17:15:00 | 9.298 | 290.313 | 9.936 | 290.393 | 10.082 | 295.267 | 10.039 | 295.033 | 25.406 | 889.55 | 23.893 | 44.6655
2019-06-24 17:30:00 | 12.717 | 290.107 | 13.324 | 289.587 | 13.459 | 291.833 | 13.621 | 288.3 | 26.01 | 889.867 | 21.803 | 42.3512
2019-06-24 17:45:00 | 12.962 | 293.46 | 13.902 | 292.034 | 14.359 | 298.433 | 14.865 | 297 | 26.231 | 889.583 | 22.48 | 41.8119
2019-06-24 18:00:00 | 10.688 | 296.227 | 11.099 | 294.922 | 11.457 | 298.933 | 11.569 | 297.367 | 26.252 | 889.8 | 22.419 | 41.9426
2019-06-24 18:15:00 | 10.537 | 285.887 | 11.978 | 287.957 | 12.424 | 291.3 | 12.783 | 288.633 | 25.535 | 889.967 | 23.621 | 42.8926
2019-06-24 18:30:00 | 11.718 | 286.24 | 12.984 | 287.594 | 13.3 | 293.633 | 13.537 | 292.767 | 26.148 | 889.45 | 20.765 | 45.3498
2019-06-24 18:45:00 | 12.841 | 290.96 | 13.952 | 290.784 | 14.129 | 297.267 | 14.448 | 293.4 | 26.114 | 889.95 | 20.981 | 47.4019
2019-06-24 19:00:00 | 12.735 | 291.133 | 13.912 | 290.031 | 13.935 | 295.467 | 14.242 | 290.7 | 25.985 | 889.617 | 20.255 | 52.2117
2019-06-24 19:15:00 | 12.779 | 298.547 | 14.132 | 297.256 | 14.484 | 302.633 | 15.298 | 300 | 25.981 | 889.4 | 18.837 | 60.2198
2019-06-24 19:30:00 | 12.862 | 298 | 13.665 | 295.706 | 14.218 | 297.667 | 14.784 | 295.1 | 25.831 | 889.5 | 18.715 | 71.3146
2019-06-24 19:45:00 | 12.241 | 288.06 | 12.973 | 286.304 | 13.119 | 289.6 | 13.224 | 289.433 | 25.594 | 889.267 | 18.971 | 68.7239
2019-06-24 20:00:00 | 12.452 | 284.68 | 14.133 | 285.458 | 14.468 | 288.567 | 14.63 | 287.167 | 25.831 | 889.8 | 19.264 | 68.8226
2019-06-24 20:15:00 | 12.136 | 297.64 | 13.212 | 294.881 | 13.943 | 301.467 | 14.554 | 299.333 | 25.248 | 889.7 | 20.099 | 68.8568
2019-06-24 20:30:00 | 13.154 | 289.653 | 14.555 | 288.825 | 15.247 | 293.833 | 15.607 | 293.267 | 24.973 | 889.883 | 21.451 | 69.3776
2019-06-24 20:45:00 | 12.323 | 292.333 | 12.927 | 291.764 | 13.443 | 298.1 | 14.114 | 294.667 | 24.664 | 889.733 | 22.211 | 70.4477
2019-06-24 21:00:00 | 11.918 | 296.027 | 12.713 | 294.64 | 13.123 | 300.1 | 13.46 | 297.033 | 24.268 | 889.783 | 23.171 | 69.6533
2019-06-24 21:15:00 | 9.744 | 293.333 | 10.681 | 288.897 | 11.252 | 294.5 | 11.514 | 291.267 | 24.01 | 889.933 | 24.096 | 69.919
2019-06-24 21:30:00 | 8.723 | 291.907 | 10.105 | 286.186 | 10.745 | 293.667 | 11.326 | 292.1 | 23.581 | 889.967 | 25.293 | 73.0946
2019-06-24 21:45:00 | 8.62 | 292.64 | 10.259 | 292.737 | 11.21 | 298.467 | 12.058 | 295.9 | 23.564 | 889.7 | 25.92 | 68.7864
2019-06-24 22:00:00 | 7.26 | 286.707 | 8.402 | 286.588 | 8.72 | 292.533 | 9.125 | 289.667 | 23.048 | 889.767 | 26.805 | 47.5653
2019-06-24 22:15:00 | 5.888 | 293.027 | 7.181 | 291.995 | 7.694 | 297.867 | 8.086 | 295.433 | 22.698 | 889.95 | 27.336 | 36.6127
2019-06-24 22:30:00 | 6.097 | 288.067 | 7.355 | 287.72 | 7.865 | 293.4 | 8.329 | 290.7 | 22.531 | 889.75 | 28.069 | 29.6015
2019-06-24 22:45:00 | 5.766 | 290.933 | 7.037 | 289.928 | 7.47 | 297.233 | 8.031 | 294.867 | 22.244 | 889.617 | 28.291 | 22.3182
2019-06-24 23:00:00 | 4.261 | 296.867 | 5.267 | 293.852 | 5.614 | 300 | 6.072 | 297.567 | 21.818 | 889.733 | 29.011 | 12.1628
2019-06-24 23:15:00 | 4.016 | 279.373 | 5.25 | 282.584 | 5.55 | 289.533 | 6.033 | 288.833 | 21.077 | 889.333 | 30.136 | 11.5055
2019-06-24 23:30:00 | 3.836 | 305.68 | 4.901 | 303.906 | 5.261 | 309.4 | 5.643 | 307.733 | 20.606 | 889.533 | 30.755 | 12.2708
2019-06-24 23:45:00 | 4.085 | 285.107 | 5.368 | 289.42 | 5.914 | 296.767 | 6.56 | 295.6 | 20.652 | 889.25 | 31.299 | 14.2369