## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-25 00:00:00 | 3.78 | 279.44 | 4.86 | 276.674 | 5.188 | 283.033 | 5.676 | 282.8 | 20.431 | 889.917 | 31.827 | 11.6689
2019-06-25 00:15:00 | 4.5 | 259.533 | 5.381 | 270.572 | 5.564 | 279.967 | 5.845 | 280.333 | 19.76 | 889.633 | 32.979 | 11.7243
2019-06-25 00:30:00 | 5.047 | 239.727 | 5.469 | 248.736 | 5.724 | 256.833 | 5.82 | 255.783 | 19.356 | 889.55 | 34.243 | 14.9183
2019-06-25 00:45:00 | 4.629 | 237.04 | 5.998 | 242.945 | 5.868 | 251.833 | 5.874 | 249.7 | 18.027 | 889.8 | 36.341 | 19.9321
2019-06-25 01:00:00 | 5.51 | 240.887 | 7.076 | 241.773 | 7.114 | 249.533 | 6.964 | 245.767 | 18.394 | 889.733 | 37.269 | 25.0055
2019-06-25 01:15:00 | 5.386 | 248.347 | 6.882 | 246.996 | 6.699 | 255.467 | 6.506 | 251.967 | 18.364 | 889.717 | 37.877 | 27.5053
2019-06-25 01:30:00 | 5.653 | 246.493 | 6.412 | 247.169 | 6.376 | 254.133 | 6.322 | 250.583 | 17.998 | 889.533 | 38.613 | 23.8956
2019-06-25 01:45:00 | 4.719 | 246.467 | 6.274 | 244.406 | 6.031 | 252.767 | 5.841 | 249.033 | 17.539 | 889.9 | 39.248 | 19.8291
2019-06-25 02:00:00 | 3.904 | 258.693 | 5.625 | 251.518 | 5.732 | 258.25 | 5.625 | 255.45 | 17.314 | 889.683 | 40.293 | 20.75
2019-06-25 02:15:00 | 4.752 | 250.353 | 5.896 | 250.509 | 5.673 | 257.367 | 5.735 | 253.033 | 17.098 | 889.917 | 40.741 | 23.1602
2019-06-25 02:30:00 | 5.349 | 247.2 | 6.518 | 246.891 | 6.488 | 253.833 | 6.518 | 251.283 | 17.264 | 889.633 | 40.581 | 26.453
2019-06-25 02:45:00 | 5.016 | 245.553 | 6.463 | 242.998 | 6.705 | 253.267 | 6.479 | 251.833 | 16.631 | 889.775 | 41.029 | 19.7182
2019-06-25 03:00:00 | 4.946 | 239.487 | 6.36 | 241.352 | 6.312 | 249.833 | 5.985 | 247 | 16.831 | 889.767 | 42.443 | 18.29
2019-06-25 03:15:00 | 5.751 | 241.927 | 6.841 | 243.425 | 6.976 | 250 | 6.758 | 245.033 | 16.531 | 890.4 | 43.403 | 24.5025
2019-06-25 03:30:00 | 5.281 | 242.913 | 6.524 | 244.964 | 6.353 | 254.467 | 6.209 | 252.317 | 16.153 | 889.817 | 43.424 | 18.5977
2019-06-25 03:45:00 | 4.394 | 245.027 | 5.864 | 245.001 | 5.636 | 253.6 | 5.17 | 251.867 | 16.598 | 889.958 | 42.475 | 18.1088
2019-06-25 04:00:00 | 4.699 | 253.987 | 5.301 | 256.172 | 5.215 | 264.367 | 5.257 | 263.967 | 16.948 | 889.925 | 41.136 | 15.7668
2019-06-25 04:15:00 | 4.09 | 249.387 | 5.092 | 250.737 | 4.926 | 257.733 | 4.965 | 255.283 | 17.081 | 890 | 40.437 | 16.3885
2019-06-25 04:30:00 | 5.03 | 254.187 | 5.692 | 257.514 | 5.728 | 264.067 | 5.902 | 259.133 | 17.081 | 890.167 | 40.003 | 26.1076
2019-06-25 04:45:00 | 5.036 | 246.487 | 6.45 | 247.571 | 6.816 | 255.4 | 6.975 | 252.1 | 16.631 | 889.683 | 39.915 | 32.4516
2019-06-25 05:00:00 | 5.865 | 242.613 | 6.762 | 249.621 | 6.98 | 256.833 | 7.077 | 252.567 | 16.464 | 889.817 | 39.92 | 28.4063
2019-06-25 05:15:00 | 5.968 | 238.013 | 7.179 | 240.086 | 7.044 | 246.867 | 6.938 | 242.667 | 16.664 | 890.05 | 40.379 | 29.6058
2019-06-25 05:30:00 | 6.127 | 225.88 | 7.144 | 232.716 | 7.189 | 241.933 | 7.262 | 238.367 | 16.086 | 889.9 | 41.931 | 28.0809
2019-06-25 05:45:00 | 5.733 | 227.52 | 7.159 | 232.502 | 7.329 | 240.933 | 7.345 | 236.6 | 15.459 | 889.742 | 44.107 | 31.2628
2019-06-25 06:00:00 | 5.565 | 225.44 | 6.898 | 234.82 | 7.356 | 245.367 | 7.464 | 242.333 | 15.72 | 889.683 | 43.691 | 30.6666
2019-06-25 06:15:00 | 5.858 | 226.06 | 7.061 | 231.739 | 7.362 | 241.933 | 7.492 | 238.2 | 15.858 | 889.875 | 41.717 | 29.2128
2019-06-25 06:30:00 | 5.094 | 229.833 | 6.829 | 233.222 | 7.294 | 243.767 | 7.38 | 240.833 | 15.918 | 889.983 | 41.083 | 28.6991
2019-06-25 06:45:00 | 5.352 | 228.547 | 6.949 | 231.95 | 7.315 | 242.667 | 7.326 | 239.233 | 16.431 | 890.108 | 40.491 | 28.093
2019-06-25 07:00:00 | 5.594 | 222.973 | 7.339 | 226.878 | 7.473 | 237.533 | 7.475 | 235.067 | 17.114 | 889.533 | 38.549 | 28.1598
2019-06-25 07:15:00 | 5.51 | 224.927 | 7.173 | 225.93 | 7.551 | 234.1 | 7.464 | 231.8 | 17.998 | 889.567 | 36.928 | 22.6905
2019-06-25 07:30:00 | 4.233 | 218.82 | 5.11 | 220.721 | 5.83 | 229 | 6.596 | 227.7 | 18.914 | 889.767 | 34.885 | 18.5515
2019-06-25 07:45:00 | 5.155 | 232.353 | 5.649 | 231.321 | 6.02 | 239 | 6.321 | 235.667 | 20.294 | 889.583 | 30.88 | 15.6616
2019-06-25 08:00:00 | 5.432 | 243.073 | 5.765 | 241.597 | 6.26 | 244.667 | 6.529 | 237.733 | 21.256 | 889.75 | 27.904 | 14.6604
2019-06-25 08:15:00 | 6.094 | 245.833 | 6.266 | 243.965 | 6.375 | 246.367 | 6.402 | 238.667 | 22.06 | 889.917 | 26.789 | 20.9845
2019-06-25 08:30:00 | 6.818 | 247.173 | 7.332 | 249.179 | 7.467 | 252.9 | 7.277 | 248.283 | 22.327 | 889.583 | 25.979 | 25.9598
2019-06-25 08:45:00 | 6.6 | 255.4 | 7.152 | 260.219 | 7.242 | 264.883 | 7.339 | 258.8 | 22.481 | 889.75 | 26.584 | 28.4411
2019-06-25 09:00:00 | 7.771 | 268.653 | 8.508 | 274.679 | 8.76 | 279.5 | 9.158 | 278.333 | 21.989 | 889.933 | 28.557 | 39.5331
2019-06-25 09:15:00 | 8.47 | 271.567 | 9.116 | 274.86 | 9.323 | 279.967 | 9.363 | 275.767 | 22.002 | 889.7 | 29.205 | 42.8671
2019-06-25 09:30:00 | 8.74 | 294.973 | 9.172 | 290.872 | 9.609 | 295.533 | 9.897 | 290.5 | 22.048 | 889.8 | 28.837 | 47.0189
2019-06-25 09:45:00 | 7.896 | 269.687 | 8.644 | 272 | 8.775 | 277.3 | 9.023 | 272.933 | 22.848 | 889.583 | 28.701 | 33.8954
2019-06-25 10:00:00 | 7.582 | 282.267 | 8.033 | 281.187 | 8.346 | 286.667 | 8.681 | 282.5 | 23.164 | 889.533 | 27.331 | 45.1075
2019-06-25 10:15:00 | 9.472 | 274.74 | 9.997 | 276.049 | 10.055 | 280.267 | 10.148 | 276.6 | 22.631 | 889.617 | 27.797 | 43.0589
2019-06-25 10:30:00 | 7.254 | 275.82 | 7.721 | 277.075 | 7.987 | 282.9 | 7.994 | 276.533 | 22.964 | 889.95 | 27.509 | 41.8005
2019-06-25 10:45:00 | 7.272 | 308.533 | 7.566 | 302.035 | 7.563 | 304.533 | 8.04 | 301.867 | 22.498 | 889.533 | 28.291 | 51.197
2019-06-25 11:00:00 | 8.367 | 301 | 8.528 | 297.654 | 8.942 | 302.067 | 9.221 | 299.533 | 22.648 | 889.95 | 27.88 | 68.9051
2019-06-25 11:15:00 | 12.26 | 303.893 | 12.866 | 301.004 | 13.185 | 306.1 | 13.483 | 304.533 | 22.206 | 890.117 | 27.768 | 70.8662
2019-06-25 11:30:00 | 14.855 | 299.8 | 15.928 | 297.271 | 16.779 | 302.2 | 17.658 | 301.8 | 21.394 | 889.35 | 29.419 | 68.8489
2019-06-25 11:45:00 | 13.808 | 300.653 | 14.658 | 295.416 | 15.53 | 299.8 | 15.955 | 296.3 | 19.914 | 889.933 | 34.389 | 69.7364
2019-06-25 12:00:00 | 11.784 | 282.68 | 12.793 | 283.754 | 12.951 | 287.067 | 12.97 | 284.433 | 19.21 | 889.608 | 40.832 | 66.4721
2019-06-25 12:15:00 | 9.126 | 279.847 | 9.791 | 278.097 | 10.133 | 282.967 | 10.369 | 280.1 | 19.518 | 889.9 | 37.371 | 65.5356
2019-06-25 12:30:00 | 11.18 | 269.073 | 11.843 | 271.27 | 11.667 | 275.7 | 11.81 | 270.8 | 20.939 | 889.667 | 34.461 | 68.6571
2019-06-25 12:45:00 | 12.209 | 272.627 | 13.128 | 274.091 | 13.134 | 278.667 | 13.449 | 275.7 | 21.864 | 889.667 | 33.083 | 65.9342
2019-06-25 13:00:00 | 15.882 | 273.2 | 17.628 | 274.493 | 17.828 | 278.167 | 18.047 | 276.667 | 22.11 | 889.8 | 35.851 | 58.7276
2019-06-25 13:15:00 | 16.771 | 280.36 | 18.34 | 278.101 | 18.622 | 281 | 18.659 | 278.567 | 20.281 | 889.65 | 41.221 | 57.3264
2019-06-25 13:30:00 | 18.034 | 284.427 | 19.008 | 282.285 | 19.518 | 285.267 | 19.562 | 283.4 | 18.985 | 889.858 | 47.301 | 57.2262
2019-06-25 13:45:00 | 14.929 | 267.78 | 16.279 | 271.138 | 16.717 | 274.033 | 17.139 | 271.533 | 18.606 | 890.175 | 47.813 | 56.1532
2019-06-25 14:00:00 | 15.63 | 277.667 | 17.244 | 278.741 | 17.676 | 281.7 | 17.641 | 278.133 | 18.573 | 890.133 | 46.469 | 57.0379
2019-06-25 14:15:00 | 15.201 | 283.78 | 16.923 | 281.637 | 17.096 | 284.267 | 17.508 | 280.967 | 18.335 | 889.717 | 46.421 | 60.5467
2019-06-25 14:30:00 | 16.289 | 275.493 | 17.463 | 278.693 | 18.047 | 283.133 | 18.459 | 280.967 | 19.681 | 889.7 | 41.712 | 63.6575
2019-06-25 14:45:00 | 16.782 | 274.673 | 18.076 | 277.478 | 18.47 | 280.767 | 18.904 | 278 | 20.939 | 889.6 | 38.379 | 65.2272
2019-06-25 15:00:00 | 15.594 | 278.62 | 16.895 | 279.192 | 16.85 | 283.933 | 17.31 | 281.433 | 21.294 | 889.683 | 37.221 | 70.5849
2019-06-25 15:15:00 | 15.086 | 289.653 | 16.615 | 287.828 | 16.801 | 291.633 | 16.866 | 290.1 | 21.502 | 889.667 | 34.659 | 70.1812
2019-06-25 15:30:00 | 13.918 | 297.16 | 14.848 | 294.992 | 15.184 | 299.4 | 15.893 | 298.133 | 22.168 | 889.583 | 33.269 | 70.0633
2019-06-25 15:45:00 | 14.311 | 282.467 | 15.284 | 282.251 | 15.323 | 286.633 | 15.705 | 284.767 | 21.802 | 889.633 | 33.405 | 70.592
2019-06-25 16:00:00 | 14.207 | 286.773 | 14.908 | 286.749 | 15.558 | 290.733 | 16.102 | 288.733 | 22.098 | 889.833 | 33.168 | 69.9738
2019-06-25 16:15:00 | 13.753 | 280.307 | 14.805 | 281.906 | 15.158 | 285.967 | 15.493 | 282.5 | 21.852 | 889.483 | 34.317 | 70.317
2019-06-25 16:30:00 | 12.088 | 287.187 | 12.893 | 288.128 | 12.816 | 293.133 | 13.207 | 289.467 | 22.264 | 889.667 | 32.928 | 70.1891
2019-06-25 16:45:00 | 12.612 | 276.253 | 13.52 | 279.465 | 13.746 | 282.5 | 14.395 | 280.733 | 22.152 | 889.367 | 33.147 | 68.7388
2019-06-25 17:00:00 | 13.763 | 287.427 | 14.205 | 286.989 | 14.287 | 291.6 | 14.914 | 291.533 | 22.168 | 890.1 | 33.624 | 64.2189
2019-06-25 17:15:00 | 11.915 | 292.24 | 13.143 | 291.322 | 12.899 | 295.067 | 13.493 | 292.533 | 22.152 | 889.75 | 34.424 | 56.9171
2019-06-25 17:30:00 | 12.162 | 281.8 | 13.005 | 281.782 | 13.105 | 287.133 | 13.47 | 285.1 | 22.106 | 889.817 | 33.704 | 57.6049
2019-06-25 17:45:00 | 11.852 | 287.8 | 13.248 | 286.182 | 13.409 | 289.567 | 13.91 | 286.4 | 22.481 | 889.883 | 32.923 | 60.3889
2019-06-25 18:00:00 | 13.152 | 288.68 | 13.942 | 290.406 | 14.386 | 295.9 | 15.147 | 294.333 | 22.102 | 890 | 33.144 | 63.288
2019-06-25 18:15:00 | 11.701 | 287.573 | 12.636 | 287.053 | 13.126 | 289.667 | 13.619 | 287.3 | 22.598 | 889.633 | 32.32 | 69.7393
2019-06-25 18:30:00 | 12.668 | 286.547 | 13.699 | 290.1 | 14.035 | 294.267 | 14.522 | 291.367 | 22.427 | 889.617 | 30.76 | 69.2604
2019-06-25 18:45:00 | 12.457 | 282.24 | 13.382 | 284.326 | 14.066 | 287.4 | 14.613 | 284.533 | 22.548 | 889.517 | 30.435 | 69.5638
2019-06-25 19:00:00 | 14.014 | 276.8 | 14.917 | 278.19 | 15.118 | 282.167 | 15.655 | 279.7 | 22.531 | 889.55 | 30.717 | 69.6249
2019-06-25 19:15:00 | 12.681 | 287.333 | 13.792 | 284.754 | 14.432 | 289.833 | 15.155 | 288.5 | 22.781 | 889.833 | 30.653 | 69.821
2019-06-25 19:30:00 | 12.279 | 282.2 | 13.778 | 282.43 | 14.078 | 286.567 | 14.332 | 284.633 | 22.498 | 890.267 | 31.285 | 71.4219
2019-06-25 19:45:00 | 11.871 | 288.627 | 12.922 | 287.86 | 13.565 | 291.233 | 14.106 | 289 | 22.402 | 889.75 | 31.595 | 70.1727
2019-06-25 20:00:00 | 10.479 | 283.853 | 11.517 | 284.64 | 12.118 | 287.933 | 12.467 | 286.767 | 22.331 | 889.35 | 32.283 | 68.6258
2019-06-25 20:15:00 | 12.51 | 266.993 | 13.757 | 268.81 | 14.057 | 275.867 | 14.343 | 271.633 | 22.202 | 889.433 | 32.771 | 68.7935
2019-06-25 20:30:00 | 11.655 | 268.46 | 13.357 | 274.882 | 13.427 | 278.7 | 13.908 | 275.267 | 21.731 | 889.483 | 32.877 | 68.1846
2019-06-25 20:45:00 | 11.216 | 284.253 | 12.468 | 282.677 | 12.894 | 286.067 | 13.498 | 283.533 | 21.618 | 889.95 | 33 | 66.6661
2019-06-25 21:00:00 | 11.325 | 276.453 | 12.319 | 275.593 | 12.744 | 279.7 | 13.217 | 276.467 | 21.502 | 889.933 | 34.061 | 64.8669
2019-06-25 21:15:00 | 11.65 | 272.707 | 13.054 | 274.871 | 13.394 | 280.4 | 14.129 | 279.333 | 21.573 | 889.733 | 34.848 | 59.6968
2019-06-25 21:30:00 | 10.008 | 275.34 | 11.187 | 280.833 | 11.723 | 284.633 | 12.32 | 283.733 | 21.068 | 889.683 | 35.853 | 59.1241
2019-06-25 21:45:00 | 9.073 | 275.187 | 10.189 | 274.058 | 11.255 | 278.433 | 11.63 | 275.533 | 20.323 | 889.583 | 36.773 | 68.8148
2019-06-25 22:00:00 | 9.601 | 266.573 | 10.867 | 271.837 | 11.796 | 275.567 | 12.501 | 272.2 | 20.273 | 889.533 | 36.872 | 59.8084
2019-06-25 22:15:00 | 7.968 | 266.173 | 9.098 | 269.07 | 9.599 | 274.8 | 10.042 | 271.633 | 20.235 | 889.2 | 37.267 | 53.7885
2019-06-25 22:30:00 | 6.603 | 263.953 | 7.559 | 263.054 | 7.932 | 269.533 | 8.372 | 263.8 | 20.06 | 890.017 | 37.363 | 48.6269
2019-06-25 22:45:00 | 7.208 | 258.22 | 8.269 | 263.338 | 8.578 | 267.117 | 8.745 | 263.117 | 19.935 | 889.667 | 37.531 | 45.9836
2019-06-25 23:00:00 | 6.53 | 257.267 | 7.664 | 259.102 | 8.104 | 264.2 | 8.195 | 259.783 | 19.598 | 890.017 | 38.203 | 53.9277
2019-06-25 23:15:00 | 7.412 | 259.953 | 9.067 | 261.443 | 9.428 | 267.233 | 9.67 | 263.117 | 18.889 | 889.75 | 38.171 | 61.1862
2019-06-25 23:30:00 | 7.136 | 252.593 | 8.294 | 253.759 | 8.562 | 260.133 | 8.691 | 257.35 | 18.985 | 889.75 | 38.555 | 56.5398
2019-06-25 23:45:00 | 6.862 | 248.267 | 8.272 | 253.871 | 8.647 | 258.533 | 8.943 | 255.467 | 18.623 | 889.483 | 39.363 | 61.2672