## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-26 00:00:00 | 7.076 | 256.647 | 8.331 | 255.848 | 8.794 | 260.533 | 8.872 | 255.733 | 18.806 | 889.767 | 39.885 | 59.6194
2019-06-26 00:15:00 | 7.328 | 250.747 | 8.458 | 255.184 | 8.698 | 259.133 | 8.747 | 256.617 | 18.431 | 889.583 | 40.483 | 58.8605
2019-06-26 00:30:00 | 6.946 | 246.533 | 7.931 | 245.262 | 8.434 | 250.55 | 8.451 | 246.717 | 17.977 | 889.717 | 41.024 | 57.6774
2019-06-26 00:45:00 | 6.539 | 241.72 | 7.56 | 241.478 | 8.035 | 247.133 | 8.155 | 244.067 | 18.206 | 890.017 | 41.44 | 57.8792
2019-06-26 01:00:00 | 6.632 | 251.16 | 7.677 | 251.644 | 8.33 | 256.617 | 8.599 | 252.233 | 18.01 | 890.25 | 41.995 | 50.2619
2019-06-26 01:15:00 | 7.061 | 254.44 | 8.296 | 259.099 | 8.886 | 264.5 | 9.09 | 263.05 | 17.889 | 890.142 | 42.411 | 47.2292
2019-06-26 01:30:00 | 6.149 | 258.26 | 7.413 | 258.047 | 7.815 | 263.767 | 8.098 | 260.117 | 18.168 | 889.733 | 42.592 | 40.1626
2019-06-26 01:45:00 | 5.474 | 255.567 | 6.343 | 255.124 | 6.777 | 261.25 | 7.042 | 259.1 | 18.018 | 889.9 | 43.195 | 38.2953
2019-06-26 02:00:00 | 5.88 | 252.547 | 6.88 | 256.526 | 7.099 | 264.067 | 7.297 | 259.9 | 17.444 | 889.767 | 44.272 | 31.1555
2019-06-26 02:15:00 | 4.947 | 265.18 | 6.068 | 263.922 | 6.608 | 270.2 | 6.839 | 266.333 | 17.077 | 889.45 | 44.464 | 22.8355
2019-06-26 02:30:00 | 4.16 | 267.433 | 5.442 | 268.186 | 6.029 | 273.267 | 6.37 | 267.933 | 17.114 | 889.633 | 44.469 | 19.1619
2019-06-26 02:45:00 | 4.499 | 257.187 | 5.844 | 260.383 | 6.383 | 266.467 | 6.734 | 262.983 | 17.014 | 890.375 | 45.317 | 21.8485
2019-06-26 03:00:00 | 5.816 | 256.733 | 6.811 | 260.698 | 7.373 | 265.5 | 7.812 | 261.5 | 17.181 | 889.558 | 44.533 | 27.047
2019-06-26 03:15:00 | 6.101 | 255.447 | 7.495 | 259.745 | 7.774 | 265.433 | 7.866 | 262.5 | 17.181 | 889.733 | 44.219 | 26.1282
2019-06-26 03:30:00 | 5.407 | 248.873 | 6.746 | 250.892 | 7.224 | 257.633 | 7.464 | 253.367 | 16.881 | 889.775 | 44.651 | 27.2275
2019-06-26 03:45:00 | 5.466 | 240.74 | 6.542 | 242.151 | 6.912 | 248.733 | 7.028 | 244.633 | 16.698 | 889.408 | 45.216 | 28.6316
2019-06-26 04:00:00 | 4.999 | 242.793 | 6.318 | 240.382 | 6.966 | 246.033 | 7.073 | 241.6 | 16.205 | 889.95 | 47.083 | 32.3137
2019-06-26 04:15:00 | 5.812 | 242.933 | 6.973 | 241.941 | 7.49 | 247.733 | 7.522 | 242.033 | 16.203 | 890.158 | 47.787 | 33.1764
2019-06-26 04:30:00 | 5.806 | 242.92 | 7.036 | 244.944 | 7.295 | 250.933 | 7.462 | 246.85 | 16.196 | 889.525 | 47.541 | 29.9369
2019-06-26 04:45:00 | 5.628 | 239.987 | 6.59 | 243.356 | 6.938 | 250.167 | 7.196 | 245.467 | 15.989 | 889.367 | 47.968 | 25.8191
2019-06-26 05:00:00 | 4.981 | 230.807 | 6.14 | 233.067 | 6.429 | 242.733 | 6.432 | 240.367 | 16.027 | 889.617 | 47.872 | 22.304
2019-06-26 05:15:00 | 4.592 | 233.067 | 6.092 | 232.71 | 6.36 | 241.4 | 6.336 | 238.2 | 15.214 | 889.883 | 49.589 | 22.5342
2019-06-26 05:30:00 | 5.518 | 231.433 | 6.404 | 233.399 | 6.643 | 240.233 | 6.766 | 236.9 | 14.774 | 889.417 | 51.371 | 27.5011
2019-06-26 05:45:00 | 5.808 | 223.467 | 7.355 | 227.708 | 7.391 | 235.8 | 7.421 | 232.767 | 14.774 | 890.1 | 52.128 | 36.4805
2019-06-26 06:00:00 | 6.266 | 226.867 | 7.641 | 227.852 | 7.918 | 234.167 | 7.966 | 229.933 | 14.162 | 889.858 | 52.608 | 35.0551
2019-06-26 06:15:00 | 5.602 | 226.18 | 7.223 | 225.362 | 7.403 | 230.267 | 7.559 | 224.8 | 14.366 | 889.833 | 52.597 | 35.0565
2019-06-26 06:30:00 | 6.02 | 225.767 | 8.128 | 220.446 | 8.482 | 225.5 | 8.469 | 222 | 14.991 | 889.667 | 50.464 | 31.8867
2019-06-26 06:45:00 | 6.014 | 217.62 | 8.02 | 217.755 | 8.617 | 223.767 | 8.854 | 219.833 | 15.559 | 889.775 | 48.224 | 36.8407
2019-06-26 07:00:00 | 6.263 | 222.067 | 8.246 | 219.736 | 9.044 | 224 | 9.187 | 220.3 | 15.934 | 890.308 | 46.827 | 32.9618
2019-06-26 07:15:00 | 6.397 | 223.32 | 7.887 | 221.765 | 9.104 | 226.7 | 9.412 | 222.833 | 16.514 | 890.225 | 45.931 | 35.1247
2019-06-26 07:30:00 | 6.09 | 227.513 | 6.89 | 224.691 | 7.595 | 229.267 | 8.076 | 224.867 | 17.148 | 889.933 | 44.565 | 34.4916
2019-06-26 07:45:00 | 5.838 | 239.033 | 6.534 | 236.623 | 7.058 | 241.233 | 7.22 | 235.9 | 16.793 | 889.825 | 44.533 | 29.0608
2019-06-26 08:00:00 | 3.645 | 251.44 | 4.27 | 247.454 | 4.705 | 252.05 | 5.389 | 248.05 | 17.418 | 889.55 | 44.176 | 19.7111
2019-06-26 08:15:00 | 5.832 | 246.92 | 6.021 | 244.862 | 6.479 | 252.567 | 6.706 | 248.483 | 17.835 | 889.867 | 42.512 | 19.7779
2019-06-26 08:30:00 | 5.998 | 318.573 | 6.037 | 311.273 | 5.968 | 316.433 | 6.263 | 312.7 | 17.048 | 889.767 | 44.027 | 18.8591
2019-06-26 08:45:00 | 6.526 | 300.027 | 6.761 | 297.713 | 6.709 | 303.267 | 7.14 | 300.767 | 17.048 | 890.117 | 43.563 | 19.4638
2019-06-26 09:00:00 | 5.485 | 294.067 | 5.818 | 292.293 | 5.748 | 295.3 | 6.242 | 291.5 | 17.248 | 890.292 | 43.152 | 15.3255
2019-06-26 09:15:00 | 4.805 | 282.38 | 4.909 | 280.605 | 4.893 | 282.967 | 4.943 | 276 | 17.731 | 889.833 | 42.592 | 12.847
2019-06-26 09:30:00 | 5.199 | 257.747 | 5.601 | 258.684 | 5.722 | 261.483 | 5.746 | 258.15 | 18.902 | 889.525 | 40.733 | 19.7886
2019-06-26 09:45:00 | 7.729 | 249.38 | 8.365 | 257.629 | 8.257 | 263.9 | 8.33 | 260.933 | 19.902 | 889.517 | 38.147 | 18.3689
2019-06-26 10:00:00 | 8.261 | 275.827 | 9.183 | 278.673 | 9.278 | 283.067 | 9.671 | 281.967 | 19.894 | 889.833 | 38.003 | 16.385
2019-06-26 10:15:00 | 10.18 | 276.607 | 11.216 | 277.598 | 11.485 | 281.867 | 11.842 | 279.467 | 19.744 | 889.7 | 38.363 | 16.9783
2019-06-26 10:30:00 | 9.726 | 267.987 | 10.54 | 272.278 | 10.879 | 278.067 | 11.069 | 272.4 | 20.331 | 890.067 | 37.451 | 16.4368
2019-06-26 10:45:00 | 9.095 | 266.16 | 9.787 | 268.203 | 9.896 | 271.567 | 9.92 | 266.25 | 20.189 | 889.867 | 37.501 | 15.9693
2019-06-26 11:00:00 | 7.946 | 274.48 | 9.15 | 282.204 | 9.443 | 287.167 | 9.733 | 283.467 | 20.139 | 889.617 | 38.429 | 15.1919
2019-06-26 11:15:00 | 9.315 | 259.547 | 10 | 268.754 | 9.868 | 274.033 | 10.09 | 267.733 | 21.402 | 889.633 | 35.872 | 17.9226
2019-06-26 11:30:00 | 9.078 | 292.087 | 9.83 | 290.094 | 10.002 | 296.167 | 10.588 | 294.333 | 21.014 | 889.633 | 36.496 | 23.6697
2019-06-26 11:45:00 | 10.866 | 288.86 | 11.579 | 290.98 | 11.983 | 292.267 | 12.369 | 290.133 | 21.398 | 889.85 | 35.693 | 23.6256
2019-06-26 12:00:00 | 8.526 | 294.827 | 9.003 | 289.202 | 9.29 | 290.267 | 9.784 | 287.867 | 20.756 | 889.55 | 37.243 | 22.7147
2019-06-26 12:15:00 | 7.752 | 304.36 | 8.268 | 303.853 | 8.538 | 306.533 | 8.975 | 304.133 | 20.723 | 889.983 | 37.789 | 28.8071
2019-06-26 12:30:00 | 8.801 | 293.747 | 9.395 | 291.454 | 9.664 | 299.1 | 10.275 | 296.133 | 20.335 | 889.867 | 39.133 | 34.0155
2019-06-26 12:45:00 | 5.433 | 307.827 | 5.552 | 300.213 | 5.626 | 298.7 | 6.139 | 300.267 | 20.248 | 889.967 | 39.805 | 27.7107
2019-06-26 13:00:00 | 7.219 | 326.333 | 7.777 | 325.655 | 7.99 | 331.3 | 8.272 | 327 | 20.102 | 889.8 | 39.819 | 37.697
2019-06-26 13:15:00 | 6.782 | 310.12 | 6.908 | 305.08 | 7.26 | 311.833 | 7.705 | 311.533 | 20.527 | 889.35 | 37.848 | 31.4355
2019-06-26 13:30:00 | 8.453 | 290.84 | 9.024 | 290.004 | 9.194 | 293.567 | 9.188 | 289.967 | 21.302 | 890.05 | 34.773 | 32.642
2019-06-26 13:45:00 | 7.235 | 306.467 | 7.986 | 314.114 | 8.108 | 311.833 | 8.539 | 307.233 | 22.46 | 889.65 | 32.667 | 31.4959
2019-06-26 14:00:00 | 8.334 | 310.427 | 8.798 | 310.647 | 9.109 | 318.9 | 9.614 | 315.767 | 23.164 | 889.583 | 32.307 | 28.2962
2019-06-26 14:15:00 | 10.035 | 287.4 | 10.584 | 289.82 | 10.727 | 294.933 | 11.051 | 290.5 | 22.731 | 890.133 | 28.749 | 23.7095
2019-06-26 14:30:00 | 11.291 | 288.713 | 11.871 | 287.59 | 12.33 | 292.7 | 12.636 | 288.733 | 22.377 | 889.683 | 29.117 | 20.1034
2019-06-26 14:45:00 | 12.751 | 269.353 | 13.43 | 274.327 | 13.126 | 281.1 | 13.308 | 277.567 | 23.51 | 890.067 | 25.821 | 16.547
2019-06-26 15:00:00 | 12.748 | 294.893 | 13.772 | 293.21 | 14.366 | 295.9 | 14.832 | 292.467 | 22.981 | 889.5 | 26.376 | 16.2393
2019-06-26 15:15:00 | 11.73 | 291.987 | 12.938 | 290.951 | 13.065 | 294 | 13.629 | 294.567 | 23.423 | 889.683 | 24.496 | 16.9456
2019-06-26 15:30:00 | 12.222 | 278.773 | 13.335 | 280.742 | 13.694 | 285.167 | 14.248 | 284.033 | 23.348 | 889.85 | 23.629 | 17.6967
2019-06-26 15:45:00 | 11.327 | 282.093 | 12.441 | 280.945 | 12.516 | 283.433 | 12.752 | 281.3 | 23.418 | 889.733 | 22.779 | 18.3596
2019-06-26 16:00:00 | 12.706 | 275.127 | 13.408 | 277.96 | 13.458 | 282.5 | 13.508 | 280.533 | 23.594 | 889.85 | 22.408 | 19.5804
2019-06-26 16:15:00 | 12.886 | 280.387 | 14 | 281.825 | 14.06 | 284.267 | 14.14 | 281.733 | 24.006 | 889.6 | 21.899 | 19.5868
2019-06-26 16:30:00 | 13.051 | 297.733 | 13.45 | 294.074 | 13.939 | 300.2 | 14.334 | 297.667 | 22.814 | 889.8 | 23.411 | 19.7182
2019-06-26 16:45:00 | 13.025 | 291.2 | 13.542 | 290.087 | 13.824 | 293.367 | 13.946 | 290.967 | 23.148 | 889.2 | 20.872 | 17.5531
2019-06-26 17:00:00 | 12.366 | 281.08 | 13.306 | 282.874 | 13.866 | 286.633 | 14.446 | 285.533 | 23.331 | 889.667 | 21.437 | 16.8234
2019-06-26 17:15:00 | 12.334 | 294.987 | 13.204 | 293.316 | 13.668 | 296.6 | 14.054 | 293.433 | 23.114 | 889.4 | 21.556 | 11.2696
2019-06-26 17:30:00 | 12.738 | 293.08 | 13.898 | 289.85 | 14.151 | 295.4 | 14.568 | 293.733 | 23.164 | 889.85 | 23.171 | 11.8821
2019-06-26 17:45:00 | 13.003 | 297.24 | 14.346 | 294.662 | 14.946 | 299.533 | 15.521 | 296.9 | 22.881 | 890.033 | 23.309 | 10.159
2019-06-26 18:00:00 | 12.309 | 286.32 | 13.258 | 286.03 | 13.492 | 290.067 | 13.945 | 288.167 | 22.848 | 890.133 | 23.112 | 10.8042
2019-06-26 18:15:00 | 10.706 | 302.507 | 11.509 | 299.048 | 12.213 | 304.133 | 12.536 | 301.4 | 22.881 | 889.85 | 22.928 | 10.7345
2019-06-26 18:30:00 | 11.117 | 301.82 | 12.052 | 299.134 | 12.109 | 306.067 | 12.726 | 302.7 | 23.281 | 889.65 | 20.884 | 12.9821
2019-06-26 18:45:00 | 10.92 | 287.613 | 11.807 | 286.996 | 12.13 | 291.5 | 12.314 | 289.333 | 23.348 | 889.267 | 19.531 | 16.6145
2019-06-26 19:00:00 | 10.515 | 287.173 | 11.461 | 286.767 | 11.625 | 290.167 | 11.65 | 288.767 | 23.231 | 889.3 | 18.359 | 17.006
2019-06-26 19:15:00 | 11.592 | 292.147 | 12.673 | 290.168 | 12.827 | 294.433 | 13.138 | 290.133 | 23.906 | 889.3 | 16.559 | 24.9025
2019-06-26 19:30:00 | 11.669 | 305.307 | 12.485 | 300.968 | 12.704 | 306.2 | 13.05 | 303.7 | 23.731 | 889.6 | 14.58 | 32.1105
2019-06-26 19:45:00 | 10.01 | 298.813 | 10.685 | 297.084 | 11.063 | 302.167 | 11.174 | 298.933 | 23.352 | 889.767 | 14.088 | 31.7048
2019-06-26 20:00:00 | 10.812 | 320.8 | 11.244 | 317.807 | 11.67 | 324.067 | 12.186 | 321.433 | 23.514 | 889.433 | 15.193 | 27.7064
2019-06-26 20:15:00 | 8.884 | 318.933 | 9.512 | 312.905 | 9.57 | 317.867 | 9.975 | 317.433 | 23.214 | 889.5 | 15.195 | 32.0473
2019-06-26 20:30:00 | 10.849 | 334.027 | 11.718 | 327.378 | 12.367 | 331.633 | 12.732 | 330.133 | 22.898 | 889.6 | 16.303 | 28.768
2019-06-26 20:45:00 | 10.656 | 343 | 11.583 | 339.431 | 11.906 | 343.767 | 12.321 | 342.767 | 22.814 | 890.2 | 17.528 | 28.2813
2019-06-26 21:00:00 | 9.477 | 319.96 | 10.407 | 327.627 | 10.89 | 320.367 | 11.068 | 319.767 | 22.131 | 889.667 | 18.143 | 32.2462
2019-06-26 21:15:00 | 8.178 | 130.287 | 9.259 | 225.385 | 9.836 | 51.233 | 9.926 | 42.533 | 21.402 | 890.25 | 21.021 | 34.989
2019-06-26 21:30:00 | 8.195 | 199.413 | 9.529 | 294.215 | 9.818 | 127.967 | 10.48 | 154.067 | 20.939 | 890 | 22.261 | 33.7796
2019-06-26 21:45:00 | 6.334 | 135.52 | 7.801 | 272.361 | 8.346 | 35.767 | 8.945 | 71.533 | 20.285 | 889.6 | 23.173 | 24.4414
2019-06-26 22:00:00 | 5.626 | 115.21 | 7.022 | 318.218 | 7.878 | 118.733 | 8.446 | 178.267 | 19.785 | 889.65 | 24.512 | 16.2301
2019-06-26 22:15:00 | 3.887 | 154.2 | 5.22 | 341.714 | 5.994 | 83.3 | 6.659 | 95.233 | 19.531 | 889.883 | 25.277 | 10.7161
2019-06-26 22:30:00 | 2.737 | 297.133 | 4.431 | 351.532 | 5.097 | 237.933 | 5.971 | 285.567 | 18.639 | 889.883 | 26.416 | 4.6933
2019-06-26 22:45:00 | 0.823 | 353.2 | 2.615 | 352.407 | 3.461 | 238.2 | 4.3 | 273.333 | 18.706 | 890.083 | 27.424 | 1.1888
2019-06-26 23:00:00 | 0 | 353.427 | 0.257 | 355.676 | 2.108 | 226.5 | 3.103 | 213.433 | 17.735 | 889.433 | 29.211 | 0.20251
2019-06-26 23:15:00 | 0 | 352.907 | 0 | 352.971 | 1.36 | 347.033 | 2.579 | 356.067 | 16.931 | 890.15 | 31.019 | 0.28067
2019-06-26 23:30:00 | 2.002 | 217.093 | 0.047 | 296.958 | 0 | 352 | 1.36 | 354.2 | 17.423 | 889.6 | 30.747 | 0.26433
2019-06-26 23:45:00 | 3.017 | 234.393 | 1.13 | 248.18 | 0.44 | 300.467 | 1.559 | 320.233 | 17.781 | 889.767 | 30.075 | 0.21743