## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-27 00:00:00 | 3.616 | 247.947 | 2.7 | 262.083 | 2.272 | 277.933 | 2.447 | 291.067 | 16.748 | 889.833 | 30.192 | 0.14353
2019-06-27 00:15:00 | 4.637 | 237.887 | 4.382 | 254.051 | 3.65 | 267.467 | 3.326 | 270.167 | 16.3 | 889.533 | 30.387 | 1.1689
2019-06-27 00:30:00 | 4.732 | 235.573 | 4.586 | 250.83 | 3.881 | 261.067 | 3.631 | 265.4 | 15.3 | 889.633 | 31.963 | 1.8588
2019-06-27 00:45:00 | 4.47 | 239.353 | 4.082 | 255.242 | 3.714 | 264.8 | 3.572 | 268.2 | 15.062 | 889.7 | 32.315 | 2.2433
2019-06-27 01:00:00 | 4.479 | 237.467 | 4.119 | 252.878 | 3.685 | 261.667 | 3.717 | 261.533 | 14.791 | 890.167 | 32.605 | 2.6433
2019-06-27 01:15:00 | 5.034 | 230.267 | 5.16 | 244.08 | 4.513 | 252.967 | 4.137 | 253.1 | 14.316 | 889.567 | 32.805 | 5.6497
2019-06-27 01:30:00 | 5.285 | 221.86 | 5.308 | 233.412 | 4.744 | 242.1 | 4.294 | 240.333 | 13.628 | 889.583 | 33.691 | 4.7807
2019-06-27 01:45:00 | 4.928 | 221.533 | 4.005 | 233.367 | 3.396 | 245.8 | 3.215 | 246.967 | 14.216 | 889.75 | 33.243 | 2.0827
2019-06-27 02:00:00 | 5.331 | 220.513 | 4.562 | 229.379 | 3.925 | 238.467 | 3.492 | 240.167 | 13.941 | 890.117 | 33.573 | 2.546
2019-06-27 02:15:00 | 5.4 | 219.953 | 4.744 | 223.671 | 4.216 | 232.233 | 3.816 | 231.767 | 13.491 | 889.433 | 34.512 | 2.492
2019-06-27 02:30:00 | 5.614 | 218.973 | 4.862 | 228.008 | 4.081 | 235.333 | 3.566 | 231.133 | 13.476 | 889.3 | 34.629 | 3.253
2019-06-27 02:45:00 | 5.589 | 221.473 | 4.864 | 228.115 | 4.263 | 235.633 | 3.891 | 229.367 | 13.105 | 889.767 | 35.061 | 2.9957
2019-06-27 03:00:00 | 5.792 | 218.1 | 4.955 | 228.932 | 4.516 | 237 | 4.071 | 234.867 | 13.245 | 889.917 | 35.333 | 4.2392
2019-06-27 03:15:00 | 5.932 | 220.907 | 6.654 | 226.954 | 5.598 | 233.9 | 4.854 | 227.833 | 12.634 | 889.4 | 35.888 | 7.7473
2019-06-27 03:30:00 | 6.063 | 220.827 | 5.97 | 227.796 | 5.735 | 234.467 | 5.501 | 230.167 | 12.83 | 889.4 | 35.371 | 7.623
2019-06-27 03:45:00 | 5.492 | 223.707 | 5.758 | 234.694 | 5.174 | 241.933 | 4.83 | 238.833 | 12.814 | 889.767 | 34.885 | 8.9283
2019-06-27 04:00:00 | 5.786 | 220.727 | 6.156 | 230.231 | 5.806 | 238.433 | 5.662 | 234.9 | 12.753 | 889.917 | 35.376 | 10.2648
2019-06-27 04:15:00 | 5.512 | 226.96 | 5.816 | 239.425 | 5.477 | 247.3 | 5.007 | 243.8 | 12.714 | 889.867 | 35.701 | 9.4072
2019-06-27 04:30:00 | 5.621 | 228.747 | 5.981 | 243.162 | 5.251 | 250.7 | 4.929 | 249.1 | 12.445 | 889.55 | 36.469 | 11.9745
2019-06-27 04:45:00 | 5.614 | 225.453 | 6.352 | 238.383 | 5.972 | 249.367 | 5.499 | 247.033 | 12.132 | 889.75 | 37.077 | 15.0299
2019-06-27 05:00:00 | 5.959 | 228.233 | 6.872 | 238.204 | 6.862 | 247.4 | 6.343 | 243.967 | 12.564 | 889.733 | 37.344 | 18.8194
2019-06-27 05:15:00 | 5.566 | 221.733 | 6.831 | 229.39 | 6.689 | 239.367 | 6.397 | 237.867 | 12.528 | 889.733 | 37.659 | 22.8945
2019-06-27 05:30:00 | 6.18 | 223.78 | 7.5 | 227.254 | 7.572 | 234.9 | 7.243 | 231.533 | 12.655 | 889.633 | 37.605 | 26.6619
2019-06-27 05:45:00 | 6.383 | 222.2 | 7.644 | 224.557 | 7.355 | 233.267 | 7.044 | 232 | 12.791 | 889.017 | 37.312 | 26.1986
2019-06-27 06:00:00 | 6.155 | 221.96 | 7.196 | 227.373 | 7.071 | 236.233 | 6.896 | 235.2 | 12.62 | 889.383 | 37.584 | 25.3118
2019-06-27 06:15:00 | 6.089 | 223.053 | 7.401 | 227.501 | 7.342 | 237.067 | 6.931 | 236 | 12.401 | 889.45 | 37.893 | 23.6995
2019-06-27 06:30:00 | 6.552 | 223.36 | 7.716 | 228.381 | 7.306 | 237.867 | 6.916 | 236.733 | 12.559 | 889.817 | 37.867 | 25.6465
2019-06-27 06:45:00 | 5.508 | 227.387 | 6.914 | 233.066 | 6.665 | 244.067 | 6.388 | 243.067 | 13.774 | 889.867 | 35.419 | 23.0394
2019-06-27 07:00:00 | 5.273 | 228.653 | 6.745 | 234.044 | 6.63 | 244.167 | 6.489 | 242.367 | 14.42 | 890.083 | 33.163 | 20.3947
2019-06-27 07:15:00 | 5.07 | 230.973 | 6.308 | 234.182 | 6.308 | 243.933 | 6.178 | 242.033 | 15.44 | 889.817 | 30.869 | 15.8854
2019-06-27 07:30:00 | 4.591 | 230.367 | 5.546 | 232.366 | 5.756 | 243.2 | 5.77 | 242.5 | 16.298 | 889.65 | 29.045 | 12.8627
2019-06-27 07:45:00 | 4.081 | 231.853 | 4.341 | 231.356 | 4.698 | 241.467 | 5.067 | 241.833 | 17.868 | 889.8 | 27.136 | 7.6151
2019-06-27 08:00:00 | 3.991 | 237.947 | 3.992 | 236.195 | 4.05 | 243.333 | 4.239 | 240.367 | 18.952 | 890.25 | 25.168 | 5.1715
2019-06-27 08:15:00 | 3.52 | 235.833 | 3.645 | 232.462 | 3.685 | 237.633 | 3.789 | 234.433 | 19.927 | 889.783 | 23.957 | 4.289
2019-06-27 08:30:00 | 3.92 | 255.24 | 3.888 | 254.822 | 3.88 | 257.483 | 4.297 | 254.967 | 20.548 | 890.05 | 23.072 | 4.1021
2019-06-27 08:45:00 | 3.725 | 293.433 | 3.85 | 291.788 | 4.115 | 293.8 | 4.4 | 291.333 | 20.227 | 889.6 | 23.203 | 5.1296
2019-06-27 09:00:00 | 4.169 | 297.64 | 4.152 | 292.338 | 4.381 | 298.533 | 4.582 | 296.433 | 20.502 | 889.783 | 23.445 | 6.4711
2019-06-27 09:15:00 | 5.268 | 301.187 | 5.712 | 299.291 | 5.701 | 304.933 | 5.829 | 303.067 | 20.294 | 889.483 | 22.829 | 6.6957
2019-06-27 09:30:00 | 5.037 | 318.24 | 5.204 | 313.654 | 5.26 | 316.267 | 5.53 | 314.6 | 20.498 | 889.55 | 23.229 | 7.5732
2019-06-27 09:45:00 | 4.901 | 310.947 | 4.943 | 307.14 | 5.157 | 312.6 | 5.314 | 309.9 | 20.894 | 889.917 | 22.968 | 6.6118
2019-06-27 10:00:00 | 3.851 | 303.04 | 3.836 | 297.46 | 4.167 | 299.7 | 4.435 | 294.967 | 21.148 | 889.917 | 22.445 | 5.7094
2019-06-27 10:15:00 | 3.897 | 291.573 | 3.811 | 282.318 | 4.187 | 283.483 | 4.512 | 283.7 | 21.877 | 890.133 | 21.8 | 3.1727
2019-06-27 10:30:00 | 2.875 | 252.687 | 2.801 | 265.058 | 2.882 | 270.133 | 3.24 | 272.833 | 22.431 | 889.467 | 20.703 | 2.9119
2019-06-27 10:45:00 | 3.344 | 225.3 | 3.28 | 227.115 | 3.468 | 236.567 | 4.07 | 234.867 | 23.098 | 889.8 | 20.165 | 2.9602
2019-06-27 11:00:00 | 3.898 | 286.587 | 3.958 | 280.85 | 4.097 | 285.667 | 4.534 | 281.533 | 23.248 | 889.233 | 19.364 | 2.212
2019-06-27 11:15:00 | 3.83 | 286.04 | 3.771 | 296.088 | 4.142 | 294.236 | 4.475 | 312.4 | 22.814 | 889.4 | 19.723 | 0.95003
2019-06-27 11:30:00 | 4.756 | 302.747 | 4.77 | 300.474 | 5.233 | 306.4 | 5.725 | 307.733 | 23.485 | 889.367 | 19.153 | 2.9226
2019-06-27 11:45:00 | 0.971 | 260.068 | 0.916 | 292.026 | 0.776 | 294.15 | 1.934 | 290.533 | 23.414 | 889.167 | 19.772 | 3.982
2019-06-27 12:00:00 | 4.542 | 281.773 | 4.421 | 277.522 | 4.491 | 281.2 | 4.863 | 273.283 | 23.548 | 890 | 18.325 | 1.3664
2019-06-27 12:15:00 | 5.195 | 218.593 | 5.301 | 218.534 | 5.383 | 224.9 | 5.304 | 222.867 | 24.806 | 889.467 | 17.637 | 6.5834
2019-06-27 12:30:00 | 5.618 | 278.96 | 5.805 | 275.418 | 6.067 | 277.117 | 6.316 | 269.517 | 24.177 | 889.433 | 16.964 | 8.0713
2019-06-27 12:45:00 | 5.363 | 316.467 | 5.577 | 293.23 | 5.871 | 293.467 | 6.328 | 293.6 | 24.431 | 888.967 | 17.028 | 8.212
2019-06-27 13:00:00 | 3.472 | 309.027 | 3.521 | 299.94 | 3.612 | 297.733 | 4.035 | 291.833 | 23.902 | 889.367 | 16.236 | 7.7331
2019-06-27 13:15:00 | 4.049 | 248.107 | 3.67 | 252.063 | 3.887 | 264 | 4.488 | 263.2 | 24.86 | 889.5 | 16.356 | 4.456
2019-06-27 13:30:00 | 3.227 | 315.893 | 3.373 | 285.5 | 3.922 | 288.15 | 3.95 | 290.967 | 24.473 | 889.533 | 15.237 | 8.8174
2019-06-27 13:45:00 | 3.523 | 273.613 | 3.937 | 269.011 | 4.217 | 281.867 | 4.57 | 280.833 | 24.877 | 889.533 | 15.431 | 10.5853
2019-06-27 14:00:00 | 3.515 | 286.258 | 3.737 | 302.303 | 4.08 | 322.767 | 4.031 | 316.267 | 25.21 | 889.333 | 15.129 | 8.7421
2019-06-27 14:15:00 | 4.279 | 281.92 | 4.554 | 280.603 | 4.53 | 286.267 | 5.005 | 283.283 | 25.185 | 889.667 | 14.739 | 9.1926
2019-06-27 14:30:00 | 3.918 | 251.49 | 3.735 | 283.689 | 3.765 | 287.783 | 4.286 | 282.2 | 25.577 | 889.667 | 13.691 | 9.0839
2019-06-27 14:45:00 | 4.158 | 275.687 | 4.498 | 268.082 | 4.302 | 272.767 | 4.455 | 272.4 | 26.206 | 889.733 | 12.903 | 8.0337
2019-06-27 15:00:00 | 1.776 | 268.427 | 1.964 | 287.914 | 2.271 | 297.5 | 2.64 | 300.933 | 25.894 | 889.667 | 13.183 | 11.4913
2019-06-27 15:15:00 | 6.213 | 267.06 | 6.027 | 266.426 | 6.265 | 275.667 | 6.381 | 270.7 | 26.318 | 889.7 | 12.408 | 13.5413
2019-06-27 15:30:00 | 6.58 | 289.24 | 6.896 | 287.429 | 7.02 | 286.65 | 6.768 | 283.7 | 26.844 | 889.567 | 10.984 | 10.7843
2019-06-27 15:45:00 | 3.504 | 266.24 | 3.713 | 264.83 | 3.968 | 267.933 | 4.096 | 259.033 | 27.081 | 889.7 | 10.612 | 13.9314
2019-06-27 16:00:00 | 5.846 | 277.093 | 6.045 | 269.853 | 6.158 | 275.283 | 6.484 | 267.8 | 27.102 | 888.933 | 9.772 | 14.0173
2019-06-27 16:15:00 | 6.33 | 323.013 | 6.677 | 320.928 | 6.754 | 325.2 | 6.878 | 322.833 | 27.023 | 889.133 | 9.899 | 14.1758
2019-06-27 16:30:00 | 6.371 | 309.573 | 7.02 | 322.659 | 7.224 | 315.867 | 7.299 | 323.333 | 26.856 | 889.2 | 9.065 | 20.3023
2019-06-27 16:45:00 | 5.581 | 323.68 | 5.753 | 327.518 | 5.887 | 328.267 | 6.24 | 323.1 | 26.985 | 889.067 | 8.603 | 16.245
2019-06-27 17:00:00 | 6.502 | 304.827 | 7.052 | 298.184 | 7.536 | 300.633 | 8.093 | 300.067 | 27.306 | 889.2 | 8.628 | 29.7784
2019-06-27 17:15:00 | 7.312 | 271.853 | 7.805 | 270.037 | 7.895 | 276.2 | 7.99 | 271.6 | 27.123 | 888.867 | 9.404 | 23.9681
2019-06-27 17:30:00 | 7.378 | 303.12 | 7.538 | 300.171 | 7.943 | 305.133 | 8.068 | 303.633 | 27.264 | 888.933 | 8.89 | 27.7718
2019-06-27 17:45:00 | 5.584 | 296.613 | 6.101 | 291.448 | 6.749 | 291.433 | 7.176 | 285.133 | 27.789 | 889.2 | 8.54 | 20.8736
2019-06-27 18:00:00 | 6.959 | 298.08 | 7.494 | 293.27 | 7.567 | 296.033 | 7.835 | 293.633 | 27.327 | 889.133 | 8.26 | 32.416
2019-06-27 18:15:00 | 5.922 | 306.84 | 6.406 | 302.956 | 6.858 | 307.567 | 7.007 | 309.133 | 27.389 | 889.067 | 8.341 | 22.9065
2019-06-27 18:30:00 | 5.911 | 278.493 | 6.538 | 279.862 | 6.905 | 286.533 | 7.303 | 282.967 | 27.452 | 888.867 | 8.55 | 23.8786
2019-06-27 18:45:00 | 7.482 | 280.893 | 8.031 | 279.356 | 7.963 | 281.067 | 8.023 | 277.583 | 27.844 | 888.8 | 8.843 | 26.4722
2019-06-27 19:00:00 | 8.269 | 324.36 | 8.602 | 317.073 | 8.809 | 320.6 | 8.678 | 316.133 | 27.306 | 888.933 | 9.305 | 26.1204
2019-06-27 19:15:00 | 7.653 | 292.507 | 7.812 | 291.492 | 7.915 | 295.833 | 7.848 | 293.533 | 27.085 | 889.7 | 10.821 | 29.5212
2019-06-27 19:30:00 | 5.319 | 306.013 | 5.726 | 296.33 | 5.991 | 302.7 | 6.369 | 299.133 | 27.227 | 889.1 | 11.323 | 23.632
2019-06-27 19:45:00 | 6.531 | 309.96 | 6.985 | 306.23 | 7.438 | 311.467 | 7.461 | 309.867 | 27.002 | 889.367 | 11.589 | 32.507
2019-06-27 20:00:00 | 7.858 | 299.96 | 8.202 | 295.033 | 8.212 | 300.233 | 8.58 | 297.467 | 26.935 | 889.167 | 12.455 | 35.7685
2019-06-27 20:15:00 | 6.457 | 315.973 | 6.427 | 312.933 | 6.537 | 316.367 | 6.738 | 315.367 | 26.848 | 889.8 | 13.052 | 24.1351
2019-06-27 20:30:00 | 6.792 | 327.133 | 7.08 | 320.069 | 7.608 | 326.567 | 7.951 | 326.233 | 26.823 | 890.133 | 12.752 | 27.7277
2019-06-27 20:45:00 | 5 | 316.52 | 5.568 | 332.342 | 5.672 | 336.867 | 5.854 | 335.4 | 26.948 | 889.567 | 13.141 | 15.4719
2019-06-27 21:00:00 | 4.809 | 320.52 | 5.213 | 315.824 | 5.492 | 322.067 | 5.758 | 320 | 26.623 | 889.933 | 13.16 | 9.3155
2019-06-27 21:15:00 | 5.443 | 307.667 | 5.899 | 303.425 | 6.263 | 307.367 | 6.501 | 304.8 | 26.718 | 888.9 | 13.533 | 13.1597
2019-06-27 21:30:00 | 4.312 | 284.933 | 5.146 | 283.156 | 5.498 | 288.267 | 6.01 | 286.3 | 25.985 | 889.733 | 14.919 | 13.704
2019-06-27 21:45:00 | 5.14 | 301.4 | 5.993 | 295.68 | 6.28 | 300.333 | 6.589 | 297.067 | 25.664 | 889.467 | 15.768 | 16.5384
2019-06-27 22:00:00 | 4.298 | 291 | 5.222 | 286.197 | 5.783 | 293.7 | 6.275 | 292.333 | 24.939 | 889.567 | 16.236 | 10.7558
2019-06-27 22:15:00 | 3.703 | 277.693 | 4.54 | 278.604 | 4.947 | 284.2 | 5.364 | 282.967 | 24.86 | 889.233 | 16.835 | 7.1753
2019-06-27 22:30:00 | 3.72 | 262.18 | 4.615 | 265.905 | 4.975 | 273.933 | 5.353 | 271.2 | 23.964 | 889.367 | 17.847 | 7.4162
2019-06-27 22:45:00 | 3.52 | 254.54 | 4.404 | 260.743 | 4.623 | 268.8 | 5.014 | 267.8 | 23.614 | 889.4 | 18.841 | 6.8357
2019-06-27 23:00:00 | 4.282 | 235.887 | 4.476 | 248.856 | 4.51 | 259.133 | 4.836 | 257.883 | 22.964 | 889.6 | 19.576 | 8.3719
2019-06-27 23:15:00 | 4.539 | 233.493 | 5.03 | 242.995 | 4.892 | 251.833 | 4.954 | 248.1 | 22.06 | 889.033 | 20.469 | 11.1552
2019-06-27 23:30:00 | 4.931 | 231.18 | 5.375 | 240.53 | 5.139 | 248.933 | 5.203 | 246.967 | 21.881 | 889.517 | 21.163 | 14.212
2019-06-27 23:45:00 | 5.086 | 234.413 | 6.062 | 242.557 | 5.917 | 251.567 | 5.802 | 250.033 | 21.51 | 889.833 | 21.824 | 19.0432