## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-28 00:00:00 | 4.836 | 238.373 | 5.908 | 246.439 | 6.023 | 255.367 | 6.193 | 253.383 | 21.531 | 889.9 | 22.309 | 22.3118
2019-06-28 00:15:00 | 4.942 | 239.48 | 6.134 | 245.988 | 6.212 | 254.2 | 6.218 | 251.467 | 21.214 | 889.733 | 23.045 | 24.7561
2019-06-28 00:30:00 | 5.079 | 241.113 | 6.032 | 248.941 | 6.071 | 258.067 | 6.226 | 255 | 20.856 | 890.167 | 23.621 | 22.6486
2019-06-28 00:45:00 | 4.721 | 237.293 | 5.987 | 245.824 | 5.987 | 256.8 | 6.115 | 257.033 | 20.481 | 889.45 | 24.307 | 19.1256
2019-06-28 01:00:00 | 5.108 | 238.58 | 5.767 | 248.944 | 5.698 | 260.167 | 5.896 | 258.367 | 20.044 | 889.567 | 24.608 | 18.6154
2019-06-28 01:15:00 | 5.114 | 236.727 | 5.381 | 251.532 | 5.518 | 261.933 | 5.816 | 259.933 | 19.964 | 889.45 | 24.755 | 17.0401
2019-06-28 01:30:00 | 4.549 | 224.653 | 4.848 | 237.71 | 4.322 | 250.833 | 4.208 | 253.667 | 19.389 | 890.183 | 25.339 | 12.7177
2019-06-28 01:45:00 | 4.403 | 223.547 | 4.952 | 233.947 | 4.725 | 245 | 4.356 | 246.2 | 19.089 | 889.717 | 25.696 | 13.0446
2019-06-28 02:00:00 | 4.405 | 221.8 | 6.173 | 226.67 | 5.847 | 237.267 | 5.402 | 237.967 | 18.839 | 889.633 | 25.675 | 16.1945
2019-06-28 02:15:00 | 4.493 | 222.273 | 6.122 | 229.424 | 5.962 | 239.867 | 5.702 | 239.133 | 18.181 | 889.883 | 25.909 | 15.0299
2019-06-28 02:30:00 | 4.226 | 222.4 | 5.7 | 232.036 | 5.595 | 244.1 | 5.276 | 244.233 | 18.589 | 889.817 | 25.669 | 12.2175
2019-06-28 02:45:00 | 4.393 | 221.02 | 5.582 | 230.053 | 5.309 | 241.5 | 5.041 | 242.667 | 18.156 | 889.917 | 25.659 | 13.6635
2019-06-28 03:00:00 | 5.44 | 221.14 | 6.312 | 227.383 | 6.39 | 237.367 | 5.995 | 235.4 | 17.535 | 889.967 | 25.205 | 18.9281
2019-06-28 03:15:00 | 5.943 | 223.187 | 6.572 | 228.993 | 6.422 | 238.467 | 6.176 | 235.567 | 17.56 | 889.583 | 25.04 | 21.6296
2019-06-28 03:30:00 | 5.506 | 222.78 | 6.455 | 230.514 | 6.502 | 240.133 | 6.085 | 237.567 | 17.889 | 889.65 | 25.067 | 21.4278
2019-06-28 03:45:00 | 5.736 | 223.013 | 6.705 | 231.305 | 6.66 | 240 | 6.496 | 237.4 | 17.614 | 890.033 | 25.515 | 20.7237
2019-06-28 04:00:00 | 5.727 | 224.373 | 6.433 | 233.337 | 6.401 | 245 | 5.935 | 244.767 | 17.468 | 889.767 | 26.24 | 19.7047
2019-06-28 04:15:00 | 5.58 | 219.147 | 6.228 | 230.237 | 5.957 | 242.7 | 5.424 | 244.167 | 16.972 | 889.85 | 26.427 | 17.723
2019-06-28 04:30:00 | 5.931 | 216.307 | 6.011 | 226.591 | 5.564 | 238.533 | 5.061 | 239.533 | 16.698 | 889.583 | 27.445 | 15.2239
2019-06-28 04:45:00 | 5.181 | 213.907 | 5.54 | 227.17 | 5.605 | 244.133 | 5.4 | 248.3 | 16.948 | 889.25 | 27.035 | 15.2203
2019-06-28 05:00:00 | 4.881 | 221.407 | 6.374 | 234.268 | 6.512 | 251.1 | 6.5 | 254 | 16.614 | 889.7 | 27.275 | 18.3191
2019-06-28 05:15:00 | 5.537 | 223.673 | 6.716 | 236.328 | 6.767 | 253.4 | 6.768 | 255.65 | 16.664 | 889.583 | 27.232 | 18.3888
2019-06-28 05:30:00 | 2.68 | 107.727 | 2.415 | 253.405 | 2.403 | 239.9 | 2.794 | 271.233 | 16.203 | 890.033 | 27.347 | 9.1642
2019-06-28 05:45:00 | 0.126 | 268.667 | 0 | 271.838 | 0.386 | 265.067 | 2.163 | 244.317 | 16.998 | 889.65 | 27.013 | 4.7153
2019-06-28 06:00:00 | 2.968 | 234.993 | 3.234 | 225.93 | 4.462 | 230.467 | 4.846 | 233 | 17.064 | 889.467 | 28.277 | 7.4773
2019-06-28 06:15:00 | 3.788 | 218.647 | 5.022 | 218.434 | 5.599 | 230.9 | 5.103 | 229.9 | 16.648 | 889.467 | 31.093 | 6.4669
2019-06-28 06:30:00 | 2.877 | 217.48 | 3.9 | 221.613 | 4.384 | 238.433 | 3.984 | 239.867 | 16.864 | 889.417 | 30.987 | 4.4197
2019-06-28 06:45:00 | 1.353 | 217.753 | 2.32 | 224.348 | 3.056 | 240.6 | 3.639 | 245.333 | 17.544 | 889.667 | 29.056 | 5.2589
2019-06-28 07:00:00 | 2.478 | 223.72 | 3.239 | 233.928 | 3.41 | 250 | 3.011 | 255 | 18.798 | 890.083 | 26.453 | 6.2523
2019-06-28 07:15:00 | 4.449 | 222.867 | 4.608 | 228.573 | 3.883 | 236.5 | 3.094 | 234.333 | 19.414 | 889.583 | 24.299 | 10.7971
2019-06-28 07:30:00 | 5.981 | 219.94 | 6.28 | 223.348 | 5.852 | 229.967 | 5.115 | 221.867 | 19.923 | 890.017 | 24.272 | 16.8355
2019-06-28 07:45:00 | 5.572 | 223.6 | 6.201 | 224.149 | 6.543 | 231.967 | 6.344 | 226.333 | 20.66 | 889.567 | 23.184 | 16.9328
2019-06-28 08:00:00 | 5.082 | 221.753 | 5.64 | 222.023 | 6.077 | 231.067 | 5.797 | 226.7 | 21.723 | 889.633 | 22.629 | 10.5107
2019-06-28 08:15:00 | 3.872 | 220.327 | 3.742 | 222.003 | 4.242 | 228.333 | 4.589 | 226.1 | 22.948 | 889.45 | 20.744 | 3.5919
2019-06-28 08:30:00 | 3.306 | 240.593 | 3.21 | 238.603 | 3.341 | 244.25 | 3.596 | 241.317 | 24.235 | 889.433 | 17.821 | 2.4387
2019-06-28 08:45:00 | 2.983 | 267.067 | 3.012 | 265.249 | 3.171 | 270.8 | 3.851 | 273.6 | 25.168 | 889.667 | 16.256 | 2.7492
2019-06-28 09:00:00 | 3.368 | 285.293 | 3.176 | 288.451 | 3.535 | 294.6 | 3.842 | 294.7 | 23.877 | 889.667 | 16.775 | 4.4695
2019-06-28 09:15:00 | 4.762 | 323.053 | 4.939 | 312.536 | 5.077 | 313.567 | 5.359 | 309.033 | 24.056 | 889.167 | 17.5 | 5.185
2019-06-28 09:30:00 | 5.701 | 306.667 | 5.826 | 299.099 | 6.084 | 304.933 | 6.353 | 302.1 | 25.139 | 889.133 | 16.524 | 10.2407
2019-06-28 09:45:00 | 5.492 | 317.773 | 5.82 | 308.05 | 5.992 | 309.667 | 6.209 | 306.967 | 24.96 | 889.8 | 16.719 | 15.9387
2019-06-28 10:00:00 | 6.189 | 303.787 | 6.32 | 304.701 | 6.465 | 312.4 | 6.539 | 313.633 | 25.281 | 889.333 | 15.996 | 20.0728
2019-06-28 10:15:00 | 6.133 | 310.48 | 6.564 | 308.276 | 6.742 | 312.1 | 7.56 | 311.733 | 25.794 | 889.5 | 15.929 | 19.3878
2019-06-28 10:30:00 | 4.148 | 308.56 | 4.464 | 326.825 | 4.979 | 306.233 | 5.449 | 305 | 25.539 | 889.733 | 16.595 | 13.9989
2019-06-28 10:45:00 | 4.229 | 323.56 | 3.979 | 320.086 | 4.187 | 312.567 | 4.571 | 317.767 | 25.639 | 889.733 | 16.684 | 16.7964
2019-06-28 11:00:00 | 7.07 | 274.533 | 7.482 | 340.766 | 7.69 | 334.033 | 7.484 | 343.967 | 26.581 | 889.333 | 15.761 | 12.6737
2019-06-28 11:15:00 | 7.296 | 307.44 | 7.812 | 331.867 | 7.604 | 311.1 | 7.767 | 320.467 | 26.194 | 889.3 | 15.284 | 11.3009
2019-06-28 11:30:00 | 5.174 | 317.36 | 5.684 | 325.923 | 6.374 | 307.933 | 6.524 | 321.533 | 26.41 | 889.6 | 15.119 | 17.4622
2019-06-28 11:45:00 | 4.91 | 251.126 | 5.257 | 280.023 | 5.496 | 281.967 | 5.834 | 302.167 | 26.514 | 889.8 | 14.324 | 25.9044
2019-06-28 12:00:00 | 3.125 | 311.827 | 3.164 | 291.705 | 3.308 | 288.383 | 3.526 | 283.867 | 26.302 | 889.633 | 14.649 | 23.492
2019-06-28 12:15:00 | 5.834 | 316.374 | 6.016 | 319.971 | 6.23 | 318.133 | 6.637 | 314.6 | 27.081 | 889.667 | 14.243 | 24.3852
2019-06-28 12:30:00 | 4.761 | 290.033 | 5.533 | 291.004 | 6.208 | 295.033 | 7.048 | 289.633 | 27.035 | 889.7 | 13.82 | 20.4281
2019-06-28 12:45:00 | 5.037 | 276.64 | 5.197 | 271.107 | 5.177 | 277.367 | 5.396 | 274.017 | 27.481 | 889.6 | 13.083 | 19.8376
2019-06-28 13:00:00 | 4.41 | 276.973 | 4.542 | 282.318 | 5.282 | 289.767 | 5.826 | 284.6 | 28.068 | 889.667 | 12.209 | 16.0346
2019-06-28 13:15:00 | 8.667 | 283 | 8.927 | 280.284 | 9.317 | 286.967 | 9.596 | 286.067 | 28.068 | 889.5 | 12.272 | 23.7564
2019-06-28 13:30:00 | 4.446 | 279.253 | 4.6 | 268.518 | 5.044 | 272.983 | 5.417 | 271.45 | 27.635 | 889.633 | 12.669 | 16.1519
2019-06-28 13:45:00 | 5.395 | 271.82 | 5.432 | 268.242 | 5.513 | 275.7 | 6.038 | 269.183 | 28.931 | 889.467 | 12.017 | 16.353
2019-06-28 14:00:00 | 7.447 | 249.987 | 7.69 | 247.263 | 8.01 | 254 | 8.211 | 247.883 | 28.848 | 889.767 | 11.649 | 23.6171
2019-06-28 14:15:00 | 5.16 | 246.34 | 5.171 | 239.966 | 5.463 | 242.067 | 5.515 | 236.617 | 28.739 | 889.633 | 11.903 | 16.6713
2019-06-28 14:30:00 | 5.564 | 269.207 | 5.562 | 269.41 | 6.032 | 277.05 | 6 | 275.883 | 29.01 | 889.433 | 12.26 | 15.6872
2019-06-28 14:45:00 | 7.979 | 309.987 | 8.498 | 306.23 | 8.781 | 312.467 | 9.098 | 310.967 | 29.239 | 889.733 | 11.915 | 20.5695
2019-06-28 15:00:00 | 6.102 | 293.88 | 6.792 | 296.666 | 6.963 | 302.767 | 7.312 | 296.4 | 28.76 | 889.467 | 11.589 | 23.1559
2019-06-28 15:15:00 | 5.734 | 256.853 | 5.913 | 248.888 | 6.01 | 271.25 | 6.23 | 266 | 28.981 | 889.5 | 11.696 | 15.3681
2019-06-28 15:30:00 | 4.905 | 222.233 | 5.593 | 239.718 | 6.199 | 241.3 | 6.123 | 239.733 | 29.181 | 889.5 | 11.495 | 22.5008
2019-06-28 15:45:00 | 7.013 | 270.907 | 7.395 | 268.222 | 7.517 | 274.25 | 7.72 | 269.517 | 29.348 | 889.667 | 11.695 | 38.9589
2019-06-28 16:00:00 | 6.862 | 294.007 | 7.357 | 290.377 | 7.5 | 291.667 | 7.731 | 286.533 | 29.481 | 890.1 | 11.589 | 19.8419
2019-06-28 16:15:00 | 3.874 | 298.64 | 4.155 | 281.929 | 4.999 | 285.95 | 5.516 | 283.95 | 29.414 | 889.667 | 11.608 | 25.6515
2019-06-28 16:30:00 | 5.558 | 281.18 | 5.971 | 278.09 | 6.24 | 282.983 | 6.532 | 280.517 | 29.514 | 889.1 | 10.848 | 30.5402
2019-06-28 16:45:00 | 7.603 | 320.68 | 8.019 | 313.6 | 8.152 | 319.233 | 8.378 | 317.033 | 29.481 | 889.7 | 10.427 | 20.5844
2019-06-28 17:00:00 | 8.317 | 284.127 | 8.985 | 282.596 | 9.119 | 289.167 | 9.374 | 284.733 | 29.498 | 889.367 | 10.544 | 32.2256
2019-06-28 17:15:00 | 5.704 | 279.12 | 6.34 | 276.736 | 6.742 | 288.6 | 6.813 | 285.267 | 29.939 | 889.233 | 10.127 | 25.0702
2019-06-28 17:30:00 | 6.653 | 238.66 | 6.692 | 237.099 | 6.876 | 241.233 | 6.641 | 232.35 | 30.281 | 888.733 | 9.808 | 16.5626
2019-06-28 17:45:00 | 6.03 | 258.8 | 6.533 | 255.074 | 6.52 | 260.733 | 6.427 | 259.733 | 30.252 | 888.967 | 9.864 | 18.2083
2019-06-28 18:00:00 | 8.232 | 302.213 | 8.499 | 298.88 | 8.657 | 303.7 | 8.818 | 300.7 | 29.814 | 889.067 | 9.981 | 27.6183
2019-06-28 18:15:00 | 6.172 | 319.347 | 6.4 | 313.145 | 7.096 | 315 | 7.648 | 313.533 | 29.714 | 889.233 | 9.929 | 26.1453
2019-06-28 18:30:00 | 6.394 | 317.067 | 6.742 | 312.888 | 7.24 | 318.167 | 7.351 | 317.133 | 29.531 | 889.167 | 10.156 | 24.9018
2019-06-28 18:45:00 | 5.891 | 277.753 | 6.257 | 274.024 | 6.416 | 280.033 | 6.906 | 277.5 | 30.21 | 889.167 | 9.946 | 14.573
2019-06-28 19:00:00 | 5.581 | 323.96 | 5.564 | 316.481 | 5.588 | 321.133 | 5.918 | 315.167 | 29.781 | 888.8 | 9.751 | 13.5491
2019-06-28 19:15:00 | 6.399 | 317.4 | 6.721 | 310.476 | 6.763 | 314.433 | 6.977 | 311.4 | 29.481 | 889.233 | 10.277 | 12.0604
2019-06-28 19:30:00 | 5.125 | 309.427 | 5.249 | 304.625 | 5.75 | 310 | 5.988 | 307.4 | 29.581 | 889.867 | 10.761 | 17.3229
2019-06-28 19:45:00 | 5.262 | 298.813 | 5.36 | 300.256 | 5.525 | 306.933 | 5.745 | 306.767 | 29.414 | 890 | 10.692 | 16.4596
2019-06-28 20:00:00 | 5.562 | 301.213 | 5.759 | 298.718 | 6.129 | 303.5 | 6.418 | 301.867 | 29.698 | 889.667 | 10.932 | 18.5799
2019-06-28 20:15:00 | 4.294 | 273.107 | 4.305 | 267.372 | 4.252 | 270.267 | 4.45 | 264.667 | 29.881 | 889.633 | 11.135 | 7.6727
2019-06-28 20:30:00 | 5.003 | 298.64 | 5.204 | 292.766 | 5.394 | 295.167 | 5.722 | 291.967 | 29.564 | 889.933 | 10.716 | 8.5971
2019-06-28 20:45:00 | 5.437 | 289.32 | 5.579 | 289.02 | 5.725 | 293.633 | 5.916 | 293.367 | 29.248 | 889.667 | 11.036 | 12.0121
2019-06-28 21:00:00 | 4.365 | 293.453 | 4.498 | 288.204 | 4.6 | 290.533 | 4.961 | 287.5 | 29.131 | 889.467 | 10.4 | 7.0979
2019-06-28 21:15:00 | 4.11 | 281.347 | 4.544 | 279.009 | 4.786 | 284.567 | 4.988 | 282.833 | 28.794 | 889.867 | 10.849 | 5.9865
2019-06-28 21:30:00 | 4.572 | 288.96 | 4.971 | 287.197 | 5.412 | 290.9 | 5.77 | 286.633 | 28.618 | 889.633 | 11.424 | 5.2554
2019-06-28 21:45:00 | 3.876 | 268.36 | 4.617 | 264.599 | 5.091 | 270.1 | 5.292 | 263.967 | 27.61 | 889.6 | 12.351 | 6.0363
2019-06-28 22:00:00 | 3.738 | 258.827 | 4.139 | 261.214 | 4.414 | 268.367 | 4.544 | 264.067 | 27.118 | 889.567 | 12.729 | 5.1033
2019-06-28 22:15:00 | 3.801 | 246.507 | 3.719 | 249.22 | 3.947 | 257.4 | 4.049 | 256.133 | 26.098 | 889.567 | 13.957 | 4.7693
2019-06-28 22:30:00 | 4.051 | 245.467 | 4.139 | 253.89 | 4.047 | 262.433 | 4.096 | 263.133 | 25.952 | 889.4 | 14.48 | 5.136
2019-06-28 22:45:00 | 4.46 | 248.073 | 3.885 | 256.912 | 3.937 | 266.2 | 4.174 | 263.733 | 24.848 | 889.433 | 15.781 | 5.7542
2019-06-28 23:00:00 | 4.695 | 248.847 | 4.794 | 262.832 | 4.932 | 275.067 | 5.166 | 275.467 | 24.71 | 889.533 | 16.336 | 8.4856
2019-06-28 23:15:00 | 4.474 | 252.193 | 4.699 | 264.865 | 5.018 | 274.3 | 5.541 | 270.967 | 24.506 | 889.333 | 17.301 | 9.0668
2019-06-28 23:30:00 | 4.484 | 245.607 | 5.117 | 260.312 | 5.359 | 270.067 | 5.612 | 268.6 | 24.398 | 889.367 | 17.483 | 10.9008
2019-06-28 23:45:00 | 4.876 | 239.987 | 5.15 | 253.448 | 5.395 | 265.933 | 5.54 | 266.1 | 23.889 | 889.833 | 17.583 | 11.6455