## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-29 00:00:00 | 4.834 | 236.413 | 5.415 | 250.264 | 5.474 | 257.967 | 5.582 | 256.733 | 23.064 | 889.433 | 18.381 | 12.8634
2019-06-29 00:15:00 | 5.057 | 235.527 | 5.664 | 251.376 | 5.628 | 262 | 5.892 | 259.867 | 22.514 | 889.067 | 18.625 | 13.8383
2019-06-29 00:30:00 | 5.183 | 231.667 | 5.699 | 249.373 | 5.717 | 259.8 | 6.001 | 258.233 | 22.431 | 889.133 | 18.872 | 15.2722
2019-06-29 00:45:00 | 5.218 | 230.54 | 5.873 | 247.794 | 5.932 | 259.8 | 6.085 | 259.083 | 21.831 | 889.333 | 19.424 | 16.6905
2019-06-29 01:00:00 | 5.059 | 236.82 | 5.976 | 254.425 | 6.256 | 262.867 | 6.747 | 260.533 | 21.827 | 889.633 | 19.779 | 19.073
2019-06-29 01:15:00 | 4.987 | 244.807 | 6.418 | 257.22 | 6.913 | 266.533 | 7.209 | 264.333 | 21.835 | 889.75 | 20.505 | 23.6967
2019-06-29 01:30:00 | 5.157 | 247.313 | 6.454 | 256.98 | 7.013 | 265.067 | 7.666 | 262.2 | 21.914 | 889.733 | 20.837 | 25.773
2019-06-29 01:45:00 | 5.139 | 245.56 | 6.304 | 253.176 | 6.609 | 261.6 | 7.166 | 259.967 | 21.806 | 889.733 | 21.445 | 25.3658
2019-06-29 02:00:00 | 4.901 | 247.16 | 6.098 | 255.754 | 6.604 | 264.8 | 7.004 | 263.033 | 21.823 | 889.8 | 22.024 | 22.4646
2019-06-29 02:15:00 | 4.638 | 250.78 | 5.876 | 261.439 | 6.492 | 270.133 | 7.082 | 268.733 | 21.76 | 889.617 | 22.253 | 18.9316
2019-06-29 02:30:00 | 4.753 | 239.167 | 5.922 | 254.066 | 6.601 | 264.533 | 6.868 | 264.267 | 21.398 | 889.633 | 22.765 | 19.1356
2019-06-29 02:45:00 | 4.687 | 239.333 | 6.243 | 253.177 | 6.688 | 264.2 | 6.987 | 261.9 | 20.848 | 889.7 | 23.739 | 21.0626
2019-06-29 03:00:00 | 4.288 | 233.62 | 6.097 | 249.368 | 6.862 | 260.6 | 7.298 | 261.667 | 20.685 | 889.8 | 24.155 | 21.3348
2019-06-29 03:15:00 | 5.156 | 216.773 | 5.703 | 235.868 | 6.617 | 251.9 | 6.724 | 253.267 | 19.906 | 889.983 | 25.093 | 20.2583
2019-06-29 03:30:00 | 5.388 | 217.287 | 5.674 | 232.338 | 6.301 | 248.333 | 6.446 | 250.767 | 19.61 | 889.733 | 25.339 | 21.0086
2019-06-29 03:45:00 | 5.654 | 221.88 | 6.103 | 230.581 | 6.177 | 244.933 | 6.41 | 248.117 | 19.664 | 889.9 | 25.163 | 23.0792
2019-06-29 04:00:00 | 5.339 | 221.993 | 6.298 | 230.554 | 6.354 | 244.467 | 6.408 | 246.467 | 19.931 | 889.367 | 24.752 | 26.4913
2019-06-29 04:15:00 | 6.004 | 218.553 | 6.877 | 227.688 | 7.021 | 241.567 | 7.057 | 244 | 19.727 | 889.567 | 24.736 | 30.4584
2019-06-29 04:30:00 | 5.854 | 216.927 | 7.138 | 226.831 | 7.108 | 238.733 | 7.136 | 240.967 | 19.81 | 889.6 | 24.549 | 30.9139
2019-06-29 04:45:00 | 5.871 | 220.607 | 6.998 | 229.088 | 7.184 | 242.433 | 7.1 | 244.267 | 19.581 | 890.067 | 24.507 | 28.9314
2019-06-29 05:00:00 | 5.218 | 220.02 | 6.667 | 230.141 | 6.866 | 244.133 | 6.864 | 245.467 | 19.764 | 889.583 | 24.624 | 28.7033
2019-06-29 05:15:00 | 5.932 | 215.32 | 6.992 | 223.108 | 6.998 | 235.233 | 6.861 | 236.033 | 19.41 | 890.133 | 25.061 | 26.4544
2019-06-29 05:30:00 | 5.716 | 213.467 | 7.217 | 220.614 | 7.27 | 231.767 | 6.959 | 230.933 | 19.114 | 889.9 | 25.744 | 26.3315
2019-06-29 05:45:00 | 5.913 | 212.633 | 7.816 | 218.17 | 7.657 | 227.367 | 7.361 | 226.9 | 18.623 | 889.967 | 26.299 | 26.3968
2019-06-29 06:00:00 | 5.6 | 212.333 | 7.425 | 218.315 | 7.447 | 227.833 | 7.129 | 226.733 | 18.639 | 889.583 | 26.501 | 23.5581
2019-06-29 06:15:00 | 5.384 | 210.9 | 7.108 | 218.506 | 7.216 | 226.167 | 7.19 | 223.8 | 18.556 | 889.667 | 26.507 | 16.6187
2019-06-29 06:30:00 | 3.883 | 205.133 | 6.283 | 212.479 | 6.338 | 224.167 | 6.266 | 223.2 | 18.623 | 890.05 | 26.688 | 5.4678
2019-06-29 06:45:00 | 2.815 | 175.333 | 2.746 | 185.337 | 3.75 | 202.6 | 4.699 | 210.367 | 19.623 | 889.667 | 25.301 | 5.0763
2019-06-29 07:00:00 | 4.406 | 190.36 | 4 | 198.364 | 4.316 | 205.7 | 4.873 | 206.967 | 21.056 | 889.75 | 23.248 | 7.0858
2019-06-29 07:15:00 | 4.789 | 204.153 | 5.668 | 198.903 | 5.814 | 204.1 | 5.818 | 200.1 | 21.91 | 889.75 | 22.272 | 7.9619
2019-06-29 07:30:00 | 4.55 | 201.373 | 6.053 | 199.361 | 5.845 | 204.3 | 5.856 | 201.467 | 21.868 | 889.683 | 22.128 | 9.6253
2019-06-29 07:45:00 | 4.485 | 198.58 | 5.637 | 198.633 | 5.891 | 204.7 | 5.986 | 201.6 | 23.281 | 889.433 | 20.944 | 11.2639
2019-06-29 08:00:00 | 4.721 | 210.233 | 4.852 | 205.285 | 5.294 | 207.9 | 5.825 | 202.967 | 24.41 | 889.8 | 19.6 | 10.4247
2019-06-29 08:15:00 | 5.079 | 206.187 | 4.986 | 201.94 | 4.911 | 204.867 | 4.954 | 202.233 | 25.198 | 889.167 | 18.707 | 9.5116
2019-06-29 08:30:00 | 4.724 | 205.473 | 4.532 | 202.202 | 4.706 | 205.1 | 5.003 | 201.633 | 26.031 | 889.8 | 18.229 | 8.4025
2019-06-29 08:45:00 | 4.165 | 220.68 | 4.24 | 217.812 | 4.421 | 218.5 | 4.442 | 213.7 | 26.968 | 889.1 | 17.595 | 4.1966
2019-06-29 09:00:00 | 3.398 | 225.78 | 3.321 | 220.236 | 3.619 | 225.033 | 3.686 | 221.133 | 27.514 | 889.567 | 16.867 | 2.1473
2019-06-29 09:15:00 | 2.32 | 242.72 | 2.245 | 243.729 | 2.587 | 249.217 | 3.018 | 244.817 | 28.01 | 889.5 | 16.387 | 0.72407
2019-06-29 09:30:00 | 2.551 | 273.567 | 2.801 | 263.618 | 3.068 | 267.517 | 3.419 | 261.3 | 28.931 | 889.233 | 15.727 | 0.13572
2019-06-29 09:45:00 | 2.553 | 269.033 | 2.321 | 271.456 | 2.32 | 276.333 | 2.805 | 274.133 | 28.048 | 889.5 | 15.995 | 0.23093
2019-06-29 10:00:00 | 2.099 | 195.913 | 1.641 | 200.828 | 1.728 | 207.767 | 2.173 | 208.867 | 29.098 | 889.633 | 15.813 | 0.27783
2019-06-29 10:15:00 | 1.96 | 297.213 | 2.205 | 297.371 | 2.212 | 303 | 2.452 | 304.867 | 29.027 | 889.767 | 15.323 | 0.23733
2019-06-29 10:30:00 | 2.092 | 108.186 | 1.791 | 133.602 | 1.701 | 147.9 | 1.766 | 81.202 | 28.064 | 889.467 | 15.863 | 0.21317
2019-06-29 10:45:00 | 2.528 | 59.248 | 2.565 | 93.182 | 2.646 | 66.233 | 2.955 | 47.167 | 28.956 | 889.567 | 15.876 | 0.17054
2019-06-29 11:00:00 | 3.245 | 85.6 | 2.974 | 95.59 | 2.969 | 101.6 | 2.963 | 43.067 | 29.248 | 889.667 | 15.416 | 0.070346
2019-06-29 11:15:00 | 0.486 | 71.05 | 0.499 | 131.913 | 0.718 | 106.102 | 1.175 | 116.933 | 29.781 | 889.833 | 14.976 | 0.25865
2019-06-29 11:30:00 | 1.237 | 241.447 | 0.233 | 258.604 | 0.21 | 137.478 | 1.069 | 59.76 | 29.448 | 889.733 | 14.817 | 0.79868
2019-06-29 11:45:00 | 1.59 | 50.808 | 1.084 | 96.295 | 1.007 | 58.433 | 1.41 | 65.15 | 29.464 | 889.267 | 14.905 | 0.21459
2019-06-29 12:00:00 | 2.31 | 181.045 | 2.179 | 174.46 | 2.448 | 108.578 | 2.939 | 70.646 | 30.685 | 889.833 | 14.168 | 0.10658
2019-06-29 12:15:00 | 3.507 | 141.84 | 4.113 | 126.274 | 3.967 | 129.967 | 3.903 | 127.533 | 29.514 | 889.7 | 13.853 | 0.10801
2019-06-29 12:30:00 | 3.287 | 212.713 | 3.117 | 206.815 | 3.08 | 206.3 | 3.174 | 195.633 | 30.348 | 889.533 | 13.301 | 0.34747
2019-06-29 12:45:00 | 3.15 | 204.947 | 2.796 | 191.75 | 2.351 | 193.467 | 2.388 | 176.3 | 30.785 | 889.467 | 12.699 | 0.74254
2019-06-29 13:00:00 | 3.066 | 48.493 | 3.048 | 58.716 | 3.413 | 43.442 | 3.519 | 42.133 | 30.506 | 889.267 | 12.947 | 1.5767
2019-06-29 13:15:00 | 2.28 | 126.073 | 2.185 | 108.807 | 2.396 | 101.033 | 2.864 | 81.933 | 29.814 | 889.533 | 13.757 | 1.5021
2019-06-29 13:30:00 | 3.28 | 85.26 | 3.103 | 84.113 | 3.342 | 82.767 | 3.374 | 78.4 | 29.548 | 889.167 | 13.832 | 0.32118
2019-06-29 13:45:00 | 1.577 | 48.234 | 1.777 | 34.141 | 1.947 | 48.333 | 2.442 | 44.767 | 31.165 | 889.667 | 12.2 | 0.59048
2019-06-29 14:00:00 | 2.154 | 43.303 | 1.827 | 53.379 | 2.282 | 47 | 2.634 | 52.567 | 31.758 | 889.667 | 11.871 | 0.85339
2019-06-29 14:15:00 | 4.215 | 20.58 | 4.063 | 42.66 | 4.226 | 26.167 | 4.081 | 26.033 | 30.535 | 889.6 | 12.224 | 0.99621
2019-06-29 14:30:00 | 1.596 | 144.983 | 1.328 | 132.199 | 1.123 | 145.367 | 1.277 | 117.5 | 30.227 | 889.7 | 13.104 | 0.15988
2019-06-29 14:45:00 | 2.579 | 184.9 | 2.584 | 183.096 | 2.354 | 190.167 | 2.687 | 190.067 | 30.556 | 889.233 | 12.677 | 0.50095
2019-06-29 15:00:00 | 0.939 | 151.013 | 0.447 | 147 | 0.15 | 158.867 | 0.86 | 164.533 | 31.61 | 889.3 | 12.237 | 0.15988
2019-06-29 15:15:00 | 1.382 | 217.347 | 0.856 | 249.786 | 0.563 | 250.7 | 1.53 | 226.533 | 31.561 | 889.8 | 11.569 | 2.2411
2019-06-29 15:30:00 | 3.71 | 60.759 | 3.708 | 53.62 | 3.9 | 58.967 | 3.952 | 51.267 | 30.485 | 889.333 | 12.549 | 2.1246
2019-06-29 15:45:00 | 1.922 | 58.022 | 1.617 | 42.307 | 2.028 | 76.633 | 2.775 | 34.467 | 30.878 | 889.2 | 12.413 | 0.26717
2019-06-29 16:00:00 | 0.11 | 221.608 | 0 | 82.103 | 0 | 238.633 | 0.514 | 17.333 | 31.368 | 889.467 | 12.112 | 0.1279
2019-06-29 16:15:00 | 2.216 | 287.34 | 2.03 | 286.553 | 2.104 | 288.8 | 2.574 | 273.667 | 31.545 | 889.533 | 12.027 | 0.39508
2019-06-29 16:30:00 | 0.532 | 230.762 | 0.426 | 226.146 | 0.459 | 222.768 | 0.985 | 287.733 | 31.112 | 889.4 | 12.329 | 0.95998
2019-06-29 16:45:00 | 0.802 | 143.618 | 0.24 | 133.508 | 1.011 | 253.933 | 1.924 | 276.533 | 31.208 | 889.2 | 12.049 | 3.2551
2019-06-29 17:00:00 | 4.638 | 65.168 | 4.416 | 62.741 | 4.418 | 66.267 | 4.296 | 62.6 | 30.814 | 889.467 | 11.744 | 2.7925
2019-06-29 17:15:00 | 1.989 | 63.455 | 1.366 | 59.044 | 1.542 | 67.4 | 2.029 | 72.333 | 31.829 | 889.633 | 10.949 | 0.17338
2019-06-29 17:30:00 | 2.773 | 70.944 | 2.291 | 37.592 | 1.49 | 59.535 | 2.092 | 39.267 | 30.94 | 889.3 | 11.623 | 0.13927
2019-06-29 17:45:00 | 1.694 | 219.473 | 0.736 | 204.603 | 0.337 | 248.133 | 1.485 | 252.4 | 31.517 | 889.333 | 10.908 | 0.16485
2019-06-29 18:00:00 | 3.33 | 301.015 | 3.403 | 318.162 | 3.502 | 334.067 | 3.645 | 312.067 | 30.785 | 889.5 | 12.007 | 0.22667
2019-06-29 18:15:00 | 1.816 | 171.407 | 1.544 | 163.361 | 2.015 | 68.968 | 2.452 | 12.738 | 31.134 | 889.733 | 11.893 | 1.2158
2019-06-29 18:30:00 | 0.17 | 133.923 | 0 | 271.04 | 0 | 316 | 0.263 | 303.067 | 33.13 | 889.3 | 10.28 | 1.5405
2019-06-29 18:45:00 | 2.741 | 54.399 | 2.916 | 66.638 | 3.279 | 57.233 | 3.355 | 73.167 | 32.946 | 888.933 | 9.561 | 0.46045
2019-06-29 19:00:00 | 0.496 | 232.222 | 0.35 | 306.905 | 0.503 | 219.602 | 0.969 | 304.733 | 32.592 | 888.9 | 10.059 | 0.11511
2019-06-29 19:15:00 | 1.163 | 64.782 | 0.646 | 79.24 | 0.85 | 72.4 | 1.969 | 76.033 | 32.93 | 888.667 | 9.959 | 0.13288
2019-06-29 19:30:00 | 2.414 | 95.012 | 2.144 | 96.057 | 1.856 | 96.567 | 2.159 | 87.2 | 32.184 | 888.9 | 10.339 | 0.16556
2019-06-29 19:45:00 | 0.562 | 287.633 | 0.08 | 244.217 | 0.246 | 248.867 | 1.11 | 245.233 | 33.18 | 889.133 | 9.992 | 0.11795
2019-06-29 20:00:00 | 2.818 | 304.693 | 2.999 | 300.93 | 3.108 | 302.167 | 3.266 | 299.8 | 31.703 | 889.167 | 10.411 | 0.19967
2019-06-29 20:15:00 | 1.853 | 248.467 | 1.814 | 258.134 | 1.92 | 267.2 | 2.356 | 269.383 | 32.792 | 889.233 | 10.257 | 0.22951
2019-06-29 20:30:00 | 0.852 | 290.36 | 0.67 | 297.147 | 0.799 | 297.067 | 1.731 | 302.967 | 32.222 | 889.1 | 10.163 | 0.18191
2019-06-29 20:45:00 | 0.273 | 8.029 | 0 | 56.897 | 0 | 336 | 0.488 | 334 | 31.625 | 889.3 | 10.964 | 0.081005
2019-06-29 21:00:00 | 2.92 | 77.878 | 2.946 | 74.408 | 3.06 | 75.667 | 3.14 | 71.333 | 31.727 | 889.7 | 10.731 | 0.10161
2019-06-29 21:15:00 | 1.861 | 37.716 | 1.097 | 35.102 | 1.473 | 40.733 | 1.915 | 33.567 | 31.094 | 889.8 | 10.949 | 0.23946
2019-06-29 21:30:00 | 1.972 | 53.485 | 2.125 | 48.967 | 2.203 | 56.167 | 2.509 | 48.3 | 30.535 | 889.667 | 11.843 | 0.22099
2019-06-29 21:45:00 | 1.73 | 55.393 | 1.759 | 46.329 | 1.888 | 53.9 | 2.308 | 45 | 29.814 | 889.133 | 12.597 | 0.1947
2019-06-29 22:00:00 | 1.461 | 51.14 | 1.494 | 41.155 | 1.792 | 46.833 | 2.238 | 43.1 | 29.631 | 889.333 | 13.061 | 0.18191
2019-06-29 22:15:00 | 1.48 | 48.527 | 1.959 | 46.683 | 2.38 | 46.367 | 2.722 | 40.133 | 29.564 | 889.267 | 13.285 | 0.18475
2019-06-29 22:30:00 | 0 | 49.01 | 1.194 | 56.085 | 1.842 | 56.333 | 2.363 | 43.7 | 28.689 | 889.8 | 13.661 | 0.19185
2019-06-29 22:45:00 | 0 | 52.073 | 0 | 68.265 | 1.034 | 71 | 1.986 | 63.6 | 27.048 | 889.933 | 14.808 | 0.18048
2019-06-29 23:00:00 | 0 | 41.222 | 0 | 68.262 | 1.609 | 71.033 | 1.998 | 63 | 26.16 | 889.6 | 15.627 | 0.18191
2019-06-29 23:15:00 | 0 | 344.853 | 0 | 68.262 | 0.615 | 68.017 | 2.033 | 61.933 | 27.523 | 889.433 | 15.251 | 0.16698
2019-06-29 23:30:00 | 1.61 | 225.653 | 0 | 68.26 | 1.372 | 65 | 2.294 | 62.3 | 26.964 | 889.3 | 15.283 | 0.17906
2019-06-29 23:45:00 | 1.45 | 220.067 | 0 | 68.245 | 0.507 | 65 | 1.856 | 66 | 26.823 | 889.7 | 15.245 | 0.17196