## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-30 00:00:00 | 2.092 | 225.38 | 0 | 68.218 | 0 | 65 | 1.502 | 62.067 | 26.352 | 889.367 | 15.653 | 0.17054
2019-06-30 00:15:00 | 2.51 | 214.3 | 0 | 68.272 | 0 | 65 | 1.697 | 66.233 | 26.444 | 889.267 | 15.709 | 0.17622
2019-06-30 00:30:00 | 3.595 | 214.653 | 0.468 | 147.165 | 0.444 | 94.9 | 2.196 | 95.767 | 26.248 | 889.467 | 16.011 | 0.18191
2019-06-30 00:45:00 | 4.989 | 217.513 | 2.33 | 194.031 | 1.678 | 147.3 | 2.515 | 126.9 | 25.014 | 889.6 | 17.101 | 0.19612
2019-06-30 01:00:00 | 6.331 | 222.553 | 3.198 | 208.624 | 2.07 | 181.233 | 2.838 | 146.933 | 23.048 | 889.667 | 19.269 | 0.17693
2019-06-30 01:15:00 | 6.705 | 223.133 | 4.857 | 218.665 | 3.499 | 208.5 | 3.065 | 179.733 | 21.835 | 889.333 | 19.947 | 0.70417
2019-06-30 01:30:00 | 6.767 | 220.12 | 5.835 | 227.126 | 5.141 | 223 | 4.518 | 206.267 | 21.81 | 889.883 | 20.725 | 6.7859
2019-06-30 01:45:00 | 6.552 | 219.187 | 6.686 | 227.431 | 5.649 | 228.567 | 4.934 | 215.967 | 21.964 | 889.633 | 21.456 | 7.6961
2019-06-30 02:00:00 | 6.859 | 220.667 | 6.507 | 224.502 | 5.784 | 230.667 | 4.978 | 221.1 | 21.464 | 889.5 | 21.669 | 9.3063
2019-06-30 02:15:00 | 6.456 | 223.693 | 7.609 | 226.229 | 6.929 | 234.033 | 5.993 | 227.567 | 21.468 | 889.717 | 21.589 | 11.9105
2019-06-30 02:30:00 | 7.044 | 226.22 | 8.646 | 232.827 | 8.363 | 241.6 | 7.882 | 237.1 | 21.456 | 889.333 | 21.621 | 12.6744
2019-06-30 02:45:00 | 6.066 | 225.013 | 7.107 | 238.382 | 7.067 | 253.167 | 6.856 | 256.717 | 21.594 | 889.733 | 21.515 | 10.6088
2019-06-30 03:00:00 | 4.746 | 225.96 | 5.676 | 246.152 | 6.661 | 260.833 | 6.848 | 264.067 | 21.944 | 889.717 | 21.523 | 10.1483
2019-06-30 03:15:00 | 4.969 | 233.78 | 6.254 | 253.171 | 6.481 | 268.667 | 6.686 | 268.5 | 21.577 | 889.633 | 22.315 | 11.7677
2019-06-30 03:30:00 | 5.135 | 233.26 | 6.585 | 251.686 | 6.769 | 265.533 | 7.13 | 264.667 | 21.281 | 889.383 | 23.429 | 17.3471
2019-06-30 03:45:00 | 5.738 | 233.48 | 6.458 | 249.749 | 6.508 | 264.133 | 7.004 | 264.767 | 21.373 | 889.483 | 24.085 | 21.2374
2019-06-30 04:00:00 | 5.33 | 219.793 | 6.366 | 232.231 | 6.612 | 251.3 | 6.536 | 255.033 | 20.935 | 890.033 | 24.971 | 21.1379
2019-06-30 04:15:00 | 5.881 | 220.36 | 6.784 | 229.352 | 6.572 | 243.267 | 6.451 | 247.067 | 20.394 | 889.75 | 25.248 | 19.5477
2019-06-30 04:30:00 | 5.468 | 221.84 | 6.487 | 231.47 | 6.351 | 244.967 | 6.193 | 247.533 | 20.673 | 889.483 | 25.099 | 14.5936
2019-06-30 04:45:00 | 4.92 | 216.32 | 5.885 | 227.743 | 5.613 | 242.367 | 5.373 | 247.5 | 20.973 | 889.617 | 25.36 | 8.7286
2019-06-30 05:00:00 | 4.909 | 212.5 | 5.476 | 222.762 | 5.014 | 236 | 4.671 | 241.567 | 20.681 | 889.633 | 25.739 | 4.996
2019-06-30 05:15:00 | 3.514 | 195.06 | 4.462 | 215.547 | 3.757 | 230.033 | 3.36 | 239.4 | 20.156 | 889.417 | 25.664 | 3.3588
2019-06-30 05:30:00 | 4.851 | 179.547 | 4.588 | 201.733 | 3.872 | 213.467 | 2.964 | 214.667 | 20.16 | 889.633 | 25.904 | 4.2556
2019-06-30 05:45:00 | 5.66 | 191.707 | 4.784 | 204.793 | 4.038 | 213.5 | 2.993 | 212 | 20.218 | 889.5 | 26.037 | 5.4834
2019-06-30 06:00:00 | 7.049 | 200.167 | 5.783 | 209.006 | 5.32 | 215.233 | 4.11 | 212.033 | 20.848 | 889.467 | 25.333 | 8.4813
2019-06-30 06:15:00 | 6.623 | 205.727 | 6.364 | 205.148 | 6.093 | 210.367 | 5.971 | 209.767 | 19.964 | 889.917 | 26.139 | 9.8954
2019-06-30 06:30:00 | 5.269 | 200.687 | 5.789 | 202.52 | 5.303 | 204.2 | 5.149 | 201.867 | 19.798 | 889.717 | 26.363 | 11.5773
2019-06-30 06:45:00 | 6.098 | 207.887 | 6.306 | 204.566 | 6.06 | 207.733 | 5.838 | 203.933 | 19.885 | 889.633 | 26.501 | 12.7085
2019-06-30 07:00:00 | 5.834 | 213.46 | 7.07 | 212.552 | 6.611 | 215.433 | 6.322 | 212.967 | 21.402 | 889.983 | 24.731 | 13.2244
2019-06-30 07:15:00 | 5.28 | 212.68 | 7.24 | 212.927 | 6.751 | 216.3 | 6.474 | 213.167 | 21.948 | 889.733 | 23.275 | 12.9124
2019-06-30 07:30:00 | 5.82 | 216.267 | 7.859 | 213.647 | 7.595 | 218.967 | 6.986 | 214.2 | 23.331 | 889.8 | 21.68 | 16.7914
2019-06-30 07:45:00 | 4.781 | 210.747 | 5.94 | 207.586 | 7.068 | 211.2 | 7.23 | 207.7 | 24.76 | 888.967 | 20.525 | 13.9534
2019-06-30 08:00:00 | 4.787 | 206.62 | 5.06 | 206.252 | 5.714 | 210.367 | 6.639 | 209.367 | 25.873 | 889.667 | 19.181 | 14.4124
2019-06-30 08:15:00 | 5.355 | 216.073 | 5.521 | 213.313 | 5.693 | 217.5 | 5.912 | 214.7 | 27.039 | 889.767 | 18.208 | 9.6197
2019-06-30 08:30:00 | 4.8 | 206.307 | 4.861 | 201.528 | 5.001 | 206.233 | 5.129 | 206.867 | 27.739 | 889.833 | 17.387 | 8.1722
2019-06-30 08:45:00 | 4.363 | 215.507 | 4.521 | 214.199 | 4.741 | 218.2 | 5.133 | 213.2 | 28.873 | 889.633 | 16.483 | 5.1282
2019-06-30 09:00:00 | 2.719 | 217.873 | 2.812 | 216.333 | 2.947 | 220.067 | 3.165 | 217.5 | 29.448 | 889.4 | 15.76 | 1.7999
2019-06-30 09:15:00 | 2.988 | 230.6 | 3.06 | 232.184 | 3.004 | 237.167 | 3.196 | 231.067 | 30.385 | 889.533 | 15.264 | 0.42137
2019-06-30 09:30:00 | 3.156 | 255.227 | 3.252 | 250.876 | 3.325 | 259 | 3.412 | 254.4 | 29.735 | 889 | 15.233 | 0.79726
2019-06-30 09:45:00 | 2.518 | 279.027 | 2.653 | 276.9 | 2.617 | 274.467 | 2.98 | 272.7 | 30.473 | 889.7 | 15.105 | 0.77594
2019-06-30 10:00:00 | 3.396 | 259.38 | 3.524 | 261.629 | 3.328 | 264.167 | 3.597 | 261.933 | 29.848 | 889.467 | 15.512 | 1.0076
2019-06-30 10:15:00 | 3.205 | 249.073 | 3.301 | 248.126 | 3.645 | 257.1 | 4.004 | 254.033 | 30.768 | 889.9 | 15.008 | 1.0467
2019-06-30 10:30:00 | 3.151 | 297.147 | 3.13 | 308.682 | 3.328 | 316.2 | 3.571 | 311.867 | 29.781 | 889.167 | 15.505 | 0.99977
2019-06-30 10:45:00 | 3.734 | 315.427 | 4.161 | 310.202 | 4.193 | 315.633 | 4.528 | 311.5 | 29.702 | 889.367 | 15.751 | 2.3129
2019-06-30 11:00:00 | 3.321 | 314.88 | 3.264 | 322.933 | 3.352 | 302.267 | 3.766 | 307.333 | 30.56 | 889.4 | 15.819 | 3.1094
2019-06-30 11:15:00 | 5.348 | 306.507 | 5.431 | 319.604 | 5.282 | 324.633 | 5.517 | 320.967 | 30.585 | 889.333 | 15.629 | 2.4998
2019-06-30 11:30:00 | 4.821 | 331.547 | 4.856 | 331.043 | 5.017 | 330.667 | 5.075 | 327.367 | 30.689 | 889.2 | 15.447 | 2.644
2019-06-30 11:45:00 | 3.436 | 195.164 | 3.78 | 272.488 | 3.9 | 227.901 | 4.074 | 238.2 | 31.354 | 889.2 | 15.504 | 1.6542
2019-06-30 12:00:00 | 3.556 | 192.75 | 3.794 | 201.546 | 3.886 | 157.101 | 4.035 | 192.433 | 31.573 | 889.333 | 14.899 | 2.0599
2019-06-30 12:15:00 | 1.426 | 283.167 | 1.511 | 270.379 | 1.284 | 265.883 | 1.946 | 272.383 | 31.008 | 889.533 | 14.941 | 1.5362
2019-06-30 12:30:00 | 1.542 | 245.511 | 1.401 | 267.511 | 1.727 | 232.4 | 2.299 | 264.5 | 31.924 | 889.567 | 14.296 | 1.9278
2019-06-30 12:45:00 | 2.696 | 125.979 | 2.044 | 158.634 | 1.892 | 176.467 | 2.326 | 182.333 | 31.532 | 889.467 | 13.411 | 1.8851
2019-06-30 13:00:00 | 3.935 | 19.89 | 3.984 | 65.658 | 4.053 | 47.9 | 4.077 | 22.569 | 32.432 | 889.567 | 12.995 | 1.4538
2019-06-30 13:15:00 | 2.972 | 285.827 | 3.058 | 288.588 | 3.248 | 297.033 | 3.726 | 301.167 | 32.51 | 889.533 | 12.687 | 3.1215
2019-06-30 13:30:00 | 3.142 | 180.833 | 2.913 | 177.38 | 3.125 | 180.6 | 3.324 | 182 | 32.497 | 889.267 | 12.461 | 4.0161
2019-06-30 13:45:00 | 3.706 | 330.747 | 3.536 | 319.62 | 3.632 | 320.5 | 3.618 | 315.933 | 32.504 | 889.867 | 12.713 | 3.3482
2019-06-30 14:00:00 | 4.917 | 301.333 | 5.01 | 297.467 | 5.027 | 307.4 | 5.562 | 307.433 | 32.261 | 889.6 | 12.768 | 2.3108
2019-06-30 14:15:00 | 6.523 | 331.893 | 6.65 | 328.487 | 6.657 | 331.733 | 6.696 | 330.667 | 31.896 | 889.333 | 13.235 | 5.6959
2019-06-30 14:30:00 | 2.989 | 221.01 | 3.085 | 206.231 | 3.17 | 211.9 | 3.482 | 216.6 | 32.333 | 889.833 | 12.657 | 5.0955
2019-06-30 14:45:00 | 3.178 | 290.753 | 3.347 | 289.16 | 3.551 | 295.967 | 4.53 | 295.8 | 32.227 | 889.1 | 13.092 | 7.2485
2019-06-30 15:00:00 | 3.513 | 319.8 | 3.488 | 310.978 | 3.404 | 308.667 | 3.526 | 305.467 | 32.554 | 889.4 | 12.748 | 7.3757
2019-06-30 15:15:00 | 0.346 | 162.143 | 0.276 | 57.104 | 0.027 | 82.475 | 0.769 | 80.4 | 33.571 | 889.7 | 11.731 | 1.0815
2019-06-30 15:30:00 | 4.043 | 319.787 | 4.075 | 309.941 | 3.843 | 311.333 | 4.001 | 300.45 | 32.334 | 889.5 | 12.58 | 2.1971
2019-06-30 15:45:00 | 3.194 | 228.1 | 3.182 | 228.54 | 3.217 | 229.633 | 3.478 | 221.617 | 32.669 | 889.4 | 13.015 | 2.5339
2019-06-30 16:00:00 | 4.577 | 262.253 | 4.379 | 261.142 | 4.294 | 265.367 | 4.472 | 261.833 | 32.498 | 889.3 | 13.124 | 1.8368
2019-06-30 16:15:00 | 3.788 | 285.347 | 3.999 | 316.94 | 4.132 | 315.567 | 4.621 | 312.833 | 32.405 | 889.433 | 12.789 | 2.3193
2019-06-30 16:30:00 | 1.633 | 157.318 | 1.043 | 150.21 | 0.836 | 183.696 | 1.512 | 220.522 | 32.727 | 889.522 | 12.263 | 2.6774
2019-06-30 16:45:00 | 3.731 | 257.573 | 3.755 | 307.586 | 4.124 | 320.6 | 4.402 | 314.167 | 32.697 | 889.667 | 12.032 | 3.4562
2019-06-30 17:00:00 | 4.76 | 286.967 | 4.516 | 294.534 | 4.783 | 302.483 | 4.669 | 276.8 | 32.946 | 889.3 | 11.976 | 4.9896
2019-06-30 17:15:00 | 1.362 | 91.694 | 0.523 | 48.304 | 0.37 | 219.375 | 0.642 | 181.633 | 33.613 | 889.6 | 11.62 | 3.3709
2019-06-30 17:30:00 | 4.216 | 290.2 | 3.917 | 283.827 | 3.913 | 294.867 | 4.367 | 301.433 | 33.263 | 889.467 | 12.059 | 6.8563
2019-06-30 17:45:00 | 3.568 | 210.6 | 3.511 | 209.361 | 2.972 | 211.067 | 2.919 | 206.167 | 33.413 | 889.433 | 12.181 | 22.8767
2019-06-30 18:00:00 | 7.583 | 228.84 | 7.719 | 226.057 | 8.28 | 232.1 | 8.054 | 228 | 33.18 | 889.533 | 12.773 | 20.1872
2019-06-30 18:15:00 | 6.696 | 175.23 | 7.215 | 250.667 | 7.472 | 185.767 | 7.508 | 227.833 | 32.83 | 889.433 | 12.825 | 10.9449
2019-06-30 18:30:00 | 3.494 | 314.353 | 3.408 | 320.605 | 3.468 | 317.2 | 3.711 | 318.3 | 32.41 | 889.433 | 13.424 | 20.2398
2019-06-30 18:45:00 | 13.508 | 281.773 | 14.545 | 281.313 | 14.835 | 283.4 | 14.865 | 280.633 | 31.812 | 889.7 | 14.563 | 54.8202
2019-06-30 19:00:00 | 7.262 | 293.113 | 7.34 | 290.117 | 7.253 | 295.833 | 7.427 | 295.267 | 32.134 | 889.333 | 14.409 | 24.3383
2019-06-30 19:15:00 | 3.028 | 309.054 | 3 | 313.548 | 2.927 | 319.2 | 3.203 | 325.133 | 32.112 | 889.267 | 14.157 | 1.1852
2019-06-30 19:30:00 | 4.067 | 108.715 | 4.059 | 151.3 | 3.848 | 63.7 | 3.95 | 59.667 | 31.923 | 889.7 | 14.573 | 3.1499
2019-06-30 19:45:00 | 1.097 | 75.893 | 0 | 95.283 | 0 | 93.7 | 0.555 | 348 | 31.769 | 889.467 | 14.571 | 1.208
2019-06-30 20:00:00 | 2.714 | 55.462 | 2.658 | 116.653 | 2.422 | 162.333 | 2.638 | 216.067 | 31.786 | 889.9 | 14.616 | 0.35173
2019-06-30 20:15:00 | 1.866 | 183.086 | 1.478 | 221.611 | 1.274 | 263.7 | 1.902 | 225.967 | 31.856 | 889.267 | 14.449 | 1.0964
2019-06-30 20:30:00 | 4.377 | 321.053 | 4.386 | 311.393 | 4.739 | 312.633 | 5.237 | 310.033 | 31.676 | 889.533 | 14.999 | 20.88
2019-06-30 20:45:00 | 7.649 | 286.073 | 8.702 | 288.564 | 8.805 | 292.7 | 9.477 | 291.433 | 31.225 | 889.133 | 14.661 | 37.7894
2019-06-30 21:00:00 | 6.207 | 287.027 | 6.926 | 281.117 | 7.123 | 285.2 | 7.592 | 283.133 | 31.023 | 890 | 14.901 | 27.958
2019-06-30 21:15:00 | 5.469 | 288.813 | 6.29 | 287.051 | 6.537 | 291.933 | 6.895 | 289.3 | 31.014 | 889.6 | 15.071 | 20.583
2019-06-30 21:30:00 | 6.175 | 288.947 | 7.122 | 286.063 | 7.492 | 288.667 | 7.911 | 285.733 | 30.468 | 889.5 | 15.659 | 20.4608
2019-06-30 21:45:00 | 4.612 | 279.147 | 5.565 | 277.04 | 6.248 | 281.667 | 6.64 | 279.6 | 30.002 | 889.7 | 16.179 | 18.1145
2019-06-30 22:00:00 | 5.575 | 278.713 | 6.586 | 280.278 | 7.019 | 284.367 | 7.517 | 282.267 | 29.981 | 889.233 | 16.551 | 15.8172
2019-06-30 22:15:00 | 4.07 | 295.6 | 4.933 | 293.672 | 5.247 | 299.833 | 5.826 | 298.7 | 29.514 | 889.5 | 16.419 | 12.0981
2019-06-30 22:30:00 | 4.202 | 301.813 | 5.231 | 297.348 | 5.852 | 302.733 | 6.605 | 297.267 | 29.698 | 889.5 | 16.481 | 13.2087
2019-06-30 22:45:00 | 3.886 | 283.6 | 5.081 | 286.342 | 5.647 | 292.033 | 6.266 | 290.967 | 29.364 | 889.6 | 16.829 | 14.0834
2019-06-30 23:00:00 | 4.239 | 280.067 | 5.572 | 283.182 | 5.951 | 289.6 | 6.354 | 288.5 | 29.064 | 889.467 | 17.223 | 14.2675
2019-06-30 23:15:00 | 4.492 | 270.92 | 5.844 | 280.106 | 6.198 | 286.133 | 6.507 | 285.667 | 28.652 | 889.8 | 17.548 | 16.5455
2019-06-30 23:30:00 | 5.101 | 271.133 | 6.281 | 274.452 | 6.645 | 279.5 | 7.008 | 279 | 28.423 | 889.533 | 17.585 | 16.3551
2019-06-30 23:45:00 | 4.122 | 252.56 | 5.471 | 264.164 | 6.037 | 274.633 | 6.416 | 274.767 | 27.723 | 889.367 | 18.224 | 16.9982