## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-01 00:00:00 | 4.566 | 258.433 | 5.63 | 268.396 | 6.134 | 275.767 | 6.48 | 273.967 | 27.031 | 889.667 | 19.023 | 18.425
2019-07-01 00:15:00 | 4.902 | 248.193 | 5.77 | 260.842 | 6.006 | 271.533 | 6.354 | 269.3 | 26.123 | 889.633 | 19.637 | 20.3499
2019-07-01 00:30:00 | 5.099 | 240.667 | 6.123 | 248.931 | 6.076 | 263.133 | 6.302 | 263 | 25.731 | 889.667 | 20.16 | 23.0145
2019-07-01 00:45:00 | 7.647 | 253.787 | 9.539 | 259.043 | 10.401 | 266.433 | 10.639 | 263.367 | 25.289 | 889.633 | 20.701 | 51.5992
2019-07-01 01:00:00 | 7.932 | 274.827 | 9.3 | 275.219 | 10.1 | 280.467 | 10.639 | 276.4 | 26.439 | 889.783 | 23.501 | 59.2193
2019-07-01 01:15:00 | 8.228 | 273.013 | 9.301 | 275.425 | 10.053 | 280.367 | 10.525 | 279.333 | 26.198 | 889.9 | 25.643 | 57.6135
2019-07-01 01:30:00 | 7.239 | 268.587 | 8.922 | 273.335 | 9.372 | 277.833 | 9.772 | 275.667 | 25.777 | 889.483 | 27.171 | 46.967
2019-07-01 01:45:00 | 6.372 | 268.253 | 7.945 | 270.344 | 8.556 | 277.333 | 8.996 | 274.133 | 25.41 | 890.183 | 28.309 | 36.3377
2019-07-01 02:00:00 | 5.47 | 273.787 | 6.729 | 273.828 | 7.303 | 279.5 | 7.962 | 276.533 | 25.381 | 889.95 | 28.981 | 30.6624
2019-07-01 02:15:00 | 5.302 | 263.227 | 6.497 | 265.174 | 6.92 | 272.233 | 7.335 | 269.833 | 25.052 | 889.933 | 29.549 | 29.3549
2019-07-01 02:30:00 | 5.041 | 260.807 | 6.242 | 264.596 | 6.484 | 271.633 | 6.959 | 268.267 | 24.706 | 889.733 | 30.307 | 26.6029
2019-07-01 02:45:00 | 5.571 | 255.647 | 6.767 | 259.204 | 7.17 | 266.433 | 7.596 | 264.567 | 24.618 | 889.55 | 30.515 | 25.7971
2019-07-01 03:00:00 | 5.317 | 241.207 | 6.482 | 244.899 | 7.046 | 254.667 | 7.274 | 253.05 | 24.206 | 889.483 | 30.757 | 30.2936
2019-07-01 03:15:00 | 5.717 | 247.293 | 6.856 | 251.247 | 7.139 | 259.833 | 7.485 | 257.567 | 23.731 | 890.2 | 31.723 | 29.4487
2019-07-01 03:30:00 | 5.975 | 244.433 | 6.734 | 250.713 | 6.9 | 258.833 | 7.317 | 257.183 | 23.381 | 889.617 | 32.312 | 27.506
2019-07-01 03:45:00 | 5.78 | 241.247 | 7.043 | 245.592 | 7.168 | 253.367 | 7.314 | 250.55 | 23.048 | 889.75 | 32.491 | 27.5934
2019-07-01 04:00:00 | 5.272 | 241.707 | 6.887 | 243.395 | 7.212 | 252.767 | 7.474 | 250.417 | 23.381 | 889.033 | 32.091 | 27.5679
2019-07-01 04:15:00 | 5.543 | 240.847 | 6.584 | 245.081 | 6.908 | 253.1 | 7.085 | 251.283 | 23.739 | 890.067 | 31.397 | 23.5659
2019-07-01 04:30:00 | 5.161 | 236.047 | 6.392 | 239.578 | 6.781 | 248.633 | 7.093 | 246.417 | 24.139 | 889.5 | 31.157 | 21.9963
2019-07-01 04:45:00 | 4.898 | 237.447 | 6.18 | 237.574 | 6.649 | 246.3 | 6.724 | 243.6 | 23.985 | 890.133 | 30.805 | 20.1275
2019-07-01 05:00:00 | 5.671 | 227.62 | 6.499 | 230.578 | 6.695 | 239.533 | 6.805 | 236.967 | 23.581 | 889.883 | 30.981 | 23.6221
2019-07-01 05:15:00 | 5.964 | 220.167 | 7.148 | 222.348 | 7.606 | 230 | 7.529 | 227.367 | 23.681 | 889.667 | 31.067 | 29.8424
2019-07-01 05:30:00 | 5.881 | 214.593 | 7.517 | 213.278 | 7.98 | 220 | 7.957 | 218.6 | 23.564 | 889.5 | 31.136 | 28.8682
2019-07-01 05:45:00 | 6.085 | 220.313 | 7.773 | 216.335 | 8.1 | 221.667 | 7.946 | 219.633 | 23.281 | 889.483 | 31.632 | 33.4137
2019-07-01 06:00:00 | 6.292 | 227.54 | 7.728 | 223.45 | 8.112 | 227.833 | 8.136 | 223 | 23.464 | 890.083 | 31.291 | 30.0854
2019-07-01 06:15:00 | 5.658 | 234.467 | 6.992 | 231.492 | 7.449 | 237.433 | 7.61 | 233.133 | 23.602 | 889.617 | 31.093 | 26.9688
2019-07-01 06:30:00 | 5.238 | 239.953 | 6.43 | 240.557 | 7.379 | 247.333 | 7.877 | 243.733 | 24.148 | 889.6 | 30.651 | 31.1932
2019-07-01 06:45:00 | 6.671 | 242.693 | 7.788 | 240.666 | 8.35 | 246.3 | 8.373 | 241.467 | 24.468 | 889.667 | 30.139 | 35.9675
2019-07-01 07:00:00 | 6.605 | 230.907 | 7.898 | 227.79 | 8.43 | 233.8 | 8.558 | 230.667 | 24.594 | 889.85 | 29.851 | 32.6711
2019-07-01 07:15:00 | 5.079 | 239.813 | 6.102 | 238.825 | 6.269 | 244.133 | 6.412 | 236.1 | 24.473 | 889.717 | 30.011 | 18.1493
2019-07-01 07:30:00 | 5.694 | 231.947 | 6.762 | 228.515 | 7.32 | 232.6 | 7.547 | 227.733 | 24.623 | 889.833 | 29.771 | 26.637
2019-07-01 07:45:00 | 5.34 | 242.133 | 5.775 | 242.557 | 6.293 | 248.517 | 6.503 | 244.2 | 26.11 | 890.283 | 27.579 | 16.3501
2019-07-01 08:00:00 | 5.49 | 243.8 | 5.694 | 241.417 | 5.796 | 246.367 | 5.97 | 240.333 | 27.194 | 889.85 | 25.36 | 10.429
2019-07-01 08:15:00 | 4.745 | 241.733 | 4.705 | 239.929 | 4.867 | 246.433 | 5.089 | 240.65 | 28.135 | 889.767 | 23.925 | 7.1185
2019-07-01 08:30:00 | 3.729 | 253.707 | 3.889 | 249.326 | 4.03 | 253.9 | 4.306 | 248.867 | 28.185 | 889.767 | 24.483 | 6.5074
2019-07-01 08:45:00 | 5.095 | 264.413 | 5.232 | 261.654 | 5.265 | 264.9 | 5.372 | 261.517 | 28.289 | 890.333 | 23.843 | 12.9941
2019-07-01 09:00:00 | 6.585 | 233.56 | 6.496 | 232.435 | 6.77 | 238 | 6.704 | 234.133 | 28.527 | 889.917 | 23.696 | 17.772
2019-07-01 09:15:00 | 5.113 | 263.327 | 5.202 | 265.422 | 5.446 | 267.65 | 5.875 | 268.417 | 28.548 | 889.6 | 23.691 | 13.3018
2019-07-01 09:30:00 | 7.247 | 268.627 | 7.349 | 270.392 | 7.46 | 273.467 | 7.71 | 269.467 | 27.852 | 889.683 | 25.307 | 28.0738
2019-07-01 09:45:00 | 6.911 | 277.067 | 7.249 | 278.221 | 7.589 | 279.1 | 7.901 | 274.733 | 27.902 | 889.767 | 25.989 | 27.1877
2019-07-01 10:00:00 | 6.616 | 265.913 | 6.986 | 265.089 | 6.989 | 268.267 | 7.249 | 261.917 | 28.035 | 889.3 | 24.827 | 24.5927
2019-07-01 10:15:00 | 5.999 | 271.82 | 6.434 | 273.263 | 6.545 | 273.85 | 6.769 | 267.033 | 27.602 | 890.117 | 25.584 | 22.871
2019-07-01 10:30:00 | 7.293 | 274.153 | 7.451 | 276.636 | 7.472 | 278.733 | 7.753 | 274.733 | 27.514 | 889.933 | 25.04 | 24.8499
2019-07-01 10:45:00 | 7.412 | 272.64 | 7.873 | 273.444 | 8.094 | 276.233 | 8.135 | 272.333 | 28.785 | 889.75 | 22.792 | 31.3005
2019-07-01 11:00:00 | 7.562 | 274.427 | 7.918 | 274.501 | 8.111 | 280.133 | 8.26 | 274.933 | 28.777 | 889.467 | 22.515 | 28.0112
2019-07-01 11:15:00 | 4.621 | 283.68 | 4.678 | 280.47 | 5.047 | 286.333 | 5.345 | 281.317 | 29.231 | 889.617 | 21.653 | 26.5958
2019-07-01 11:30:00 | 6.648 | 289.747 | 7.098 | 288.965 | 7.188 | 291.067 | 7.571 | 288.117 | 29.514 | 889.65 | 20.547 | 35.0281
2019-07-01 11:45:00 | 8.67 | 320.04 | 9.171 | 317.332 | 9.575 | 321.567 | 10.043 | 318.833 | 29.381 | 889.483 | 20.6 | 33.9118
2019-07-01 12:00:00 | 7.234 | 285.627 | 7.532 | 288.801 | 7.678 | 295.833 | 8.07 | 293.033 | 29.131 | 889.55 | 20.883 | 29.4303
2019-07-01 12:15:00 | 6.664 | 312 | 6.92 | 303.542 | 7.1 | 308.833 | 7.469 | 307.467 | 30.014 | 889.467 | 19.847 | 24.0818
2019-07-01 12:30:00 | 7.341 | 290.96 | 7.442 | 291.369 | 7.676 | 297.1 | 7.924 | 293.3 | 29.731 | 889.5 | 20.255 | 24.6005
2019-07-01 12:45:00 | 5.246 | 250.093 | 5.868 | 251.219 | 6.031 | 258.467 | 6.083 | 254.933 | 30.081 | 889.567 | 19.949 | 16.7267
2019-07-01 13:00:00 | 6.074 | 274.127 | 6.407 | 275.243 | 6.479 | 280.8 | 6.638 | 274 | 30.827 | 889.567 | 19.649 | 20.3208
2019-07-01 13:15:00 | 6.459 | 287.953 | 6.695 | 281.928 | 7.006 | 287.333 | 7.547 | 285.567 | 30.452 | 889.467 | 19.729 | 17.9439
2019-07-01 13:30:00 | 4.295 | 255.133 | 4.474 | 257.598 | 4.528 | 264.717 | 5.077 | 266.767 | 30.494 | 889.333 | 19.652 | 11.1005
2019-07-01 13:45:00 | 6.077 | 296.96 | 6.21 | 297.392 | 6.395 | 300.467 | 6.596 | 292.233 | 30.068 | 889.4 | 19.825 | 16.4361
2019-07-01 14:00:00 | 8.05 | 274.873 | 8.553 | 273.339 | 8.499 | 274.567 | 8.618 | 268.783 | 30.114 | 889.217 | 20.049 | 20.4913
2019-07-01 14:15:00 | 6.097 | 257.373 | 6.337 | 260.324 | 6.491 | 271.067 | 6.893 | 268.383 | 30.66 | 889.133 | 19.26 | 14.0678
2019-07-01 14:30:00 | 7.929 | 281.14 | 8.468 | 279.483 | 8.428 | 284.433 | 8.582 | 282.833 | 31.131 | 889.367 | 19.124 | 15.2687
2019-07-01 14:45:00 | 4.618 | 295.773 | 4.877 | 284.237 | 5.162 | 287.483 | 5.567 | 282.767 | 30.631 | 889.367 | 18.767 | 12.9373
2019-07-01 15:00:00 | 5.632 | 303.08 | 5.616 | 297.961 | 5.891 | 306.933 | 6.275 | 305.5 | 32.261 | 889.5 | 17.397 | 11.487
2019-07-01 15:15:00 | 8.337 | 285.613 | 8.403 | 279.286 | 8.32 | 283.933 | 8.596 | 281.233 | 32.376 | 889.1 | 16.579 | 18.1855
2019-07-01 15:30:00 | 7.189 | 289.187 | 7.492 | 289.567 | 7.722 | 294 | 7.898 | 291.733 | 32.072 | 889.7 | 17.164 | 22.2663
2019-07-01 15:45:00 | 7.281 | 275.56 | 7.347 | 272.672 | 7.251 | 277.8 | 7.514 | 272.7 | 32.166 | 889.733 | 16.513 | 17.4444
2019-07-01 16:00:00 | 7.883 | 311.787 | 8.316 | 303.912 | 8.55 | 311.067 | 8.891 | 308.6 | 31.74 | 889.433 | 17.199 | 28.213
2019-07-01 16:15:00 | 5.612 | 296.3 | 6.036 | 291.399 | 6.183 | 289.267 | 6.228 | 294.567 | 32.305 | 889.267 | 16.523 | 32.4935
2019-07-01 16:30:00 | 8.552 | 325.093 | 9.045 | 319.163 | 9.388 | 322.1 | 9.639 | 318.667 | 32.122 | 889.433 | 16.356 | 37.2436
2019-07-01 16:45:00 | 8.233 | 319.32 | 8.217 | 315.422 | 8.554 | 319.867 | 8.651 | 320.333 | 32.234 | 889.267 | 16.053 | 41.7316
2019-07-01 17:00:00 | 8.665 | 282.32 | 8.844 | 278.901 | 9.306 | 282.9 | 9.402 | 278.133 | 32.073 | 889.3 | 15.293 | 39.435
2019-07-01 17:15:00 | 8.15 | 300.133 | 8.657 | 296.329 | 8.898 | 299.5 | 9.407 | 295.367 | 32.051 | 889.433 | 15.58 | 37.7375
2019-07-01 17:30:00 | 9.579 | 271.013 | 9.996 | 273.878 | 10.223 | 277.433 | 10.19 | 275.667 | 32.305 | 889.5 | 15.435 | 36.5338
2019-07-01 17:45:00 | 7.705 | 299.507 | 8.305 | 297.234 | 8.332 | 301.967 | 8.758 | 301.2 | 31.383 | 889.433 | 16.212 | 36.0598
2019-07-01 18:00:00 | 8.356 | 301.88 | 8.779 | 297.661 | 8.914 | 304.433 | 9.242 | 301.667 | 32.354 | 889.6 | 15.433 | 41.507
2019-07-01 18:15:00 | 8.937 | 305.653 | 9.086 | 301.016 | 9.305 | 308.867 | 9.268 | 308.6 | 32.41 | 889.6 | 15.055 | 36.6922
2019-07-01 18:30:00 | 8.074 | 282.673 | 8.564 | 279.777 | 8.923 | 285.633 | 9.28 | 282.783 | 32.808 | 889.867 | 14.655 | 34.3488
2019-07-01 18:45:00 | 8.644 | 302.44 | 9.385 | 295.464 | 9.438 | 298.267 | 9.716 | 294.767 | 32.609 | 889.3 | 14.892 | 36.4428
2019-07-01 19:00:00 | 9.502 | 308.853 | 10.187 | 305.965 | 10.481 | 310.067 | 10.673 | 306.733 | 32.084 | 889.167 | 16.141 | 32.0167
2019-07-01 19:15:00 | 8.761 | 305.32 | 9.118 | 299.286 | 9.364 | 304.4 | 9.946 | 301.833 | 31.957 | 889.567 | 15.547 | 44.3756
2019-07-01 19:30:00 | 7.271 | 289.093 | 7.918 | 287.929 | 8.148 | 293.333 | 8.437 | 291.333 | 32.239 | 889.867 | 15.672 | 38.4402
2019-07-01 19:45:00 | 9.569 | 296.147 | 10.025 | 293.612 | 10.246 | 298.867 | 10.793 | 295.5 | 31.852 | 889.733 | 16.141 | 44.8247
2019-07-01 20:00:00 | 7.258 | 309.947 | 7.761 | 302.909 | 7.981 | 307.1 | 8.744 | 305.5 | 31.702 | 889.233 | 16.452 | 39.5906
2019-07-01 20:15:00 | 8.547 | 288.467 | 9.224 | 286.764 | 9.29 | 293.033 | 9.716 | 290.333 | 31.747 | 889.367 | 16.808 | 43.7119
2019-07-01 20:30:00 | 7.416 | 291.987 | 8.092 | 286.84 | 8.5 | 293.2 | 8.682 | 290.333 | 31.373 | 889.567 | 17.227 | 43.5656
2019-07-01 20:45:00 | 8.93 | 294.773 | 9.858 | 291.984 | 10.002 | 297.267 | 10.441 | 295.033 | 31.442 | 889.433 | 17.719 | 45.3285
2019-07-01 21:00:00 | 8.245 | 303.36 | 8.755 | 299.788 | 9.218 | 304.5 | 9.607 | 302.9 | 31.106 | 889.3 | 18.387 | 41.669
2019-07-01 21:15:00 | 8.18 | 296.453 | 9.004 | 292.454 | 9.443 | 296.467 | 10.094 | 294.4 | 30.731 | 889.333 | 19.097 | 42.1437
2019-07-01 21:30:00 | 8.275 | 281.067 | 9.221 | 278.834 | 9.471 | 283.867 | 9.902 | 280.933 | 30.556 | 889.633 | 19.825 | 39.4379
2019-07-01 21:45:00 | 6.296 | 284.453 | 7.517 | 284.527 | 7.745 | 290.4 | 8.434 | 287.067 | 29.898 | 889.367 | 20.564 | 32.4864
2019-07-01 22:00:00 | 5.238 | 296.027 | 6.352 | 292.059 | 6.677 | 297.733 | 7.584 | 295.767 | 29.431 | 889.867 | 20.739 | 28.1171
2019-07-01 22:15:00 | 6.096 | 292.333 | 7.298 | 291.532 | 7.778 | 296 | 8.254 | 293.633 | 29.798 | 889.533 | 20.872 | 26.7756
2019-07-01 22:30:00 | 4.824 | 287.187 | 6.079 | 285.416 | 6.408 | 290.9 | 7.046 | 289.433 | 29.014 | 889.583 | 21.197 | 22.591
2019-07-01 22:45:00 | 3.592 | 310.72 | 4.788 | 303.912 | 5.354 | 310.333 | 5.879 | 308.367 | 28.118 | 889.95 | 22.181 | 18.8229
2019-07-01 23:00:00 | 3.847 | 300.2 | 4.888 | 301.796 | 5.29 | 306.367 | 5.769 | 306.767 | 28.014 | 889.95 | 22.683 | 15.6545
2019-07-01 23:15:00 | 4.186 | 304.627 | 4.952 | 306.31 | 5.193 | 313.933 | 5.514 | 313 | 27.718 | 889.717 | 23.115 | 14.546
2019-07-01 23:30:00 | 2.709 | 250.029 | 3.255 | 305.513 | 4.036 | 321.367 | 4.565 | 322.333 | 27.594 | 889.817 | 23.184 | 9.1933
2019-07-01 23:45:00 | 1.27 | 335.147 | 1.88 | 336.948 | 2.264 | 347.967 | 2.594 | 348.4 | 26.631 | 890.15 | 23.944 | 8.2149