## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-02 00:00:00 | 1.026 | 352.6 | 0.697 | 233.859 | 1.009 | 295.133 | 2.018 | 310.633 | 26.806 | 889.683 | 24.533 | 7.9306
2019-07-02 00:15:00 | 0.644 | 300.267 | 0 | 348.94 | 0 | 345.767 | 1.211 | 352.067 | 26.289 | 889.767 | 25.109 | 7.9505
2019-07-02 00:30:00 | 0.266 | 255.473 | 0 | 348.828 | 0 | 316.933 | 1.27 | 320 | 26.085 | 889.367 | 25.376 | 7.9747
2019-07-02 00:45:00 | 1.3 | 220.167 | 0 | 306.943 | 0 | 314.067 | 0 | 320 | 25.389 | 889.6 | 26.208 | 6.4228
2019-07-02 01:00:00 | 1.358 | 220.2 | 0 | 290.98 | 0 | 314 | 0 | 320 | 24.856 | 889.2 | 26.608 | 0.14567
2019-07-02 01:15:00 | 1.358 | 220.2 | 0 | 290.98 | 0 | 314 | 0 | 320 | 24.856 | 889.2 | 26.608 | 0.10516
2019-07-02 01:30:00 | 1.631 | 201.067 | 0 | 213.129 | 0 | 233.733 | 1.143 | 227 | 23.531 | 890.233 | 28.085 | 0.65159
2019-07-02 01:45:00 | 1.315 | 215.253 | 2.327 | 258.666 | 3.316 | 264.133 | 4.31 | 274.167 | 23.264 | 889.633 | 29.128 | 3.5706
2019-07-02 02:00:00 | 3.306 | 255 | 4.8 | 268.545 | 4.506 | 280 | 5.334 | 283 | 22.531 | 889.5 | 29.68 | 6.9437
2019-07-02 02:15:00 | 4.917 | 258.3 | 5.647 | 273.688 | 5.728 | 281.367 | 6.055 | 281.167 | 22.831 | 889.883 | 29.549 | 7.1057
2019-07-02 02:30:00 | 4.583 | 239.933 | 5.4 | 263.363 | 5.589 | 274.733 | 5.785 | 274.933 | 22.548 | 889.667 | 30.019 | 5.8863
2019-07-02 02:45:00 | 5.674 | 231.333 | 5.73 | 243.244 | 5.352 | 260.4 | 5.374 | 265.5 | 21.056 | 889.767 | 31.355 | 7.7565
2019-07-02 03:00:00 | 5.768 | 232.427 | 5.951 | 235.414 | 5.544 | 246.6 | 5.132 | 250.267 | 22.01 | 889.817 | 31.424 | 7.3892
2019-07-02 03:15:00 | 5.153 | 238.8 | 5.327 | 241.858 | 5.183 | 251.3 | 4.919 | 251.717 | 21.648 | 889.417 | 31.152 | 7.1838
2019-07-02 03:30:00 | 5.272 | 226.36 | 5.699 | 235.114 | 5.318 | 246 | 5.058 | 244.133 | 21.452 | 889.783 | 31.424 | 7.9925
2019-07-02 03:45:00 | 4.855 | 239.833 | 5.741 | 247.058 | 5.348 | 255.167 | 5.221 | 253.633 | 21.068 | 889.65 | 32.224 | 7.8567
2019-07-02 04:00:00 | 4.452 | 240.213 | 5.469 | 249.752 | 5.183 | 258.267 | 5.218 | 258.9 | 21.198 | 889.617 | 32.613 | 6.2949
2019-07-02 04:15:00 | 4.576 | 245.78 | 5.157 | 259.104 | 4.847 | 269.933 | 5.041 | 272.9 | 20.573 | 889.85 | 33.331 | 5.4948
2019-07-02 04:30:00 | 4.785 | 240.293 | 5.222 | 258.011 | 5.035 | 271.733 | 5.264 | 273.067 | 20.139 | 889.617 | 33.44 | 5.9474
2019-07-02 04:45:00 | 4.669 | 238.773 | 5.086 | 257.89 | 4.861 | 270.6 | 5.126 | 272.233 | 19.906 | 889.9 | 33.872 | 5.3911
2019-07-02 05:00:00 | 4.884 | 237.867 | 5.187 | 256.623 | 4.797 | 274.4 | 5.228 | 278.6 | 19.773 | 889.367 | 34.461 | 4.8411
2019-07-02 05:15:00 | 5.203 | 232.647 | 5.503 | 245.829 | 4.826 | 262.267 | 4.859 | 270.667 | 19.427 | 889.45 | 34.779 | 5.261
2019-07-02 05:30:00 | 5.325 | 218.027 | 5.834 | 228.456 | 5.343 | 240.067 | 5 | 240.067 | 19.081 | 889.567 | 35.504 | 4.7501
2019-07-02 05:45:00 | 4.517 | 219.787 | 5.438 | 223.324 | 4.796 | 231.733 | 4.683 | 230.2 | 18.681 | 890.25 | 36.416 | 3.113
2019-07-02 06:00:00 | 4.67 | 220.42 | 4.741 | 222.569 | 4.4 | 229.133 | 4.382 | 227.167 | 18.898 | 889.717 | 36.667 | 2.8558
2019-07-02 06:15:00 | 5.463 | 218.013 | 5.282 | 222.191 | 4.921 | 229 | 4.812 | 227.1 | 19.344 | 890.083 | 36.293 | 4.0154
2019-07-02 06:30:00 | 5.652 | 222.32 | 5.491 | 223.422 | 4.983 | 230.367 | 4.977 | 227.4 | 19.035 | 890 | 35.568 | 3.9124
2019-07-02 06:45:00 | 6.007 | 223.133 | 5.182 | 227.55 | 4.743 | 234.3 | 4.709 | 231.133 | 19.944 | 889.583 | 33.979 | 3.9188
2019-07-02 07:00:00 | 5.462 | 222.807 | 5.502 | 228.712 | 4.959 | 235.9 | 4.539 | 233.8 | 20.302 | 889.917 | 32.725 | 3.7177
2019-07-02 07:15:00 | 4.64 | 227.727 | 5.739 | 232.16 | 5.421 | 240.067 | 4.867 | 234.567 | 21.385 | 889.817 | 31.131 | 5.5907
2019-07-02 07:30:00 | 4.415 | 219.067 | 5.888 | 222.905 | 5.73 | 235.1 | 5.34 | 232.6 | 22.231 | 889.85 | 29.408 | 6.123
2019-07-02 07:45:00 | 4.59 | 221.613 | 5.464 | 220.578 | 5.68 | 231.933 | 5.322 | 231.267 | 23.652 | 889.667 | 27.371 | 5.713
2019-07-02 08:00:00 | 4.235 | 223.553 | 4.529 | 220.807 | 4.872 | 227.767 | 4.947 | 226.933 | 25.198 | 889.95 | 25.237 | 4.1021
2019-07-02 08:15:00 | 4.401 | 230.72 | 4.299 | 227.796 | 4.414 | 233.167 | 4.508 | 228.967 | 26.931 | 889.85 | 23.211 | 3.3922
2019-07-02 08:30:00 | 4.153 | 237.693 | 4.148 | 232.873 | 4.26 | 235.667 | 4.318 | 229.367 | 27.523 | 889.833 | 21.728 | 2.4607
2019-07-02 08:45:00 | 3.845 | 253.413 | 3.85 | 250.005 | 3.881 | 254.083 | 4.156 | 249.267 | 28.339 | 889.883 | 20.712 | 1.6563
2019-07-02 09:00:00 | 3.731 | 305.36 | 3.95 | 312.124 | 3.936 | 317.067 | 4.181 | 313.933 | 27.785 | 889.95 | 20.807 | 1.964
2019-07-02 09:15:00 | 4.256 | 243.773 | 4.56 | 331.504 | 4.83 | 288 | 4.841 | 276.067 | 26.364 | 889.4 | 22.555 | 4.1661
2019-07-02 09:30:00 | 4.138 | 305.013 | 4.283 | 314.22 | 4.264 | 305.467 | 4.468 | 340.1 | 26.227 | 889.767 | 21.016 | 3.8385
2019-07-02 09:45:00 | 3.884 | 316.427 | 3.971 | 325.737 | 3.918 | 327.867 | 4.393 | 329.067 | 26.894 | 889.45 | 20.861 | 3.8392
2019-07-02 10:00:00 | 4.107 | 326.6 | 4.102 | 325.172 | 4.272 | 327.567 | 4.602 | 325.733 | 27.227 | 889.517 | 20.544 | 4.3359
2019-07-02 10:15:00 | 4.558 | 319.867 | 4.748 | 326.678 | 4.87 | 328.767 | 5.071 | 327.933 | 27.877 | 889.467 | 19.717 | 4.1724
2019-07-02 10:30:00 | 4.368 | 220.667 | 4.936 | 343.791 | 4.793 | 294.733 | 5.108 | 328 | 28.406 | 889.533 | 19.193 | 4.8255
2019-07-02 10:45:00 | 3.745 | 309.213 | 3.842 | 319.67 | 4.031 | 323.833 | 4.348 | 323.733 | 28.327 | 889.6 | 19.257 | 5.7307
2019-07-02 11:00:00 | 4.369 | 298.773 | 4.508 | 291.707 | 4.904 | 291.533 | 4.944 | 286.1 | 29.064 | 889.567 | 19.003 | 7.1114
2019-07-02 11:15:00 | 5.988 | 303.693 | 6.068 | 299.922 | 6.29 | 303.667 | 6.468 | 299.533 | 29.581 | 889.433 | 17.344 | 10.1796
2019-07-02 11:30:00 | 3.747 | 318.587 | 4.13 | 308.978 | 4.387 | 309.633 | 4.961 | 309.533 | 29.514 | 889.733 | 16.7 | 10.1199
2019-07-02 11:45:00 | 6.111 | 303.76 | 6.457 | 302.059 | 6.615 | 306.167 | 6.704 | 303.7 | 29.548 | 889.733 | 16.433 | 17.8345
2019-07-02 12:00:00 | 4.676 | 322.974 | 4.818 | 331.778 | 5.066 | 333.567 | 5.396 | 319.567 | 29.498 | 889.567 | 15.927 | 21.3284
2019-07-02 12:15:00 | 5.371 | 320.587 | 5.728 | 310.642 | 5.957 | 318.233 | 6.084 | 319.033 | 29.898 | 889.6 | 15.232 | 20.6953
2019-07-02 12:30:00 | 5.273 | 250.307 | 5.867 | 280.056 | 6.092 | 261.767 | 6.34 | 294.9 | 29.848 | 890.033 | 14.389 | 17.9269
2019-07-02 12:45:00 | 7.062 | 296.933 | 7.384 | 297.104 | 7.654 | 304.2 | 7.82 | 303.633 | 30.427 | 889.433 | 14.483 | 18.1944
2019-07-02 13:00:00 | 6.814 | 305.787 | 7.045 | 299.898 | 7.135 | 306.967 | 7.133 | 305.367 | 30.394 | 889.167 | 14.439 | 15.7673
2019-07-02 13:15:00 | 3.607 | 210.116 | 3.731 | 276.742 | 4.089 | 254.1 | 4.421 | 249.533 | 31.251 | 889.833 | 13.833 | 12.1244
2019-07-02 13:30:00 | 3.878 | 260.347 | 3.768 | 264.724 | 4.078 | 274.7 | 4.338 | 272.683 | 31.564 | 889.733 | 14.027 | 12.9067
2019-07-02 13:45:00 | 6.16 | 296.827 | 6.633 | 328.749 | 6.924 | 331.5 | 7.306 | 317 | 32.892 | 888.967 | 12.827 | 16.9378
2019-07-02 14:00:00 | 1.57 | 265.553 | 1.286 | 282.815 | 2.102 | 311.7 | 2.886 | 307.833 | 32.001 | 889.433 | 13.325 | 12.6552
2019-07-02 14:15:00 | 4.155 | 265.14 | 4.222 | 264.917 | 4.495 | 271.933 | 5.031 | 274.383 | 32.366 | 889.233 | 12.829 | 13.5086
2019-07-02 14:30:00 | 5.132 | 298.453 | 5.42 | 301.79 | 5.658 | 309.433 | 6.126 | 307.233 | 31.974 | 889.4 | 12.877 | 10.3743
2019-07-02 14:45:00 | 3.026 | 257.92 | 2.973 | 309.208 | 3.175 | 317.2 | 3.371 | 315.567 | 32.372 | 889.467 | 12.22 | 9.4328
2019-07-02 15:00:00 | 4.864 | 304.933 | 4.776 | 301.677 | 4.843 | 296.5 | 4.934 | 306.633 | 32.93 | 889.2 | 11.865 | 9.0818
2019-07-02 15:15:00 | 5.423 | 310.221 | 5.79 | 307.979 | 6.072 | 320.267 | 6.116 | 302.867 | 33.813 | 889.5 | 11.147 | 9.4356
2019-07-02 15:30:00 | 3.226 | 241.853 | 2.603 | 234.016 | 2.474 | 239.95 | 2.81 | 245.95 | 33.921 | 889.633 | 10.957 | 8.4586
2019-07-02 15:45:00 | 1.936 | 274.996 | 1.576 | 282.326 | 1.618 | 293.433 | 2.246 | 217.738 | 34.413 | 889.433 | 10.309 | 7.8987
2019-07-02 16:00:00 | 3.985 | 321.067 | 3.527 | 313.884 | 3.479 | 309.667 | 4.091 | 304.067 | 32.83 | 889.433 | 11.592 | 8.4721
2019-07-02 16:15:00 | 3.419 | 270.78 | 3.343 | 267.786 | 3.596 | 265.267 | 3.577 | 257.133 | 33.113 | 889.7 | 12.428 | 18.3411
2019-07-02 16:30:00 | 5.134 | 189.187 | 5.469 | 187.539 | 5.792 | 192.367 | 5.986 | 187.767 | 33.73 | 889.567 | 14.952 | 15.6573
2019-07-02 16:45:00 | 2.937 | 115.563 | 2.996 | 126.46 | 3.08 | 129.633 | 3.112 | 132.833 | 33.213 | 889.633 | 13.312 | 16.6287
2019-07-02 17:00:00 | 5.793 | 192.793 | 6.208 | 186.871 | 6.515 | 191.467 | 6.803 | 188.3 | 34.038 | 889.467 | 14.171 | 19.6813
2019-07-02 17:15:00 | 7.673 | 197.047 | 7.596 | 191.987 | 7.645 | 197.833 | 7.608 | 191.4 | 33.73 | 889.7 | 14.451 | 30.7164
2019-07-02 17:30:00 | 12.262 | 217.653 | 12.832 | 215.991 | 13.378 | 219.033 | 13.433 | 214.067 | 32.597 | 889.3 | 16.832 | 58.9429
2019-07-02 17:45:00 | 14.659 | 216.667 | 15.454 | 213.17 | 16.272 | 214.533 | 16.667 | 210.3 | 30.723 | 889.533 | 21.576 | 62.9917
2019-07-02 18:00:00 | 12.66 | 209.307 | 12.982 | 207.496 | 13.405 | 209.833 | 13.812 | 205.067 | 30.977 | 889.6 | 20.056 | 65.041
2019-07-02 18:15:00 | 12.7 | 219.293 | 13.359 | 214.9 | 13.626 | 216.3 | 13.719 | 210.7 | 31.235 | 889.783 | 20.195 | 64.2132
2019-07-02 18:30:00 | 10.917 | 208.733 | 11.729 | 206.193 | 12.144 | 210.967 | 12.408 | 206.9 | 31.708 | 889.5 | 18.099 | 60.3072
2019-07-02 18:45:00 | 9.341 | 218.227 | 9.901 | 218.006 | 10.296 | 221.7 | 10.372 | 218.3 | 32.78 | 889.8 | 15.989 | 56.5938
2019-07-02 19:00:00 | 10.589 | 213.68 | 11.077 | 213.035 | 11.621 | 215.2 | 11.916 | 211.333 | 32.548 | 889.667 | 17.096 | 62.2115
2019-07-02 19:15:00 | 9.955 | 210.04 | 10.541 | 206.374 | 11.257 | 208.967 | 11.728 | 204 | 32.538 | 889.467 | 16.957 | 56.6862
2019-07-02 19:30:00 | 9.701 | 210.233 | 9.958 | 207.606 | 10.166 | 208.933 | 10.563 | 204.267 | 32.713 | 889.767 | 17.2 | 50.6854
2019-07-02 19:45:00 | 9.458 | 207.627 | 10.267 | 202.683 | 10.622 | 205.433 | 11.146 | 200.733 | 31.741 | 889.267 | 18.653 | 49.1883
2019-07-02 20:00:00 | 8.526 | 203.153 | 8.964 | 199.578 | 9.401 | 203.2 | 10.06 | 196.833 | 31.814 | 889.833 | 19.472 | 49.351
2019-07-02 20:15:00 | 9.59 | 196.587 | 10.019 | 193.654 | 10.186 | 196.6 | 10.643 | 191.367 | 30.902 | 889.433 | 20.36 | 41.8545
2019-07-02 20:30:00 | 9.183 | 201.9 | 9.89 | 199.469 | 10.118 | 202.7 | 10.687 | 196.6 | 31.081 | 889.467 | 19.821 | 40.6508
2019-07-02 20:45:00 | 9.5 | 200.2 | 10.238 | 195.798 | 10.503 | 198.3 | 11.08 | 193 | 30.523 | 889.833 | 20.557 | 39.9452
2019-07-02 21:00:00 | 8.249 | 198.38 | 9.296 | 196.274 | 9.7 | 198.367 | 10.23 | 192.733 | 30.885 | 889.2 | 20.011 | 39.062
2019-07-02 21:15:00 | 8.207 | 202.24 | 8.969 | 198.624 | 9.462 | 201.833 | 9.93 | 197.533 | 30.189 | 890.233 | 20.688 | 37.8569
2019-07-02 21:30:00 | 7.905 | 205.727 | 8.724 | 203.128 | 9.694 | 204.967 | 10.561 | 199.3 | 30.064 | 890.1 | 21.147 | 35.7301
2019-07-02 21:45:00 | 6.414 | 201.493 | 7.802 | 199.096 | 8.782 | 201.8 | 9.483 | 197.267 | 29.564 | 889.817 | 22.549 | 36.5416
2019-07-02 22:00:00 | 5.886 | 211.173 | 7.21 | 206.602 | 8.22 | 209.367 | 8.833 | 203.267 | 28.806 | 890.167 | 23.157 | 33.575
2019-07-02 22:15:00 | 6.945 | 213.967 | 8.255 | 212.349 | 9.038 | 215 | 9.557 | 211.333 | 28.694 | 889.917 | 23.605 | 32.6434
2019-07-02 22:30:00 | 5.514 | 224.747 | 6.877 | 217.443 | 7.82 | 218.1 | 8.307 | 214.733 | 28.431 | 889.7 | 23.568 | 34.0781
2019-07-02 22:45:00 | 6.193 | 217.967 | 7.256 | 212.432 | 8.547 | 214.767 | 8.867 | 213.4 | 27.998 | 889.417 | 23.275 | 37.5677
2019-07-02 23:00:00 | 6.533 | 208.773 | 8.189 | 204.251 | 8.845 | 208.033 | 9.315 | 204.467 | 27.96 | 890.1 | 23.856 | 39.8017
2019-07-02 23:15:00 | 5.77 | 210.12 | 7.359 | 206.771 | 8.542 | 211.1 | 9.092 | 208.2 | 26.814 | 889.833 | 24.944 | 39.5054
2019-07-02 23:30:00 | 6.439 | 213.08 | 8.668 | 210.642 | 9.343 | 215.333 | 9.214 | 212.733 | 27.106 | 889.683 | 25.856 | 39.1252
2019-07-02 23:45:00 | 6.417 | 213.113 | 8.309 | 211.316 | 8.922 | 213.833 | 9.002 | 211.467 | 26.164 | 889.7 | 26.528 | 34.3715