## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-03 00:00:00 | 5.347 | 218.42 | 6.774 | 209.233 | 7.904 | 212.3 | 8.51 | 210.3 | 26.16 | 889.883 | 27.056 | 32.1453
2019-07-03 00:15:00 | 6.175 | 217.587 | 7.573 | 210.072 | 7.82 | 212.267 | 8.081 | 210.133 | 25.91 | 889.65 | 27.371 | 31.8398
2019-07-03 00:30:00 | 5.702 | 216.227 | 7.637 | 208.022 | 8.005 | 210.5 | 8.016 | 207.933 | 25.768 | 889.733 | 27.568 | 30.889
2019-07-03 00:45:00 | 6.413 | 212.687 | 8.152 | 209.557 | 8.51 | 212.8 | 8.724 | 209.667 | 25.144 | 889.533 | 28.427 | 34.4362
2019-07-03 01:00:00 | 6.95 | 212.013 | 8.355 | 209.011 | 8.537 | 211.6 | 8.884 | 207.233 | 24.91 | 889.867 | 28.704 | 33.1216
2019-07-03 01:15:00 | 5.999 | 218.1 | 8.227 | 213.407 | 8.328 | 216.067 | 8.383 | 212.467 | 24.914 | 889.35 | 28.773 | 34.9037
2019-07-03 01:30:00 | 6.716 | 220.3 | 8.62 | 214.183 | 8.941 | 219.167 | 8.804 | 215.067 | 24.973 | 889.833 | 28.907 | 36.3469
2019-07-03 01:45:00 | 7.052 | 216.94 | 8.661 | 213.477 | 9.316 | 217.233 | 9.121 | 214.933 | 25.135 | 889.633 | 28.384 | 38.0516
2019-07-03 02:00:00 | 7.094 | 217.727 | 8.456 | 217.264 | 8.363 | 223.1 | 8.246 | 221.3 | 24.752 | 889.333 | 28.352 | 37.1292
2019-07-03 02:15:00 | 5.996 | 214.407 | 8.243 | 213.552 | 8.981 | 220.167 | 8.764 | 217.633 | 24.648 | 889.717 | 28.336 | 38.2349
2019-07-03 02:30:00 | 6.367 | 217.313 | 8.3 | 218.114 | 8.749 | 225.5 | 8.732 | 221.9 | 24.014 | 889.833 | 28.203 | 40.3488
2019-07-03 02:45:00 | 6.269 | 215.053 | 7.513 | 222.378 | 8.34 | 233.6 | 8.753 | 231.933 | 24.452 | 889.533 | 28.304 | 39.6361
2019-07-03 03:00:00 | 6.064 | 213.72 | 7.899 | 217.611 | 8.418 | 227.133 | 8.461 | 226.733 | 24.402 | 889.717 | 28.816 | 37.2912
2019-07-03 03:15:00 | 6.007 | 213.987 | 7.445 | 219.221 | 7.827 | 226.767 | 8.176 | 226.267 | 23.777 | 889.75 | 29.413 | 35.6861
2019-07-03 03:30:00 | 5.73 | 215.46 | 7.165 | 221.241 | 7.766 | 229.7 | 7.927 | 228.733 | 24.144 | 889.75 | 29.723 | 37.9194
2019-07-03 03:45:00 | 6.425 | 232.387 | 7.94 | 233.109 | 8.596 | 241.367 | 8.588 | 238.3 | 24.739 | 889.733 | 29.307 | 41.1823
2019-07-03 04:00:00 | 5.839 | 235.353 | 7.378 | 237.479 | 7.83 | 245.7 | 7.823 | 242 | 24.877 | 889.467 | 28.928 | 37.5947
2019-07-03 04:15:00 | 5.696 | 238.4 | 7.074 | 238.208 | 7.385 | 245.667 | 7.436 | 243.6 | 25.123 | 889.5 | 29.083 | 35.7287
2019-07-03 04:30:00 | 6.058 | 233.327 | 7.168 | 235.461 | 7.543 | 244 | 7.705 | 241.033 | 24.668 | 889.683 | 29.493 | 35.4253
2019-07-03 04:45:00 | 6.044 | 230.82 | 6.939 | 234.077 | 7.183 | 243.933 | 7.256 | 241.833 | 23.981 | 889.883 | 29.936 | 34.8206
2019-07-03 05:00:00 | 6.044 | 226.407 | 6.769 | 230.993 | 7.094 | 240.367 | 7.287 | 237.4 | 24.018 | 889.933 | 30.592 | 33.9921
2019-07-03 05:15:00 | 6.065 | 219.34 | 7.225 | 224.19 | 7.338 | 231.967 | 7.214 | 229.233 | 23.794 | 889.6 | 31.408 | 34.7446
2019-07-03 05:30:00 | 5.594 | 220.107 | 7.105 | 222.456 | 7.334 | 229.867 | 7.092 | 228 | 23.698 | 889.517 | 31.957 | 33.9665
2019-07-03 05:45:00 | 6.328 | 228.127 | 7.348 | 228.071 | 7.423 | 235.533 | 7.236 | 232.767 | 23.431 | 889.783 | 31.749 | 33.1273
2019-07-03 06:00:00 | 5.788 | 233.58 | 6.873 | 232.357 | 7.019 | 239.933 | 6.822 | 235.633 | 23.348 | 889.467 | 31.125 | 28.5285
2019-07-03 06:15:00 | 5.325 | 235.4 | 6.255 | 237.247 | 6.501 | 244.433 | 6.533 | 240.1 | 23.706 | 889.817 | 30.379 | 26.1261
2019-07-03 06:30:00 | 5.531 | 234.98 | 6.553 | 234.794 | 6.848 | 243 | 6.862 | 239.633 | 23.481 | 889.533 | 29.483 | 30.3298
2019-07-03 06:45:00 | 6.312 | 223.767 | 7.509 | 229.489 | 7.854 | 237.767 | 7.644 | 235.667 | 23.506 | 889.567 | 28.976 | 34.6764
2019-07-03 07:00:00 | 6.224 | 223.333 | 7.478 | 227.289 | 7.711 | 235.5 | 7.769 | 232.9 | 23.781 | 890.283 | 28.976 | 36.5118
2019-07-03 07:15:00 | 6.593 | 216.607 | 7.619 | 220.152 | 7.918 | 227.767 | 7.798 | 226.367 | 24.848 | 889.433 | 27.504 | 36.2538
2019-07-03 07:30:00 | 6.646 | 213.713 | 7.052 | 214.932 | 7.298 | 224.333 | 7.275 | 224.433 | 25.456 | 890.033 | 26.139 | 30.1309
2019-07-03 07:45:00 | 5.697 | 210.867 | 6.241 | 208.716 | 6.735 | 216.567 | 6.976 | 218.967 | 26.631 | 890.05 | 25.104 | 25.2628
2019-07-03 08:00:00 | 6.39 | 244.96 | 6.993 | 245.209 | 7.443 | 251.883 | 7.712 | 247.783 | 27.398 | 889.7 | 22.507 | 24.4677
2019-07-03 08:15:00 | 6.587 | 257.553 | 7.012 | 262.114 | 7.034 | 266.5 | 7.187 | 261.6 | 28.894 | 889.567 | 20.536 | 23.7628
2019-07-03 08:30:00 | 6.992 | 260.267 | 7.68 | 259.34 | 7.781 | 263.35 | 7.827 | 260.95 | 28.739 | 889.5 | 19.991 | 21.4563
2019-07-03 08:45:00 | 6.187 | 260.427 | 6.835 | 263.536 | 6.916 | 269.867 | 7.033 | 267.667 | 28.789 | 889.8 | 20.104 | 21.0086
2019-07-03 09:00:00 | 7.28 | 270.64 | 7.628 | 275.701 | 7.62 | 279.3 | 7.868 | 272.533 | 28.998 | 889.6 | 19.305 | 25.2123
2019-07-03 09:15:00 | 7.468 | 263.4 | 7.974 | 264.817 | 8.275 | 269.233 | 8.593 | 266.05 | 28.831 | 889.5 | 19.293 | 29.6306
2019-07-03 09:30:00 | 7.474 | 264.887 | 7.758 | 263.99 | 7.976 | 272.733 | 7.966 | 270.067 | 29.198 | 889.733 | 19.436 | 30.3476
2019-07-03 09:45:00 | 7.941 | 285.573 | 8.382 | 284.153 | 8.707 | 289.333 | 8.77 | 287.333 | 29.031 | 889.5 | 18.543 | 28.6302
2019-07-03 10:00:00 | 8.036 | 288.387 | 8.61 | 286.574 | 8.741 | 290.933 | 9.324 | 290.067 | 29.581 | 889.4 | 17.693 | 32.0714
2019-07-03 10:15:00 | 8.366 | 295.047 | 8.674 | 294.724 | 8.98 | 298.633 | 9.541 | 297.233 | 29.998 | 889.533 | 17.489 | 38.463
2019-07-03 10:30:00 | 9.054 | 292.84 | 9.521 | 288.084 | 9.579 | 291.533 | 9.734 | 288.5 | 29.864 | 889.3 | 16.981 | 42.0435
2019-07-03 10:45:00 | 9.058 | 278.733 | 9.602 | 279.818 | 9.735 | 285.567 | 9.923 | 283.733 | 30.048 | 889.333 | 16.672 | 39.9857
2019-07-03 11:00:00 | 8.871 | 298.48 | 9.329 | 294.995 | 9.626 | 296.667 | 10.073 | 293.7 | 30.535 | 889.533 | 14.935 | 40.8078
2019-07-03 11:15:00 | 9.142 | 299.093 | 9.617 | 294.354 | 9.875 | 300.1 | 10.045 | 297 | 31.056 | 889.533 | 14.335 | 41.738
2019-07-03 11:30:00 | 9.132 | 280.893 | 9.75 | 280.361 | 10.09 | 284.933 | 10.253 | 280.2 | 31.356 | 889.467 | 14.087 | 44.2164
2019-07-03 11:45:00 | 9.764 | 284.747 | 10.337 | 282.138 | 10.567 | 286.533 | 10.893 | 283.667 | 31.085 | 889.633 | 14.537 | 51.3669
2019-07-03 12:00:00 | 10.373 | 268.793 | 10.793 | 269.186 | 11.042 | 274.9 | 10.944 | 271.4 | 32.117 | 889.267 | 13.665 | 57.072
2019-07-03 12:15:00 | 11.807 | 294.107 | 12.186 | 290.717 | 12.755 | 294.367 | 13.257 | 291.633 | 31.629 | 889.267 | 12.449 | 60.5303
2019-07-03 12:30:00 | 10.672 | 280.467 | 11.344 | 277.889 | 11.739 | 284.667 | 11.703 | 281.8 | 32.361 | 889.333 | 12.912 | 61.977
2019-07-03 12:45:00 | 10.82 | 265.087 | 11.566 | 266.27 | 11.862 | 272.133 | 12.091 | 265.7 | 32.245 | 889.467 | 13.444 | 61.2452
2019-07-03 13:00:00 | 10.895 | 283.227 | 11.549 | 283.405 | 11.742 | 288.8 | 11.95 | 285.567 | 32.272 | 889.767 | 12.775 | 55.0988
2019-07-03 13:15:00 | 12.967 | 277.58 | 13.607 | 275.018 | 14.109 | 279.833 | 14.316 | 276.433 | 32.846 | 889.4 | 12.643 | 57.5225
2019-07-03 13:30:00 | 11.978 | 269.493 | 12.776 | 273.964 | 13.262 | 278.5 | 13.266 | 274.533 | 32.88 | 889.2 | 12.627 | 57.3768
2019-07-03 13:45:00 | 11.038 | 293 | 11.991 | 291.336 | 12.301 | 296.067 | 12.438 | 294.567 | 32.487 | 889.633 | 14.184 | 54.6561
2019-07-03 14:00:00 | 11.552 | 282.72 | 12.528 | 281.56 | 13.013 | 285.1 | 13.208 | 282.267 | 32.813 | 889.767 | 13.868 | 52.8576
2019-07-03 14:15:00 | 12.378 | 289.013 | 13.035 | 286.472 | 12.984 | 288.5 | 13.19 | 285.4 | 33.08 | 889.467 | 13.343 | 54.7925
2019-07-03 14:30:00 | 11.668 | 276.313 | 12.772 | 276.755 | 12.919 | 280.333 | 12.888 | 276.567 | 32.78 | 889.533 | 13.619 | 52.3688
2019-07-03 14:45:00 | 13.145 | 279.353 | 13.974 | 275.164 | 14.541 | 282.8 | 14.764 | 277.5 | 32.488 | 889.433 | 13.147 | 53.2705
2019-07-03 15:00:00 | 11.642 | 285.307 | 12.292 | 282.215 | 12.578 | 285.233 | 12.519 | 282.733 | 32.454 | 889.6 | 13.193 | 49.8512
2019-07-03 15:15:00 | 12.563 | 289.08 | 13.527 | 289.732 | 14.04 | 296.033 | 14.25 | 294.8 | 33.013 | 889.5 | 11.857 | 48.688
2019-07-03 15:30:00 | 12.792 | 291.187 | 14.298 | 288.463 | 15.052 | 294.467 | 15.32 | 289.8 | 33.163 | 889.533 | 12.275 | 47.9007
2019-07-03 15:45:00 | 15.668 | 294.44 | 16.798 | 291.304 | 17.35 | 295.667 | 17.596 | 291.9 | 32.846 | 889.467 | 12.259 | 43.0923
2019-07-03 16:00:00 | 12.071 | 291.88 | 12.804 | 289.388 | 13 | 293.033 | 13.511 | 292.7 | 33.146 | 889.4 | 12.061 | 43.3744
2019-07-03 16:15:00 | 10.72 | 287.347 | 11.69 | 285.393 | 11.734 | 291.133 | 12.169 | 288.267 | 32.996 | 889.1 | 12.22 | 40.7396
2019-07-03 16:30:00 | 14.165 | 293.52 | 15.332 | 292.18 | 15.363 | 294.733 | 15.55 | 290.6 | 33.23 | 889.5 | 12.075 | 40.9926
2019-07-03 16:45:00 | 10.634 | 294.533 | 11.154 | 293.223 | 11.294 | 298.633 | 11.895 | 295.767 | 32.796 | 889.533 | 12.593 | 40.1037
2019-07-03 17:00:00 | 12.865 | 282.72 | 13.575 | 286.218 | 14.087 | 290.233 | 14.058 | 289.9 | 32.93 | 889.6 | 12.256 | 40.0333
2019-07-03 17:15:00 | 15.158 | 305.907 | 16.064 | 302.735 | 16.111 | 307.9 | 16.467 | 306.133 | 32.449 | 889.667 | 12.872 | 39.715
2019-07-03 17:30:00 | 13.058 | 298.747 | 14.251 | 296.178 | 14.51 | 300.967 | 14.96 | 299.367 | 32.338 | 889.7 | 12.669 | 39.6709
2019-07-03 17:45:00 | 14.605 | 307.2 | 15.529 | 304.784 | 16.06 | 309.667 | 16.29 | 307.4 | 32.83 | 889.767 | 12.179 | 40.1435
2019-07-03 18:00:00 | 15.164 | 295.32 | 16.328 | 293.696 | 16.693 | 298.833 | 17.177 | 294.667 | 33.346 | 889.5 | 11.703 | 42.013
2019-07-03 18:15:00 | 15.27 | 285.72 | 16.512 | 282.956 | 17.12 | 286.9 | 17.17 | 284.733 | 33.296 | 889.633 | 11.099 | 44.4758
2019-07-03 18:30:00 | 14.041 | 286.373 | 14.781 | 288.51 | 15.268 | 294.133 | 15.889 | 291.667 | 32.996 | 889.9 | 11.5 | 47.5355
2019-07-03 18:45:00 | 13.52 | 286.053 | 14.977 | 284.708 | 15.321 | 287.6 | 15.631 | 284.767 | 33.08 | 889.233 | 11.443 | 51.1153
2019-07-03 19:00:00 | 14.029 | 290.027 | 15.477 | 287.599 | 15.804 | 292 | 15.511 | 287.8 | 32.687 | 889.5 | 11.357 | 54.7861
2019-07-03 19:15:00 | 12.483 | 286.013 | 14.126 | 284.915 | 14.53 | 289.533 | 14.403 | 288.267 | 32.262 | 889.633 | 11.799 | 54.7016
2019-07-03 19:30:00 | 12.494 | 290.773 | 13.135 | 286.597 | 13.505 | 291.467 | 13.699 | 287.867 | 32.575 | 889.6 | 12.063 | 55.9273
2019-07-03 19:45:00 | 11.416 | 303.48 | 12.019 | 300.718 | 12.551 | 306.333 | 12.889 | 303.5 | 32.128 | 889.5 | 12.2 | 54.6461
2019-07-03 20:00:00 | 11.769 | 296.787 | 12.994 | 292.814 | 13.163 | 297.633 | 13.326 | 295.767 | 31.857 | 889.267 | 12.137 | 52.1229
2019-07-03 20:15:00 | 11.56 | 297.253 | 12.651 | 293.402 | 13.057 | 297.167 | 13.247 | 295 | 31.399 | 889.367 | 12.153 | 56.8254
2019-07-03 20:30:00 | 10.706 | 305.36 | 11.62 | 298.27 | 12.088 | 302.8 | 12.258 | 299.167 | 31.221 | 889.3 | 12.035 | 59.5348
2019-07-03 20:45:00 | 9.989 | 296.467 | 11.38 | 292.411 | 11.999 | 298.233 | 12.195 | 296.6 | 30.894 | 889.5 | 12.157 | 56.9825
2019-07-03 21:00:00 | 9.299 | 293.307 | 10.669 | 289.936 | 10.969 | 295.267 | 11.553 | 292.2 | 30.614 | 889.533 | 11.989 | 52.7688
2019-07-03 21:15:00 | 9.578 | 297.053 | 10.622 | 293.643 | 11.249 | 299.467 | 11.762 | 297.767 | 30.402 | 889.6 | 12.065 | 49.5507
2019-07-03 21:30:00 | 8.262 | 308.493 | 9.17 | 304.041 | 9.742 | 308.2 | 10.391 | 305.933 | 29.898 | 889.567 | 12.232 | 43.9677
2019-07-03 21:45:00 | 7.192 | 307.253 | 8.056 | 301.735 | 8.623 | 305.667 | 9.159 | 302.733 | 29.414 | 889.4 | 12.559 | 34.5513
2019-07-03 22:00:00 | 5.968 | 291.867 | 7.128 | 290.528 | 7.754 | 295.133 | 8.288 | 293.3 | 29.064 | 889.533 | 12.74 | 28.5619
2019-07-03 22:15:00 | 4.476 | 320.04 | 5.524 | 316.511 | 6.143 | 324.267 | 6.623 | 324.133 | 28.31 | 889.6 | 13.065 | 19.1775
2019-07-03 22:30:00 | 3.034 | 305.64 | 3.796 | 307.777 | 4.285 | 312.3 | 4.864 | 311.833 | 27.764 | 889.833 | 12.943 | 13.8738
2019-07-03 22:45:00 | 3.896 | 288.787 | 5.172 | 292.934 | 5.729 | 300.6 | 6.299 | 300.267 | 27.494 | 889.367 | 13.019 | 16.3089
2019-07-03 23:00:00 | 4.527 | 262.08 | 5.86 | 272.817 | 6.533 | 279.8 | 6.774 | 278.567 | 26.689 | 889.633 | 13.751 | 21.6431
2019-07-03 23:15:00 | 5.587 | 265.013 | 7.118 | 266.171 | 7.551 | 274.5 | 7.881 | 271.867 | 26.181 | 889.467 | 13.756 | 27.8364
2019-07-03 23:30:00 | 6.101 | 250.773 | 7.457 | 255.818 | 7.936 | 263.35 | 8.187 | 259.967 | 26.448 | 889.367 | 14.067 | 37.4113
2019-07-03 23:45:00 | 6.62 | 256 | 8.014 | 258.496 | 8.327 | 265.333 | 8.646 | 262.233 | 25.994 | 889.367 | 13.944 | 44.3941