## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-04 00:00:00 | 7.819 | 256.66 | 9.076 | 257.281 | 9.481 | 262.05 | 9.615 | 259.25 | 25.556 | 889.667 | 13.493 | 48.1928
2019-07-04 00:15:00 | 7.179 | 256.6 | 8.532 | 255.504 | 8.842 | 262.333 | 9.184 | 259.75 | 25.664 | 889.533 | 13.093 | 47.4666
2019-07-04 00:30:00 | 7.969 | 249.653 | 9.436 | 252.027 | 9.828 | 258.267 | 10.123 | 254.617 | 25.535 | 889.267 | 12.571 | 49.9997
2019-07-04 00:45:00 | 7.382 | 236.42 | 9.037 | 236.374 | 9.763 | 244.333 | 9.961 | 242.133 | 24.789 | 889.8 | 12.691 | 48.7541
2019-07-04 01:00:00 | 8.095 | 229.487 | 9.995 | 232.479 | 11.269 | 240.233 | 11.442 | 237.533 | 24.485 | 889.433 | 13.877 | 49.1684
2019-07-04 01:15:00 | 7.549 | 230.76 | 9.885 | 231.942 | 11.254 | 240.333 | 11.804 | 236.567 | 24.144 | 889.567 | 13.099 | 48.6795
2019-07-04 01:30:00 | 5.179 | 247.773 | 6.789 | 242.806 | 7.872 | 249.45 | 8.551 | 245.25 | 23.768 | 889.233 | 12.656 | 36.9281
2019-07-04 01:45:00 | 3.578 | 295.733 | 4.567 | 288.084 | 5.29 | 289.133 | 6.352 | 281.933 | 23.414 | 889.533 | 12.613 | 23.0167
2019-07-04 02:00:00 | 4.376 | 292.667 | 5.826 | 288.211 | 6.221 | 290.133 | 6.646 | 285.3 | 23.448 | 889.5 | 12.179 | 17.9425
2019-07-04 02:15:00 | 4.176 | 277.027 | 6.092 | 276.369 | 6.622 | 283.033 | 7.028 | 277.3 | 23.448 | 889.767 | 11.784 | 17.1666
2019-07-04 02:30:00 | 4.179 | 279.693 | 5.318 | 278.583 | 5.751 | 282.067 | 6.188 | 277.067 | 23.768 | 889.567 | 11.452 | 13.9719
2019-07-04 02:45:00 | 2.458 | 277.707 | 4.157 | 273.236 | 5.046 | 276.533 | 5.61 | 271.8 | 23.098 | 889.5 | 11.732 | 12.8662
2019-07-04 03:00:00 | 3.169 | 250.72 | 4.735 | 258.654 | 5.414 | 268.9 | 5.91 | 264.8 | 21.581 | 889.033 | 12.944 | 18.4349
2019-07-04 03:15:00 | 5.104 | 250.953 | 6.412 | 253.512 | 7.088 | 259.767 | 7.416 | 255.567 | 22.085 | 889.467 | 14.363 | 25.7147
2019-07-04 03:30:00 | 4.622 | 250.147 | 5.908 | 252.627 | 6.552 | 260.833 | 7.025 | 258.283 | 22.356 | 889.767 | 15.203 | 29.6789
2019-07-04 03:45:00 | 5.614 | 263.5 | 6.997 | 264.303 | 7.64 | 270.167 | 8.012 | 265.433 | 22.498 | 889.533 | 15.873 | 29.1212
2019-07-04 04:00:00 | 4.849 | 278.987 | 5.989 | 279.281 | 6.337 | 283.033 | 6.911 | 277.767 | 22.06 | 889.567 | 16.415 | 26.3876
2019-07-04 04:15:00 | 5.101 | 263.667 | 6.411 | 269.46 | 6.652 | 276.033 | 6.905 | 272.267 | 21.06 | 889.067 | 17.352 | 23.4189
2019-07-04 04:30:00 | 4.716 | 250.513 | 5.859 | 263.311 | 6.286 | 269.967 | 6.784 | 268.133 | 19.885 | 889.6 | 18.481 | 22.1477
2019-07-04 04:45:00 | 5.221 | 229.613 | 6.105 | 240.546 | 6.757 | 248.667 | 6.994 | 246.05 | 20.264 | 889.367 | 18.637 | 22.9833
2019-07-04 05:00:00 | 5.744 | 245.78 | 6.652 | 250.323 | 7.06 | 257.133 | 7.359 | 254.533 | 19.718 | 889.6 | 19.371 | 17.7116
2019-07-04 05:15:00 | 6.926 | 232.613 | 7.444 | 241.867 | 7.951 | 249.867 | 8.106 | 247.133 | 20.314 | 889.6 | 19.017 | 20.0913
2019-07-04 05:30:00 | 5.4 | 237.773 | 6.954 | 246.04 | 7.544 | 256.067 | 8.175 | 252.95 | 19.889 | 889.3 | 19.932 | 30.1501
2019-07-04 05:45:00 | 6.529 | 233.48 | 7.677 | 236.621 | 8.09 | 244.8 | 8.072 | 241.867 | 19.206 | 889.433 | 20.459 | 40.2962
2019-07-04 06:00:00 | 6.233 | 239.673 | 7.579 | 240 | 8.023 | 248.633 | 8.276 | 245.267 | 20.181 | 889.4 | 20.205 | 43.2891
2019-07-04 06:15:00 | 7.428 | 256.707 | 8.982 | 259.68 | 9.821 | 264.667 | 10.414 | 260.017 | 20.639 | 889.033 | 19.901 | 49.0497
2019-07-04 06:30:00 | 6.826 | 252.427 | 8.522 | 249.648 | 9.423 | 256.133 | 10.037 | 252.283 | 21.339 | 889.833 | 18.84 | 50.4971
2019-07-04 06:45:00 | 7.242 | 258.26 | 8.838 | 257.207 | 9.908 | 263.4 | 10.542 | 258.267 | 21.427 | 889.733 | 19.392 | 49.8967
2019-07-04 07:00:00 | 7.595 | 258.353 | 9.297 | 260.29 | 10.181 | 265.133 | 10.881 | 261.083 | 22.118 | 889.867 | 19.324 | 50.2221
2019-07-04 07:15:00 | 8.4 | 264.467 | 10.001 | 264.568 | 10.633 | 270.667 | 10.901 | 266.233 | 22.314 | 889.533 | 19.256 | 49.2089
2019-07-04 07:30:00 | 8.039 | 268.747 | 9.548 | 267.763 | 10.082 | 273.367 | 10.7 | 269.767 | 22.648 | 889.467 | 19.137 | 42.5281
2019-07-04 07:45:00 | 6.34 | 267.447 | 7.118 | 270.993 | 7.855 | 276.167 | 8.482 | 273.5 | 23.214 | 889.633 | 18.623 | 25.9428
2019-07-04 08:00:00 | 5.87 | 280.373 | 6.298 | 276.785 | 6.596 | 280.5 | 6.979 | 274.9 | 23.798 | 889.267 | 18.049 | 23.8686
2019-07-04 08:15:00 | 6.579 | 272.913 | 7.281 | 270.386 | 7.602 | 275.633 | 7.73 | 271 | 24.202 | 889.367 | 17.835 | 31.0312
2019-07-04 08:30:00 | 8.226 | 275.673 | 8.88 | 270.977 | 8.8 | 274.633 | 9.044 | 270.967 | 24.144 | 889.633 | 17.695 | 36.9956
2019-07-04 08:45:00 | 7.838 | 271.573 | 8.26 | 273.785 | 8.406 | 278.2 | 8.731 | 274.967 | 24.518 | 890.067 | 17.629 | 35.2505
2019-07-04 09:00:00 | 7.344 | 286.12 | 7.73 | 282.684 | 7.793 | 285.933 | 7.98 | 284.4 | 24.702 | 888.933 | 17.477 | 39.1899
2019-07-04 09:15:00 | 8.451 | 281.2 | 9.113 | 279.768 | 9.281 | 285.333 | 9.603 | 281.767 | 25.256 | 889.733 | 17.677 | 38.2761
2019-07-04 09:30:00 | 8.184 | 277.46 | 8.528 | 273.727 | 8.675 | 276.3 | 8.994 | 272.333 | 24.864 | 889.6 | 18.319 | 39.0211
2019-07-04 09:45:00 | 8.022 | 288.747 | 8.519 | 284.466 | 8.609 | 288.2 | 8.91 | 285.7 | 25.456 | 889.5 | 18.343 | 32.1516
2019-07-04 10:00:00 | 7.325 | 306.8 | 7.675 | 301.761 | 7.926 | 304.367 | 8.349 | 301.867 | 25.139 | 889.267 | 18.597 | 34.8433
2019-07-04 10:15:00 | 8.345 | 278.84 | 8.984 | 280.889 | 9.18 | 286.533 | 9.559 | 284.467 | 25.389 | 889.367 | 18.412 | 35.7287
2019-07-04 10:30:00 | 7.427 | 297.44 | 8.043 | 293.924 | 8.271 | 300.233 | 8.549 | 299 | 25.485 | 889.6 | 19.399 | 33.9828
2019-07-04 10:45:00 | 7.156 | 291.667 | 7.634 | 292.133 | 7.859 | 296.833 | 8.554 | 294.267 | 25.681 | 889.633 | 19.349 | 32.2956
2019-07-04 11:00:00 | 7.058 | 294.48 | 7.46 | 291.974 | 7.707 | 298.667 | 8.085 | 298.333 | 25.798 | 889.4 | 19.756 | 30.3446
2019-07-04 11:15:00 | 7.882 | 322.173 | 7.83 | 314.532 | 8.062 | 319.767 | 8.427 | 318.367 | 26.468 | 889.467 | 19.491 | 29.1389
2019-07-04 11:30:00 | 8.444 | 324.373 | 8.521 | 315.537 | 8.738 | 319.767 | 8.836 | 317.933 | 26.435 | 889.7 | 19.508 | 34.4438
2019-07-04 11:45:00 | 7.362 | 277.76 | 7.76 | 278.385 | 8.01 | 284.133 | 8.392 | 284.633 | 26.614 | 889.667 | 19.539 | 35.584
2019-07-04 12:00:00 | 7.752 | 312.12 | 8.078 | 308.093 | 8.399 | 310.833 | 8.565 | 308.9 | 27.244 | 889.533 | 19.325 | 33.9353
2019-07-04 12:15:00 | 8.514 | 313.227 | 8.947 | 307.259 | 8.968 | 312.233 | 9.476 | 309.667 | 27.889 | 889.433 | 17.824 | 36.6992
2019-07-04 12:30:00 | 7.802 | 312.673 | 8.016 | 305.774 | 8.165 | 312.633 | 8.497 | 314.733 | 28.164 | 889.233 | 18.167 | 29.5951
2019-07-04 12:45:00 | 7.143 | 292.053 | 7.16 | 292.776 | 7.216 | 297.233 | 7.649 | 295.233 | 28.439 | 889.3 | 18.28 | 30.9106
2019-07-04 13:00:00 | 7.378 | 316.133 | 7.65 | 313.536 | 7.888 | 318.8 | 8.475 | 315.5 | 28.66 | 889.767 | 17.461 | 28.2079
2019-07-04 13:15:00 | 7.735 | 292.867 | 8.475 | 290.47 | 8.785 | 296.7 | 8.98 | 300.567 | 29.448 | 889.233 | 17.145 | 23.2725
2019-07-04 13:30:00 | 6.357 | 286.453 | 7.04 | 284.653 | 7.061 | 292.467 | 7.175 | 294.133 | 29.298 | 889.3 | 16.145 | 21.4357
2019-07-04 13:45:00 | 5.955 | 289.153 | 6.493 | 293.818 | 6.8 | 296.3 | 7.081 | 297.8 | 29.848 | 889.833 | 16.215 | 23.7301
2019-07-04 14:00:00 | 5.979 | 108.046 | 6.596 | 223.523 | 6.634 | 153.833 | 6.66 | 187.967 | 30.102 | 889.3 | 15.772 | 23.1964
2019-07-04 14:15:00 | 6.342 | 298.387 | 6.603 | 299.648 | 6.705 | 304.833 | 7.153 | 306.1 | 30.031 | 889.267 | 15.593 | 22.7502
2019-07-04 14:30:00 | 5.707 | 75.153 | 5.968 | 118.955 | 6.018 | 70.467 | 5.847 | 81.367 | 30.773 | 889.5 | 15.135 | 17.5354
2019-07-04 14:45:00 | 5.147 | 317.747 | 5.635 | 310.24 | 5.664 | 316.167 | 6.061 | 315.7 | 30.673 | 889.733 | 14.98 | 15.3433
2019-07-04 15:00:00 | 6.944 | 328.933 | 7.01 | 324.452 | 7.443 | 332.067 | 7.958 | 331.1 | 30.84 | 889.667 | 14.772 | 24.867
2019-07-04 15:15:00 | 5.897 | 334.613 | 6.509 | 328.183 | 6.686 | 331.967 | 7.039 | 320.633 | 31.158 | 889.467 | 14.548 | 17.8288
2019-07-04 15:30:00 | 4.236 | 268.754 | 4.478 | 324.007 | 4.517 | 306.5 | 5.119 | 272.067 | 31.681 | 889.167 | 14.221 | 18.2573
2019-07-04 15:45:00 | 7.559 | 321 | 8.096 | 325.105 | 8.206 | 328.7 | 8.299 | 326.667 | 31.478 | 889.6 | 14.231 | 27.7157
2019-07-04 16:00:00 | 5.666 | 237.093 | 6.051 | 256.467 | 6.069 | 285.617 | 6.514 | 282.617 | 32.068 | 889.567 | 13.913 | 15.3305
2019-07-04 16:15:00 | 8.349 | 310.853 | 8.738 | 306.881 | 9.008 | 310.533 | 9.34 | 309.6 | 32.93 | 889.433 | 13.141 | 25.6415
2019-07-04 16:30:00 | 5.488 | 279.153 | 5.872 | 277.898 | 6.144 | 290.283 | 6.106 | 288.833 | 32.466 | 889.567 | 13.083 | 28.2315
2019-07-04 16:45:00 | 5.776 | 290.593 | 5.588 | 282.444 | 5.79 | 287.933 | 6.182 | 283.867 | 31.825 | 889.067 | 12.947 | 23.6949
2019-07-04 17:00:00 | 7.662 | 286.36 | 7.628 | 285.782 | 7.937 | 293.333 | 8.53 | 291.067 | 32.322 | 889.5 | 12.461 | 24.3916
2019-07-04 17:15:00 | 9.282 | 294.32 | 9.806 | 291.436 | 9.804 | 295.267 | 10.443 | 293.133 | 32.83 | 889.5 | 12.172 | 32.0139
2019-07-04 17:30:00 | 7.243 | 280.553 | 7.841 | 279.066 | 8.162 | 283.5 | 8.756 | 283.433 | 32.913 | 889.767 | 11.953 | 25.0205
2019-07-04 17:45:00 | 6.421 | 279.94 | 7.043 | 274.123 | 7.255 | 276.7 | 7.301 | 273.417 | 32.574 | 889.533 | 11.776 | 23.9916
2019-07-04 18:00:00 | 5.551 | 277.86 | 6.142 | 278.169 | 6.497 | 287.467 | 6.632 | 282.9 | 32.83 | 889.7 | 12.001 | 24.5494
2019-07-04 18:15:00 | 6.08 | 310.293 | 6.405 | 304.461 | 7.052 | 305.833 | 7.454 | 302.433 | 32.713 | 889.967 | 11.756 | 28.8476
2019-07-04 18:30:00 | 6.436 | 266.22 | 6.777 | 264.456 | 6.968 | 272.183 | 7.42 | 271.433 | 32.88 | 889.367 | 12.085 | 24.8371
2019-07-04 18:45:00 | 5.565 | 275.367 | 5.749 | 273.552 | 6.15 | 282.833 | 6.396 | 280.067 | 32.913 | 889.667 | 12.244 | 19.4368
2019-07-04 19:00:00 | 7.528 | 325.6 | 7.801 | 319.896 | 8.063 | 321.367 | 8.534 | 318.367 | 32.696 | 889.4 | 12.189 | 28.7673
2019-07-04 19:15:00 | 8.715 | 276.82 | 9.479 | 270.819 | 9.486 | 274.167 | 9.56 | 270.767 | 32.41 | 889.633 | 12.872 | 36.2297
2019-07-04 19:30:00 | 9.266 | 282.733 | 9.835 | 281.525 | 10.275 | 285.2 | 10.671 | 282.967 | 32.996 | 889.4 | 12.853 | 37.7901
2019-07-04 19:45:00 | 7.464 | 277.573 | 7.928 | 271.818 | 8.171 | 273.967 | 8.219 | 268.933 | 32.079 | 889.467 | 13.144 | 36.9708
2019-07-04 20:00:00 | 8.029 | 291.267 | 8.193 | 285.955 | 8.374 | 289.933 | 8.51 | 286.6 | 32.47 | 889.5 | 13.945 | 44.6939
2019-07-04 20:15:00 | 8.447 | 289.16 | 9.038 | 284.432 | 9.193 | 290.033 | 9.576 | 287.4 | 31.836 | 889.567 | 14.756 | 41.6655
2019-07-04 20:30:00 | 9.325 | 288.573 | 10.396 | 287.041 | 10.515 | 292.9 | 11.182 | 289.7 | 31.73 | 889.233 | 15.444 | 42.4542
2019-07-04 20:45:00 | 8.49 | 291.013 | 8.852 | 285.504 | 9.178 | 290.667 | 9.787 | 288.933 | 31.651 | 889.633 | 16.105 | 45.6937
2019-07-04 21:00:00 | 9.16 | 281.947 | 10.046 | 281.402 | 10.308 | 284.433 | 10.59 | 281.667 | 30.918 | 889.7 | 17.649 | 49.2472
2019-07-04 21:15:00 | 9.762 | 285.813 | 11.053 | 282.886 | 11.267 | 287.1 | 12.014 | 285.933 | 30.656 | 889.667 | 19.323 | 42.3775
2019-07-04 21:30:00 | 9.83 | 279.013 | 11.338 | 277.951 | 11.885 | 280.833 | 11.869 | 278.467 | 30.081 | 889.667 | 20.92 | 32.5027
2019-07-04 21:45:00 | 9.991 | 276.053 | 11.384 | 276.102 | 11.853 | 279.433 | 12.441 | 275.133 | 29.548 | 889.783 | 21.928 | 37.6444
2019-07-04 22:00:00 | 8.929 | 279.3 | 10.565 | 277.872 | 11.013 | 281.5 | 11.762 | 277.9 | 29.031 | 889.117 | 22.565 | 38.9256
2019-07-04 22:15:00 | 11.364 | 278.067 | 12.803 | 278.89 | 13.552 | 282.867 | 13.734 | 279 | 28.477 | 889.717 | 24.155 | 37.4106
2019-07-04 22:30:00 | 11.697 | 279.813 | 13.277 | 280.421 | 14.065 | 285.133 | 14.32 | 283.333 | 28.56 | 889.85 | 24.683 | 39.278
2019-07-04 22:45:00 | 11.008 | 284.52 | 12.231 | 282.834 | 13.062 | 286.6 | 13.733 | 284.7 | 27.935 | 890.017 | 25.344 | 45.5111
2019-07-04 23:00:00 | 10.345 | 290.133 | 11.929 | 287.069 | 12.692 | 293.233 | 13.569 | 290.833 | 27.568 | 889.767 | 26.141 | 43.4973
2019-07-04 23:15:00 | 10.761 | 286.28 | 12.034 | 283.864 | 12.566 | 288.667 | 12.785 | 285.933 | 27.16 | 890.217 | 27.267 | 50.8261
2019-07-04 23:30:00 | 9.43 | 285.18 | 11.374 | 282.814 | 11.748 | 287.567 | 12.454 | 285.367 | 26.302 | 889.783 | 28.035 | 52.891
2019-07-04 23:45:00 | 9.051 | 283.293 | 10.502 | 283.688 | 11.213 | 287.033 | 11.968 | 285.367 | 26.164 | 889.7 | 28.576 | 50.0992