## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-05 00:00:00 | 12.529 | 285.273 | 13.723 | 283.906 | 14.562 | 288.2 | 14.782 | 285.867 | 25.939 | 889.783 | 29.024 | 50.2406
2019-07-05 00:15:00 | 10.599 | 281.733 | 11.73 | 279.708 | 12.296 | 284.733 | 12.696 | 283.8 | 25.156 | 889.633 | 30.139 | 47.4502
2019-07-05 00:30:00 | 10.905 | 283.253 | 12.146 | 280.713 | 12.662 | 285.267 | 13.342 | 284.1 | 24.889 | 889.483 | 30.819 | 45.1793
2019-07-05 00:45:00 | 11.713 | 283.507 | 13.179 | 282.504 | 13.648 | 284.833 | 14.336 | 282.5 | 24.435 | 889.867 | 31.243 | 46.5577
2019-07-05 01:00:00 | 11.364 | 285.653 | 13.332 | 281.636 | 13.856 | 286.867 | 14.339 | 284.167 | 24.077 | 889.383 | 30.813 | 46.8519
2019-07-05 01:15:00 | 10.37 | 282.08 | 12.02 | 280.446 | 12.443 | 284.033 | 12.966 | 281.467 | 23.548 | 889.517 | 31.213 | 48.4876
2019-07-05 01:30:00 | 10.328 | 282.96 | 12.149 | 280.96 | 13.134 | 285.1 | 13.513 | 282.367 | 23.868 | 890.05 | 31.568 | 49.189
2019-07-05 01:45:00 | 10.46 | 272.407 | 11.861 | 275.006 | 12.622 | 278.533 | 13.121 | 276.167 | 23.148 | 889.55 | 34.088 | 46.9763
2019-07-05 02:00:00 | 11.087 | 269.193 | 12.352 | 271.571 | 12.882 | 275.833 | 13.472 | 271.833 | 22.044 | 890 | 46.709 | 42.418
2019-07-05 02:15:00 | 9.981 | 259.32 | 11.758 | 259.111 | 12.254 | 264.067 | 12.485 | 258.8 | 21.431 | 889.675 | 48.213 | 40.4291
2019-07-05 02:30:00 | 9.088 | 246.607 | 9.762 | 245.779 | 10.435 | 251.867 | 10.675 | 247.933 | 20.968 | 889.625 | 47.403 | 39.5551
2019-07-05 02:45:00 | 8.853 | 243.647 | 9.858 | 243.836 | 10.715 | 249.467 | 11.037 | 246.75 | 20.56 | 889.625 | 49.483 | 42.9438
2019-07-05 03:00:00 | 9.301 | 241.387 | 10.879 | 241.521 | 11.985 | 248.133 | 11.888 | 244.867 | 20.368 | 889.95 | 49.52 | 46.7752
2019-07-05 03:15:00 | 9.34 | 241.167 | 10.489 | 240.496 | 11.358 | 248.5 | 11.696 | 244.5 | 20.052 | 889.608 | 51.04 | 48.6163
2019-07-05 03:30:00 | 9.514 | 238.4 | 10.982 | 236.642 | 11.799 | 243.367 | 12.01 | 239.267 | 19.668 | 890.125 | 51.211 | 49.3538
2019-07-05 03:45:00 | 9.565 | 240.94 | 10.874 | 240.899 | 11.522 | 246.267 | 11.83 | 243.167 | 19.239 | 889.908 | 51.915 | 48.9936
2019-07-05 04:00:00 | 8.789 | 237.067 | 10.167 | 235.554 | 10.871 | 243.267 | 11.264 | 238.767 | 19.131 | 890.342 | 52.405 | 52.1385
2019-07-05 04:15:00 | 10.49 | 237.04 | 11.799 | 236.205 | 12.552 | 240.933 | 12.452 | 236.367 | 18.973 | 890.158 | 52.64 | 51.7925
2019-07-05 04:30:00 | 10.858 | 247.827 | 12.332 | 246.024 | 12.966 | 249.633 | 13.197 | 245.15 | 18.939 | 889.842 | 53.355 | 51.0805
2019-07-05 04:45:00 | 10.153 | 248.073 | 11.753 | 245.377 | 12.525 | 250.217 | 12.551 | 244.817 | 18.773 | 889.942 | 53.515 | 52.1606
2019-07-05 05:00:00 | 9.256 | 250.993 | 10.531 | 250.058 | 11.403 | 254.933 | 11.617 | 248.7 | 18.573 | 890.033 | 53.003 | 51.0656
2019-07-05 05:15:00 | 7.969 | 243.887 | 9.198 | 240.636 | 9.816 | 246.05 | 10.146 | 241.883 | 18.356 | 889.508 | 52.363 | 39.2545
2019-07-05 05:30:00 | 5.695 | 244.467 | 6.741 | 244.961 | 7.027 | 248.633 | 7.39 | 243.733 | 18.739 | 889.983 | 52.325 | 33.2161
2019-07-05 05:45:00 | 5.58 | 249.607 | 6.411 | 249.863 | 7.002 | 255.4 | 7.375 | 251.117 | 18.306 | 889.592 | 52.645 | 25.2059
2019-07-05 06:00:00 | 4.633 | 259.8 | 5.587 | 254.483 | 6.177 | 255.55 | 6.471 | 250.583 | 17.977 | 890.367 | 52.512 | 20.7755
2019-07-05 06:15:00 | 5.818 | 262.3 | 6.659 | 259.112 | 7.045 | 263.367 | 7.358 | 256.783 | 18.06 | 890.108 | 52.544 | 22.9186
2019-07-05 06:30:00 | 5.709 | 260.92 | 6.552 | 257.817 | 6.838 | 263.15 | 7.027 | 256.967 | 18.052 | 890.083 | 52.624 | 24.3902
2019-07-05 06:45:00 | 4.602 | 256.52 | 5.646 | 255.158 | 6.022 | 257.283 | 6.153 | 252.2 | 18.102 | 889.492 | 52.715 | 21.899
2019-07-05 07:00:00 | 6.283 | 243.553 | 7.091 | 239.895 | 7.632 | 245.8 | 7.822 | 241.917 | 18.539 | 890.15 | 49.909 | 22.5314
2019-07-05 07:15:00 | 5.74 | 247.78 | 6.601 | 246.411 | 6.946 | 251.717 | 7.104 | 246.633 | 19.114 | 890.192 | 47.989 | 22.0027
2019-07-05 07:30:00 | 5.668 | 264.427 | 6.104 | 262.436 | 6.327 | 267.167 | 6.429 | 261.05 | 19.502 | 889.842 | 46.123 | 30.4819
2019-07-05 07:45:00 | 6.786 | 253.28 | 7.361 | 256.967 | 7.739 | 259.583 | 7.837 | 257.433 | 20.244 | 889.992 | 44.48 | 41.5618
2019-07-05 08:00:00 | 7.97 | 258.333 | 8.521 | 256.67 | 8.731 | 261.35 | 8.764 | 256 | 20.248 | 889.958 | 43.461 | 47.3756
2019-07-05 08:15:00 | 7.764 | 251.667 | 8.331 | 253.708 | 8.577 | 258.867 | 8.27 | 253.383 | 21.131 | 889.95 | 42.203 | 45.5949
2019-07-05 08:30:00 | 7.476 | 253.42 | 8.203 | 256.112 | 8.318 | 261.45 | 8.419 | 255.417 | 21.248 | 889.775 | 40.685 | 44.0232
2019-07-05 08:45:00 | 8.337 | 253.887 | 8.911 | 256.338 | 9.337 | 259.85 | 9.217 | 256.267 | 21.877 | 889.233 | 39.923 | 45.8031
2019-07-05 09:00:00 | 8.819 | 260.94 | 9.512 | 263.508 | 9.768 | 268.433 | 9.825 | 265.183 | 21.677 | 889.583 | 39.907 | 44.4118
2019-07-05 09:15:00 | 8.993 | 259.347 | 9.368 | 265.41 | 9.694 | 269.267 | 9.801 | 264.417 | 21.756 | 889.517 | 39.691 | 44.7998
2019-07-05 09:30:00 | 8.544 | 273.933 | 9.091 | 271.685 | 9.255 | 275.967 | 9.437 | 273.6 | 22.581 | 889.817 | 38.443 | 42.7036
2019-07-05 09:45:00 | 8.287 | 280.6 | 8.613 | 279.188 | 9.053 | 282.633 | 9.299 | 280.433 | 22.531 | 889.717 | 37.667 | 40.1179
2019-07-05 10:00:00 | 7.761 | 285.767 | 7.956 | 285.51 | 8.256 | 289.933 | 8.519 | 287.167 | 23.248 | 889.783 | 36.053 | 40.9144
2019-07-05 10:15:00 | 8.27 | 289.387 | 8.993 | 288.31 | 9.18 | 291.767 | 9.556 | 287.367 | 23.331 | 889.4 | 35.813 | 42.1899
2019-07-05 10:30:00 | 9.27 | 282.727 | 10.014 | 281.001 | 10.254 | 285.233 | 10.704 | 283.433 | 23.485 | 889.55 | 34.808 | 44.6541
2019-07-05 10:45:00 | 9.518 | 290.807 | 10.23 | 290.381 | 10.333 | 290.767 | 10.695 | 289.133 | 23.994 | 889.333 | 34.891 | 41.5936
2019-07-05 11:00:00 | 9.317 | 267.907 | 9.819 | 274.116 | 10.025 | 280.267 | 10.037 | 275.6 | 23.914 | 889.2 | 34.576 | 42.4105
2019-07-05 11:15:00 | 8.206 | 293.547 | 8.593 | 288.41 | 8.81 | 289.933 | 9.123 | 284.867 | 23.681 | 889.85 | 35.501 | 40.9244
2019-07-05 11:30:00 | 8.049 | 290.2 | 8.361 | 284.659 | 8.715 | 290.233 | 8.844 | 288.8 | 24.631 | 889.8 | 32.477 | 39.516
2019-07-05 11:45:00 | 7.772 | 291.813 | 7.898 | 287.245 | 8.362 | 288.367 | 8.74 | 283.65 | 24.223 | 889.517 | 32.237 | 39.3363
2019-07-05 12:00:00 | 8.949 | 307.96 | 9.249 | 301.114 | 9.562 | 305.7 | 9.595 | 305.333 | 24.86 | 889.95 | 31.219 | 37.2934
2019-07-05 12:15:00 | 7.655 | 292.213 | 8.114 | 287.882 | 8.033 | 294.7 | 8.319 | 295.417 | 25.273 | 889.817 | 29.728 | 35.4537
2019-07-05 12:30:00 | 8.425 | 297.2 | 8.764 | 292.543 | 8.758 | 296.8 | 9.075 | 291.933 | 25.952 | 889.5 | 28.8 | 34.2884
2019-07-05 12:45:00 | 7.519 | 292.913 | 7.94 | 291.118 | 7.966 | 296 | 8.354 | 291.567 | 25.731 | 889.9 | 28.712 | 33.705
2019-07-05 13:00:00 | 7.69 | 314.267 | 8.143 | 307.551 | 8.362 | 314.633 | 8.407 | 311.967 | 25.831 | 889.2 | 28.475 | 33.1963
2019-07-05 13:15:00 | 7.749 | 302.267 | 8.308 | 297.607 | 8.292 | 299.8 | 8.678 | 297.5 | 26.223 | 890.1 | 28.155 | 29.6804
2019-07-05 13:30:00 | 6.11 | 319.56 | 6.158 | 299.454 | 5.947 | 326.2 | 6.495 | 317.167 | 26.544 | 889.383 | 27.283 | 26.3343
2019-07-05 13:45:00 | 6.76 | 321.28 | 7.044 | 326.782 | 7.497 | 328.3 | 7.831 | 325.733 | 26.898 | 889.683 | 27.267 | 28.2848
2019-07-05 14:00:00 | 5.632 | 290.4 | 5.838 | 288.781 | 6.022 | 295.633 | 6.593 | 292 | 26.802 | 889.8 | 27.64 | 21.1912
2019-07-05 14:15:00 | 8.532 | 306.453 | 8.777 | 303.784 | 9.031 | 307.067 | 9.358 | 305.267 | 26.431 | 889.75 | 28.037 | 30.7057
2019-07-05 14:30:00 | 6.205 | 292.253 | 6.605 | 293.428 | 6.706 | 296.333 | 6.995 | 294.667 | 26.089 | 889.617 | 27.936 | 27.8812
2019-07-05 14:45:00 | 6.341 | 318.147 | 6.602 | 307.761 | 6.884 | 313.067 | 7.711 | 311.333 | 26.014 | 889.633 | 28.829 | 27.1756
2019-07-05 15:00:00 | 6.492 | 300.467 | 7.12 | 297.223 | 7.506 | 301.233 | 8.282 | 299.867 | 26.394 | 889.633 | 28.749 | 35.0679
2019-07-05 15:15:00 | 7.747 | 313.667 | 8.082 | 310.066 | 8.149 | 315.767 | 8.55 | 313.733 | 26.206 | 889.7 | 29.688 | 28.9066
2019-07-05 15:30:00 | 5.627 | 297.24 | 5.586 | 290.207 | 5.842 | 291.267 | 6.252 | 289.667 | 26.352 | 889.717 | 28.8 | 25.137
2019-07-05 15:45:00 | 6.932 | 321.467 | 7.236 | 314.595 | 7.276 | 310.367 | 7.283 | 324.367 | 26.377 | 889.85 | 28.715 | 35.7337
2019-07-05 16:00:00 | 9.146 | 289.493 | 9.568 | 290.351 | 9.593 | 295.7 | 10.043 | 290.7 | 25.86 | 889.8 | 29.781 | 49.054
2019-07-05 16:15:00 | 8.848 | 311.64 | 8.979 | 305.654 | 9.364 | 310.733 | 9.71 | 308.7 | 25.789 | 889.5 | 30.371 | 43.444
2019-07-05 16:30:00 | 10.21 | 305.08 | 10.674 | 299.112 | 10.927 | 304.8 | 11.226 | 302.5 | 25.66 | 889.55 | 30.619 | 42.3114
2019-07-05 16:45:00 | 8.28 | 298.56 | 8.941 | 291.77 | 9.079 | 298.8 | 9.534 | 295.5 | 25.91 | 890.083 | 30.243 | 40.9507
2019-07-05 17:00:00 | 8.879 | 307.467 | 9.47 | 304.257 | 9.608 | 310.033 | 10.094 | 308.667 | 25.748 | 889.717 | 30.773 | 40.6792
2019-07-05 17:15:00 | 8.612 | 297.607 | 8.778 | 297.845 | 9.126 | 304.133 | 9.973 | 305.3 | 25.418 | 889.3 | 31.72 | 40.4455
2019-07-05 17:30:00 | 10.266 | 293.667 | 11.107 | 290.881 | 11.42 | 294.767 | 11.986 | 293 | 24.968 | 889.567 | 33.203 | 40.2493
2019-07-05 17:45:00 | 11.061 | 298.747 | 11.618 | 296.182 | 11.656 | 300 | 11.69 | 297.033 | 24.256 | 889.617 | 34.965 | 39.9026
2019-07-05 18:00:00 | 8.782 | 281.16 | 9.254 | 278.905 | 9.649 | 283.967 | 9.793 | 280.033 | 23.618 | 889.517 | 35.603 | 39.8265
2019-07-05 18:15:00 | 9.268 | 274.193 | 9.925 | 274.686 | 9.947 | 276.767 | 10.141 | 273.167 | 23.785 | 889.683 | 35.923 | 41.3777
2019-07-05 18:30:00 | 9.578 | 282.127 | 10.306 | 279.856 | 10.502 | 285 | 10.75 | 283.133 | 23.764 | 889.8 | 36.773 | 41.7202
2019-07-05 18:45:00 | 10.322 | 283.333 | 10.956 | 281.714 | 10.874 | 285.667 | 11.524 | 284.267 | 23.648 | 889.283 | 37.283 | 43.1975
2019-07-05 19:00:00 | 8.932 | 284.533 | 9.857 | 282.29 | 10.105 | 285.4 | 10.406 | 281.1 | 23.398 | 889.967 | 37.091 | 43.049
2019-07-05 19:15:00 | 9.45 | 286.133 | 10.625 | 282.622 | 10.892 | 286.833 | 11.404 | 285.3 | 23.535 | 889.867 | 36.763 | 42.5438
2019-07-05 19:30:00 | 10.504 | 278.08 | 11.505 | 277.044 | 11.74 | 282.7 | 12.1 | 281.033 | 23.031 | 889.717 | 37.789 | 42.273
2019-07-05 19:45:00 | 11.516 | 292.413 | 12.58 | 289.264 | 13.1 | 294.1 | 13.227 | 290.833 | 23.014 | 890.2 | 39 | 41.9988
2019-07-05 20:00:00 | 10.438 | 292.413 | 11.304 | 292.66 | 11.726 | 295.633 | 11.928 | 294.233 | 22.981 | 889.95 | 39.821 | 42.3619
2019-07-05 20:15:00 | 10.362 | 293.533 | 11.246 | 290.985 | 11.715 | 295.933 | 12.254 | 292.3 | 22.631 | 889.783 | 40.413 | 42.8202
2019-07-05 20:30:00 | 10.208 | 284.64 | 11.09 | 280.313 | 11.586 | 285.3 | 11.896 | 283.433 | 22.081 | 889.85 | 40.691 | 42.8777
2019-07-05 20:45:00 | 9.801 | 284.333 | 10.699 | 282.276 | 11.174 | 285.833 | 11.738 | 283.2 | 22.398 | 889.7 | 41.461 | 42.5388
2019-07-05 21:00:00 | 9.68 | 283.733 | 10.83 | 281.339 | 11.102 | 285.8 | 11.516 | 281.4 | 21.989 | 890.275 | 42.283 | 42.0272
2019-07-05 21:15:00 | 8.428 | 273.013 | 9.475 | 276.147 | 9.653 | 281.433 | 10.227 | 279.833 | 22.027 | 889.825 | 41.819 | 43.3446
2019-07-05 21:30:00 | 8.682 | 265.94 | 10.104 | 272.454 | 10.323 | 276.533 | 10.678 | 273.667 | 21.952 | 890.033 | 41.707 | 43.3602
2019-07-05 21:45:00 | 8.319 | 266.52 | 9.454 | 271.133 | 9.461 | 275.633 | 10.088 | 271.367 | 21.71 | 890.058 | 42.656 | 42.4059
2019-07-05 22:00:00 | 7.388 | 270.547 | 8.032 | 269.915 | 8.203 | 276 | 8.448 | 273.467 | 21.731 | 889.967 | 41.504 | 38.0132
2019-07-05 22:15:00 | 7.334 | 268.84 | 8.312 | 270.694 | 8.407 | 275.8 | 8.934 | 271.667 | 21.556 | 889.975 | 41.131 | 36.3341
2019-07-05 22:30:00 | 7.939 | 280.32 | 8.69 | 277.909 | 8.644 | 280.933 | 9.101 | 276.533 | 21.931 | 889.717 | 40.883 | 42.6049
2019-07-05 22:45:00 | 9.001 | 264.047 | 9.802 | 267.929 | 9.741 | 273.133 | 9.759 | 269.533 | 21.277 | 890.425 | 43.328 | 51.3065
2019-07-05 23:00:00 | 6.393 | 245.173 | 6.993 | 240.991 | 7.464 | 244.55 | 7.546 | 238.7 | 20.939 | 889.967 | 46.08 | 30.5863
2019-07-05 23:15:00 | 6.116 | 246.527 | 6.966 | 244.067 | 7.178 | 248.233 | 7.189 | 243.467 | 20.285 | 889.875 | 48.091 | 37.4049
2019-07-05 23:30:00 | 6.799 | 244.433 | 7.489 | 242.572 | 7.854 | 248.4 | 8.074 | 245.033 | 20.527 | 889.592 | 49.984 | 35.8353
2019-07-05 23:45:00 | 7.052 | 250.633 | 7.597 | 252.866 | 7.871 | 258.967 | 7.934 | 255.717 | 20.285 | 889.842 | 49.131 | 38.9973