## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-06 00:00:00 | 8.081 | 264.14 | 9.318 | 263.662 | 10.123 | 270.233 | 10.438 | 267.383 | 19.66 | 889.875 | 50.939 | 42.359
2019-07-06 00:15:00 | 7.598 | 255.667 | 8.833 | 261.772 | 9.385 | 265.8 | 9.858 | 262.85 | 19.781 | 890.075 | 52.432 | 41.7366
2019-07-06 00:30:00 | 6.638 | 260.84 | 7.573 | 262.593 | 7.791 | 268.467 | 8.201 | 264.283 | 19.731 | 890.158 | 51.168 | 39.9125
2019-07-06 00:45:00 | 7.974 | 259.3 | 9.226 | 259.564 | 9.792 | 265.767 | 10.14 | 261.333 | 19.985 | 889.792 | 48.901 | 46.5215
2019-07-06 01:00:00 | 9.692 | 264.953 | 11.486 | 267.999 | 12.231 | 271.967 | 12.975 | 268.033 | 20.006 | 889.942 | 48.117 | 47.6094
2019-07-06 01:15:00 | 9.187 | 278.14 | 10.559 | 280.257 | 11.13 | 283.5 | 11.883 | 281.1 | 20.335 | 889.892 | 46.491 | 52.0916
2019-07-06 01:30:00 | 8.334 | 286.533 | 9.352 | 286.733 | 9.959 | 289.467 | 10.756 | 287 | 20.373 | 889.792 | 45.707 | 38.5326
2019-07-06 01:45:00 | 7.35 | 267.167 | 8.186 | 270.272 | 8.67 | 275.067 | 8.985 | 272.3 | 20.502 | 890.083 | 45.333 | 32.2995
2019-07-06 02:00:00 | 6.205 | 257.167 | 7.07 | 259.388 | 7.674 | 265.7 | 7.858 | 262.433 | 20.448 | 890.008 | 45.115 | 29.9589
2019-07-06 02:15:00 | 6.102 | 252.82 | 7.135 | 262.053 | 7.584 | 268.067 | 8.085 | 262.733 | 20.51 | 889.783 | 45.232 | 31.6366
2019-07-06 02:30:00 | 6.541 | 247.54 | 7.37 | 250.437 | 7.626 | 256.95 | 7.843 | 253.667 | 20.164 | 890.275 | 45.349 | 36.7832
2019-07-06 02:45:00 | 6.789 | 257.793 | 7.763 | 263.951 | 8.152 | 270.6 | 8.592 | 267.133 | 20.323 | 889.617 | 44.501 | 36.3391
2019-07-06 03:00:00 | 6.71 | 261.587 | 7.477 | 265.458 | 7.884 | 271.1 | 8.474 | 268.733 | 20.285 | 889.758 | 43.845 | 37.3232
2019-07-06 03:15:00 | 6.012 | 261.113 | 7.02 | 262.394 | 7.388 | 267.833 | 7.523 | 264.667 | 19.944 | 890.167 | 43.856 | 33.0712
2019-07-06 03:30:00 | 6.309 | 247.627 | 7.367 | 250.513 | 7.846 | 256.967 | 8.21 | 253.85 | 20.356 | 890.308 | 43.989 | 38.9021
2019-07-06 03:45:00 | 7.1 | 249.2 | 8.113 | 251.847 | 8.405 | 256.483 | 9.064 | 250.967 | 20.452 | 889.633 | 44.053 | 36.0144
2019-07-06 04:00:00 | 6.524 | 249.82 | 7.426 | 250.187 | 8.139 | 255.05 | 8.282 | 252.45 | 19.818 | 890.117 | 43.477 | 32.8239
2019-07-06 04:15:00 | 6.027 | 245.773 | 6.815 | 245.369 | 7.149 | 251.467 | 7.572 | 247.45 | 19.856 | 889.767 | 43.547 | 34.3353
2019-07-06 04:30:00 | 5.886 | 239.7 | 6.382 | 239.061 | 7.075 | 245 | 7.3 | 241.033 | 19.739 | 889.8 | 44.651 | 37.6615
2019-07-06 04:45:00 | 6.712 | 245.68 | 7.623 | 246.807 | 8.034 | 252.033 | 8.266 | 249.167 | 19.631 | 890.192 | 44.827 | 35.8118
2019-07-06 05:00:00 | 6.382 | 245.207 | 7.106 | 245.689 | 7.33 | 252.067 | 7.699 | 249.067 | 19.923 | 889.842 | 44.608 | 30.6766
2019-07-06 05:15:00 | 5.921 | 248.6 | 6.598 | 249.803 | 7.08 | 255.5 | 7.325 | 252.017 | 19.889 | 889.592 | 44.544 | 30.6929
2019-07-06 05:30:00 | 7.235 | 251.527 | 8.348 | 252.18 | 8.643 | 258.2 | 8.921 | 253 | 19.744 | 889.842 | 44.453 | 38.2249
2019-07-06 05:45:00 | 6.273 | 254.693 | 7.373 | 254.921 | 7.802 | 260.25 | 8.162 | 255.833 | 19.439 | 889.583 | 44.667 | 38.2384
2019-07-06 06:00:00 | 6.809 | 257.273 | 8.058 | 256.546 | 8.679 | 260.933 | 9.146 | 256.5 | 19.627 | 890.05 | 44.357 | 42.8351
2019-07-06 06:15:00 | 6.907 | 253.96 | 7.924 | 253.836 | 8.379 | 259.15 | 8.804 | 255.1 | 19.544 | 889.717 | 43.877 | 39.3398
2019-07-06 06:30:00 | 6.818 | 252.44 | 7.712 | 252.068 | 8.144 | 256.15 | 8.423 | 252.767 | 20.16 | 890.117 | 43.072 | 30.8748
2019-07-06 06:45:00 | 5.492 | 249.387 | 6.245 | 251.375 | 6.645 | 256.083 | 6.956 | 251.4 | 19.81 | 889.933 | 42.891 | 25.9158
2019-07-06 07:00:00 | 5.224 | 243.533 | 6.121 | 242.728 | 6.576 | 248.767 | 6.759 | 245.633 | 19.468 | 890.358 | 43.008 | 23.5453
2019-07-06 07:15:00 | 5.244 | 242.867 | 5.762 | 246.866 | 6.34 | 253.683 | 6.659 | 249.05 | 19.548 | 889.8 | 42.923 | 25.5861
2019-07-06 07:30:00 | 5.471 | 235.987 | 6.129 | 235.398 | 6.662 | 242 | 6.886 | 237.033 | 20.089 | 890.092 | 42.667 | 24.4812
2019-07-06 07:45:00 | 5.786 | 228.373 | 6.287 | 226.337 | 6.517 | 230.7 | 6.701 | 228.7 | 20.539 | 889.558 | 40.789 | 39.143
2019-07-06 08:00:00 | 7.26 | 209.82 | 8.105 | 209.412 | 8.637 | 213.133 | 8.931 | 210.967 | 19.744 | 890.092 | 48.352 | 33.5103
2019-07-06 08:15:00 | 7.284 | 210.153 | 7.758 | 209.298 | 7.956 | 214.1 | 8.028 | 211.4 | 20.21 | 889.642 | 46.421 | 31.2195
2019-07-06 08:30:00 | 6.112 | 215.727 | 6.602 | 213.515 | 6.892 | 215.667 | 7.177 | 211.833 | 20.035 | 889.933 | 45.643 | 25.5605
2019-07-06 08:45:00 | 6.973 | 220.26 | 7.236 | 217.441 | 7.554 | 220.733 | 7.571 | 216.9 | 21.006 | 890 | 41.76 | 23.222
2019-07-06 09:00:00 | 6.364 | 225.367 | 6.448 | 224.382 | 6.484 | 230.133 | 6.617 | 226 | 22.114 | 889.633 | 37.403 | 24.7469
2019-07-06 09:15:00 | 5.708 | 241.273 | 6.215 | 238.837 | 6.662 | 243.117 | 6.518 | 237.333 | 23.648 | 890.2 | 33.157 | 31.7609
2019-07-06 09:30:00 | 7.321 | 210.393 | 7.412 | 208.921 | 7.923 | 212.7 | 8.354 | 207.833 | 22.498 | 889.567 | 38.261 | 25.0148
2019-07-06 09:45:00 | 4.096 | 228.54 | 4.276 | 224.504 | 4.543 | 228.617 | 4.976 | 226.533 | 23.314 | 889.75 | 35.408 | 21.8833
2019-07-06 10:00:00 | 5.726 | 226.16 | 5.809 | 228.176 | 5.75 | 233.333 | 5.911 | 230.867 | 23.81 | 889.85 | 30.683 | 26.8722
2019-07-06 10:15:00 | 4.936 | 265.473 | 4.962 | 264.436 | 4.762 | 266.933 | 5.191 | 264.65 | 24.056 | 889.733 | 28.451 | 22.277
2019-07-06 10:30:00 | 4.101 | 239.373 | 4.197 | 227.808 | 4.297 | 230.833 | 4.78 | 227.667 | 24.181 | 889.8 | 30.344 | 23.0622
2019-07-06 10:45:00 | 3.633 | 268.1 | 3.549 | 264.739 | 3.68 | 264.4 | 4.017 | 263.667 | 24.323 | 889.833 | 28.112 | 21.8727
2019-07-06 11:00:00 | 5.045 | 270.18 | 5.286 | 266.667 | 5.691 | 274.933 | 5.817 | 273.6 | 24.748 | 889.633 | 25.861 | 22.4681
2019-07-06 11:15:00 | 4.959 | 288.52 | 5.304 | 287.287 | 5.412 | 292.233 | 5.681 | 289.467 | 25.298 | 889.883 | 24.256 | 18.5202
2019-07-06 11:30:00 | 5.705 | 275.96 | 5.655 | 278.758 | 5.839 | 286 | 5.92 | 282.467 | 25.26 | 889.4 | 24.683 | 14.266
2019-07-06 11:45:00 | 5.515 | 268.613 | 5.651 | 268.656 | 6.032 | 277.3 | 6.208 | 274.783 | 24.935 | 889.983 | 23.789 | 12.6161
2019-07-06 12:00:00 | 3.551 | 256.22 | 3.515 | 259.791 | 3.607 | 272.733 | 3.979 | 271.933 | 24.564 | 889.517 | 24.053 | 25.471
2019-07-06 12:15:00 | 4.078 | 233.341 | 4.355 | 230.25 | 4.495 | 232.467 | 4.783 | 224.833 | 24.989 | 889.5 | 25.416 | 30.0129
2019-07-06 12:30:00 | 7.881 | 199.98 | 8.393 | 196.879 | 8.778 | 199.533 | 9.103 | 195.367 | 23.885 | 889.583 | 34.677 | 43.7766
2019-07-06 12:45:00 | 10.504 | 187.207 | 11.142 | 183.65 | 11.312 | 188.3 | 11.825 | 185.067 | 22.914 | 889.983 | 38.523 | 52.8292
2019-07-06 13:00:00 | 11.365 | 196.133 | 12.057 | 191.431 | 12.349 | 193.9 | 12.909 | 190.5 | 22.494 | 890.117 | 39.451 | 52.3048
2019-07-06 13:15:00 | 10.125 | 188.187 | 10.63 | 186.638 | 10.892 | 189.2 | 11.329 | 186.133 | 24.502 | 889.5 | 34.283 | 48.0919
2019-07-06 13:30:00 | 9.854 | 183.9 | 10.002 | 179.615 | 10.151 | 186.633 | 10.894 | 185.167 | 24.035 | 889.517 | 33.275 | 41.2868
2019-07-06 13:45:00 | 8.664 | 190.627 | 9.086 | 190.594 | 9.652 | 194.533 | 10.154 | 190.7 | 25.11 | 889.767 | 30.053 | 42.8934
2019-07-06 14:00:00 | 10.22 | 174.947 | 10.813 | 174.459 | 10.775 | 179.5 | 11.106 | 178.367 | 25.706 | 889.733 | 29.904 | 52.4462
2019-07-06 14:15:00 | 11.704 | 177.667 | 12.191 | 176.617 | 12.375 | 179.467 | 13.029 | 177.067 | 24.277 | 889.9 | 36.005 | 55.518
2019-07-06 14:30:00 | 12.528 | 185.993 | 13.16 | 182.919 | 13.473 | 185.9 | 13.671 | 184.067 | 24.531 | 889.5 | 35.296 | 57.7321
2019-07-06 14:45:00 | 11.914 | 186.32 | 12.582 | 179.929 | 13.142 | 184.433 | 13.201 | 181.4 | 24.568 | 889.45 | 31.968 | 53.9846
2019-07-06 15:00:00 | 10.298 | 184 | 10.649 | 179.25 | 10.836 | 184.133 | 11.535 | 182.9 | 24.868 | 889.783 | 30.741 | 52.4199
2019-07-06 15:15:00 | 10.913 | 194.787 | 11.506 | 188.994 | 11.57 | 192.033 | 12.236 | 187 | 25.131 | 889.7 | 30.224 | 55.9152
2019-07-06 15:30:00 | 11.155 | 188.647 | 11.48 | 183.771 | 11.606 | 188.133 | 12.132 | 185.033 | 25.556 | 890.15 | 29.323 | 51.3264
2019-07-06 15:45:00 | 9.567 | 189.407 | 10.174 | 184.333 | 10.302 | 188 | 10.696 | 184.233 | 25.389 | 890.083 | 29.685 | 47.2903
2019-07-06 16:00:00 | 11.259 | 190.193 | 11.697 | 187.7 | 11.648 | 189.833 | 11.981 | 186.167 | 25.956 | 889.533 | 28.677 | 49.621
2019-07-06 16:15:00 | 10.189 | 195.74 | 10.966 | 191.936 | 11.138 | 193.4 | 11.743 | 188.267 | 25.981 | 889.55 | 28.848 | 48.6255
2019-07-06 16:30:00 | 9.981 | 185.9 | 10.409 | 183.68 | 10.551 | 186.867 | 11.114 | 183.133 | 26.531 | 889.65 | 27.509 | 42.1892
2019-07-06 16:45:00 | 9.802 | 192.913 | 10.126 | 193.229 | 10.35 | 193.433 | 11.009 | 190.233 | 26.848 | 889.3 | 25.755 | 48.7941
2019-07-06 17:00:00 | 9.427 | 194.873 | 10.108 | 191.309 | 10.43 | 195.533 | 10.674 | 192 | 27.377 | 889.467 | 25.52 | 41.962
2019-07-06 17:15:00 | 9.864 | 190.687 | 10.36 | 186.478 | 10.464 | 189.4 | 10.889 | 186.367 | 27.285 | 889.383 | 24.597 | 41.3052
2019-07-06 17:30:00 | 8.992 | 196.913 | 9.284 | 193.798 | 9.576 | 195.933 | 10.035 | 192.733 | 27.548 | 889.783 | 24.219 | 34.1257
2019-07-06 17:45:00 | 8.405 | 205.873 | 8.615 | 205.212 | 9.204 | 207.567 | 9.472 | 202.8 | 27.91 | 889.9 | 21.755 | 33.8255
2019-07-06 18:00:00 | 6.531 | 203.447 | 7.019 | 203.658 | 7.59 | 203.767 | 8.197 | 199.867 | 28.039 | 889.833 | 21.171 | 29.2215
2019-07-06 18:15:00 | 7.8 | 200.287 | 8.033 | 196.917 | 7.858 | 200.5 | 8.204 | 194.133 | 28.785 | 889.417 | 20.443 | 28.547
2019-07-06 18:30:00 | 7.927 | 198.427 | 8.09 | 194.701 | 8.439 | 198.9 | 8.82 | 193.733 | 28.439 | 889.533 | 20.296 | 30.7299
2019-07-06 18:45:00 | 7.796 | 195.76 | 8.278 | 194.918 | 8.796 | 197.267 | 9.082 | 191.6 | 28.406 | 889.783 | 21.28 | 35.7365
2019-07-06 19:00:00 | 7.423 | 190.273 | 7.718 | 186.555 | 7.672 | 190.533 | 7.89 | 184.7 | 28.402 | 889.667 | 21.829 | 33.1806
2019-07-06 19:15:00 | 7.992 | 176.107 | 8.598 | 174.855 | 8.716 | 179.133 | 9.207 | 177.4 | 28.048 | 889.933 | 22.523 | 28.1974
2019-07-06 19:30:00 | 8.437 | 203.98 | 8.872 | 200.382 | 9.307 | 203.567 | 9.623 | 201.133 | 27.906 | 889.617 | 21.536 | 31.3594
2019-07-06 19:45:00 | 7.978 | 204.06 | 8.403 | 199.972 | 8.572 | 202.267 | 8.648 | 196.867 | 28.594 | 889.7 | 21.845 | 34.196
2019-07-06 20:00:00 | 8.749 | 196 | 9.191 | 188.732 | 9.52 | 193.033 | 9.993 | 190.6 | 27.948 | 889.983 | 23.84 | 35.1439
2019-07-06 20:15:00 | 9.222 | 199.067 | 9.81 | 195.54 | 10.01 | 198.733 | 10.35 | 193.733 | 28.223 | 889.983 | 23.6 | 35.1055
2019-07-06 20:30:00 | 8.414 | 190.58 | 9.012 | 187.004 | 9.211 | 190.9 | 9.73 | 186.4 | 26.764 | 889.65 | 25.771 | 30.5117
2019-07-06 20:45:00 | 8.249 | 196.767 | 9.287 | 192.662 | 9.795 | 196.433 | 10.346 | 191.567 | 26.339 | 889.7 | 27.173 | 38.6228
2019-07-06 21:00:00 | 7.946 | 198.773 | 8.793 | 194.955 | 9.081 | 197.433 | 9.538 | 193.367 | 26.098 | 889.717 | 28.277 | 40.6018
2019-07-06 21:15:00 | 8.04 | 200.68 | 8.581 | 195.622 | 9.172 | 197.233 | 9.862 | 192.433 | 25.777 | 889.433 | 29.776 | 38.2207
2019-07-06 21:30:00 | 7.682 | 204.747 | 8.891 | 200.107 | 9.768 | 203.933 | 10.258 | 199.2 | 24.844 | 889.733 | 31.723 | 38.2583
2019-07-06 21:45:00 | 5.918 | 210.447 | 6.894 | 206.323 | 7.467 | 211.167 | 7.898 | 207 | 24.202 | 889.25 | 33.44 | 32.173
2019-07-06 22:00:00 | 5.843 | 210.64 | 7.232 | 207.71 | 8.001 | 210.5 | 8.498 | 208.167 | 23.735 | 889.95 | 33.984 | 31.1065
2019-07-06 22:15:00 | 3.982 | 221.727 | 5.026 | 213.531 | 6.289 | 215.933 | 6.972 | 211.8 | 23.748 | 889.683 | 35.088 | 20.6739
2019-07-06 22:30:00 | 4.924 | 224.42 | 5.992 | 225.409 | 6.339 | 232.533 | 6.288 | 231.467 | 23.131 | 889.833 | 35.44 | 14.595
2019-07-06 22:45:00 | 5.423 | 225.44 | 5.598 | 224.211 | 5.546 | 233.533 | 5.404 | 233.1 | 23.048 | 889.783 | 34.912 | 16.1121
2019-07-06 23:00:00 | 2.582 | 224.12 | 3.898 | 223.846 | 4.566 | 227.9 | 4.944 | 223.967 | 22.748 | 889.867 | 34.181 | 14.8409
2019-07-06 23:15:00 | 5.746 | 217.3 | 5.582 | 223.438 | 4.771 | 237.9 | 4.155 | 239.933 | 22.498 | 889.817 | 35.467 | 12.7469
2019-07-06 23:30:00 | 4.782 | 226.5 | 4.55 | 235.061 | 4.003 | 251.2 | 3.29 | 264.283 | 22.481 | 889.983 | 35.701 | 10.6514
2019-07-06 23:45:00 | 4.621 | 230.073 | 5.16 | 237.939 | 4.676 | 256.267 | 4.072 | 263.5 | 21.494 | 889.767 | 35.349 | 10.2883