## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-08 00:00:00 | 5.787 | 234.92 | 6.238 | 236.919 | 5.95 | 237.267 | 5.317 | 227.6 | 24.331 | 889.2 | 19.632 | 15.6609
2019-07-08 00:15:00 | 4.567 | 248.16 | 5.809 | 264.131 | 5.869 | 269.333 | 5.851 | 262.633 | 24.36 | 889.233 | 20.028 | 16.7154
2019-07-08 00:30:00 | 5.218 | 256.807 | 5.027 | 272.092 | 5.21 | 279.733 | 5.604 | 278.967 | 25.168 | 889.367 | 19.581 | 13.4006
2019-07-08 00:45:00 | 5.531 | 249.32 | 5.633 | 266.477 | 5.584 | 279.467 | 5.663 | 281.2 | 25.781 | 889.533 | 18.683 | 14.9873
2019-07-08 01:00:00 | 5.715 | 249.147 | 5.8 | 266.508 | 5.755 | 279 | 6.007 | 279.9 | 24.794 | 889.367 | 19.019 | 16.6145
2019-07-08 01:15:00 | 5.46 | 244.873 | 5.344 | 257.047 | 5.177 | 269.533 | 5.182 | 270.233 | 25.102 | 889.6 | 18.759 | 13.4041
2019-07-08 01:30:00 | 5.08 | 232.433 | 5.257 | 247.266 | 4.7 | 258.933 | 4.522 | 261.2 | 24.277 | 889.467 | 19.381 | 12.1322
2019-07-08 01:45:00 | 3.569 | 250.707 | 4.983 | 257.68 | 4.602 | 275.833 | 4.362 | 282.5 | 23.581 | 889.2 | 19.955 | 11.401
2019-07-08 02:00:00 | 3.219 | 240.487 | 4.767 | 259.828 | 4.471 | 277.933 | 4.619 | 281.867 | 23.114 | 889.567 | 20.072 | 10.6336
2019-07-08 02:15:00 | 4.208 | 250.013 | 3.904 | 274.224 | 3.685 | 295.067 | 4.146 | 309.133 | 23.114 | 889.333 | 20.54 | 9.1699
2019-07-08 02:30:00 | 4.334 | 249.767 | 3.838 | 279.098 | 3.754 | 294.233 | 3.82 | 301.033 | 22.764 | 890.217 | 20.744 | 11.2206
2019-07-08 02:45:00 | 5.11 | 258.327 | 5.787 | 270.248 | 5.496 | 276.967 | 5.404 | 273.467 | 22.848 | 889.767 | 20.987 | 12.5799
2019-07-08 03:00:00 | 5.446 | 247.153 | 5.462 | 268.716 | 5.007 | 279.733 | 5.098 | 283 | 23.131 | 889.567 | 20.912 | 12.2814
2019-07-08 03:15:00 | 4.997 | 261.493 | 4.463 | 275.72 | 4.444 | 286.1 | 4.689 | 288.333 | 23.614 | 889.4 | 20.824 | 11.0784
2019-07-08 03:30:00 | 5.69 | 242.133 | 5.361 | 257.817 | 4.733 | 271.4 | 4.537 | 274.167 | 23.148 | 889.65 | 20.92 | 15.8584
2019-07-08 03:45:00 | 5.866 | 217.42 | 7.448 | 224.481 | 6.94 | 235.967 | 6.088 | 239.367 | 21.848 | 889.8 | 22.149 | 21.5003
2019-07-08 04:00:00 | 6.507 | 220.893 | 7.196 | 226.773 | 7.269 | 232.8 | 7.063 | 228.5 | 21.618 | 889.317 | 22.437 | 25.8064
2019-07-08 04:15:00 | 6.157 | 222.873 | 7.707 | 227.92 | 7.664 | 234.6 | 7.31 | 230.667 | 22.123 | 890.1 | 22.645 | 29.7017
2019-07-08 04:30:00 | 6.705 | 226.54 | 8.331 | 230.466 | 8.363 | 237.267 | 8.187 | 232.533 | 21.802 | 890.133 | 23.013 | 34.287
2019-07-08 04:45:00 | 6.093 | 224.707 | 8.101 | 229.508 | 8.115 | 239.033 | 7.839 | 235.3 | 21.681 | 889.483 | 23.387 | 39.2403
2019-07-08 05:00:00 | 6.554 | 220.653 | 8.408 | 225.423 | 8.996 | 232.767 | 8.814 | 228.9 | 21.694 | 889.633 | 23.776 | 38.4431
2019-07-08 05:15:00 | 6.071 | 224.867 | 8.355 | 227.77 | 8.613 | 234.6 | 8.316 | 230.967 | 21.481 | 889.883 | 23.872 | 36.4144
2019-07-08 05:30:00 | 5.526 | 223.107 | 7.836 | 225.654 | 8.093 | 233.8 | 7.984 | 229.767 | 21.768 | 889.9 | 23.835 | 30.4982
2019-07-08 05:45:00 | 5.208 | 220.507 | 7.227 | 222.626 | 7.368 | 233.2 | 7.234 | 229.667 | 21.098 | 889.5 | 24.768 | 24.4776
2019-07-08 06:00:00 | 5.18 | 233.84 | 6.802 | 232.626 | 7.414 | 243.333 | 7.204 | 240.533 | 20.556 | 889.65 | 25.557 | 24.8535
2019-07-08 06:15:00 | 4.131 | 228.64 | 5.933 | 234.313 | 6.834 | 245.867 | 6.754 | 243.4 | 20.268 | 889.5 | 26.075 | 20.2028
2019-07-08 06:30:00 | 4.069 | 240.747 | 6.046 | 245.681 | 5.992 | 260.733 | 5.657 | 264.933 | 20.452 | 889.9 | 25.851 | 16.9243
2019-07-08 06:45:00 | 4.611 | 242.64 | 4.946 | 264.978 | 4.918 | 280.067 | 5.158 | 284.033 | 21.031 | 889.983 | 25.485 | 12.577
2019-07-08 07:00:00 | 4.463 | 264.567 | 5.759 | 286.317 | 5.966 | 300.933 | 6.216 | 302.867 | 20.91 | 890 | 24.955 | 14.7364
2019-07-08 07:15:00 | 4.23 | 255.853 | 5.176 | 277.951 | 5.678 | 286.233 | 6.313 | 289 | 21.664 | 890 | 23.744 | 14.7421
2019-07-08 07:30:00 | 4.38 | 252.573 | 5.288 | 272.009 | 5.896 | 285.8 | 6.444 | 286.6 | 21.752 | 889.7 | 23.792 | 15.6829
2019-07-08 07:45:00 | 4.447 | 268.653 | 5.477 | 276.744 | 6.056 | 286.5 | 6.763 | 288.1 | 23.348 | 889.933 | 22.92 | 17.0245
2019-07-08 08:00:00 | 5.041 | 280.593 | 5.434 | 280.474 | 5.768 | 287.367 | 6.46 | 286.3 | 23.898 | 889.45 | 23.349 | 17.1616
2019-07-08 08:15:00 | 6.298 | 280.44 | 6.518 | 281.136 | 6.645 | 283.433 | 7.147 | 281.633 | 24.677 | 889.55 | 24.501 | 20.2888
2019-07-08 08:30:00 | 7.334 | 284.413 | 7.649 | 285.641 | 7.708 | 290.067 | 7.984 | 286 | 25.439 | 890.1 | 23.931 | 27.5792
2019-07-08 08:45:00 | 8.008 | 289.84 | 8.652 | 287.267 | 8.94 | 292.967 | 9.12 | 291.333 | 26.027 | 889.95 | 23.08 | 38.6221
2019-07-08 09:00:00 | 7.452 | 303.813 | 7.876 | 298.946 | 8.584 | 305.033 | 9.005 | 303.333 | 24.964 | 889.833 | 26.869 | 39.5388
2019-07-08 09:15:00 | 7.633 | 313.08 | 8.055 | 309.436 | 8.191 | 313.167 | 8.609 | 311.933 | 24.781 | 889.567 | 28.203 | 39.106
2019-07-08 09:30:00 | 8.751 | 314.533 | 9.455 | 310.144 | 9.499 | 314.967 | 9.733 | 312.967 | 24.973 | 889.583 | 28.52 | 42.1551
2019-07-08 09:45:00 | 7.944 | 322.667 | 8.247 | 317.356 | 8.428 | 318.5 | 8.915 | 316.933 | 25.139 | 889.667 | 29.571 | 32.5326
2019-07-08 10:00:00 | 6.707 | 321.76 | 6.954 | 315.208 | 7.122 | 320.067 | 7.501 | 320.033 | 25.656 | 889.717 | 28.373 | 33.2837
2019-07-08 10:15:00 | 7.575 | 314.333 | 7.769 | 308.303 | 8.103 | 314.167 | 8.559 | 312.133 | 26.085 | 889.917 | 26.309 | 33.7654
2019-07-08 10:30:00 | 6.914 | 335.16 | 7.499 | 328.475 | 7.727 | 331.5 | 7.528 | 327.7 | 26.831 | 889.167 | 26.368 | 29.0579
2019-07-08 10:45:00 | 6.27 | 330.88 | 6.726 | 325.732 | 6.809 | 329.333 | 6.964 | 328.4 | 27.348 | 889.317 | 26.035 | 31.0859
2019-07-08 11:00:00 | 8.313 | 320.427 | 8.684 | 325.124 | 8.95 | 326.833 | 9.237 | 323.267 | 27.56 | 889.883 | 24.357 | 39.9672
2019-07-08 11:15:00 | 8.832 | 318.533 | 9.104 | 315.18 | 9.232 | 318.967 | 9.682 | 314.467 | 28.068 | 890.083 | 23.003 | 40.2849
2019-07-08 11:30:00 | 8.343 | 314.613 | 8.825 | 320.412 | 8.992 | 327.267 | 9.44 | 323.6 | 28.231 | 889.767 | 23.213 | 32.3734
2019-07-08 11:45:00 | 6.502 | 245.693 | 7.007 | 309.142 | 7.297 | 322.933 | 7.724 | 321.233 | 28.102 | 889.817 | 23.821 | 24.8428
2019-07-08 12:00:00 | 8.361 | 321.16 | 8.609 | 328.888 | 8.96 | 334.633 | 8.726 | 333.867 | 28.056 | 890.15 | 23.84 | 26.8509
2019-07-08 12:15:00 | 6.331 | 333.16 | 6.821 | 339.966 | 7.146 | 331.567 | 7.29 | 341.333 | 28.023 | 890.167 | 24.107 | 24.7867
2019-07-08 12:30:00 | 5.69 | 328.253 | 6.114 | 310.552 | 6.335 | 307.467 | 6.416 | 295.967 | 28.368 | 889.833 | 23.624 | 20.0557
2019-07-08 12:45:00 | 5.036 | 185.268 | 5.045 | 236.234 | 5.107 | 171.267 | 5.139 | 198.1 | 28.156 | 889.75 | 23.285 | 15.0676
2019-07-08 13:00:00 | 4.917 | 186.435 | 5.485 | 208.086 | 5.276 | 195.968 | 5.06 | 209.233 | 28.964 | 889.667 | 22.981 | 11.7243
2019-07-08 13:15:00 | 3.585 | 214.513 | 3.948 | 245.636 | 4.191 | 245.6 | 4.704 | 254.9 | 28.868 | 889.75 | 23.283 | 13.2007
2019-07-08 13:30:00 | 4.837 | 306.933 | 4.789 | 316.13 | 5.087 | 310.467 | 5.298 | 325.233 | 28.998 | 889.433 | 23.131 | 11.5059
2019-07-08 13:45:00 | 3.424 | 78.448 | 3.461 | 82.635 | 3.999 | 86.6 | 4.026 | 86.1 | 29.748 | 889.667 | 21.883 | 9.4491
2019-07-08 14:00:00 | 1.931 | 256.62 | 1.535 | 256.933 | 1.297 | 274.767 | 1.778 | 285.6 | 29.681 | 889.533 | 20.716 | 7.9306
2019-07-08 14:15:00 | 4.531 | 319.707 | 4.494 | 325.214 | 4.416 | 333.033 | 4.595 | 331.067 | 30.66 | 889.733 | 18.953 | 7.6095
2019-07-08 14:30:00 | 4.336 | 141.993 | 4.45 | 248.702 | 4.518 | 193.3 | 4.86 | 244.133 | 29.798 | 890.217 | 21.4 | 8.1118
2019-07-08 14:45:00 | 3.531 | 308.76 | 3.515 | 332.977 | 3.588 | 300 | 3.956 | 310.3 | 29.914 | 889.583 | 21.099 | 7.4816
2019-07-08 15:00:00 | 2.958 | 40.485 | 2.671 | 26.033 | 3.122 | 25.233 | 3.161 | 41.367 | 30.992 | 889.4 | 18.357 | 7.7359
2019-07-08 15:15:00 | 3.358 | 70.346 | 3.293 | 87.01 | 3.444 | 78.833 | 3.384 | 97.5 | 31.77 | 889.633 | 17.753 | 7.6478
2019-07-08 15:30:00 | 2.002 | 182.473 | 1.727 | 171.386 | 1.894 | 177.133 | 2.382 | 168.933 | 31.435 | 889.533 | 18.112 | 6.9444
2019-07-08 15:45:00 | 4.329 | 324.587 | 4.314 | 315.937 | 4.835 | 318.3 | 5.245 | 322.767 | 32.067 | 890.2 | 16.208 | 7.4993
2019-07-08 16:00:00 | 3.834 | 267.654 | 3.852 | 298.577 | 3.891 | 314.6 | 4.048 | 307.567 | 31.581 | 889.333 | 16.185 | 7.7935
2019-07-08 16:15:00 | 3.717 | 46.741 | 3.012 | 30.563 | 2.627 | 34.4 | 2.562 | 23.7 | 31.923 | 889.733 | 16.872 | 7.8425
2019-07-08 16:30:00 | 3.743 | 40.41 | 3.878 | 32.199 | 3.714 | 31.267 | 3.761 | 22.333 | 31.271 | 889.4 | 17.699 | 7.0979
2019-07-08 16:45:00 | 3.492 | 41.117 | 3.598 | 33.24 | 3.623 | 37.4 | 3.674 | 36.467 | 31.686 | 889.4 | 17.325 | 7.1469
2019-07-08 17:00:00 | 4.979 | 319.08 | 4.817 | 317.357 | 5.092 | 323.767 | 5.097 | 323.8 | 31.49 | 889.333 | 16.489 | 8.3037
2019-07-08 17:15:00 | 4.579 | 314.053 | 4.487 | 310.652 | 4.864 | 316.567 | 4.963 | 312.4 | 31.957 | 889.2 | 15.945 | 10.0147
2019-07-08 17:30:00 | 2.381 | 163.907 | 1.977 | 171.174 | 2.296 | 175.933 | 2.667 | 175.033 | 32.118 | 889.2 | 15.515 | 8.0841
2019-07-08 17:45:00 | 2.725 | 245.709 | 2.346 | 328.064 | 2.216 | 285.301 | 2.808 | 263.667 | 32.996 | 889.333 | 13.979 | 7.181
2019-07-08 18:00:00 | 3.194 | 210.381 | 3.368 | 201.554 | 3.52 | 182.933 | 3.679 | 179 | 32.051 | 889.433 | 15.224 | 8.3193
2019-07-08 18:15:00 | 4.311 | 61.46 | 4.042 | 63.629 | 4.433 | 58.933 | 4.817 | 52.7 | 31.88 | 889.533 | 16.677 | 9.447
2019-07-08 18:30:00 | 3.913 | 214.674 | 3.885 | 293.508 | 3.884 | 169.671 | 3.955 | 178.2 | 32.117 | 889.233 | 16.951 | 10.2158
2019-07-08 18:45:00 | 3.388 | 37.722 | 3.474 | 29.268 | 3.688 | 29.933 | 3.716 | 23.467 | 31.758 | 889.367 | 16.453 | 9.41
2019-07-08 19:00:00 | 0.648 | 200.347 | 0.063 | 169.151 | 0.333 | 139.733 | 0.773 | 133.7 | 32.708 | 889.8 | 16.016 | 8.1367
2019-07-08 19:15:00 | 4.892 | 18.97 | 4.693 | 14.876 | 4.665 | 17.367 | 4.805 | 14.267 | 32.188 | 889.533 | 16.664 | 9.2466
2019-07-08 19:30:00 | 2.424 | 76.9 | 2.194 | 65.803 | 2.45 | 66.767 | 2.828 | 57.833 | 31.235 | 889.7 | 17.419 | 7.5171
2019-07-08 19:45:00 | 2.485 | 291.82 | 1.676 | 296.234 | 1.884 | 301.8 | 2.582 | 309 | 31.349 | 889.367 | 18.036 | 6.9771
2019-07-08 20:00:00 | 2.608 | 336.467 | 2.121 | 334.502 | 2.148 | 222.934 | 2.359 | 222 | 31.01 | 889.433 | 18.661 | 7.2762
2019-07-08 20:15:00 | 6.825 | 14.53 | 7.747 | 121.236 | 8.046 | 77.3 | 8.292 | 49.9 | 30.573 | 889.567 | 20.781 | 29.8175
2019-07-08 20:30:00 | 10.581 | 60.416 | 11.698 | 208.422 | 11.898 | 26.467 | 12.199 | 49.9 | 29.748 | 889.467 | 22.272 | 45.229
2019-07-08 20:45:00 | 9.914 | 31.98 | 11.801 | 88.778 | 11.453 | 12.333 | 12.026 | 35.467 | 28.852 | 889.717 | 22.832 | 48.4123
2019-07-08 21:00:00 | 9.858 | 17.933 | 11.147 | 154.876 | 11.634 | 19.467 | 11.404 | 26.467 | 28.514 | 889.817 | 24.072 | 53.1639
2019-07-08 21:15:00 | 9.446 | 118.321 | 10.873 | 110.63 | 10.769 | 39.133 | 11.217 | 47.6 | 27.727 | 889.867 | 25.037 | 43.4426
2019-07-08 21:30:00 | 9.405 | 84.196 | 10.512 | 178.158 | 11.069 | 19.433 | 11.16 | 12.133 | 26.948 | 889.233 | 26.115 | 45.8621
2019-07-08 21:45:00 | 9.188 | 203.27 | 10.145 | 328.624 | 10.483 | 237.567 | 11.388 | 273 | 26.539 | 889.833 | 26.755 | 48.5516
2019-07-08 22:00:00 | 6.706 | 302.907 | 7.337 | 346 | 7.962 | 327.867 | 8.527 | 338.433 | 26.356 | 889.483 | 26.96 | 25.8774
2019-07-08 22:15:00 | 5.045 | 281.813 | 5.845 | 347.537 | 6.218 | 329.4 | 6.728 | 340.667 | 26.039 | 889.817 | 26.947 | 20.8097
2019-07-08 22:30:00 | 4.262 | 335.12 | 4.768 | 332.386 | 5.155 | 339.633 | 5.487 | 341.5 | 26.414 | 889.667 | 26.901 | 13.4716
2019-07-08 22:45:00 | 2.457 | 340.627 | 2.537 | 332.316 | 3.065 | 340 | 3.822 | 330.533 | 26.385 | 890.167 | 27.037 | 9.0292
2019-07-08 23:00:00 | 3.086 | 328.267 | 3.098 | 326.265 | 3.266 | 333.5 | 3.712 | 337.233 | 26.323 | 889.783 | 26.832 | 8.7307
2019-07-08 23:15:00 | 4.879 | 282.787 | 5.35 | 285.447 | 5.56 | 291.9 | 5.772 | 290.567 | 26.344 | 889.95 | 26.808 | 11.5261
2019-07-08 23:30:00 | 5.011 | 262.993 | 5.723 | 267.746 | 6 | 274.167 | 6.034 | 270.833 | 25.631 | 889.633 | 27.101 | 16.6592
2019-07-08 23:45:00 | 5.504 | 269.36 | 6.015 | 267.631 | 6.167 | 274.133 | 6.439 | 270.233 | 25.318 | 890.15 | 27.331 | 18.8947