## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-09 00:00:00 | 3.787 | 247.473 | 4.358 | 251.498 | 4.528 | 256.8 | 4.721 | 253.217 | 25.306 | 889.683 | 27.757 | 9.9891
2019-07-09 00:15:00 | 2.372 | 222.713 | 2.725 | 232.122 | 2.927 | 240.533 | 3.071 | 241.6 | 24.71 | 889.933 | 28.288 | 8.6689
2019-07-09 00:30:00 | 3.765 | 222.493 | 3.968 | 226.331 | 3.579 | 236.967 | 3.573 | 237.6 | 24.398 | 889.8 | 28.752 | 9.8158
2019-07-09 00:45:00 | 4.104 | 222.22 | 4.548 | 226.243 | 4.329 | 235.233 | 4.141 | 236.567 | 24.148 | 889.683 | 29.227 | 11.7698
2019-07-09 01:00:00 | 4.661 | 219.72 | 5.586 | 223.165 | 5.565 | 230.167 | 5.356 | 228.767 | 23.781 | 889.783 | 29.621 | 14.983
2019-07-09 01:15:00 | 4.584 | 231.393 | 5.839 | 232.879 | 5.99 | 242.167 | 6.015 | 237.967 | 23.748 | 889.7 | 29.888 | 18.8577
2019-07-09 01:30:00 | 5.052 | 245.833 | 6.338 | 247.553 | 6.551 | 254.867 | 6.867 | 250.95 | 23.864 | 889.683 | 30.443 | 22.0809
2019-07-09 01:45:00 | 4.378 | 233.387 | 5.645 | 234.416 | 5.912 | 243.033 | 5.878 | 239.667 | 23.598 | 889.8 | 30.795 | 18.754
2019-07-09 02:00:00 | 4.732 | 232.113 | 5.754 | 232.956 | 5.893 | 240.767 | 5.915 | 238.4 | 23.564 | 889.383 | 30.933 | 20.1908
2019-07-09 02:15:00 | 4.743 | 238.813 | 5.813 | 239.063 | 6.028 | 248.033 | 6.039 | 244.6 | 23.481 | 889.683 | 31.365 | 20.0444
2019-07-09 02:30:00 | 4.483 | 239.173 | 5.838 | 239.575 | 5.926 | 248.433 | 5.89 | 245.267 | 23.531 | 889.85 | 31.723 | 19.0716
2019-07-09 02:45:00 | 4.913 | 245.62 | 5.681 | 249.216 | 5.606 | 257.267 | 5.823 | 256.433 | 23.164 | 889.95 | 31.957 | 18.6481
2019-07-09 03:00:00 | 4.721 | 242.72 | 5.392 | 249.806 | 5.426 | 258.367 | 5.653 | 258.15 | 22.948 | 889.133 | 32.355 | 16.0986
2019-07-09 03:15:00 | 4.345 | 241.313 | 4.805 | 252.098 | 4.846 | 264.6 | 5.11 | 265.167 | 22.781 | 890.067 | 32.597 | 13.6891
2019-07-09 03:30:00 | 3.842 | 248.1 | 4.352 | 257.097 | 4.335 | 270.267 | 4.66 | 274.133 | 22.981 | 890.167 | 32.757 | 12.4037
2019-07-09 03:45:00 | 3.879 | 249.113 | 4.283 | 264.881 | 4.369 | 277.4 | 4.772 | 281.033 | 22.614 | 889.633 | 33.08 | 11.9006
2019-07-09 04:00:00 | 3.103 | 251.893 | 3.875 | 266.436 | 4.241 | 280.867 | 4.824 | 285.033 | 22.631 | 889.917 | 33.245 | 10.6947
2019-07-09 04:15:00 | 2.963 | 252.6 | 3.505 | 267.226 | 3.696 | 281.267 | 3.946 | 285.833 | 22.498 | 889.75 | 33.661 | 9.5841
2019-07-09 04:30:00 | 3.925 | 248.533 | 3.922 | 267.444 | 4.127 | 281.267 | 4.434 | 286.633 | 22.314 | 889.667 | 33.912 | 9.2821
2019-07-09 04:45:00 | 3.596 | 246.333 | 3.83 | 265.625 | 3.874 | 280.067 | 4.134 | 284.7 | 22.464 | 889.567 | 34.131 | 8.7179
2019-07-09 05:00:00 | 3.405 | 242.667 | 3.167 | 262.908 | 3.043 | 278.733 | 3.528 | 282.867 | 22.227 | 889.717 | 34.416 | 8.0685
2019-07-09 05:15:00 | 3.702 | 239.193 | 3.722 | 252.638 | 3.298 | 269.067 | 3.557 | 273.467 | 22.094 | 889.3 | 34.576 | 8.6668
2019-07-09 05:30:00 | 3.982 | 223.727 | 3.426 | 237.168 | 2.781 | 248.8 | 2.854 | 260.3 | 22.11 | 889.583 | 34.315 | 7.8113
2019-07-09 05:45:00 | 3.696 | 231.053 | 3.27 | 244.24 | 3.002 | 259.467 | 3.554 | 266.1 | 22.148 | 889.633 | 34.488 | 8.9531
2019-07-09 06:00:00 | 4.206 | 233.747 | 4.701 | 240.904 | 4.304 | 249.967 | 4.185 | 250 | 21.981 | 889.333 | 34.411 | 11.0735
2019-07-09 06:15:00 | 4.636 | 225.173 | 4.764 | 234.506 | 4.687 | 246.967 | 4.889 | 246.7 | 22.089 | 890.033 | 34.229 | 13.8632
2019-07-09 06:30:00 | 4.423 | 237.287 | 5.565 | 243.301 | 5.716 | 253.867 | 5.773 | 253.45 | 22.285 | 889.7 | 34.224 | 16.4326
2019-07-09 06:45:00 | 4.608 | 261.113 | 5.682 | 268.786 | 5.715 | 277.667 | 6.123 | 276.3 | 22.427 | 889.817 | 34.229 | 18.0406
2019-07-09 07:00:00 | 3.664 | 258.953 | 4.41 | 267.971 | 4.756 | 278.333 | 5.267 | 276.4 | 22.564 | 889.867 | 33.693 | 12.5671
2019-07-09 07:15:00 | 2.457 | 246.707 | 3.081 | 258.882 | 3.518 | 272.267 | 3.931 | 270.933 | 22.864 | 889.6 | 33.427 | 9.4797
2019-07-09 07:30:00 | 3.586 | 234.347 | 4.008 | 243.906 | 4.234 | 252.433 | 4.437 | 251.5 | 23.131 | 889.667 | 33.472 | 11.654
2019-07-09 07:45:00 | 2.954 | 240.887 | 3.818 | 245.064 | 3.996 | 256.033 | 4.393 | 255.517 | 23.281 | 889.817 | 33.227 | 10.9584
2019-07-09 08:00:00 | 1.27 | 302.04 | 1.588 | 280.029 | 1.887 | 282.967 | 2.708 | 286.2 | 23.564 | 889.75 | 33.184 | 7.446
2019-07-09 08:15:00 | 1.441 | 241.02 | 1.37 | 237.914 | 1.36 | 246.933 | 2.109 | 243.433 | 23.581 | 889.917 | 32.56 | 6.8619
2019-07-09 08:30:00 | 0 | 61.077 | 0 | 237.439 | 0 | 247.1 | 0.054 | 242.933 | 24.006 | 889.767 | 31.52 | 6.8634
2019-07-09 08:45:00 | 0.742 | 237.667 | 0.19 | 237.44 | 0.14 | 247.033 | 0.933 | 243 | 24.698 | 889.983 | 30.645 | 6.906
2019-07-09 09:00:00 | 0.385 | 237.613 | 0 | 237.428 | 0 | 247 | 1.125 | 243.033 | 25.148 | 889.917 | 30.155 | 6.9174
2019-07-09 09:15:00 | 1.855 | 221.867 | 1.639 | 230.26 | 1.457 | 221.5 | 2.121 | 228.067 | 25.073 | 889.617 | 29.749 | 6.928
2019-07-09 09:30:00 | 2.037 | 225.853 | 1.907 | 221.363 | 1.75 | 231.5 | 2.394 | 220.167 | 25.331 | 889.7 | 29.755 | 7.3487
2019-07-09 09:45:00 | 2.851 | 228.88 | 2.635 | 223.752 | 2.591 | 228.8 | 2.852 | 220.1 | 25.573 | 889.8 | 29.749 | 7.5093
2019-07-09 10:00:00 | 2.322 | 235.42 | 2.209 | 227.054 | 2.25 | 230.633 | 2.721 | 223.067 | 25.098 | 889.8 | 29.616 | 7.0268
2019-07-09 10:15:00 | 2.712 | 240.28 | 2.792 | 238.075 | 2.7 | 242.3 | 2.926 | 238.867 | 25.539 | 889.833 | 29.072 | 7.4581
2019-07-09 10:30:00 | 2.958 | 250.12 | 2.857 | 244.939 | 2.888 | 247.967 | 3.148 | 242.767 | 26.077 | 889.667 | 28.496 | 7.6642
2019-07-09 10:45:00 | 2.54 | 261.58 | 2.639 | 259.294 | 2.582 | 263.533 | 3.047 | 251.517 | 26.16 | 889.867 | 27.725 | 7.5213
2019-07-09 11:00:00 | 3.557 | 293.493 | 3.84 | 289.494 | 3.873 | 295.4 | 4.105 | 289.4 | 26.202 | 889.967 | 27.152 | 7.9186
2019-07-09 11:15:00 | 2.776 | 280.273 | 2.496 | 275.635 | 2.487 | 282.2 | 2.951 | 277.4 | 26.902 | 889.6 | 26.552 | 6.9991
2019-07-09 11:30:00 | 2.545 | 282.18 | 2.571 | 278.425 | 2.575 | 283.4 | 2.992 | 285.767 | 26.623 | 890.017 | 26.077 | 7.3018
2019-07-09 11:45:00 | 1.97 | 256.24 | 1.687 | 251.247 | 1.946 | 257.617 | 2.614 | 262.7 | 26.581 | 889.567 | 25.915 | 6.9636
2019-07-09 12:00:00 | 0.266 | 288.08 | 0.36 | 294.26 | 0.273 | 222.767 | 1.618 | 289.433 | 27.327 | 889.517 | 24.797 | 6.9479
2019-07-09 12:15:00 | 2.911 | 25.085 | 2.732 | 10.067 | 2.781 | 13.7 | 3.277 | 13.533 | 26.923 | 890.117 | 25.275 | 7.1176
2019-07-09 12:30:00 | 1.749 | 50.464 | 1.417 | 36.645 | 1.492 | 37.433 | 1.985 | 35.067 | 27.477 | 889.75 | 24.091 | 6.8685
2019-07-09 12:45:00 | 2.373 | 64.186 | 3.028 | 62.483 | 2.994 | 52.8 | 3.267 | 57.7 | 28.064 | 889.867 | 23.651 | 6.8818
2019-07-09 13:00:00 | 2.137 | 50.488 | 1.843 | 29.548 | 1.803 | 30.2 | 2.317 | 37 | 27.706 | 889.533 | 23.36 | 6.9053
2019-07-09 13:15:00 | 1.619 | 170.214 | 1.593 | 180.546 | 1.416 | 184.467 | 2.049 | 211.367 | 29.023 | 889.833 | 21.616 | 6.9415
2019-07-09 13:30:00 | 0.789 | 123.658 | 0.75 | 96.873 | 0.866 | 93.767 | 1.818 | 89.967 | 28.773 | 889.883 | 21.595 | 7.0573
2019-07-09 13:45:00 | 2.974 | 71.433 | 3.044 | 64.659 | 3.201 | 66.3 | 3.375 | 68.033 | 29.698 | 889.917 | 20.885 | 7.0474
2019-07-09 14:00:00 | 3.116 | 69.79 | 2.778 | 65.627 | 2.913 | 69 | 3.338 | 64.367 | 29.931 | 889.45 | 20.821 | 7.1735
2019-07-09 14:15:00 | 3.77 | 62.202 | 3.898 | 51.125 | 4.008 | 39.334 | 4.173 | 58.967 | 29.148 | 889.733 | 21.037 | 7.4311
2019-07-09 14:30:00 | 3.559 | 48.278 | 3.908 | 45.502 | 4.163 | 56.268 | 4.452 | 58.633 | 29.785 | 889.583 | 20.632 | 7.2613
2019-07-09 14:45:00 | 3.061 | 64.033 | 3.872 | 128.314 | 4.171 | 54.5 | 4.265 | 36.2 | 29.448 | 890.05 | 20.803 | 7.9909
2019-07-09 15:00:00 | 3.409 | 255.808 | 3.193 | 243.597 | 3.27 | 201.933 | 3.415 | 149.935 | 29.481 | 889.867 | 20.857 | 9.8318
2019-07-09 15:15:00 | 5.148 | 66.2 | 5.037 | 60.274 | 5.081 | 64.567 | 5.467 | 55.467 | 29.564 | 889.733 | 21.157 | 9.2729
2019-07-09 15:30:00 | 4.591 | 101.922 | 4.613 | 96.831 | 4.76 | 34.833 | 4.746 | 34.333 | 30.181 | 889.317 | 20.375 | 9.5379
2019-07-09 15:45:00 | 4.321 | 71.326 | 4.687 | 81.674 | 4.625 | 74.333 | 4.685 | 61.8 | 31.036 | 889.333 | 19.371 | 8.8624
2019-07-09 16:00:00 | 2.554 | 134.927 | 2.403 | 127.798 | 2.448 | 137.4 | 2.86 | 128.233 | 29.614 | 889.667 | 21.093 | 7.3434
2019-07-09 16:15:00 | 0.988 | 204.903 | 0.25 | 189.236 | 0.376 | 190.86 | 1.31 | 35.603 | 29.856 | 889.633 | 20.715 | 7.4773
2019-07-09 16:30:00 | 2.962 | 107.14 | 2.941 | 95.378 | 3.2 | 95.167 | 3.302 | 96.1 | 30.048 | 889.867 | 21.547 | 7.0041
2019-07-09 16:45:00 | 15.462 | 252.313 | 16.629 | 252.429 | 17.128 | 256.85 | 17.008 | 250.25 | 28.277 | 889.983 | 29.784 | 27.2644
2019-07-09 17:00:00 | 12.425 | 258.927 | 13.725 | 258.248 | 14.044 | 263.467 | 14.385 | 257.4 | 23.431 | 889.742 | 47.477 | 43.1996
2019-07-09 17:15:00 | 10.636 | 255.48 | 12.414 | 255.924 | 12.659 | 259.617 | 12.109 | 254.383 | 23.885 | 889.925 | 47.637 | 37.7368
2019-07-09 17:30:00 | 5.668 | 285 | 6.288 | 281.185 | 5.979 | 282 | 5.874 | 276.933 | 22.398 | 890.042 | 54.187 | 13.7097
2019-07-09 17:45:00 | 5.718 | 22.12 | 5.986 | 15.312 | 6.12 | 20.767 | 6.336 | 19.167 | 23.514 | 889.8 | 55.744 | 21.7199
2019-07-09 18:00:00 | 5.261 | 24.041 | 6.076 | 20.577 | 6.485 | 13.367 | 6.286 | 11.933 | 23.681 | 889.808 | 49.419 | 18.0789
2019-07-09 18:15:00 | 5.153 | 14.364 | 5.531 | 11.274 | 6.107 | 15.1 | 6.07 | 13.467 | 24.323 | 889.725 | 40.229 | 13.3437
2019-07-09 18:30:00 | 4.298 | 37.628 | 4.786 | 31.89 | 4.956 | 36.9 | 4.845 | 34.7 | 25.068 | 889.617 | 37.125 | 9.5486
2019-07-09 18:45:00 | 2.301 | 52.038 | 1.843 | 44.035 | 1.03 | 58.133 | 1.629 | 57.233 | 25.652 | 889.617 | 34.88 | 6.9927
2019-07-09 19:00:00 | 1.716 | 70.598 | 1.526 | 60.525 | 1.719 | 60.567 | 2.26 | 60.733 | 25.848 | 889.883 | 34.229 | 6.8605
2019-07-09 19:15:00 | 1.979 | 20.484 | 1.642 | 19.924 | 1.547 | 22.867 | 2.088 | 27.433 | 26.327 | 889.65 | 32.955 | 6.8662
2019-07-09 19:30:00 | 1.811 | 12.729 | 1.523 | 53.953 | 1.59 | 12.3 | 2.273 | 12.267 | 26.702 | 889.717 | 31.595 | 6.9003
2019-07-09 19:45:00 | 1.155 | 50.753 | 0.19 | 32.081 | 0.167 | 27 | 1.418 | 23 | 26.664 | 890.2 | 31.941 | 6.9188
2019-07-09 20:00:00 | 1.993 | 29.084 | 1.78 | 25.948 | 1.637 | 36.967 | 2.156 | 27.833 | 26.735 | 889.983 | 32.288 | 6.9117
2019-07-09 20:15:00 | 1.745 | 0 | 1.649 | 0.268 | 1.743 | 5.067 | 2.51 | 8.333 | 26.127 | 889.717 | 32.891 | 6.9088
2019-07-09 20:30:00 | 1.413 | 1.804 | 1.006 | 145.185 | 0.873 | 1.367 | 1.775 | 7.733 | 26.768 | 889.633 | 34.219 | 6.8889
2019-07-09 20:45:00 | 2.501 | 305.413 | 2.249 | 296.2 | 2.12 | 300.333 | 2.35 | 313.133 | 26.168 | 889.983 | 35.128 | 6.906
2019-07-09 21:00:00 | 2.482 | 281.213 | 2.233 | 285.282 | 1.843 | 298.233 | 1.932 | 312.633 | 26.235 | 889.817 | 35.944 | 6.9062
2019-07-09 21:15:00 | 1.862 | 284.947 | 1.266 | 296.932 | 0.472 | 302.867 | 1.185 | 307 | 26.235 | 889.65 | 35.269 | 6.8989
2019-07-09 21:30:00 | 1.263 | 282.733 | 0.786 | 284.92 | 0.12 | 300.133 | 1.01 | 306 | 25.885 | 889.633 | 35.595 | 6.9159
2019-07-09 21:45:00 | 0 | 258.2 | 0.15 | 286.547 | 0.462 | 54.471 | 2.088 | 53.967 | 25.314 | 889.717 | 34.667 | 7.1185
2019-07-09 22:00:00 | 1.76 | 123.43 | 2.44 | 146.167 | 3.089 | 90 | 3.858 | 85.667 | 25.927 | 889.75 | 35.237 | 9.0647
2019-07-09 22:15:00 | 3.322 | 93.583 | 3.544 | 87.355 | 3.276 | 90.033 | 3.646 | 84.533 | 26.085 | 889.633 | 31.771 | 12.8016
2019-07-09 22:30:00 | 4.279 | 80.017 | 4.748 | 76.127 | 4.846 | 82.4 | 4.856 | 79.933 | 26.102 | 890 | 30.816 | 13.6677
2019-07-09 22:45:00 | 3.093 | 94.327 | 3.82 | 87.576 | 2.946 | 94.133 | 3.098 | 87.633 | 25.956 | 889.7 | 31.317 | 13.7878
2019-07-09 23:00:00 | 3.313 | 96.87 | 3.762 | 91.064 | 2.937 | 94.833 | 3.28 | 90 | 25.71 | 889.783 | 31.781 | 14.5311
2019-07-09 23:15:00 | 4.535 | 101.68 | 4.633 | 93.755 | 3.707 | 98.033 | 3.774 | 90.467 | 25.531 | 889.867 | 31.915 | 17.9311
2019-07-09 23:30:00 | 4.693 | 103.42 | 4.34 | 95.646 | 3.42 | 101.967 | 3.478 | 91.6 | 25.306 | 889.8 | 32.389 | 17.9709
2019-07-09 23:45:00 | 4.044 | 107.093 | 4.406 | 98.289 | 3.54 | 103.9 | 3.127 | 91.7 | 25.248 | 889.467 | 32.277 | 16.6521