## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-10 00:00:00 | 4.134 | 115.297 | 4.933 | 106.589 | 4.796 | 108.2 | 4.784 | 101.433 | 25.06 | 889.6 | 32.501 | 16.2649
2019-07-10 00:15:00 | 3.527 | 120 | 4.431 | 107.274 | 4.452 | 108.533 | 3.974 | 101.667 | 25.173 | 889.667 | 32.325 | 12.6786
2019-07-10 00:30:00 | 2.53 | 118.9 | 2.823 | 104.464 | 2.286 | 104.433 | 2.697 | 89.867 | 25.156 | 889.7 | 32.485 | 9.7994
2019-07-10 00:45:00 | 2.273 | 151.167 | 2.597 | 124.43 | 2.817 | 124.833 | 3.205 | 121.033 | 25.073 | 889.5 | 32.453 | 8.2461
2019-07-10 01:00:00 | 1.527 | 183.88 | 1.186 | 138.576 | 1.016 | 129.833 | 2.046 | 115.3 | 24.356 | 889.75 | 34.16 | 7.0303
2019-07-10 01:15:00 | 2.726 | 178.127 | 2.84 | 145.518 | 2.488 | 150.867 | 2.75 | 135.7 | 24.198 | 889.667 | 33.461 | 6.8904
2019-07-10 01:30:00 | 2.201 | 168.627 | 2.116 | 138.773 | 2.005 | 135.333 | 2.499 | 117.267 | 24.773 | 889.65 | 32.363 | 7.0566
2019-07-10 01:45:00 | 2.4 | 208.5 | 1.621 | 146.03 | 1.506 | 153.333 | 2.175 | 134.767 | 24.818 | 889.817 | 33.067 | 6.8506
2019-07-10 02:00:00 | 3.928 | 227.027 | 2.428 | 190.893 | 1.464 | 193.367 | 1.494 | 158 | 23.885 | 889.8 | 38.752 | 6.8762
2019-07-10 02:15:00 | 3.595 | 219.4 | 2.297 | 193.386 | 1.685 | 183.767 | 2.174 | 158.333 | 24.098 | 889.783 | 39.211 | 6.9017
2019-07-10 02:30:00 | 3.555 | 225.067 | 2.788 | 202.709 | 2.124 | 210.533 | 2.096 | 186.767 | 23.764 | 889.383 | 38.907 | 8.5744
2019-07-10 02:45:00 | 3.837 | 206.76 | 4.12 | 189.805 | 3.746 | 177.533 | 3.844 | 165.5 | 23.048 | 890.133 | 42.432 | 9.8598
2019-07-10 03:00:00 | 0.166 | 216.007 | 0.23 | 151.858 | 1.882 | 124.767 | 3.236 | 111.2 | 22.731 | 890.058 | 42.496 | 8.0123
2019-07-10 03:15:00 | 1.984 | 150.787 | 1.72 | 137.333 | 1.939 | 138 | 2.328 | 132.633 | 24.144 | 889.617 | 35.493 | 9.2779
2019-07-10 03:30:00 | 3.459 | 156.467 | 3.702 | 143.087 | 3.326 | 143.9 | 3.639 | 138.3 | 24.598 | 889.7 | 33.328 | 9.1002
2019-07-10 03:45:00 | 2.927 | 164.073 | 2.968 | 148.202 | 3.104 | 149.867 | 3.48 | 145.2 | 25.235 | 889.767 | 32.56 | 7.6102
2019-07-10 04:00:00 | 1.243 | 205.033 | 0.12 | 162.41 | 0.043 | 170.933 | 0.259 | 158.733 | 25.102 | 889.333 | 32.069 | 6.9238
2019-07-10 04:15:00 | 2.891 | 251.54 | 2.151 | 267.666 | 1.696 | 258.067 | 1.874 | 243.2 | 23.518 | 889.983 | 36.544 | 7.0424
2019-07-10 04:30:00 | 1.341 | 252.267 | 1.439 | 268.046 | 0.576 | 264 | 1.236 | 255 | 22.998 | 889.467 | 39.387 | 8.4771
2019-07-10 04:45:00 | 3.951 | 259.4 | 5.205 | 260.303 | 5.478 | 261.8 | 5.469 | 254.033 | 22.381 | 889.775 | 44.72 | 14.4309
2019-07-10 05:00:00 | 2.812 | 271.387 | 2.772 | 270.275 | 2.621 | 271.7 | 2.901 | 255.983 | 22.814 | 890.1 | 43.621 | 18.2871
2019-07-10 05:15:00 | 4.104 | 212.193 | 5.012 | 207.831 | 6.012 | 208.6 | 7.06 | 204.1 | 23.214 | 890.358 | 42.421 | 37.2699
2019-07-10 05:30:00 | 6.453 | 183.353 | 8.009 | 179.684 | 8.87 | 184.033 | 9.715 | 181.6 | 22.335 | 889.608 | 48.373 | 23.6498
2019-07-10 05:45:00 | 4.604 | 200.313 | 5.265 | 190.58 | 5.576 | 196.167 | 5.751 | 195.133 | 22.389 | 889.608 | 48.683 | 13.4844
2019-07-10 06:00:00 | 1.834 | 297.773 | 2.17 | 261.354 | 2.587 | 266.667 | 3.202 | 250.367 | 21.656 | 889.475 | 55.019 | 9.329
2019-07-10 06:15:00 | 3.074 | 309.16 | 2.987 | 307.826 | 2.767 | 309.5 | 2.846 | 304.167 | 22.356 | 889.758 | 49.739 | 7.4204
2019-07-10 06:30:00 | 3.539 | 286.107 | 4.839 | 278.908 | 4.934 | 285.133 | 5.074 | 284.167 | 21.948 | 890.325 | 49.419 | 11.3591
2019-07-10 06:45:00 | 2.267 | 292.88 | 3.036 | 293.109 | 3.355 | 299.867 | 3.926 | 294.833 | 21.477 | 890.083 | 48.448 | 7.8482
2019-07-10 07:00:00 | 0 | 278.213 | 0 | 288.956 | 0.027 | 296 | 1.64 | 296.033 | 21.648 | 889.683 | 46.549 | 6.8321
2019-07-10 07:15:00 | 2.255 | 122.66 | 1.175 | 165.453 | 0.673 | 174 | 1.458 | 164.133 | 21.635 | 889.692 | 47.413 | 6.9408
2019-07-10 07:30:00 | 0.25 | 25.48 | 0.644 | 32.124 | 1.305 | 29.167 | 2.047 | 19.533 | 21.685 | 889.9 | 48.8 | 6.8776
2019-07-10 07:45:00 | 3.4 | 160.24 | 3.927 | 149.146 | 3.706 | 147.8 | 3.801 | 139.867 | 21.448 | 889.725 | 51.285 | 7.9058
2019-07-10 08:00:00 | 2.694 | 162.08 | 3.234 | 144.928 | 2.902 | 144.933 | 2.748 | 138.8 | 21.827 | 890.267 | 49.248 | 7.5057
2019-07-10 08:15:00 | 2.486 | 171.533 | 2.205 | 158.444 | 1.915 | 159.4 | 2.37 | 149.567 | 22.231 | 890.033 | 46.08 | 7.7303
2019-07-10 08:30:00 | 2.986 | 165.253 | 2.989 | 153.373 | 2.488 | 154.567 | 2.836 | 145.533 | 23.081 | 890.083 | 42.976 | 9.5266
2019-07-10 08:45:00 | 2.132 | 193.387 | 1.96 | 179.249 | 2.026 | 160.9 | 2.519 | 139.5 | 23.131 | 889.758 | 45.237 | 8.0763
2019-07-10 09:00:00 | 1.651 | 143.013 | 1.517 | 136.226 | 1.649 | 132.267 | 2.533 | 128.7 | 23.848 | 889.717 | 39.419 | 7.1774
2019-07-10 09:15:00 | 1.329 | 127.267 | 0.82 | 127.936 | 1.019 | 126 | 1.909 | 123.467 | 24.498 | 889.667 | 36.277 | 6.8868
2019-07-10 09:30:00 | 0.563 | 117.173 | 0.761 | 112.249 | 0.596 | 122.333 | 1.494 | 90.133 | 24.864 | 889.983 | 35.013 | 6.9664
2019-07-10 09:45:00 | 1.734 | 74.67 | 1.654 | 81.049 | 1.479 | 89.133 | 1.984 | 91.533 | 25.677 | 890.033 | 33.632 | 7.0275
2019-07-10 10:00:00 | 2.671 | 78.238 | 2.736 | 77.477 | 2.57 | 80.567 | 2.808 | 77.367 | 25.777 | 889.85 | 32.123 | 7.7686
2019-07-10 10:15:00 | 2.674 | 79.323 | 2.911 | 74.313 | 2.914 | 79.4 | 3.002 | 74.9 | 25.568 | 889.8 | 31.051 | 8.3357
2019-07-10 10:30:00 | 3.218 | 95.467 | 3.246 | 90.05 | 3.313 | 92.933 | 3.538 | 89.833 | 26.273 | 889.817 | 30.352 | 9.5118
2019-07-10 10:45:00 | 3.273 | 102.5 | 3.497 | 95.379 | 3.451 | 99.367 | 3.631 | 94.767 | 26.618 | 889.567 | 28.901 | 10.6294
2019-07-10 11:00:00 | 3.744 | 76.262 | 3.657 | 66.116 | 3.714 | 67.567 | 3.902 | 62.833 | 26.744 | 890 | 28.779 | 11.8253
2019-07-10 11:15:00 | 3.794 | 77.972 | 3.98 | 71.692 | 4.007 | 74.9 | 4.257 | 71.033 | 26.918 | 889.683 | 28.603 | 11.6526
2019-07-10 11:30:00 | 4.125 | 48.31 | 4.622 | 43.482 | 4.687 | 47.267 | 4.645 | 42.9 | 25.989 | 889.6 | 29.136 | 9.2807
2019-07-10 11:45:00 | 4.082 | 21.608 | 3.882 | 14.571 | 3.962 | 22.4 | 3.914 | 17.4 | 26.814 | 889.6 | 28.277 | 8.4721
2019-07-10 12:00:00 | 2.642 | 61.688 | 2.523 | 57.646 | 2.849 | 60.6 | 3.038 | 59.033 | 26.868 | 889.85 | 27.733 | 7.6635
2019-07-10 12:15:00 | 2.973 | 129.156 | 2.955 | 209.024 | 2.846 | 142.367 | 3.192 | 84.733 | 27.368 | 890 | 27.16 | 7.284
2019-07-10 12:30:00 | 2.57 | 51.758 | 2.675 | 50.54 | 2.751 | 55.3 | 3.221 | 55.633 | 27.127 | 889.717 | 26.709 | 9.1287
2019-07-10 12:45:00 | 3.809 | 25.286 | 3.754 | 23.874 | 3.698 | 27 | 3.907 | 24.167 | 27.91 | 889.917 | 25.589 | 9.4413
2019-07-10 13:00:00 | 2.543 | 72.869 | 2.962 | 49.406 | 2.92 | 18.634 | 3.531 | 43.233 | 28.135 | 889.717 | 24.405 | 8.3108
2019-07-10 13:15:00 | 2.583 | 96.533 | 2.65 | 101.779 | 2.806 | 107.567 | 3.078 | 107.467 | 28.623 | 889.983 | 24.213 | 7.0979
2019-07-10 13:30:00 | 1.635 | 85.89 | 1.096 | 136.883 | 1.29 | 255.6 | 1.516 | 268.967 | 28.352 | 889.65 | 25.408 | 6.901
2019-07-10 13:45:00 | 2.904 | 229.9 | 2.693 | 228.158 | 2.514 | 236.6 | 2.203 | 237.9 | 27.902 | 889.6 | 26.389 | 7.2357
2019-07-10 14:00:00 | 1.736 | 156.027 | 1.214 | 150.06 | 1.163 | 156.867 | 1.751 | 155.833 | 27.902 | 889.65 | 26.016 | 7.8944
2019-07-10 14:15:00 | 2.728 | 145.047 | 2.582 | 139.518 | 2.571 | 148.8 | 2.943 | 147.233 | 27.989 | 889.617 | 25.552 | 7.0744
2019-07-10 14:30:00 | 1.632 | 129.647 | 0.92 | 120.129 | 0.983 | 116.333 | 1.679 | 101.6 | 28.973 | 889.567 | 23.573 | 6.8719
2019-07-10 14:45:00 | 3.413 | 203.073 | 2.899 | 195.158 | 2.726 | 186.033 | 2.815 | 171.8 | 29.348 | 889.767 | 22.565 | 17.4735
2019-07-10 15:00:00 | 7.015 | 138.297 | 7.873 | 130.232 | 8.097 | 135.567 | 8.252 | 132.467 | 28.364 | 889.383 | 25.717 | 34.1349
2019-07-10 15:15:00 | 6.789 | 108.09 | 7.235 | 104.537 | 7.26 | 111.533 | 7.386 | 108.767 | 28.26 | 889.8 | 26.192 | 32.7216
2019-07-10 15:30:00 | 7.153 | 106.55 | 7.3 | 104.99 | 7.297 | 109.3 | 7.58 | 105.3 | 27.831 | 889.9 | 27.632 | 41.6371
2019-07-10 15:45:00 | 7.706 | 113.757 | 8.138 | 111.726 | 8.454 | 117.833 | 8.404 | 115.167 | 27.56 | 889.683 | 29.877 | 42.062
2019-07-10 16:00:00 | 8.391 | 125.153 | 9.182 | 121.978 | 9.264 | 125.167 | 9.496 | 119.667 | 28.189 | 889.9 | 28.283 | 53.0706
2019-07-10 16:15:00 | 9.297 | 114.12 | 9.498 | 109.361 | 9.565 | 115.133 | 9.359 | 111.9 | 28.364 | 889.617 | 27.376 | 51.4353
2019-07-10 16:30:00 | 8.326 | 118.277 | 9.045 | 114.829 | 9.253 | 116.533 | 9.323 | 114 | 27.948 | 889.85 | 26.469 | 47.6272
2019-07-10 16:45:00 | 8.307 | 112.013 | 8.939 | 106.45 | 8.895 | 110.333 | 8.795 | 106 | 28.344 | 889.967 | 26.901 | 46.4014
2019-07-10 17:00:00 | 8.442 | 111.737 | 8.637 | 106.044 | 8.679 | 110.433 | 8.985 | 108.567 | 28.11 | 889.733 | 27.376 | 51.8401
2019-07-10 17:15:00 | 8.826 | 115.823 | 8.896 | 109.187 | 9.002 | 112.767 | 9.229 | 109.767 | 27.51 | 889.583 | 28.949 | 50.8283
2019-07-10 17:30:00 | 8.148 | 109.417 | 8.32 | 106.284 | 8.115 | 111.567 | 8.005 | 106.167 | 27.585 | 889.583 | 30.976 | 39.332
2019-07-10 17:45:00 | 6.56 | 111.517 | 6.647 | 109.291 | 6.221 | 114.333 | 6.611 | 112.8 | 26.96 | 889.4 | 31.12 | 26.6129
2019-07-10 18:00:00 | 5.589 | 122.41 | 6.218 | 115.341 | 6.413 | 119.767 | 6.502 | 115.6 | 27.164 | 889.467 | 30.8 | 17.3563
2019-07-10 18:15:00 | 2.228 | 153.217 | 1.719 | 151.819 | 1.693 | 152.467 | 1.974 | 141.342 | 27.002 | 889.583 | 30.373 | 10.9328
2019-07-10 18:30:00 | 6.764 | 306.893 | 7.18 | 305.058 | 7.51 | 310.333 | 7.81 | 309.233 | 24.914 | 889.85 | 39.784 | 28.0112
2019-07-10 18:45:00 | 7.202 | 284.607 | 7.818 | 283.958 | 7.974 | 289.4 | 8.387 | 287.167 | 23.885 | 889.992 | 41.675 | 35.4082
2019-07-10 19:00:00 | 5.62 | 256.893 | 5.948 | 255.097 | 6.15 | 258.667 | 6.07 | 253.667 | 24.168 | 890.292 | 42.981 | 22.7992
2019-07-10 19:15:00 | 3.924 | 207.247 | 4.31 | 211.348 | 3.715 | 217.767 | 3.222 | 215.333 | 22.848 | 889.983 | 56.288 | 7.5007
2019-07-10 19:30:00 | 4.931 | 186.48 | 4.804 | 173.109 | 4.596 | 171.8 | 4.865 | 163.567 | 22.998 | 890.008 | 55.947 | 11.7812
2019-07-10 19:45:00 | 5.514 | 171.593 | 6.005 | 167.009 | 6.048 | 169.5 | 6.26 | 166.633 | 23.656 | 889.725 | 47.669 | 25.4646
2019-07-10 20:00:00 | 5.271 | 146.1 | 5.488 | 141.842 | 5.22 | 144.9 | 5.348 | 134.767 | 24.039 | 889.508 | 40.763 | 28.4845
2019-07-10 20:15:00 | 5.496 | 162.62 | 5.685 | 159.263 | 5.598 | 160.8 | 5.826 | 156.3 | 24.456 | 889.767 | 36.971 | 28.159
2019-07-10 20:30:00 | 3.758 | 178.553 | 4.165 | 169.596 | 4.425 | 167.733 | 4.409 | 157.4 | 24.856 | 889.567 | 37.349 | 17.4252
2019-07-10 20:45:00 | 3.424 | 151.08 | 3.398 | 148.705 | 3.298 | 154.4 | 3.326 | 153.433 | 25.135 | 889.95 | 33.093 | 9.1464
2019-07-10 21:00:00 | 3.108 | 196.833 | 3.29 | 191.25 | 3.274 | 195.2 | 3.586 | 189.667 | 24.956 | 890.133 | 35.248 | 11.7009
2019-07-10 21:15:00 | 4.407 | 210.147 | 5.092 | 207.797 | 5.349 | 210.8 | 5.519 | 204.333 | 24.506 | 889.583 | 38.96 | 13.7843
2019-07-10 21:30:00 | 3.896 | 213.027 | 4.563 | 206.597 | 4.962 | 208.2 | 5.514 | 200.067 | 23.86 | 889.85 | 42.507 | 13.9697
2019-07-10 21:45:00 | 3.766 | 246.647 | 4.697 | 241.29 | 5.04 | 244.733 | 5.071 | 236.567 | 23.448 | 889.867 | 44.203 | 11.4678
2019-07-10 22:00:00 | 3.216 | 241.473 | 3.976 | 237.287 | 4.062 | 237.867 | 4.259 | 228.033 | 23.381 | 889.808 | 46.72 | 9.0995
2019-07-10 22:15:00 | 3.492 | 237.933 | 3.953 | 234.976 | 3.87 | 234.133 | 3.96 | 223.433 | 22.648 | 889.65 | 48.949 | 8.4266
2019-07-10 22:30:00 | 4.145 | 245.447 | 4.07 | 233.749 | 4.371 | 233.967 | 4.731 | 223.167 | 22.473 | 889.642 | 49.749 | 9.1933
2019-07-10 22:45:00 | 4.494 | 242.827 | 4.71 | 238.749 | 4.664 | 237.1 | 4.75 | 225.133 | 22.077 | 889.875 | 51.211 | 12.3973
2019-07-10 23:00:00 | 5.38 | 234.72 | 6.289 | 230.985 | 6.192 | 232.467 | 6.439 | 226.167 | 21.556 | 890.217 | 52.544 | 18.8016
2019-07-10 23:15:00 | 4.822 | 230.207 | 5.71 | 225.595 | 6.093 | 227.833 | 6.359 | 223.067 | 21.731 | 889.667 | 52.352 | 19.0382
2019-07-10 23:30:00 | 4.789 | 228.933 | 5.577 | 227.902 | 5.515 | 230.9 | 5.843 | 225.167 | 21.189 | 889.642 | 53.248 | 17.2554
2019-07-10 23:45:00 | 5.333 | 232.707 | 5.732 | 232.876 | 5.897 | 238.533 | 6.204 | 232.567 | 21.289 | 890.375 | 52.437 | 16.9968