## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-11 00:00:00 | 4.494 | 236.913 | 5.256 | 235.404 | 5.52 | 241.7 | 5.589 | 235.4 | 21.373 | 889.733 | 54.528 | 17.4146
2019-07-11 00:15:00 | 4.107 | 239.487 | 5.26 | 237.848 | 5.825 | 242.433 | 6.125 | 236.733 | 20.752 | 890.475 | 57.344 | 19.8745
2019-07-11 00:30:00 | 3.261 | 225.74 | 4.891 | 226.29 | 5.961 | 232.5 | 6.466 | 227.9 | 20.948 | 890.15 | 56.885 | 20.8956
2019-07-11 00:45:00 | 4.741 | 225.68 | 6.144 | 225.23 | 6.448 | 233.333 | 6.34 | 230.733 | 20.823 | 889.908 | 57.291 | 20.534
2019-07-11 01:00:00 | 5.117 | 229.367 | 6.698 | 224.376 | 6.251 | 231.433 | 6.008 | 230.533 | 20.556 | 889.517 | 57.451 | 18.3738
2019-07-11 01:15:00 | 5.277 | 227.713 | 5.969 | 227.813 | 5.756 | 233.933 | 5.743 | 230.467 | 20.789 | 890.083 | 54.912 | 17.5467
2019-07-11 01:30:00 | 4.822 | 234.64 | 6.148 | 234.22 | 5.789 | 242.067 | 5.741 | 237.8 | 20.606 | 889.592 | 54.347 | 17.5588
2019-07-11 01:45:00 | 5.08 | 217.027 | 6.415 | 220.596 | 6.022 | 231.3 | 5.551 | 231.033 | 20.785 | 889.742 | 54.517 | 17.9745
2019-07-11 02:00:00 | 5.597 | 224.933 | 6.638 | 228.231 | 6.306 | 236.3 | 6.099 | 234.233 | 20.239 | 889.775 | 55.189 | 21.8499
2019-07-11 02:15:00 | 5.935 | 222.673 | 7.179 | 224.153 | 7.33 | 234 | 6.998 | 233.067 | 20.61 | 889.692 | 54.645 | 28.4106
2019-07-11 02:30:00 | 5.461 | 227.307 | 6.843 | 230.121 | 6.833 | 237.567 | 6.636 | 234.267 | 20.456 | 889.85 | 52.779 | 31.746
2019-07-11 02:45:00 | 5.694 | 237.28 | 6.796 | 242.295 | 6.956 | 251.1 | 7.149 | 249.75 | 21.477 | 889.675 | 48.971 | 28.9464
2019-07-11 03:00:00 | 4.994 | 229.493 | 6.059 | 234.871 | 6.343 | 245.133 | 6.38 | 244.75 | 21.418 | 889.942 | 48.485 | 27.8002
2019-07-11 03:15:00 | 6.078 | 251.94 | 7.173 | 262.286 | 7.966 | 269.25 | 8.289 | 263.633 | 21.844 | 889.85 | 49.893 | 28.0049
2019-07-11 03:30:00 | 7.492 | 252.373 | 8.603 | 253.331 | 9.117 | 258.817 | 9.254 | 256.617 | 21.223 | 889.883 | 56.128 | 39.6773
2019-07-11 03:45:00 | 11.816 | 251.7 | 13.205 | 257.957 | 13.935 | 264.467 | 14.229 | 258.017 | 20.427 | 889.825 | 61.237 | 59.8077
2019-07-11 04:00:00 | 11.82 | 251.667 | 13.199 | 260.797 | 13.925 | 264.8 | 14.614 | 260.383 | 19.852 | 889.875 | 62.155 | 63.2234
2019-07-11 04:15:00 | 13.447 | 258.32 | 15.296 | 264.622 | 15.894 | 268.167 | 16.311 | 264.633 | 20.352 | 889.967 | 59.696 | 61.5457
2019-07-11 04:30:00 | 13.846 | 260.347 | 15.545 | 266.532 | 16.399 | 270.833 | 16.865 | 265.767 | 20.589 | 889.492 | 59.216 | 60.3093
2019-07-11 04:45:00 | 13.331 | 258.233 | 15.158 | 265.727 | 15.92 | 272.767 | 16.394 | 267.733 | 20.36 | 890.208 | 58.192 | 60.6469
2019-07-11 05:00:00 | 12.824 | 263.953 | 14.614 | 272.187 | 15.093 | 277.633 | 15.838 | 272.733 | 20.411 | 889.658 | 57.877 | 56.3714
2019-07-11 05:15:00 | 12.309 | 263.673 | 14.318 | 269.283 | 14.926 | 274.8 | 15.696 | 270.4 | 19.456 | 889.625 | 59.435 | 53.8844
2019-07-11 05:30:00 | 13.856 | 254.833 | 15.697 | 266.86 | 16.205 | 271.233 | 16.625 | 266.367 | 19.331 | 889.683 | 61.019 | 49.5734
2019-07-11 05:45:00 | 14.069 | 257.907 | 16.096 | 267.214 | 16.987 | 271.5 | 17.702 | 267.533 | 19.439 | 889.85 | 61.429 | 46.0575
2019-07-11 06:00:00 | 13.001 | 260.14 | 14.674 | 267.11 | 15.321 | 271.767 | 16.026 | 265.633 | 18.964 | 889.9 | 61.248 | 46.653
2019-07-11 06:15:00 | 13.092 | 259.707 | 14.706 | 267.163 | 15.336 | 272.167 | 16.059 | 267.467 | 18.977 | 889.758 | 61.035 | 43.8015
2019-07-11 06:30:00 | 11.402 | 248.767 | 13.458 | 264.544 | 14.3 | 267.7 | 15.459 | 265.4 | 18.894 | 889.708 | 61.024 | 43.1719
2019-07-11 06:45:00 | 10.876 | 253.693 | 13.045 | 265.626 | 13.712 | 271.133 | 14.448 | 265.267 | 18.918 | 889.933 | 60.251 | 45.6688
2019-07-11 07:00:00 | 10.961 | 250.18 | 12.098 | 267.874 | 12.628 | 271.233 | 13.265 | 264.533 | 19.523 | 890.1 | 59.152 | 45.8763
2019-07-11 07:15:00 | 10.332 | 255.367 | 11.755 | 259.868 | 12.385 | 263.133 | 12.609 | 260.5 | 19.306 | 889.9 | 57.083 | 49.8661
2019-07-11 07:30:00 | 10.722 | 249.58 | 11.932 | 267.369 | 12.311 | 271.433 | 12.467 | 267.733 | 19.602 | 889.467 | 56.272 | 51.1921
2019-07-11 07:45:00 | 10.712 | 252.827 | 11.878 | 261.75 | 11.983 | 265.55 | 12.15 | 261.333 | 19.744 | 890.375 | 55.915 | 50.1639
2019-07-11 08:00:00 | 9.908 | 245.367 | 10.708 | 261.924 | 11.005 | 266.717 | 10.851 | 262.9 | 20.698 | 890.108 | 55.605 | 41.5674
2019-07-11 08:15:00 | 11.594 | 250.633 | 12.413 | 255.597 | 12.657 | 261.483 | 12.542 | 256.9 | 20.268 | 889.642 | 56.448 | 40.5805
2019-07-11 08:30:00 | 9.568 | 255.107 | 10.029 | 257.869 | 10.334 | 261.683 | 10.373 | 257.067 | 20.673 | 889.908 | 53.936 | 42.9779
2019-07-11 08:45:00 | 9.322 | 246.113 | 10.146 | 257.341 | 10.357 | 262.05 | 10.434 | 255.983 | 21.256 | 889.733 | 52.699 | 43.0255
2019-07-11 09:00:00 | 9.274 | 252.793 | 10.053 | 262.383 | 9.971 | 265.2 | 10.033 | 259.4 | 21.027 | 889.725 | 53.179 | 42.3
2019-07-11 09:15:00 | 9.791 | 244.08 | 10.39 | 260.093 | 10.599 | 262.983 | 10.459 | 259.483 | 21.285 | 889.875 | 51.92 | 42.806
2019-07-11 09:30:00 | 9.72 | 249 | 10.438 | 263.687 | 10.462 | 267.7 | 10.643 | 261.6 | 21.76 | 889.825 | 52.117 | 47.0722
2019-07-11 09:45:00 | 9.964 | 255.933 | 10.617 | 261.829 | 10.842 | 266.567 | 10.935 | 262.983 | 21.539 | 890.008 | 52.811 | 52.0099
2019-07-11 10:00:00 | 9.826 | 257.213 | 10.747 | 266.961 | 10.589 | 270.35 | 10.656 | 265.083 | 22.344 | 890.067 | 50.741 | 54.8216
2019-07-11 10:15:00 | 8.92 | 260.567 | 9.906 | 271.344 | 9.859 | 275.967 | 9.982 | 269.9 | 22.044 | 889.433 | 50.944 | 50.2769
2019-07-11 10:30:00 | 10.315 | 267.113 | 11.053 | 276.354 | 11.15 | 280.367 | 11.23 | 277 | 22.394 | 890.058 | 49.216 | 53.7743
2019-07-11 10:45:00 | 9.179 | 269.767 | 9.882 | 276.624 | 10.05 | 280.367 | 10.061 | 278.367 | 22.594 | 889.917 | 48.795 | 51.094
2019-07-11 11:00:00 | 9.234 | 257.5 | 9.822 | 269.04 | 10.009 | 273.2 | 10.065 | 270.25 | 22.348 | 889.775 | 48.437 | 49.7681
2019-07-11 11:15:00 | 9.438 | 272.227 | 10.134 | 274.663 | 10.24 | 280.567 | 10.093 | 274.733 | 22.981 | 889.467 | 47.221 | 50.905
2019-07-11 11:30:00 | 10.172 | 275.553 | 10.697 | 283.183 | 10.838 | 287.167 | 10.399 | 283.533 | 22.931 | 890.025 | 46.768 | 54.9595
2019-07-11 11:45:00 | 9.096 | 284.573 | 9.873 | 287.123 | 10.13 | 291.533 | 10.377 | 288.3 | 22.864 | 889.967 | 46.384 | 52.8342
2019-07-11 12:00:00 | 9.492 | 268.213 | 10.208 | 278.398 | 10.516 | 283.183 | 10.627 | 280.8 | 22.981 | 889.908 | 45.131 | 51.5907
2019-07-11 12:15:00 | 9.16 | 270.933 | 9.7 | 274.258 | 9.849 | 277.95 | 10.231 | 275.267 | 23.064 | 889.767 | 45.771 | 62.0801
2019-07-11 12:30:00 | 9.518 | 275.093 | 10.022 | 280.075 | 10.158 | 283.833 | 10.527 | 279.567 | 23.298 | 889.683 | 45.36 | 67.5742
2019-07-11 12:45:00 | 9.325 | 271.147 | 9.785 | 281.629 | 9.935 | 283.833 | 10.282 | 279 | 23.314 | 889.558 | 45.211 | 64.1038
2019-07-11 13:00:00 | 11.416 | 265.787 | 12.178 | 276.592 | 12.245 | 281 | 12.425 | 279.133 | 23.573 | 889.55 | 44.277 | 60.4728
2019-07-11 13:15:00 | 10.867 | 260.713 | 11.221 | 271.558 | 11.479 | 274.85 | 11.345 | 272.733 | 23.448 | 889.858 | 45.051 | 57.4827
2019-07-11 13:30:00 | 10.483 | 263.367 | 11.424 | 273.724 | 11.464 | 277.033 | 11.561 | 276 | 23.431 | 889.742 | 43.387 | 57.7883
2019-07-11 13:45:00 | 11.532 | 280.113 | 12.351 | 285.171 | 13.028 | 290.267 | 13.158 | 287.8 | 23.923 | 889.642 | 41.664 | 59.581
2019-07-11 14:00:00 | 11.754 | 295.6 | 12.537 | 292.055 | 12.798 | 296.3 | 13.123 | 294.067 | 23.618 | 889.967 | 41.037 | 59.6862
2019-07-11 14:15:00 | 12.612 | 289.613 | 13.353 | 291.579 | 13.64 | 296.1 | 14.156 | 293.7 | 23.635 | 890.158 | 42.309 | 57.9339
2019-07-11 14:30:00 | 12.449 | 289.467 | 13.101 | 290.358 | 13.259 | 294.633 | 13.37 | 293.633 | 23.398 | 890.275 | 42.576 | 56.7537
2019-07-11 14:45:00 | 14.228 | 286.5 | 15.268 | 288.189 | 15.402 | 292.9 | 16.026 | 290.033 | 23.198 | 889.875 | 43.888 | 57.4465
2019-07-11 15:00:00 | 13.002 | 286.307 | 14.388 | 287.639 | 14.663 | 293.167 | 15.065 | 289.167 | 22.477 | 889.925 | 45.184 | 60.2305
2019-07-11 15:15:00 | 13.362 | 268.633 | 14.583 | 277.34 | 14.699 | 281.9 | 15.093 | 279.833 | 21.931 | 890.183 | 47.637 | 65.0119
2019-07-11 15:30:00 | 13.752 | 271.393 | 14.936 | 277.986 | 15.236 | 281.567 | 15.536 | 278.267 | 21.227 | 890.192 | 50.016 | 67.6779
2019-07-11 15:45:00 | 12.799 | 281.927 | 14.044 | 284.954 | 14.524 | 288.967 | 14.974 | 287.233 | 20.681 | 889.783 | 51.413 | 70.2083
2019-07-11 16:00:00 | 14.681 | 288.02 | 15.862 | 287.758 | 16.198 | 290.6 | 16.29 | 286 | 20.256 | 889.808 | 51.456 | 67.1038
2019-07-11 16:15:00 | 13.582 | 276.793 | 14.938 | 280.233 | 15.108 | 284.933 | 15.33 | 281.533 | 20.564 | 889.8 | 51.947 | 66.4231
2019-07-11 16:30:00 | 13.261 | 280.82 | 14.546 | 283.694 | 14.571 | 286.5 | 14.713 | 285.367 | 19.823 | 889.95 | 51.12 | 68.6647
2019-07-11 16:45:00 | 12.733 | 282.993 | 13.648 | 283.57 | 13.978 | 288.667 | 13.985 | 286.067 | 19.627 | 889.75 | 51.84 | 69.67
2019-07-11 17:00:00 | 12.94 | 270.34 | 14.742 | 277.362 | 14.815 | 280.467 | 15.202 | 278.4 | 19.51 | 889.908 | 50.155 | 69.4955
2019-07-11 17:15:00 | 12.489 | 274.113 | 13.84 | 281.21 | 14.141 | 284.4 | 14.237 | 283 | 19.235 | 889.317 | 49.664 | 64.6033
2019-07-11 17:30:00 | 12.677 | 277.253 | 13.481 | 286.14 | 13.526 | 289.133 | 13.918 | 288 | 18.844 | 889.35 | 49.387 | 55.4633
2019-07-11 17:45:00 | 12.065 | 288.46 | 12.725 | 284.713 | 13.149 | 288.4 | 13.77 | 286.5 | 18.706 | 889.733 | 50.293 | 54.0841
2019-07-11 18:00:00 | 9.756 | 284.207 | 10.36 | 285.004 | 10.688 | 287.567 | 11.111 | 283.633 | 18.489 | 889.942 | 52.176 | 54.7016
2019-07-11 18:15:00 | 11.107 | 283.207 | 11.863 | 285.622 | 12.184 | 289.933 | 12.764 | 286.467 | 19.231 | 889.733 | 51.829 | 55.6786
2019-07-11 18:30:00 | 10.695 | 284.233 | 11.561 | 281.873 | 11.658 | 287.3 | 11.931 | 285.767 | 19.335 | 889.65 | 49.296 | 58.4626
2019-07-11 18:45:00 | 10.68 | 276.92 | 11.465 | 281.011 | 11.572 | 284.867 | 11.755 | 283.633 | 19.327 | 889.767 | 47.04 | 59.2296
2019-07-11 19:00:00 | 10.069 | 280.127 | 10.674 | 281.321 | 10.785 | 286.533 | 10.998 | 284 | 19.502 | 889.625 | 47.803 | 57.3319
2019-07-11 19:15:00 | 7.68 | 277.413 | 8.319 | 277.176 | 8.482 | 280.7 | 8.73 | 277.967 | 18.689 | 890.05 | 49.781 | 46.6679
2019-07-11 19:30:00 | 6.332 | 257.247 | 6.739 | 270.285 | 6.802 | 273.733 | 6.841 | 270.767 | 18.673 | 889.95 | 51.653 | 37.6835
2019-07-11 19:45:00 | 6.063 | 258.767 | 6.396 | 257.943 | 6.536 | 262.3 | 6.582 | 256.567 | 18.623 | 890.175 | 53.157 | 42.9701
2019-07-11 20:00:00 | 7.003 | 257.267 | 7.399 | 258.957 | 7.439 | 263.683 | 7.451 | 257.817 | 18.706 | 889.717 | 50.672 | 46.707
2019-07-11 20:15:00 | 7.248 | 244.213 | 7.784 | 245.145 | 7.916 | 249.033 | 7.88 | 243.367 | 18.264 | 890.208 | 50.059 | 50.1092
2019-07-11 20:30:00 | 8.025 | 250.667 | 8.678 | 255.723 | 8.833 | 259.333 | 8.887 | 254.817 | 18.368 | 889.65 | 50.405 | 44.8666
2019-07-11 20:45:00 | 4.69 | 256.807 | 4.91 | 257.082 | 4.888 | 261.483 | 5.042 | 254.917 | 17.698 | 889.617 | 53.68 | 28.8092
2019-07-11 21:00:00 | 4.894 | 238.04 | 5.443 | 235.777 | 5.608 | 242.333 | 5.551 | 237.033 | 17.923 | 890.192 | 54.379 | 30.3789
2019-07-11 21:15:00 | 6.01 | 235.067 | 6.471 | 232.867 | 6.713 | 238.033 | 6.927 | 233.333 | 17.944 | 889.925 | 55.221 | 33.7882
2019-07-11 21:30:00 | 5.922 | 232.647 | 6.335 | 231.522 | 6.623 | 235 | 6.737 | 228.167 | 18.073 | 889.975 | 53.504 | 31.6934
2019-07-11 21:45:00 | 5.683 | 226.767 | 5.976 | 224.849 | 6.18 | 229.333 | 6.263 | 224.267 | 18.064 | 889.908 | 54.4 | 30.9395
2019-07-11 22:00:00 | 5.741 | 223.513 | 6.137 | 220.813 | 6.438 | 224.733 | 6.597 | 219.233 | 18.277 | 890.275 | 54.091 | 34.7467
2019-07-11 22:15:00 | 6.41 | 223.013 | 7.042 | 220.909 | 7.51 | 223.267 | 7.531 | 217.633 | 18.481 | 890.217 | 52.811 | 44.1063
2019-07-11 22:30:00 | 7.36 | 220.9 | 8.079 | 220.331 | 8.881 | 222 | 9.144 | 218.033 | 18.789 | 889.95 | 50.4 | 57.7264
2019-07-11 22:45:00 | 8.534 | 228.233 | 9.092 | 224.56 | 9.791 | 227.433 | 10.072 | 221.5 | 18.639 | 889.725 | 49.643 | 56.7082
2019-07-11 23:00:00 | 6.435 | 232.067 | 7.116 | 229.147 | 7.813 | 232.667 | 8.152 | 226.333 | 18.523 | 889.708 | 50.389 | 44.9973
2019-07-11 23:15:00 | 5.963 | 237.233 | 6.664 | 232.848 | 7.084 | 236.367 | 7.229 | 229.233 | 18.389 | 889.875 | 49.643 | 38.2789
2019-07-11 23:30:00 | 6.684 | 238.2 | 7.3 | 234.98 | 7.765 | 239.533 | 7.963 | 232.467 | 18.589 | 889.842 | 48.971 | 43.4668
2019-07-11 23:45:00 | 6.62 | 239.867 | 7.315 | 236.868 | 7.761 | 240.9 | 7.908 | 235.4 | 18.523 | 889.867 | 49.216 | 47.004