## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-12 00:00:00 | 4.669 | 245.92 | 5.414 | 243.776 | 5.846 | 247.4 | 6.056 | 242.25 | 18.773 | 889.85 | 51.541 | 26.2149
2019-07-12 00:15:00 | 5.495 | 250.58 | 6.413 | 249.567 | 6.522 | 255.95 | 6.524 | 251.667 | 18.623 | 889.867 | 51.52 | 35.0515
2019-07-12 00:30:00 | 5.681 | 238.4 | 6.326 | 235.524 | 6.725 | 239.633 | 6.836 | 234.133 | 18.806 | 889.992 | 51.755 | 28.3772
2019-07-12 00:45:00 | 3.734 | 234.58 | 4.528 | 231.132 | 4.812 | 236.733 | 4.851 | 232.933 | 18.498 | 890.05 | 53.312 | 25.1853
2019-07-12 01:00:00 | 3.378 | 235.013 | 4.281 | 231.161 | 4.723 | 236.8 | 5.085 | 232.5 | 18.073 | 889.975 | 53.515 | 25.8163
2019-07-12 01:15:00 | 3.453 | 219.427 | 4.514 | 222.288 | 5.168 | 229.733 | 5.37 | 227.967 | 18.306 | 889.65 | 53.227 | 25.7865
2019-07-12 01:30:00 | 3.906 | 224.26 | 4.869 | 222.524 | 5.04 | 228 | 5.259 | 225.933 | 18.202 | 889.458 | 53.643 | 26.1354
2019-07-12 01:45:00 | 3.935 | 218.827 | 5.138 | 220.363 | 5.484 | 227.567 | 5.524 | 226.067 | 18.068 | 889.583 | 53.675 | 25.4312
2019-07-12 02:00:00 | 3.77 | 227.667 | 4.573 | 228.486 | 4.82 | 238.4 | 4.751 | 237.4 | 18.218 | 889.9 | 52.235 | 23.0387
2019-07-12 02:15:00 | 2.059 | 221.46 | 2.996 | 222.672 | 3.248 | 234.333 | 3.35 | 231.467 | 18.306 | 889.725 | 51.211 | 18.5714
2019-07-12 02:30:00 | 0.706 | 272.267 | 1.806 | 270.406 | 1.848 | 280.533 | 2.302 | 268.8 | 18.456 | 889.742 | 52.075 | 18.2452
2019-07-12 02:45:00 | 4.144 | 213.207 | 4.603 | 216.469 | 4.502 | 225.067 | 4.159 | 229.467 | 17.939 | 890.075 | 53.408 | 25.0134
2019-07-12 03:00:00 | 4.779 | 219.447 | 5.988 | 219.709 | 6.024 | 225.2 | 5.763 | 222.2 | 18.431 | 890.283 | 52.992 | 30.1607
2019-07-12 03:15:00 | 4.565 | 221.14 | 5.874 | 219.639 | 6.291 | 225.267 | 5.993 | 220.867 | 18.094 | 890.067 | 54.795 | 31.5755
2019-07-12 03:30:00 | 5.107 | 217.56 | 6.531 | 213.733 | 7.139 | 215.833 | 7.595 | 212.2 | 18.168 | 889.942 | 56.16 | 22.8476
2019-07-12 03:45:00 | 5.225 | 220.76 | 6.466 | 215.717 | 7.326 | 219.433 | 7.578 | 215.267 | 17.831 | 889.983 | 58.592 | 24.1848
2019-07-12 04:00:00 | 5.571 | 218.147 | 6.885 | 217.473 | 7.466 | 222.3 | 7.763 | 218.267 | 17.548 | 889.908 | 59.264 | 19.5512
2019-07-12 04:15:00 | 4.41 | 218.833 | 5.592 | 220.952 | 6.08 | 227.3 | 6.411 | 225.133 | 17.606 | 889.642 | 58.315 | 16.4894
2019-07-12 04:30:00 | 3.544 | 222.72 | 4.436 | 225.112 | 5.22 | 233.567 | 5.753 | 231.467 | 18.123 | 890.167 | 56.565 | 15.7128
2019-07-12 04:45:00 | 4.55 | 234.44 | 5.637 | 235.143 | 5.811 | 243 | 6.12 | 239.167 | 17.994 | 889.442 | 56.139 | 16.4681
2019-07-12 05:00:00 | 4.248 | 233.5 | 5.418 | 233.856 | 5.584 | 243.067 | 5.728 | 239.4 | 18.185 | 889.467 | 55.872 | 15.6353
2019-07-12 05:15:00 | 4.6 | 228.807 | 5.663 | 232.415 | 5.711 | 241.3 | 5.798 | 238.367 | 17.706 | 889.333 | 54.485 | 13.2798
2019-07-12 05:30:00 | 4.479 | 224.567 | 5.321 | 231.285 | 5.448 | 241.033 | 5.626 | 237.967 | 17.377 | 889.767 | 54.944 | 11.4032
2019-07-12 05:45:00 | 4.105 | 214.5 | 5.146 | 218.894 | 5.194 | 231.967 | 5.134 | 233.933 | 17.198 | 890.292 | 56.107 | 11.0742
2019-07-12 06:00:00 | 4.498 | 212.033 | 6.128 | 210.505 | 5.894 | 219.233 | 5.651 | 219.067 | 17.081 | 890.383 | 58.336 | 11.4067
2019-07-12 06:15:00 | 4.094 | 214.667 | 5.766 | 212.374 | 5.95 | 218.133 | 5.834 | 217.6 | 16.498 | 890.092 | 58.389 | 11.4515
2019-07-12 06:30:00 | 4.627 | 212.153 | 6.314 | 210.879 | 6.398 | 216.667 | 6.011 | 213.967 | 16.731 | 889.892 | 58.656 | 11.843
2019-07-12 06:45:00 | 4.19 | 222.173 | 5.996 | 220.012 | 5.699 | 227.033 | 5.41 | 225.033 | 16.598 | 889.725 | 59.275 | 11.9198
2019-07-12 07:00:00 | 4.251 | 213.747 | 6.11 | 211.611 | 6.24 | 217.1 | 5.996 | 214.8 | 15.88 | 889.625 | 60.309 | 13.9889
2019-07-12 07:15:00 | 4.133 | 213.633 | 5.787 | 210.765 | 6.157 | 215.2 | 6.068 | 213.033 | 16.348 | 889.55 | 59.915 | 11.3655
2019-07-12 07:30:00 | 4.142 | 215.607 | 5.781 | 212.407 | 6.244 | 217.233 | 6.263 | 214.2 | 16.648 | 889.667 | 59.552 | 10.9385
2019-07-12 07:45:00 | 3.304 | 206.7 | 4.606 | 203.332 | 5.323 | 209.8 | 5.842 | 207.667 | 17.114 | 890.1 | 57.931 | 7.0623
2019-07-12 08:00:00 | 3.459 | 227.313 | 4.231 | 218.161 | 4.816 | 223.133 | 4.944 | 222.6 | 17.598 | 890.075 | 55.851 | 5.1012
2019-07-12 08:15:00 | 3.634 | 219.673 | 4.264 | 218.969 | 4.346 | 226.567 | 4.505 | 226.6 | 18.352 | 889.675 | 53.707 | 5.9354
2019-07-12 08:30:00 | 3.987 | 232.26 | 4.208 | 231.945 | 4.319 | 237.1 | 4.653 | 235.033 | 18.777 | 890.075 | 50.869 | 4.5419
2019-07-12 08:45:00 | 4.162 | 219.933 | 4.28 | 217.273 | 4.205 | 220.3 | 4.347 | 217.367 | 19.81 | 890.15 | 46.944 | 3.6225
2019-07-12 09:00:00 | 3.783 | 233.827 | 3.966 | 230.88 | 3.522 | 235.6 | 3.644 | 232.8 | 21.314 | 889.583 | 41.899 | 2.1104
2019-07-12 09:15:00 | 2.087 | 227.773 | 2.054 | 225.446 | 1.957 | 225.333 | 2.628 | 221.867 | 21.514 | 889.95 | 42.176 | 0.50663
2019-07-12 09:30:00 | 2.24 | 233.62 | 2.352 | 227.153 | 2.079 | 232.233 | 2.319 | 228.2 | 21.606 | 890.175 | 41.515 | 0.21459
2019-07-12 09:45:00 | 1.61 | 228.787 | 1.196 | 233.555 | 0.87 | 239.067 | 1.812 | 230.367 | 22.402 | 889.725 | 40.795 | 0.25154
2019-07-12 10:00:00 | 0.774 | 243.733 | 1.06 | 224.927 | 0.775 | 235.1 | 1.726 | 232.533 | 22.414 | 890.1 | 40.091 | 0.18333
2019-07-12 10:15:00 | 2.369 | 246.02 | 2.356 | 242.954 | 2.514 | 237.883 | 2.825 | 231.5 | 21.873 | 889.383 | 39.712 | 0.18404
2019-07-12 10:30:00 | 2.372 | 251.893 | 2.231 | 243.194 | 2.183 | 244.067 | 2.525 | 235.567 | 23.048 | 889.717 | 37.712 | 0.17409
2019-07-12 10:45:00 | 0.886 | 154.833 | 0.789 | 189.568 | 0.813 | 197.633 | 1.422 | 199.633 | 23.514 | 889.717 | 36.224 | 0.14922
2019-07-12 11:00:00 | 2.204 | 226.64 | 2.299 | 225.785 | 2.256 | 230.217 | 2.43 | 225.867 | 24.839 | 889.633 | 33.72 | 0.16769
2019-07-12 11:15:00 | 1.596 | 122.557 | 1.053 | 113.49 | 0.873 | 124.767 | 1.201 | 172.967 | 24.577 | 889.683 | 32.771 | 0.18333
2019-07-12 11:30:00 | 1.957 | 126.632 | 2.136 | 174.217 | 2.115 | 165.967 | 2.599 | 163.883 | 24.535 | 889.583 | 32.04 | 0.1684
2019-07-12 11:45:00 | 1.324 | 192.797 | 1.243 | 194.746 | 0.826 | 200.383 | 1.279 | 192.367 | 25.418 | 889.85 | 31.771 | 0.1478
2019-07-12 12:00:00 | 3.458 | 139.383 | 3.86 | 142.418 | 3.596 | 150.433 | 3.593 | 146.233 | 24.764 | 889.933 | 32.421 | 0.30412
2019-07-12 12:15:00 | 2.364 | 179.28 | 1.899 | 184.981 | 1.573 | 187.167 | 2.19 | 164.467 | 24.164 | 889.75 | 33.869 | 1.3586
2019-07-12 12:30:00 | 1.494 | 113.657 | 1.806 | 137.344 | 1.893 | 153.133 | 1.994 | 146.467 | 24.577 | 889.867 | 32.891 | 0.81218
2019-07-12 12:45:00 | 2.576 | 219.303 | 2.936 | 213.616 | 2.384 | 204.967 | 3.013 | 201.667 | 25.644 | 889.283 | 30.936 | 1.6315
2019-07-12 13:00:00 | 3.628 | 155.383 | 3.828 | 152.395 | 3.772 | 151.733 | 4.036 | 147.2 | 25.31 | 890.183 | 30.651 | 1.3259
2019-07-12 13:15:00 | 4.219 | 186.467 | 4.186 | 181.534 | 4.4 | 187.433 | 4.526 | 185.367 | 26.394 | 889.517 | 28.16 | 2.3648
2019-07-12 13:30:00 | 2.667 | 99.843 | 2.424 | 44.807 | 2.865 | 52.783 | 2.752 | 46.8 | 26.977 | 889.65 | 26.501 | 2.0315
2019-07-12 13:45:00 | 2.945 | 129.627 | 2.883 | 134.823 | 2.972 | 145.167 | 3.279 | 133.867 | 26.239 | 889.7 | 26.624 | 4.6642
2019-07-12 14:00:00 | 5.539 | 94.71 | 5.384 | 90.185 | 5.278 | 95.867 | 5.358 | 93 | 26.627 | 889.617 | 27.616 | 5.3328
2019-07-12 14:15:00 | 3.645 | 136.243 | 4.16 | 130.764 | 4.468 | 137.1 | 4.645 | 133.533 | 26.91 | 889.883 | 26.405 | 2.4891
2019-07-12 14:30:00 | 3.535 | 75.567 | 2.671 | 71.728 | 1.96 | 110.767 | 1.081 | 125.3 | 27.118 | 889.217 | 26.016 | 3.0966
2019-07-12 14:45:00 | 4.201 | 278.82 | 4.134 | 313.807 | 3.873 | 281.469 | 3.638 | 311.5 | 28.098 | 889.633 | 24.264 | 7.0282
2019-07-12 15:00:00 | 2.363 | 250.5 | 2.054 | 257.345 | 2.054 | 254.2 | 2.244 | 261.5 | 28.198 | 889.533 | 23.792 | 4.4943
2019-07-12 15:15:00 | 2.76 | 183.58 | 3.894 | 168.861 | 3.641 | 171.433 | 4.364 | 167.733 | 28.602 | 889.917 | 22.885 | 5.5211
2019-07-12 15:30:00 | 4.132 | 145.053 | 4.498 | 139.946 | 4.234 | 143.467 | 4.584 | 138.533 | 29.198 | 889.783 | 22.096 | 20.259
2019-07-12 15:45:00 | 8.534 | 56.811 | 8.476 | 51.044 | 8.476 | 56.7 | 8.971 | 52.3 | 28.139 | 889.617 | 25.723 | 25.12
2019-07-12 16:00:00 | 8.553 | 45.812 | 8.394 | 43.533 | 8.88 | 48.7 | 8.874 | 47.133 | 26.906 | 889.7 | 28 | 22.1512
2019-07-12 16:15:00 | 4.992 | 60.778 | 5.339 | 57.646 | 5.248 | 62.233 | 5.534 | 58.533 | 26.952 | 889.95 | 27.536 | 22.0013
2019-07-12 16:30:00 | 6.83 | 77.837 | 6.971 | 74.801 | 7.11 | 82.433 | 7.216 | 77.333 | 27.906 | 890.1 | 26.357 | 24.8414
2019-07-12 16:45:00 | 4.527 | 62.758 | 4.608 | 61.592 | 4.734 | 69.033 | 5.108 | 67.233 | 27.373 | 889.967 | 24.997 | 16.758
2019-07-12 17:00:00 | 5.609 | 77.685 | 5.775 | 75.383 | 5.795 | 82.033 | 5.974 | 77.5 | 28.056 | 889.267 | 24.24 | 19.8817
2019-07-12 17:15:00 | 5.518 | 94.193 | 5.617 | 91.24 | 5.605 | 96.133 | 5.561 | 90.267 | 27.406 | 889.683 | 25.611 | 25.633
2019-07-12 17:30:00 | 4.602 | 96.063 | 4.58 | 90.304 | 4.203 | 95.167 | 4.16 | 90.967 | 27.952 | 889.5 | 23.589 | 23.0401
2019-07-12 17:45:00 | 7.315 | 97.323 | 7.588 | 92.361 | 7.385 | 98.667 | 7.384 | 93.7 | 28.21 | 889.65 | 23.109 | 15.9742
2019-07-12 18:00:00 | 4.221 | 121.52 | 4.647 | 114.638 | 4.742 | 120.433 | 4.819 | 115.3 | 28.298 | 890.1 | 22.725 | 18.2424
2019-07-12 18:15:00 | 5.105 | 109.923 | 5.801 | 102.526 | 5.82 | 106.2 | 5.846 | 103.5 | 28.323 | 889.783 | 22.133 | 17.5688
2019-07-12 18:30:00 | 5.316 | 97.31 | 5.371 | 94.459 | 5.523 | 102.067 | 5.558 | 92.9 | 28.206 | 889.433 | 23.856 | 14.0408
2019-07-12 18:45:00 | 5.516 | 118.23 | 5.62 | 113.801 | 5.475 | 117.067 | 5.702 | 116.267 | 27.627 | 890.05 | 25.52 | 17.6832
2019-07-12 19:00:00 | 5.231 | 112.633 | 5.474 | 104.796 | 5.935 | 106.033 | 5.947 | 98.133 | 27.456 | 889.883 | 26.117 | 18.9835
2019-07-12 19:15:00 | 4.855 | 79.017 | 5.045 | 78.377 | 5.177 | 82.4 | 5.323 | 77.8 | 27.81 | 889.733 | 24.955 | 20.0408
2019-07-12 19:30:00 | 5.703 | 104.777 | 5.518 | 99.619 | 5.548 | 104.933 | 5.816 | 100.267 | 27.427 | 889.633 | 25.707 | 24.5231
2019-07-12 19:45:00 | 6.081 | 100.217 | 5.217 | 93.093 | 5.016 | 99.433 | 5.452 | 94.633 | 27.485 | 889.883 | 25.392 | 20.4132
2019-07-12 20:00:00 | 6.232 | 108.94 | 5.886 | 103.782 | 5.595 | 109.767 | 5.636 | 103.233 | 27.173 | 889.567 | 25.979 | 23.8331
2019-07-12 20:15:00 | 6.031 | 109.357 | 5.582 | 103.056 | 5.023 | 107.567 | 5.4 | 101.6 | 27.002 | 890.233 | 25.728 | 27.9587
2019-07-12 20:30:00 | 6.628 | 107.227 | 6.262 | 101.14 | 5.667 | 106.467 | 6.075 | 102.3 | 26.864 | 889.317 | 26.981 | 28.5094
2019-07-12 20:45:00 | 5.503 | 105.787 | 5.578 | 102.731 | 5.299 | 107.233 | 5.014 | 102.033 | 26.306 | 889.667 | 27.253 | 28.3466
2019-07-12 21:00:00 | 5.06 | 104.533 | 5.459 | 97.811 | 5.057 | 102.633 | 4.772 | 98.833 | 26.548 | 889.633 | 26.245 | 27.5018
2019-07-12 21:15:00 | 5.15 | 104.667 | 5.151 | 99.139 | 4.286 | 100.867 | 4.129 | 93.6 | 26.206 | 889.567 | 26.4 | 23.2938
2019-07-12 21:30:00 | 5.27 | 106.59 | 5.192 | 100.349 | 4.731 | 103.5 | 4.611 | 103.633 | 26.402 | 889.867 | 26.571 | 19.682
2019-07-12 21:45:00 | 5.521 | 111.653 | 5.726 | 107.26 | 5.849 | 111.7 | 5.818 | 106.3 | 25.964 | 889.683 | 26.107 | 13.2215
2019-07-12 22:00:00 | 3.228 | 119.683 | 3.657 | 111.528 | 3.698 | 116.867 | 3.93 | 113.3 | 25.598 | 889.333 | 26.128 | 10.7246
2019-07-12 22:15:00 | 4.859 | 123.063 | 5.369 | 120.308 | 5.089 | 128.267 | 4.922 | 126.367 | 25.794 | 889.883 | 25.771 | 9.7348
2019-07-12 22:30:00 | 3.653 | 104.153 | 3.277 | 98.781 | 2.894 | 109.867 | 2.762 | 110.533 | 25.981 | 889.817 | 25.547 | 10.1284
2019-07-12 22:45:00 | 3.086 | 128.357 | 3.245 | 125.575 | 3.142 | 129.5 | 3.325 | 123.067 | 25.677 | 889.967 | 26.112 | 9.1478
2019-07-12 23:00:00 | 3.366 | 133.707 | 3.559 | 133.519 | 3.554 | 138.867 | 3.764 | 135.9 | 25.056 | 889.567 | 26.709 | 10.1966
2019-07-12 23:15:00 | 3.183 | 138.107 | 3.443 | 137.349 | 3.322 | 141.633 | 3.41 | 139.767 | 25.506 | 889.667 | 26.704 | 10.8752
2019-07-12 23:30:00 | 2.994 | 130.67 | 3.645 | 124.514 | 3.268 | 130.567 | 3.038 | 127.067 | 25.156 | 889.633 | 27.061 | 9.8669
2019-07-12 23:45:00 | 2.966 | 158.887 | 3.133 | 147.317 | 2.931 | 149.833 | 2.997 | 148.233 | 24.639 | 890.167 | 27.493 | 8.8373