## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-13 00:00:00 | 2.863 | 156.133 | 2.759 | 144.033 | 2.274 | 146 | 2.442 | 140.967 | 24.427 | 889.683 | 27.947 | 8.5716
2019-07-13 00:15:00 | 4.067 | 209.087 | 5.955 | 208.521 | 6.333 | 208.2 | 6.306 | 198.5 | 23.064 | 890.033 | 29.536 | 11.3215
2019-07-13 00:30:00 | 2.053 | 255.68 | 3.55 | 240.484 | 4.254 | 244.967 | 4.412 | 238.633 | 23.164 | 889.717 | 29.227 | 11.0387
2019-07-13 00:45:00 | 2.604 | 247.06 | 5.213 | 240.98 | 5.594 | 247.367 | 5.212 | 240.133 | 22.448 | 889.533 | 29.627 | 11.8714
2019-07-13 01:00:00 | 5.302 | 233.62 | 5.671 | 233.828 | 5.614 | 238.367 | 5.663 | 229.9 | 22.648 | 889.533 | 29.211 | 18.8478
2019-07-13 01:15:00 | 4.933 | 233.353 | 5.419 | 234.624 | 5.654 | 237.3 | 6.072 | 230.367 | 22.731 | 889.683 | 29.52 | 22.9016
2019-07-13 01:30:00 | 5.069 | 217.733 | 6.321 | 220.395 | 6.521 | 227.433 | 6.6 | 223.767 | 21.802 | 889.583 | 31.504 | 20.7187
2019-07-13 01:45:00 | 6.115 | 227.52 | 6.769 | 227.366 | 7.068 | 235.3 | 7.326 | 232.333 | 22.318 | 889.533 | 32.112 | 22.6898
2019-07-13 02:00:00 | 4.938 | 219.68 | 5.791 | 226.638 | 5.67 | 236.667 | 5.546 | 236 | 22.239 | 889.7 | 33.131 | 15.5024
2019-07-13 02:15:00 | 4.608 | 221.253 | 5.844 | 231.099 | 6.075 | 241.667 | 6.042 | 238.567 | 21.214 | 889.733 | 34.517 | 17.7997
2019-07-13 02:30:00 | 4.562 | 230.413 | 5.92 | 241.279 | 6.138 | 252.467 | 6.362 | 251.883 | 20.756 | 889.933 | 35.648 | 20.4792
2019-07-13 02:45:00 | 4.803 | 238.36 | 6.148 | 247.566 | 6.457 | 255.933 | 6.766 | 254.15 | 21.689 | 889.783 | 34.277 | 24.1145
2019-07-13 03:00:00 | 5.131 | 253.113 | 6.844 | 258.389 | 7.513 | 265.767 | 7.766 | 263.2 | 21.527 | 889.583 | 32.987 | 29.2647
2019-07-13 03:15:00 | 5.721 | 250.513 | 7.432 | 261.55 | 8.088 | 268 | 8.39 | 263.9 | 21.956 | 890.2 | 33.835 | 37.962
2019-07-13 03:30:00 | 6.85 | 260.087 | 8.796 | 267.497 | 9.53 | 273 | 9.936 | 268.9 | 21.989 | 889.433 | 33.987 | 46.5691
2019-07-13 03:45:00 | 7.351 | 267.9 | 8.757 | 280.111 | 9.368 | 284.267 | 9.996 | 281.233 | 22.289 | 889.533 | 34.277 | 41.3386
2019-07-13 04:00:00 | 6.266 | 271.98 | 7.631 | 275.616 | 7.997 | 280.233 | 8.557 | 276.2 | 21.535 | 889.883 | 34.984 | 30.4265
2019-07-13 04:15:00 | 5.236 | 285.947 | 6.788 | 288.653 | 7.361 | 292.333 | 8.039 | 289.4 | 20.981 | 889.583 | 35.912 | 15.3674
2019-07-13 04:30:00 | 2.086 | 300.2 | 3.41 | 293.83 | 4.215 | 296.633 | 4.998 | 292.467 | 20.61 | 889.483 | 35.917 | 7.0552
2019-07-13 04:45:00 | 3.683 | 133.123 | 3.326 | 123.351 | 2.644 | 126.433 | 2.167 | 130.3 | 20.077 | 889.483 | 37.216 | 6.6218
2019-07-13 05:00:00 | 1.443 | 105.193 | 1.016 | 88.064 | 1.517 | 94.7 | 1.478 | 89.8 | 20.102 | 889.583 | 37.093 | 6.6722
2019-07-13 05:15:00 | 0 | 116.153 | 0 | 72.224 | 0 | 85 | 0 | 80 | 20.456 | 889.95 | 37.365 | 6.8499
2019-07-13 05:30:00 | 2.749 | 260.727 | 2.52 | 247.6 | 2.582 | 261.85 | 3.012 | 260.883 | 19.989 | 889.65 | 38.941 | 7.2456
2019-07-13 05:45:00 | 2.543 | 242.687 | 2.386 | 248.664 | 2.375 | 261.933 | 2.629 | 258.067 | 20.056 | 889.95 | 38.971 | 6.8385
2019-07-13 06:00:00 | 3.744 | 209.513 | 2.968 | 206.884 | 2.164 | 215.1 | 1.902 | 216.267 | 18.968 | 889.858 | 40.976 | 7.2393
2019-07-13 06:15:00 | 3.913 | 212.513 | 3.078 | 213.161 | 2.759 | 224.9 | 2.437 | 228.067 | 19.123 | 889.925 | 41.419 | 6.9827
2019-07-13 06:30:00 | 3.725 | 213.96 | 3.496 | 213.662 | 3.066 | 219.833 | 2.813 | 219.8 | 18.727 | 889.525 | 41.611 | 6.8513
2019-07-13 06:45:00 | 3.705 | 216.2 | 2.83 | 212.14 | 2.348 | 221.667 | 2.269 | 219.967 | 18.639 | 889.692 | 41.867 | 6.7106
2019-07-13 07:00:00 | 3.393 | 217.433 | 2.636 | 216.275 | 2.463 | 220.2 | 2.433 | 222.033 | 18.489 | 889.558 | 41.131 | 6.685
2019-07-13 07:15:00 | 4.073 | 213.58 | 3.045 | 210.435 | 2.666 | 217.167 | 2.302 | 209.767 | 19.294 | 889.8 | 39.424 | 6.722
2019-07-13 07:30:00 | 3.635 | 208.873 | 3.154 | 212.189 | 2.638 | 213.167 | 2.532 | 209.1 | 20.794 | 890.15 | 36.32 | 6.7937
2019-07-13 07:45:00 | 3.29 | 222.7 | 3.609 | 224.109 | 3.158 | 228.233 | 2.953 | 221.067 | 21.227 | 889.55 | 34.869 | 7.1767
2019-07-13 08:00:00 | 3.592 | 227.307 | 3.543 | 226.836 | 3.566 | 232.467 | 3.444 | 228.267 | 22.36 | 889.667 | 33.109 | 7.7956
2019-07-13 08:15:00 | 3.407 | 240.06 | 3.272 | 240.349 | 3.24 | 243.533 | 3.36 | 234.833 | 23.081 | 889.717 | 31.787 | 6.9891
2019-07-13 08:30:00 | 2.363 | 241.44 | 2.092 | 237.018 | 1.862 | 242.267 | 2.062 | 235.133 | 23.706 | 889.867 | 31.099 | 6.7255
2019-07-13 08:45:00 | 2.158 | 219.46 | 1.942 | 220.016 | 1.885 | 228.933 | 2.16 | 222.583 | 24.618 | 889.367 | 30.789 | 6.6694
2019-07-13 09:00:00 | 0.773 | 242.053 | 0.496 | 282.975 | 0.563 | 285.3 | 1.264 | 289.433 | 23.723 | 889.667 | 31.291 | 6.7014
2019-07-13 09:15:00 | 2.036 | 275.893 | 1.945 | 266.252 | 1.699 | 275.9 | 2.19 | 273.1 | 24.498 | 889.717 | 29.752 | 6.6999
2019-07-13 09:30:00 | 0.433 | 178.308 | 0.067 | 185.582 | 0.027 | 192 | 0.895 | 270.933 | 25.685 | 889.517 | 29.008 | 6.7085
2019-07-13 09:45:00 | 2.577 | 298.027 | 2.172 | 290.984 | 2.157 | 291.533 | 2.392 | 292.2 | 24.744 | 889.683 | 28.92 | 6.7028
2019-07-13 10:00:00 | 1.696 | 251.507 | 1.15 | 260.598 | 1.183 | 263 | 1.619 | 249.667 | 24.798 | 889.867 | 29.432 | 6.7028
2019-07-13 10:15:00 | 1.766 | 171.824 | 1.052 | 351.183 | 0.97 | 215.033 | 1.565 | 265.033 | 25.006 | 889.817 | 29.096 | 6.7134
2019-07-13 10:30:00 | 2.087 | 229.553 | 1.95 | 228.251 | 2.014 | 228.8 | 2.066 | 224.933 | 25.644 | 889.683 | 28.299 | 6.7014
2019-07-13 10:45:00 | 1.095 | 208.912 | 0.92 | 257.603 | 0.67 | 298.867 | 1.025 | 292.9 | 25.394 | 889.983 | 27.888 | 6.7127
2019-07-13 11:00:00 | 3.094 | 286.813 | 3.203 | 289.96 | 3.178 | 294.3 | 3.331 | 295.083 | 25.914 | 889.667 | 27.184 | 6.7163
2019-07-13 11:15:00 | 3.143 | 65.218 | 2.791 | 56.15 | 2.316 | 60.067 | 2.186 | 62.667 | 26.11 | 889.65 | 27.195 | 6.7433
2019-07-13 11:30:00 | 1.349 | 149.925 | 1.263 | 130.712 | 1.307 | 99.8 | 1.599 | 73.1 | 26.481 | 889.817 | 26.155 | 6.7738
2019-07-13 11:45:00 | 2.514 | 163.288 | 1.364 | 209.442 | 0.951 | 225.567 | 1.609 | 156.506 | 26.435 | 889.717 | 25.821 | 6.3006
2019-07-13 12:00:00 | 1.761 | 272.638 | 1.063 | 253.158 | 0.94 | 242.51 | 1.29 | 227.85 | 27.839 | 889.783 | 25.219 | 0.11653
2019-07-13 12:15:00 | 1.436 | 111.747 | 1.646 | 94.534 | 1.466 | 86.533 | 1.959 | 89.538 | 28.056 | 889.383 | 24.939 | 0.098058
2019-07-13 12:30:00 | 3.628 | 35.413 | 3.083 | 40.716 | 2.399 | 32.233 | 2.702 | 29.467 | 28.31 | 890.1 | 23.944 | 0.16272
2019-07-13 12:45:00 | 1.805 | 275.321 | 1.546 | 288.226 | 2.083 | 277.967 | 2.495 | 279.867 | 28.218 | 889.917 | 24.037 | 0.14567
2019-07-13 13:00:00 | 3.507 | 291.68 | 3.111 | 288.882 | 2.897 | 291.667 | 2.839 | 292.967 | 27.552 | 889.617 | 23.981 | 0.16698
2019-07-13 13:15:00 | 2.736 | 63.162 | 2.208 | 67.988 | 2.096 | 65.367 | 1.826 | 76.833 | 29.277 | 889.517 | 23.349 | 0.1208
2019-07-13 13:30:00 | 1.526 | 101.173 | 1.231 | 110.398 | 1.699 | 101.733 | 2.266 | 81.94 | 29.148 | 889.933 | 22.773 | 0.31478
2019-07-13 13:45:00 | 2.309 | 150.09 | 2.235 | 252.94 | 1.831 | 283.6 | 2.479 | 282.3 | 29.648 | 889.517 | 22.016 | 0.41213
2019-07-13 14:00:00 | 2.168 | 286.133 | 2.145 | 307.701 | 2.02 | 266.352 | 2.062 | 193.362 | 28.931 | 889.4 | 22.461 | 1.2314
2019-07-13 14:15:00 | 3.646 | 319.107 | 3.476 | 321.5 | 3.319 | 326.667 | 3.504 | 329.967 | 27.989 | 889.617 | 24.771 | 0.71412
2019-07-13 14:30:00 | 1.899 | 173.554 | 1.722 | 238.758 | 2.444 | 228.167 | 2.641 | 263.267 | 28.335 | 889.633 | 23.731 | 0.19327
2019-07-13 14:45:00 | 0.706 | 214.047 | 0.476 | 239.492 | 0.326 | 235.617 | 0.585 | 201.208 | 29.648 | 889.717 | 22.181 | 2.0209
2019-07-13 15:00:00 | 5.404 | 53.481 | 5.438 | 131.033 | 5.533 | 62.733 | 5.5 | 96.767 | 28.764 | 889.717 | 23.973 | 3.0988
2019-07-13 15:15:00 | 4.91 | 44.532 | 5.121 | 41.388 | 5.36 | 45.8 | 5.49 | 42.267 | 28.177 | 889.45 | 24.837 | 2.585
2019-07-13 15:30:00 | 5.467 | 78.975 | 5.321 | 78.611 | 5.515 | 86.467 | 5.567 | 81.3 | 28.173 | 890.183 | 25.157 | 33.3391
2019-07-13 15:45:00 | 11.365 | 186.427 | 12.244 | 179.792 | 12.086 | 180.567 | 12.021 | 176.133 | 23.098 | 890.25 | 43.061 | 46.5229
2019-07-13 16:00:00 | 7.22 | 152.787 | 7.51 | 148.316 | 7.609 | 154.233 | 7.755 | 151.333 | 20.994 | 889.592 | 58.24 | 27.9828
2019-07-13 16:15:00 | 6.174 | 142.1 | 6.962 | 138.118 | 6.717 | 145.5 | 6.172 | 139.733 | 21.989 | 889.883 | 57.355 | 26.1098
2019-07-13 16:30:00 | 6.454 | 160.653 | 6.956 | 157.085 | 6.567 | 162.767 | 6.641 | 156.5 | 22.235 | 889.833 | 50.603 | 35.1489
2019-07-13 16:45:00 | 8.342 | 198.467 | 9.969 | 189.712 | 9.992 | 188.733 | 10.077 | 180.033 | 22.631 | 889.767 | 54.795 | 39.0968
2019-07-13 17:00:00 | 9.54 | 209.967 | 11.758 | 211.033 | 13.106 | 212.867 | 13.795 | 207.733 | 20.648 | 890.017 | 67.84 | 64.7554
2019-07-13 17:15:00 | 7.464 | 150.933 | 8.64 | 147.653 | 8.235 | 156.067 | 8.289 | 149.233 | 20.76 | 889.725 | 63.787 | 54.5758
2019-07-13 17:30:00 | 5.686 | 170.527 | 6.223 | 163.885 | 6.14 | 168 | 6.119 | 161.367 | 22.06 | 889.467 | 53.813 | 37.8661
2019-07-13 17:45:00 | 6.398 | 178.767 | 7.757 | 175.245 | 8.177 | 177.433 | 8.226 | 173.633 | 22.431 | 889.833 | 52.427 | 22.358
2019-07-13 18:00:00 | 6.94 | 176.733 | 7.783 | 172.458 | 8.235 | 176.267 | 9.017 | 171.367 | 23.548 | 889.717 | 45.013 | 46.2487
2019-07-13 18:15:00 | 6.599 | 167.347 | 7.124 | 163.684 | 6.991 | 166.333 | 7.116 | 162.2 | 23.631 | 889.592 | 44.501 | 67.415
2019-07-13 18:30:00 | 7.507 | 166.987 | 7.867 | 163.215 | 7.769 | 167.167 | 8.209 | 163.3 | 23.398 | 889.708 | 43.211 | 62.5796
2019-07-13 18:45:00 | 6.755 | 172.613 | 7.7 | 170.148 | 8.037 | 173.7 | 8.403 | 169.933 | 23.727 | 889.783 | 39.088 | 34.6458
2019-07-13 19:00:00 | 5.81 | 176.267 | 6.242 | 175.28 | 6.34 | 179.867 | 6.541 | 177.9 | 24.039 | 889.55 | 36.581 | 9.9813
2019-07-13 19:15:00 | 4.904 | 197.04 | 5.371 | 190.684 | 5.569 | 193.933 | 6.082 | 187.933 | 24.494 | 889.533 | 38.731 | 4.321
2019-07-13 19:30:00 | 4.919 | 196.7 | 5.619 | 191.509 | 5.744 | 197.2 | 6.086 | 193.667 | 24.331 | 889.833 | 40.48 | 8.1211
2019-07-13 19:45:00 | 4.928 | 191.067 | 6.179 | 187.452 | 6.242 | 193.7 | 6.312 | 190.5 | 24.11 | 889.958 | 43.595 | 26.7756
2019-07-13 20:00:00 | 11.448 | 207.54 | 13.15 | 203.614 | 13.869 | 205.233 | 14.085 | 199.533 | 23.664 | 889.733 | 39.264 | 55.9074
2019-07-13 20:15:00 | 11.874 | 195.8 | 14.154 | 192.38 | 15.148 | 194.767 | 16.278 | 188.533 | 21.902 | 889.892 | 44.832 | 56.7018
2019-07-13 20:30:00 | 11.348 | 189.953 | 13.193 | 186.847 | 14.268 | 188.467 | 15.301 | 184.933 | 21.539 | 889.667 | 46.368 | 57.951
2019-07-13 20:45:00 | 10.955 | 200.067 | 13.22 | 195.139 | 14.39 | 196.833 | 15.07 | 190.533 | 21.414 | 890.067 | 45.397 | 57.1864
2019-07-13 21:00:00 | 7.414 | 189.013 | 8.646 | 184.227 | 9.528 | 187.967 | 10.706 | 185.367 | 21.66 | 889.65 | 42.667 | 60.4948
2019-07-13 21:15:00 | 8.882 | 200 | 10.717 | 197.276 | 11.667 | 199.767 | 12.861 | 194.6 | 21.381 | 890.167 | 45.621 | 75.5382
2019-07-13 21:30:00 | 8.877 | 200.433 | 10.643 | 197.937 | 11.846 | 200.933 | 12.97 | 197.3 | 21.448 | 889.65 | 45.408 | 77.2976
2019-07-13 21:45:00 | 9.508 | 209.013 | 11.873 | 203.819 | 13.356 | 206.067 | 14.27 | 200.633 | 20.856 | 889.85 | 45.835 | 75.9482
2019-07-13 22:00:00 | 9.012 | 209.493 | 11.239 | 203.281 | 12.624 | 203.167 | 13.475 | 196.367 | 21.089 | 889.808 | 46.443 | 71.6919
2019-07-13 22:15:00 | 8.821 | 215.06 | 11.035 | 208.808 | 12.292 | 208.567 | 13.504 | 201.067 | 20.394 | 889.725 | 47.499 | 69.2632
2019-07-13 22:30:00 | 9.708 | 213.127 | 11.693 | 209.597 | 13.06 | 209.9 | 14.529 | 204.133 | 20.714 | 889.967 | 45.845 | 76.4911
2019-07-13 22:45:00 | 10.219 | 204.167 | 12.068 | 199.945 | 13.546 | 201.067 | 14.357 | 194.633 | 20.881 | 890.025 | 44.331 | 77.8362
2019-07-13 23:00:00 | 11.54 | 199.633 | 14.366 | 195.041 | 15.179 | 196.533 | 15.489 | 190.267 | 20.952 | 889.783 | 42.699 | 78.4544
2019-07-13 23:15:00 | 11.862 | 198.507 | 14.421 | 193.743 | 15.238 | 195.967 | 15.935 | 190.767 | 20.86 | 890.375 | 41.099 | 78.8082
2019-07-13 23:30:00 | 10.724 | 209.78 | 12.654 | 204.811 | 13.601 | 205.733 | 14.811 | 198.9 | 21.202 | 889.933 | 39.168 | 79.2339
2019-07-13 23:45:00 | 11.124 | 203.547 | 13.454 | 200.182 | 14.261 | 200.967 | 15.358 | 195.167 | 21.664 | 889.7 | 39.291 | 79.5067