## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-14 00:00:00 | 11.704 | 205.813 | 14.262 | 200.817 | 15.564 | 201.733 | 16.471 | 195.5 | 21.731 | 889.4 | 39.12 | 79.7
2019-07-14 00:15:00 | 10.065 | 206.587 | 12.354 | 199.868 | 13.667 | 201.633 | 14.538 | 194.433 | 20.752 | 889.65 | 40.155 | 75.6071
2019-07-14 00:30:00 | 8.055 | 209.633 | 10.322 | 204.53 | 11.567 | 205.767 | 12.814 | 198.633 | 20.881 | 889.692 | 40.827 | 34.6039
2019-07-14 00:45:00 | 4.639 | 143.707 | 5.85 | 147.177 | 6.737 | 157.267 | 7.652 | 155.967 | 20.502 | 890.183 | 42.869 | 13.9975
2019-07-14 01:00:00 | 2.366 | 142.497 | 3.373 | 136.807 | 3.622 | 142.967 | 3.83 | 146.1 | 21.36 | 889.85 | 39.947 | 9.739
2019-07-14 01:15:00 | 0.027 | 144.607 | 1.23 | 108.736 | 2.408 | 123.667 | 2.862 | 116.233 | 20.539 | 889.767 | 43.744 | 4.662
2019-07-14 01:30:00 | 0 | 168.57 | 1.134 | 123.347 | 1.716 | 138.967 | 2.079 | 138.533 | 20.777 | 889.825 | 40.213 | 1.1191
2019-07-14 01:45:00 | 1.155 | 233.127 | 0.057 | 118.491 | 1.572 | 159.933 | 2.526 | 157.567 | 20.085 | 889.7 | 44.245 | 0.24088
2019-07-14 02:00:00 | 1.589 | 233.493 | 0.516 | 135.983 | 0.323 | 169.067 | 1.213 | 165.667 | 19.952 | 889.733 | 41.525 | 0.21175
2019-07-14 02:15:00 | 0.452 | 249.687 | 0.987 | 137.513 | 1.79 | 183.467 | 2.636 | 166.933 | 20.818 | 889.683 | 38.395 | 0.22028
2019-07-14 02:30:00 | 2.455 | 250.48 | 1.35 | 162.408 | 0.36 | 174.367 | 1.27 | 159.267 | 20.964 | 889.442 | 38.213 | 0.2757
2019-07-14 02:45:00 | 4.654 | 244.02 | 3.158 | 249.096 | 1.773 | 247.033 | 1.471 | 219.033 | 19.814 | 889.725 | 46.432 | 1.8119
2019-07-14 03:00:00 | 3.895 | 232.12 | 1.993 | 225.353 | 0.936 | 208.7 | 1.875 | 188.1 | 20.348 | 890.142 | 43.381 | 4.699
2019-07-14 03:15:00 | 3.66 | 197.12 | 4.166 | 186.608 | 4.762 | 185.4 | 5.299 | 180.833 | 21.06 | 890.1 | 36.736 | 8.929
2019-07-14 03:30:00 | 4.845 | 193.767 | 7.198 | 182.729 | 7 | 183.1 | 6.558 | 176.9 | 20.268 | 890.025 | 44.629 | 10.0979
2019-07-14 03:45:00 | 5.974 | 204.187 | 6.481 | 190.259 | 6.022 | 191.5 | 5.596 | 184.9 | 19.218 | 889.625 | 44.576 | 9.3184
2019-07-14 04:00:00 | 5.344 | 215.553 | 5.55 | 196.268 | 5.588 | 203.6 | 5.487 | 204.267 | 18.139 | 889.8 | 54.059 | 12.1741
2019-07-14 04:15:00 | 5.854 | 213.607 | 5.594 | 201.564 | 5.365 | 209.2 | 5 | 209.2 | 17.281 | 889.858 | 59.125 | 9.879
2019-07-14 04:30:00 | 5.79 | 215.367 | 5.79 | 204.5 | 5.268 | 210.867 | 4.872 | 206.933 | 17.331 | 889.633 | 60.864 | 9.3582
2019-07-14 04:45:00 | 5.915 | 222.02 | 5.834 | 214.443 | 5.245 | 219.067 | 4.888 | 213 | 17.014 | 889.575 | 60.501 | 7.4297
2019-07-14 05:00:00 | 5.946 | 223.473 | 6.641 | 215.937 | 5.913 | 220.133 | 5.597 | 212.5 | 16.498 | 890.058 | 62.475 | 12.6502
2019-07-14 05:15:00 | 5.752 | 219.147 | 7.186 | 214.249 | 6.741 | 217.3 | 6.599 | 212.533 | 16.36 | 889.633 | 63.872 | 16.7623
2019-07-14 05:30:00 | 6.388 | 218.587 | 7.032 | 212.098 | 6.712 | 214.5 | 7.028 | 211.9 | 16.17 | 889.308 | 63.968 | 19.4312
2019-07-14 05:45:00 | 5.884 | 214.473 | 7.705 | 212.837 | 7.52 | 216.733 | 6.894 | 216.9 | 15.664 | 889.908 | 65.173 | 20.4395
2019-07-14 06:00:00 | 6.105 | 215.047 | 7.778 | 213.789 | 7.246 | 219.733 | 6.35 | 218.4 | 16.086 | 889.842 | 63.765 | 16.5001
2019-07-14 06:15:00 | 6.63 | 220.28 | 7.636 | 219.848 | 7.142 | 225.6 | 6.306 | 223.3 | 15.963 | 889.917 | 63.904 | 11.1232
2019-07-14 06:30:00 | 5.315 | 221.247 | 4.961 | 226.406 | 4.348 | 237.2 | 3.876 | 238.233 | 16.531 | 889.85 | 61.547 | 5.3193
2019-07-14 06:45:00 | 6.565 | 215.427 | 7.047 | 215.351 | 6.092 | 221.467 | 5.291 | 221.7 | 16.564 | 890.2 | 63.061 | 14.8068
2019-07-14 07:00:00 | 6.193 | 221.72 | 7.144 | 219.733 | 6.465 | 227.933 | 5.95 | 225.233 | 16.914 | 889.717 | 59.787 | 16.7566
2019-07-14 07:15:00 | 6.788 | 221.527 | 7.867 | 218.341 | 7.322 | 223.433 | 6.823 | 221.533 | 17.727 | 889.858 | 56.469 | 14.5602
2019-07-14 07:30:00 | 6.167 | 219.833 | 7.134 | 215.952 | 6.321 | 223.633 | 5.529 | 222.333 | 18.889 | 889.592 | 52.352 | 15.2772
2019-07-14 07:45:00 | 6.183 | 217.567 | 7.925 | 212.634 | 7.161 | 215.6 | 6.785 | 212.033 | 19.998 | 889.85 | 49.248 | 19.2571
2019-07-14 08:00:00 | 6.313 | 222.493 | 8.166 | 217.588 | 8.554 | 219.933 | 8.011 | 214.1 | 19.898 | 890.15 | 50.453 | 23.9326
2019-07-14 08:15:00 | 6.357 | 213.16 | 7.7 | 212.281 | 8.166 | 214.1 | 8.163 | 210.2 | 21.077 | 890 | 45.483 | 20.0579
2019-07-14 08:30:00 | 4.141 | 212.853 | 5.296 | 212.298 | 6.193 | 214.9 | 6.644 | 211.933 | 21.91 | 889.925 | 45.493 | 10.9086
2019-07-14 08:45:00 | 3.911 | 219.453 | 4.577 | 218.185 | 5.443 | 219.9 | 6.006 | 214.6 | 23.114 | 889.758 | 40.939 | 5.3548
2019-07-14 09:00:00 | 3.498 | 236.313 | 3.707 | 230.919 | 3.801 | 233.7 | 3.977 | 226.4 | 23.614 | 889.783 | 37.445 | 2.2532
2019-07-14 09:15:00 | 3.036 | 231.473 | 3 | 229.329 | 3.074 | 235.367 | 3.198 | 227.633 | 25.035 | 889.967 | 34.011 | 1.2499
2019-07-14 09:30:00 | 3.121 | 231.9 | 3.258 | 228.944 | 3.246 | 235.95 | 3.337 | 231.9 | 25.435 | 889.417 | 31.925 | 0.48958
2019-07-14 09:45:00 | 2.507 | 236.147 | 2.577 | 231.331 | 2.636 | 233.133 | 2.815 | 224.467 | 26.744 | 889.633 | 29.093 | 0.14496
2019-07-14 10:00:00 | 0.878 | 260.047 | 0.951 | 247.732 | 1.185 | 251.1 | 1.748 | 243.267 | 26.91 | 889.983 | 26.869 | 0.1073
2019-07-14 10:15:00 | 3.732 | 302.44 | 3.876 | 296.211 | 3.954 | 299.767 | 4.046 | 296.333 | 25.823 | 890.017 | 26.405 | 0.1343
2019-07-14 10:30:00 | 1.586 | 316.453 | 1.318 | 292.454 | 1.593 | 289.283 | 2.419 | 287.85 | 25.956 | 889.483 | 28.368 | 0.17906
2019-07-14 10:45:00 | 1.191 | 246.827 | 1.246 | 236.585 | 1.362 | 223.083 | 1.756 | 152.733 | 27.91 | 889.8 | 24.309 | 0.20038
2019-07-14 11:00:00 | 1.287 | 181.553 | 1.45 | 176.673 | 1.381 | 181.933 | 1.212 | 200 | 27.235 | 890.217 | 23.755 | 0.14638
2019-07-14 11:15:00 | 2.078 | 236.14 | 2.172 | 225.311 | 2.299 | 228.833 | 2.547 | 225.633 | 27.806 | 889.517 | 23.712 | 0.11511
2019-07-14 11:30:00 | 3.908 | 288.293 | 3.69 | 288.387 | 3.629 | 292.733 | 3.702 | 285.4 | 26.918 | 889.783 | 23.595 | 0.30554
2019-07-14 11:45:00 | 0.483 | 54.847 | 0.253 | 36.92 | 0.136 | 72.633 | 0.433 | 220.7 | 27.852 | 889.883 | 23.077 | 0.491
2019-07-14 12:00:00 | 3.089 | 268.027 | 3.444 | 261.44 | 3.582 | 266.85 | 3.578 | 265.867 | 28.873 | 890 | 21.872 | 0.28209
2019-07-14 12:15:00 | 2.201 | 274.713 | 2.132 | 293.617 | 1.825 | 292.4 | 1.752 | 270.067 | 29.714 | 889.917 | 21.683 | 0.29204
2019-07-14 12:30:00 | 1.49 | 188.823 | 1.546 | 214.571 | 1.945 | 219.3 | 1.706 | 225.017 | 28.523 | 889.55 | 21.976 | 0.41497
2019-07-14 12:45:00 | 4.369 | 246.687 | 4.524 | 237.988 | 4.576 | 242.35 | 5.066 | 240.167 | 29.664 | 889.85 | 20.885 | 3.3333
2019-07-14 13:00:00 | 5.648 | 230.107 | 5.945 | 229.999 | 5.856 | 236.833 | 5.794 | 230.5 | 29.548 | 889.367 | 20.816 | 10.2933
2019-07-14 13:15:00 | 3.42 | 204.92 | 3.794 | 209.959 | 3.665 | 221.433 | 4.042 | 222.55 | 29.831 | 889.783 | 20.568 | 6.7156
2019-07-14 13:30:00 | 3.359 | 287.067 | 3.35 | 316.669 | 3.815 | 298.567 | 3.866 | 304.267 | 28.71 | 889.8 | 20.903 | 5.3975
2019-07-14 13:45:00 | 2.531 | 290.88 | 2.674 | 276.41 | 2.753 | 273.65 | 2.957 | 273.867 | 29.214 | 889.633 | 20.028 | 2.4095
2019-07-14 14:00:00 | 4.132 | 276.6 | 4.526 | 269.883 | 4.597 | 263.767 | 4.912 | 265 | 29.264 | 889.233 | 19.815 | 7.7288
2019-07-14 14:15:00 | 2.166 | 241.38 | 2.556 | 228.528 | 2.91 | 227.25 | 3.187 | 217.933 | 30.814 | 888.833 | 18.839 | 6.7149
2019-07-14 14:30:00 | 4.652 | 227.66 | 4.479 | 227.608 | 4.581 | 233.4 | 4.49 | 228.267 | 30.828 | 889.467 | 18.157 | 4.1867
2019-07-14 14:45:00 | 3.206 | 179.483 | 3.56 | 205.374 | 3.375 | 260.317 | 3.882 | 264.4 | 29.994 | 889.3 | 17.919 | 3.0469
2019-07-14 15:00:00 | 3.255 | 271.762 | 3.146 | 305.904 | 2.947 | 274.633 | 2.832 | 322 | 30.773 | 889.567 | 17.872 | 3.5813
2019-07-14 15:15:00 | 4.795 | 256.927 | 5.306 | 257.114 | 5.59 | 260.433 | 5.919 | 255.283 | 31.037 | 889.167 | 17.607 | 3.5933
2019-07-14 15:30:00 | 3.994 | 225.273 | 3.967 | 225.081 | 3.777 | 236.467 | 3.763 | 236.633 | 30.84 | 889.567 | 17.24 | 2.2049
2019-07-14 15:45:00 | 4.702 | 261.399 | 4.694 | 287.964 | 5.005 | 291.367 | 4.612 | 301.533 | 30.889 | 889.467 | 17.396 | 7.2229
2019-07-14 16:00:00 | 2.63 | 217.817 | 3.099 | 225.364 | 3.014 | 231.417 | 2.498 | 231.967 | 31.574 | 889.567 | 15.271 | 6.5642
2019-07-14 16:15:00 | 4.717 | 235.4 | 4.955 | 278.146 | 5.149 | 268 | 5.771 | 308.6 | 30.66 | 889.733 | 14.316 | 14.6789
2019-07-14 16:30:00 | 4.459 | 274.26 | 4.762 | 271.926 | 5.089 | 280.033 | 5.341 | 274.5 | 30.777 | 889.367 | 14.933 | 17.2327
2019-07-14 16:45:00 | 6.266 | 294.24 | 6.295 | 288.948 | 6.166 | 290.5 | 6.342 | 287.733 | 31.374 | 889.267 | 12.981 | 22.056
2019-07-14 17:00:00 | 7.222 | 256.073 | 7.456 | 257.222 | 7.694 | 262.5 | 7.908 | 256.467 | 31.394 | 889.333 | 12.913 | 21.29
2019-07-14 17:15:00 | 3.963 | 299.947 | 4.381 | 292.381 | 4.409 | 299.567 | 4.61 | 298.867 | 31.152 | 889.367 | 12.896 | 17.7947
2019-07-14 17:30:00 | 6.158 | 290.24 | 6.695 | 289.027 | 7.022 | 292.433 | 7.262 | 287.667 | 32.199 | 889.767 | 11.203 | 27.0513
2019-07-14 17:45:00 | 3.462 | 267.607 | 3.68 | 261.93 | 3.771 | 263.5 | 4.11 | 257.433 | 31.717 | 889.333 | 12.016 | 10.6777
2019-07-14 18:00:00 | 7.104 | 295.307 | 7.704 | 290.007 | 7.792 | 293.467 | 8.157 | 290.167 | 31.764 | 889.633 | 10.819 | 30.2446
2019-07-14 18:15:00 | 5.004 | 306.933 | 5.393 | 301.418 | 5.598 | 304.067 | 5.689 | 301 | 31.503 | 889.733 | 11.073 | 17.5702
2019-07-14 18:30:00 | 6.928 | 276.6 | 6.953 | 278.729 | 7.121 | 285.967 | 7.338 | 283.6 | 31.978 | 889.833 | 11.844 | 21.5394
2019-07-14 18:45:00 | 5.236 | 285.967 | 5.692 | 281.843 | 5.685 | 283.583 | 6.078 | 276.583 | 32.013 | 889.533 | 11.487 | 31.6351
2019-07-14 19:00:00 | 6.886 | 280.013 | 7.129 | 281.561 | 7.323 | 284.6 | 7.495 | 280.967 | 31.458 | 889.733 | 11.756 | 32.5354
2019-07-14 19:15:00 | 9.706 | 299.68 | 10.371 | 296.378 | 10.464 | 302.4 | 10.926 | 299.633 | 31.405 | 889.067 | 11.788 | 44.7693
2019-07-14 19:30:00 | 7.324 | 293.587 | 7.816 | 292.497 | 7.94 | 298.3 | 8.397 | 297 | 31.757 | 889.767 | 11.936 | 43.2316
2019-07-14 19:45:00 | 8.498 | 275.827 | 9.254 | 276.733 | 9.364 | 281.567 | 9.742 | 278.033 | 31.388 | 889.867 | 11.404 | 41.4168
2019-07-14 20:00:00 | 5.752 | 302.973 | 6.05 | 298.055 | 5.894 | 301.6 | 6.234 | 302.533 | 31.17 | 889.667 | 11.303 | 22.5761
2019-07-14 20:15:00 | 8.549 | 296.853 | 9.242 | 293.37 | 9.203 | 298.067 | 9.736 | 294.033 | 30.948 | 889.667 | 11.083 | 36.3206
2019-07-14 20:30:00 | 7.746 | 307.107 | 8.418 | 304.255 | 8.783 | 309.367 | 8.999 | 308.267 | 30.648 | 889.433 | 11.62 | 45.3548
2019-07-14 20:45:00 | 7.83 | 291.533 | 8.765 | 289.156 | 9.099 | 293.367 | 9.462 | 290.033 | 30.76 | 889.7 | 11.727 | 47.8297
2019-07-14 21:00:00 | 6.444 | 301.333 | 7.11 | 297.287 | 7.225 | 302.3 | 7.545 | 298.833 | 30.468 | 889.467 | 11.817 | 31.0255
2019-07-14 21:15:00 | 6.54 | 300.227 | 7.329 | 296.144 | 7.732 | 301.567 | 8.141 | 298.033 | 29.814 | 889.7 | 12.756 | 34.0958
2019-07-14 21:30:00 | 5.821 | 310.627 | 6.701 | 305.338 | 7.17 | 311.5 | 7.799 | 310.167 | 29.598 | 889.567 | 13.82 | 31.4696
2019-07-14 21:45:00 | 5.482 | 307 | 6.258 | 307.273 | 6.673 | 312.433 | 7.09 | 311.633 | 29.048 | 889.6 | 14.211 | 26.033
2019-07-14 22:00:00 | 5.361 | 291.8 | 6.858 | 292.024 | 7.574 | 299.9 | 8.225 | 300.067 | 29.098 | 889.633 | 14.364 | 23.384
2019-07-14 22:15:00 | 4.47 | 289.293 | 5.566 | 288.089 | 5.88 | 292.6 | 6.297 | 291.967 | 28.431 | 890.033 | 15.001 | 14.4806
2019-07-14 22:30:00 | 3.241 | 284.16 | 4.337 | 285.41 | 4.564 | 291.6 | 4.963 | 292.467 | 28.044 | 889.6 | 16.169 | 6.1912
2019-07-14 22:45:00 | 2.731 | 275.36 | 3.224 | 282.989 | 3.21 | 290.333 | 3.834 | 290.4 | 27.648 | 889.633 | 16.923 | 2.8224
2019-07-14 23:00:00 | 2.368 | 275.827 | 2.82 | 287.224 | 3.048 | 296.2 | 3.657 | 296.333 | 27.339 | 889.567 | 17.24 | 1.2193
2019-07-14 23:15:00 | 3.493 | 250.2 | 3.143 | 268.425 | 3.074 | 280.333 | 3.523 | 290.3 | 26.714 | 889.55 | 20.199 | 1.0978
2019-07-14 23:30:00 | 3.132 | 261.773 | 3.157 | 280.809 | 3.192 | 288.267 | 3.621 | 290.5 | 25.939 | 889.783 | 21.223 | 1.4339
2019-07-14 23:45:00 | 3.495 | 257.927 | 3.72 | 287.26 | 3.802 | 297.4 | 4.405 | 300.667 | 25.364 | 889.85 | 25.392 | 3.5315