## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-15 00:00:00 | 3.556 | 251.507 | 3.563 | 278.28 | 3.372 | 288.3 | 3.78 | 294.9 | 24.094 | 889.633 | 27.568 | 4.181
2019-07-15 00:15:00 | 3.292 | 289.653 | 3.831 | 300.66 | 3.892 | 308.8 | 4.216 | 308 | 26.023 | 889.533 | 20.701 | 3.0199
2019-07-15 00:30:00 | 4.118 | 252.273 | 3.584 | 281.415 | 3.563 | 295.5 | 3.808 | 296 | 25.373 | 889.633 | 23.195 | 3.1862
2019-07-15 00:45:00 | 3.749 | 244.44 | 3.817 | 272.208 | 3.598 | 283.467 | 3.905 | 288.933 | 23.914 | 889.817 | 27.859 | 2.9446
2019-07-15 01:00:00 | 3.891 | 265.8 | 5.626 | 290.683 | 5.816 | 306.9 | 6.196 | 309.767 | 23.231 | 889.567 | 29.968 | 9.8314
2019-07-15 01:15:00 | 4.349 | 267.153 | 5.423 | 288.991 | 5.612 | 301.967 | 5.536 | 303.167 | 23.602 | 889.467 | 28.133 | 8.2397
2019-07-15 01:30:00 | 4.137 | 259.173 | 4.631 | 284.71 | 4.546 | 301.8 | 4.733 | 307.6 | 22.964 | 889.833 | 29.44 | 3.6381
2019-07-15 01:45:00 | 3.353 | 273.147 | 3.369 | 294.121 | 3.341 | 310.067 | 3.791 | 317.133 | 23.231 | 889.333 | 28.632 | 0.874
2019-07-15 02:00:00 | 2.856 | 258.513 | 2.922 | 295.113 | 3.009 | 315.167 | 3.405 | 323.1 | 22.914 | 889.333 | 31.173 | 0.53861
2019-07-15 02:15:00 | 2.52 | 249.7 | 2.58 | 293.004 | 2.404 | 317.8 | 2.944 | 325.567 | 22.514 | 889.983 | 34.232 | 0.55069
2019-07-15 02:30:00 | 3.835 | 243.64 | 2.796 | 272.208 | 2.283 | 292.467 | 2.68 | 306.933 | 21.831 | 889.883 | 35.096 | 0.19612
2019-07-15 02:45:00 | 4.28 | 240.967 | 3.21 | 268.019 | 2.656 | 285.2 | 2.786 | 297.833 | 21.702 | 889.583 | 36.725 | 0.28778
2019-07-15 03:00:00 | 3.733 | 224.213 | 3.203 | 249.591 | 2.128 | 271.867 | 2.114 | 289.367 | 20.927 | 889.483 | 38.573 | 0.25296
2019-07-15 03:15:00 | 4.154 | 228.027 | 3.31 | 255.092 | 2.59 | 273.667 | 2.706 | 283.2 | 21.056 | 889.667 | 39.347 | 0.51445
2019-07-15 03:30:00 | 5.575 | 222.873 | 6.08 | 229.349 | 4.637 | 245.233 | 3.927 | 251.067 | 20.981 | 890.033 | 40.112 | 5.8693
2019-07-15 03:45:00 | 5.262 | 227.693 | 5.468 | 233.986 | 4.835 | 243.1 | 4.384 | 243.167 | 21.639 | 890 | 39.925 | 5.9553
2019-07-15 04:00:00 | 4.02 | 230.027 | 5.154 | 237.965 | 4.522 | 250.233 | 4.335 | 248.167 | 21.485 | 889.625 | 40.773 | 6.8882
2019-07-15 04:15:00 | 5.369 | 248.633 | 7.055 | 250.974 | 6.872 | 259.533 | 6.438 | 259.817 | 21.281 | 889.467 | 40.256 | 14.956
2019-07-15 04:30:00 | 4.956 | 241.347 | 4.325 | 250.46 | 4.126 | 264.533 | 4.364 | 261.767 | 20.944 | 889.992 | 40.72 | 6.4591
2019-07-15 04:45:00 | 4.233 | 220.413 | 2.945 | 237.492 | 2.881 | 248.233 | 3.401 | 245.3 | 21.214 | 889.208 | 41.397 | 1.8539
2019-07-15 05:00:00 | 5.364 | 217.993 | 4.645 | 227.618 | 3.886 | 234.133 | 3.614 | 237 | 20.36 | 890.042 | 43.136 | 3.7568
2019-07-15 05:15:00 | 5.06 | 231.427 | 6.17 | 235.357 | 5.53 | 244.967 | 4.99 | 242.033 | 20.002 | 889.75 | 43.467 | 8.2021
2019-07-15 05:30:00 | 4.425 | 233.18 | 5.446 | 244.912 | 4.941 | 253.5 | 4.732 | 249.833 | 20.089 | 889.908 | 44.085 | 4.6947
2019-07-15 05:45:00 | 4.924 | 243.307 | 4.247 | 259.766 | 3.662 | 276.133 | 3.815 | 279.167 | 19.823 | 889.917 | 42.368 | 3.8506
2019-07-15 06:00:00 | 5.128 | 249.94 | 5.205 | 269.282 | 4.473 | 280.2 | 4.442 | 285.333 | 20.06 | 890.117 | 42.48 | 6.2942
2019-07-15 06:15:00 | 5.113 | 243.31 | 5.518 | 256.496 | 5.007 | 267.379 | 5.022 | 269.828 | 20.087 | 889.647 | 41.892 | 9.1798
2019-07-15 06:30:00 | 5.991 | 242.64 | 6.322 | 253.537 | 5.9 | 266.933 | 6.021 | 267.333 | 20.235 | 889.942 | 42.208 | 15.2196
2019-07-15 06:45:00 | 5.383 | 254.06 | 6.602 | 268.046 | 6.811 | 276.5 | 7.379 | 273.567 | 20.473 | 889.783 | 40.269 | 25.9705
2019-07-15 07:00:00 | 5.29 | 256.16 | 7.181 | 268.635 | 7.567 | 275.933 | 8.025 | 272.067 | 21.314 | 889.983 | 38.624 | 35.1496
2019-07-15 07:15:00 | 7.251 | 247.173 | 8.78 | 263.294 | 9.347 | 267.8 | 9.711 | 265.6 | 22.594 | 889.733 | 36.939 | 50.878
2019-07-15 07:30:00 | 7.488 | 249.033 | 8.736 | 263.085 | 9.123 | 269.733 | 9.763 | 266.067 | 23.414 | 889.95 | 35.827 | 41.1965
2019-07-15 07:45:00 | 5.065 | 257.667 | 6.106 | 266.165 | 6.38 | 270.367 | 6.744 | 266.3 | 23.248 | 889.3 | 35.853 | 21.597
2019-07-15 08:00:00 | 5.74 | 259.073 | 6.218 | 262.54 | 6.328 | 268.133 | 6.428 | 265.267 | 24.064 | 889.75 | 34.392 | 15.3568
2019-07-15 08:15:00 | 5.539 | 267.953 | 6.131 | 269.394 | 6.345 | 274 | 6.66 | 269.767 | 24.202 | 889.683 | 35.347 | 11.8558
2019-07-15 08:30:00 | 4.958 | 287.953 | 5.214 | 286.48 | 5.378 | 289.733 | 5.848 | 287.033 | 23.868 | 889.717 | 34.371 | 8.9993
2019-07-15 08:45:00 | 6.307 | 268.96 | 6.462 | 275.515 | 6.572 | 280.067 | 6.98 | 276.433 | 24.485 | 889.933 | 32.371 | 12.2999
2019-07-15 09:00:00 | 6.006 | 277.193 | 6.488 | 280.9 | 6.656 | 284.6 | 6.898 | 282.867 | 24.627 | 889.95 | 31.699 | 17.465
2019-07-15 09:15:00 | 6.366 | 297.333 | 6.63 | 292.388 | 6.794 | 299.767 | 7.367 | 295.2 | 25.089 | 889.967 | 30.083 | 22.8106
2019-07-15 09:30:00 | 5.721 | 275.747 | 6.091 | 281.051 | 6.141 | 285.967 | 6.437 | 283.4 | 25.285 | 889.717 | 29.443 | 21.1166
2019-07-15 09:45:00 | 5.668 | 268.84 | 5.959 | 270.039 | 6.256 | 274.283 | 6.57 | 270.083 | 25.156 | 889.633 | 30.168 | 18.5792
2019-07-15 10:00:00 | 5.455 | 282.687 | 5.79 | 283.975 | 5.765 | 287.467 | 5.964 | 282.933 | 25.118 | 890 | 29.637 | 11.4366
2019-07-15 10:15:00 | 5.11 | 309.44 | 5.725 | 305.066 | 5.952 | 309.9 | 6.324 | 308.367 | 24.777 | 889.767 | 30.584 | 6.1052
2019-07-15 10:30:00 | 1.808 | 299.333 | 2.097 | 297.643 | 2.298 | 301.1 | 2.733 | 295.867 | 25.056 | 889.95 | 30.197 | 1.3671
2019-07-15 10:45:00 | 0.746 | 224.267 | 0.29 | 229.734 | 0.163 | 238.533 | 0.729 | 232.333 | 25.139 | 889.733 | 29.781 | 0.14851
2019-07-15 11:00:00 | 2.386 | 227.673 | 2.337 | 225.65 | 2.282 | 231.333 | 1.951 | 227.133 | 26.031 | 889.4 | 29.045 | 0.35315
2019-07-15 11:15:00 | 2.665 | 249.76 | 2.746 | 248.26 | 2.988 | 251.25 | 3.209 | 244 | 26.227 | 889.8 | 27.995 | 1.3295
2019-07-15 11:30:00 | 2.866 | 213.867 | 2.914 | 218.934 | 2.64 | 231.167 | 2.511 | 238.3 | 26.514 | 889.867 | 26.296 | 1.122
2019-07-15 11:45:00 | 3.431 | 317.187 | 3.564 | 312.713 | 3.467 | 317.4 | 3.85 | 315 | 26.123 | 889.817 | 24.368 | 1.9889
2019-07-15 12:00:00 | 2.957 | 310.733 | 2.94 | 304.236 | 3.064 | 311.7 | 3.352 | 302.9 | 26.068 | 889.4 | 24.939 | 3.6751
2019-07-15 12:15:00 | 3.881 | 306.56 | 4.009 | 301.174 | 3.831 | 305.033 | 4.096 | 302.833 | 26.114 | 890.067 | 26.568 | 3.6239
2019-07-15 12:30:00 | 2.805 | 288.26 | 3.045 | 282.643 | 3.078 | 286.5 | 3.434 | 286.467 | 25.898 | 889.833 | 25.488 | 2.099
2019-07-15 12:45:00 | 2.648 | 252.687 | 2.692 | 253.443 | 2.433 | 258.567 | 2.554 | 253.433 | 25.86 | 889.833 | 26.659 | 0.23449
2019-07-15 13:00:00 | 2.757 | 201.787 | 2.699 | 205.959 | 2.696 | 210.7 | 2.758 | 211.367 | 26.21 | 889.533 | 26.117 | 0.21246
2019-07-15 13:15:00 | 2.36 | 212.08 | 2.423 | 205.957 | 2.679 | 209.767 | 2.951 | 204.2 | 25.994 | 889.35 | 26 | 0.54216
2019-07-15 13:30:00 | 2.711 | 223.1 | 2.736 | 217.894 | 2.901 | 220.067 | 3.07 | 213.4 | 26.41 | 889.9 | 25.579 | 1.5647
2019-07-15 13:45:00 | 3.65 | 217.48 | 3.968 | 214.919 | 4.135 | 218.233 | 4.451 | 213.933 | 26.748 | 889.483 | 24.805 | 3.0753
2019-07-15 14:00:00 | 4.174 | 211.447 | 4.588 | 207.516 | 4.642 | 210.7 | 4.606 | 207.133 | 27.306 | 889.317 | 24.901 | 3.361
2019-07-15 14:15:00 | 4.119 | 217.213 | 4.31 | 214.534 | 4.407 | 217.2 | 4.598 | 213.967 | 27.752 | 889.717 | 24.293 | 3.4455
2019-07-15 14:30:00 | 3.905 | 221.64 | 3.871 | 217.49 | 4.053 | 221.167 | 3.998 | 215.867 | 27.844 | 889.967 | 23.557 | 7.0154
2019-07-15 14:45:00 | 4.883 | 221.027 | 4.965 | 216.246 | 4.929 | 219.8 | 5.012 | 214.533 | 28.373 | 889.7 | 22.384 | 10.3011
2019-07-15 15:00:00 | 5.189 | 205.433 | 5.139 | 204.825 | 5.252 | 208.167 | 5.602 | 204.367 | 28.406 | 890.033 | 22.256 | 10.1313
2019-07-15 15:15:00 | 5.307 | 204.38 | 5.348 | 202.722 | 5.453 | 206.9 | 5.862 | 202.2 | 28.652 | 889.6 | 22.272 | 10.6471
2019-07-15 15:30:00 | 4.683 | 194.847 | 4.792 | 196.85 | 4.996 | 203.667 | 5.121 | 200.267 | 28.635 | 889.717 | 21.643 | 9.5443
2019-07-15 15:45:00 | 6.221 | 198.493 | 6.399 | 198.024 | 6.652 | 203.067 | 6.809 | 199.933 | 28.931 | 889.983 | 21.771 | 10.0282
2019-07-15 16:00:00 | 5.198 | 220.967 | 5.291 | 219.825 | 5.399 | 222.1 | 5.664 | 212.233 | 29.014 | 889.65 | 21.269 | 12.8073
2019-07-15 16:15:00 | 5.552 | 214.733 | 5.73 | 214.284 | 5.823 | 220.8 | 5.95 | 216.167 | 29.481 | 889.433 | 20.317 | 13.5555
2019-07-15 16:30:00 | 6.212 | 242 | 6.716 | 236.635 | 6.931 | 239.283 | 7.095 | 231.817 | 30.189 | 889.7 | 18.829 | 18.1749
2019-07-15 16:45:00 | 6.518 | 215.013 | 6.706 | 213.629 | 6.914 | 219.4 | 7.235 | 213.633 | 30.339 | 889.467 | 19.443 | 27.9146
2019-07-15 17:00:00 | 7.578 | 214.44 | 7.614 | 212.684 | 7.906 | 217 | 8.082 | 211.067 | 30.531 | 889.5 | 19.515 | 22.952
2019-07-15 17:15:00 | 5.749 | 199.407 | 6.406 | 197.42 | 6.538 | 201.867 | 6.728 | 199.367 | 30.502 | 889.433 | 18.885 | 20.8864
2019-07-15 17:30:00 | 5.809 | 227.187 | 5.892 | 223.167 | 6.058 | 226.75 | 6.245 | 219.45 | 30.406 | 889.067 | 19.035 | 18.005
2019-07-15 17:45:00 | 6.245 | 226.573 | 6.379 | 221.559 | 6.536 | 223.467 | 7.008 | 215.533 | 30.064 | 889.7 | 19.336 | 22.3772
2019-07-15 18:00:00 | 5.275 | 217.113 | 5.569 | 214.866 | 5.787 | 216.567 | 6.073 | 209.867 | 29.631 | 889.5 | 20.288 | 13.9285
2019-07-15 18:15:00 | 5.042 | 210.573 | 5.433 | 207.281 | 5.611 | 211.967 | 5.918 | 206.333 | 28.931 | 889.767 | 20.811 | 13.7324
2019-07-15 18:30:00 | 5.51 | 236.433 | 6.014 | 237.675 | 5.948 | 240.767 | 6.057 | 235.75 | 29.264 | 889.833 | 20.8 | 14.2561
2019-07-15 18:45:00 | 5.268 | 233.693 | 5.402 | 229.467 | 5.495 | 233.5 | 5.504 | 227.967 | 29.631 | 889.617 | 20.736 | 19.6386
2019-07-15 19:00:00 | 6.014 | 224.533 | 6.225 | 222.98 | 6.394 | 225.833 | 6.371 | 221.067 | 29.281 | 889.717 | 20.955 | 32.8786
2019-07-15 19:15:00 | 6.33 | 209.893 | 7.07 | 208.416 | 7.336 | 211 | 7.791 | 205.633 | 28.527 | 890.133 | 22.901 | 41.782
2019-07-15 19:30:00 | 6.424 | 216.467 | 7.005 | 216.691 | 7.242 | 217.833 | 7.398 | 212.833 | 28.964 | 889.6 | 24.053 | 50.4581
2019-07-15 19:45:00 | 8.433 | 200.287 | 9.213 | 196.781 | 9.8 | 198.6 | 10.656 | 194.333 | 28.277 | 889.633 | 27.349 | 63.3868
2019-07-15 20:00:00 | 6.845 | 215.72 | 7.837 | 211.38 | 8.359 | 213.933 | 8.736 | 208.433 | 27.648 | 889.783 | 26.176 | 67.9082
2019-07-15 20:15:00 | 10.253 | 198.947 | 11.024 | 194.508 | 11.292 | 197.8 | 11.754 | 194.133 | 27.598 | 889.667 | 26.853 | 60.7442
2019-07-15 20:30:00 | 10.635 | 199.127 | 11.245 | 195.941 | 11.502 | 198.467 | 12.063 | 193.6 | 27.281 | 889.517 | 25.515 | 60.8252
2019-07-15 20:45:00 | 9.71 | 200.8 | 10.541 | 197.374 | 11.086 | 199.333 | 11.731 | 194.1 | 27.16 | 890.35 | 25.573 | 51.5907
2019-07-15 21:00:00 | 7.392 | 197.82 | 8.016 | 193.433 | 7.974 | 196.067 | 8.405 | 191.867 | 26.76 | 890.05 | 27.808 | 42.4748
2019-07-15 21:15:00 | 8.809 | 188.693 | 9.667 | 185.324 | 9.92 | 191.067 | 10.307 | 187.033 | 26.398 | 889.833 | 27.696 | 39.7981
2019-07-15 21:30:00 | 7.372 | 202.56 | 8.412 | 198.175 | 9.243 | 201.9 | 10.035 | 195.433 | 26.344 | 890.167 | 28.987 | 46.4213
2019-07-15 21:45:00 | 7.354 | 206.04 | 8.067 | 203.607 | 8.828 | 206.1 | 9.409 | 201.433 | 25.964 | 889.917 | 29.003 | 47.7252
2019-07-15 22:00:00 | 8.374 | 208.38 | 8.983 | 204.58 | 9.275 | 208.3 | 9.58 | 205.7 | 25.91 | 890.083 | 28.955 | 32.917
2019-07-15 22:15:00 | 6.188 | 217.32 | 6.948 | 214.548 | 7.507 | 217.667 | 7.879 | 212.6 | 26.01 | 890.083 | 28.917 | 41.6804
2019-07-15 22:30:00 | 5.43 | 213.127 | 5.942 | 211.834 | 6.612 | 214.9 | 7.316 | 211.767 | 25.989 | 889.467 | 29.376 | 52.9422
2019-07-15 22:45:00 | 6.954 | 211.267 | 8.126 | 209.583 | 9.1 | 212.767 | 9.974 | 208.533 | 25.714 | 889.8 | 30.437 | 52.1634
2019-07-15 23:00:00 | 7.762 | 212.267 | 9.139 | 211.778 | 9.99 | 213.333 | 10.521 | 210 | 25.139 | 889.6 | 31.056 | 48.4216
2019-07-15 23:15:00 | 6.619 | 218.067 | 8.146 | 213.791 | 9.309 | 218.367 | 9.94 | 214.067 | 25.002 | 889.8 | 31.029 | 52.3411
2019-07-15 23:30:00 | 5.907 | 208.4 | 7.282 | 205.578 | 8.389 | 208.233 | 9.151 | 205.233 | 24.902 | 889.367 | 32.587 | 49.6935
2019-07-15 23:45:00 | 6.186 | 213.893 | 7.362 | 211.741 | 8.135 | 213.667 | 8.884 | 210.033 | 24.618 | 889.6 | 34.096 | 42.7235