## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-16 00:00:00 | 6.262 | 215.787 | 7.661 | 213.604 | 8.366 | 218.033 | 8.915 | 213.933 | 24.131 | 889.7 | 34.603 | 35.4651
2019-07-16 00:15:00 | 5.722 | 218.18 | 7.013 | 217.827 | 7.705 | 223.633 | 8.016 | 220.8 | 24.135 | 889.533 | 34.885 | 33.6922
2019-07-16 00:30:00 | 5.108 | 224.313 | 6.351 | 223.671 | 7.067 | 231.233 | 7.538 | 228.467 | 23.948 | 889.4 | 34.587 | 27.7725
2019-07-16 00:45:00 | 4.786 | 223.267 | 6.061 | 220.889 | 6.48 | 228.367 | 6.833 | 225.9 | 24.239 | 889.9 | 34.261 | 24.209
2019-07-16 01:00:00 | 4.701 | 228.24 | 5.751 | 229.444 | 6.344 | 238.8 | 6.482 | 234.5 | 24.068 | 889.75 | 35.045 | 23.8857
2019-07-16 01:15:00 | 4.878 | 234.853 | 5.859 | 235.047 | 6.177 | 244.3 | 6.344 | 240.333 | 23.96 | 889.667 | 33.509 | 21.9423
2019-07-16 01:30:00 | 4.898 | 232.58 | 5.625 | 233.179 | 6.058 | 240.5 | 6.166 | 236.633 | 24.202 | 889.633 | 33.467 | 18.2985
2019-07-16 01:45:00 | 4.532 | 231.553 | 5.362 | 233.378 | 5.746 | 240.833 | 5.934 | 238.233 | 23.927 | 890.083 | 33.872 | 20.0245
2019-07-16 02:00:00 | 4.859 | 227.38 | 5.746 | 228.718 | 5.923 | 236.433 | 5.98 | 232.633 | 23.731 | 890.183 | 33.739 | 23.0849
2019-07-16 02:15:00 | 5.392 | 226.54 | 6.151 | 226.724 | 6.283 | 233.1 | 6.363 | 229.567 | 23.652 | 889.783 | 34.229 | 24.7853
2019-07-16 02:30:00 | 5.147 | 224.367 | 6.23 | 224.681 | 6.729 | 230.6 | 6.961 | 227.367 | 23.748 | 889.95 | 35.003 | 26.74
2019-07-16 02:45:00 | 5.701 | 224.927 | 6.757 | 224.309 | 7.395 | 229.9 | 7.513 | 225.533 | 23.564 | 889.85 | 35.888 | 28.9279
2019-07-16 03:00:00 | 5.63 | 231.947 | 6.722 | 229.198 | 7.127 | 234.9 | 7.168 | 231.167 | 23.248 | 889.983 | 36.288 | 29.7791
2019-07-16 03:15:00 | 5.947 | 231.66 | 6.934 | 229.643 | 7.348 | 236.633 | 7.337 | 232.2 | 23.164 | 889.867 | 36.709 | 33.4037
2019-07-16 03:30:00 | 5.517 | 232.667 | 6.38 | 233.242 | 7.098 | 238.467 | 7.41 | 235.633 | 22.848 | 889.7 | 36.997 | 31.8114
2019-07-16 03:45:00 | 5.538 | 229.467 | 6.594 | 228.86 | 7.025 | 235.733 | 7.22 | 231.5 | 22.848 | 889.317 | 37.264 | 33.85
2019-07-16 04:00:00 | 6.048 | 225.493 | 7.068 | 224.167 | 7.79 | 229.967 | 8.034 | 225.667 | 22.981 | 889.467 | 37.408 | 35.8047
2019-07-16 04:15:00 | 6.258 | 225.873 | 7.383 | 225.694 | 8.035 | 231.9 | 8.109 | 227.9 | 23.131 | 889.583 | 37.419 | 38.2811
2019-07-16 04:30:00 | 6.515 | 225.1 | 7.727 | 224.515 | 8.34 | 230.367 | 8.534 | 225.4 | 22.931 | 889.6 | 37.248 | 36.926
2019-07-16 04:45:00 | 6.065 | 227.707 | 7.268 | 226.356 | 7.934 | 232.033 | 8.216 | 227.7 | 22.714 | 889.033 | 37.211 | 30.6702
2019-07-16 05:00:00 | 5.654 | 227.32 | 6.909 | 226.953 | 7.563 | 232.633 | 7.786 | 227.9 | 22.302 | 889.633 | 37.973 | 27.7753
2019-07-16 05:15:00 | 5.648 | 225.787 | 6.815 | 226.414 | 7.535 | 231.967 | 7.821 | 227.8 | 22.318 | 890.3 | 38.859 | 26.6804
2019-07-16 05:30:00 | 5.891 | 214.147 | 7.363 | 216.58 | 7.808 | 222.2 | 7.887 | 218.9 | 22.135 | 889.65 | 39.856 | 26.9035
2019-07-16 05:45:00 | 5.563 | 215.847 | 7.091 | 217.656 | 7.413 | 223.033 | 7.465 | 219.7 | 21.61 | 889.708 | 41.472 | 25.3381
2019-07-16 06:00:00 | 4.955 | 225.267 | 6.695 | 221.735 | 7.233 | 227.267 | 7.248 | 223.1 | 20.744 | 889.975 | 42.635 | 24.943
2019-07-16 06:15:00 | 5.472 | 222.833 | 7.337 | 221.14 | 7.334 | 225.867 | 7.504 | 222.233 | 20.477 | 890.025 | 43.541 | 28.3878
2019-07-16 06:30:00 | 5.575 | 228.267 | 7.25 | 227.219 | 7.633 | 234.567 | 7.749 | 230.833 | 20.627 | 889.942 | 43.509 | 29.4302
2019-07-16 06:45:00 | 5.101 | 227.087 | 7.02 | 225.784 | 7.765 | 233.867 | 7.793 | 230.667 | 20.227 | 890.017 | 44.32 | 28.1178
2019-07-16 07:00:00 | 5.046 | 225.373 | 7.019 | 224.672 | 7.689 | 232.167 | 7.709 | 228.733 | 19.944 | 889.75 | 44.363 | 30.241
2019-07-16 07:15:00 | 5.401 | 215.287 | 7.228 | 214.665 | 8.334 | 219.967 | 8.227 | 218.133 | 20.381 | 889.842 | 43.467 | 40.9556
2019-07-16 07:30:00 | 6.479 | 215.673 | 8.263 | 213.663 | 9.302 | 216.467 | 9.473 | 212.333 | 20.81 | 889.9 | 41.349 | 45.369
2019-07-16 07:45:00 | 7.562 | 214.52 | 8.743 | 214.245 | 9.765 | 216.9 | 10.376 | 212.767 | 22.698 | 889.65 | 37.723 | 41.2655
2019-07-16 08:00:00 | 7.691 | 217.96 | 8.46 | 213.653 | 8.915 | 216.5 | 9.483 | 211.667 | 23.448 | 889.7 | 36.027 | 34.9137
2019-07-16 08:15:00 | 7.049 | 213.12 | 7.369 | 208.467 | 7.786 | 211.567 | 8.1 | 208.2 | 24.181 | 889.533 | 34.603 | 32.318
2019-07-16 08:30:00 | 6.604 | 216.54 | 6.752 | 214.237 | 7.026 | 216.533 | 7.036 | 211.333 | 24.594 | 889.933 | 33.584 | 26.2085
2019-07-16 08:45:00 | 6.951 | 215.553 | 7.256 | 213.265 | 7.65 | 215.933 | 7.711 | 213.133 | 25.314 | 889.733 | 32.539 | 25.277
2019-07-16 09:00:00 | 6.119 | 213.76 | 6.606 | 212.442 | 6.973 | 214.3 | 6.925 | 211.167 | 25.685 | 889.8 | 31.877 | 20.8047
2019-07-16 09:15:00 | 5.974 | 212.713 | 6.26 | 211.714 | 6.337 | 217.067 | 6.629 | 215.1 | 25.827 | 889.7 | 31.381 | 19.9911
2019-07-16 09:30:00 | 4.209 | 231.973 | 4.502 | 230.76 | 4.864 | 233.933 | 4.995 | 228.633 | 26.381 | 889.95 | 30.053 | 16.1149
2019-07-16 09:45:00 | 5.25 | 255.373 | 5.488 | 258.34 | 5.492 | 265.817 | 5.716 | 261.933 | 26.268 | 889.85 | 29.373 | 12.857
2019-07-16 10:00:00 | 4.802 | 273.307 | 5.087 | 274.467 | 5.113 | 275.2 | 5.384 | 270.4 | 26.573 | 889.7 | 29.267 | 12.9302
2019-07-16 10:15:00 | 5.848 | 258.96 | 6.289 | 261.604 | 6.266 | 266.35 | 6.336 | 265.7 | 27.344 | 889.883 | 27.501 | 11.9262
2019-07-16 10:30:00 | 5.966 | 280.18 | 6.184 | 284.812 | 6.233 | 289.433 | 6.379 | 285.2 | 26.623 | 889.683 | 28.475 | 16.9264
2019-07-16 10:45:00 | 3.525 | 276.667 | 3.743 | 302.41 | 3.573 | 303.933 | 3.698 | 242.383 | 25.935 | 889.867 | 28.741 | 12.6495
2019-07-16 11:00:00 | 5.148 | 286 | 5.335 | 285.361 | 5.537 | 292.833 | 5.855 | 292.7 | 26.739 | 889.567 | 27.528 | 15.9096
2019-07-16 11:15:00 | 5.078 | 279.5 | 5.432 | 284.492 | 5.53 | 290.033 | 6.08 | 289.067 | 26.977 | 890.217 | 27.808 | 11.2476
2019-07-16 11:30:00 | 4.086 | 258.14 | 4.281 | 258.934 | 4.298 | 268.7 | 4.21 | 266.583 | 27.881 | 889.383 | 26.373 | 9.5408
2019-07-16 11:45:00 | 4.012 | 295.913 | 4.424 | 291.594 | 4.53 | 296.8 | 4.945 | 292.5 | 26.981 | 889.783 | 26.413 | 13.294
2019-07-16 12:00:00 | 5.881 | 291.467 | 6.342 | 293.309 | 6.519 | 300.233 | 6.747 | 299.667 | 27.544 | 889.733 | 26.309 | 10.1007
2019-07-16 12:15:00 | 3.754 | 316.653 | 3.695 | 309.896 | 3.67 | 312.633 | 4.025 | 311.867 | 27.264 | 889.767 | 25.165 | 8.465
2019-07-16 12:30:00 | 5.029 | 286.3 | 5.783 | 282.372 | 5.514 | 283.967 | 5.424 | 281.2 | 28.827 | 890 | 22.485 | 7.5334
2019-07-16 12:45:00 | 4.842 | 296.32 | 5.352 | 296.52 | 5.461 | 305.967 | 5.788 | 302.25 | 28.898 | 889.967 | 21.741 | 8.6327
2019-07-16 13:00:00 | 5.558 | 293.573 | 5.682 | 289.736 | 5.642 | 292.6 | 5.92 | 289.133 | 28.231 | 889.55 | 22.872 | 8.1601
2019-07-16 13:15:00 | 5.941 | 313.473 | 6.485 | 310.273 | 6.462 | 311.867 | 6.569 | 309.1 | 28.477 | 889.667 | 22.803 | 6.6474
2019-07-16 13:30:00 | 5.408 | 269.907 | 5.426 | 269.692 | 5.501 | 274.833 | 5.533 | 269.083 | 28.535 | 889.417 | 22.291 | 6.9792
2019-07-16 13:45:00 | 4.835 | 254.787 | 4.674 | 259.071 | 4.855 | 258.933 | 5.185 | 251.083 | 29.248 | 889.3 | 21.619 | 8.0735
2019-07-16 14:00:00 | 4.386 | 273.073 | 4.485 | 266.597 | 4.708 | 269.5 | 4.979 | 261.433 | 29.498 | 889.75 | 21.053 | 11.6533
2019-07-16 14:15:00 | 4.691 | 258.713 | 4.812 | 258.723 | 4.779 | 262.517 | 4.788 | 257.9 | 29.548 | 889.6 | 20.444 | 12.2772
2019-07-16 14:30:00 | 6.035 | 299.96 | 6.491 | 299.231 | 6.793 | 302.633 | 6.909 | 297.633 | 29.114 | 890.25 | 21.408 | 11.632
2019-07-16 14:45:00 | 5.196 | 270.8 | 5.638 | 264.362 | 6.015 | 269.933 | 6.099 | 266.183 | 30.173 | 889.783 | 20.728 | 11.8302
2019-07-16 15:00:00 | 4.929 | 236.667 | 5.219 | 236.832 | 5.365 | 243.4 | 5.411 | 239.8 | 30.164 | 889.783 | 20.355 | 12.8378
2019-07-16 15:15:00 | 6.733 | 296.547 | 7.344 | 290.88 | 7.37 | 296.067 | 7.604 | 291.9 | 29.631 | 889.933 | 21.323 | 15.457
2019-07-16 15:30:00 | 3.434 | 274.281 | 3.569 | 325.203 | 3.697 | 327.233 | 3.903 | 334.033 | 29.481 | 889.933 | 21.021 | 13.4958
2019-07-16 15:45:00 | 6.035 | 281.707 | 6.172 | 281.207 | 6.622 | 286.383 | 6.811 | 284.633 | 30.431 | 889.533 | 19.885 | 16.4006
2019-07-16 16:00:00 | 6.342 | 306.587 | 6.614 | 303.754 | 6.635 | 305.933 | 6.637 | 303.633 | 29.431 | 889.267 | 20.523 | 22.2002
2019-07-16 16:15:00 | 5.784 | 283.507 | 5.891 | 280.714 | 6.217 | 285.467 | 6.391 | 284.667 | 30.114 | 889.233 | 19.353 | 16.1554
2019-07-16 16:30:00 | 5.142 | 188.035 | 5.051 | 261.108 | 4.771 | 268.3 | 4.674 | 330.667 | 30.289 | 889.733 | 19.167 | 10.5683
2019-07-16 16:45:00 | 5.874 | 271.108 | 6.422 | 301.148 | 6.345 | 288.3 | 6.47 | 311.333 | 30.414 | 889.333 | 18.797 | 8.6888
2019-07-16 17:00:00 | 5.76 | 322.027 | 6.032 | 314.628 | 6.274 | 317.6 | 6.457 | 316.833 | 30.677 | 889.6 | 18.556 | 14.8942
2019-07-16 17:15:00 | 5.409 | 299.707 | 5.667 | 294.586 | 5.731 | 297.9 | 6.054 | 294.7 | 31.223 | 889.2 | 18.795 | 13.7161
2019-07-16 17:30:00 | 3.855 | 286.547 | 4.168 | 285.538 | 4.114 | 287.633 | 4.326 | 284.467 | 30.865 | 889.467 | 18.112 | 11.8395
2019-07-16 17:45:00 | 4.743 | 327.04 | 4.686 | 315.808 | 4.801 | 315.767 | 4.903 | 309.567 | 31.035 | 889.433 | 17.408 | 6.8001
2019-07-16 18:00:00 | 3.829 | 288.46 | 3.965 | 280.136 | 3.949 | 279.733 | 3.998 | 273.583 | 31.626 | 889.267 | 17.151 | 7.9527
2019-07-16 18:15:00 | 6.107 | 286.333 | 6.161 | 283.856 | 6.315 | 284.467 | 6.416 | 278.75 | 30.952 | 889.433 | 18.183 | 10.7573
2019-07-16 18:30:00 | 3.741 | 284.827 | 3.855 | 278.964 | 3.729 | 281.533 | 3.858 | 281.667 | 30.702 | 889.833 | 18.759 | 7.1398
2019-07-16 18:45:00 | 5.769 | 311.68 | 5.827 | 305.376 | 5.919 | 308.133 | 5.968 | 307.533 | 30.839 | 889.4 | 18.819 | 8.6497
2019-07-16 19:00:00 | 4.511 | 296.12 | 4.616 | 292.581 | 4.52 | 294.067 | 4.728 | 286.467 | 30.764 | 889.6 | 18.461 | 7.807
2019-07-16 19:15:00 | 4.938 | 313.587 | 5.139 | 308.45 | 5.271 | 312.6 | 5.428 | 308.4 | 30.66 | 889.567 | 17.429 | 6.9252
2019-07-16 19:30:00 | 4.498 | 277.707 | 4.947 | 274.645 | 5.182 | 278.9 | 5.494 | 272.6 | 30.581 | 889.467 | 17.663 | 6.378
2019-07-16 19:45:00 | 4.17 | 298.68 | 4.271 | 294.721 | 4.448 | 299.533 | 4.603 | 295.1 | 30.977 | 890.033 | 17.576 | 4.8105
2019-07-16 20:00:00 | 4.302 | 270.773 | 4.415 | 269.604 | 4.463 | 275.3 | 4.642 | 270.933 | 30.752 | 889.9 | 17.713 | 5.0749
2019-07-16 20:15:00 | 2.917 | 273.427 | 2.822 | 272.932 | 3.072 | 278.717 | 3.34 | 279.117 | 30.464 | 889.833 | 17.773 | 3.9323
2019-07-16 20:30:00 | 3.351 | 267.553 | 3.431 | 264.151 | 3.56 | 267.4 | 3.86 | 261.417 | 30.789 | 889.5 | 17.803 | 6.7696
2019-07-16 20:45:00 | 3.734 | 284.147 | 3.904 | 278.272 | 3.988 | 282.6 | 4.21 | 278.8 | 30.456 | 889.333 | 18.009 | 7.0545
2019-07-16 21:00:00 | 3.648 | 274.893 | 3.792 | 272.899 | 3.984 | 277.567 | 4.137 | 275.1 | 30.094 | 889.7 | 17.228 | 2.8643
2019-07-16 21:15:00 | 4.286 | 314.187 | 4.759 | 313.121 | 5.185 | 317.867 | 5.565 | 318.567 | 29.881 | 889.817 | 19.872 | 7.7715
2019-07-16 21:30:00 | 7.445 | 321.013 | 8.295 | 319.36 | 8.904 | 324.733 | 9.391 | 326.267 | 29.448 | 889.933 | 22.344 | 33.02
2019-07-16 21:45:00 | 6.582 | 334.373 | 7.231 | 327.66 | 7.785 | 334.667 | 8.039 | 332.5 | 29.181 | 889.717 | 22.683 | 39.1785
2019-07-16 22:00:00 | 6.916 | 333.627 | 7.829 | 328.184 | 8.242 | 332.533 | 8.792 | 333.067 | 28.923 | 889.783 | 22.536 | 35.8502
2019-07-16 22:15:00 | 5.294 | 325.507 | 6.153 | 321.56 | 6.84 | 328.367 | 7.315 | 328.933 | 28.123 | 889.667 | 22.677 | 26.4786
2019-07-16 22:30:00 | 4.277 | 327.707 | 5.351 | 323.88 | 5.7 | 329.633 | 6.304 | 330.367 | 28.21 | 889.4 | 22.229 | 21.5778
2019-07-16 22:45:00 | 5.004 | 338.88 | 5.968 | 334.561 | 6.596 | 340.033 | 7.196 | 339.633 | 27.877 | 889.5 | 22.304 | 20.7954
2019-07-16 23:00:00 | 5.344 | 329.147 | 6 | 322.006 | 6.531 | 326.2 | 7.04 | 327.267 | 28.148 | 889.6 | 22.424 | 29.1098
2019-07-16 23:15:00 | 11.531 | 334.747 | 12.93 | 331.168 | 13.299 | 335.033 | 13.73 | 332.933 | 27.381 | 890.133 | 25.589 | 67.4804
2019-07-16 23:30:00 | 9.166 | 337.373 | 10.189 | 330.61 | 10.305 | 336.633 | 10.654 | 334.7 | 26.16 | 890.217 | 29.024 | 68.2613
2019-07-16 23:45:00 | 5.823 | 335.453 | 6.249 | 329.628 | 6.773 | 334.3 | 7.237 | 334.067 | 25.244 | 889.717 | 30.397 | 28.6969