## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-17 00:00:00 | 3.359 | 308.373 | 4.036 | 310.871 | 4.234 | 319.267 | 4.639 | 317.133 | 25.414 | 889.8 | 30.88 | 14.0017
2019-07-17 00:15:00 | 4.436 | 278.98 | 4.983 | 277.744 | 5.231 | 282.733 | 5.994 | 284.733 | 25.106 | 889.617 | 31.829 | 14.8309
2019-07-17 00:30:00 | 4.66 | 267.427 | 5.459 | 274.551 | 5.738 | 282.333 | 6.068 | 281.1 | 24.856 | 889.467 | 32.237 | 10.721
2019-07-17 00:45:00 | 4.678 | 240.533 | 5.352 | 240.616 | 5.67 | 246.367 | 5.79 | 241.767 | 24.548 | 890.1 | 33.243 | 13.9882
2019-07-17 01:00:00 | 5.115 | 235.107 | 6.293 | 231.849 | 6.846 | 239.067 | 6.85 | 234.633 | 23.985 | 889.983 | 34.475 | 22.348
2019-07-17 01:15:00 | 5.738 | 224 | 6.99 | 222.658 | 7.553 | 228.067 | 7.62 | 224.133 | 24.177 | 889.5 | 35.013 | 29.0032
2019-07-17 01:30:00 | 5.911 | 216.953 | 7.332 | 218.474 | 7.677 | 224.033 | 7.858 | 220.633 | 23.818 | 889.617 | 35.515 | 29.431
2019-07-17 01:45:00 | 5.6 | 215.04 | 7.324 | 214.918 | 8.155 | 220.967 | 8.338 | 218.867 | 23.468 | 890.033 | 35.771 | 33.5771
2019-07-17 02:00:00 | 6.043 | 213.407 | 7.677 | 215.37 | 8.592 | 223.067 | 8.886 | 220.033 | 23.531 | 889.633 | 36.053 | 37.3154
2019-07-17 02:15:00 | 5.951 | 243.727 | 7.359 | 240.174 | 8.125 | 244.833 | 8.298 | 239.4 | 23.668 | 890.117 | 34.955 | 30.1032
2019-07-17 02:30:00 | 5.777 | 214.2 | 7.294 | 215.427 | 7.942 | 222.267 | 8.37 | 218.9 | 24.023 | 889.833 | 34.48 | 28.795
2019-07-17 02:45:00 | 5.348 | 229.36 | 6.761 | 226.482 | 7.751 | 230.8 | 8.169 | 226.4 | 23.935 | 890.15 | 34.528 | 29.6846
2019-07-17 03:00:00 | 5.266 | 218.207 | 7.068 | 217.706 | 6.994 | 224.267 | 6.952 | 223.1 | 23.648 | 889.85 | 34.688 | 20.5553
2019-07-17 03:15:00 | 5.272 | 217.6 | 7.081 | 217.775 | 7.314 | 223.367 | 7.211 | 218.9 | 23.548 | 889.533 | 35.307 | 20.5197
2019-07-17 03:30:00 | 5.857 | 217.38 | 7.294 | 216.14 | 7.644 | 221.133 | 7.958 | 216.767 | 23.198 | 889.567 | 35.835 | 25.0411
2019-07-17 03:45:00 | 5.283 | 215.013 | 7.308 | 211.89 | 7.889 | 216.467 | 7.841 | 214.633 | 23.131 | 889.667 | 35.936 | 25.5257
2019-07-17 04:00:00 | 5.531 | 214.133 | 7.183 | 211.534 | 7.638 | 215 | 7.55 | 212.5 | 23.181 | 890.383 | 36.069 | 27.0321
2019-07-17 04:15:00 | 5.283 | 212.327 | 7.21 | 208.428 | 8.039 | 211.133 | 8.129 | 208.967 | 22.398 | 890.133 | 36.192 | 33.6503
2019-07-17 04:30:00 | 6.33 | 204.673 | 8.234 | 201.777 | 8.718 | 205.767 | 9.102 | 201.767 | 22.548 | 889.9 | 35.531 | 31.1434
2019-07-17 04:45:00 | 4.637 | 215.4 | 6.432 | 208.31 | 7.57 | 210.867 | 7.715 | 210.667 | 22.448 | 889.817 | 37.979 | 27.209
2019-07-17 05:00:00 | 4.997 | 209.547 | 7.266 | 203.468 | 8.416 | 208.233 | 8.718 | 206.233 | 22.473 | 889.55 | 38.715 | 28.466
2019-07-17 05:15:00 | 4.843 | 209.847 | 6.855 | 205.4 | 7.7 | 211.8 | 8.176 | 210.5 | 21.81 | 889.967 | 39.104 | 30.6794
2019-07-17 05:30:00 | 5.945 | 205.68 | 7.226 | 206.863 | 7.558 | 214.9 | 7.697 | 215.933 | 21.931 | 889.983 | 38.752 | 24.165
2019-07-17 05:45:00 | 5.609 | 208.313 | 7.429 | 203.168 | 7.188 | 210.6 | 7.479 | 211.6 | 21.794 | 889.883 | 39.088 | 24.4719
2019-07-17 06:00:00 | 5.86 | 208.42 | 6.814 | 211.168 | 7.168 | 218.4 | 7.307 | 219.4 | 21.998 | 889.717 | 38.283 | 24.4144
2019-07-17 06:15:00 | 5.442 | 204.693 | 6.86 | 209.51 | 7.893 | 218.733 | 8.063 | 216.767 | 21.673 | 889.783 | 38.923 | 28.2919
2019-07-17 06:30:00 | 5.474 | 213.587 | 7.676 | 215.165 | 7.949 | 222.167 | 8.083 | 218.733 | 21.302 | 890.05 | 39.104 | 29.1382
2019-07-17 06:45:00 | 5.79 | 216.547 | 7.577 | 219.228 | 7.509 | 225.4 | 7.6 | 221.633 | 22.206 | 889.533 | 38.379 | 30.673
2019-07-17 07:00:00 | 6.154 | 217.733 | 7.746 | 218.931 | 8.033 | 224.633 | 8.008 | 221.267 | 22.21 | 889.533 | 37.968 | 29.966
2019-07-17 07:15:00 | 5.911 | 214.7 | 7.065 | 215.701 | 7.286 | 222.4 | 7.208 | 219.933 | 22.631 | 889.483 | 37.056 | 26.7535
2019-07-17 07:30:00 | 4.787 | 211.533 | 6.224 | 211.424 | 6.972 | 217.833 | 7.018 | 216.633 | 22.414 | 889.95 | 36.843 | 21.9188
2019-07-17 07:45:00 | 4.661 | 218.393 | 5.985 | 217.465 | 6.345 | 225.133 | 6.196 | 222.767 | 22.981 | 889.8 | 36.277 | 16.9733
2019-07-17 08:00:00 | 3.344 | 226.873 | 4.201 | 224.311 | 4.784 | 232.033 | 5.172 | 227.7 | 23.514 | 889.833 | 35.621 | 10.4951
2019-07-17 08:15:00 | 2.298 | 231.34 | 3.097 | 230.196 | 3.752 | 236.5 | 4.032 | 233 | 24.102 | 890.033 | 34.992 | 4.2861
2019-07-17 08:30:00 | 3.306 | 224.553 | 3.519 | 224.035 | 3.916 | 230.833 | 4.114 | 229.467 | 24.944 | 889.75 | 33.392 | 2.7229
2019-07-17 08:45:00 | 2.336 | 231.513 | 2.299 | 225.456 | 2.734 | 229.733 | 3.001 | 225.7 | 25.418 | 889.6 | 32.539 | 1.4929
2019-07-17 09:00:00 | 1.374 | 232.713 | 1.239 | 228.052 | 1.233 | 232.9 | 1.778 | 231.167 | 26.198 | 889.767 | 31.477 | 0.31691
2019-07-17 09:15:00 | 0.659 | 227.2 | 0.38 | 229.812 | 0.383 | 242.583 | 1.538 | 238.067 | 27.152 | 889.617 | 29.787 | 0.68854
2019-07-17 09:30:00 | 2.244 | 223.893 | 2.12 | 219.128 | 2.111 | 225.367 | 2.314 | 219.2 | 27.473 | 889.9 | 29.12 | 1.3614
2019-07-17 09:45:00 | 1.989 | 224.453 | 1.837 | 222.638 | 2 | 230.767 | 2.587 | 225.633 | 28.835 | 889.717 | 27.387 | 1.0687
2019-07-17 10:00:00 | 1.782 | 262.16 | 1.168 | 260.103 | 1.283 | 267.4 | 1.591 | 258.033 | 29.731 | 890.25 | 25.56 | 0.16414
2019-07-17 10:15:00 | 2.25 | 286.613 | 2.303 | 264.373 | 2.613 | 259.902 | 3.042 | 289.533 | 29.264 | 889.6 | 24.595 | 0.46684
2019-07-17 10:30:00 | 4.103 | 320.933 | 4.255 | 326.891 | 4.526 | 332.4 | 5.336 | 330.633 | 28.864 | 890.3 | 25.216 | 2.9275
2019-07-17 10:45:00 | 4.048 | 324 | 4.427 | 322.92 | 4.466 | 325.767 | 4.776 | 335.467 | 28.894 | 889.567 | 25.904 | 3.5898
2019-07-17 11:00:00 | 3.653 | 332.693 | 3.832 | 303.492 | 4.22 | 341.167 | 4.171 | 314.967 | 29.731 | 889.933 | 23.955 | 4.5455
2019-07-17 11:15:00 | 5.174 | 265.002 | 5.63 | 292.816 | 6.009 | 272.933 | 6.495 | 305.233 | 30.16 | 889.85 | 22.221 | 4.1184
2019-07-17 11:30:00 | 4.737 | 314.213 | 5.339 | 305.816 | 5.369 | 308 | 5.431 | 303.7 | 29.331 | 889.9 | 23.256 | 9.5351
2019-07-17 11:45:00 | 4.592 | 312.453 | 4.344 | 307.149 | 4.33 | 313.4 | 4.774 | 309.633 | 29.598 | 889.95 | 23.024 | 9.1613
2019-07-17 12:00:00 | 3.211 | 294.413 | 3.332 | 293.685 | 3.556 | 299.733 | 3.88 | 294.867 | 29.614 | 889.617 | 22.616 | 4.2776
2019-07-17 12:15:00 | 3.856 | 327.187 | 4.07 | 321.534 | 4.146 | 324.4 | 4.334 | 318.067 | 30.318 | 889.7 | 21.199 | 8.7172
2019-07-17 12:30:00 | 3.422 | 289.858 | 3.437 | 293.916 | 3.497 | 283.267 | 3.99 | 291.9 | 30.878 | 889.5 | 19.612 | 8.1054
2019-07-17 12:45:00 | 5.846 | 316.987 | 6.184 | 309.915 | 6.207 | 316.833 | 6.498 | 313.8 | 31.031 | 889.567 | 17.045 | 9.4093
2019-07-17 13:00:00 | 3.341 | 253.452 | 2.865 | 250.791 | 2.322 | 260.067 | 2.798 | 261.9 | 31.612 | 889.333 | 16.723 | 5.7058
2019-07-17 13:15:00 | 6.344 | 258.122 | 6.82 | 345.364 | 6.755 | 302.633 | 6.684 | 325.067 | 30.944 | 889.9 | 19.195 | 18.312
2019-07-17 13:30:00 | 3.15 | 216.9 | 3.097 | 208.991 | 3.261 | 215.967 | 3.526 | 227.833 | 31.024 | 889.333 | 18.831 | 9.091
2019-07-17 13:45:00 | 4.127 | 326.587 | 4.244 | 321.336 | 4.255 | 325.4 | 4.698 | 323.1 | 31.676 | 889.133 | 18.295 | 10.6329
2019-07-17 14:00:00 | 5.324 | 161.446 | 5.846 | 208.927 | 6.209 | 244.167 | 6.595 | 266.733 | 31.593 | 889.7 | 17.752 | 9.889
2019-07-17 14:15:00 | 5.708 | 279.613 | 5.854 | 330.569 | 5.847 | 312.4 | 6.028 | 313.533 | 31.457 | 889.933 | 17.551 | 10.6322
2019-07-17 14:30:00 | 6.162 | 312.355 | 6.812 | 319.133 | 6.909 | 321.3 | 7.109 | 319.533 | 31.72 | 889.1 | 16.631 | 15.5493
2019-07-17 14:45:00 | 4.839 | 293.08 | 5.347 | 287.468 | 5.499 | 290.1 | 5.638 | 288.367 | 32.195 | 889.633 | 15.893 | 17.9958
2019-07-17 15:00:00 | 7.818 | 315.12 | 8.005 | 310.866 | 8.358 | 314.167 | 8.505 | 315.767 | 32.426 | 889.767 | 16.076 | 24.0989
2019-07-17 15:15:00 | 5.702 | 306.4 | 5.962 | 320.872 | 5.873 | 338.9 | 5.952 | 339.733 | 32.394 | 889.733 | 15.108 | 21.732
2019-07-17 15:30:00 | 6.04 | 286.64 | 6.238 | 334.225 | 6.458 | 326.967 | 6.7 | 334.133 | 32.339 | 889.467 | 15.724 | 15.2758
2019-07-17 15:45:00 | 7.842 | 302.067 | 8.257 | 330.994 | 8.16 | 335.767 | 8.365 | 324.7 | 32.184 | 889.4 | 16.072 | 27.398
2019-07-17 16:00:00 | 6.585 | 292.007 | 6.922 | 291.227 | 7.237 | 292.567 | 7.762 | 287.567 | 32.625 | 889.4 | 15.207 | 24.5693
2019-07-17 16:15:00 | 6.27 | 274.313 | 6.403 | 273.158 | 6.625 | 280.333 | 6.881 | 275.433 | 32.343 | 889.4 | 15.568 | 29.976
2019-07-17 16:30:00 | 5.071 | 277.847 | 5.408 | 279.734 | 5.911 | 284.5 | 6.28 | 283.15 | 32.443 | 889.733 | 15.332 | 26.8019
2019-07-17 16:45:00 | 4.647 | 319.88 | 4.96 | 316.21 | 4.874 | 321 | 5.193 | 319.4 | 33.013 | 889.333 | 14.912 | 13.6521
2019-07-17 17:00:00 | 7.581 | 297.96 | 8.026 | 296.793 | 8.076 | 299.7 | 8.244 | 296.133 | 33.063 | 889.8 | 14.32 | 28.7154
2019-07-17 17:15:00 | 4.873 | 297.893 | 5.188 | 293.046 | 5.366 | 299.867 | 5.677 | 298.533 | 33.18 | 889.233 | 16.181 | 21.7703
2019-07-17 17:30:00 | 5.884 | 283.547 | 6.152 | 281.784 | 6.33 | 286.733 | 6.548 | 281.867 | 32.46 | 889.333 | 17.503 | 17.5403
2019-07-17 17:45:00 | 6.169 | 310.387 | 6.474 | 309.534 | 6.68 | 315.033 | 6.971 | 316.167 | 32.608 | 889.833 | 16.783 | 19.1881
2019-07-17 18:00:00 | 7.159 | 310.36 | 7.674 | 304.307 | 7.757 | 308.467 | 8.114 | 305.5 | 32.78 | 889.5 | 16.765 | 15.2694
2019-07-17 18:15:00 | 8.19 | 330.333 | 8.722 | 324.064 | 9.081 | 327.367 | 9.144 | 325.333 | 33.18 | 889.4 | 15.988 | 29.7585
2019-07-17 18:30:00 | 11.319 | 291.96 | 11.711 | 292.085 | 11.793 | 296.3 | 12.226 | 293.9 | 32.239 | 889.6 | 17.656 | 49.7311
2019-07-17 18:45:00 | 6.52 | 299.12 | 7.077 | 299.058 | 7.132 | 303.933 | 7.776 | 300.7 | 32.146 | 889.3 | 17.501 | 38.4189
2019-07-17 19:00:00 | 8.076 | 335.293 | 8.505 | 331.29 | 8.886 | 335.533 | 9.262 | 335.4 | 32.83 | 889.333 | 15.903 | 36.7377
2019-07-17 19:15:00 | 5.495 | 314.68 | 5.886 | 309.205 | 6.133 | 312.7 | 6.469 | 312.133 | 33.246 | 889.1 | 15.969 | 34.0411
2019-07-17 19:30:00 | 8.093 | 324.853 | 8.761 | 320.868 | 8.982 | 315.9 | 9.379 | 326.433 | 32.719 | 889.533 | 16.388 | 55.2309
2019-07-17 19:45:00 | 12.582 | 313.44 | 13.584 | 342.3 | 14.029 | 346.067 | 14.232 | 345 | 31.597 | 889.233 | 18.171 | 74.2528
2019-07-17 20:00:00 | 13.514 | 329.173 | 15.006 | 324.865 | 15.42 | 329.933 | 15.71 | 327.467 | 30.798 | 889.3 | 16.912 | 75.3144
2019-07-17 20:15:00 | 13.363 | 319.387 | 14.879 | 315.756 | 15.568 | 319.267 | 16.571 | 316.833 | 30.439 | 889.667 | 16.687 | 71.7168
2019-07-17 20:30:00 | 7.078 | 330.773 | 7.982 | 337.457 | 8.413 | 342.833 | 8.68 | 342.4 | 30.818 | 889.533 | 16.147 | 37.0987
2019-07-17 20:45:00 | 9.442 | 335.76 | 10.64 | 328.713 | 10.92 | 335.633 | 11.304 | 334.5 | 32.122 | 889.333 | 14.649 | 50.1525
2019-07-17 21:00:00 | 5.462 | 188.627 | 6.702 | 307.202 | 7.372 | 118.133 | 7.906 | 142.367 | 31.609 | 889.833 | 14.56 | 20.1851
2019-07-17 21:15:00 | 3.493 | 340.907 | 4.218 | 347.462 | 4.427 | 351.267 | 4.843 | 352.867 | 30.989 | 889.967 | 14.96 | 4.3792
2019-07-17 21:30:00 | 2.615 | 30.607 | 3.184 | 309.643 | 3.555 | 143.133 | 4.13 | 297.6 | 30.802 | 889.367 | 15.316 | 1.2179
2019-07-17 21:45:00 | 0.894 | 335.16 | 2.05 | 339.026 | 2.662 | 346 | 3.108 | 352.867 | 30.068 | 889.767 | 15.907 | 3.5443
2019-07-17 22:00:00 | 0.486 | 275.047 | 0.329 | 307.178 | 0.177 | 314.267 | 0.094 | 340.467 | 29.264 | 889.667 | 17.048 | 9.7198
2019-07-17 22:15:00 | 4.516 | 164.2 | 4.404 | 162.749 | 4.185 | 166.4 | 4.276 | 159.467 | 29.114 | 889.55 | 22.277 | 10.1007
2019-07-17 22:30:00 | 4.646 | 169.5 | 4.568 | 167.022 | 4.554 | 170.3 | 5.06 | 167.967 | 28.981 | 889.8 | 23.083 | 12.064
2019-07-17 22:45:00 | 4.818 | 161.573 | 5.221 | 161.225 | 5.62 | 166.7 | 6.103 | 163.867 | 28.635 | 890.133 | 23.355 | 21.0612
2019-07-17 23:00:00 | 6.532 | 174.253 | 7.298 | 177.025 | 7.844 | 182.567 | 8.394 | 179.733 | 28.614 | 889.683 | 24.528 | 43.6316
2019-07-17 23:15:00 | 8.623 | 184.86 | 10.028 | 180.514 | 10.609 | 186.033 | 10.784 | 182.2 | 27.506 | 889.583 | 27.323 | 63.352
2019-07-17 23:30:00 | 8.782 | 198.467 | 9.616 | 195.066 | 9.924 | 199 | 10.142 | 197.4 | 27.452 | 889.667 | 26.875 | 55.9251
2019-07-17 23:45:00 | 7.426 | 202.793 | 8.634 | 202.226 | 9.197 | 204.933 | 9.708 | 201.633 | 27.202 | 890.017 | 29.429 | 53.5639