## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-18 00:00:00 | 7.18 | 212.387 | 8.698 | 211.312 | 9.515 | 214.967 | 9.915 | 211.167 | 26.831 | 889.467 | 31.024 | 48.212
2019-07-18 00:15:00 | 6.334 | 224.047 | 7.373 | 219.114 | 8.118 | 219.7 | 8.602 | 214.867 | 26.335 | 889.7 | 32.437 | 40.4625
2019-07-18 00:30:00 | 6.231 | 224.16 | 7.199 | 225.525 | 7.817 | 232.5 | 8.185 | 227.267 | 26.139 | 890.133 | 32.501 | 33.5217
2019-07-18 00:45:00 | 5.58 | 232.62 | 6.612 | 232.691 | 7.27 | 239.8 | 7.586 | 234.8 | 26.281 | 889.567 | 31.685 | 32.8751
2019-07-18 01:00:00 | 3.804 | 218.213 | 5.197 | 231.262 | 6.141 | 239.233 | 6.431 | 234.633 | 26.098 | 889.4 | 33.163 | 28.3623
2019-07-18 01:15:00 | 4.895 | 219.787 | 5.768 | 220.946 | 6.676 | 230.833 | 7.075 | 229.267 | 25.618 | 890.183 | 33.733 | 29.3919
2019-07-18 01:30:00 | 5.573 | 223.733 | 7.026 | 225.029 | 7.549 | 233.1 | 7.586 | 229.633 | 25.223 | 889.767 | 35.893 | 27.9459
2019-07-18 01:45:00 | 5.202 | 235.387 | 6.172 | 236.839 | 6.477 | 246.733 | 6.508 | 244.2 | 24.535 | 889.533 | 35.707 | 24.6574
2019-07-18 02:00:00 | 4.786 | 235.94 | 6.013 | 244.212 | 6.658 | 255.4 | 7.074 | 255.617 | 24.781 | 889.983 | 35.499 | 23.8921
2019-07-18 02:15:00 | 4.498 | 234.193 | 5.797 | 245.81 | 6.606 | 257.767 | 7.031 | 256.717 | 24.248 | 889.583 | 36.699 | 22.7367
2019-07-18 02:30:00 | 4.536 | 243.153 | 6.018 | 249.383 | 6.354 | 258.7 | 6.61 | 257.533 | 24.148 | 889.933 | 37.195 | 23.5048
2019-07-18 02:45:00 | 4.987 | 247.047 | 6.151 | 252.826 | 6.322 | 261.4 | 6.56 | 258.867 | 24.152 | 889.7 | 37.768 | 21.813
2019-07-18 03:00:00 | 4.554 | 250.02 | 5.742 | 257.66 | 6.029 | 266.6 | 6.533 | 263.033 | 23.673 | 889.7 | 38.373 | 19.1839
2019-07-18 03:15:00 | 4.31 | 244.14 | 5.632 | 251.543 | 5.834 | 262.733 | 6.187 | 261.233 | 23.298 | 889.533 | 39.765 | 18.4818
2019-07-18 03:30:00 | 4.51 | 244.42 | 5.772 | 254.48 | 5.978 | 265.733 | 6.188 | 264.067 | 23.114 | 889.7 | 40.907 | 20.9781
2019-07-18 03:45:00 | 5.187 | 242.167 | 6.23 | 253.974 | 6.522 | 265.4 | 6.878 | 262.617 | 23.031 | 889.817 | 41.301 | 21.4541
2019-07-18 04:00:00 | 4.632 | 249.2 | 6.022 | 262.1 | 6.45 | 274.133 | 6.803 | 271.833 | 22.748 | 889.833 | 41.408 | 17.6078
2019-07-18 04:15:00 | 3.634 | 257.8 | 5.124 | 281.191 | 5.766 | 293.067 | 5.962 | 291.633 | 22.364 | 889.65 | 41.552 | 10.2755
2019-07-18 04:30:00 | 4.158 | 250.167 | 4.081 | 264.23 | 4.676 | 281.9 | 4.864 | 282.367 | 21.989 | 889.9 | 42.571 | 6.0164
2019-07-18 04:45:00 | 4.087 | 251.773 | 3.912 | 259.066 | 4.038 | 273.733 | 4.365 | 275.767 | 22.444 | 890.117 | 42.475 | 4.4162
2019-07-18 05:00:00 | 3.655 | 252.26 | 3.878 | 265.439 | 3.833 | 279 | 4.566 | 287.033 | 21.894 | 890.175 | 43.547 | 2.8693
2019-07-18 05:15:00 | 3.216 | 246.68 | 2.976 | 258.927 | 2.98 | 274 | 3.706 | 282.867 | 21.148 | 889.8 | 44.96 | 0.88821
2019-07-18 05:30:00 | 3.21 | 221.36 | 2.663 | 247.48 | 2.255 | 253.1 | 2.697 | 266.8 | 20.885 | 889.725 | 46.315 | 0.52795
2019-07-18 05:45:00 | 3.738 | 227.567 | 2.93 | 240.742 | 2.672 | 242.967 | 2.846 | 257.167 | 21.277 | 890.283 | 45.504 | 0.96566
2019-07-18 06:00:00 | 4.521 | 231.267 | 3.528 | 238.48 | 3.195 | 248.9 | 3.419 | 260.067 | 20.744 | 889.617 | 46.037 | 2.2269
2019-07-18 06:15:00 | 4.741 | 224.033 | 4.358 | 238.009 | 3.954 | 252.767 | 4.022 | 258.7 | 20.594 | 889.608 | 47.115 | 3.2075
2019-07-18 06:30:00 | 5.222 | 221.8 | 5.492 | 234.659 | 4.988 | 248.1 | 4.828 | 253.4 | 19.418 | 890.025 | 50.528 | 5.4913
2019-07-18 06:45:00 | 5.173 | 221.473 | 6.098 | 226.916 | 5.481 | 237.467 | 5.246 | 241.067 | 20.268 | 889.867 | 49.227 | 6.7028
2019-07-18 07:00:00 | 4.43 | 219.78 | 5.648 | 226.687 | 5.102 | 237.2 | 4.75 | 239.267 | 20.789 | 889.825 | 46.549 | 7.5015
2019-07-18 07:15:00 | 4.148 | 219.06 | 5.586 | 221.763 | 5.176 | 229.467 | 4.739 | 227.8 | 21.281 | 889.608 | 44.704 | 9.2921
2019-07-18 07:30:00 | 3.24 | 234.813 | 4.593 | 229.445 | 5.087 | 241.167 | 4.881 | 238.633 | 22.902 | 889.858 | 41.28 | 9.4335
2019-07-18 07:45:00 | 3.322 | 243.38 | 4.228 | 238.063 | 4.653 | 247.167 | 4.585 | 246.333 | 23.777 | 889.817 | 37.232 | 7.3778
2019-07-18 08:00:00 | 2.608 | 240.793 | 3.079 | 235.892 | 3.74 | 244.033 | 4.205 | 243.383 | 24.531 | 889.267 | 35.227 | 4.7608
2019-07-18 08:15:00 | 3.219 | 272.233 | 3.648 | 268.672 | 3.982 | 271.1 | 4.225 | 265.7 | 24.16 | 890.05 | 35.683 | 3.3567
2019-07-18 08:30:00 | 3.098 | 288.2 | 2.994 | 280.607 | 3.247 | 282.167 | 3.57 | 274.2 | 23.918 | 889.967 | 35.717 | 1.4076
2019-07-18 08:45:00 | 2.267 | 300.027 | 2.123 | 290.382 | 2.166 | 285.233 | 2.46 | 273.467 | 24.61 | 889.917 | 34.733 | 1.3551
2019-07-18 09:00:00 | 2.545 | 256.013 | 2.69 | 253.58 | 2.754 | 255.983 | 3.059 | 249.383 | 25.664 | 889.7 | 32.664 | 1.0573
2019-07-18 09:15:00 | 3.089 | 256.207 | 3.068 | 253.566 | 3.089 | 260.933 | 3.366 | 256.733 | 27.156 | 889.833 | 30.339 | 0.88963
2019-07-18 09:30:00 | 2.566 | 261.287 | 2.655 | 259.068 | 2.626 | 262.05 | 2.876 | 255.083 | 27.514 | 889.717 | 29.469 | 0.20606
2019-07-18 09:45:00 | 2.923 | 298.26 | 2.841 | 298.251 | 3.075 | 301.8 | 3.332 | 299.233 | 27.998 | 889.8 | 28.731 | 0.093084
2019-07-18 10:00:00 | 2.331 | 302.613 | 2.367 | 308.659 | 2.431 | 302.267 | 2.722 | 315.767 | 27.46 | 889.783 | 28.776 | 0.10161
2019-07-18 10:15:00 | 2.286 | 147.258 | 2.341 | 136.4 | 2.346 | 152.133 | 2.562 | 173.167 | 27.223 | 889.917 | 27.821 | 0.53221
2019-07-18 10:30:00 | 2.668 | 218.091 | 2.684 | 196.11 | 2.838 | 102.6 | 3.143 | 174.967 | 27.531 | 889.9 | 28.104 | 0.75036
2019-07-18 10:45:00 | 3.754 | 277.288 | 3.91 | 324.357 | 3.921 | 289.834 | 4.146 | 313.067 | 27.702 | 889.283 | 28.032 | 0.68356
2019-07-18 11:00:00 | 3.862 | 221.292 | 3.939 | 231.636 | 4.362 | 225.667 | 4.321 | 223.4 | 27.864 | 889.9 | 27.629 | 1.9754
2019-07-18 11:15:00 | 3.658 | 219.12 | 3.638 | 278.39 | 3.702 | 182.75 | 3.857 | 235 | 28.335 | 889.85 | 26.787 | 2.7286
2019-07-18 11:30:00 | 3.085 | 183.6 | 3.642 | 184.326 | 3.989 | 188.033 | 4.129 | 174.6 | 28.956 | 889.65 | 25.837 | 4.1582
2019-07-18 11:45:00 | 2.654 | 237.64 | 2.71 | 228.651 | 3.13 | 215.368 | 3.561 | 257.967 | 28.898 | 890.017 | 25.029 | 6.545
2019-07-18 12:00:00 | 4.629 | 167.922 | 4.547 | 215.561 | 4.962 | 235.733 | 5.316 | 232.967 | 29.464 | 889.95 | 24.349 | 9.6225
2019-07-18 12:15:00 | 7.265 | 330.533 | 7.877 | 316.726 | 7.885 | 319.067 | 8.147 | 330.733 | 29.831 | 889.783 | 21.917 | 20.4977
2019-07-18 12:30:00 | 5.734 | 312.667 | 6.32 | 309.097 | 6.344 | 313.283 | 6.486 | 302.7 | 29.648 | 889.9 | 20.827 | 17.1374
2019-07-18 12:45:00 | 4.716 | 291.08 | 4.826 | 320.034 | 4.908 | 313.333 | 5.312 | 326.467 | 30.048 | 889.067 | 20.637 | 10.8788
2019-07-18 13:00:00 | 2.641 | 273.387 | 2.995 | 272.52 | 3.379 | 270.633 | 3.706 | 270.2 | 30.273 | 889.5 | 19.508 | 9.1798
2019-07-18 13:15:00 | 3.067 | 249.469 | 2.895 | 319.271 | 2.974 | 283.433 | 3.354 | 274.633 | 30.639 | 889.333 | 18.704 | 7.8582
2019-07-18 13:30:00 | 4.844 | 316.042 | 4.684 | 289.552 | 5.103 | 306.067 | 5.524 | 315.633 | 30.87 | 889.4 | 17.464 | 4.5498
2019-07-18 13:45:00 | 8.741 | 325.787 | 8.576 | 321.096 | 8.635 | 314.267 | 9.175 | 319.567 | 31.791 | 889.833 | 14.748 | 18.7227
2019-07-18 14:00:00 | 6.216 | 158.361 | 6.105 | 150.695 | 6.504 | 156.067 | 6.853 | 176.167 | 31.443 | 889.7 | 16.375 | 19.4539
2019-07-18 14:15:00 | 7.239 | 304.773 | 7.119 | 322.656 | 7.158 | 305.833 | 7.108 | 319.033 | 31.292 | 889.6 | 16.096 | 24.9189
2019-07-18 14:30:00 | 8.217 | 318.987 | 8.364 | 324.254 | 8.497 | 320.401 | 8.614 | 306.033 | 31.884 | 889.4 | 15.499 | 17.4664
2019-07-18 14:45:00 | 8.033 | 324.24 | 8.116 | 331.261 | 8.4 | 333 | 8.344 | 331.4 | 32.276 | 889.4 | 15.337 | 21.781
2019-07-18 15:00:00 | 6.793 | 301.227 | 6.98 | 294.86 | 7.204 | 296.6 | 7.303 | 294.333 | 31.636 | 889.6 | 15.084 | 19.397
2019-07-18 15:15:00 | 5.613 | 173.839 | 5.853 | 235.245 | 5.914 | 215.4 | 5.859 | 259.567 | 32.255 | 889.4 | 14.257 | 10.3466
2019-07-18 15:30:00 | 8.388 | 285.293 | 8.732 | 328.4 | 8.568 | 274.133 | 9.164 | 310.833 | 32.151 | 889.333 | 12.921 | 38.8396
2019-07-18 15:45:00 | 4.667 | 253.882 | 5.258 | 329.729 | 5.774 | 308.1 | 5.965 | 312.233 | 32.024 | 889.233 | 12.555 | 26.2149
2019-07-18 16:00:00 | 8.907 | 298.18 | 9.394 | 296.774 | 9.333 | 303.267 | 9.368 | 301.833 | 32.322 | 889.333 | 11.452 | 38.4644
2019-07-18 16:15:00 | 5.984 | 304.293 | 5.952 | 304.16 | 6.552 | 310.867 | 6.834 | 313.267 | 32.558 | 889.5 | 10.791 | 31.9854
2019-07-18 16:30:00 | 10.289 | 304.867 | 10.435 | 302.296 | 11.004 | 307.367 | 11.466 | 306.067 | 32.824 | 888.667 | 10.159 | 43.5364
2019-07-18 16:45:00 | 8.005 | 300.547 | 8.369 | 295.209 | 8.608 | 300.567 | 8.92 | 295.233 | 33.046 | 889.067 | 10.175 | 58.172
2019-07-18 17:00:00 | 4.734 | 296.907 | 5.138 | 293.883 | 5.184 | 298.667 | 5.317 | 298.3 | 32.592 | 889.3 | 10.462 | 31.8305
2019-07-18 17:15:00 | 9.028 | 317.573 | 9.491 | 313.035 | 9.546 | 305.367 | 10.172 | 313.5 | 33.063 | 889.767 | 10.795 | 48.5594
2019-07-18 17:30:00 | 9.16 | 322.747 | 9.84 | 316.063 | 10.398 | 318.333 | 10.728 | 316.3 | 32.647 | 889.533 | 11.572 | 56.829
2019-07-18 17:45:00 | 6.808 | 298.827 | 7.329 | 297.792 | 7.672 | 303.367 | 8.153 | 302.533 | 32.355 | 889.667 | 11.817 | 43.0127
2019-07-18 18:00:00 | 7.342 | 304.853 | 8.081 | 301.17 | 8.379 | 304 | 8.716 | 303.5 | 32.702 | 889.4 | 12.333 | 55.4263
2019-07-18 18:15:00 | 15.14 | 271.493 | 16.318 | 275.576 | 16.614 | 280.667 | 17.076 | 277.367 | 32.88 | 889.733 | 14.868 | 76.9295
2019-07-18 18:30:00 | 13.028 | 286.827 | 14.223 | 285.354 | 14.623 | 288.833 | 14.885 | 285.367 | 31.946 | 889.333 | 14.736 | 72.8537
2019-07-18 18:45:00 | 14.656 | 281.26 | 15.399 | 282.096 | 15.406 | 284.933 | 16.143 | 282.967 | 31.36 | 889.533 | 15.94 | 66.0102
2019-07-18 19:00:00 | 13.196 | 274.473 | 14.585 | 276.845 | 14.792 | 281.933 | 15.245 | 278.667 | 31.076 | 889.767 | 16.011 | 55.5009
2019-07-18 19:15:00 | 12.32 | 278.213 | 13.5 | 277.616 | 13.769 | 282.6 | 14.207 | 279.533 | 30.444 | 889.5 | 16.425 | 53.2953
2019-07-18 19:30:00 | 12.04 | 283.267 | 13.279 | 281.474 | 13.529 | 285.3 | 13.977 | 283.433 | 30.452 | 889.133 | 16.175 | 63.6703
2019-07-18 19:45:00 | 11.661 | 270.633 | 12.663 | 272.821 | 12.623 | 277.433 | 12.912 | 271.833 | 30.627 | 889.1 | 16.676 | 68.888
2019-07-18 20:00:00 | 11.104 | 280.767 | 11.959 | 280.738 | 11.996 | 284.8 | 12.568 | 283.7 | 30.156 | 889.333 | 16.451 | 68.7601
2019-07-18 20:15:00 | 10.804 | 269.64 | 12.052 | 271.92 | 12.147 | 276.767 | 12.424 | 272.367 | 30.198 | 889.567 | 16.811 | 69.6028
2019-07-18 20:30:00 | 9.899 | 264.18 | 10.879 | 264.771 | 11.158 | 270 | 11.129 | 266.1 | 29.731 | 889.567 | 17.011 | 70.5735
2019-07-18 20:45:00 | 8.875 | 261.34 | 9.809 | 264.872 | 10.15 | 268.567 | 10.474 | 265.2 | 29.848 | 889.2 | 17.293 | 74.7218
2019-07-18 21:00:00 | 9.732 | 270.08 | 10.88 | 270.243 | 11.119 | 274.533 | 11.37 | 268.5 | 29.664 | 889.833 | 17.74 | 74.5384
2019-07-18 21:15:00 | 8.465 | 266.333 | 9.702 | 272.849 | 10.049 | 277.233 | 10.237 | 272.733 | 28.998 | 889.3 | 18.653 | 62.704
2019-07-18 21:30:00 | 9.211 | 259.26 | 10.771 | 263.736 | 11.082 | 268.7 | 11.217 | 263.083 | 28.694 | 889.3 | 19.767 | 61.8335
2019-07-18 21:45:00 | 9.2 | 259.993 | 10.46 | 265.734 | 11.223 | 272.033 | 11.504 | 267.933 | 28.398 | 889.633 | 20.06 | 59.4901
2019-07-18 22:00:00 | 8.83 | 263.72 | 10.583 | 268.885 | 11.004 | 273.767 | 11.615 | 269.4 | 28.318 | 889.617 | 20.62 | 57.0599
2019-07-18 22:15:00 | 7.925 | 268.127 | 9.489 | 270.393 | 10.16 | 275.5 | 10.73 | 272.367 | 27.673 | 889.75 | 20.877 | 55.6679
2019-07-18 22:30:00 | 8.223 | 270.12 | 9.861 | 274.928 | 10.412 | 280.333 | 10.978 | 276.733 | 27.198 | 889.567 | 21.173 | 55.3894
2019-07-18 22:45:00 | 8.015 | 263.973 | 9.387 | 271.584 | 10.146 | 276.7 | 10.724 | 273.467 | 27.335 | 890.067 | 21.664 | 55.6324
2019-07-18 23:00:00 | 7.04 | 261.987 | 8.867 | 269.784 | 9.661 | 275.1 | 10.275 | 269.567 | 26.948 | 889.6 | 21.84 | 58.9465
2019-07-18 23:15:00 | 7.144 | 259.627 | 8.738 | 266.889 | 9.435 | 272.9 | 10.115 | 268.233 | 26.414 | 889.6 | 22.155 | 64.0341
2019-07-18 23:30:00 | 6.805 | 258.827 | 8.407 | 265.951 | 8.87 | 270.967 | 9.596 | 267.633 | 26.294 | 889.633 | 22.392 | 46.5435
2019-07-18 23:45:00 | 7.5 | 256.16 | 9.074 | 263.829 | 9.509 | 270.5 | 9.64 | 265.833 | 26.402 | 890.05 | 22.549 | 51.2383