## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-19 00:00:00 | 7.53 | 258.44 | 9.108 | 264.617 | 9.864 | 268.667 | 10.056 | 265.633 | 26.302 | 889.95 | 22.64 | 49.071
2019-07-19 00:15:00 | 6.794 | 258.06 | 8.235 | 264.6 | 8.826 | 270.5 | 9.182 | 265.933 | 26.231 | 889.733 | 22.979 | 42.4578
2019-07-19 00:30:00 | 6.259 | 255.167 | 7.757 | 261.654 | 8.517 | 266 | 8.876 | 261.45 | 25.977 | 889.35 | 23.512 | 37.4788
2019-07-19 00:45:00 | 5.803 | 256.827 | 7.117 | 259.393 | 8.008 | 266.7 | 8.486 | 260.5 | 25.46 | 889.417 | 24.248 | 34.6927
2019-07-19 01:00:00 | 5.889 | 252.573 | 7.079 | 255.443 | 7.69 | 263.6 | 7.951 | 260.317 | 25.106 | 889.017 | 24.933 | 33.106
2019-07-19 01:15:00 | 5.332 | 248.3 | 6.809 | 251.412 | 7.267 | 258.7 | 7.748 | 257.917 | 25.039 | 889.917 | 25.731 | 32.4708
2019-07-19 01:30:00 | 5.048 | 233.42 | 6.396 | 236.469 | 6.99 | 247.933 | 7.065 | 245.983 | 24.639 | 890.3 | 26.352 | 35.6754
2019-07-19 01:45:00 | 5.613 | 225.727 | 6.851 | 225.675 | 7.414 | 233.9 | 7.724 | 230.4 | 24.077 | 889.833 | 27.051 | 33.602
2019-07-19 02:00:00 | 5.128 | 238.673 | 6.429 | 239.85 | 7.158 | 246.667 | 7.171 | 242.667 | 23.598 | 889.85 | 27.461 | 32.8715
2019-07-19 02:15:00 | 5.453 | 248.847 | 6.412 | 256.637 | 6.688 | 267.2 | 7.121 | 266.033 | 23.652 | 889.633 | 27.843 | 32.3692
2019-07-19 02:30:00 | 5.582 | 243.547 | 6.796 | 253.264 | 7.439 | 263.867 | 7.91 | 261.85 | 23.414 | 889.8 | 28.296 | 28.1683
2019-07-19 02:45:00 | 4.719 | 251.053 | 6.501 | 261.465 | 7.133 | 270.267 | 7.545 | 267.467 | 23.131 | 889.7 | 28.403 | 27.1714
2019-07-19 03:00:00 | 4.27 | 257.133 | 6.008 | 265.372 | 6.902 | 274.633 | 7.537 | 272.6 | 23.098 | 889.733 | 28.12 | 24.9807
2019-07-19 03:15:00 | 4.687 | 239.967 | 6.031 | 254.566 | 6.615 | 267.533 | 6.957 | 268 | 22.598 | 889.967 | 29.565 | 22.1768
2019-07-19 03:30:00 | 4.95 | 234.18 | 5.989 | 249.09 | 6.351 | 261.7 | 6.89 | 262.3 | 21.981 | 889.717 | 30.101 | 22.0425
2019-07-19 03:45:00 | 4.914 | 231.553 | 5.999 | 244.902 | 6.433 | 256.933 | 6.668 | 259.767 | 21.927 | 889.767 | 30.341 | 21.8961
2019-07-19 04:00:00 | 5.168 | 231.9 | 6.418 | 244.741 | 6.859 | 255.4 | 7.048 | 254.95 | 22.006 | 889.85 | 30.139 | 24.8428
2019-07-19 04:15:00 | 5.07 | 236.1 | 6.649 | 243.294 | 6.921 | 251.533 | 6.976 | 248.4 | 22.448 | 889.967 | 30.203 | 26.0487
2019-07-19 04:30:00 | 5.685 | 226.18 | 6.846 | 230.95 | 6.627 | 238.533 | 6.691 | 235.367 | 21.606 | 889.583 | 29.963 | 24.7121
2019-07-19 04:45:00 | 6.178 | 218.287 | 6.936 | 221.793 | 6.964 | 228.7 | 6.851 | 226.1 | 21.877 | 889.8 | 31.029 | 22.7367
2019-07-19 05:00:00 | 5.899 | 216.3 | 6.575 | 217.757 | 6.411 | 223.167 | 6.176 | 221.1 | 21.852 | 889.967 | 31.52 | 18.6836
2019-07-19 05:15:00 | 4.91 | 204.78 | 6.019 | 206.582 | 6.361 | 212.3 | 6.446 | 211.333 | 21.764 | 889.6 | 32.187 | 16.6301
2019-07-19 05:30:00 | 4.338 | 205.393 | 5.577 | 208.53 | 5.966 | 214.833 | 6.154 | 213.4 | 20.648 | 890.217 | 33.605 | 12.0789
2019-07-19 05:45:00 | 4.899 | 212.32 | 5.746 | 214.769 | 5.528 | 223.4 | 5.382 | 224.367 | 20.773 | 889.883 | 34.08 | 10.844
2019-07-19 06:00:00 | 4.75 | 210.887 | 5.884 | 216.369 | 5.629 | 226.2 | 5.431 | 226.2 | 20.773 | 889.683 | 34.288 | 11.6874
2019-07-19 06:15:00 | 5.995 | 212.827 | 5.63 | 223.355 | 5.549 | 233.6 | 5.35 | 231.4 | 20.494 | 889.65 | 34.517 | 10.9569
2019-07-19 06:30:00 | 5.673 | 214.6 | 5.609 | 225.977 | 5.46 | 236.467 | 4.888 | 235.1 | 20.289 | 889.617 | 34.96 | 9.852
2019-07-19 06:45:00 | 5.693 | 214.413 | 5.302 | 224.607 | 4.563 | 239.333 | 4.447 | 246.9 | 20.739 | 889.4 | 34.4 | 8.3961
2019-07-19 07:00:00 | 5.562 | 218.127 | 4.833 | 232.391 | 4.301 | 250.333 | 4.402 | 256.833 | 20.764 | 889.633 | 33.392 | 8.1367
2019-07-19 07:15:00 | 5.433 | 217.28 | 4.911 | 235.24 | 4.557 | 250.467 | 4.596 | 256 | 21.235 | 889.333 | 32.827 | 11.1531
2019-07-19 07:30:00 | 5.495 | 218.533 | 5.791 | 227.97 | 5.28 | 239.4 | 5.046 | 243.567 | 22.16 | 889.733 | 31.221 | 13.9257
2019-07-19 07:45:00 | 4.351 | 223.533 | 5.513 | 230.534 | 5.519 | 244.167 | 5.407 | 245.633 | 23.198 | 889.667 | 28.635 | 16.4219
2019-07-19 08:00:00 | 4.833 | 234.12 | 5.549 | 234.814 | 5.993 | 243.367 | 6.192 | 243.6 | 25.198 | 889.483 | 25.216 | 18.3333
2019-07-19 08:15:00 | 4.836 | 232.533 | 5.082 | 232.953 | 5.416 | 241.733 | 5.536 | 241.367 | 26.685 | 890.117 | 22.651 | 16.0524
2019-07-19 08:30:00 | 5.266 | 259.58 | 5.679 | 262.073 | 5.805 | 266.25 | 6.13 | 264.767 | 27.156 | 889.5 | 20.005 | 16.9754
2019-07-19 08:45:00 | 5.54 | 262.593 | 6.023 | 264.551 | 6.206 | 269.4 | 6.456 | 267.233 | 27.427 | 889.167 | 19.264 | 20.8821
2019-07-19 09:00:00 | 6.452 | 269.207 | 6.831 | 277.796 | 6.984 | 282.467 | 7.155 | 280.033 | 27.439 | 889.6 | 18.977 | 23.492
2019-07-19 09:15:00 | 7 | 280.693 | 7.516 | 279.838 | 7.708 | 285.033 | 7.981 | 283.867 | 28.044 | 889.733 | 18.172 | 29.8211
2019-07-19 09:30:00 | 7.172 | 289.733 | 7.607 | 287.706 | 7.548 | 289.8 | 8.166 | 286.3 | 28.218 | 889.167 | 17.968 | 41.6705
2019-07-19 09:45:00 | 7.827 | 293.907 | 7.995 | 292.622 | 8.412 | 300.6 | 8.977 | 300.6 | 28.598 | 889.667 | 18.5 | 46.6302
2019-07-19 10:00:00 | 7.092 | 296.853 | 7.352 | 297.043 | 7.587 | 298.567 | 8.025 | 294.533 | 28.56 | 889.8 | 18.141 | 46.2188
2019-07-19 10:15:00 | 7.223 | 297.973 | 7.564 | 298.043 | 7.704 | 303.233 | 8.252 | 304.9 | 28.564 | 889 | 18.181 | 39.8273
2019-07-19 10:30:00 | 7.315 | 305.987 | 7.749 | 299.697 | 7.918 | 305.4 | 8.313 | 304.467 | 28.848 | 889.267 | 17.647 | 30.629
2019-07-19 10:45:00 | 6.45 | 284.107 | 6.869 | 282.595 | 7.232 | 288.267 | 7.392 | 287.6 | 29.514 | 889.467 | 16.983 | 25.9073
2019-07-19 11:00:00 | 5.899 | 302.82 | 6.344 | 296.813 | 6.866 | 300.467 | 7.136 | 299.533 | 29.381 | 889.767 | 17.051 | 25.6785
2019-07-19 11:15:00 | 6.536 | 307.307 | 6.672 | 300.824 | 6.948 | 303.3 | 7.266 | 302.3 | 30.023 | 889.3 | 16.12 | 28.3246
2019-07-19 11:30:00 | 7.331 | 291.5 | 7.755 | 291.6 | 8.03 | 296.7 | 8.348 | 294.4 | 29.931 | 889.433 | 15.779 | 47.4815
2019-07-19 11:45:00 | 9.002 | 293.013 | 9.237 | 289.751 | 9.206 | 293.833 | 9.622 | 293.667 | 30.227 | 889.433 | 15.772 | 56.3394
2019-07-19 12:00:00 | 7.495 | 272.033 | 8.053 | 274.83 | 8.255 | 280.1 | 8.597 | 278.667 | 30.514 | 889.6 | 15.66 | 51.649
2019-07-19 12:15:00 | 9.187 | 327.04 | 9.389 | 320.625 | 9.738 | 323.867 | 9.978 | 320.067 | 30.031 | 889.467 | 16.204 | 47.4758
2019-07-19 12:30:00 | 8.024 | 279.287 | 8.464 | 276.966 | 8.809 | 280.7 | 9.122 | 277.267 | 30.664 | 889.067 | 15.963 | 45.0741
2019-07-19 12:45:00 | 7.984 | 335.093 | 8.107 | 328.503 | 8.02 | 330.4 | 8.389 | 327.467 | 30.618 | 889.233 | 15.651 | 36.6425
2019-07-19 13:00:00 | 9.025 | 327.333 | 9.209 | 320.098 | 9.296 | 324.433 | 9.461 | 322.133 | 30.694 | 889.233 | 15.581 | 37.4973
2019-07-19 13:15:00 | 6.92 | 305.293 | 7.426 | 297.076 | 7.686 | 302.033 | 8.15 | 298.233 | 30.456 | 889.4 | 15.619 | 33.0627
2019-07-19 13:30:00 | 7.438 | 271.733 | 8.174 | 275.598 | 8.248 | 282.3 | 8.475 | 280.3 | 30.971 | 889.533 | 14.835 | 28.1384
2019-07-19 13:45:00 | 6.679 | 258.08 | 7.535 | 259.215 | 7.655 | 265.083 | 7.868 | 261.133 | 31.244 | 889.367 | 14.076 | 35.706
2019-07-19 14:00:00 | 7.542 | 279.973 | 7.795 | 276.547 | 7.743 | 281.133 | 7.657 | 277.033 | 31.311 | 889.667 | 13.909 | 32.718
2019-07-19 14:15:00 | 8.558 | 311.28 | 8.892 | 307.803 | 8.934 | 312.567 | 9.392 | 310 | 31.752 | 889.5 | 13.189 | 34.0546
2019-07-19 14:30:00 | 9.077 | 297.12 | 9.687 | 293.12 | 10.23 | 298.7 | 10.634 | 293.867 | 31.874 | 889.833 | 13.241 | 45.8728
2019-07-19 14:45:00 | 7.306 | 302.773 | 7.875 | 300.252 | 7.787 | 305.667 | 8.515 | 304.433 | 31.973 | 889.033 | 12.973 | 40.6807
2019-07-19 15:00:00 | 7.391 | 316.6 | 7.604 | 304.419 | 7.759 | 307.733 | 8.005 | 303 | 31.908 | 889.7 | 13.351 | 45.7406
2019-07-19 15:15:00 | 8.486 | 268.42 | 8.96 | 264.118 | 9.254 | 267.033 | 9.434 | 262 | 32.034 | 889.567 | 12.44 | 46.8889
2019-07-19 15:30:00 | 7.691 | 279.213 | 8.54 | 278.694 | 8.491 | 282.583 | 8.953 | 280.417 | 32.454 | 889.167 | 12.437 | 37.0568
2019-07-19 15:45:00 | 7.299 | 289.64 | 7.52 | 290.701 | 7.74 | 296.967 | 8.13 | 295.233 | 31.964 | 889.4 | 12.853 | 35.2036
2019-07-19 16:00:00 | 7.791 | 284.38 | 8.402 | 282.718 | 8.186 | 285.633 | 8.461 | 283.867 | 32.543 | 889.267 | 12.692 | 35.6434
2019-07-19 16:15:00 | 8.896 | 278.513 | 9.656 | 273.766 | 9.922 | 280.567 | 10.133 | 277.667 | 32.482 | 889.133 | 12.448 | 39.0513
2019-07-19 16:30:00 | 8.225 | 290.933 | 8.731 | 287.384 | 8.711 | 290.433 | 9.239 | 289.167 | 32.487 | 889.233 | 12.669 | 36.5153
2019-07-19 16:45:00 | 8.84 | 262.66 | 8.935 | 260.12 | 9.237 | 264.4 | 9.242 | 261.233 | 32.946 | 889.267 | 12.565 | 31.6927
2019-07-19 17:00:00 | 6.408 | 299.467 | 6.589 | 290.555 | 7.019 | 290.867 | 7.178 | 287.033 | 32.946 | 889.467 | 12.676 | 39.8258
2019-07-19 17:15:00 | 8.948 | 318.653 | 9.007 | 309.982 | 9.076 | 315.233 | 9.225 | 312.633 | 32.726 | 889.4 | 12.519 | 44.183
2019-07-19 17:30:00 | 3.971 | 313.733 | 3.645 | 302.82 | 3.734 | 311.033 | 4.206 | 308.433 | 32.846 | 889.667 | 12.699 | 27.8094
2019-07-19 17:45:00 | 11.519 | 273.413 | 12.24 | 273.789 | 12.25 | 278.867 | 12.486 | 273.717 | 32.996 | 889.467 | 11.644 | 47.004
2019-07-19 18:00:00 | 7.023 | 286.08 | 7.792 | 287.552 | 8.155 | 290.433 | 8.617 | 287.517 | 32.946 | 889.7 | 11.431 | 37.493
2019-07-19 18:15:00 | 9.936 | 274.347 | 10.492 | 271.297 | 10.62 | 275.767 | 10.684 | 273.833 | 33.196 | 889.367 | 11.077 | 41.9511
2019-07-19 18:30:00 | 8.203 | 294.853 | 8.833 | 292.129 | 9.048 | 297.833 | 9.545 | 295.6 | 33.263 | 889.533 | 10.809 | 42.1934
2019-07-19 18:45:00 | 8.115 | 300.027 | 8.567 | 297.727 | 8.987 | 301.967 | 9.432 | 300.067 | 32.896 | 889.333 | 10.933 | 44.7351
2019-07-19 19:00:00 | 7.265 | 269.307 | 7.905 | 268.136 | 8.073 | 273.367 | 8.311 | 271.667 | 32.863 | 889.733 | 10.743 | 36.6866
2019-07-19 19:15:00 | 8.344 | 277.92 | 9.325 | 277.851 | 9.128 | 283.067 | 9.207 | 278.2 | 33.296 | 889.067 | 11.156 | 50.4232
2019-07-19 19:30:00 | 8.283 | 278.107 | 9.062 | 275.21 | 9.526 | 278.817 | 9.567 | 276.067 | 33.046 | 889.8 | 11.037 | 53.7039
2019-07-19 19:45:00 | 8.987 | 271.987 | 9.816 | 275.309 | 10.108 | 280.267 | 10.258 | 278.633 | 32.327 | 889.467 | 11.421 | 55.1997
2019-07-19 20:00:00 | 7.946 | 298.373 | 8.424 | 293.198 | 8.875 | 297.833 | 9.36 | 293.9 | 32.156 | 889.667 | 11.849 | 39.7988
2019-07-19 20:15:00 | 6.243 | 283.147 | 6.593 | 278.464 | 6.97 | 283 | 7.173 | 279.967 | 32.538 | 889.267 | 11.668 | 38.7962
2019-07-19 20:30:00 | 6.112 | 268.24 | 6.596 | 266.634 | 6.83 | 270.133 | 6.94 | 264.35 | 32.266 | 889.9 | 12.713 | 35.134
2019-07-19 20:45:00 | 7.665 | 281.44 | 8.472 | 281.021 | 8.609 | 285.567 | 8.803 | 284.5 | 32.266 | 889.2 | 12.485 | 33.5999
2019-07-19 21:00:00 | 6.018 | 290.32 | 6.639 | 290.981 | 7.122 | 296.733 | 7.554 | 296.067 | 31.841 | 889.3 | 13.236 | 28.9535
2019-07-19 21:15:00 | 6.698 | 290.427 | 7.72 | 286.886 | 8.176 | 291.533 | 8.643 | 288.4 | 31.135 | 889.167 | 13.965 | 44.608
2019-07-19 21:30:00 | 6.379 | 282.613 | 7.665 | 283.023 | 8.242 | 285.833 | 8.797 | 283.4 | 30.977 | 889.7 | 14.511 | 37.2799
2019-07-19 21:45:00 | 6.42 | 286.64 | 7.412 | 284.718 | 8.091 | 290.067 | 8.749 | 287.367 | 30.189 | 889.5 | 14.873 | 34.1349
2019-07-19 22:00:00 | 5.241 | 280.28 | 6.452 | 280.598 | 6.828 | 286 | 7.225 | 282.7 | 30.002 | 889.5 | 14.877 | 27.9345
2019-07-19 22:15:00 | 5.366 | 272.493 | 6.307 | 277.416 | 6.859 | 282.633 | 7.351 | 280.033 | 29.581 | 889.667 | 15.2 | 26.5105
2019-07-19 22:30:00 | 5.177 | 267.553 | 6.544 | 270.878 | 6.897 | 278.033 | 7.282 | 275.667 | 29.214 | 889.367 | 15.593 | 24.8649
2019-07-19 22:45:00 | 4.681 | 275.16 | 5.996 | 280.897 | 6.406 | 287.4 | 6.893 | 287 | 28.702 | 889.233 | 16.148 | 21.1912
2019-07-19 23:00:00 | 4.487 | 288.853 | 6.045 | 291.734 | 6.883 | 300.1 | 7.57 | 298.733 | 28.677 | 889.3 | 16.569 | 20.3918
2019-07-19 23:15:00 | 4.65 | 265.707 | 5.669 | 277.832 | 6.121 | 284.667 | 6.6 | 283.1 | 27.718 | 889.633 | 17.384 | 21.9316
2019-07-19 23:30:00 | 5.171 | 293.64 | 6.712 | 294.64 | 7.137 | 302.633 | 7.542 | 302.7 | 28.26 | 889.8 | 17.397 | 29.5574
2019-07-19 23:45:00 | 5.06 | 291.547 | 6.594 | 291.971 | 7.136 | 300.5 | 7.76 | 299.833 | 27.773 | 889.633 | 17.483 | 28.4127