## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-20 00:00:00 | 4.929 | 282.427 | 5.978 | 283.547 | 6.297 | 290.5 | 6.676 | 288.633 | 26.914 | 889.133 | 18.133 | 25.6507
2019-07-20 00:15:00 | 4.948 | 297.64 | 6.562 | 297.985 | 7.174 | 303.3 | 7.728 | 303.133 | 27.506 | 889.5 | 18.284 | 29.48
2019-07-20 00:30:00 | 5.384 | 297.6 | 6.689 | 296.971 | 7.318 | 303.4 | 7.941 | 302.133 | 27.398 | 889.6 | 18.209 | 27.7611
2019-07-20 00:45:00 | 5.11 | 295.813 | 6.438 | 299.144 | 7.372 | 307.8 | 8.061 | 306.567 | 26.652 | 889.267 | 18.691 | 28.6486
2019-07-20 01:00:00 | 5.264 | 291.4 | 7.013 | 293.106 | 7.64 | 301.067 | 8.19 | 299.667 | 26.668 | 889.833 | 19.412 | 25.9002
2019-07-20 01:15:00 | 4.788 | 284.553 | 6.531 | 288.987 | 7.252 | 297.1 | 7.942 | 296.067 | 26.444 | 889.567 | 19.645 | 23.534
2019-07-20 01:30:00 | 4.891 | 271.653 | 6.089 | 280.719 | 6.493 | 289.067 | 7.088 | 289.867 | 25.952 | 889.233 | 19.892 | 20.3059
2019-07-20 01:45:00 | 4.751 | 264.52 | 6.062 | 278.225 | 6.429 | 288.1 | 7.048 | 287.3 | 25.139 | 890 | 20.779 | 17.8871
2019-07-20 02:00:00 | 4.167 | 255.22 | 5.791 | 276.463 | 6.476 | 287.033 | 6.983 | 287.8 | 24.414 | 889.7 | 21.867 | 19.2286
2019-07-20 02:15:00 | 6.91 | 235.88 | 7.869 | 239.904 | 7.797 | 249.7 | 7.562 | 248.533 | 23.514 | 889.817 | 22.901 | 24.619
2019-07-20 02:30:00 | 5.787 | 244.527 | 6.127 | 249.66 | 6.146 | 258.9 | 6.173 | 260.25 | 24.06 | 889.667 | 22.512 | 19.3082
2019-07-20 02:45:00 | 5.545 | 239.227 | 6.05 | 247.748 | 5.947 | 256.4 | 5.842 | 255.817 | 23.131 | 889.717 | 23.333 | 20.0273
2019-07-20 03:00:00 | 5.677 | 237.44 | 6.736 | 241.734 | 6.436 | 249.433 | 6.198 | 247.1 | 22.931 | 890.05 | 24.075 | 22.9527
2019-07-20 03:15:00 | 6.132 | 237.247 | 6.801 | 244.44 | 6.487 | 254.367 | 6.395 | 253.917 | 22.648 | 890 | 24.229 | 22.7062
2019-07-20 03:30:00 | 5.882 | 232.533 | 6.854 | 241.675 | 6.527 | 252.167 | 6.344 | 251.533 | 22.648 | 889.3 | 24.725 | 23.3691
2019-07-20 03:45:00 | 5.65 | 234.533 | 6.547 | 243.397 | 6.093 | 253.8 | 5.966 | 254.983 | 22.731 | 889.433 | 25.051 | 20.3535
2019-07-20 04:00:00 | 5.246 | 236.167 | 6.7 | 244.876 | 6.319 | 255.833 | 6.145 | 256.433 | 22.177 | 889.083 | 25.755 | 18.727
2019-07-20 04:15:00 | 5.179 | 233.853 | 6.299 | 243.484 | 5.892 | 255.233 | 5.876 | 258.183 | 21.706 | 889.65 | 26.272 | 16.5242
2019-07-20 04:30:00 | 5.478 | 228.92 | 5.994 | 242.427 | 5.625 | 255.167 | 5.59 | 260.567 | 21.81 | 889.7 | 27.008 | 13.208
2019-07-20 04:45:00 | 5.441 | 220.887 | 6.141 | 234.646 | 5.581 | 251.9 | 5.23 | 256.133 | 21.589 | 889.45 | 27.941 | 13.1547
2019-07-20 05:00:00 | 5.815 | 218.42 | 6.404 | 226.728 | 5.603 | 240.5 | 4.936 | 249.2 | 21.027 | 889.817 | 28.48 | 13.871
2019-07-20 05:15:00 | 5.703 | 218.347 | 7.09 | 224.211 | 6.76 | 235.433 | 6.264 | 234.9 | 21.389 | 889.567 | 28.603 | 17.421
2019-07-20 05:30:00 | 5.557 | 221.887 | 6.776 | 226.575 | 6.878 | 235.567 | 6.52 | 233.1 | 21.044 | 890.2 | 28.971 | 18.42
2019-07-20 05:45:00 | 5.34 | 226.887 | 6.54 | 235.516 | 6.745 | 246.9 | 6.594 | 244.133 | 21.385 | 889.25 | 29.653 | 20.0074
2019-07-20 06:00:00 | 5.499 | 222.92 | 6.61 | 233.636 | 6.664 | 244.567 | 6.347 | 245.133 | 20.802 | 890.417 | 30.08 | 19.3999
2019-07-20 06:15:00 | 5.092 | 223.807 | 5.924 | 239.836 | 5.735 | 253.2 | 5.722 | 255.15 | 21.014 | 889.867 | 30.133 | 13.8539
2019-07-20 06:30:00 | 5.659 | 219.567 | 6.135 | 229.875 | 5.891 | 238.367 | 5.698 | 237 | 21.177 | 889.9 | 29.611 | 15.4967
2019-07-20 06:45:00 | 6.326 | 211.893 | 7.291 | 218.834 | 6.888 | 228.3 | 6.376 | 227.6 | 21.023 | 889.533 | 30.112 | 22.1505
2019-07-20 07:00:00 | 5.462 | 220.593 | 7.547 | 216.206 | 7.797 | 222.733 | 7.739 | 221.3 | 21.418 | 889.483 | 29.595 | 27.2524
2019-07-20 07:15:00 | 5.871 | 218.833 | 7.567 | 221.784 | 7.566 | 229.133 | 7.615 | 225.133 | 22.073 | 889.9 | 28.587 | 30.0641
2019-07-20 07:30:00 | 5.975 | 218.947 | 7.72 | 219.887 | 7.76 | 228.8 | 7.669 | 225.4 | 22.748 | 889.633 | 27.456 | 31.9272
2019-07-20 07:45:00 | 5.724 | 224.14 | 7.198 | 224.723 | 7.629 | 231.633 | 7.794 | 227.067 | 23.714 | 889.533 | 26.24 | 32.4701
2019-07-20 08:00:00 | 5.687 | 233.94 | 6.591 | 232.479 | 7.11 | 240.767 | 7.352 | 237.567 | 24.389 | 889.617 | 24.768 | 31.6827
2019-07-20 08:15:00 | 5.467 | 243.507 | 6.248 | 241.346 | 6.844 | 248.433 | 7.09 | 245.7 | 25.139 | 889.4 | 23.611 | 26.4039
2019-07-20 08:30:00 | 5.152 | 241.987 | 5.924 | 240.639 | 6.535 | 247.8 | 6.734 | 245.9 | 25.264 | 889.467 | 23.467 | 29.6242
2019-07-20 08:45:00 | 5.727 | 253.82 | 6.597 | 251.855 | 7.265 | 256.583 | 7.447 | 252 | 25.885 | 889.4 | 23.157 | 38.011
2019-07-20 09:00:00 | 8.164 | 248.68 | 8.638 | 246.848 | 8.755 | 251.483 | 8.731 | 247.8 | 26.927 | 889.767 | 22.064 | 40.8171
2019-07-20 09:15:00 | 5.815 | 267.48 | 6.011 | 267.345 | 6.19 | 271.633 | 6.293 | 266.467 | 27.418 | 889.367 | 20.777 | 21.3362
2019-07-20 09:30:00 | 7.575 | 275.387 | 8.013 | 276.161 | 8.14 | 279.3 | 8.281 | 273.2 | 27.56 | 889.8 | 19.727 | 35.0579
2019-07-20 09:45:00 | 7.873 | 260.547 | 8.218 | 264.567 | 8.369 | 269.9 | 8.448 | 265.467 | 28.181 | 889.7 | 19.061 | 49.5769
2019-07-20 10:00:00 | 7.721 | 267.653 | 8.218 | 265.882 | 8.28 | 270.9 | 8.433 | 263.883 | 28.227 | 889.5 | 19.079 | 48.8145
2019-07-20 10:15:00 | 8.461 | 259.62 | 9.487 | 263.077 | 9.655 | 268.4 | 9.509 | 264.017 | 29.264 | 889.467 | 18.391 | 54.0564
2019-07-20 10:30:00 | 8.026 | 272.94 | 8.873 | 274.125 | 9.1 | 278.733 | 9.342 | 273.167 | 29.298 | 889.433 | 18.068 | 48.7534
2019-07-20 10:45:00 | 7.229 | 260.767 | 7.703 | 262.241 | 7.855 | 265.433 | 7.927 | 260.817 | 29.598 | 889.533 | 17.363 | 40.8142
2019-07-20 11:00:00 | 7.186 | 258.693 | 7.758 | 255.729 | 7.976 | 262.217 | 7.963 | 256.617 | 30.202 | 889.267 | 16.417 | 42.0449
2019-07-20 11:15:00 | 7.659 | 248.293 | 7.964 | 246.036 | 8.102 | 251.117 | 8.426 | 246.517 | 30.252 | 889.767 | 16.633 | 60.4969
2019-07-20 11:30:00 | 9.251 | 237.093 | 10.054 | 234.529 | 10.697 | 237.5 | 10.744 | 232.067 | 29.998 | 889.767 | 17.648 | 66.1886
2019-07-20 11:45:00 | 10.101 | 226.113 | 10.609 | 222.324 | 11.003 | 225 | 11.108 | 218.933 | 29.764 | 889.6 | 18.203 | 63.8529
2019-07-20 12:00:00 | 8.885 | 236.753 | 8.99 | 233.594 | 9.088 | 238.033 | 9.139 | 229 | 29.831 | 889.633 | 17.915 | 61.8243
2019-07-20 12:15:00 | 9.673 | 246.933 | 10.038 | 240.653 | 10.686 | 243.283 | 10.832 | 237.883 | 30.081 | 889.833 | 17.964 | 53.3302
2019-07-20 12:30:00 | 7.763 | 239.533 | 8.318 | 238.686 | 8.592 | 239.533 | 8.33 | 233.117 | 30.689 | 889.7 | 17.907 | 48.7655
2019-07-20 12:45:00 | 6.583 | 239.92 | 7.047 | 239.126 | 7.404 | 245.433 | 7.308 | 240.217 | 30.398 | 889.733 | 18.8 | 49.9351
2019-07-20 13:00:00 | 9.073 | 226.353 | 9.483 | 226.617 | 9.967 | 231.5 | 10.043 | 224.333 | 30.979 | 890.1 | 17.555 | 44.6549
2019-07-20 13:15:00 | 7.65 | 238.4 | 8.239 | 236.535 | 8.375 | 242.283 | 8.277 | 236.8 | 31.244 | 889.3 | 17.091 | 41.8936
2019-07-20 13:30:00 | 8.167 | 283.853 | 8.731 | 282.648 | 8.928 | 286.7 | 9.259 | 284.633 | 30.177 | 889.533 | 15.1 | 32.831
2019-07-20 13:45:00 | 5.777 | 279.6 | 5.824 | 275.163 | 6.164 | 277.167 | 6.529 | 273.117 | 30.01 | 889.5 | 15.605 | 31.5058
2019-07-20 14:00:00 | 5.696 | 259.1 | 5.982 | 258.199 | 6.279 | 263.5 | 6.242 | 260.4 | 30.323 | 889.833 | 14.587 | 27.6297
2019-07-20 14:15:00 | 5.755 | 258.127 | 6.32 | 247.839 | 6.811 | 250.683 | 6.841 | 242.233 | 30.956 | 889.567 | 16.551 | 25.0617
2019-07-20 14:30:00 | 7.279 | 263.62 | 7.589 | 265.073 | 7.625 | 272.2 | 7.686 | 269.233 | 31.07 | 889.567 | 15.179 | 38.6108
2019-07-20 14:45:00 | 7.347 | 253.16 | 7.614 | 247.261 | 8.041 | 249.817 | 8.212 | 243.85 | 30.656 | 889.8 | 16.591 | 41.9639
2019-07-20 15:00:00 | 8.965 | 267.12 | 9.518 | 267.478 | 10.046 | 271.833 | 10.275 | 266.183 | 30.698 | 889.733 | 14.737 | 46.1989
2019-07-20 15:15:00 | 7.376 | 247.327 | 8.091 | 246.002 | 8.358 | 251.017 | 8.34 | 247.133 | 31.166 | 889.933 | 14.968 | 42.1871
2019-07-20 15:30:00 | 6.97 | 283.42 | 7.319 | 281.654 | 7.43 | 283.933 | 7.769 | 279.933 | 31.098 | 889.4 | 14.472 | 31.7666
2019-07-20 15:45:00 | 8.952 | 260.107 | 9.885 | 260.104 | 9.908 | 265.95 | 10.261 | 262.867 | 32.47 | 890.033 | 14.151 | 43.6451
2019-07-20 16:00:00 | 6.672 | 257.44 | 7.079 | 258.645 | 7.522 | 264.617 | 7.621 | 262.417 | 31.366 | 889.7 | 14.723 | 35.8055
2019-07-20 16:15:00 | 9.905 | 267.353 | 10.671 | 263.779 | 11.026 | 272.017 | 11.479 | 268.717 | 31.929 | 889.433 | 13.676 | 55.5542
2019-07-20 16:30:00 | 9.653 | 281.52 | 10.51 | 281.59 | 10.73 | 287.45 | 10.927 | 283 | 31.38 | 889.467 | 14.796 | 59.3401
2019-07-20 16:45:00 | 9.018 | 277.793 | 9.447 | 277.43 | 9.98 | 281.433 | 10.645 | 278.333 | 31.791 | 889.833 | 13.596 | 59.4908
2019-07-20 17:00:00 | 10.973 | 260.073 | 11.735 | 260.261 | 11.773 | 264.133 | 11.88 | 260.15 | 32.299 | 889.267 | 12.625 | 62.4446
2019-07-20 17:15:00 | 9.936 | 302.533 | 10.394 | 298.34 | 10.94 | 301.233 | 11.414 | 298.067 | 31.884 | 889.633 | 12.672 | 69.3819
2019-07-20 17:30:00 | 9.453 | 280.6 | 10.138 | 279.142 | 10.409 | 282.567 | 10.324 | 278.5 | 31.856 | 889.333 | 12.084 | 65.9242
2019-07-20 17:45:00 | 10.08 | 274.147 | 10.6 | 273.748 | 10.741 | 278.167 | 10.876 | 275.2 | 31.564 | 889.633 | 13.471 | 61.1499
2019-07-20 18:00:00 | 9.961 | 294.013 | 10.197 | 289.761 | 10.654 | 290.933 | 11.164 | 288.4 | 31.576 | 889.2 | 13.739 | 53.3003
2019-07-20 18:15:00 | 9.453 | 269.06 | 10.539 | 269.917 | 10.73 | 274.867 | 10.846 | 270.367 | 31.604 | 889.533 | 12.88 | 54.4209
2019-07-20 18:30:00 | 9.924 | 295.6 | 10.255 | 290.993 | 10.378 | 296.433 | 11.109 | 292.4 | 31.587 | 890.067 | 13.263 | 57.8316
2019-07-20 18:45:00 | 9.055 | 273.107 | 9.554 | 274.39 | 9.697 | 278.2 | 9.912 | 274.367 | 31.346 | 889.4 | 13.711 | 49.9777
2019-07-20 19:00:00 | 9.181 | 260.967 | 9.876 | 265.287 | 10.037 | 270.467 | 9.95 | 266.567 | 31.841 | 889.6 | 13.237 | 54.5033
2019-07-20 19:15:00 | 8.046 | 273.713 | 8.914 | 275.13 | 9.127 | 279.8 | 9.387 | 275.967 | 31.089 | 889.733 | 13.124 | 52.1861
2019-07-20 19:30:00 | 9.329 | 265.52 | 10.166 | 266.186 | 10.276 | 270.033 | 10.395 | 266.033 | 31.139 | 889.3 | 13.599 | 47.9455
2019-07-20 19:45:00 | 9.811 | 276.853 | 10.868 | 276.824 | 11.084 | 282.533 | 11.598 | 280.033 | 30.814 | 889.8 | 14.32 | 50.0928
2019-07-20 20:00:00 | 10.116 | 273.867 | 11.252 | 273.322 | 11.626 | 278.2 | 11.825 | 274.5 | 30.639 | 889.7 | 14.34 | 48.548
2019-07-20 20:15:00 | 9.918 | 269.027 | 11.112 | 268.655 | 11.418 | 273.067 | 11.371 | 269.433 | 30.673 | 889.567 | 14.917 | 49.0717
2019-07-20 20:30:00 | 8.208 | 273.287 | 8.89 | 272.905 | 9.059 | 277.5 | 9.401 | 274.133 | 30.21 | 889.4 | 14.885 | 49.2849
2019-07-20 20:45:00 | 10.398 | 294.933 | 11.722 | 292.376 | 12.144 | 295.3 | 12.687 | 293.433 | 30.064 | 889.633 | 17.096 | 47.7032
2019-07-20 21:00:00 | 15.723 | 261.987 | 18.364 | 267.763 | 19.17 | 273.167 | 19.941 | 266.767 | 28.31 | 889.567 | 22.573 | 48.1807
2019-07-20 21:15:00 | 12.541 | 255.373 | 14.36 | 257.945 | 15.29 | 261.733 | 15.611 | 256.8 | 27.752 | 889.533 | 24.437 | 47.5803
2019-07-20 21:30:00 | 9.227 | 249.373 | 10.744 | 248.438 | 11.595 | 253.183 | 11.819 | 249.8 | 27.202 | 889.633 | 24.077 | 47.2001
2019-07-20 21:45:00 | 8.049 | 243.96 | 8.952 | 243.09 | 9.624 | 247.7 | 9.532 | 243.083 | 27.948 | 889.85 | 23.824 | 47.954
2019-07-20 22:00:00 | 8.617 | 239.533 | 9.742 | 236.71 | 10.293 | 239.267 | 10.639 | 232.4 | 27.144 | 890.017 | 26.469 | 47.6755
2019-07-20 22:15:00 | 9.761 | 236.187 | 10.835 | 232.975 | 11.373 | 237.933 | 11.478 | 232.8 | 26.539 | 890.1 | 27.616 | 47.7153
2019-07-20 22:30:00 | 9.859 | 231.987 | 11.08 | 231.109 | 11.96 | 235.2 | 12.461 | 228.9 | 26.331 | 889.517 | 28.32 | 47.7558
2019-07-20 22:45:00 | 9.718 | 232 | 10.668 | 233.761 | 11.353 | 238.733 | 11.588 | 234.967 | 26.035 | 890 | 28.731 | 47.6641
2019-07-20 23:00:00 | 9.643 | 238.32 | 10.675 | 236.113 | 11.49 | 240.167 | 11.775 | 235.533 | 26.198 | 889.633 | 29.2 | 47.8872
2019-07-20 23:15:00 | 9.505 | 239.64 | 10.766 | 236.848 | 11.722 | 242.367 | 12.086 | 236.3 | 25.985 | 889.533 | 29.643 | 48.0215
2019-07-20 23:30:00 | 10.523 | 239.067 | 12.238 | 237.767 | 13.259 | 241.533 | 13.753 | 236.767 | 25.748 | 890.083 | 30.155 | 47.7401
2019-07-20 23:45:00 | 9.883 | 242.167 | 11.698 | 240.577 | 12.697 | 244.933 | 13.34 | 238.9 | 25.056 | 889.217 | 30.821 | 50.0893