## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-21 00:00:00 | 8.428 | 243.753 | 10.55 | 241.602 | 11.778 | 247.95 | 12.034 | 243.333 | 25.056 | 889.517 | 30.843 | 48.6447
2019-07-21 00:15:00 | 8.633 | 253.907 | 10.608 | 255.725 | 11.234 | 261.15 | 12.159 | 257.817 | 24.573 | 889.717 | 30.579 | 50.2499
2019-07-21 00:30:00 | 9.908 | 265.94 | 11.349 | 272.208 | 12.354 | 275.633 | 13.139 | 271.4 | 25.731 | 889.883 | 29.019 | 51.2539
2019-07-21 00:45:00 | 10.467 | 267.227 | 12.172 | 274.287 | 12.791 | 277.467 | 13.451 | 275.067 | 25.306 | 889.783 | 28.205 | 49.7034
2019-07-21 01:00:00 | 8.506 | 277.633 | 9.698 | 278.948 | 10.141 | 282.8 | 10.74 | 280.9 | 24.514 | 889.967 | 28.547 | 51.1878
2019-07-21 01:15:00 | 7.474 | 282.447 | 8.778 | 282.467 | 9.205 | 285.9 | 9.822 | 284.233 | 24.614 | 889.933 | 29.093 | 51.9119
2019-07-21 01:30:00 | 5.949 | 275.027 | 6.762 | 277.07 | 7.347 | 281.067 | 7.83 | 278.833 | 24.164 | 889.783 | 29.592 | 33.3135
2019-07-21 01:45:00 | 5.477 | 261.013 | 6.541 | 266.446 | 7.019 | 273.267 | 7.403 | 270.567 | 24.044 | 889.633 | 30.771 | 23.1936
2019-07-21 02:00:00 | 4.908 | 245 | 5.729 | 247.279 | 5.989 | 252.8 | 6.143 | 248.833 | 23.668 | 889.933 | 31.744 | 23.2583
2019-07-21 02:15:00 | 5.572 | 245.833 | 6.702 | 247.579 | 6.964 | 253.467 | 7.067 | 249.35 | 23.681 | 890.133 | 31.504 | 23.1218
2019-07-21 02:30:00 | 4.774 | 233.093 | 5.831 | 234.613 | 6.185 | 240.967 | 6.223 | 235.767 | 23.164 | 889.8 | 31.349 | 16.6969
2019-07-21 02:45:00 | 4.698 | 216.087 | 5.42 | 223.831 | 5.554 | 233.1 | 5.592 | 229.433 | 22.531 | 889.733 | 32.288 | 14.9859
2019-07-21 03:00:00 | 5.211 | 211.907 | 6.481 | 213.281 | 6.745 | 218.533 | 6.805 | 216.833 | 22.273 | 889.917 | 33.515 | 18.5515
2019-07-21 03:15:00 | 5.08 | 204.16 | 6.439 | 204.03 | 6.923 | 208.433 | 7.169 | 205.467 | 22.044 | 889.25 | 35.536 | 23.7969
2019-07-21 03:30:00 | 5.009 | 210.7 | 6.259 | 212.22 | 6.721 | 218.5 | 6.923 | 215.867 | 22.548 | 890.067 | 36.592 | 25.8469
2019-07-21 03:45:00 | 5.082 | 232.513 | 6.192 | 233.395 | 6.455 | 241.067 | 6.649 | 237.983 | 21.777 | 890.017 | 37.275 | 30.5551
2019-07-21 04:00:00 | 4.85 | 239.593 | 5.649 | 240.103 | 6.387 | 249.367 | 6.688 | 243.467 | 22.431 | 890.133 | 35.259 | 29.2313
2019-07-21 04:15:00 | 8.315 | 241.267 | 9.758 | 245.81 | 10.553 | 250.683 | 11.064 | 246.867 | 22.648 | 889.567 | 33.752 | 58.5478
2019-07-21 04:30:00 | 8.602 | 234.92 | 9.384 | 237.49 | 10.3 | 245.167 | 10.249 | 241.033 | 22.548 | 889.983 | 33.157 | 58.4946
2019-07-21 04:45:00 | 8.626 | 249.213 | 10.343 | 256.053 | 11.224 | 262.467 | 11.6 | 258.1 | 22.831 | 889.967 | 33.579 | 63.2717
2019-07-21 05:00:00 | 9.543 | 252 | 11.058 | 255.29 | 11.737 | 261.233 | 12.22 | 258.25 | 22.481 | 889.45 | 33.672 | 78.5759
2019-07-21 05:15:00 | 9.498 | 247.4 | 10.966 | 254.552 | 11.975 | 260.183 | 12.631 | 255.767 | 22.448 | 889.633 | 34.099 | 77.0297
2019-07-21 05:30:00 | 10.439 | 256.347 | 12.416 | 262.204 | 12.769 | 267.767 | 13.342 | 262.3 | 22.068 | 889.617 | 34.581 | 76.705
2019-07-21 05:45:00 | 9.787 | 251.433 | 11.659 | 264.514 | 12.604 | 269.8 | 13.08 | 263.8 | 22.631 | 889.65 | 34.677 | 73.8236
2019-07-21 06:00:00 | 9.456 | 253.747 | 11.236 | 256.6 | 11.799 | 262.3 | 12.233 | 257.567 | 21.964 | 889.8 | 34.925 | 73.2516
2019-07-21 06:15:00 | 8.233 | 246.62 | 9.909 | 255.559 | 10.562 | 261.483 | 11.136 | 256.55 | 21.739 | 889.817 | 35.547 | 69.8977
2019-07-21 06:30:00 | 10.839 | 244.667 | 13.166 | 255.996 | 14.222 | 261.4 | 15.15 | 257.083 | 21.631 | 889.433 | 35.693 | 78.971
2019-07-21 06:45:00 | 9.984 | 246.147 | 11.648 | 256.028 | 12.682 | 260.267 | 13.142 | 256.217 | 22.168 | 889.65 | 35.613 | 75.8978
2019-07-21 07:00:00 | 10.162 | 249.533 | 11.935 | 253.568 | 13.042 | 258.233 | 13.819 | 253.45 | 22.398 | 889.817 | 34.621 | 73.0526
2019-07-21 07:15:00 | 8.634 | 250.267 | 10.249 | 251.436 | 11.492 | 257.3 | 11.84 | 254.017 | 22.564 | 889.633 | 34.379 | 73.2253
2019-07-21 07:30:00 | 7.945 | 241.7 | 8.983 | 244.409 | 9.715 | 251.033 | 9.874 | 245.683 | 22.381 | 889.933 | 34.373 | 66.7172
2019-07-21 07:45:00 | 7.744 | 242.993 | 9.078 | 247.517 | 9.798 | 252.833 | 10.075 | 249.867 | 22.748 | 889.95 | 33.32 | 55.3666
2019-07-21 08:00:00 | 8.37 | 252.833 | 9.377 | 253.986 | 9.78 | 259.283 | 10.088 | 254.15 | 23.835 | 890.133 | 31.168 | 53.8354
2019-07-21 08:15:00 | 9.556 | 257.78 | 10.521 | 266.248 | 10.807 | 269.3 | 11.231 | 265.4 | 24.068 | 889.583 | 31.235 | 69.6682
2019-07-21 08:30:00 | 8.966 | 257.633 | 9.626 | 262.916 | 9.791 | 267 | 9.621 | 261.733 | 23.894 | 889.667 | 31.088 | 68.3032
2019-07-21 08:45:00 | 9.46 | 256.653 | 10.177 | 264.424 | 10.662 | 269.1 | 10.707 | 264.367 | 24.431 | 889.717 | 30.333 | 70.2018
2019-07-21 09:00:00 | 8.854 | 260.173 | 9.736 | 268.923 | 9.903 | 272.767 | 10.157 | 268.6 | 24.468 | 889.683 | 30.056 | 70.7149
2019-07-21 09:15:00 | 8.649 | 262.207 | 9.188 | 267.064 | 9.357 | 271.367 | 9.632 | 265.8 | 25.106 | 889.8 | 29.184 | 56.5959
2019-07-21 09:30:00 | 8.496 | 260.3 | 9.13 | 266.699 | 9.172 | 272.567 | 9.298 | 269.633 | 25.477 | 890 | 28.179 | 51.5239
2019-07-21 09:45:00 | 7.92 | 276.567 | 8.61 | 276.468 | 8.669 | 280.133 | 8.863 | 276.267 | 25.648 | 890.183 | 27.875 | 47.4119
2019-07-21 10:00:00 | 7.467 | 282.533 | 7.96 | 282.128 | 8.132 | 286.267 | 8.392 | 283.833 | 25.377 | 889.867 | 27.501 | 40.8789
2019-07-21 10:15:00 | 7.681 | 275.38 | 8.251 | 282.833 | 8.497 | 286.333 | 8.984 | 285.967 | 25.518 | 889.767 | 27.08 | 41.8801
2019-07-21 10:30:00 | 7.999 | 268.3 | 8.702 | 277.118 | 8.672 | 280.667 | 8.984 | 276.867 | 25.894 | 890.05 | 26.752 | 44.2349
2019-07-21 10:45:00 | 8.072 | 289.253 | 8.839 | 289.372 | 9.057 | 292.633 | 9.488 | 292.2 | 25.923 | 889.8 | 25.715 | 50.4055
2019-07-21 11:00:00 | 9 | 295.747 | 9.244 | 292.796 | 9.51 | 297.6 | 9.923 | 296.9 | 25.981 | 890.05 | 25.168 | 50.0942
2019-07-21 11:15:00 | 7.126 | 288.693 | 7.504 | 286.575 | 7.718 | 290.733 | 8.07 | 287.717 | 26.473 | 889.65 | 25.379 | 47.8979
2019-07-21 11:30:00 | 7.98 | 288.353 | 8.615 | 285.166 | 8.896 | 286.667 | 9.119 | 283.6 | 26.644 | 889.733 | 24.477 | 45.6866
2019-07-21 11:45:00 | 8.336 | 256.42 | 8.903 | 257.607 | 8.995 | 263.333 | 8.996 | 258.35 | 27.31 | 890.35 | 23.189 | 48.6326
2019-07-21 12:00:00 | 8.06 | 270.56 | 8.658 | 274.529 | 8.714 | 278.667 | 9.033 | 274.983 | 28.239 | 889.7 | 22.437 | 56.5213
2019-07-21 12:15:00 | 10.626 | 285.193 | 11.294 | 284.489 | 11.716 | 287.833 | 11.872 | 284.7 | 27.785 | 889.367 | 20.485 | 60.4763
2019-07-21 12:30:00 | 9.208 | 296.08 | 9.938 | 293.759 | 10.199 | 300.417 | 10.686 | 299.8 | 28.198 | 890.067 | 21.189 | 56.3216
2019-07-21 12:45:00 | 10.434 | 284.787 | 10.949 | 286.409 | 11.073 | 292.167 | 11.453 | 289.133 | 28.381 | 889.75 | 20.772 | 68.9839
2019-07-21 13:00:00 | 8.773 | 283.113 | 9.48 | 283.334 | 10.13 | 286.233 | 10.663 | 281.733 | 27.885 | 889.217 | 20.604 | 61.1357
2019-07-21 13:15:00 | 9.289 | 288.24 | 10.118 | 287.399 | 10.835 | 292.5 | 10.968 | 290.9 | 28.248 | 889.55 | 20.603 | 58.5855
2019-07-21 13:30:00 | 9.528 | 301.813 | 10.178 | 298.247 | 10.265 | 298.833 | 10.605 | 295.7 | 28.231 | 889.9 | 19.925 | 57.2006
2019-07-21 13:45:00 | 9.772 | 255.067 | 10.609 | 264.95 | 10.765 | 268.567 | 10.66 | 261.4 | 28.173 | 889.55 | 20.493 | 68.5413
2019-07-21 14:00:00 | 13.693 | 235.893 | 14.649 | 232.059 | 14.926 | 236.6 | 14.712 | 230.433 | 28.006 | 889.817 | 22.107 | 78.33
2019-07-21 14:15:00 | 18.644 | 262.973 | 20.126 | 269.158 | 20.263 | 272.167 | 20.539 | 268.933 | 25.602 | 889.45 | 31.083 | 74.6933
2019-07-21 14:30:00 | 16.288 | 266.94 | 18.088 | 272.169 | 18.714 | 276.733 | 18.939 | 273.6 | 23.948 | 889.9 | 34.72 | 69.3208
2019-07-21 14:45:00 | 16.834 | 253.093 | 18.219 | 259.678 | 18.642 | 262.717 | 19.014 | 257.583 | 23.606 | 889.833 | 34.875 | 67.7603
2019-07-21 15:00:00 | 16.452 | 245.02 | 18.322 | 259.656 | 19.073 | 264.15 | 19.434 | 259.883 | 21.202 | 889.883 | 46.603 | 73.8179
2019-07-21 15:15:00 | 10.409 | 245.767 | 11.8 | 246.372 | 12.646 | 251.1 | 13.145 | 246.25 | 18.952 | 889.758 | 64 | 73.9849
2019-07-21 15:30:00 | 8.558 | 225.42 | 9.469 | 223.428 | 10.03 | 229.4 | 10.407 | 224.2 | 18.831 | 889.75 | 62.539 | 61.6886
2019-07-21 15:45:00 | 6.9 | 216.793 | 7.907 | 213.814 | 8.132 | 215.733 | 8.364 | 211.867 | 19.573 | 889.608 | 58.869 | 45.2603
2019-07-21 16:00:00 | 7.627 | 212.413 | 8.466 | 210.878 | 8.976 | 213.067 | 9.473 | 210.2 | 19.681 | 890.067 | 55.659 | 56.6442
2019-07-21 16:15:00 | 8.743 | 215.573 | 9.719 | 213.208 | 10.265 | 215.2 | 10.655 | 211.333 | 20.473 | 889.858 | 50.901 | 72.1907
2019-07-21 16:30:00 | 9.595 | 214.68 | 10.336 | 211.687 | 10.935 | 214.367 | 11.421 | 209.8 | 20.618 | 889.85 | 49.856 | 70.7
2019-07-21 16:45:00 | 10.347 | 215.647 | 11.289 | 215.295 | 12.183 | 219.067 | 12.726 | 213.7 | 21.152 | 890.158 | 47.04 | 71.5988
2019-07-21 17:00:00 | 9.296 | 217.627 | 9.996 | 215.053 | 10.21 | 217.8 | 10.67 | 213.567 | 21.298 | 889.575 | 45.141 | 61.5891
2019-07-21 17:15:00 | 9.529 | 207.327 | 10.491 | 204.619 | 10.904 | 208.133 | 11.327 | 203.867 | 21.723 | 890.225 | 47.829 | 71.2528
2019-07-21 17:30:00 | 11.206 | 191.373 | 12.453 | 187.149 | 12.522 | 190.3 | 13.294 | 186.667 | 20.964 | 889.567 | 50.389 | 69.1069
2019-07-21 17:45:00 | 11.002 | 197.24 | 11.492 | 192.535 | 11.608 | 194.8 | 12.168 | 190.733 | 20.644 | 889.842 | 52.107 | 74.7779
2019-07-21 18:00:00 | 10.87 | 194.847 | 11.31 | 192.377 | 11.532 | 194.6 | 12.145 | 190.9 | 20.756 | 889.742 | 51.189 | 76.4733
2019-07-21 18:15:00 | 11.616 | 198.047 | 12.403 | 193.506 | 12.758 | 197.5 | 13.14 | 192.3 | 22.152 | 889.817 | 46.848 | 78.4274
2019-07-21 18:30:00 | 12.397 | 192.973 | 13.644 | 190.534 | 13.79 | 193.233 | 14.382 | 187.467 | 21.714 | 889.917 | 44.437 | 73.2473
2019-07-21 18:45:00 | 12.41 | 195.053 | 13.12 | 188.707 | 13.224 | 191 | 13.475 | 187.2 | 22.464 | 889.65 | 39.664 | 70.8669
2019-07-21 19:00:00 | 12.556 | 194.1 | 13.248 | 191.137 | 13.297 | 195.3 | 13.921 | 191.6 | 22.531 | 889.767 | 39.051 | 70.3347
2019-07-21 19:15:00 | 11.292 | 198.827 | 12.187 | 195.438 | 12.375 | 198.833 | 12.898 | 194.667 | 22.381 | 890.2 | 39.168 | 69.573
2019-07-21 19:30:00 | 10.392 | 206.687 | 10.75 | 203.178 | 10.841 | 204.867 | 11.131 | 199.067 | 22.914 | 889.683 | 38.357 | 70.7262
2019-07-21 19:45:00 | 9.315 | 205.78 | 10.176 | 203.395 | 10.412 | 206.633 | 10.891 | 203 | 22.46 | 889.733 | 38.213 | 77.4553
2019-07-21 20:00:00 | 9.701 | 208.96 | 10.381 | 208.784 | 10.922 | 211.4 | 11.659 | 207.367 | 22.564 | 890.067 | 38.224 | 77.223
2019-07-21 20:15:00 | 9.282 | 207.26 | 9.937 | 207.216 | 10.379 | 209.467 | 11.074 | 206.867 | 22.748 | 889.883 | 38.779 | 72.8821
2019-07-21 20:30:00 | 7.863 | 211.7 | 8.662 | 210.125 | 9.32 | 215.267 | 9.942 | 210.867 | 22.648 | 890.067 | 38.864 | 56.2236
2019-07-21 20:45:00 | 6.585 | 221.94 | 7.499 | 217.432 | 8.148 | 220.633 | 8.434 | 214.7 | 22.931 | 889.85 | 37.925 | 44.7167
2019-07-21 21:00:00 | 7.065 | 216.1 | 7.883 | 214.663 | 8.402 | 216.633 | 8.66 | 212.167 | 22.464 | 889.483 | 40.144 | 47.706
2019-07-21 21:15:00 | 6.892 | 215.627 | 8.195 | 211.671 | 9.15 | 213.8 | 10.006 | 209.3 | 21.706 | 889.408 | 41.92 | 43.8768
2019-07-21 21:30:00 | 6.518 | 214.973 | 7.717 | 211.848 | 8.461 | 213.933 | 8.893 | 210.1 | 21.014 | 889.725 | 43.307 | 39.1615
2019-07-21 21:45:00 | 5.791 | 215.08 | 6.758 | 212.745 | 7.642 | 215.233 | 8.336 | 211.067 | 20.435 | 889.683 | 44.309 | 39.3029
2019-07-21 22:00:00 | 5.103 | 214.553 | 6.486 | 213.41 | 7.797 | 214.467 | 8.509 | 212.233 | 20.414 | 890 | 45.312 | 36.7299
2019-07-21 22:15:00 | 6.508 | 216.107 | 8.226 | 212.808 | 8.855 | 216.567 | 8.72 | 214.867 | 20.027 | 890.233 | 45.771 | 36.4165
2019-07-21 22:30:00 | 6.376 | 216.147 | 8.023 | 212.193 | 8.751 | 216.633 | 8.245 | 215.7 | 19.698 | 889.425 | 48.149 | 37.1427
2019-07-21 22:45:00 | 5.66 | 208.273 | 7.506 | 204.944 | 8.174 | 209.767 | 8.301 | 206.233 | 19.364 | 889.592 | 49.6 | 30.5927
2019-07-21 23:00:00 | 5.66 | 208.273 | 7.506 | 204.944 | 8.174 | 209.767 | 8.301 | 206.233 | 19.364 | 889.592 | 49.6 | 20.4068
2019-07-21 23:15:00 | 5.66 | 208.273 | 7.506 | 204.944 | 8.174 | 209.767 | 8.301 | 206.233 | 19.364 | 889.592 | 49.6 | 22.1576
2019-07-21 23:30:00 | 5.66 | 208.273 | 7.506 | 204.944 | 8.174 | 209.767 | 8.301 | 206.233 | 19.364 | 889.592 | 49.6 | 23.8665
2019-07-21 23:45:00 | 5.66 | 208.273 | 7.506 | 204.944 | 8.174 | 209.767 | 8.301 | 206.233 | 19.364 | 889.592 | 49.6 | 24.6154