## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-22 00:00:00 | 5.634 | 219.407 | 8.06 | 218.416 | 8.124 | 224.933 | 7.873 | 221.3 | 17.839 | 890.417 | 50.293 | 20.4537
2019-07-22 00:15:00 | 5.634 | 219.407 | 8.06 | 218.416 | 8.124 | 224.933 | 7.873 | 221.3 | 17.839 | 890.417 | 50.293 | 23.3847
2019-07-22 00:30:00 | 5.634 | 219.407 | 8.06 | 218.416 | 8.124 | 224.933 | 7.873 | 221.3 | 17.839 | 890.417 | 50.293 | 25.7687
2019-07-22 00:45:00 | 5.634 | 219.407 | 8.06 | 218.416 | 8.124 | 224.933 | 7.873 | 221.3 | 17.839 | 890.417 | 50.293 | 26.9852
2019-07-22 01:00:00 | 5.634 | 219.407 | 8.06 | 218.416 | 8.124 | 224.933 | 7.873 | 221.3 | 17.839 | 890.417 | 50.293 | 31.0077
2019-07-22 01:15:00 | 5.895 | 219.993 | 8.172 | 216.006 | 8.516 | 222.167 | 8.642 | 218.867 | 18.085 | 890.217 | 50.165 | 35.9312
2019-07-22 01:30:00 | 5.902 | 221 | 8.332 | 220.634 | 8.118 | 227.133 | 7.861 | 223.933 | 18.098 | 889.642 | 50.784 | 31.2678
2019-07-22 01:45:00 | 5.782 | 220 | 7.256 | 223.086 | 7.264 | 231.2 | 7.108 | 228.5 | 17.998 | 889.95 | 50.763 | 31.1129
2019-07-22 02:00:00 | 6.137 | 221.207 | 7.795 | 223.041 | 7.924 | 230.067 | 7.998 | 227.167 | 17.889 | 889.775 | 50.101 | 31.0745
2019-07-22 02:15:00 | 5.621 | 220.587 | 7.046 | 225.633 | 7.072 | 236.4 | 6.82 | 235.433 | 18.052 | 889.758 | 49.707 | 25.9904
2019-07-22 02:30:00 | 6.112 | 218.487 | 8.171 | 220.539 | 7.658 | 229.333 | 7.252 | 229.6 | 17.598 | 889.558 | 50.709 | 29.0707
2019-07-22 02:45:00 | 6.028 | 218.433 | 7.838 | 221.199 | 7.286 | 229.267 | 6.926 | 227.667 | 17.639 | 889.942 | 51.467 | 23.794
2019-07-22 03:00:00 | 5.611 | 221.153 | 6.646 | 224.895 | 6.507 | 233.433 | 6.311 | 230.833 | 17.394 | 889.867 | 51.147 | 18.4065
2019-07-22 03:15:00 | 5.276 | 216.467 | 6.34 | 223.178 | 6.321 | 234.533 | 5.962 | 233.267 | 17.744 | 889.667 | 51.52 | 18.1678
2019-07-22 03:30:00 | 5.756 | 216.553 | 7.835 | 219.646 | 7.244 | 231.3 | 6.588 | 233.7 | 16.981 | 889.633 | 52.395 | 24.0832
2019-07-22 03:45:00 | 6.21 | 221.187 | 8.015 | 222.078 | 7.515 | 229.867 | 7.372 | 227.967 | 17.244 | 889.842 | 52.693 | 28.2479
2019-07-22 04:00:00 | 5.878 | 223.267 | 7.151 | 226.8 | 7.161 | 237.2 | 6.808 | 235.467 | 17.456 | 889.958 | 51.829 | 25.6252
2019-07-22 04:15:00 | 5.987 | 219.76 | 7.201 | 221.61 | 6.827 | 231.967 | 6.39 | 232.667 | 17.368 | 889.767 | 51.947 | 23.6953
2019-07-22 04:30:00 | 5.898 | 217.687 | 7.718 | 220.667 | 7.228 | 230.4 | 6.74 | 230.2 | 17.064 | 890.225 | 52.672 | 26.6427
2019-07-22 04:45:00 | 6.141 | 216.313 | 7.867 | 216.942 | 7.39 | 225.567 | 6.893 | 224.833 | 16.681 | 889.867 | 53.451 | 25.6714
2019-07-22 05:00:00 | 6.217 | 217.553 | 8.047 | 216.992 | 7.996 | 224.1 | 7.398 | 221.467 | 16.614 | 889.45 | 53.621 | 34.1214
2019-07-22 05:15:00 | 6.431 | 215.093 | 8.418 | 213.83 | 8.056 | 219.433 | 7.934 | 218.267 | 16.448 | 889.808 | 53.131 | 33.0001
2019-07-22 05:30:00 | 5.925 | 214.8 | 7.309 | 219.045 | 6.997 | 227.033 | 7.026 | 225.233 | 17.064 | 890.067 | 52.469 | 25.0681
2019-07-22 05:45:00 | 5.702 | 218.94 | 6.671 | 226.024 | 7.348 | 236.633 | 7.402 | 235.167 | 16.698 | 889.792 | 52.864 | 28.7744
2019-07-22 06:00:00 | 4.952 | 222.673 | 7.104 | 227.759 | 7.845 | 240.367 | 7.954 | 239.433 | 16.914 | 889.592 | 52.629 | 35.6072
2019-07-22 06:15:00 | 5.108 | 220.76 | 7.006 | 226.489 | 8.078 | 236.9 | 8.284 | 234.467 | 16.681 | 890.15 | 51.573 | 40.2977
2019-07-22 06:30:00 | 5.9 | 219.28 | 7.567 | 221.154 | 8.398 | 232.033 | 8.419 | 233.267 | 16.814 | 889.825 | 50.976 | 43.7496
2019-07-22 06:45:00 | 5.993 | 225.693 | 7.8 | 228.964 | 8.227 | 238.2 | 8.282 | 235.3 | 17.748 | 890.117 | 48.245 | 40.9009
2019-07-22 07:00:00 | 6.087 | 227.9 | 7.696 | 231.024 | 8.274 | 239.733 | 8.316 | 236.7 | 18.252 | 889.667 | 44.757 | 40.2714
2019-07-22 07:15:00 | 6.031 | 231.28 | 7.354 | 234.155 | 7.904 | 243.767 | 8.18 | 240.767 | 18.918 | 889.983 | 42.027 | 37.1093
2019-07-22 07:30:00 | 5.423 | 233.46 | 6.584 | 234.486 | 7.164 | 244.467 | 7.273 | 244.1 | 19.964 | 889.65 | 39.403 | 31.9009
2019-07-22 07:45:00 | 5.819 | 232.84 | 6.666 | 232.612 | 7.152 | 242 | 7.24 | 240.633 | 20.639 | 889.483 | 37.408 | 32.8566
2019-07-22 08:00:00 | 5.71 | 233.353 | 6.232 | 234.853 | 6.812 | 242.033 | 7.127 | 239.733 | 21.673 | 890.017 | 35.275 | 31.7076
2019-07-22 08:15:00 | 6.12 | 236.48 | 6.662 | 237.641 | 6.879 | 245.6 | 7.081 | 243.533 | 22.614 | 890.1 | 32.741 | 30.9175
2019-07-22 08:30:00 | 6.115 | 254.34 | 6.535 | 258.881 | 6.817 | 262.633 | 7.227 | 259.183 | 23.385 | 889.583 | 30.117 | 31.7467
2019-07-22 08:45:00 | 7.53 | 260.68 | 8.247 | 272.697 | 8.598 | 275.667 | 8.935 | 272.85 | 23.602 | 890.233 | 29.291 | 41.0395
2019-07-22 09:00:00 | 6.999 | 270.447 | 7.73 | 279.606 | 7.833 | 284.567 | 8.287 | 283.067 | 23.298 | 889.367 | 28.669 | 50.009
2019-07-22 09:15:00 | 7.823 | 272.493 | 8.419 | 276.632 | 8.72 | 281.167 | 9.029 | 279.8 | 23.514 | 889.517 | 29.061 | 53.2996
2019-07-22 09:30:00 | 8.22 | 281.933 | 9.291 | 283.914 | 9.49 | 288.533 | 9.982 | 287.533 | 24.039 | 889.617 | 28.755 | 51.5616
2019-07-22 09:45:00 | 7.756 | 284.5 | 8.27 | 288.243 | 8.439 | 295.133 | 9.049 | 291.633 | 24.377 | 889.317 | 27.979 | 43.7801
2019-07-22 10:00:00 | 7.915 | 285.04 | 8.353 | 287.936 | 8.24 | 294.733 | 8.825 | 291.233 | 24.614 | 889.7 | 26.376 | 46.8285
2019-07-22 10:15:00 | 7.808 | 313.76 | 8.194 | 309.165 | 8.628 | 309.733 | 8.923 | 307.267 | 25.123 | 889.967 | 25.435 | 45.7434
2019-07-22 10:30:00 | 8.655 | 292.527 | 9.283 | 293.384 | 9.333 | 298.6 | 9.626 | 297.533 | 25.256 | 889.083 | 24.912 | 52.4185
2019-07-22 10:45:00 | 8.71 | 303.16 | 9.362 | 305.462 | 9.782 | 308.067 | 10.067 | 307.767 | 25.373 | 889.95 | 24.267 | 62.5
2019-07-22 11:00:00 | 9.45 | 303.44 | 9.732 | 298.371 | 10.131 | 302.533 | 11.071 | 299.467 | 25.502 | 889.717 | 24.563 | 69.033
2019-07-22 11:15:00 | 8.965 | 306.947 | 9.557 | 308.505 | 9.879 | 313.433 | 10.572 | 310.9 | 26.048 | 889.817 | 23.213 | 62.6912
2019-07-22 11:30:00 | 9.593 | 327.84 | 9.788 | 319.839 | 9.91 | 322.3 | 10.463 | 320.8 | 26.094 | 889.8 | 23.408 | 69.6014
2019-07-22 11:45:00 | 8.985 | 305.56 | 9.303 | 305.239 | 9.426 | 310.867 | 10.272 | 312.233 | 26.098 | 890.067 | 23.571 | 63.644
2019-07-22 12:00:00 | 10.605 | 321.667 | 11.106 | 315.506 | 11.338 | 321.933 | 11.406 | 319.567 | 26.277 | 889.75 | 24.013 | 64.3873
2019-07-22 12:15:00 | 8.857 | 289.687 | 9.468 | 288.588 | 9.787 | 292.8 | 10.12 | 288.633 | 26.644 | 889.95 | 23.992 | 60.7705
2019-07-22 12:30:00 | 10.616 | 304.933 | 11.135 | 303.938 | 11.413 | 307.967 | 11.688 | 306.433 | 26.839 | 889.733 | 22.861 | 65.9676
2019-07-22 12:45:00 | 8.932 | 315.293 | 9.391 | 312.641 | 9.439 | 316.633 | 9.828 | 314.967 | 26.902 | 889.683 | 22.2 | 62.537
2019-07-22 13:00:00 | 9.538 | 277.38 | 10.086 | 278.315 | 10.527 | 282.367 | 10.727 | 279.883 | 27.627 | 889.867 | 21.573 | 60.9474
2019-07-22 13:15:00 | 9.701 | 291.16 | 10.072 | 289.155 | 10.283 | 293.8 | 10.749 | 291.667 | 27.406 | 889.717 | 20.747 | 65.2506
2019-07-22 13:30:00 | 9.16 | 282.873 | 9.695 | 282.955 | 9.772 | 288.6 | 9.883 | 285.533 | 27.231 | 889.383 | 20.191 | 48.9637
2019-07-22 13:45:00 | 8.633 | 294.68 | 9.098 | 295.266 | 9.612 | 300.167 | 10.097 | 296.133 | 27.635 | 889.767 | 19.611 | 46.535
2019-07-22 14:00:00 | 7.988 | 284.64 | 8.558 | 286.741 | 8.921 | 287.2 | 9.658 | 285.067 | 27.802 | 889.433 | 18.903 | 47.0829
2019-07-22 14:15:00 | 9.584 | 319.227 | 9.877 | 314.197 | 10.165 | 319.433 | 10.55 | 316.6 | 28.944 | 889.333 | 18.357 | 42.8202
2019-07-22 14:30:00 | 9.074 | 295.267 | 9.612 | 297.03 | 10.377 | 300 | 10.592 | 297.067 | 28.252 | 889.433 | 19.148 | 49.5677
2019-07-22 14:45:00 | 7.611 | 262.54 | 8.691 | 267.049 | 9.154 | 274.25 | 9.667 | 273.617 | 28.335 | 889.433 | 19.039 | 46.2515
2019-07-22 15:00:00 | 8.708 | 305 | 9.22 | 305.352 | 9.618 | 310.8 | 9.958 | 308.733 | 28.489 | 889.267 | 18.66 | 50.1667
2019-07-22 15:15:00 | 7.546 | 295.84 | 7.506 | 295.481 | 7.82 | 299.867 | 8.143 | 297.6 | 28.702 | 889.4 | 18.221 | 48.4138
2019-07-22 15:30:00 | 9.779 | 306.227 | 9.976 | 303.107 | 10.115 | 311.133 | 10.403 | 308.933 | 28.194 | 889.5 | 18.935 | 52.3304
2019-07-22 15:45:00 | 8.067 | 268.62 | 8.365 | 271.862 | 8.469 | 276.267 | 8.695 | 271.3 | 29.006 | 889.7 | 17.632 | 48.8507
2019-07-22 16:00:00 | 8.881 | 309.093 | 9.151 | 305.28 | 9.723 | 306.2 | 10.083 | 303.7 | 28.777 | 889.667 | 18.183 | 52.4164
2019-07-22 16:15:00 | 9.072 | 305.987 | 9.881 | 300.215 | 10.121 | 306.467 | 10.502 | 305.567 | 29.414 | 889.3 | 16.849 | 52.4455
2019-07-22 16:30:00 | 10.166 | 264.167 | 10.458 | 266.843 | 10.41 | 273.567 | 10.548 | 269.2 | 29.281 | 889.667 | 17.151 | 52.8264
2019-07-22 16:45:00 | 11.438 | 268.753 | 11.915 | 274.463 | 12.151 | 279 | 12.332 | 276.333 | 29.498 | 889.5 | 16.604 | 55.6686
2019-07-22 17:00:00 | 9.639 | 303.693 | 10.296 | 302.565 | 10.658 | 306.8 | 10.735 | 304.967 | 29.614 | 889.433 | 17.217 | 60.3896
2019-07-22 17:15:00 | 9.904 | 301.093 | 10.341 | 298.296 | 10.496 | 303.4 | 10.627 | 298.367 | 29.098 | 889.633 | 17.405 | 72.0969
2019-07-22 17:30:00 | 10.417 | 286.433 | 11.063 | 285.706 | 11.43 | 288.033 | 11.577 | 283.767 | 29.131 | 889.467 | 17.107 | 69.0266
2019-07-22 17:45:00 | 9.921 | 285.3 | 10.331 | 286.851 | 10.606 | 293.8 | 11.194 | 291.933 | 29.16 | 889.3 | 17.937 | 66.892
2019-07-22 18:00:00 | 9.489 | 289.4 | 10.182 | 290.966 | 10.463 | 294.883 | 10.958 | 291.833 | 29.448 | 889.467 | 17.523 | 60.7421
2019-07-22 18:15:00 | 9.665 | 302.667 | 10.028 | 300.703 | 10.425 | 305.067 | 10.944 | 302.067 | 29.348 | 889.467 | 17.205 | 61.2224
2019-07-22 18:30:00 | 8.804 | 299.167 | 9.111 | 296.832 | 9.459 | 303.333 | 9.836 | 300.767 | 29.364 | 889.867 | 17.703 | 71.9399
2019-07-22 18:45:00 | 11.336 | 285.827 | 12.188 | 288.549 | 12.456 | 294.267 | 13.2 | 291.733 | 29.281 | 889.167 | 19.169 | 67.1223
2019-07-22 19:00:00 | 10.337 | 285.053 | 11.158 | 289.026 | 11.834 | 293.033 | 12.103 | 288.333 | 29.048 | 889.133 | 19.181 | 65.9193
2019-07-22 19:15:00 | 11.152 | 274.24 | 12.152 | 278.98 | 12.285 | 284.7 | 12.642 | 283.1 | 29.598 | 889.4 | 19.805 | 66.2504
2019-07-22 19:30:00 | 9.495 | 285.293 | 10.239 | 286.447 | 10.796 | 290.7 | 11.071 | 287.667 | 28.635 | 889.6 | 20.245 | 64.1073
2019-07-22 19:45:00 | 11.696 | 281.08 | 12.701 | 284.564 | 13.125 | 288.733 | 13.64 | 286.3 | 28.439 | 889.75 | 20.808 | 64.2715
2019-07-22 20:00:00 | 12.468 | 295.507 | 13.281 | 295.712 | 13.74 | 300.5 | 14.405 | 298.6 | 28.464 | 889.4 | 21.307 | 64.5934
2019-07-22 20:15:00 | 11.42 | 285.573 | 12.666 | 286.374 | 13.069 | 290.833 | 13.497 | 288.9 | 27.681 | 889.55 | 21.912 | 64.8918
2019-07-22 20:30:00 | 11.418 | 292.147 | 12.881 | 289.9 | 13.708 | 295.433 | 14.57 | 292.967 | 27.564 | 889.683 | 21.701 | 64.5564
2019-07-22 20:45:00 | 9.776 | 288.687 | 10.835 | 289.843 | 11.48 | 293.4 | 11.966 | 290.6 | 27.552 | 889.8 | 21.997 | 65.1391
2019-07-22 21:00:00 | 10.08 | 278.48 | 11.29 | 283.605 | 11.931 | 287.5 | 12.374 | 286.367 | 27.123 | 889.967 | 23.485 | 65.2179
2019-07-22 21:15:00 | 11.543 | 263.02 | 12.856 | 268.883 | 13.573 | 272.7 | 13.981 | 269.3 | 25.906 | 889.267 | 28.749 | 64.8534
2019-07-22 21:30:00 | 10.036 | 263.787 | 11.808 | 267.28 | 11.991 | 273.8 | 12.204 | 269.933 | 25.594 | 889.55 | 29.605 | 65.1028
2019-07-22 21:45:00 | 9.533 | 264.727 | 10.664 | 271.421 | 11.252 | 276.967 | 11.609 | 271.8 | 25.056 | 889.967 | 30.053 | 66.0607
2019-07-22 22:00:00 | 8.485 | 258.72 | 9.489 | 270.48 | 10.185 | 274.567 | 10.608 | 269.967 | 24.952 | 889.35 | 30.517 | 70.6758
2019-07-22 22:15:00 | 8.22 | 266.213 | 9.278 | 270.907 | 9.842 | 275.667 | 10.187 | 272.6 | 25.006 | 889.35 | 30.845 | 69.3691
2019-07-22 22:30:00 | 7.762 | 272.207 | 9.024 | 273.776 | 9.622 | 276.933 | 10.105 | 272.533 | 24.956 | 889.617 | 30.907 | 68.6891
2019-07-22 22:45:00 | 8.357 | 269.747 | 9.846 | 271.331 | 10.355 | 276.133 | 10.792 | 273.267 | 24.527 | 889.95 | 31.312 | 72.0777
2019-07-22 23:00:00 | 8.092 | 270.86 | 9.332 | 275.876 | 9.739 | 279.367 | 10.391 | 275.433 | 24.66 | 890.017 | 31.701 | 60.4913
2019-07-22 23:15:00 | 7.067 | 260.3 | 8.2 | 269.561 | 8.904 | 275.067 | 9.23 | 270.6 | 24.114 | 889.75 | 31.861 | 49.6636
2019-07-22 23:30:00 | 6.763 | 262.64 | 7.814 | 266.686 | 8.109 | 272.867 | 8.539 | 269 | 23.902 | 889.317 | 32.192 | 39.9601
2019-07-22 23:45:00 | 6.669 | 256.433 | 7.774 | 262.417 | 8.191 | 267.333 | 8.387 | 265 | 24.014 | 889.383 | 32.347 | 43.3396