## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-23 00:00:00 | 7.085 | 253.167 | 8.455 | 260.289 | 9.136 | 265.5 | 9.453 | 260.583 | 23.535 | 889.85 | 32.771 | 51.0016
2019-07-23 00:15:00 | 6.975 | 256.687 | 8.138 | 260.462 | 8.706 | 267.367 | 8.959 | 262.533 | 23.489 | 889.733 | 32.467 | 48.2745
2019-07-23 00:30:00 | 6.054 | 258.147 | 7.406 | 261.691 | 8.2 | 265.4 | 8.75 | 261.983 | 23.518 | 889.717 | 32.096 | 42.5935
2019-07-23 00:45:00 | 6.705 | 252.933 | 7.99 | 265.395 | 8.398 | 270.7 | 8.863 | 265.567 | 24.148 | 889.817 | 31.379 | 39.2695
2019-07-23 01:00:00 | 6.616 | 266.22 | 7.636 | 271.53 | 8.062 | 276.067 | 8.534 | 270.867 | 23.568 | 889.833 | 31.056 | 39.0456
2019-07-23 01:15:00 | 5.944 | 257.407 | 7.378 | 266.679 | 7.856 | 271.867 | 8.353 | 267.333 | 23.485 | 889.517 | 31.088 | 37.1029
2019-07-23 01:30:00 | 6.114 | 253.727 | 7.452 | 263.516 | 7.913 | 269.533 | 8.29 | 265.333 | 23.248 | 889.7 | 31.216 | 32.907
2019-07-23 01:45:00 | 5.591 | 251.073 | 6.877 | 263.661 | 7.283 | 269.633 | 7.86 | 264.9 | 23.498 | 890 | 31.395 | 37.66
2019-07-23 02:00:00 | 7.719 | 253.993 | 9.161 | 266.356 | 9.588 | 269.733 | 9.863 | 265.467 | 23.631 | 889.717 | 30.819 | 46.3581
2019-07-23 02:15:00 | 7.258 | 252.14 | 8.485 | 260.539 | 8.902 | 263.3 | 9.521 | 261.083 | 23.131 | 889.883 | 32.547 | 51.4685
2019-07-23 02:30:00 | 6.431 | 246.873 | 7.701 | 247.326 | 8.544 | 254.433 | 9.085 | 250.983 | 22.748 | 889.75 | 33.872 | 47.6129
2019-07-23 02:45:00 | 6.323 | 242.067 | 7.185 | 243.386 | 7.848 | 251.7 | 8.064 | 248.717 | 22.231 | 889.717 | 34.229 | 44.4026
2019-07-23 03:00:00 | 5.612 | 237.147 | 6.85 | 239.013 | 7.339 | 247.267 | 7.47 | 244.567 | 22.202 | 889.433 | 35.104 | 40.6977
2019-07-23 03:15:00 | 5.217 | 239.36 | 6.436 | 242.132 | 6.965 | 250.733 | 7.229 | 248.567 | 21.364 | 890 | 35.883 | 30.5153
2019-07-23 03:30:00 | 4.49 | 246.02 | 5.472 | 251.55 | 6.247 | 263.1 | 6.765 | 262.2 | 21.523 | 889.733 | 36.429 | 20.9511
2019-07-23 03:45:00 | 4.929 | 234.4 | 5.983 | 243.414 | 6.341 | 254.367 | 6.743 | 252.617 | 21.052 | 889.75 | 37.2 | 22.8468
2019-07-23 04:00:00 | 4.821 | 220.067 | 5.766 | 231.213 | 6.177 | 244.467 | 6.27 | 243.967 | 20.527 | 889.667 | 37.813 | 23.5375
2019-07-23 04:15:00 | 5.145 | 219.22 | 6.194 | 226.706 | 6.331 | 237.2 | 6.297 | 236.733 | 20.11 | 889.6 | 38.464 | 22.9506
2019-07-23 04:30:00 | 5.408 | 226.033 | 6.115 | 232.918 | 6.343 | 243.233 | 6.559 | 241.9 | 20.494 | 889.433 | 38.139 | 23.5382
2019-07-23 04:45:00 | 4.871 | 222.7 | 6.595 | 227.718 | 6.739 | 235.667 | 6.615 | 235.167 | 20.46 | 889.833 | 37.877 | 24.9018
2019-07-23 05:00:00 | 5.033 | 226.133 | 6.345 | 232.684 | 6.446 | 241 | 6.561 | 239.367 | 20.152 | 889.267 | 38.427 | 24.0299
2019-07-23 05:15:00 | 5.451 | 231.44 | 5.928 | 233.619 | 6.095 | 241.9 | 5.988 | 239.333 | 20.573 | 889.667 | 37.429 | 21.0171
2019-07-23 05:30:00 | 5.251 | 234.747 | 6.016 | 239.174 | 6.029 | 249.633 | 6.054 | 249.6 | 20.518 | 889.75 | 37.12 | 24.2929
2019-07-23 05:45:00 | 5.07 | 237.06 | 6.377 | 244.184 | 6.884 | 253.333 | 7.329 | 251.883 | 20.41 | 889.517 | 37.269 | 27.8947
2019-07-23 06:00:00 | 4.386 | 228.84 | 5.231 | 238.329 | 6.103 | 251.667 | 6.87 | 250.183 | 20.235 | 889.517 | 37.557 | 26.8765
2019-07-23 06:15:00 | 4.672 | 231.873 | 5.642 | 236.784 | 6.169 | 247.767 | 6.382 | 246.5 | 19.977 | 890.017 | 38.005 | 29.6015
2019-07-23 06:30:00 | 5.79 | 225.18 | 6.584 | 228.479 | 6.638 | 236.967 | 6.594 | 235.733 | 19.885 | 889.817 | 38.016 | 33.7434
2019-07-23 06:45:00 | 6.227 | 226.86 | 7.259 | 227.958 | 7.553 | 235.133 | 7.242 | 233.567 | 20.206 | 889.95 | 36.901 | 33.8159
2019-07-23 07:00:00 | 6.1 | 231.147 | 7.149 | 231.243 | 7.334 | 237.8 | 7.312 | 234.733 | 20.96 | 889.95 | 35.925 | 33.0968
2019-07-23 07:15:00 | 6.441 | 241.927 | 7.583 | 242.105 | 8.185 | 248.567 | 8.375 | 243.7 | 22.298 | 889.883 | 34.784 | 38.8602
2019-07-23 07:30:00 | 5.484 | 235.567 | 6.555 | 234.918 | 7.204 | 242.967 | 7.331 | 239.367 | 20.677 | 889.967 | 47.168 | 32.8474
2019-07-23 07:45:00 | 5.286 | 234.84 | 6.485 | 235.763 | 6.905 | 244.933 | 6.895 | 242.4 | 20.285 | 889.675 | 44.48 | 32.5944
2019-07-23 08:00:00 | 5.373 | 231.273 | 6.625 | 233.297 | 7.152 | 242.9 | 7.457 | 237.667 | 20.131 | 889.508 | 43.456 | 41.8588
2019-07-23 08:15:00 | 5.365 | 231.713 | 6.405 | 229.876 | 6.995 | 236.4 | 7.142 | 232.167 | 20.348 | 889.7 | 45.429 | 32.5752
2019-07-23 08:30:00 | 5.38 | 238.007 | 6.558 | 239.79 | 7.095 | 248.733 | 7.206 | 244.483 | 20.502 | 889.525 | 42.155 | 32.1133
2019-07-23 08:45:00 | 5.214 | 233.907 | 5.962 | 234.992 | 6.696 | 243.367 | 7.132 | 239.7 | 21.223 | 889.933 | 41.792 | 29.4622
2019-07-23 09:00:00 | 6.24 | 247.7 | 6.887 | 259.983 | 7.024 | 263.483 | 7.107 | 259.333 | 22.731 | 889.5 | 36.995 | 27.0214
2019-07-23 09:15:00 | 7.38 | 255.927 | 8.631 | 264.575 | 8.718 | 268.633 | 8.746 | 262.617 | 23.814 | 889.6 | 35.141 | 34.1378
2019-07-23 09:30:00 | 6.047 | 250.547 | 6.711 | 258.808 | 6.748 | 264.967 | 6.874 | 258.917 | 23.931 | 889.383 | 34.035 | 31.9108
2019-07-23 09:45:00 | 7.285 | 269.473 | 7.604 | 273.336 | 7.531 | 279.233 | 7.798 | 276.8 | 24.773 | 889.683 | 31.989 | 47.1575
2019-07-23 10:00:00 | 8.936 | 282.56 | 9.454 | 283.778 | 9.432 | 286.067 | 9.892 | 283.533 | 25.023 | 889.933 | 30.592 | 67.9586
2019-07-23 10:15:00 | 9.273 | 271.667 | 9.913 | 276.468 | 9.969 | 278.567 | 10.212 | 273.8 | 25.123 | 889.833 | 31.997 | 69.4629
2019-07-23 10:30:00 | 8.534 | 257.247 | 9.291 | 258.09 | 9.337 | 262.517 | 9.148 | 259.867 | 24.994 | 889.8 | 31.952 | 52.729
2019-07-23 10:45:00 | 8.2 | 257.5 | 8.529 | 262.486 | 8.595 | 266.217 | 8.671 | 262.833 | 25.502 | 889.8 | 31.085 | 48.0272
2019-07-23 11:00:00 | 8.846 | 249.66 | 9.184 | 254.801 | 9.45 | 258.867 | 9.342 | 255.383 | 25.748 | 889.833 | 29.672 | 56.4709
2019-07-23 11:15:00 | 9.716 | 253.767 | 10.236 | 259.66 | 10.393 | 262.733 | 10.338 | 257.35 | 25.244 | 889.85 | 30.683 | 68.5505
2019-07-23 11:30:00 | 8.903 | 252.447 | 9.572 | 264.311 | 9.432 | 269.75 | 9.373 | 264.633 | 25.185 | 889.65 | 30.32 | 56.5405
2019-07-23 11:45:00 | 7.04 | 265.433 | 7.657 | 272.937 | 7.9 | 276.9 | 8.083 | 275.367 | 26.81 | 889.683 | 28.283 | 44.647
2019-07-23 12:00:00 | 8.555 | 256.9 | 9.269 | 259.093 | 9.155 | 259.867 | 9.012 | 256.05 | 26.506 | 889.633 | 28.48 | 54.4152
2019-07-23 12:15:00 | 8.054 | 249.133 | 8.735 | 253.599 | 9.014 | 258.267 | 9.052 | 251.433 | 26.206 | 890.033 | 27.837 | 53.981
2019-07-23 12:30:00 | 6.95 | 265.827 | 7.547 | 269.538 | 7.611 | 275.567 | 7.634 | 271.883 | 26.839 | 889.617 | 28.805 | 55.1037
2019-07-23 12:45:00 | 9.655 | 265.407 | 10.313 | 271.241 | 10.344 | 275.067 | 10.536 | 272.467 | 26.264 | 890.083 | 26.899 | 59.7814
2019-07-23 13:00:00 | 8.123 | 291.547 | 8.639 | 290.978 | 8.857 | 294.633 | 9.107 | 293.233 | 26.648 | 889.7 | 24.939 | 52.7475
2019-07-23 13:15:00 | 8.19 | 273.54 | 8.739 | 279.485 | 8.847 | 283.9 | 9.072 | 281.933 | 27.348 | 889.8 | 25.827 | 50.6947
2019-07-23 13:30:00 | 7.796 | 277.267 | 8.278 | 276.078 | 8.423 | 277.2 | 8.588 | 272.8 | 27.064 | 889.367 | 26.893 | 48.2695
2019-07-23 13:45:00 | 9.162 | 265.967 | 10.104 | 273.426 | 10.441 | 279.567 | 10.571 | 276.4 | 27.152 | 889.867 | 28.173 | 64.9536
2019-07-23 14:00:00 | 12.339 | 242.207 | 13.421 | 240.432 | 13.994 | 245.533 | 14.32 | 240.65 | 24.444 | 889.583 | 34.419 | 52.1769
2019-07-23 14:15:00 | 10.268 | 301.2 | 11.393 | 302.668 | 11.616 | 306.033 | 12.334 | 303.667 | 23.935 | 889.667 | 37.525 | 69.4231
2019-07-23 14:30:00 | 8.64 | 307.907 | 10.377 | 304.939 | 11.067 | 311.4 | 11.649 | 309.933 | 21.539 | 889.917 | 49.083 | 64.0157
2019-07-23 14:45:00 | 5.28 | 322.68 | 6.477 | 317.349 | 7.746 | 324.433 | 8.606 | 322.167 | 21.648 | 890.167 | 50.293 | 41.9412
2019-07-23 15:00:00 | 4.703 | 311.053 | 5.107 | 309.432 | 5.913 | 316.867 | 6.759 | 317.4 | 22.464 | 889.917 | 44.944 | 19.3089
2019-07-23 15:15:00 | 2.57 | 252.647 | 2.745 | 252.49 | 2.828 | 265.3 | 3.203 | 262.967 | 23.302 | 889.792 | 43.088 | 2.5396
2019-07-23 15:30:00 | 2.08 | 222.907 | 1.699 | 223.937 | 1.561 | 243.3 | 2.007 | 243.05 | 23.939 | 889.867 | 37.36 | 0.29275
2019-07-23 15:45:00 | 1.371 | 224.387 | 1.346 | 231.161 | 1.309 | 241.033 | 1.859 | 254.733 | 26.335 | 889.717 | 29.328 | 0.30412
2019-07-23 16:00:00 | 1.851 | 306.533 | 1.98 | 317.503 | 1.786 | 307.6 | 2.083 | 283.65 | 26.698 | 889.783 | 28.187 | 0.69493
2019-07-23 16:15:00 | 4.095 | 281.213 | 4.352 | 275.165 | 4.31 | 281.083 | 4.524 | 275.55 | 27.235 | 890.05 | 27.909 | 2.5438
2019-07-23 16:30:00 | 4.686 | 230.353 | 4.866 | 228.486 | 5.115 | 231.433 | 5.389 | 227.967 | 27.818 | 889.6 | 28.229 | 6.5045
2019-07-23 16:45:00 | 4.924 | 239.28 | 5.104 | 238.722 | 5.131 | 243.75 | 5.27 | 241.7 | 27.802 | 889.8 | 28.779 | 28.7822
2019-07-23 17:00:00 | 15.876 | 315.827 | 16.893 | 334.643 | 16.975 | 341.367 | 17.562 | 330.2 | 26.373 | 889.767 | 29.768 | 75.6476
2019-07-23 17:15:00 | 15.778 | 341.36 | 16.676 | 337.16 | 16.67 | 342.6 | 16.949 | 341.7 | 24.306 | 890 | 32.467 | 67.8186
2019-07-23 17:30:00 | 15.875 | 328.427 | 16.812 | 320.874 | 17.355 | 326.3 | 17.613 | 325.9 | 23.248 | 889.767 | 37.872 | 69.8856
2019-07-23 17:45:00 | 14.723 | 316.573 | 15.642 | 314.039 | 16.542 | 319.5 | 16.9 | 318.4 | 23.064 | 889.867 | 40.013 | 67.1969
2019-07-23 18:00:00 | 10.12 | 321.173 | 10.845 | 314.85 | 11.051 | 319.2 | 11.373 | 317.433 | 23.114 | 889.6 | 39.501 | 64.1684
2019-07-23 18:15:00 | 10.276 | 314.307 | 10.962 | 309.867 | 11.46 | 317.767 | 11.986 | 317.3 | 23.739 | 889.833 | 34.976 | 70.8606
2019-07-23 18:30:00 | 7.808 | 334.933 | 8.169 | 328.386 | 8.486 | 333.067 | 8.785 | 331.567 | 24.206 | 889.5 | 32.315 | 46.1776
2019-07-23 18:45:00 | 5.219 | 80.744 | 5.111 | 90.375 | 5.462 | 95.367 | 5.315 | 104.833 | 24.327 | 889.917 | 32.685 | 6.5017
2019-07-23 19:00:00 | 2.987 | 15.027 | 2.727 | 8.884 | 2.807 | 32.6 | 2.798 | 8.3 | 23.777 | 890.017 | 32.123 | 0.36381
2019-07-23 19:15:00 | 2.062 | 55.447 | 1.717 | 55.358 | 1.15 | 54.933 | 1.692 | 47.067 | 24.277 | 889.5 | 30.635 | 0.36665
2019-07-23 19:30:00 | 1.431 | 203.778 | 0.813 | 315.55 | 0.834 | 316.467 | 1.605 | 307.517 | 24.785 | 889.8 | 28.227 | 0.21743
2019-07-23 19:45:00 | 3.135 | 310.813 | 3.183 | 302.301 | 3.409 | 303.433 | 3.462 | 301.767 | 24.173 | 889.833 | 30.536 | 0.14496
2019-07-23 20:00:00 | 3.539 | 255.087 | 3.562 | 256.71 | 3.786 | 257.733 | 3.936 | 252.9 | 24.239 | 889.683 | 31.984 | 2.4664
2019-07-23 20:15:00 | 4.434 | 228.18 | 4.527 | 224.779 | 4.61 | 229.267 | 4.725 | 224.367 | 24.898 | 889.783 | 30.624 | 6.496
2019-07-23 20:30:00 | 4.282 | 230 | 4.439 | 228.106 | 4.642 | 231.767 | 4.68 | 226.3 | 24.714 | 890.017 | 30.805 | 14.5126
2019-07-23 20:45:00 | 5.576 | 221.473 | 5.856 | 216.92 | 6.114 | 218.633 | 6.324 | 213.933 | 24.206 | 890.1 | 33.547 | 28.1015
2019-07-23 21:00:00 | 6.568 | 212.913 | 7.381 | 209.864 | 7.997 | 212.2 | 8.448 | 208.367 | 23.531 | 889.767 | 34.528 | 30.0619
2019-07-23 21:15:00 | 5.434 | 216.527 | 7.227 | 214.201 | 8.044 | 216.533 | 8.516 | 211.4 | 23.348 | 889.967 | 35.915 | 61.7276
2019-07-23 21:30:00 | 8.162 | 203.607 | 9.466 | 197.735 | 10.486 | 200.7 | 11.314 | 195.367 | 22.018 | 889.625 | 41.877 | 62.6052
2019-07-23 21:45:00 | 8.765 | 203.433 | 10.047 | 200.202 | 11.126 | 200.5 | 12.069 | 194.233 | 21.989 | 889.858 | 41.547 | 72.4849
2019-07-23 22:00:00 | 9.242 | 218.94 | 10.583 | 217.196 | 11.569 | 220 | 12.232 | 214.833 | 21.798 | 890 | 42.453 | 73.4655
2019-07-23 22:15:00 | 7.691 | 209.6 | 8.924 | 205.959 | 9.724 | 207.267 | 10.554 | 201.567 | 22.177 | 889.867 | 39.712 | 72.0202
2019-07-23 22:30:00 | 5.666 | 194.54 | 6.726 | 194.233 | 7.006 | 201.067 | 7.125 | 200.7 | 21.985 | 889.933 | 39.888 | 22.3814
2019-07-23 22:45:00 | 5.582 | 212.167 | 7.578 | 212.752 | 9.034 | 215.333 | 10.172 | 211.5 | 22.731 | 889.95 | 33.515 | 36.2467
2019-07-23 23:00:00 | 7.805 | 200.973 | 9.342 | 198.147 | 10.435 | 201.933 | 11.621 | 197.5 | 21.444 | 889.783 | 40.288 | 44.4829
2019-07-23 23:15:00 | 7.921 | 212.613 | 9.608 | 211.123 | 11.298 | 213.633 | 12.572 | 209.667 | 20.823 | 889.883 | 41.973 | 61.1229
2019-07-23 23:30:00 | 7.612 | 208.653 | 9.578 | 208.11 | 10.859 | 211.033 | 12.017 | 206.567 | 21.214 | 889.867 | 39.035 | 67.6125
2019-07-23 23:45:00 | 6.878 | 214.74 | 8.555 | 209.027 | 10.043 | 210.667 | 11.533 | 206.667 | 20.86 | 890.05 | 37.947 | 65.1099